## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Southwestern Public Service Co
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 567 (>=10 Cust)
Due: |  | February 15, 2000
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 21972
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Industry Analysis Division
Office of Regulatory Affairs
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
1998 And 1999
Southwestern Public Service Co
Project 21972

## System-SAIFI
Southwestern Public Service Co
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 0.41222 | 0.023066 | 0.022287 | 0.052948 | 0.017738 | 0.031177 | 0.064056 | 0.068957 | 0.040667 | 0.016729 | 0.03624 | 0.019332 | 0.019712
1999 | 0.56785 | 0.042426 | 0.019152 | 0.045275 | 0.086074 | 0.055285 | 0.1186 | 0.033076 | 0.038859 | 0.036235 | 0.032037 | 0.034549 | 0.027264
Scheduled
1998 | 0.022271 | 0.0011407 | 0.0014787 | 0.00060423 | 0.0011777 | 0.0017964 | 0.007867 | 0.0022129 | 0.0018783 | 0.0010432 | 0.00078881 | 0.0017098 | 0.00061021
1999 | 0.020553 | 0.0016406 | 0.00089015 | 0.0054189 | 0.0018095 | 0.0011694 | 0.0022247 | 0.001286 | 0.00079405 | 0.0029973 | 0.0011334 | 0.00079695 | 0.00043055
Outside Causes
1998 | 0.099301 | 0 | 0 | 0 | 0.019189 | 0.013673 | 0.0011315 | 0.036625 | 0.0052214 | 0.0056181 | 0.0030718 | 0.0051599 | 0.0097558
1999 | 0.34132 | 0.021112 | 0.0054243 | 0.031824 | 0.081524 | 0.019021 | 0.063183 | 0.025167 | 0.040833 | 0.022047 | 0.023665 | 0.0028819 | 0.005261
Major Events
1998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 | 0.68124 | 0.44964 | 0.0081894 | 0 | 3.7857e-06 | 0 | 0 | 2.6476e-05 | 0 | 0 | 0 | 0 | 0.22486

## System-SAIDI
Southwestern Public Service Co
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 34.6211 | 1.8736 | 1.7016 | 6.2796 | 1.0399 | 2.7327 | 4.1077 | 6.2837 | 3.4166 | 1.51 | 2.4899 | 2.031 | 1.2147
1999 | 44.1505 | 5.0666 | 1.7124 | 4.4154 | 6.5326 | 4.5542 | 7.8332 | 2.5796 | 2.5878 | 2.4506 | 2.3965 | 1.9432 | 2.1599
Scheduled
1998 | 1.0801 | 0.085475 | 0.09761 | 0.028749 | 0.042455 | 0.075895 | 0.23723 | 0.13908 | 0.19167 | 0.10685 | 0.028446 | 0.023949 | 0.024503
1999 | 1.4565 | 0.082995 | 0.058515 | 0.63595 | 0.11003 | 0.051617 | 0.10706 | 0.072208 | 0.055946 | 0.096411 | 0.054705 | 0.09628 | 0.037752
Outside Causes
1998 | 5.5196 | 0 | 0 | 0 | 0.62109 | 0.42891 | 0.035075 | 2.8959 | 0.12009 | 0.35301 | 0.1145 | 0.75357 | 0.20486
1999 | 17.6704 | 0.40278 | 0.32812 | 1.8232 | 6.2454 | 0.38885 | 2.7923 | 1.4234 | 2.0295 | 1.3274 | 0.64109 | 0.27606 | 0.025599
Major Events
1998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 | 420.1982 | 317.1953 | 6.0078 | 0 | 0.00022714 | 0 | 0 | 0.00026476 | 0 | 0 | 0 | 0 | 98.0402

## Feeder-SAIFI
List all Distribution Feeders on Texas System |  |  | Total Number of Feeders
Add or Delete Rows as Necessary |  |  | 567 (>=10 Cust)
Southwestern Public Service Co
1999 SAIFI Ranking | Substation Identification | Feeder Identification | 1999 SAIFI Value
1 | Springlake | SO150 | 6.3492
2 | Tenneco | S440 | 5.9565
3 | Springlake | SO140 | 5.6522
4 | KINGSMILL | 5100 | 4.9618
5 | SNEED | 1400 | 4.6
6 | PARMER | 2465 | 3.75
7 | Olton | SO180 | 3.2022
8 | PARMER | 2475 | 3.1067
9 | Doud | 6325 | 3.0655
10 | SHERMAN | 1452 | 3
11 | ROBERTS | 7010 | 2.9707
12 | CHANNING | 1564 | 2.6316
13 | Levelland City 12KV | LV190 | 2.5981
14 | BOWERS | 5090 | 2.3674
15 | Levelland City 12KV | LV180 | 2.3245
16 | HASTINGS | 7078 | 2.3102
17 | Doss 23kV | 6670 | 2.2538
18 | Bainer | BA601 | 2.25
19 | Crosbyton | CR610 | 2.2384
20 | South Floydada | 3551 | 2.2014
21 | CHANNING | 1568 | 2.2
22 | SPEARMAN INTG | 1210 | 2.1781
23 | Muleshoe West | MR140 | 2.1576
24 | BURNETT | 1394 | 2.1473
25 | Lehman | LV510 | 2.0874
26 | Hendrick | 6685 | 2.0678
27 | FARMERS | 5395 | 2.0316
28 | BUFFALO | 5165 | 2.0098
29 | DUMAS 19TH | 1470 | 2.0004
30 | Lockney Rural | 3417 | 2
31 | Yellowhouse | LV900 | 1.9615
32 | SOUTHEAST | 5C80 | 1.8982
33 | TEXAS | 0146 | 1.8776
34 | Jaybee | S765 | 1.875
35 | PERRYTON | 1230 | 1.7982
36 | MOORE CO | M060 | 1.7638
37 | DALHART | 1664 | 1.75
38 | CONWAY | 5005 | 1.7236
39 | BOWERS | 2053 | 1.7115
40 | Russell | S280 | 1.7073
41 | CONWAY | 5010 | 1.6797
42 | Kress Rural | KR140 | 1.6746
43 | ODC | S335 | 1.6522
44 | WHITAKER | 5270 | 1.6111
45 | DUMAS 19TH | 1367 | 1.6067
46 | SUNRAY | 5A55 | 1.5635
47 | Whiteface | LV210 | 1.4848
48 | TASCOSA | 1222 | 1.4595
49 | HAPPY CITY | 7040 | 1.4474
50 | EAST PLANT | A122 | 1.4374
51 | HEREFORD | 83 | 1.4127
52 | HEREFORD | 84 | 1.3981
53 | Murphy | 7425 | 1.3753
54 | Lockney Rural | LA140 | 1.3735
55 | PRINGLE OIL | 1200 | 1.3693
56 | Lockney Rural | LA150 | 1.3108
57 | HEREFORD | 2627 | 1.3033
58 | Irick | IB110 | 1.2766
59 | WILDORADO | 2018 | 1.2617
60 | Plainview West | P120 | 1.2553
61 | Barwise | IB130 | 1.2414
62 | RIVERVIEW | R100 | 1.2075
63 | Littlefield South | LI120 | 1.2037
64 | WATERFIELD | 2368 | 1.1912
65 | SPEARMAN CITY | 401 | 1.1848
66 | Plainview West | P130 | 1.1818
67 | Lynn | 6510 | 1.1818
68 | WADE | 1420 | 1.1746
69 | MANHATTAN | 7164 | 1.1704
70 | Plainview South | P230 | 1.167
71 | County Line | CL110 | 1.1667
72 | 34TH STREET | 5B95 | 1.1646
73 | Doud | 6345 | 1.1625
74 | ARROWHEAD | 5D80 | 1.1511
75 | Littlefield City | LI610 | 1.1474
76 | WEATHERLY | 1354 | 1.1451
77 | PERRYTON | 1535 | 1.1411
78 | BONHAM | 266 | 1.1389
79 | Anton City | AN610 | 1.1387
80 | Amherst | AM620 | 1.1359
81 | TASCOSA | 1218 | 1.1264
82 | Westridge | P460 | 1.1228
83 | WEST BORGER | 1A15 | 1.1219
84 | Vickers | 6680 | 1.1162
85 | DUMAS HELIUM | 1264 | 1.1154
86 | NORTH BORGER | 203 | 1.1098
87 | DAWN | 5A35 | 1.1094
88 | Cedar Lake East | S910 | 1.1071
89 | Brisco | 3434 | 1.1042
90 | Wheelock | 7375 | 1.1033
91 | ETTER RURAL | 5405 | 1.1022
92 | Carlisle | 6650 | 1.0958
93 | Doss 12kV | S410 | 1.0803
94 | Allred | S140 | 1.0652
95 | MC LEAN | 5300 | 1.057
96 | Stanton 23KV | 6410 | 1.0534
97 | Zavalla | LV780 | 1.05
98 | KINGSMILL | 5110 | 1.047
99 | DALHART | 108 | 1.0468
100 | Clutter | 6630 | 1.042
101 | Southland | SO110 | 1.0306
102 | Brownfield | 6580 | 1.0268
103 | Allen | L740 | 1.0062
104 | CHANNING | 145-3 | 1.0046
105 | VEGA | 5170 | 1.0012
106 | WILDORADO | 2014 | 1
107 | DUMAS 19TH | 1498 | 1
108 | BOWERS | 2057 | 0.99261
109 | CHERRY STREET | 5C15 | 0.99097
110 | Kress Rural | KR120 | 0.98413
111 | Hart | HA110 | 0.92593
112 | HIGHLAND PARK | 5335 | 0.92346
113 | San Andres | S370 | 0.92073
114 | KINGSMILL | 5105 | 0.91654
115 | SPRINGCREEK | 1320 | 0.91379
116 | WATERFIELD | 2361 | 0.90909
117 | EXELL | 1242 | 0.90826
118 | LYONS | 5C25 | 0.89217
119 | Roundup | RO110 | 0.86667
120 | CANYON W | 5160 | 0.86078
121 | Garza 23KV | 6500 | 0.85185
122 | Middleton | LV820 | 0.84783
123 | EAST PLANT | A110 | 0.77099
124 | ARROWHEAD | 5D85 | 0.7591
125 | CHERRY STREET | 5C10 | 0.72814
126 | Pacific | LV940 | 0.72581
127 | KITE | 5B80 | 0.69213
128 | KITE | 5075 | 0.68874
129 | ROXANA | 2334 | 0.67883
130 | Slaton 23KV | 6690 | 0.67878
131 | EXELL | 1238 | 0.67836
132 | SNEED | 1404 | 0.67442
133 | FARMERS | 5390 | 0.66845
134 | GEORGIA E | 5B40 | 0.66495
135 | WHITAKER | 5265 | 0.65789
136 | MOORE CO | M055 | 0.63636
137 | Allen | L505 | 0.6338
138 | GRAVES | 7178 | 0.62073
139 | EAST PLANT | A118 | 0.61913
140 | Flanagan | S540 | 0.58824
141 | Lehman | LV500 | 0.58824
142 | CANYON E | 5190 | 0.56604
143 | El Paso | S320 | 0.56044
144 | DALHART | 1298 | 0.5475
145 | Batton | L624 | 0.54039
146 | Big Four | CR118 | 0.52941
147 | SOUTHEAST | 5C85 | 0.51325
148 | PRINGLE OIL | 1204 | 0.51136
149 | Muleshoe West | MR130 | 0.5
150 | Ivory | L680 | 0.48649
151 | PIERCE | 5B05 | 0.47441
152 | MC CULLOUGH | 5085 | 0.46441
153 | Olton | SO170 | 0.46125
154 | Petersburg | PE610 | 0.46115
155 | CANYON W | 7124 | 0.44474
156 | West Anton | 3502 | 0.43729
157 | Muleshoe East | MU630 | 0.42913
158 | CARSON | 7034 | 0.42857
159 | CANYON E | 5185 | 0.41372
160 | Doss 12kV | S400 | 0.413
161 | SUNSET | 5D35 | 0.40758
162 | DUMAS NORTH | 158 | 0.39806
163 | Wellman | S755 | 0.39796
164 | Doss 23kV | 6660 | 0.39706
165 | FRITCH | 1360 | 0.39225
166 | Boardman | S560 | 0.38542
167 | Amoco | LV920 | 0.37681
168 | ESTACADO | 5D15 | 0.37105
169 | 34TH STREET | 5B85 | 0.36867
170 | Elwood | LV140 | 0.36667
171 | HIGHLAND PARK | 5325 | 0.36538
172 | SPEARMAN INTG | 1512 | 0.35667
173 | CARSON | 7030 | 0.35632
174 | DALHART | 1246 | 0.35056
175 | South Plains | SP610 | 0.34483
176 | FARMERS | 5385 | 0.34199
177 | Allred | S180 | 0.33333
178 | MC CULLOUGH | 7002 | 0.33196
179 | DIMMITT E | DI180 | 0.32821
180 | ROXANA | 2076 | 0.32506
181 | El Paso | S340 | 0.31951
182 | MANHATTAN | 5135 | 0.31908
183 | DUMAS EAST | 1250 | 0.31715
184 | Moss | 6540 | 0.3169
185 | STINNETT | 1332 | 0.31579
186 | WEATHERLY | 1350 | 0.31514
187 | WHITAKER | 5260 | 0.31278
188 | Tatum | TA110 | 0.30303
189 | HAPPY CITY | 2326 | 0.29444
190 | Clutter | 6620 | 0.29426
191 | COULTER | 5285 | 0.28593
192 | Plainview North | P260 | 0.2762
193 | BUSH | 5210 | 0.27597
194 | Planters | L710 | 0.27239
195 | MC CULLOUGH | 7005 | 0.27092
196 | MANHATTAN | 7160 | 0.26809
197 | GEORGIA E | 5B35 | 0.26701
198 | BOOKER | 421 | 0.26531
199 | Indiana | 7480 | 0.26035
200 | Acco | L570 | 0.26027
201 | PIERCE | 5B10 | 0.25922
202 | BUSH | 5215 | 0.25871
203 | SAN JACINTO | 128 | 0.25595
204 | CANYON W | 7128 | 0.25311
205 | CENTER | 5305 | 0.2469
206 | Allen | L745 | 0.24597
207 | LAWRENCE PARK W | 5030 | 0.24557
208 | Close City | CC110 | 0.2439
209 | HASTINGS | 7086 | 0.24279
210 | Auburn | L270 | 0.24265
211 | PERRYTON | 1235 | 0.23582
212 | Irick | IB120 | 0.23529
213 | Morton | M130 | 0.23516
214 | Highland | L430 | 0.23466
215 | Barwise | IB140 | 0.23214
216 | GEORGIA W | 2338 | 0.23026
217 | DIMMITT E | DI150 | 0.22741
218 | PIERCE | 5B00 | 0.22719
219 | DIMMITT S | DI120 | 0.22373
220 | Littlefield South | LI110 | 0.22109
221 | Plainview East | P150 | 0.21935
222 | PERRYTON | 1530 | 0.21635
223 | Wilson | WI114 | 0.21488
224 | LYONS | 5C20 | 0.21414
225 | Doud | 6480 | 0.21241
226 | LAWRENCE PARK W | 5315 | 0.21135
227 | Plainview East | P180 | 0.21053
228 | WATERFIELD | 2364 | 0.20499
229 | Tokio | S800 | 0.20455
230 | INDUSTRIAL | 1412 | 0.20248
231 | DUMAS 19TH | 1371 | 0.19409
232 | MIAMI CITY | 29 | 0.19355
233 | Plant X | X310 | 0.18418
234 | KINGSMILL | 5095 | 0.18182
235 | HERRING | 1434 | 0.17483
236 | ODC | S325 | 0.17431
237 | FRIONA RURAL | 2436 | 0.17378
238 | Denver City East | S100 | 0.17376
239 | Acco | L580 | 0.17365
240 | Curry Co | 3486 | 0.17207
241 | Lockney West | WL110 | 0.16814
242 | Diekemper | DI110 | 0.16667
243 | Aiken Rural | LA110 | 0.16667
244 | Muleshoe City | MU620 | 0.16614
245 | SONCY | 5130 | 0.16553
246 | Globe | L450 | 0.16444
247 | EAST PLANT | A04 | 0.16352
248 | Carver | L180 | 0.16206
249 | BUSH | 5205 | 0.15975
250 | Littlefield West | LI156 | 0.15766
251 | Hale Center | HR110 | 0.15681
252 | ESTACADO | 5D20 | 0.15625
253 | VAN BUREN S | 7198 | 0.15579
254 | VAN BUREN N | 7044 | 0.15556
255 | Tuco | N412 | 0.15412
256 | Knoxville | L380 | 0.15272
257 | STRATFORD | 1290 | 0.15269
258 | KINGSMILL | 5115 | 0.15198
259 | WEST BORGER | 1A10 | 0.15038
260 | Silverton | SI640 | 0.14919
261 | Lewters | L470 | 0.14706
262 | DIMMITT S | DI110 | 0.14642
263 | FRITCH | 1364 | 0.14605
264 | SPRINGCREEK | 1316 | 0.13825
265 | STINNETT | 1328 | 0.13805
266 | LAWRENCE PARK E | 5025 | 0.13793
267 | Lorenzo | LR612 | 0.1377
268 | Riley | S510 | 0.13761
269 | Allmon | AT120 | 0.13761
270 | HASTINGS | 7082 | 0.13616
271 | 3RD & WESTERN | 240 | 0.13504
272 | LAWRENCE PARK E | 5020 | 0.13324
273 | SONCY | 7020 | 0.13023
274 | Doud | 6305 | 0.12808
275 | Stanton 23KV | 6430 | 0.12437
276 | Plainview City | P620 | 0.12399
277 | Levelland East | LV960 | 0.12284
278 | Stanton 23KV | 6570 | 0.12264
279 | Murphy | 7430 | 0.12202
280 | HASTINGS | 7074 | 0.11955
281 | Seminole | S600 | 0.11765
282 | Kress Rural | KR110 | 0.11709
283 | Sudan Rural | SR110 | 0.1165
284 | ISOM | 232 | 0.1157
285 | Plainview South | P210 | 0.11494
286 | 3RD & WESTERN | 241 | 0.11483
287 | INDUSTRIAL | 1416 | 0.11473
288 | Crosbyton | CR615 | 0.11467
289 | GEORGIA W | 2346 | 0.11464
290 | Littlefield City | LI640 | 0.11438
291 | NORTH BORGER | 201 | 0.11149
292 | Elbert | EL110 | 0.11111
293 | Jones | L600 | 0.11044
294 | COULTER | 5280 | 0.11028
295 | Plainview South | P220 | 0.10915
296 | Floydada | FL620 | 0.10891
297 | Plainview West | P110 | 0.10694
298 | Littlefield City | LI620 | 0.10563
299 | Plainview East | P160 | 0.10408
300 | CANADIAN | 340 | 0.10329
301 | Auburn | L260 | 0.10121
302 | Moss | 6320 | 0.1012
303 | Tahoka | TA160 | 0.10086
304 | BUFFALO | 2215 | 0.1
305 | Stanton 12KV | L540 | 0.099554
306 | Harwell | L280 | 0.098425
307 | Idalou | ID110 | 0.096703
308 | Highland | L410 | 0.096601
309 | KITE | 7106 | 0.096386
310 | DALHART | 114 | 0.094949
311 | Sears | L670 | 0.09434
312 | LAWRENCE PARK E | 5275 | 0.093187
313 | Wheelock | 7365 | 0.091031
314 | ETTER RURAL | 5410 | 0.088452
315 | Ivory | L685 | 0.088264
316 | Hart | HA120 | 0.085502
317 | HEREFORD | 2630 | 0.083053
318 | LAWRENCE PARK W | 5050 | 0.082386
319 | Lariat | MR110 | 0.081395
320 | 34TH STREET | 5B90 | 0.081329
321 | Monroe | 6610 | 0.081264
322 | Jones | L590 | 0.08026
323 | Levelland East | LV950 | 0.079772
324 | Farwell | FA610 | 0.079404
325 | DUMAS SOUTH | 152 | 0.078481
326 | Westridge | P450 | 0.078151
327 | Jones | L610 | 0.077151
328 | Lockney | LO610 | 0.076923
329 | Denver City East | S110 | 0.076863
330 | HARTLEY | D144 | 0.075862
331 | Silverton | SI650 | 0.07483
332 | STRATFORD | 1294 | 0.074074
333 | Garza 4KV | PO110 | 0.073394
334 | Hale Center | HC610 | 0.072555
335 | Mallet | LV120 | 0.071429
336 | Harwell | L290 | 0.068966
337 | FRIONA | 34 | 0.068017
338 | Garza 4KV | PO120 | 0.066667
339 | CENTER | 5310 | 0.061209
340 | Wadley | L230 | 0.061151
341 | DALHART | 116 | 0.059603
342 | GEORGIA E | 5B30 | 0.059328
343 | PUCKETT | 5C30 | 0.059322
344 | VAN BUREN N | 7048 | 0.057737
345 | Amherst | AM610 | 0.057143
346 | Flanagan | S550 | 0.057143
347 | Ralls | RA612 | 0.057001
348 | SPEARMAN CITY | 402 | 0.05638
349 | Sears | L360 | 0.052863
350 | Knoxville | L390 | 0.052493
351 | Sudan Rural | SR120 | 0.052301
352 | SAN JACINTO | 130 | 0.052083
353 | SEMINOLE | S721 | 0.051429
354 | Carver | L190 | 0.051095
355 | Allen | L750 | 0.051051
356 | ONG | 148 | 0.050926
357 | EAST PLANT | A03 | 0.050794
358 | Plainview City | P630 | 0.050691
359 | Allen | L520 | 0.050262
360 | RIVERVIEW | R095 | 0.049315
361 | EAST PLANT | A126 | 0.049261
362 | CANADIAN | 325 | 0.049261
363 | PUCKETT | 5C35 | 0.048482
364 | Lockney | LO620 | 0.048387
365 | ESTACADO | 5D10 | 0.047876
366 | Muleshoe Valley | MR150 | 0.047059
367 | Batton | L622 | 0.046036
368 | Meadow | ME110 | 0.044674
369 | Carlisle | 6635 | 0.044643
370 | Slaton 4KV | SL150 | 0.043142
371 | Highland | L420 | 0.042735
372 | COULTER | 5290 | 0.042191
373 | Littlefield City | LI630 | 0.041985
374 | DALHART | 1580 | 0.041885
375 | Hendrick | 6675 | 0.041549
376 | Tuco | N404 | 0.040682
377 | Wadley | L240 | 0.04
378 | Plainview City | P670 | 0.039801
379 | Sears | L660 | 0.038043
380 | Junction | L320 | 0.037975
381 | Morton | M120 | 0.036641
382 | ISOM | 231 | 0.036638
383 | Allen | L510 | 0.036424
384 | Allmon | AT110 | 0.035714
385 | Plainview City | P680 | 0.034884
386 | RIVERVIEW | R090 | 0.034483
387 | Wolfforth | WF110 | 0.032967
388 | CANADIAN | 350 | 0.030837
389 | Stanton 23KV | 6420 | 0.030822
390 | HIGGINS | 260 | 0.030303
391 | VAN BUREN N | 7046 | 0.029703
392 | VAN BUREN S | 7190 | 0.029412
393 | Wadley | L220 | 0.029268
394 | Whitharral | LV710 | 0.029126
395 | Slaton 4KV | SL140 | 0.028933
396 | Globe | L440 | 0.027778
397 | FOLLETT | 420 | 0.027174
398 | SHERMAN | 1456 | 0.026761
399 | Batton | L650 | 0.026144
400 | Lynn | 6300 | 0.025145
401 | Plainview North | P270 | 0.02459
402 | Wilson | WI110 | 0.02459
403 | DARROUZETT | 480 | 0.024096
404 | BOOKER | 422 | 0.023585
405 | Lubbock City | L202 | 0.023364
406 | Muleshoe City | MU610 | 0.022449
407 | STRATFORD | 256 | 0.022388
408 | Cone | CO612 | 0.022222
409 | SONCY | 7024 | 0.021418
410 | South Floydada | 3547 | 0.021277
411 | Junction | L310 | 0.019108
412 | SAN JACINTO | 132 | 0.017668
413 | Muleshoe East | MU640 | 0.017544
414 | Ivory | L682 | 0.016949
415 | Lynn | 6340 | 0.016931
416 | Farwell | FA620 | 0.01626
417 | BONHAM | 156 | 0.014286
418 | SHERMAN | 1448 | 0.013631
419 | SPEARMAN CITY | 302 | 0.013423
420 | DALHART | 106 | 0.013333
421 | Levelland City 2.4KV | LV530 | 0.011905
422 | Ropesville | RP110 | 0.011905
423 | GEORGIA W | 2342 | 0.011509
424 | Whiteface | LV220 | 0.0074627
425 | Lubbock City | L204 | 0.0070922
426 | Levelland City 2.4KV | LV520 | 0.0055556
427 | CANADIAN | 335 | 0.0054945
428 | Anton City | AN620 | 0.0054945
429 | ONG | 146 | 0.0054645
430 | SPEARMAN CITY | 301 | 0.0051813
431 | TYLER | 280 | 0.0049505
432 | VAN BUREN S | 7194 | 0.004717
433 | Indiana | 7450 | 0.0045249
434 | Seminole | S610 | 0.0043668
435 | Shallowater | SH110 | 0.0036101
436 | Indiana | 7465 | 0.003386
437 | PUCKETT | 5C60 | 0.0028169
438 | New Deal | L490 | 0.0027322
439 | Batton | L640 | 0.0023364
440 | BOISE CITY EAST | 410 | 0.0021053
441 | Wheelock | 7370 | 0.0018692
442 | DENVER CITY | W730 | 0
443 | LAMB | 3838 | 0
444 | ELKHART OIL FIELD | 520 | 0
445 | Adair | S790 | 0
446 | ELKHART | 500 | 0
447 | ELKHART | 0284 | 0
448 | SULPHUR SPRINGS | 6F35 | 0
449 | Boardman | S430 | 0
450 | SEAGRAVES | 6F15 | 0
451 | FLOYD | 8871 | 0
452 | LAMB | 3846 | 0
453 | ELKHART | 510 | 0
454 | LAMB | 3842 | 0
455 | BEAVER CITY | 714 | 0
456 | DENVER CITY | W710 | 0
457 | COX | 3830 | 0
458 | LYNN | 6F45 | 0
459 | CROSBY | 7810 | 0
460 | COX | 3834 | 0
461 | SEAGRAVES | 6F05 | 0
462 | BEAVER CITY | 0230 | 0
463 | BEAVER | 0224 | 0
464 | BEAVER CITY | 710 | 0
465 | Bardwell | BA110 | 0
466 | LOCKNEY RURAL | 8724 | 0
467 | TUCO | N723 | 0
468 | DUMAS NORTH | D156 | 0
469 | HOCKLEY | 7765 | 0
470 | HAPPY | 3786 | 0
471 | HALE | 8736 | 0
472 | TUCO | N727 | 0
473 | KRESS | 9718 | 0
474 | TUCO | N606 | 0
475 | HALE | 3744 | 0
476 | GRAHAM | 6F70 | 0
477 | TUCO | N702 | 0
478 | LAMTON | 6G05 | 0
479 | DUMAS SOUTH | D148 | 0
480 | LAMB | 3850 | 0
481 | LUBBOCK EAST | 6805 | 0
482 | LAMTON | 6G10 | 0
483 | LUBBOCK EAST | 6825 | 0
484 | GAINES | 7715 | 0
485 | TERRY | 6760 | 0
486 | LUBBOCK EAST | 6835 | 0
487 | LUBBOCK SOUTH | 6810 | 0
488 | LUBBOCK SOUTH | 6820 | 0
489 | FLOYD | 8875 | 0
490 | HOCKLEY | 7775 | 0
491 | TUCO | N710 | 0
492 | GAINES | 7735 | 0
493 | GRAHAM | 6F65 | 0
494 | GUYMON CITY | 120 | 0
495 | GUYMON WEST | 160 | 0
496 | GUYMON WEST | 150 | 0
497 | GUYMON NORTHEAST | 0170 | 0
498 | GUYMON NORTHEAST | 140 | 0
499 | GUYMON NORTHEAST | 0180 | 0
500 | GUYMON CITY | 110 | 0
501 | SHERMAN | 1460 | 0
502 | GUYMON CITY | G130 | 0
503 | HEREFORD | 2742 | 0
504 | GOODWELL | 300 | 0
505 | GOODWELL | 310 | 0
506 | RIVERVIEW | R920 | 0
507 | FRIONA RURAL | 2410 | 0
508 | FORGAN OIL | 700 | 0
509 | Floydada | FL610 | 0
510 | Texaco | LV980 | 0
511 | GUYMON CITY | 100 | 0
512 | NASS | 2728 | 0
513 | Lubbock City | L212 | 0
514 | MIAMI NE | 5885 | 0
515 | Middleton | LV810 | 0
516 | KINGSMILL | 2180 | 0
517 | KINGSMILL | 2800 | 0
518 | MOORE CO | M748 | 0
519 | TEXAS CO | 0025 | 0
520 | Riley | S500 | 0
521 | KEYES | 0900 | 0
522 | Prentice | S875 | 0
523 | HUTCHINSON | 1822 | 0
524 | PARMER | 2455 | 0
525 | PERRYTON | 1F40 | 0
526 | Plainview City | P690 | 0
527 | HERRING | 1438 | 0
528 | CHANNING | 101-3 | 0
529 | DUMAS 19TH | 1444 | 0
530 | KEYES | 0250 | 0
531 | BOWERS | 2786 | 0
532 | WYE | 3309 | 0
533 | WYE | 3310 | 0
534 | Zavalla | LV790 | 0
535 | SEAGRAVES | 5711 | 0
536 | BOWERS | 5710 | 0
537 | BOWERS | 5875 | 0
538 | Sears | L350 | 0
539 | BOWERS | 5795/2893 | 0
540 | CASTRO | 5870 | 0
541 | BAILEY | 3867 | 0
542 | CARLISLE | 6880 | 0
543 | BOOKER | 535 | 0
544 | BOOKER | 3308 | 0
545 | COCHRAN | 7835 | 0
546 | COCHRAN | 7845 | 0
547 | BOISE CITY REG | J130 | 0
548 | BAILEY | 3860 | 0
549 | TEXHOMA | 195 | 0
550 | SONCY | 7116 | 0
551 | STRATFORD | 251 | 0
552 | DALHART | 5825 | 0
553 | SUNSET | 5D30 | 0
554 | DALHART | 1865 | 0
555 | TEXAS | 0134 | 0
556 | TEXAS | 0142 | 0
557 | SLATON 23KV | 6600 | 0
558 | TEXAS | 0H08 | 0
559 | GARZA | 6520 | 0
560 | TEXHOMA | 190 | 0
561 | TEXHOMA | 185 | 0
562 | THOMPSON | 0644 | 0
563 | THOMPSON | 0108 | 0
564 | THOMPSON | 0104 | 0
565 | THOMPSON | 0636 | 0
566 | BOISE CITY REG | J140 | 0
567 | TEXAS | 0616/0612 | 0

## Feeder-SAIDI
List all Distribution Feeders on Texas System |  |  | Total Number of Feeders
Add or Delete Rows as Necessary |  |  | 567 (>=10 Cust)
Southwestern Public Service Co
1999 SAIDI Ranking | Substation Identification | Feeder Identification | 1999 SAIDI Value
1 | KINGSMILL | 5100 | 1403.4198
2 | Barwise | IB130 | 1064.7759
3 | Tenneco | S440 | 1007.0652
4 | Springlake | SO140 | 992.5435
5 | CHANNING | 1564 | 795.3684
6 | Springlake | SO150 | 734.8889
7 | CHANNING | 1568 | 472.7
8 | BOWERS | 2053 | 445.4038
9 | SNEED | 1400 | 436.2
10 | Hendrick | 6685 | 392.0498
11 | ROBERTS | 7010 | 365.5714
12 | BUFFALO | 5165 | 349.1895
13 | DALHART | 1664 | 313.8
14 | Lehman | LV510 | 308.7184
15 | KINGSMILL | 5105 | 291.5518
16 | TASCOSA | 1222 | 274.5135
17 | PERRYTON | 1535 | 257.8146
18 | MOORE CO | M060 | 243.6378
19 | HEREFORD | 2627 | 241.3167
20 | FARMERS | 5395 | 240.6586
21 | TASCOSA | 1218 | 230.4253
22 | Yellowhouse | LV900 | 226.6538
23 | RIVERVIEW | R100 | 217.7319
24 | SPEARMAN INTG | 1210 | 205.5369
25 | Jaybee | S765 | 200.8125
26 | Russell | S280 | 195.0244
27 | BOWERS | 5090 | 194.0927
28 | HASTINGS | 7078 | 193.1907
29 | CHANNING | 145-3 | 188.1422
30 | SPRINGCREEK | 1320 | 185.6264
31 | TEXAS | 0146 | 184.8571
32 | Kress Rural | KR120 | 178.5159
33 | Southland | SO110 | 177.2755
34 | HAPPY CITY | 7040 | 168.6776
35 | Whiteface | LV210 | 164.7955
36 | BURNETT | 1394 | 162.7752
37 | WADE | 1420 | 158.4921
38 | PRINGLE OIL | 1200 | 157.9943
39 | Olton | SO180 | 155.4632
40 | Lehman | LV500 | 154.8971
41 | Vickers | 6680 | 154.4654
42 | Kress Rural | KR140 | 151.7778
43 | SUNRAY | 5A55 | 147.5271
44 | SOUTHEAST | 5C80 | 147.0287
45 | PARMER | 2475 | 145.6703
46 | PARMER | 2465 | 145.5
47 | Doud | 6325 | 143.7178
48 | Irick | IB110 | 141.383
49 | WHITAKER | 5270 | 136.8174
50 | Batton | L624 | 131.3493
51 | Levelland City 12KV | LV180 | 130.9082
52 | ROXANA | 2076 | 130.4045
53 | PERRYTON | 1230 | 127.1516
54 | San Andres | S370 | 126.2073
55 | Amherst | AM610 | 125.1429
56 | South Floydada | 3551 | 121.9883
57 | Levelland City 12KV | LV190 | 121.0377
58 | WATERFIELD | 2368 | 120.9124
59 | Muleshoe West | MR140 | 120.4424
60 | BOWERS | 2057 | 120.3253
61 | Muleshoe West | MR130 | 118.7976
62 | EXELL | 1242 | 118.6697
63 | DUMAS 19TH | 1367 | 118.6484
64 | Plainview West | P130 | 113.8743
65 | DUMAS 19TH | 1470 | 113.0114
66 | CHERRY STREET | 5C15 | 111.9711
67 | Zavalla | LV780 | 109.3
68 | ODC | S335 | 107.913
69 | NORTH BORGER | 203 | 102.7187
70 | Cedar Lake East | S910 | 102.6786
71 | Lockney Rural | LA140 | 102.3494
72 | Bainer | BA601 | 101.3333
73 | Doss 23kV | 6670 | 100.7124
74 | Lockney Rural | LA150 | 99.7027
75 | SPEARMAN CITY | 401 | 99.375
76 | Doss 12kV | S410 | 97.9854
77 | MOORE CO | M055 | 97.7576
78 | MC LEAN | 5300 | 96.6147
79 | Garza 23KV | 6500 | 94.8241
80 | Lockney Rural | 3417 | 93
81 | County Line | CL110 | 92.8333
82 | WILDORADO | 2018 | 89.8972
83 | HIGHLAND PARK | 5335 | 88.1605
84 | LYONS | 5C25 | 87.7356
85 | HIGHLAND PARK | 5325 | 87.5833
86 | Lynn | 6510 | 86.0909
87 | EXELL | 1238 | 85.9649
88 | EAST PLANT | A110 | 85.229
89 | CONWAY | 5010 | 85.1297
90 | SHERMAN | 1452 | 85
91 | GRAVES | 7178 | 83.8412
92 | Littlefield South | LI120 | 82.6111
93 | Allen | L505 | 79.9859
94 | WILDORADO | 2014 | 78.7989
95 | DUMAS NORTH | 158 | 77.7994
96 | HEREFORD | 84 | 74.6602
97 | Hart | HA110 | 73.963
98 | KINGSMILL | 5110 | 73.3436
99 | Littlefield City | LI610 | 73.3081
100 | FARMERS | 5390 | 72.5612
101 | 34TH STREET | 5B95 | 68.2513
102 | ARROWHEAD | 5D85 | 68.0105
103 | HEREFORD | 83 | 67.5556
104 | CONWAY | 5005 | 67.3408
105 | EAST PLANT | A122 | 66.2436
106 | ETTER RURAL | 5405 | 65.871
107 | Brisco | 3434 | 65.6646
108 | Allred | S180 | 64.4479
109 | Highland | L430 | 62.9531
110 | MANHATTAN | 5135 | 61.2275
111 | WHITAKER | 5265 | 60.7368
112 | Clutter | 6630 | 58.7599
113 | Roundup | RO110 | 58.7333
114 | Pacific | LV940 | 58.2581
115 | DAWN | 5A35 | 58.0881
116 | SOUTHEAST | 5C85 | 57.5306
117 | ROXANA | 2334 | 56.9489
118 | EAST PLANT | A118 | 56.2001
119 | WATERFIELD | 2361 | 55.6753
120 | Anton City | AN610 | 55.4234
121 | Murphy | 7425 | 54.4535
122 | DUMAS HELIUM | 1264 | 53.8462
123 | Middleton | LV820 | 53.6087
124 | COULTER | 5285 | 52.9581
125 | CANYON W | 5160 | 52.4626
126 | VEGA | 5170 | 51.6074
127 | Big Four | CR118 | 51.4706
128 | CANYON E | 5190 | 51.3734
129 | Allred | S140 | 50.6087
130 | Brownfield | 6580 | 50.4682
131 | Stanton 23KV | 6410 | 49.7561
132 | STINNETT | 1332 | 49.3743
133 | Olton | SO170 | 49.2472
134 | KITE | 5075 | 48.8515
135 | Boardman | S560 | 47.1562
136 | Muleshoe East | MU630 | 45.1181
137 | Irick | IB120 | 45.1176
138 | SPEARMAN INTG | 1512 | 44.802
139 | WHITAKER | 5260 | 44.7364
140 | Westridge | P460 | 44.1151
141 | PIERCE | 5B05 | 43.7953
142 | CHERRY STREET | 5C10 | 43.3054
143 | KITE | 5B80 | 43.2315
144 | DUMAS 19TH | 1498 | 43
145 | PERRYTON | 1530 | 42.201
146 | WEATHERLY | 1354 | 42.1242
147 | Doud | 6345 | 40.9
148 | ARROWHEAD | 5D80 | 40.5467
149 | Crosbyton | CR610 | 38.8641
150 | CARSON | 7030 | 38.4943
151 | Curry Co | 3486 | 37.6284
152 | Plainview South | P230 | 37.0619
153 | Plainview West | P120 | 36.1656
154 | PRINGLE OIL | 1204 | 35.9432
155 | ESTACADO | 5D15 | 35.3835
156 | CARSON | 7034 | 35.2857
157 | SNEED | 1404 | 34.4651
158 | HASTINGS | 7086 | 34.3445
159 | Slaton 23KV | 6690 | 34.0814
160 | BONHAM | 266 | 34.0295
161 | Acco | L570 | 33.7078
162 | DUMAS SOUTH | 152 | 33.4051
163 | MIAMI CITY | 29 | 32.7949
164 | El Paso | S320 | 32.3187
165 | Doss 23kV | 6660 | 31.3088
166 | Amoco | LV920 | 31.2802
167 | SUNSET | 5D35 | 31.2559
168 | WATERFIELD | 2364 | 30.9889
169 | DIMMITT E | DI180 | 30.4103
170 | FRITCH | 1360 | 30.3269
171 | Amherst | AM620 | 30.1128
172 | SAN JACINTO | 128 | 29.0744
173 | GEORGIA E | 5B40 | 29.0296
174 | MANHATTAN | 7160 | 27.7936
175 | Ivory | L680 | 27.0811
176 | Auburn | L270 | 26.8456
177 | Diekemper | DI110 | 26.8333
178 | Plant X | X310 | 26.774
179 | Planters | L710 | 26.0896
180 | MC CULLOUGH | 5085 | 25.4992
181 | 3RD & WESTERN | 240 | 25.4951
182 | 34TH STREET | 5B85 | 25.4083
183 | Allen | L745 | 25.2357
184 | BUSH | 5210 | 25.0165
185 | CANYON E | 5185 | 24.6947
186 | CANYON W | 7128 | 24.5066
187 | FARMERS | 5385 | 24.4935
188 | BUSH | 5215 | 24.2634
189 | LAWRENCE PARK W | 5315 | 24.2525
190 | Doud | 6480 | 23.963
191 | Allen | L740 | 23.0198
192 | Doss 12kV | S400 | 22.8718
193 | ETTER RURAL | 5410 | 22.7862
194 | MANHATTAN | 7164 | 22.7105
195 | PERRYTON | 1235 | 22.5664
196 | West Anton | 3502 | 22.3
197 | WEATHERLY | 1350 | 21.5825
198 | BOOKER | 421 | 21.0939
199 | HAPPY CITY | 2326 | 21.0417
200 | Elwood | LV140 | 20.4833
201 | South Plains | SP610 | 20.3448
202 | MC CULLOUGH | 7002 | 20.1536
203 | CANYON W | 7124 | 20.0281
204 | Plainview North | P260 | 19.9364
205 | Tokio | S800 | 19.8864
206 | Littlefield City | LI640 | 19.7331
207 | DIMMITT E | DI150 | 19.1236
208 | Plainview East | P180 | 18.6211
209 | INDUSTRIAL | 1416 | 18.0779
210 | Morton | M130 | 17.8196
211 | Indiana | 7480 | 17.7516
212 | Mallet | LV120 | 17.7143
213 | KINGSMILL | 5115 | 17.2914
214 | Hale Center | HR110 | 17.2792
215 | WEST BORGER | 1A15 | 17.1822
216 | PIERCE | 5B00 | 17.093
217 | GEORGIA W | 2338 | 16.8818
218 | DIMMITT S | DI110 | 16.6978
219 | Close City | CC110 | 16.4878
220 | DUMAS 19TH | 1371 | 16.3054
221 | Wilson | WI114 | 16.1983
222 | LYONS | 5C20 | 16.0476
223 | Riley | S510 | 15.9358
224 | Levelland East | LV960 | 15.8782
225 | MC CULLOUGH | 7005 | 15.8652
226 | Carlisle | 6650 | 15.7163
227 | LAWRENCE PARK W | 5030 | 15.2319
228 | PIERCE | 5B10 | 14.9287
229 | HERRING | 1434 | 14.9268
230 | Flanagan | S540 | 14.7059
231 | BUSH | 5205 | 14.498
232 | Plainview East | P150 | 14.4452
233 | Petersburg | PE610 | 14.2782
234 | Carver | L180 | 14.0909
235 | Lewters | L470 | 14
236 | DUMAS EAST | 1250 | 13.8932
237 | EAST PLANT | A04 | 13.8239
238 | Acco | L580 | 13.8144
239 | Sudan Rural | SR110 | 13.7573
240 | BUFFALO | 2215 | 13.7
241 | Clutter | 6620 | 13.6578
242 | STRATFORD | 1290 | 13.6168
243 | DALHART | 1246 | 13.4644
244 | Kress Rural | KR110 | 13.4494
245 | VAN BUREN S | 7198 | 13.3633
246 | FRITCH | 1364 | 13.1218
247 | GEORGIA E | 5B35 | 12.9747
248 | Muleshoe Valley | MR150 | 12.9412
249 | STINNETT | 1328 | 12.9369
250 | Littlefield South | LI110 | 12.6062
251 | Wheelock | 7375 | 12.354
252 | DALHART | 1298 | 12.2664
253 | VAN BUREN N | 7044 | 12.1333
254 | Wellman | S755 | 12.0612
255 | HASTINGS | 7074 | 11.9988
256 | CENTER | 5305 | 11.9769
257 | DALHART | 108 | 11.8953
258 | Doud | 6305 | 11.6986
259 | Sears | L670 | 11.673
260 | Globe | L450 | 11.6489
261 | Denver City East | S100 | 11.644
262 | Knoxville | L380 | 11.5084
263 | ESTACADO | 5D20 | 11.0993
264 | Littlefield City | LI620 | 11.0634
265 | Harwell | L280 | 11.0433
266 | HASTINGS | 7082 | 10.9115
267 | Barwise | IB140 | 10.8036
268 | 3RD & WESTERN | 241 | 10.6657
269 | KITE | 7106 | 10.654
270 | Tatum | TA110 | 10.5455
271 | Aiken Rural | LA110 | 10.3646
272 | LAWRENCE PARK E | 5025 | 10.223
273 | LAWRENCE PARK E | 5020 | 10.1768
274 | Tuco | N412 | 10.0143
275 | Jones | L600 | 9.9578
276 | Crosbyton | CR615 | 9.9427
277 | INDUSTRIAL | 1412 | 9.9118
278 | KINGSMILL | 5095 | 9.9091
279 | ISOM | 232 | 9.8705
280 | Moss | 6540 | 9.8592
281 | Lorenzo | LR612 | 9.7377
282 | Lockney West | WL110 | 9.5717
283 | SONCY | 5130 | 9.4907
284 | Auburn | L260 | 9.2794
285 | Littlefield West | LI156 | 9.2523
286 | Stanton 23KV | 6570 | 9.1792
287 | Wadley | L240 | 9.0756
288 | WEST BORGER | 1A10 | 9.0052
289 | Stanton 12KV | L540 | 8.8915
290 | Wadley | L230 | 8.8165
291 | SPRINGCREEK | 1316 | 8.6567
292 | COULTER | 5280 | 8.5627
293 | SONCY | 7020 | 8.5279
294 | Idalou | ID110 | 8.4923
295 | DIMMITT S | DI120 | 8.4881
296 | Littlefield City | LI630 | 8.4466
297 | GEORGIA W | 2346 | 8.173
298 | LAWRENCE PARK W | 5050 | 8.0322
299 | Stanton 23KV | 6430 | 7.995
300 | Muleshoe City | MU620 | 7.6899
301 | El Paso | S340 | 7.6659
302 | Highland | L410 | 7.6172
303 | Murphy | 7430 | 7.5164
304 | Seminole | S600 | 6.9922
305 | Ivory | L685 | 6.9214
306 | FRIONA RURAL | 2436 | 6.8517
307 | Silverton | SI640 | 6.8468
308 | ESTACADO | 5D10 | 6.8386
309 | Plainview City | P620 | 6.8113
310 | RIVERVIEW | R095 | 6.7603
311 | Floydada | FL620 | 6.7574
312 | Allmon | AT120 | 6.6514
313 | Hart | HA120 | 6.5855
314 | 34TH STREET | 5B90 | 6.5372
315 | Lockney | LO620 | 6.5
316 | Jones | L590 | 6.397
317 | Knoxville | L390 | 6.3727
318 | Levelland East | LV950 | 6.302
319 | SHERMAN | 1456 | 6.243
320 | PUCKETT | 5C35 | 6.2254
321 | ODC | S325 | 6.2202
322 | Wheelock | 7365 | 6.1888
323 | Lariat | MR110 | 6.0465
324 | Denver City East | S110 | 5.9736
325 | CANADIAN | 340 | 5.9108
326 | Elbert | EL110 | 5.7778
327 | Plainview East | P160 | 5.6898
328 | SAN JACINTO | 130 | 5.625
329 | Monroe | 6610 | 5.5147
330 | Plainview South | P220 | 5.4666
331 | Tahoka | TA160 | 5.4485
332 | Westridge | P450 | 5.3681
333 | Plainview West | P110 | 5.1217
334 | VAN BUREN N | 7048 | 5.0831
335 | Plainview North | P270 | 5.0656
336 | Carlisle | 6635 | 5.0078
337 | LAWRENCE PARK E | 5275 | 4.9726
338 | Moss | 6320 | 4.9564
339 | BOOKER | 422 | 4.9387
340 | EAST PLANT | A03 | 4.9048
341 | Plainview South | P210 | 4.8966
342 | HEREFORD | 2630 | 4.8743
343 | DALHART | 114 | 4.8141
344 | Harwell | L290 | 4.7356
345 | Sudan Rural | SR120 | 4.7176
346 | Allmon | AT110 | 4.625
347 | Hale Center | HC610 | 4.3091
348 | Allen | L750 | 4.2312
349 | Flanagan | S550 | 4.1143
350 | ONG | 148 | 4.0509
351 | CANADIAN | 325 | 4.0345
352 | Farwell | FA610 | 3.9851
353 | Meadow | ME110 | 3.9656
354 | DALHART | 1580 | 3.8063
355 | STRATFORD | 1294 | 3.7037
356 | FRIONA | 34 | 3.6744
357 | Jones | L610 | 3.6083
358 | CENTER | 5310 | 3.5442
359 | Wadley | L220 | 3.5024
360 | GEORGIA E | 5B30 | 3.3774
361 | HARTLEY | D144 | 3.2483
362 | Silverton | SI650 | 3.1156
363 | PUCKETT | 5C30 | 3.035
364 | Ivory | L682 | 3.0339
365 | Allen | L510 | 2.9989
366 | Allen | L520 | 2.9906
367 | Hendrick | 6675 | 2.6528
368 | Morton | M120 | 2.6183
369 | EAST PLANT | A126 | 2.555
370 | Sears | L660 | 2.4946
371 | RIVERVIEW | R090 | 2.4828
372 | Sears | L360 | 2.3568
373 | SHERMAN | 1448 | 2.3544
374 | Batton | L622 | 2.3095
375 | Lockney | LO610 | 2.3077
376 | Carver | L190 | 2.292
377 | Lubbock City | L202 | 2.2617
378 | COULTER | 5290 | 2.2198
379 | Plainview City | P630 | 2.1628
380 | Globe | L440 | 2.1548
381 | ISOM | 231 | 2.1466
382 | NORTH BORGER | 201 | 2.1419
383 | Garza 4KV | PO120 | 2.1196
384 | Stanton 23KV | 6420 | 2.0702
385 | Garza 4KV | PO110 | 2.0661
386 | Tuco | N404 | 2.0591
387 | Muleshoe City | MU610 | 2.051
388 | Highland | L420 | 2
389 | VAN BUREN N | 7046 | 1.9868
390 | SONCY | 7024 | 1.9838
391 | Junction | L320 | 1.9705
392 | SEMINOLE | S721 | 1.9171
393 | STRATFORD | 256 | 1.8756
394 | Farwell | FA620 | 1.8577
395 | SAN JACINTO | 132 | 1.8057
396 | Ralls | RA612 | 1.7968
397 | South Floydada | 3547 | 1.6766
398 | Wolfforth | WF110 | 1.6209
399 | Plainview City | P670 | 1.5423
400 | Plainview City | P680 | 1.5349
401 | Ropesville | RP110 | 1.5238
402 | Slaton 4KV | SL140 | 1.4919
403 | Cone | CO612 | 1.4889
404 | Batton | L650 | 1.4641
405 | VAN BUREN S | 7190 | 1.4412
406 | FOLLETT | 420 | 1.4375
407 | Slaton 4KV | SL150 | 1.4248
408 | DALHART | 116 | 1.3841
409 | Wilson | WI110 | 1.3361
410 | HIGGINS | 260 | 1.303
411 | Lynn | 6340 | 1.2868
412 | Whitharral | LV710 | 1.2816
413 | DARROUZETT | 480 | 1.1767
414 | SPEARMAN CITY | 302 | 1.1326
415 | BONHAM | 156 | 1.1238
416 | Lynn | 6300 | 0.99226
417 | Whiteface | LV220 | 0.84701
418 | Muleshoe East | MU640 | 0.82456
419 | Junction | L310 | 0.67834
420 | VAN BUREN S | 7194 | 0.65566
421 | SPEARMAN CITY | 402 | 0.64392
422 | SPEARMAN CITY | 301 | 0.59585
423 | PUCKETT | 5C60 | 0.49718
424 | GEORGIA W | 2342 | 0.46931
425 | CANADIAN | 350 | 0.46256
426 | DALHART | 106 | 0.43333
427 | Lubbock City | L204 | 0.41844
428 | TYLER | 280 | 0.41584
429 | Indiana | 7450 | 0.41047
430 | Anton City | AN620 | 0.33242
431 | Shallowater | SH110 | 0.30325
432 | CANADIAN | 335 | 0.27473
433 | Indiana | 7465 | 0.26185
434 | Seminole | S610 | 0.25328
435 | New Deal | L490 | 0.22951
436 | Levelland City 2.4KV | LV530 | 0.20238
437 | ONG | 146 | 0.19126
438 | BOISE CITY EAST | 410 | 0.17895
439 | Batton | L640 | 0.14136
440 | Levelland City 2.4KV | LV520 | 0.094444
441 | Wheelock | 7370 | 0.094081
442 | BEAVER | 0224 | 0
443 | BEAVER CITY | 710 | 0
444 | BEAVER CITY | 0230 | 0
445 | LAMB | 3842 | 0
446 | GAINES | 7715 | 0
447 | FLOYD | 8875 | 0
448 | Boardman | S430 | 0
449 | BEAVER CITY | 714 | 0
450 | GAINES | 7735 | 0
451 | GRAHAM | 6F65 | 0
452 | Bardwell | BA110 | 0
453 | GRAHAM | 6F70 | 0
454 | KRESS | 9718 | 0
455 | HALE | 3744 | 0
456 | HALE | 8736 | 0
457 | HAPPY | 3786 | 0
458 | HOCKLEY | 7765 | 0
459 | HOCKLEY | 7775 | 0
460 | LAMB | 3838 | 0
461 | TUCO | N702 | 0
462 | ELKHART | 0284 | 0
463 | ELKHART | 510 | 0
464 | PARMER | 2455 | 0
465 | SULPHUR SPRINGS | 6F35 | 0
466 | PERRYTON | 1F40 | 0
467 | LAMTON | 6G10 | 0
468 | TERRY | 6760 | 0
469 | SEAGRAVES | 6F15 | 0
470 | TUCO | N710 | 0
471 | DUMAS SOUTH | D148 | 0
472 | TUCO | N723 | 0
473 | TUCO | N727 | 0
474 | DUMAS NORTH | D156 | 0
475 | TUCO | N606 | 0
476 | Plainview City | P690 | 0
477 | LUBBOCK EAST | 6835 | 0
478 | LAMB | 3850 | 0
479 | Riley | S500 | 0
480 | NASS | 2728 | 0
481 | LAMTON | 6G05 | 0
482 | LOCKNEY RURAL | 8724 | 0
483 | Adair | S790 | 0
484 | ELKHART | 500 | 0
485 | LUBBOCK EAST | 6825 | 0
486 | ELKHART OIL FIELD | 520 | 0
487 | LUBBOCK SOUTH | 6810 | 0
488 | LUBBOCK SOUTH | 6820 | 0
489 | LYNN | 6F45 | 0
490 | SEAGRAVES | 6F05 | 0
491 | Prentice | S875 | 0
492 | LAMB | 3846 | 0
493 | LUBBOCK EAST | 6805 | 0
494 | THOMPSON | 0108 | 0
495 | HUTCHINSON | 1822 | 0
496 | TEXHOMA | 190 | 0
497 | TEXHOMA | 185 | 0
498 | FRIONA RURAL | 2410 | 0
499 | STRATFORD | 251 | 0
500 | FORGAN OIL | 700 | 0
501 | SONCY | 7116 | 0
502 | THOMPSON | 0644 | 0
503 | GOODWELL | 310 | 0
504 | THOMPSON | 0104 | 0
505 | THOMPSON | 0636 | 0
506 | DUMAS 19TH | 1444 | 0
507 | KEYES | 0900 | 0
508 | KEYES | 0250 | 0
509 | KINGSMILL | 2800 | 0
510 | WYE | 3310 | 0
511 | Floydada | FL610 | 0
512 | GUYMON NORTHEAST | 0180 | 0
513 | TEXAS | 0134 | 0
514 | TEXAS | 0142 | 0
515 | TEXAS | 0616/0612 | 0
516 | SUNSET | 5D30 | 0
517 | HEREFORD | 2742 | 0
518 | GUYMON WEST | 160 | 0
519 | GUYMON WEST | 150 | 0
520 | HERRING | 1438 | 0
521 | GUYMON NORTHEAST | 140 | 0
522 | CHANNING | 101-3 | 0
523 | GUYMON CITY | 110 | 0
524 | GUYMON CITY | 100 | 0
525 | GUYMON CITY | G130 | 0
526 | GUYMON CITY | 120 | 0
527 | TEXAS | 0H08 | 0
528 | GOODWELL | 300 | 0
529 | DALHART | 5825 | 0
530 | GUYMON NORTHEAST | 0170 | 0
531 | BOWERS | 2786 | 0
532 | CARLISLE | 6880 | 0
533 | COCHRAN | 7835 | 0
534 | COCHRAN | 7845 | 0
535 | COX | 3830 | 0
536 | BOWERS | 5710 | 0
537 | BOWERS | 5875 | 0
538 | KINGSMILL | 2180 | 0
539 | BOWERS | 5795/2893 | 0
540 | BAILEY | 3860 | 0
541 | CROSBY | 7810 | 0
542 | DENVER CITY | W710 | 0
543 | BOOKER | 535 | 0
544 | BOOKER | 3308 | 0
545 | DENVER CITY | W730 | 0
546 | FLOYD | 8871 | 0
547 | BOISE CITY REG | J130 | 0
548 | COX | 3834 | 0
549 | Texaco | LV980 | 0
550 | DALHART | 1865 | 0
551 | SHERMAN | 1460 | 0
552 | GARZA | 6520 | 0
553 | SLATON 23KV | 6600 | 0
554 | Lubbock City | L212 | 0
555 | Sears | L350 | 0
556 | CASTRO | 5870 | 0
557 | BAILEY | 3867 | 0
558 | Middleton | LV810 | 0
559 | TEXAS CO | 0025 | 0
560 | WYE | 3309 | 0
561 | TEXHOMA | 195 | 0
562 | Zavalla | LV790 | 0
563 | SEAGRAVES | 5711 | 0
564 | RIVERVIEW | R920 | 0
565 | MOORE CO | M748 | 0
566 | BOISE CITY REG | J140 | 0
567 | MIAMI NE | 5885 | 0

## Causes
Southwestern Public Service Co
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 40.26%
|  | Vegetation | 7.41%
|  | Animals and Birds | 10.35%
|  | People (Including cars and farm equip) | 3.827%
|  | Utility-owned Equipment | 19.43%
|  | Other | 7.613%
|  | Unknown | 11.11%