## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Reliant Energy HL&P
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 1214
Due: |  | February 15, 2000
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 21972
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Industry Analysis Division
Office of Regulatory Affairs
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
1998 And 1999
Reliant Energy HL&P
Project 21972

## System-SAIFI
Reliant Energy HL&P
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 1.48 | 0.1 | 0.09 | 0.09 | 0.1 | 0.1 | 0.15 | 0.19 | 0.22 | 0.15 | 0.13 | 0.09 | 0.1
1999 | 1.23 | 0.1 | 0.06 | 0.12 | 0.09 | 0.13 | 0.14 | 0.11 | 0.12 | 0.1 | 0.08 | 0.08 | 0.1
Scheduled
1998 | 0.23 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.02 | 0.03 | 0.02 | 0.01 | 0.01
1999 | 0.19 | 0.02 | 0.01 | 0.02 | 0.02 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01
Outside Causes
1998 | 0.16 | 0.01 | 0 | 0.01 | 0.01 | 0.01 | 0.03 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01
1999 | 0.12 | 0.01 | 0 | 0.01 | 0.01 | 0 | 0.01 | 0.01 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01
Major Events
1998 | 0.16 | 0 | 0.07 | 0 | 0 | 0 | 0 | 0.06 | 0 | 0.02 | 0.01 | 0 | 0
1999 | 0.53 | 0 | 0 | 0 | 0 | 0.36 | 0 | 0 | 0.15 | 0.02 | 0 | 0 | 0

## System-SAIDI
Reliant Energy HL&P
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 122.55 | 9.27 | 7.34 | 6.21 | 6.12 | 7.75 | 11.26 | 19.17 | 18.05 | 15.23 | 11.06 | 7.13 | 5.88
1999 | 91.35 | 8.43 | 4.36 | 10.05 | 5.6 | 11.26 | 10.41 | 9.44 | 9.99 | 6.93 | 4.87 | 3.55 | 6.28
Scheduled
1998 | 15.99 | 1.13 | 1.25 | 1.23 | 1.39 | 1.23 | 1.68 | 1.67 | 1.58 | 1.52 | 1.24 | 0.98 | 0.95
1999 | 13.86 | 1.35 | 1.01 | 1.13 | 1.2 | 0.85 | 1.1 | 1.17 | 1.67 | 1.31 | 1 | 1 | 1.03
Outside Causes
1998 | 3.6 | 0.29 | 0.06 | 0.47 | 0.28 | 0.47 | 0.32 | 0.49 | 0.65 | 0.11 | 0.13 | 0.27 | 0.1
1999 | 3.81 | 1.13 | 0.14 | 0.19 | 0.1 | 0.21 | 0.25 | 0.09 | 0.32 | 0.9 | 0.17 | 0.18 | 0.13
Major Events
1998 | 39.45 | 0 | 12.52 | 0 | 0 | 0 | 0 | 15.83 | 0 | 9.18 | 2.33 | 0.16 | 0
1999 | 137.56 | 0 | 0 | 0 | 0 | 102.47 | 0 | 0 | 30.85 | 3.39 | 0 | 0 | 0

## Feeder-SAIFI
List all Distribution Feeders on Texas System |  |  | Total Number of Feeders
Add or Delete Rows as Necessary |  |  | 1214
Reliant Energy HL&P
1999 SAIFI Ranking | Substation Identification | Feeder Identification | 1999 SAIFI Value
1 | FM | 02 | 6.4654
2 | KL | 41 | 5.8992
3 | FD | 16 | 5.7044
4 | KW | 41 | 5.6039
5 | TB | 47 | 5.4371
6 | HB | 03 | 5.2075
7 | AD | 09 | 5.1872
8 | TM | 04 | 5.0478
9 | SA | 42 | 4.8929
10 | SF | 41 | 4.8546
11 | WD | 45 | 4.7788
12 | DR | 02 | 4.7447
13 | BL | 01 | 4.7351
14 | RZ | 02 | 4.7133
15 | CS | 02 | 4.661
16 | SO | 41 | 4.6082
17 | FM | 01 | 4.5783
18 | SA | 45 | 4.5643
19 | FR | 42 | 4.5641
20 | NSH | 03 | 4.5346
21 | WE | 07 | 4.5316
22 | AE | 05 | 4.4365
23 | FM | 03 | 4.4314
24 | HB | 04 | 4.4172
25 | MB | 08 | 4.4156
26 | PI | 42 | 4.3967
27 | FR | 41 | 4.3696
28 | LK | 03 | 4.3227
29 | BV | 42 | 4.3166
30 | SA | 46 | 4.3144
31 | NP | 41 | 4.258
32 | IND | 01 | 4.2273
33 | GE | 44 | 4.118
34 | CE | 01 | 4.0115
35 | STW | 05 | 3.9512
36 | RT | 01 | 3.9163
37 | CYF | 41 | 3.8018
38 | HV | 06 | 3.7791
39 | HB | 45 | 3.752
40 | RO | 02 | 3.7451
41 | KL | 42 | 3.7321
42 | LW | 41 | 3.631
43 | NV | 01 | 3.5866
44 | WA | 01 | 3.5848
45 | BA | 43 | 3.5606
46 | TWG | 43 | 3.5423
47 | BG | 01 | 3.5002
48 | BW | 02 | 3.5
49 | CB | 09 | 3.4914
50 | CD | 03 | 3.4742
51 | HG | 04 | 3.4602
52 | RA | 41 | 3.4486
53 | PK | 46 | 3.4444
54 | WF | 41 | 3.4296
55 | MU | 02 | 3.3852
56 | BY | 05 | 3.3805
57 | DA | 04 | 3.3608
58 | AT | 41 | 3.3552
59 | GE | 46 | 3.3545
60 | HR | 02 | 3.2975
61 | KT | 44 | 3.2886
62 | AL | 06 | 3.2861
63 | SF | 46 | 3.2666
64 | HV | 08 | 3.2379
65 | LW | 42 | 3.2268
66 | GA | 09 | 3.2258
67 | CE | 03 | 3.2183
68 | CRB | 42 | 3.2163
69 | HK | 05 | 3.1889
70 | FZ | 44 | 3.1001
71 | KT | 41 | 3.0859
72 | CD | 11 | 3.0651
73 | TRM | 02 | 3.0373
74 | HK | 04 | 2.9874
75 | LB | 03 | 2.9815
76 | CRB | 41 | 2.9479
77 | DA | 05 | 2.9193
78 | SE | 02 | 2.8832
79 | WI | 04 | 2.8646
80 | GW | 02 | 2.8572
81 | AM | 05 | 2.8506
82 | WEB | 09 | 2.8479
83 | KT | 04 | 2.8443
84 | BI | 42 | 2.8219
85 | HE | 02 | 2.7762
86 | STW | 02 | 2.7684
87 | AD | 05 | 2.7637
88 | GL | 05 | 2.756
89 | LM | 04 | 2.7527
90 | GP | 03 | 2.739
91 | PE | 01 | 2.7377
92 | AL | 08 | 2.7024
93 | KM | 05 | 2.6914
94 | NV | 02 | 2.6847
95 | AR | 42 | 2.6787
96 | THW | 43 | 2.6728
97 | AM | 03 | 2.671
98 | DL | 43 | 2.671
99 | LC | 01 | 2.6581
100 | CV | 02 | 2.6483
101 | RU | 05 | 2.6476
102 | FZ | 43 | 2.6277
103 | LU | 43 | 2.6158
104 | BI | 44 | 2.6139
105 | AD | 03 | 2.6075
106 | NEW | 01 | 2.6033
107 | UL | 48 | 2.6013
108 | OA | 07 | 2.5897
109 | BY | 09 | 2.5868
110 | MC | 04 | 2.572
111 | KB | 11 | 2.5716
112 | PZ | 41 | 2.5664
113 | IM | 47 | 2.5634
114 | GE | 41 | 2.5583
115 | FR | 45 | 2.5486
116 | EC | 06 | 2.5401
117 | BAR | 44 | 2.5318
118 | DL | 44 | 2.5201
119 | EU | 04 | 2.5097
120 | IM | 46 | 2.499
121 | WD | 42 | 2.4801 | 10% Cutoff
122 | RO | 04 | 2.4731
123 | NB | 43 | 2.4706
124 | TWG | 42 | 2.4698
125 | SR | 01 | 2.4676
126 | TO | 09 | 2.4477
127 | HT | 07 | 2.4343
128 | SA | 41 | 2.4305
129 | GG | 09 | 2.4292
130 | AF | 11 | 2.4274
131 | FR | 43 | 2.4272
132 | WF | 05 | 2.4121
133 | CG | 01 | 2.4
134 | EL | 10 | 2.3933
135 | TWG | 44 | 2.3898
136 | LJ | 08 | 2.3792
137 | MDY | 01 | 2.3742
138 | SW | 08 | 2.3689
139 | AN | 05 | 2.3679
140 | IR | 04 | 2.3637
141 | RS | 02 | 2.3561
142 | TB | 04 | 2.3547
143 | KL | 45 | 2.3471
144 | ADK | 44 | 2.3467
145 | HB | 48 | 2.3414
146 | BE | 02 | 2.3402
147 | FR | 44 | 2.3285
148 | BY | 03 | 2.3207
149 | EC | 08 | 2.3054
150 | TO | 10 | 2.3043
151 | TB | 44 | 2.3034
152 | PW | 02 | 2.2949
153 | PA | 08 | 2.2947
154 | PG | 01 | 2.2934
155 | BA | 44 | 2.282
156 | WT | 08 | 2.268
157 | BR | 03 | 2.2617
158 | ES | 01 | 2.2536
159 | MU | 01 | 2.2516
160 | AE | 06 | 2.25
161 | BR | 10 | 2.2477
162 | GZ | 44 | 2.2457
163 | GN | 10 | 2.2322
164 | THW | 44 | 2.2287
165 | GS | 28 | 2.2283
166 | AI | 07 | 2.225
167 | RE | 08 | 2.2244
168 | GA | 04 | 2.2057
169 | KW | 45 | 2.205
170 | BT | 06 | 2.2038
171 | BA | 04 | 2.1989
172 | QV | 04 | 2.1983
173 | SF | 08 | 2.1982
174 | GA | 06 | 2.1821
175 | VL | 04 | 2.1807
176 | SB | 01 | 2.1793
177 | HB | 46 | 2.1725
178 | SCW | 01 | 2.1622
179 | TRM | 01 | 2.1561
180 | EL | 05 | 2.156
181 | MP | 04 | 2.1509
182 | HT | 01 | 2.1442
183 | UV | 03 | 2.1353
184 | WZ | 44 | 2.1351
185 | HK | 06 | 2.1337
186 | RS | 03 | 2.1319
187 | HY | 11 | 2.1118
188 | HR | 04 | 2.1082
189 | EB | 05 | 2.1023
190 | CE | 04 | 2.1006
191 | ADK | 43 | 2.0903
192 | QV | 01 | 2.0886
193 | WT | 02 | 2.0866
194 | KM | 03 | 2.0859
195 | BC | 08 | 2.0771
196 | OA | 03 | 2.0769
197 | LK | 04 | 2.0721
198 | EU | 02 | 2.0719
199 | TE | 01 | 2.0681
200 | WZ | 43 | 2.0596
201 | STW | 01 | 2.0546
202 | LY | 41 | 2.0487
203 | FL | 42 | 2.0301
204 | EU | 05 | 2.0281
205 | HL | 02 | 2
206 | WZ | 46 | 2
207 | BE | 03 | 1.9679
208 | WO | 12 | 1.9629
209 | AD | 08 | 1.9486
210 | HOC | 01 | 1.9356
211 | LK | 06 | 1.9241
212 | MB | 03 | 1.904
213 | BW | 03 | 1.9
214 | FD | 04 | 1.8937
215 | HL | 04 | 1.8931
216 | AD | 07 | 1.8896
217 | CB | 01 | 1.8743
218 | HY | 01 | 1.8734
219 | OR | 03 | 1.8621
220 | BI | 07 | 1.8564
221 | HE | 03 | 1.8543
222 | TE | 06 | 1.8531
223 | BAR | 42 | 1.8433
224 | LM | 02 | 1.8378
225 | LA | 02 | 1.8355
226 | WA | 02 | 1.82
227 | AT | 42 | 1.7954
228 | RA | 43 | 1.7932
229 | HV | 04 | 1.79
230 | NB | 42 | 1.787
231 | BT | 05 | 1.778
232 | SE | 03 | 1.7765
233 | WV | 03 | 1.7746
234 | HV | 07 | 1.7683
235 | PI | 43 | 1.7648
236 | HK | 41 | 1.7541
237 | LA | 01 | 1.7518
238 | IR | 02 | 1.7403
239 | BL | 02 | 1.7352
240 | WT | 05 | 1.7305
241 | NV | 03 | 1.7134
242 | KB | 05 | 1.7119
243 | FT | 03 | 1.711
244 | BW | 09 | 1.7073
245 | LM | 03 | 1.7068
246 | WC | 01 | 1.6989
247 | WI | 05 | 1.6955
248 | STF | 01 | 1.693
249 | WT | 06 | 1.6887
250 | LA | 03 | 1.6868
251 | ST | 07 | 1.6862
252 | GZ | 42 | 1.6847
253 | HA | 03 | 1.6772
254 | BT | 02 | 1.6742
255 | SA | 47 | 1.6733
256 | CC | 04 | 1.6527
257 | CB | 02 | 1.6489
258 | KB | 08 | 1.64
259 | CG | 05 | 1.6399
260 | LK | 02 | 1.6383
261 | SW | 10 | 1.6355
262 | MY | 05 | 1.6246
263 | WL | 41 | 1.6192
264 | FD | 05 | 1.6184
265 | DV | 06 | 1.6152
266 | FP | 06 | 1.6125
267 | UW | 04 | 1.6117
268 | HM | 04 | 1.6116
269 | LW | 43 | 1.6115
270 | CS | 03 | 1.6055
271 | RA | 03 | 1.6032
272 | DH | 05 | 1.6019
273 | CE | 06 | 1.6003
274 | BW | 01 | 1.6
275 | LB | 02 | 1.5964
276 | LA | 04 | 1.5944
277 | GP | 08 | 1.5934
278 | CRB | 43 | 1.5879
279 | SA | 43 | 1.5876
280 | HY | 10 | 1.583
281 | GL | 06 | 1.5802
282 | THW | 46 | 1.5782
283 | LK | 05 | 1.5776
284 | LP | 05 | 1.5736
285 | SA | 03 | 1.5664
286 | DR | 01 | 1.5621
287 | MC | 05 | 1.5564
288 | WL | 42 | 1.5526
289 | KB | 07 | 1.541
290 | UV | 04 | 1.5353
291 | HP | 05 | 1.5346
292 | CB | 06 | 1.5292
293 | BI | 06 | 1.5262
294 | SH | 05 | 1.5239
295 | UL | 14 | 1.5163
296 | GN | 44 | 1.5021
297 | ST | 16 | 1.5012
298 | WV | 02 | 1.4992
299 | STW | 04 | 1.4948
300 | SR | 05 | 1.4924
301 | AN | 01 | 1.4895
302 | EC | 11 | 1.4877
303 | KI | 44 | 1.4873
304 | SA | 01 | 1.4853
305 | TE | 03 | 1.4834
306 | LY | 44 | 1.4794
307 | FD | 09 | 1.4784
308 | AV | 02 | 1.4754
309 | RS | 05 | 1.4754
310 | SW | 05 | 1.471
311 | NS | 01 | 1.4651
312 | EL | 09 | 1.4638
313 | MY | 02 | 1.461
314 | BG | 03 | 1.4608
315 | GL | 10 | 1.459
316 | BH | 07 | 1.4577
317 | TO | 05 | 1.4476
318 | MV | 01 | 1.4459
319 | DH | 02 | 1.4441
320 | FT | 04 | 1.4369
321 | DN | 02 | 1.4367
322 | CL | 06 | 1.4361
323 | CB | 10 | 1.4296
324 | LU | 01 | 1.4203
325 | GR | 01 | 1.4167
326 | BW | 07 | 1.4116
327 | SA | 48 | 1.4103
328 | BG | 09 | 1.4083
329 | STF | 04 | 1.4061
330 | SB | 02 | 1.4054
331 | BM | 04 | 1.4045
332 | AF | 08 | 1.4006
333 | GA | 05 | 1.3967
334 | ADK | 42 | 1.3931
335 | SP | 01 | 1.3888
336 | RU | 04 | 1.3872
337 | ST | 13 | 1.3861
338 | MP | 03 | 1.382
339 | BV | 41 | 1.381
340 | STF | 02 | 1.3753
341 | PE | 02 | 1.3746
342 | HE | 04 | 1.3745
343 | PK | 47 | 1.3684
344 | GG | 01 | 1.3683
345 | BR | 07 | 1.3681
346 | DV | 10 | 1.3661
347 | KL | 01 | 1.3652
348 | TB | 46 | 1.3605
349 | KW | 42 | 1.3563
350 | DE | 04 | 1.355
351 | RT | 02 | 1.3545
352 | SO | 42 | 1.3489
353 | FD | 10 | 1.3436
354 | HB | 47 | 1.3432
355 | BM | 06 | 1.3418
356 | BA | 41 | 1.3379
357 | BL | 04 | 1.3376
358 | GV | 07 | 1.3354
359 | EU | 10 | 1.3348
360 | QV | 07 | 1.3345
361 | NM | 01 | 1.3333
362 | TO | 06 | 1.3333
363 | DH | 09 | 1.3262
364 | AR | 43 | 1.3248
365 | BI | 46 | 1.3207
366 | BI | 41 | 1.32
367 | STW | 03 | 1.3188
368 | BA | 42 | 1.3171
369 | GN | 06 | 1.3168
370 | DH | 01 | 1.3162
371 | NS | 05 | 1.3058
372 | HR | 03 | 1.3047
373 | FP | 03 | 1.302
374 | GL | 07 | 1.2962
375 | MP | 02 | 1.2962
376 | FZ | 45 | 1.2951
377 | GW | 01 | 1.2945
378 | QV | 05 | 1.2935
379 | GL | 08 | 1.2901
380 | AI | 06 | 1.2899
381 | KW | 43 | 1.2896
382 | LU | 44 | 1.2862
383 | SE | 04 | 1.2852
384 | BI | 45 | 1.2827
385 | KM | 01 | 1.2764
386 | AF | 03 | 1.276
387 | GP | 09 | 1.275
388 | AF | 07 | 1.2742
389 | ED | 03 | 1.2735
390 | KM | 06 | 1.2725
391 | UL | 49 | 1.2708
392 | BZ | 05 | 1.2704
393 | BAR | 46 | 1.2658
394 | ST | 02 | 1.2651
395 | HY | 06 | 1.2628
396 | GR | 02 | 1.2616
397 | FW | 01 | 1.2592
398 | JN | 10 | 1.2547
399 | CD | 12 | 1.2486
400 | RS | 01 | 1.2468
401 | QV | 06 | 1.2442
402 | BR | 04 | 1.2438
403 | IR | 01 | 1.2413
404 | AN | 07 | 1.2412
405 | TWG | 41 | 1.241
406 | FD | 12 | 1.2405
407 | CB | 11 | 1.2377
408 | MC | 02 | 1.2356
409 | GT | 04 | 1.2336
410 | ES | 07 | 1.2292
411 | GT | 13 | 1.2288
412 | GL | 09 | 1.2287
413 | DR | 03 | 1.2245
414 | SP | 03 | 1.2148
415 | HY | 02 | 1.2144
416 | CR | 02 | 1.2118
417 | FT | 06 | 1.2081
418 | CE | 10 | 1.2076
419 | PJ | 01 | 1.2071
420 | SH | 04 | 1.2045
421 | BA | 45 | 1.2026
422 | GZ | 41 | 1.2023
423 | MY | 03 | 1.2022
424 | NS | 02 | 1.1962
425 | ES | 06 | 1.196
426 | FD | 07 | 1.1907
427 | FD | 02 | 1.1894
428 | CA | 01 | 1.1887
429 | KI | 41 | 1.1856
430 | BW | 05 | 1.1833
431 | LB | 04 | 1.1827
432 | GE | 45 | 1.1801
433 | UV | 05 | 1.18
434 | SF | 07 | 1.1748
435 | TV | 03 | 1.1742
436 | CR | 01 | 1.1727
437 | MB | 05 | 1.1675
438 | AD | 04 | 1.1665
439 | FD | 15 | 1.1626
440 | SF | 13 | 1.1611
441 | WT | 09 | 1.1591
442 | ED | 07 | 1.1589
443 | EC | 07 | 1.1587
444 | BI | 43 | 1.1578
445 | PW | 01 | 1.1572
446 | FR | 46 | 1.1571
447 | RS | 08 | 1.1566
448 | HM | 08 | 1.1549
449 | DH | 10 | 1.153
450 | RO | 42 | 1.1528
451 | MDY | 03 | 1.1516
452 | RE | 03 | 1.1436
453 | HT | 06 | 1.1426
454 | HV | 03 | 1.1385
455 | DR | 08 | 1.1372
456 | EL | 06 | 1.1348
457 | CG | 02 | 1.131
458 | MY | 01 | 1.1288
459 | JN | 02 | 1.1248
460 | AI | 05 | 1.119
461 | HY | 04 | 1.1188
462 | MP | 06 | 1.1181
463 | UN | 05 | 1.116
464 | CA | 05 | 1.1157
465 | LP | 01 | 1.114
466 | WF | 43 | 1.1078
467 | DN | 10 | 1.1054
468 | FL | 41 | 1.1053
469 | BH | 05 | 1.1018
470 | SO | 43 | 1.0997
471 | WF | 03 | 1.0992
472 | ES | 04 | 1.0961
473 | WW | 08 | 1.0897
474 | MV | 02 | 1.0872
475 | MAR | 44 | 1.0852
476 | BR | 06 | 1.0828
477 | GV | 06 | 1.0747
478 | HT | 03 | 1.0727
479 | OB | 43 | 1.0715
480 | LK | 07 | 1.0706
481 | WO | 09 | 1.0676
482 | EC | 01 | 1.0661
483 | TV | 01 | 1.0654
484 | DR | 06 | 1.0635
485 | SW | 07 | 1.0586
486 | WE | 02 | 1.0555
487 | BR | 11 | 1.0539
488 | CB | 05 | 1.0513
489 | JP | 07 | 1.0505
490 | NB | 45 | 1.0471
491 | BL | 05 | 1.0465
492 | WR | 10 | 1.0414
493 | FZ | 42 | 1.0342
494 | CE | 07 | 1.0286
495 | KB | 19 | 1.0284
496 | SF | 14 | 1.0283
497 | KL | 03 | 1.0256
498 | WE | 01 | 1.0249
499 | HOC | 08 | 1.0157
500 | EL | 04 | 1.0147
501 | IT | 02 | 1.0029
502 | DT | 17 | 1
503 | GT | 02 | 1
504 | MP | 09 | 1
505 | SF | 09 | 1
506 | WE | 04 | 1
507 | GT | 05 | 0.9941
508 | CC | 03 | 0.9843
509 | NM | 04 | 0.9662
510 | KT | 03 | 0.9583
511 | HX | 03 | 0.9536
512 | CA | 02 | 0.9512
513 | WR | 13 | 0.9486
514 | PI | 41 | 0.941
515 | STF | 07 | 0.9398
516 | AR | 41 | 0.9388
517 | HOC | 07 | 0.934
518 | HX | 01 | 0.9337
519 | RO | 41 | 0.9286
520 | AN | 04 | 0.9245
521 | SR | 06 | 0.9245
522 | SB | 03 | 0.9189
523 | HL | 03 | 0.9188
524 | UW | 02 | 0.9174
525 | DR | 05 | 0.9065
526 | RU | 03 | 0.8946
527 | GG | 06 | 0.8911
528 | CC | 01 | 0.8888
529 | LU | 41 | 0.8853
530 | HM | 05 | 0.8851
531 | OA | 04 | 0.883
532 | WEB | 07 | 0.8812
533 | LV | 02 | 0.8801
534 | PZ | 44 | 0.8789
535 | SB | 06 | 0.8749
536 | THW | 45 | 0.8662
537 | HG | 05 | 0.8636
538 | DN | 09 | 0.8605
539 | EU | 03 | 0.858
540 | TB | 06 | 0.8556
541 | SP | 05 | 0.8438
542 | TO | 03 | 0.8384
543 | WT | 03 | 0.8384
544 | OR | 02 | 0.8304
545 | WR | 09 | 0.8264
546 | STF | 06 | 0.8225
547 | SW | 06 | 0.8224
548 | CB | 07 | 0.8196
549 | GL | 03 | 0.8182
550 | GR | 04 | 0.814
551 | TO | 02 | 0.8137
552 | UL | 02 | 0.8121
553 | WE | 06 | 0.8091
554 | PE | 04 | 0.8088
555 | LV | 01 | 0.8051
556 | LK | 08 | 0.8021
557 | WR | 11 | 0.7903
558 | VL | 03 | 0.7883
559 | CE | 08 | 0.7808
560 | GT | 12 | 0.7656
561 | WL | 02 | 0.7636
562 | AN | 03 | 0.7615
563 | DL | 42 | 0.761
564 | HOC | 06 | 0.7601
565 | GV | 03 | 0.7498
566 | CB | 08 | 0.7481
567 | HE | 08 | 0.7344
568 | UN | 11 | 0.7291
569 | LJ | 07 | 0.7279
570 | LP | 02 | 0.7266
571 | FD | 01 | 0.7261
572 | DE | 01 | 0.7255
573 | AL | 07 | 0.7244
574 | NS | 06 | 0.7175
575 | LU | 42 | 0.7171
576 | AD | 01 | 0.7127
577 | RB | 02 | 0.7095
578 | JP | 04 | 0.7083
579 | WW | 02 | 0.7059
580 | HOC | 02 | 0.7017
581 | EB | 06 | 0.6989
582 | BT | 03 | 0.6965
583 | UW | 05 | 0.6944
584 | WEB | 05 | 0.6907
585 | AD | 02 | 0.6872
586 | AN | 09 | 0.6844
587 | FP | 02 | 0.6827
588 | PW | 04 | 0.6821
589 | ES | 05 | 0.6768
590 | UW | 03 | 0.6731
591 | BT | 01 | 0.6721
592 | HE | 01 | 0.672
593 | GE | 42 | 0.6705
594 | LP | 04 | 0.6671
595 | MY | 04 | 0.6667
596 | RA | 01 | 0.6625
597 | SR | 07 | 0.6613
598 | GN | 12 | 0.6608
599 | HNY | 04 | 0.6481
600 | BU | 01 | 0.645
601 | IND | 04 | 0.6429
602 | WO | 04 | 0.6413
603 | PA | 05 | 0.6382
604 | PA | 03 | 0.6306
605 | PA | 07 | 0.6302
606 | QV | 02 | 0.6291
607 | SE | 01 | 0.629
608 | PW | 08 | 0.6278
609 | RZ | 01 | 0.6275
610 | LJ | 04 | 0.6244
611 | TE | 05 | 0.6235
612 | RE | 01 | 0.6196
613 | GV | 02 | 0.6162
614 | LB | 01 | 0.6137
615 | WR | 12 | 0.6128
616 | LU | 02 | 0.6106
617 | WZ | 45 | 0.6036
618 | TV | 04 | 0.5967
619 | EU | 12 | 0.5915
620 | TB | 02 | 0.5913
621 | AV | 03 | 0.5898
622 | WT | 01 | 0.5893
623 | JN | 06 | 0.5874
624 | BR | 13 | 0.5842
625 | CR | 05 | 0.5841
626 | SB | 04 | 0.5835
627 | FD | 11 | 0.5833
628 | HM | 09 | 0.5819
629 | HOC | 03 | 0.581
630 | SA | 44 | 0.5809
631 | PA | 02 | 0.5761
632 | FP | 04 | 0.5741
633 | CYF | 43 | 0.571
634 | DL | 41 | 0.5692
635 | SH | 11 | 0.5682
636 | BR | 08 | 0.568
637 | CC | 02 | 0.5659
638 | NB | 41 | 0.564
639 | AF | 01 | 0.5611
640 | FD | 13 | 0.5563
641 | CB | 12 | 0.5547
642 | AL | 05 | 0.5508
643 | DT | 32 | 0.55
644 | GG | 04 | 0.5493
645 | DA | 06 | 0.5481
646 | BR | 09 | 0.5469
647 | HG | 03 | 0.5449
648 | BR | 12 | 0.5414
649 | KM | 04 | 0.5406
650 | NB | 46 | 0.5404
651 | BE | 04 | 0.5394
652 | RS | 07 | 0.5383
653 | HX | 02 | 0.5378
654 | BZ | 01 | 0.5365
655 | GP | 04 | 0.5363
656 | HR | 01 | 0.5362
657 | BI | 11 | 0.5342
658 | LB | 05 | 0.5339
659 | BH | 08 | 0.5313
660 | TM | 05 | 0.5313
661 | BR | 05 | 0.5285
662 | SP | 09 | 0.5281
663 | BM | 02 | 0.5275
664 | GN | 09 | 0.5268
665 | GN | 43 | 0.5264
666 | HM | 06 | 0.5247
667 | JN | 11 | 0.5216
668 | OA | 01 | 0.5216
669 | CR | 03 | 0.5215
670 | HL | 01 | 0.5212
671 | BY | 10 | 0.5209
672 | WT | 07 | 0.52
673 | DE | 05 | 0.5194
674 | SR | 12 | 0.5192
675 | HG | 01 | 0.5165
676 | GW | 06 | 0.5159
677 | HE | 07 | 0.5112
678 | BY | 06 | 0.5053
679 | SP | 04 | 0.5036
680 | WE | 05 | 0.5
681 | ST | 05 | 0.4977
682 | BT | 07 | 0.4976
683 | SP | 08 | 0.4965
684 | AF | 05 | 0.4953
685 | ME | 01 | 0.4928
686 | WF | 02 | 0.4916
687 | PO | 03 | 0.4913
688 | HM | 10 | 0.4876
689 | DR | 09 | 0.4873
690 | SP | 02 | 0.4851
691 | ST | 14 | 0.4813
692 | AI | 08 | 0.4805
693 | DV | 01 | 0.4801
694 | FT | 01 | 0.4791
695 | LK | 09 | 0.479
696 | LJ | 02 | 0.4777
697 | UN | 03 | 0.4767
698 | KM | 02 | 0.4766
699 | BU | 03 | 0.4751
700 | CD | 04 | 0.4751
701 | LY | 42 | 0.4747
702 | HG | 02 | 0.4737
703 | ME | 11 | 0.4726
704 | SW | 09 | 0.4711
705 | BM | 01 | 0.47
706 | FD | 06 | 0.4695
707 | TV | 02 | 0.4679
708 | DE | 02 | 0.4671
709 | SB | 08 | 0.464
710 | BA | 03 | 0.4616
711 | FT | 02 | 0.4612
712 | NP | 44 | 0.4607
713 | EC | 04 | 0.4602
714 | PT | 07 | 0.4589
715 | GG | 10 | 0.4558
716 | ED | 04 | 0.4554
717 | AN | 02 | 0.4543
718 | SF | 02 | 0.4532
719 | PA | 06 | 0.4525
720 | JP | 02 | 0.4516
721 | JP | 01 | 0.45
722 | AN | 06 | 0.4499
723 | PA | 04 | 0.4494
724 | SH | 09 | 0.4479
725 | WO | 05 | 0.4465
726 | WR | 14 | 0.4453
727 | DV | 08 | 0.4442
728 | SH | 02 | 0.4432
729 | FT | 05 | 0.443
730 | DN | 04 | 0.4424
731 | BE | 01 | 0.442
732 | MP | 10 | 0.441
733 | SB | 07 | 0.4397
734 | CE | 02 | 0.4351
735 | KL | 43 | 0.4335
736 | PO | 01 | 0.4317
737 | EL | 07 | 0.4306
738 | DN | 06 | 0.4302
739 | ST | 06 | 0.43
740 | GP | 07 | 0.4275
741 | CD | 01 | 0.4249
742 | RU | 02 | 0.4247
743 | WW | 01 | 0.4241
744 | LK | 01 | 0.4161
745 | SR | 14 | 0.4159
746 | HA | 04 | 0.4141
747 | QV | 08 | 0.4141
748 | ST | 09 | 0.4136
749 | AF | 10 | 0.4131
750 | SP | 07 | 0.4127
751 | BL | 03 | 0.411
752 | FW | 05 | 0.4104
753 | BM | 07 | 0.4096
754 | WT | 04 | 0.4091
755 | HV | 02 | 0.4061
756 | BZ | 02 | 0.4059
757 | HY | 08 | 0.4015
758 | HB | 44 | 0.4001
759 | SH | 01 | 0.3987
760 | WF | 04 | 0.3983
761 | NS | 03 | 0.3952
762 | WE | 08 | 0.3945
763 | MB | 04 | 0.3942
764 | CL | 03 | 0.3941
765 | EC | 05 | 0.394
766 | UN | 01 | 0.3915
767 | CB | 03 | 0.3914
768 | EU | 11 | 0.3912
769 | CV | 08 | 0.391
770 | KM | 07 | 0.3903
771 | ST | 12 | 0.3896
772 | HM | 03 | 0.3879
773 | CV | 03 | 0.3868
774 | RU | 01 | 0.3854
775 | EC | 03 | 0.3806
776 | FW | 04 | 0.38
777 | BA | 02 | 0.3797
778 | STF | 08 | 0.3795
779 | CG | 06 | 0.3789
780 | DH | 04 | 0.3789
781 | SF | 42 | 0.3785
782 | HM | 01 | 0.3776
783 | CD | 05 | 0.3768
784 | WO | 02 | 0.3766
785 | AN | 08 | 0.3764
786 | SR | 03 | 0.376
787 | CYF | 44 | 0.3746
788 | JN | 04 | 0.3743
789 | AF | 02 | 0.3734
790 | DV | 07 | 0.3732
791 | PA | 09 | 0.373
792 | BY | 04 | 0.3711
793 | AM | 06 | 0.3681
794 | LB | 07 | 0.3678
795 | HA | 02 | 0.3663
796 | HM | 02 | 0.3645
797 | WW | 03 | 0.3624
798 | BG | 04 | 0.3611
799 | DH | 07 | 0.3604
800 | SR | 11 | 0.3599
801 | CE | 09 | 0.3591
802 | WI | 03 | 0.3591
803 | KT | 02 | 0.3589
804 | IM | 45 | 0.358
805 | EC | 09 | 0.3574
806 | SB | 05 | 0.3574
807 | UL | 13 | 0.3573
808 | EL | 08 | 0.357
809 | GT | 09 | 0.3564
810 | THW | 41 | 0.3557
811 | JN | 09 | 0.3549
812 | PZ | 42 | 0.3529
813 | HOC | 04 | 0.3525
814 | CG | 03 | 0.3522
815 | WT | 11 | 0.3517
816 | FZ | 41 | 0.3496
817 | GG | 07 | 0.3475
818 | NEW | 03 | 0.3475
819 | RO | 06 | 0.3442
820 | GA | 03 | 0.3431
821 | WO | 03 | 0.3417
822 | CR | 04 | 0.3395
823 | OR | 01 | 0.3393
824 | WZ | 41 | 0.3393
825 | AF | 09 | 0.3392
826 | HE | 06 | 0.338
827 | BH | 06 | 0.3373
828 | AN | 10 | 0.3362
829 | WF | 42 | 0.3356
830 | FD | 03 | 0.335
831 | CD | 02 | 0.3349
832 | SP | 06 | 0.3347
833 | UV | 02 | 0.3342
834 | RA | 44 | 0.3329
835 | ST | 01 | 0.3292
836 | LP | 03 | 0.329
837 | BU | 02 | 0.3276
838 | VL | 01 | 0.3273
839 | BAR | 43 | 0.326
840 | DV | 05 | 0.3247
841 | MC | 03 | 0.3247
842 | KL | 44 | 0.323
843 | LU | 03 | 0.3224
844 | CG | 04 | 0.3204
845 | AD | 06 | 0.3196
846 | SF | 03 | 0.3191
847 | CL | 05 | 0.3173
848 | GT | 06 | 0.3167
849 | WO | 13 | 0.3163
850 | BR | 02 | 0.3154
851 | HG | 06 | 0.3146
852 | TE | 02 | 0.3142
853 | HNY | 01 | 0.3141
854 | HY | 03 | 0.314
855 | BG | 02 | 0.3138
856 | LJ | 01 | 0.3136
857 | FD | 08 | 0.3132
858 | LJ | 03 | 0.3124
859 | GV | 04 | 0.3121
860 | LJ | 09 | 0.3117
861 | HB | 49 | 0.3104
862 | PA | 01 | 0.3094
863 | KB | 20 | 0.309
864 | UN | 02 | 0.3088
865 | MP | 08 | 0.3071
866 | AF | 06 | 0.3039
867 | CD | 06 | 0.3028
868 | GP | 05 | 0.3013
869 | DN | 11 | 0.3012
870 | WI | 02 | 0.3008
871 | LU | 04 | 0.3004
872 | HY | 05 | 0.3003
873 | GA | 01 | 0.3
874 | HL | 06 | 0.2999
875 | UN | 08 | 0.2991
876 | KT | 43 | 0.2989
877 | ST | 10 | 0.2973
878 | IM | 42 | 0.2968
879 | BT | 04 | 0.2954
880 | DV | 03 | 0.293
881 | WW | 06 | 0.2916
882 | EC | 02 | 0.2914
883 | PW | 03 | 0.2904
884 | CV | 01 | 0.2902
885 | RO | 05 | 0.2882
886 | GV | 05 | 0.2872
887 | GE | 43 | 0.2869
888 | DR | 04 | 0.2868
889 | SR | 02 | 0.2851
890 | LJ | 06 | 0.2846
891 | QV | 03 | 0.2832
892 | CD | 07 | 0.2825
893 | BI | 03 | 0.2824
894 | TO | 01 | 0.2814
895 | GZ | 45 | 0.2811
896 | GS | 22 | 0.2808
897 | HA | 01 | 0.28
898 | CD | 09 | 0.2796
899 | WO | 01 | 0.2795
900 | WW | 07 | 0.2794
901 | ADK | 41 | 0.277
902 | CL | 04 | 0.2766
903 | HP | 04 | 0.2764
904 | IM | 44 | 0.2761
905 | HK | 42 | 0.2743
906 | LB | 06 | 0.2712
907 | HNY | 02 | 0.2707
908 | GZ | 43 | 0.2702
909 | BA | 01 | 0.27
910 | TO | 04 | 0.269
911 | WO | 06 | 0.2684
912 | HOC | 05 | 0.2683
913 | PE | 03 | 0.2683
914 | KN | 01 | 0.2675
915 | UV | 06 | 0.2669
916 | FZ | 46 | 0.2668
917 | HY | 09 | 0.2665
918 | CS | 01 | 0.263
919 | KI | 43 | 0.2618
920 | LP | 06 | 0.261
921 | ST | 03 | 0.2609
922 | CD | 08 | 0.2553
923 | BY | 08 | 0.254
924 | IM | 43 | 0.2537
925 | BL | 06 | 0.253
926 | CA | 03 | 0.2507
927 | BM | 03 | 0.2506
928 | SR | 13 | 0.25
929 | BAR | 47 | 0.2492
930 | PO | 02 | 0.2487
931 | ED | 02 | 0.2483
932 | BG | 06 | 0.2468
933 | AF | 04 | 0.2458
934 | IR | 03 | 0.2457
935 | UL | 15 | 0.2448
936 | GG | 02 | 0.2432
937 | JP | 03 | 0.2432
938 | KN | 04 | 0.2432
939 | KW | 44 | 0.243
940 | SCW | 02 | 0.2427
941 | GL | 01 | 0.2402
942 | HY | 07 | 0.2396
943 | ME | 07 | 0.2375
944 | CL | 08 | 0.2368
945 | UL | 46 | 0.2361
946 | KB | 09 | 0.2359
947 | TB | 03 | 0.2356
948 | DE | 03 | 0.2312
949 | GP | 06 | 0.2292
950 | CV | 10 | 0.2291
951 | WE | 03 | 0.2279
952 | CV | 06 | 0.2278
953 | MC | 01 | 0.2276
954 | GN | 42 | 0.2273
955 | BG | 07 | 0.2269
956 | STF | 05 | 0.2266
957 | RE | 05 | 0.226
958 | UL | 04 | 0.2258
959 | CE | 05 | 0.2257
960 | GT | 10 | 0.2247
961 | NS | 04 | 0.2246
962 | PO | 05 | 0.2245
963 | DH | 06 | 0.2242
964 | GW | 07 | 0.224
965 | UN | 10 | 0.2238
966 | OA | 02 | 0.2237
967 | ST | 15 | 0.2234
968 | VL | 02 | 0.2216
969 | HT | 08 | 0.22
970 | BL | 07 | 0.2194
971 | BM | 05 | 0.2183
972 | BAR | 41 | 0.2169
973 | CV | 05 | 0.2165
974 | HP | 02 | 0.2162
975 | LK | 10 | 0.215
976 | BR | 01 | 0.2137
977 | GT | 08 | 0.2128
978 | WI | 08 | 0.2126
979 | SP | 10 | 0.2125
980 | MP | 07 | 0.21
981 | EU | 07 | 0.2099
982 | BZ | 04 | 0.2081
983 | TE | 04 | 0.2075
984 | ST | 04 | 0.2064
985 | DE | 06 | 0.203
986 | WO | 14 | 0.2029
987 | ME | 04 | 0.2025
988 | SR | 10 | 0.2023
989 | CK | 04 | 0.2018
990 | ME | 03 | 0.2017
991 | BI | 09 | 0.2016
992 | WI | 01 | 0.2012
993 | HL | 05 | 0.2002
994 | VL | 05 | 0.2
995 | JN | 03 | 0.1997
996 | KB | 12 | 0.1996
997 | WZ | 42 | 0.198
998 | ST | 11 | 0.1957
999 | NM | 02 | 0.1942
1000 | DN | 07 | 0.1931
1001 | PW | 05 | 0.1929
1002 | EU | 09 | 0.1928
1003 | DH | 03 | 0.1915
1004 | BY | 02 | 0.1914
1005 | CL | 01 | 0.1912
1006 | HA | 05 | 0.1909
1007 | GA | 07 | 0.1908
1008 | SH | 07 | 0.1908
1009 | RS | 06 | 0.1905
1010 | KB | 06 | 0.1903
1011 | PJ | 02 | 0.188
1012 | RS | 04 | 0.1873
1013 | RO | 08 | 0.1862
1014 | LJ | 05 | 0.1858
1015 | KT | 42 | 0.1855
1016 | FD | 14 | 0.185
1017 | KI | 42 | 0.1846
1018 | HNY | 03 | 0.1845
1019 | GA | 02 | 0.1829
1020 | BI | 02 | 0.1827
1021 | CR | 06 | 0.1826
1022 | GG | 03 | 0.1819
1023 | BW | 06 | 0.1818
1024 | GA | 10 | 0.1796
1025 | ME | 02 | 0.1796
1026 | HV | 01 | 0.1794
1027 | RE | 04 | 0.177
1028 | WI | 06 | 0.1754
1029 | CV | 04 | 0.175
1030 | DN | 03 | 0.175
1031 | WO | 10 | 0.1743
1032 | WT | 10 | 0.1734
1033 | WO | 07 | 0.173
1034 | FW | 03 | 0.1703
1035 | OB | 41 | 0.1695
1036 | MB | 06 | 0.1688
1037 | KB | 03 | 0.1683
1038 | HT | 05 | 0.1681
1039 | BG | 05 | 0.168
1040 | MP | 05 | 0.1677
1041 | HP | 03 | 0.1675
1042 | WD | 43 | 0.1675
1043 | BI | 04 | 0.1662
1044 | DH | 08 | 0.1655
1045 | MAR | 42 | 0.1651
1046 | ST | 08 | 0.1646
1047 | ES | 03 | 0.1644
1048 | JN | 01 | 0.1642
1049 | RE | 02 | 0.1639
1050 | ED | 06 | 0.1631
1051 | ED | 08 | 0.163
1052 | WW | 05 | 0.1629
1053 | BH | 04 | 0.1614
1054 | HT | 04 | 0.1602
1055 | MP | 01 | 0.1601
1056 | CD | 10 | 0.1594
1057 | EU | 08 | 0.1583
1058 | MAR | 41 | 0.1571
1059 | MAR | 43 | 0.157
1060 | GA | 08 | 0.1569
1061 | WV | 01 | 0.1556
1062 | SH | 03 | 0.1548
1063 | NB | 44 | 0.1543
1064 | DN | 01 | 0.1536
1065 | HP | 01 | 0.1521
1066 | JN | 05 | 0.1514
1067 | OA | 06 | 0.1513
1068 | UL | 03 | 0.1504
1069 | CL | 09 | 0.1502
1070 | SH | 06 | 0.1502
1071 | NM | 03 | 0.1486
1072 | ME | 10 | 0.148
1073 | ED | 05 | 0.1468
1074 | KB | 04 | 0.1462
1075 | NM | 05 | 0.146
1076 | SF | 45 | 0.1447
1077 | ES | 02 | 0.1438
1078 | GL | 02 | 0.1429
1079 | IND | 02 | 0.1429
1080 | KN | 03 | 0.1429
1081 | WEB | 03 | 0.1426
1082 | BAR | 45 | 0.1423
1083 | SF | 12 | 0.1389
1084 | MDY | 02 | 0.1376
1085 | RE | 06 | 0.1369
1086 | WF | 01 | 0.136
1087 | PO | 08 | 0.1342
1088 | ME | 09 | 0.1325
1089 | THW | 42 | 0.131
1090 | BI | 08 | 0.1308
1091 | CK | 01 | 0.1298
1092 | SF | 43 | 0.1296
1093 | DR | 07 | 0.1291
1094 | KB | 02 | 0.1278
1095 | KB | 01 | 0.1252
1096 | PZ | 43 | 0.1223
1097 | WEB | 10 | 0.1199
1098 | CL | 07 | 0.119
1099 | PO | 07 | 0.1189
1100 | UN | 04 | 0.1175
1101 | UL | 16 | 0.1163
1102 | ES | 08 | 0.1135
1103 | PO | 09 | 0.1129
1104 | RO | 07 | 0.112
1105 | AM | 07 | 0.1111
1106 | CR | 07 | 0.1111
1107 | PO | 04 | 0.11
1108 | GT | 03 | 0.1098
1109 | DV | 02 | 0.1073
1110 | HG | 08 | 0.1053
1111 | WEB | 04 | 0.1033
1112 | SF | 01 | 0.1026
1113 | WEB | 01 | 0.1021
1114 | ED | 01 | 0.1011
1115 | GN | 48 | 0.1
1116 | RO | 44 | 0.0993
1117 | CK | 02 | 0.0989
1118 | FW | 02 | 0.0988
1119 | UL | 45 | 0.0976
1120 | WO | 11 | 0.0976
1121 | WEB | 02 | 0.0969
1122 | BW | 08 | 0.0968
1123 | DL | 45 | 0.0953
1124 | UV | 01 | 0.095
1125 | BZ | 03 | 0.0941
1126 | GS | 29 | 0.0921
1127 | SH | 08 | 0.092
1128 | OA | 05 | 0.0919
1129 | BI | 05 | 0.0912
1130 | DT | 33 | 0.0909
1131 | KT | 45 | 0.0884
1132 | HE | 05 | 0.0881
1133 | EU | 06 | 0.0879
1134 | GT | 01 | 0.0868
1135 | ME | 05 | 0.0859
1136 | KT | 01 | 0.0846
1137 | HT | 02 | 0.0835
1138 | CR | 08 | 0.0796
1139 | CA | 04 | 0.0787
1140 | PJ | 03 | 0.0783
1141 | GP | 02 | 0.0769
1142 | IT | 04 | 0.0769
1143 | CB | 04 | 0.0765
1144 | WO | 08 | 0.0732
1145 | ME | 06 | 0.0723
1146 | WD | 41 | 0.0722
1147 | TO | 08 | 0.0721
1148 | HM | 07 | 0.0691
1149 | JP | 05 | 0.069
1150 | UL | 47 | 0.0686
1151 | WEB | 06 | 0.0681
1152 | EC | 10 | 0.0633
1153 | UL | 09 | 0.0619
1154 | WD | 44 | 0.0588
1155 | DV | 09 | 0.0527
1156 | CK | 03 | 0.0518
1157 | EU | 01 | 0.05
1158 | IND | 03 | 0.05
1159 | RO | 43 | 0.0483
1160 | HV | 05 | 0.0482
1161 | MB | 02 | 0.0476
1162 | JN | 07 | 0.047
1163 | DN | 05 | 0.0454
1164 | AM | 04 | 0.0435
1165 | EC | 12 | 0.0434
1166 | WW | 04 | 0.0392
1167 | KB | 13 | 0.0385
1168 | KN | 05 | 0.0382
1169 | UN | 09 | 0.037
1170 | SR | 09 | 0.0364
1171 | KB | 10 | 0.0316
1172 | PO | 06 | 0.0291
1173 | SH | 10 | 0.0284
1174 | DN | 08 | 0.0256
1175 | WI | 07 | 0.0235
1176 | CA | 06 | 0.0226
1177 | WEB | 08 | 0.0223
1178 | HT | 09 | 0.0189
1179 | KB | 17 | 0.0183
1180 | SR | 08 | 0.0169
1181 | SF | 05 | 0.0167
1182 | KN | 02 | 0.016
1183 | GN | 11 | 0.0148
1184 | SF | 15 | 0.0146
1185 | SF | 44 | 0.0144
1186 | RO | 01 | 0.0128
1187 | CYF | 42 | 0.0119
1188 | TO | 07 | 0.0112
1189 | GS | 09 | 0.0099
1190 | RO | 03 | 0.008
1191 | CK | 05 | 0.0065
1192 | SR | 04 | 0.0043
1193 | JN | 08 | 0.0017
1194 | DV | 04 | 0.0007
1195 | AR | 44 | 0
1196 | BI | 01 | 0
1197 | BI | 10 | 0
1198 | DT | 19 | 0
1199 | DT | 24 | 0
1200 | DT | 26 | 0
1201 | GG | 05 | 0
1202 | GN | 41 | 0
1203 | GR | 03 | 0
1204 | GS | 02 | 0
1205 | IT | 03 | 0
1206 | KB | 15 | 0
1207 | MB | 07 | 0
1208 | ME | 08 | 0
1209 | PK | 02 | 0
1210 | PK | 41 | 0
1211 | PK | 43 | 0
1212 | PK | 45 | 0
1213 | SF | 10 | 0
1214 | SF | 11 | 0

## Feeder-SAIDI
List all Distribution Feeders on Texas System |  |  | Total Number of Feeders
Add or Delete Rows as Necessary |  |  | 1214
Reliant Energy HL&P
1999 SAIDI Ranking | Substation Identification | Feeder Identification | 1999 SAIDI Value
1 | FM | 02 | 973.8986
2 | TM | 04 | 743.6152
3 | KT | 44 | 533.6242
4 | AE | 05 | 530.7635
5 | RZ | 02 | 522.3288
6 | SO | 41 | 493.1411
7 | WE | 07 | 476.2152
8 | HB | 03 | 463.4802
9 | HK | 05 | 448.6611
10 | PI | 42 | 444.9681
11 | LW | 41 | 442.4707
12 | STW | 03 | 428.7956
13 | FM | 03 | 425.6863
14 | RA | 03 | 422.1887
15 | TB | 47 | 418.6838
16 | FR | 41 | 399.8135
17 | AT | 41 | 398.2151
18 | NP | 41 | 387.5087
19 | DA | 04 | 383.6872
20 | WF | 41 | 377.0842
21 | MU | 02 | 373.9549
22 | WA | 01 | 366.5021
23 | FR | 42 | 356.2879
24 | EL | 09 | 353.6118
25 | NSH | 03 | 351.4947
26 | GS | 28 | 347.4094
27 | FR | 43 | 341.9944
28 | OA | 07 | 336.0655
29 | STW | 01 | 334.1174
30 | TB | 04 | 331.3649
31 | SR | 01 | 330.3399
32 | AL | 06 | 327.511
33 | HV | 06 | 326.8765
34 | DA | 05 | 318.8408
35 | FD | 16 | 311.715
36 | CB | 06 | 310.5011
37 | HK | 06 | 301.4406
38 | STW | 05 | 297.0163
39 | BI | 44 | 296.3147
40 | UL | 48 | 294.2152
41 | FR | 44 | 289.2174
42 | DL | 43 | 280.3031
43 | RA | 41 | 275.4168
44 | VL | 04 | 270.7679
45 | SF | 41 | 262.6489
46 | TWG | 43 | 261.4287
47 | RT | 01 | 259.33
48 | WD | 45 | 258.9055
49 | AD | 05 | 258.0863
50 | NV | 02 | 257.9078
51 | MC | 02 | 257.64
52 | HB | 04 | 255.2868
53 | WD | 42 | 253.2047
54 | BC | 08 | 252.1229
55 | TWG | 42 | 250.8526
56 | SA | 46 | 247.725
57 | BR | 10 | 247.1166
58 | LM | 03 | 246.1596
59 | HR | 04 | 245.0201
60 | GL | 05 | 244.3463
61 | LK | 05 | 239.6452
62 | HT | 07 | 239.3018
63 | FM | 01 | 238.4739
64 | MDY | 01 | 237.0408
65 | GZ | 42 | 236.1051
66 | BR | 06 | 234.4631
67 | BL | 01 | 234.1308
68 | WL | 41 | 233.0022
69 | MY | 03 | 232.6161
70 | CB | 09 | 231.9828
71 | BAR | 42 | 230.9988
72 | AR | 42 | 230.1476
73 | KL | 42 | 223.9276
74 | NV | 03 | 222.6931
75 | PG | 01 | 221.511
76 | HOC | 01 | 221.4784
77 | HV | 08 | 220.6047
78 | WA | 02 | 220.4683
79 | BM | 06 | 219.7692
80 | GE | 44 | 219.72
81 | HB | 48 | 218.8722
82 | WF | 05 | 218.4391
83 | ADK | 44 | 218.3
84 | HK | 41 | 217.7705
85 | EB | 05 | 216.8343
86 | HK | 04 | 216.1739
87 | FR | 45 | 215.7314
88 | RO | 41 | 214.1579
89 | CS | 02 | 213.1195
90 | RS | 01 | 210.9329
91 | HV | 03 | 210.9308
92 | BG | 01 | 210.544
93 | STW | 02 | 209.6034
94 | AN | 05 | 207.9124
95 | SA | 42 | 207.151
96 | CB | 05 | 207.0556
97 | SA | 45 | 204.2742
98 | AF | 11 | 202.4541
99 | WL | 42 | 200.3066
100 | DH | 01 | 198.9758
101 | RA | 43 | 198.9278
102 | TB | 44 | 197.1505
103 | WI | 04 | 196.989
104 | FD | 02 | 195.4945
105 | CB | 01 | 195.3765
106 | RT | 02 | 194.6406
107 | EU | 02 | 192.518
108 | KL | 41 | 191.3769
109 | CB | 07 | 189.1019
110 | WT | 06 | 187.8154
111 | EL | 10 | 187.7047
112 | AN | 07 | 186.8031
113 | CE | 01 | 186.5577
114 | LK | 06 | 186.0985
115 | AD | 08 | 186.0538
116 | FL | 41 | 185.1871
117 | LB | 03 | 185.1693
118 | BI | 41 | 185.04
119 | BW | 02 | 185
120 | RU | 03 | 184.9232
121 | NB | 43 | 183.9318 | 10% Cutoff
122 | CG | 01 | 183.5868
123 | KT | 04 | 183.5377
124 | IM | 46 | 183.4343
125 | QV | 01 | 182.903
126 | TRM | 02 | 181.7516
127 | BAR | 44 | 180.3368
128 | LY | 41 | 180.3084
129 | AD | 09 | 179.3835
130 | FZ | 44 | 179.058
131 | OR | 03 | 178.1839
132 | EC | 11 | 177.6254
133 | EU | 04 | 175.2184
134 | GW | 02 | 174.5137
135 | SO | 42 | 172.2973
136 | BG | 09 | 172.2424
137 | WT | 08 | 171.6186
138 | LU | 43 | 171.065
139 | FP | 03 | 170.5851
140 | SCW | 01 | 170.567
141 | NV | 01 | 170.3269
142 | SA | 03 | 170.0973
143 | AR | 41 | 169.0907
144 | KM | 05 | 168.3512
145 | GE | 46 | 168.0375
146 | VL | 03 | 167.322
147 | CC | 03 | 166.4222
148 | GT | 02 | 165.3228
149 | LA | 02 | 165.2172
150 | RO | 02 | 165.212
151 | CB | 08 | 164.1685
152 | CD | 11 | 164.1511
153 | KW | 41 | 164.1116
154 | PI | 41 | 162.9958
155 | MV | 01 | 160.6235
156 | LW | 42 | 159.3872
157 | TO | 09 | 159.2653
158 | WT | 02 | 159.1587
159 | SF | 46 | 158.8392
160 | SE | 04 | 158.8093
161 | EC | 01 | 158.2532
162 | BV | 41 | 157.9524
163 | FD | 04 | 157.9142
164 | HOC | 08 | 157.6604
165 | MC | 04 | 157.5501
166 | HL | 02 | 157.069
167 | BY | 05 | 156.6893
168 | SA | 47 | 156.526
169 | DH | 05 | 156.2368
170 | GL | 08 | 155.7563
171 | HG | 04 | 154.2987
172 | MU | 01 | 153.6191
173 | LB | 02 | 152.4426
174 | KW | 42 | 152.4409
175 | IR | 02 | 150.9451
176 | CB | 12 | 150.8633
177 | PW | 02 | 149.7514
178 | CB | 02 | 149.2949
179 | LM | 04 | 149.2757
180 | HT | 01 | 148.404
181 | FD | 05 | 148.2237
182 | TO | 06 | 147.5746
183 | RE | 03 | 145.9981
184 | SB | 01 | 145.9281
185 | KL | 45 | 145.4297
186 | MY | 05 | 144.9611
187 | FL | 42 | 144.3279
188 | BR | 03 | 143.7533
189 | ST | 07 | 143.322
190 | PE | 01 | 143.3173
191 | WO | 12 | 143.0557
192 | BE | 02 | 143.0463
193 | SA | 41 | 143.0034
194 | LA | 04 | 142.2666
195 | LK | 04 | 142.032
196 | WT | 03 | 141.5631
197 | LJ | 08 | 141.0417
198 | STF | 02 | 140.8519
199 | RO | 42 | 140.5764
200 | GA | 09 | 140.1641
201 | AT | 42 | 140.1113
202 | HE | 02 | 139.7497
203 | QV | 05 | 139.5825
204 | CYF | 41 | 139.4373
205 | BR | 08 | 139.0241
206 | CV | 02 | 138.3829
207 | GV | 03 | 137.6701
208 | UV | 03 | 136.87
209 | IT | 02 | 136.4377
210 | AM | 05 | 136.2911
211 | TV | 04 | 136.1289
212 | HR | 02 | 134.546
213 | LA | 03 | 134.4924
214 | BI | 43 | 134.3246
215 | BI | 06 | 134.3072
216 | HOC | 07 | 134.15
217 | CG | 05 | 134.0091
218 | AI | 07 | 133.8
219 | CR | 02 | 133.3529
220 | WT | 09 | 133.1235
221 | LU | 41 | 132.8289
222 | GW | 01 | 132.5112
223 | RS | 02 | 131.8524
224 | ADK | 42 | 131.5183
225 | ES | 04 | 131.2085
226 | EL | 06 | 131.1135
227 | RU | 05 | 130.7427
228 | AE | 06 | 130.4356
229 | PI | 43 | 129.6776
230 | RA | 01 | 129.3411
231 | SW | 07 | 128.8242
232 | SW | 08 | 128.6701
233 | RU | 04 | 128.4118
234 | ST | 13 | 127.7669
235 | MY | 04 | 127.7353
236 | LU | 02 | 127.5421
237 | KI | 44 | 127.0986
238 | NEW | 01 | 127.0428
239 | LK | 07 | 126.8048
240 | TE | 01 | 126.4289
241 | CRB | 41 | 126.2743
242 | BL | 04 | 126.2599
243 | TE | 03 | 125.514
244 | SE | 03 | 125.4479
245 | CB | 10 | 124.4809
246 | LK | 02 | 124.477
247 | DV | 06 | 124.4316
248 | ADK | 43 | 124.2248
249 | THW | 43 | 123.8846
250 | PZ | 41 | 123.2696
251 | AD | 03 | 122.8103
252 | CL | 06 | 121.9329
253 | BL | 02 | 121.9219
254 | LU | 01 | 121.2415
255 | HG | 05 | 121.1212
256 | GL | 06 | 120.9994
257 | LY | 44 | 120.9521
258 | TV | 01 | 120.902
259 | UW | 04 | 120.7613
260 | TO | 02 | 120.4596
261 | SE | 01 | 120.4224
262 | BA | 45 | 119.9891
263 | DL | 44 | 119.9801
264 | AL | 08 | 119.8556
265 | GG | 09 | 119.8484
266 | ST | 16 | 119.6762
267 | FZ | 43 | 119.5208
268 | HB | 45 | 119.4752
269 | CRB | 42 | 119.4258
270 | GE | 42 | 119.4095
271 | FR | 46 | 119.0096
272 | RB | 02 | 118.9291
273 | LW | 43 | 118.7526
274 | AD | 07 | 118.6356
275 | GR | 02 | 118.6228
276 | EC | 08 | 118.4919
277 | GP | 03 | 118.2434
278 | SA | 01 | 117.4497
279 | SO | 43 | 117.4316
280 | BV | 42 | 116.7676
281 | BI | 42 | 116.6477
282 | GE | 45 | 116.6035
283 | LC | 01 | 116.2904
284 | MC | 05 | 116.0854
285 | QV | 06 | 115.5176
286 | THW | 44 | 115.4793
287 | EU | 05 | 115.3167
288 | SF | 08 | 115.1959
289 | DV | 07 | 115.1901
290 | SR | 05 | 115.0263
291 | LU | 44 | 114.9966
292 | FD | 09 | 114.712
293 | KL | 03 | 114.4717
294 | FZ | 45 | 114.3186
295 | RO | 04 | 114.075
296 | CE | 03 | 114.0736
297 | WT | 05 | 114.0247
298 | SB | 03 | 113.9745
299 | DH | 09 | 112.3517
300 | BA | 04 | 112.2624
301 | MB | 08 | 112.2044
302 | WV | 03 | 111.9968
303 | NM | 04 | 111.7712
304 | NB | 42 | 111.6883
305 | CC | 02 | 111.5443
306 | AM | 03 | 111.4621
307 | HX | 01 | 110.7392
308 | HV | 04 | 110.5256
309 | SW | 10 | 110.1165
310 | CS | 03 | 109.7629
311 | WE | 02 | 109.6841
312 | SB | 02 | 109.4434
313 | KT | 03 | 109.1875
314 | CR | 01 | 108.8959
315 | BI | 07 | 108.8455
316 | KT | 41 | 108.8383
317 | TB | 06 | 108.7283
318 | FD | 06 | 108.2099
319 | QV | 07 | 107.5853
320 | HV | 07 | 106.6336
321 | THW | 46 | 106.2438
322 | BA | 43 | 104.9032
323 | CD | 03 | 104.9006
324 | FT | 04 | 104.7907
325 | EL | 05 | 104.7671
326 | TE | 06 | 104.7469
327 | FD | 11 | 104.6635
328 | DR | 08 | 104.5112
329 | MP | 04 | 104.451
330 | HY | 01 | 104.1127
331 | BA | 42 | 103.7234
332 | GE | 41 | 103.471
333 | WE | 04 | 103.2281
334 | WI | 05 | 102.9989
335 | KL | 01 | 102.8652
336 | TWG | 41 | 102.7717
337 | GA | 04 | 102.7376
338 | UN | 05 | 102.6436
339 | EU | 10 | 102.4405
340 | HY | 11 | 101.9124
341 | BT | 06 | 101.894
342 | HOC | 06 | 101.5404
343 | BT | 05 | 101.1747
344 | TV | 02 | 101.009
345 | AV | 02 | 100.4473
346 | LA | 01 | 100.0212
347 | WO | 09 | 99.5743
348 | AR | 43 | 98.8259
349 | MB | 05 | 98.3315
350 | UN | 11 | 97.7635
351 | QV | 04 | 97.6967
352 | BH | 05 | 97.5318
353 | LK | 03 | 97.1089
354 | BR | 13 | 96.269
355 | NS | 06 | 96.1402
356 | BAR | 46 | 96.0974
357 | NB | 41 | 96.0742
358 | HB | 46 | 96.0243
359 | CB | 11 | 95.9124
360 | OA | 04 | 95.4132
361 | HB | 47 | 94.9043
362 | FZ | 42 | 94.6886
363 | DH | 06 | 94.0316
364 | HE | 04 | 93.4188
365 | KI | 41 | 93.0156
366 | BY | 09 | 92.7844
367 | MY | 02 | 92.6667
368 | HX | 03 | 92.6146
369 | BE | 03 | 92.5716
370 | DH | 10 | 92.4946
371 | RS | 08 | 92.4242
372 | STF | 01 | 91.6192
373 | CE | 08 | 91.4333
374 | GZ | 44 | 91.2881
375 | UW | 02 | 90.6534
376 | KL | 43 | 90.2732
377 | HM | 04 | 90.0446
378 | KB | 11 | 89.8785
379 | GG | 01 | 89.8417
380 | LM | 02 | 89.7819
381 | NS | 05 | 89.759
382 | HOC | 03 | 89.314
383 | HL | 04 | 89.2718
384 | LK | 08 | 89.2086
385 | UV | 04 | 89
386 | WC | 01 | 88.9442
387 | CB | 03 | 88.9001
388 | WZ | 43 | 88.8938
389 | BL | 05 | 88.8098
390 | HR | 01 | 88.3683
391 | SW | 06 | 88.075
392 | SW | 05 | 88.0537
393 | ES | 07 | 87.8958
394 | HA | 03 | 87.143
395 | SA | 44 | 87.0257
396 | WZ | 45 | 87.0027
397 | FW | 01 | 86.9341
398 | GZ | 41 | 86.6658
399 | BI | 45 | 86.5502
400 | BA | 41 | 86.549
401 | BI | 46 | 86.1663
402 | AD | 02 | 86.1559
403 | FD | 01 | 86.1318
404 | CRB | 43 | 86.1184
405 | DR | 06 | 85.7841
406 | EC | 02 | 85.5014
407 | CE | 04 | 85.3965
408 | ES | 06 | 85.2604
409 | STF | 04 | 85.2269
410 | DH | 02 | 84.9457
411 | WT | 04 | 84.9015
412 | HE | 03 | 84.8874
413 | CR | 03 | 84.6956
414 | AN | 01 | 84.5241
415 | TRM | 01 | 84.4833
416 | WF | 04 | 84.2414
417 | IM | 47 | 84.1216
418 | UL | 02 | 83.7302
419 | FP | 06 | 83.7155
420 | DE | 01 | 83.3428
421 | EL | 04 | 83.1418
422 | TB | 02 | 83.0614
423 | MY | 01 | 83.0446
424 | LK | 09 | 82.9825
425 | PA | 03 | 82.9191
426 | JP | 07 | 82.8644
427 | NB | 46 | 82.7843
428 | CC | 04 | 82.6134
429 | RE | 08 | 82.501
430 | BL | 03 | 82.4037
431 | EC | 05 | 82.3152
432 | PA | 08 | 82.0564
433 | CC | 01 | 81.9697
434 | HE | 08 | 81.683
435 | WL | 02 | 81.65
436 | WW | 02 | 81.3684
437 | BM | 01 | 81.3491
438 | WEB | 09 | 80.8341
439 | HR | 03 | 80.6973
440 | AD | 01 | 80.65
441 | AF | 05 | 80.538
442 | EC | 06 | 80.1203
443 | BI | 11 | 79.9713
444 | BM | 04 | 79.525
445 | BM | 07 | 78.7451
446 | LU | 42 | 78.3599
447 | UV | 05 | 78.2432
448 | HOC | 02 | 77.4494
449 | BW | 09 | 77.2439
450 | UW | 03 | 77.1507
451 | MP | 03 | 77.0876
452 | GT | 05 | 77.0472
453 | MB | 03 | 77.0382
454 | SP | 09 | 77.0267
455 | ES | 01 | 77.0087
456 | QV | 02 | 76.9633
457 | GG | 06 | 76.7703
458 | RS | 03 | 76.6399
459 | DH | 07 | 76.5045
460 | SE | 02 | 76.4017
461 | BA | 44 | 75.649
462 | WR | 11 | 75.5496
463 | FT | 03 | 75.4781
464 | FD | 10 | 75.4318
465 | FT | 06 | 75.3007
466 | THW | 45 | 75.1479
467 | CYF | 44 | 75.0676
468 | RS | 05 | 74.973
469 | DE | 04 | 74.8677
470 | FP | 04 | 74.8555
471 | BR | 07 | 74.7506
472 | GL | 03 | 74.6791
473 | GT | 12 | 74.2525
474 | AI | 06 | 74.1884
475 | BG | 03 | 74.1391
476 | DV | 10 | 73.931
477 | GV | 06 | 73.4742
478 | WT | 01 | 73.2275
479 | ST | 09 | 73.2158
480 | GN | 12 | 72.8843
481 | DL | 41 | 72.8793
482 | AN | 03 | 72.5955
483 | GV | 02 | 72.3926
484 | MV | 02 | 72.2662
485 | HV | 02 | 72.0839
486 | TM | 05 | 72.0313
487 | JN | 11 | 71.9681
488 | DR | 01 | 71.579
489 | UW | 05 | 71.5675
490 | CE | 06 | 71.5614
491 | KB | 08 | 71.4
492 | LP | 02 | 71.3874
493 | SB | 06 | 71.349
494 | ED | 04 | 71.1827
495 | SF | 02 | 71.155
496 | NP | 44 | 70.6772
497 | AN | 02 | 70.6426
498 | BY | 06 | 70.2097
499 | SH | 05 | 70.0192
500 | KW | 45 | 69.9154
501 | WV | 02 | 69.8076
502 | FD | 13 | 69.7324
503 | BT | 01 | 69.6161
504 | OA | 03 | 69.5
505 | WZ | 44 | 69.3065
506 | KW | 43 | 69.2876
507 | TE | 05 | 69.2135
508 | WF | 43 | 69.2135
509 | ED | 03 | 68.9909
510 | PE | 02 | 68.978
511 | PT | 07 | 68.8918
512 | TV | 03 | 68.8606
513 | TWG | 44 | 68.8209
514 | DN | 02 | 68.7123
515 | TO | 03 | 68.5111
516 | DA | 06 | 68.4296
517 | AN | 06 | 68.2995
518 | LB | 04 | 68.1929
519 | BY | 03 | 68.0506
520 | SW | 09 | 68.0014
521 | TB | 46 | 67.9279
522 | ME | 11 | 67.7839
523 | KM | 04 | 67.568
524 | WE | 05 | 67.5
525 | GA | 05 | 67.4527
526 | PJ | 01 | 67.3825
527 | RS | 07 | 67.2901
528 | PE | 04 | 67.1242
529 | GE | 43 | 67.0595
530 | PO | 01 | 67.0537
531 | NM | 01 | 67.0291
532 | DR | 05 | 66.9738
533 | SR | 07 | 66.8479
534 | HNY | 04 | 66.6404
535 | RE | 01 | 66.3311
536 | PW | 08 | 66.2883
537 | HY | 09 | 66.0542
538 | LV | 02 | 65.8216
539 | PA | 07 | 65.6615
540 | PW | 04 | 65.2293
541 | WR | 10 | 65.021
542 | LV | 01 | 64.9722
543 | LB | 01 | 64.8916
544 | WO | 04 | 64.679
545 | AL | 07 | 64.524
546 | SA | 43 | 64.4451
547 | GN | 44 | 64.3486
548 | WE | 06 | 64.2439
549 | EB | 06 | 64.2044
550 | CG | 02 | 64.0788
551 | BR | 04 | 64.0512
552 | PA | 02 | 63.9294
553 | HE | 07 | 63.6162
554 | BE | 04 | 63.4205
555 | WR | 09 | 63.41
556 | HM | 09 | 63.4005
557 | GN | 43 | 63.1107
558 | HX | 02 | 62.6864
559 | NS | 01 | 62.6612
560 | HB | 44 | 62.5826
561 | CD | 04 | 62.5757
562 | FP | 02 | 62.5
563 | CR | 05 | 62.3048
564 | LY | 42 | 62.2802
565 | BH | 07 | 62.2473
566 | OR | 02 | 62.2306
567 | THW | 41 | 62.141
568 | EL | 07 | 61.9364
569 | JN | 10 | 61.302
570 | WO | 02 | 61.2394
571 | OA | 01 | 61.0403
572 | BAR | 41 | 60.9654
573 | WR | 13 | 60.7233
574 | HM | 10 | 60.703
575 | ST | 05 | 60.5432
576 | GW | 06 | 60.5066
577 | SF | 09 | 60
578 | DE | 05 | 59.7639
579 | BR | 12 | 59.6534
580 | GN | 09 | 59.4908
581 | WT | 07 | 59.4641
582 | BU | 01 | 58.9609
583 | AN | 04 | 58.9172
584 | BU | 03 | 58.8705
585 | EU | 03 | 58.6027
586 | LK | 01 | 58.5433
587 | GP | 08 | 58.5411
588 | DN | 09 | 58.5349
589 | JN | 02 | 58.5021
590 | EL | 08 | 58.0978
591 | WE | 01 | 58.0846
592 | SH | 09 | 58.0104
593 | LJ | 04 | 57.9659
594 | AF | 01 | 57.8921
595 | PK | 46 | 57.7111
596 | DV | 01 | 57.7004
597 | LP | 05 | 56.8462
598 | GN | 10 | 56.8244
599 | EC | 07 | 56.6416
600 | PO | 02 | 56.3009
601 | PZ | 42 | 56.2731
602 | HE | 01 | 56.2557
603 | HY | 10 | 56.2026
604 | BT | 03 | 56.0378
605 | HY | 07 | 55.8924
606 | DR | 02 | 55.76
607 | AF | 07 | 55.7356
608 | BY | 10 | 55.6875
609 | WZ | 46 | 55.6049
610 | PZ | 44 | 55.3448
611 | SA | 48 | 55.2558
612 | IM | 44 | 55.131
613 | WF | 02 | 55.0955
614 | STW | 04 | 54.9314
615 | AN | 09 | 54.774
616 | GP | 04 | 54.7153
617 | SB | 07 | 54.2088
618 | AF | 03 | 54.1964
619 | SB | 04 | 54.1178
620 | SF | 07 | 53.8462
621 | HG | 02 | 53.8431
622 | UL | 49 | 53.807
623 | IM | 42 | 53.7464
624 | CA | 02 | 53.5934
625 | SP | 03 | 53.5902
626 | CE | 10 | 53.48
627 | FD | 15 | 53.3804
628 | CE | 07 | 53.2593
629 | GN | 42 | 53.1818
630 | UN | 03 | 53.1214
631 | LU | 03 | 53.0986
632 | LJ | 07 | 53.0507
633 | HL | 03 | 52.8522
634 | CE | 02 | 52.8257
635 | ST | 06 | 52.5819
636 | JN | 06 | 52.5502
637 | FZ | 41 | 52.1212
638 | IND | 04 | 51.9286
639 | AM | 06 | 51.8481
640 | WR | 12 | 51.8273
641 | LP | 04 | 51.7673
642 | BA | 02 | 51.7111
643 | OB | 43 | 51.5984
644 | IR | 04 | 51.4308
645 | FT | 01 | 51.421
646 | SB | 08 | 51.3742
647 | SF | 42 | 51.2951
648 | HY | 08 | 51.2625
649 | SH | 11 | 50.8419
650 | AV | 03 | 50.838
651 | TO | 05 | 50.7475
652 | LJ | 09 | 50.5751
653 | SP | 05 | 50.4793
654 | PO | 03 | 50.4204
655 | BG | 06 | 50.1546
656 | WF | 03 | 50.0019
657 | IR | 01 | 49.938
658 | HM | 06 | 49.9217
659 | FT | 05 | 49.9118
660 | ES | 05 | 49.8251
661 | JN | 04 | 49.6166
662 | GA | 06 | 49.614
663 | AF | 10 | 49.4537
664 | GP | 07 | 49.3374
665 | STF | 07 | 49.3012
666 | WEB | 07 | 49.2695
667 | HM | 02 | 49.2193
668 | ST | 12 | 49.1523
669 | HM | 03 | 48.6808
670 | BH | 08 | 48.6573
671 | QV | 08 | 48.5869
672 | SR | 13 | 48.3014
673 | PA | 04 | 48.2988
674 | DV | 08 | 47.8885
675 | WW | 01 | 47.8876
676 | STF | 05 | 47.6118
677 | BAR | 43 | 47.5918
678 | WO | 05 | 47.2916
679 | HM | 05 | 47.2756
680 | SP | 01 | 47.1517
681 | FW | 04 | 47.0279
682 | WF | 42 | 46.9966
683 | AD | 06 | 46.9634
684 | AF | 02 | 46.9413
685 | ST | 02 | 46.8795
686 | WZ | 41 | 46.6479
687 | MAR | 44 | 46.5632
688 | WI | 03 | 46.5591
689 | RU | 02 | 46.4866
690 | JN | 03 | 46.0406
691 | KI | 43 | 45.9597
692 | DN | 10 | 45.957
693 | DV | 03 | 45.8008
694 | TO | 10 | 45.6977
695 | LB | 05 | 45.3264
696 | HY | 06 | 45.3117
697 | RA | 44 | 45.1588
698 | WW | 08 | 44.9448
699 | CYF | 43 | 44.6991
700 | HT | 05 | 44.6218
701 | RU | 01 | 44.5141
702 | LJ | 02 | 43.993
703 | HE | 06 | 43.7576
704 | CD | 12 | 43.7287
705 | GL | 09 | 43.7244
706 | SR | 11 | 43.6954
707 | BAR | 47 | 43.6334
708 | FW | 05 | 43.5299
709 | WI | 02 | 43.4014
710 | FD | 08 | 43.3353
711 | KB | 05 | 43.3048
712 | BW | 05 | 43.278
713 | BT | 07 | 43.0386
714 | WT | 11 | 43
715 | BE | 01 | 42.8244
716 | PA | 05 | 42.7407
717 | AF | 04 | 42.6341
718 | ST | 01 | 42.6337
719 | BY | 04 | 42.4719
720 | DV | 05 | 42.2573
721 | AN | 08 | 42.1844
722 | BR | 05 | 42.105
723 | CE | 09 | 42.0597
724 | GL | 07 | 42.0187
725 | JP | 01 | 42
726 | ADK | 41 | 41.8412
727 | GL | 10 | 41.6971
728 | HY | 03 | 41.6747
729 | ME | 01 | 41.6597
730 | BR | 09 | 41.4173
731 | HA | 04 | 41.3127
732 | WZ | 42 | 41.2985
733 | DH | 04 | 41.1132
734 | EC | 04 | 41.0017
735 | KM | 03 | 40.9158
736 | DE | 02 | 40.7987
737 | CD | 05 | 40.7702
738 | HL | 01 | 40.7362
739 | IM | 45 | 40.5937
740 | SH | 07 | 40.5855
741 | BU | 02 | 40.5259
742 | GA | 08 | 40.4118
743 | HOC | 04 | 40.3617
744 | SR | 03 | 40.3441
745 | ED | 07 | 40.1955
746 | BG | 02 | 40.147
747 | NB | 45 | 40.0757
748 | MP | 02 | 40.0505
749 | GZ | 45 | 40.0374
750 | ST | 15 | 39.9046
751 | DN | 04 | 39.8915
752 | DN | 06 | 39.8693
753 | HP | 05 | 39.8526
754 | SR | 12 | 39.8363
755 | GG | 04 | 39.7217
756 | BR | 11 | 39.6766
757 | KL | 44 | 39.6522
758 | FW | 03 | 39.6246
759 | SR | 14 | 39.5133
760 | QV | 03 | 39.3752
761 | KM | 02 | 39.246
762 | EC | 03 | 39.1855
763 | SP | 06 | 38.9236
764 | BT | 02 | 38.898
765 | AL | 05 | 38.8493
766 | BZ | 01 | 38.618
767 | HA | 02 | 38.5515
768 | FD | 03 | 38.5498
769 | ME | 07 | 38.5474
770 | MP | 08 | 38.3971
771 | ST | 10 | 38.3016
772 | HK | 42 | 38.298
773 | STF | 06 | 38.2845
774 | PA | 09 | 38.2224
775 | BM | 02 | 38.1978
776 | EC | 09 | 38.1661
777 | BA | 01 | 38.0888
778 | HG | 03 | 38.0792
779 | GN | 06 | 38.0458
780 | AD | 04 | 37.9731
781 | HM | 01 | 37.9286
782 | GP | 09 | 37.85
783 | NS | 02 | 37.8081
784 | BW | 07 | 37.6837
785 | OR | 01 | 37.6071
786 | DR | 03 | 37.5939
787 | CL | 05 | 37.5803
788 | CL | 04 | 37.4468
789 | ED | 02 | 37.439
790 | BZ | 02 | 37.3825
791 | KN | 01 | 37.3528
792 | NS | 03 | 37.1475
793 | CL | 03 | 37.0426
794 | SP | 08 | 36.8597
795 | BA | 03 | 36.8176
796 | GR | 04 | 36.7442
797 | GT | 09 | 36.6241
798 | SH | 02 | 36.5769
799 | BZ | 05 | 36.509
800 | KI | 42 | 36.3557
801 | PW | 03 | 36.2222
802 | CV | 08 | 36.1992
803 | AF | 06 | 36.0225
804 | MC | 03 | 35.9566
805 | VL | 02 | 35.8491
806 | TE | 02 | 35.7996
807 | WW | 03 | 35.6942
808 | GV | 07 | 35.4738
809 | CE | 05 | 35.3217
810 | FT | 02 | 35.1621
811 | MAR | 42 | 35.0457
812 | CD | 02 | 35.0338
813 | GW | 07 | 34.9204
814 | SF | 03 | 34.8093
815 | HM | 08 | 34.7229
816 | IR | 03 | 34.6918
817 | GZ | 43 | 34.5926
818 | GG | 10 | 34.4415
819 | SP | 04 | 34.3498
820 | UN | 02 | 34.1645
821 | KM | 01 | 34.0159
822 | PW | 05 | 33.9595
823 | AN | 10 | 33.8585
824 | SR | 02 | 33.7426
825 | TB | 03 | 33.5993
826 | PA | 06 | 33.5879
827 | HNY | 02 | 33.2959
828 | STF | 08 | 33.2692
829 | LJ | 01 | 33.1841
830 | HNY | 01 | 33.1635
831 | WO | 03 | 33.1289
832 | SB | 05 | 33.1226
833 | BR | 02 | 32.8626
834 | WW | 06 | 32.8476
835 | VL | 01 | 32.7975
836 | FD | 12 | 32.751
837 | LP | 03 | 32.6687
838 | HOC | 05 | 32.5537
839 | LU | 04 | 32.3146
840 | EU | 11 | 32.2759
841 | UN | 01 | 32.2456
842 | AF | 08 | 31.9088
843 | GP | 05 | 31.8564
844 | HT | 06 | 31.4261
845 | UN | 08 | 31.319
846 | NM | 02 | 31.3009
847 | KW | 44 | 31.2973
848 | BR | 01 | 31.2872
849 | HNY | 03 | 31.2331
850 | HY | 05 | 31.2093
851 | SP | 10 | 31.2006
852 | CG | 03 | 31.1941
853 | AI | 05 | 31.1905
854 | GA | 03 | 31.0923
855 | DR | 09 | 31.0802
856 | GV | 04 | 30.8624
857 | WT | 10 | 30.8266
858 | DR | 04 | 30.773
859 | DN | 07 | 30.4608
860 | BM | 03 | 30.3655
861 | KM | 06 | 30.3378
862 | MAR | 41 | 30.286
863 | MC | 01 | 30.2657
864 | MDY | 03 | 30.1444
865 | MB | 04 | 30.1202
866 | DH | 03 | 30.0851
867 | BW | 03 | 30.05
868 | UL | 04 | 29.9584
869 | WO | 01 | 29.7833
870 | JN | 09 | 29.5073
871 | WE | 08 | 29.4749
872 | CG | 04 | 29.4166
873 | PE | 03 | 29.3171
874 | BL | 06 | 29.215
875 | HB | 49 | 29.164
876 | PW | 01 | 29.1505
877 | KT | 43 | 29.0172
878 | HA | 05 | 28.9759
879 | RO | 06 | 28.7497
880 | HV | 01 | 28.6894
881 | GV | 05 | 28.4771
882 | KM | 07 | 28.3903
883 | FZ | 46 | 28.3551
884 | CK | 04 | 28.2552
885 | UL | 46 | 28.1669
886 | CR | 04 | 28.0809
887 | BI | 02 | 28.0414
888 | LJ | 06 | 27.9957
889 | TO | 04 | 27.8897
890 | WO | 13 | 27.8775
891 | AF | 09 | 27.865
892 | DH | 08 | 27.8572
893 | IND | 01 | 27.8182
894 | WR | 14 | 27.7867
895 | CS | 01 | 27.688
896 | RE | 05 | 27.6418
897 | HG | 01 | 27.624
898 | JP | 02 | 27.6129
899 | UV | 06 | 27.4784
900 | DL | 42 | 27.4149
901 | RS | 06 | 27.4014
902 | LB | 06 | 27.2712
903 | EU | 12 | 27.2254
904 | WO | 06 | 27.152
905 | PA | 01 | 26.9751
906 | KT | 42 | 26.924
907 | ME | 03 | 26.8691
908 | CD | 09 | 26.7658
909 | CD | 08 | 26.7154
910 | HP | 04 | 26.6856
911 | ST | 03 | 26.6504
912 | DE | 06 | 26.4636
913 | SCW | 02 | 26.4153
914 | GT | 04 | 26.2451
915 | BG | 07 | 26.09
916 | WW | 07 | 25.9161
917 | NB | 44 | 25.7287
918 | BH | 06 | 25.7101
919 | GA | 02 | 25.5167
920 | BG | 04 | 25.4667
921 | LJ | 03 | 25.3375
922 | MAR | 43 | 25.2657
923 | WI | 08 | 25.2046
924 | WF | 01 | 25.1579
925 | GT | 13 | 25.0843
926 | SR | 06 | 25.0566
927 | SP | 02 | 25.0402
928 | HL | 06 | 25.0295
929 | WEB | 03 | 24.9916
930 | CA | 05 | 24.865
931 | KB | 07 | 24.6679
932 | BY | 02 | 24.6585
933 | HL | 05 | 24.5439
934 | HG | 06 | 24.4881
935 | KT | 02 | 24.4303
936 | TE | 04 | 24.3447
937 | SH | 01 | 24.3017
938 | OB | 41 | 24.2823
939 | BL | 07 | 24.2343
940 | PO | 07 | 24.069
941 | FD | 07 | 24.0661
942 | CD | 06 | 23.942
943 | CV | 03 | 23.8905
944 | TO | 01 | 23.8214
945 | CR | 06 | 23.7793
946 | UL | 15 | 23.7759
947 | LP | 01 | 23.668
948 | CA | 03 | 23.6474
949 | GT | 06 | 23.6319
950 | KB | 06 | 23.5029
951 | CD | 07 | 23.4728
952 | HT | 08 | 23.4471
953 | KB | 13 | 23.1923
954 | KB | 12 | 23.1888
955 | KB | 01 | 23.0181
956 | WI | 01 | 22.8567
957 | CV | 04 | 22.8417
958 | PO | 05 | 22.6605
959 | CG | 06 | 22.6116
960 | KN | 04 | 22.4459
961 | CR | 07 | 22.4306
962 | HT | 04 | 22.3481
963 | GA | 10 | 22.0994
964 | GG | 07 | 22.0791
965 | MB | 06 | 22.013
966 | LB | 07 | 21.8506
967 | UV | 02 | 21.8237
968 | NEW | 03 | 21.8147
969 | BW | 01 | 21.72
970 | LP | 06 | 21.6833
971 | GS | 22 | 21.6495
972 | GL | 01 | 21.5818
973 | SR | 10 | 21.464
974 | ME | 02 | 21.3684
975 | JP | 03 | 21.3514
976 | SF | 43 | 21.2778
977 | CV | 01 | 21.1242
978 | BAR | 45 | 21.017
979 | BY | 08 | 20.9565
980 | RO | 05 | 20.8964
981 | HA | 01 | 20.8137
982 | WI | 06 | 20.7582
983 | AI | 08 | 20.6396
984 | OA | 02 | 20.4868
985 | ED | 05 | 20.4742
986 | LK | 10 | 20.0091
987 | DT | 32 | 19.8
988 | IM | 43 | 19.7652
989 | ST | 08 | 19.6707
990 | SP | 07 | 19.6127
991 | EU | 09 | 19.6121
992 | WD | 43 | 19.5766
993 | CV | 06 | 19.5263
994 | HT | 02 | 19.2233
995 | WO | 10 | 19.2064
996 | HP | 02 | 19.0211
997 | DN | 01 | 18.997
998 | WE | 03 | 18.9234
999 | CL | 08 | 18.9211
1000 | HP | 03 | 18.865
1001 | ES | 03 | 18.8
1002 | DN | 11 | 18.7236
1003 | GA | 01 | 18.7
1004 | SF | 12 | 18.6667
1005 | UN | 10 | 18.5507
1006 | BI | 09 | 18.5296
1007 | PZ | 43 | 18.4854
1008 | GA | 07 | 18.2397
1009 | GG | 02 | 18.1973
1010 | ED | 06 | 18.1461
1011 | SF | 13 | 18.0179
1012 | CK | 01 | 17.9283
1013 | BT | 04 | 17.9032
1014 | CL | 09 | 17.8451
1015 | NS | 04 | 17.8444
1016 | CL | 01 | 17.8382
1017 | CA | 01 | 17.6999
1018 | GT | 10 | 17.697
1019 | SH | 04 | 17.6656
1020 | KB | 04 | 17.6567
1021 | DE | 03 | 17.6351
1022 | GP | 06 | 17.5342
1023 | RO | 44 | 17.4137
1024 | DL | 45 | 17.4079
1025 | ST | 11 | 17.3271
1026 | CD | 01 | 17.3196
1027 | HY | 02 | 17.3073
1028 | THW | 42 | 17.1751
1029 | ME | 04 | 17.1106
1030 | FD | 14 | 17.0674
1031 | CV | 05 | 17.0185
1032 | KB | 09 | 16.9979
1033 | BZ | 04 | 16.8698
1034 | KB | 02 | 16.7346
1035 | UL | 13 | 16.7322
1036 | SH | 06 | 16.6184
1037 | BG | 05 | 16.4258
1038 | CD | 10 | 16.331
1039 | MP | 10 | 16.2391
1040 | HY | 04 | 16.2302
1041 | AM | 04 | 16.0435
1042 | WEB | 05 | 16.0023
1043 | OA | 05 | 15.947
1044 | GL | 02 | 15.9048
1045 | GR | 01 | 15.7222
1046 | HP | 01 | 15.6778
1047 | SF | 45 | 15.475
1048 | WO | 14 | 15.4572
1049 | GG | 03 | 15.4257
1050 | MP | 06 | 15.1389
1051 | GT | 08 | 14.8676
1052 | IND | 02 | 14.8571
1053 | DN | 03 | 14.8549
1054 | UL | 03 | 14.7765
1055 | KB | 20 | 14.7682
1056 | CV | 10 | 14.7302
1057 | EU | 08 | 14.5333
1058 | BZ | 03 | 14.5319
1059 | EU | 07 | 14.486
1060 | ME | 10 | 14.3764
1061 | BM | 05 | 14.3614
1062 | WEB | 10 | 14.2841
1063 | RZ | 01 | 14.2328
1064 | LJ | 05 | 14.203
1065 | ST | 04 | 14.1688
1066 | WW | 05 | 14.1579
1067 | KT | 45 | 14.1412
1068 | EU | 06 | 14.011
1069 | BI | 08 | 13.9782
1070 | DR | 07 | 13.9203
1071 | BI | 04 | 13.6675
1072 | DV | 02 | 13.5858
1073 | RO | 08 | 13.3472
1074 | OA | 06 | 13.297
1075 | NM | 03 | 13.2574
1076 | WO | 07 | 13.2254
1077 | GT | 03 | 12.8841
1078 | TO | 08 | 12.8153
1079 | BW | 06 | 12.7273
1080 | NM | 05 | 12.4975
1081 | UL | 47 | 12.4225
1082 | RE | 04 | 12.2914
1083 | ES | 02 | 12.1947
1084 | HT | 03 | 12.1782
1085 | UL | 45 | 11.9133
1086 | KB | 03 | 11.9024
1087 | PJ | 02 | 11.8145
1088 | WV | 01 | 11.7333
1089 | GS | 29 | 11.5439
1090 | ME | 05 | 11.5304
1091 | RE | 02 | 11.3492
1092 | UL | 14 | 11.088
1093 | JN | 07 | 10.9832
1094 | UL | 09 | 10.9735
1095 | UN | 04 | 10.9169
1096 | RE | 06 | 10.8062
1097 | RO | 07 | 10.7632
1098 | BI | 03 | 10.5878
1099 | WEB | 01 | 10.5314
1100 | MP | 07 | 10.5095
1101 | MDY | 02 | 10.0939
1102 | UV | 01 | 10.0075
1103 | WEB | 04 | 9.911
1104 | DT | 17 | 9.8889
1105 | JN | 01 | 9.8707
1106 | CR | 08 | 9.8621
1107 | GN | 48 | 9.6
1108 | ME | 09 | 9.5494
1109 | VL | 05 | 9.4
1110 | DN | 05 | 9.0887
1111 | RS | 04 | 9.0464
1112 | JN | 05 | 8.9784
1113 | BH | 04 | 8.9386
1114 | BI | 05 | 8.8336
1115 | PJ | 03 | 8.8103
1116 | PO | 09 | 8.7496
1117 | ED | 08 | 8.6039
1118 | MP | 05 | 8.3953
1119 | KN | 03 | 8.3571
1120 | ED | 01 | 8.2626
1121 | GP | 02 | 8.1923
1122 | MP | 01 | 8.1815
1123 | WD | 44 | 8.1765
1124 | KT | 01 | 8.1154
1125 | SH | 03 | 8.0851
1126 | GT | 01 | 8.0271
1127 | ES | 08 | 8.0054
1128 | HE | 05 | 7.9357
1129 | WO | 08 | 7.761
1130 | PO | 08 | 7.5125
1131 | WEB | 02 | 7.3608
1132 | IT | 04 | 7.3077
1133 | MB | 02 | 7.2738
1134 | BW | 08 | 7.1613
1135 | WD | 41 | 7.1486
1136 | EC | 10 | 7.1477
1137 | HG | 08 | 6.8421
1138 | ME | 06 | 6.7523
1139 | SF | 01 | 6.7421
1140 | SH | 08 | 6.7149
1141 | CL | 07 | 6.381
1142 | CK | 02 | 6.1182
1143 | CB | 04 | 6.0208
1144 | UL | 16 | 6
1145 | CK | 03 | 5.9157
1146 | WI | 07 | 5.7871
1147 | RO | 43 | 5.605
1148 | HM | 07 | 5.5971
1149 | WO | 11 | 5.2927
1150 | PO | 04 | 5.0938
1151 | KB | 17 | 4.9011
1152 | HV | 05 | 4.8862
1153 | IND | 03 | 4.85
1154 | DN | 08 | 4.59
1155 | CA | 04 | 4.1657
1156 | DV | 09 | 4.1076
1157 | MP | 09 | 4
1158 | SF | 14 | 3.8128
1159 | SF | 15 | 3.5912
1160 | JP | 04 | 3.5417
1161 | WEB | 06 | 3.5101
1162 | WW | 04 | 3.4581
1163 | KN | 02 | 3.3431
1164 | AM | 07 | 3.3333
1165 | FW | 02 | 3.1055
1166 | SR | 09 | 2.9091
1167 | SF | 05 | 2.6167
1168 | EC | 12 | 2.5474
1169 | JP | 05 | 2.5172
1170 | EU | 01 | 2.5
1171 | DT | 33 | 2.4545
1172 | KB | 19 | 2.4487
1173 | HT | 09 | 2.3459
1174 | ST | 14 | 2.3429
1175 | WEB | 08 | 2.3267
1176 | CA | 06 | 2.2811
1177 | PO | 06 | 2.1225
1178 | KB | 10 | 2.0696
1179 | UN | 09 | 1.9259
1180 | CYF | 42 | 1.8907
1181 | RO | 03 | 1.6602
1182 | TO | 07 | 1.4902
1183 | SF | 44 | 1.3702
1184 | PK | 47 | 1.3684
1185 | SH | 10 | 1.3243
1186 | KN | 05 | 1.0706
1187 | GN | 11 | 0.9827
1188 | RO | 01 | 0.9112
1189 | CK | 05 | 0.869
1190 | SR | 08 | 0.6102
1191 | SR | 04 | 0.4553
1192 | GS | 09 | 0.4356
1193 | JN | 08 | 0.0945
1194 | DV | 04 | 0.0931
1195 | AR | 44 | 0
1196 | BI | 01 | 0
1197 | BI | 10 | 0
1198 | DT | 19 | 0
1199 | DT | 24 | 0
1200 | DT | 26 | 0
1201 | GG | 05 | 0
1202 | GN | 41 | 0
1203 | GR | 03 | 0
1204 | GS | 02 | 0
1205 | IT | 03 | 0
1206 | KB | 15 | 0
1207 | MB | 07 | 0
1208 | ME | 08 | 0
1209 | PK | 02 | 0
1210 | PK | 41 | 0
1211 | PK | 43 | 0
1212 | PK | 45 | 0
1213 | SF | 10 | 0
1214 | SF | 11 | 0

## Causes
Reliant Energy HL&P
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 19.25%
|  | Vegetation | 9.47%
|  | Animals and Birds | 12.22%
|  | People (Including cars and farm equip) | 5.92%
|  | Utility-owned Equipment | 33.37%
|  | Other | 12.66%
|  | Unknown | 7.11%