## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Entergy Gulf States, Inc.
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 383
Due: |  | February 15, 2000
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 21972
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Industry Analysis Division
Office of Regulatory Affairs
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
1998 And 1999
Entergy Gulf States, Inc.
Project 21972

## System-SAIFI
Entergy Gulf States, Inc.
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 1.7574 | 0.093165 | 0.10709 | 0.17004 | 0.10727 | 0.096184 | 0.21835 | 0.21485 | 0.19704 | 0.15171 | 0.16964 | 0.11296 | 0.11913
1999 | 1.8662 | 0.15778 | 0.057998 | 0.12336 | 0.1091 | 0.2081 | 0.1809 | 0.18952 | 0.25016 | 0.17051 | 0.14131 | 0.10168 | 0.17579
Scheduled
1998 | 0.023075 | 0.0047043 | 0.0043469 | 0.0034196 | 0 | 0.0030623 | 0.0003358 | 2.4646e-05 | 0.0043562 | 0.0023537 | 5.5453e-05 | 0.00026494 | 0.00015096
1999 | 0.011987 | 0.00011999 | 0.00092088 | 0.00014398 | 0.0011279 | 0.0017698 | 0.0031436 | 0.0008369 | 0.0022047 | 1.1999e-05 | 0.00066592 | 0.00047094 | 0.00056993
Outside Causes
1998 | 0.17628 | 0.018546 | 0.060327 | 3.0807e-05 | 0.017683 | 0.0061676 | 0.0044917 | 0.0059027 | 0.0060321 | 0.00060691 | 0.017985 | 0.025435 | 0.013069
1999 | 1.0607 | 0.073482 | 0.0070671 | 0.065674 | 0.014005 | 0.061117 | 0.071535 | 0.48276 | 0.098052 | 0.063232 | 0.012937 | 0.05384 | 0.056981
Major Events
1998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 | 0.11925 | 0 | 0 | 0 | 0 | 0.11925 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## System-SAIDI
Entergy Gulf States, Inc.
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 129.1635 | 6.1888 | 9.2241 | 9.5865 | 5.5116 | 7.1274 | 14.9253 | 17.1022 | 15.4711 | 11.8504 | 15.8347 | 9.0613 | 7.2802
1999 | 148.6372 | 17.0451 | 4.9684 | 8.4911 | 7.8023 | 22.5064 | 11.1018 | 12.9507 | 19.9044 | 14.6425 | 10.4311 | 6.1218 | 12.6717
Scheduled
1998 | 0.44955 | 0.057154 | 0.17823 | 0.037385 | 0 | 0.054634 | 0.0035891 | 0.00071473 | 0.049372 | 0.025114 | 0.0013401 | 0.029205 | 0.012804
1999 | 0.52101 | 0.0038125 | 0.041632 | 0.0032186 | 0.020652 | 0.068538 | 0.1133 | 0.038866 | 0.16624 | 0.00053993 | 0.033656 | 0.0062692 | 0.024279
Outside Causes
1998 | 8.652 | 0.29164 | 1.8497 | 0.00086261 | 1.3788 | 0.16653 | 0.098818 | 0.34728 | 0.50094 | 0.064332 | 1.5873 | 1.679 | 0.68683
1999 | 50.1038 | 1.7323 | 0.68952 | 7.0593 | 1.9478 | 5.5522 | 2.4558 | 16.8026 | 6.6795 | 2.2188 | 0.27925 | 1.7714 | 2.9154
Major Events
1998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 | 21.0531 | 0 | 0 | 0 | 0 | 21.0531 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  | Total Number of Feeders
Add or Delete Rows as Necessary |  |  | 383
Entergy Gulf States, Inc.
1999 SAIFI Ranking | Substation Identification | Feeder Identification | 1999 SAIFI Value
1 | WALDEN | 562WD | 9.1129
2 | REBEL | 119RB | 7.7354
3 | LINDBERGH | 41LNB | 7.6006
4 | WINFREE | 342WN | 7.0291
5 | NEW CANEY | 333NC | 6.2198
6 | MCLEWIS | 382MC | 5.8716
7 | LONGMIRE | 580LM | 5.8015
8 | CONROE BULK | 577CN | 5.7606
9 | NECHES | 197NE | 5.5862
10 | KOUNTZE | 452KT | 4.8602
11 | SHEAWILL | 536SH | 4.6525
12 | MCHALE | 112MC | 4.6042
13 | BRIDGE CITY | 361BD | 4.5965
14 | CRYSTAL | 570CR | 4.5304
15 | APOLLO | 321AP | 4.4756
16 | WALDEN | 563WD | 4.4004
17 | LONGMIRE | 583LM | 4.3622
18 | NORTH SILSBEE | 471NS | 4.3132
19 | GOREE | 681GR | 4.2985
20 | OAK RIDGE | 743OK | 4.1958
21 | DOUCETTE | 570DC | 4.1422
22 | DAYTON BULK | 724DY | 4.1
23 | FORT WORTH | 52FTW | 3.9615
24 | PORT ARTHUR WW | 18WWK | 3.9308
25 | DAISETTA | 744DA | 3.8777
26 | WINFREE | 341WN | 3.8586
27 | FLETCHER | 457FL | 3.8487
28 | MAYHAW | 671MA | 3.8017
29 | WEST END | 87WED | 3.7579
30 | GREAT LAKES | 120GR | 3.7143
31 | HUNTSVILLE | 607HU | 3.7138
32 | NEW CANEY | 335NC | 3.7085
33 | BEVIL | 155BE | 3.6682
34 | GROVETON | 256GV | 3.6
35 | WARREN | 592WR | 3.5812
36 | HANKAMER | 207HA | 3.5575
37 | SILSBEE | 463SI | 3.5407
38 | MCHALE | 113MC | 3.5385
39 | DORMAN | 114DR | 3.538
40 | CORDREY | 324CO | 3.5352
41 | SOUR LAKE | 104SL | 3.5236
42 | PORT NECHES | 45PTN | 3.5157
43 | FRONT STREET | 303FR | 3.4924
44 | OAK RIDGE | 744OK | 3.4456
45 | AMELIA BULK | 180AM | 3.4382
46 | DAYTON BULK | 723DY | 3.4358
47 | PORT ACRES BULK | 70PAS | 3.3589
48 | LOVELLS LAKE | 142LV | 3.3294
49 | NORTH END | 21NOE | 3.3224
50 | HUNTSVILLE | 600HU | 3.2966
51 | LONGMIRE | 581LM | 3.278
52 | APRIL | 591AP | 3.2767
53 | CORDREY | 325CO | 3.2458
54 | MCDONALD | 479MD | 3.2051
55 | BLUE BONNET | 73BLB | 3.2051
56 | TAMINA | 598TA | 3.1607
57 | BRIARCLIFF | 31BRC | 3.1503
58 | EASTGATE | 781EG | 3.1436
59 | SPURGER | 528SP | 3.1185
60 | LAKESIDE | 4LAS | 3.1053
61 | TEMCO | 627TE | 3.0967
62 | DOBBIN | 519DO | 3.0942
63 | PRAIRIE | 148PR | 3.0941
64 | LAMAR | 95LAM | 3.0906
65 | DE QUEEN | 84DQN | 3.0601
66 | CHEEK | 160CH | 3.0479
67 | HICKORY RIDGE | 341HI | 3.017
68 | GROVES | 59GRO | 2.9865
69 | DAYTON BULK | 725DY | 2.9759
70 | CORDREY | 326CO | 2.9534
71 | BEVIL | 154BE | 2.9138
72 | GROVETON | 255GV | 2.8879
73 | RIVTRIN | 269RV | 2.8726
74 | FRONT STREET | 308FR | 2.8685
75 | ELIZABETH | 121EL | 2.86
76 | VIRGINIA | 131VI | 2.8528
77 | ECHO | 70ECH | 2.8033
78 | VIWAY | 681VI | 2.7958
79 | RIVTRIN | 268RV | 2.7807
80 | ROSEDALE | 151RS | 2.7782
81 | TANGLEWOOD | 137TG | 2.7698
82 | GROVETON | 257GV | 2.7576
83 | CROCKETT | 64CRK | 2.7097
84 | LAKEVIEW | 81LAV | 2.6878
85 | WINSHIRE | 240WS | 2.6834
86 | CLEVELAND | 425CV | 2.6811
87 | FRONT STREET | 307FR | 2.6789
88 | CRYSTAL | 566CR | 2.6553
89 | CALVERT | 6CAL | 2.6545
90 | GRIMES | 883GR | 2.6506
91 | MANCHESTER | 64MAN | 2.6493
92 | VIDOR | 164VD | 2.6427
93 | NAVASOTA | 969NA | 2.6396
94 | WALDEN | 564WD | 2.6345
95 | CLEVELAND | 406CV | 2.634
96 | HANKAMER | 206HA | 2.6311
97 | LINDBERGH | 40LNB | 2.6268
98 | NECHES | 193NE | 2.6171
99 | MANCHESTER | 67MAN | 2.6057
100 | MAGNOLIA AMES | 711MG | 2.562
101 | TANGLEWOOD | 135TG | 2.5577
102 | PRAIRIE | 147PR | 2.5452
103 | MAPLE | 90MPL | 2.4943
104 | LILLARD | 490LI | 2.4829
105 | ELIZABETH | 122EL | 2.4801
106 | PEE DEE | 811PD | 2.4757
107 | CROCKETT | 65CRK | 2.4717
108 | TAMINA | 316TA | 2.471
109 | DOBBIN | 920DO | 2.4706
110 | GRIMES | 982GR | 2.465
111 | SARATOGA | 761SA | 2.463
112 | STOWELL | 231ST | 2.459
113 | LONGMIRE | 584LM | 2.4453
114 | CROWDER | 105CD | 2.4229
115 | KICKAPOO | 251KP | 2.411
116 | TAMINA | 317TA | 2.3979
117 | CLEVELAND | 404CV | 2.3859
118 | BATSON | 53BAT | 2.381
119 | CHINA | 92CHI | 2.3738
120 | ECHO | 72ECH | 2.3703
121 | CONAIR | 514CN | 2.3654
122 | SANDY SHORES | 201SD | 2.2422
123 | TRINITY | 261TR | 2.2339
124 | MCHALE | 111MC | 2.2329
125 | ALDEN | 764AL | 2.2313
126 | SPLENDORA | 308SP | 2.2214
127 | MCDONALD | 477MD | 2.2162
128 | PLANTATION | 545PL | 2.2157
129 | CONROE BULK | 574CN | 2.2094
130 | WYNTEX | 632WT | 2.2069
131 | FLETCHER | 456FL | 2.2035
132 | PORT ACRES | 68PTA | 2.1945
133 | BLUE WATER | 101BL | 2.19
134 | CORRIGAN BULK | 238CR | 2.1368
135 | APRIL | 590AP | 2.1297
136 | CORDREY | 327CO | 2.1152
137 | SOUR LAKE | 103SL | 2.1068
138 | OAK RIDGE | 742OK | 2.08
139 | HEARNE | 28HRN | 2.0714
140 | BLUE WATER | 100BL | 2.0699
141 | BAYSHORE | 213BA | 2.0665
142 | PRAIRIE | 149PR | 2.0556
143 | MCLEWIS | 380MC | 2.0453
144 | FORT WORTH | 51FTW | 2.0226
145 | PLEASURE | 77PLS | 2.0222
146 | HARDIN | 35HDN | 2.0193
147 | DE QUEEN | 85DQN | 2.0088
148 | BAYSHORE | 211BA | 1.9994
149 | VIDOR | 163VD | 1.9881
150 | BLUE BONNET | 72BLB | 1.9559
151 | BAYOU FANNETT | 250BY | 1.95
152 | NEW CANEY | 304NC | 1.943
153 | KOLBS | 36KOL | 1.9377
154 | PARKDALE | 176PR | 1.9263
155 | RAYWOOD | 74RAY | 1.9229
156 | ROSEDALE | 152RS | 1.9143
157 | PORT ACRES | 69PTA | 1.9106
158 | CLEVELAND | 405CV | 1.8982
159 | WINFREE | 340WN | 1.8621
160 | LINDBERGH | 42LNB | 1.8247
161 | NAVASOTA | 905NA | 1.817
162 | STONEGATE | 93STG | 1.8092
163 | BRIDGE CITY | 360BD | 1.804
164 | TRAVIS | 13TRV | 1.8
165 | PLANTATION | 546PL | 1.788
166 | HEARNE | 25HRN | 1.7864
167 | KOLBS | 37KOL | 1.7729
168 | BRIDGE CITY | 363BD | 1.76
169 | BRIDGE CITY | 362BD | 1.7405
170 | VIWAY | 682VI | 1.7366
171 | NORTH SILSBEE | 472NS | 1.7295
172 | ADAMS BAYOU | 331AD | 1.7239
173 | SILSBEE | 461SI | 1.7143
174 | ECHO | 71ECH | 1.7143
175 | WOODVILLE | 593WD | 1.7092
176 | ALDEN | 765AL | 1.6884
177 | DAISETTA | 743DA | 1.682
178 | HUMPHREY | 107HM | 1.6798
179 | CLEVELAND | 426CV | 1.6564
180 | CORDREY | 320CO | 1.6504
181 | SOUR LAKE | 105SL | 1.6062
182 | SOMERVILLE | 127SO | 1.604
183 | TANGLEWOOD | 134TG | 1.6001
184 | STOWELL | 233ST | 1.5844
185 | CROWDER | 103CD | 1.584
186 | LAKEVIEW | 80LAV | 1.5741
187 | KOLBS | 35KOL | 1.556
188 | ROSEDALE | 150RS | 1.5413
189 | CORRIGAN BULK | 239CR | 1.5377
190 | BREKOS | 13BEK | 1.5298
191 | DAYTON BULK | 726DY | 1.525
192 | METRO | 716ME | 1.5191
193 | GROVES | 63GRO | 1.5149
194 | WEST END | 85WED | 1.5049
195 | CENTRAL | 133CE | 1.4958
196 | CLEVELAND | 403CV | 1.4873
197 | SILSBEE | 462SI | 1.4802
198 | NAVASOTA | 904NA | 1.4678
199 | DE QUEEN | 87DQN | 1.4651
200 | SHEAWILL | 535SH | 1.4466
201 | LINDBERGH | 43LNB | 1.4419
202 | CHEEK | 159CH | 1.4346
203 | WESTSIDE | 111WS | 1.4278
204 | MCHALE | 110MC | 1.421
205 | HUNTSVILLE | 610HU | 1.4027
206 | CROWDER | 102CD | 1.3799
207 | ORANGE | 351ON | 1.3662
208 | CORDREY | 321CO | 1.3641
209 | NEW CANEY | 336NC | 1.3615
210 | TRINITY | 262TR | 1.3509
211 | AMELIA BULK | 181AM | 1.3486
212 | MILLEDGE | 407MI | 1.346
213 | WARREN | 506WR | 1.346
214 | NECHES | 194NE | 1.3458
215 | BRIARCLIFF | 33BRC | 1.3433
216 | GOREE | 682GR | 1.34
217 | CALVERT | 4CAL | 1.3336
218 | CONAIR | 511CN | 1.3267
219 | LOVELLS LAKE | 141LV | 1.3147
220 | CROCKETT | 60CRK | 1.3103
221 | LAWSON | 102LA | 1.3015
222 | CONROE BULK | 507CN | 1.2956
223 | GOSLIN | 707GL | 1.2898
224 | LACON | 537LA | 1.2841
225 | NAVASOTA | 901NA | 1.2747
226 | HAMPTON | 158HA | 1.2705
227 | WYNTEX | 633WT | 1.2624
228 | RAYWOOD | 73RAY | 1.253
229 | BRIARCLIFF | 32BRC | 1.2493
230 | PARKDALE | 171PR | 1.2388
231 | KOUNTZE | 453KT | 1.2362
232 | GROVES | 62GRO | 1.229
233 | CENTRAL | 132CE | 1.2244
234 | AMELIA BULK | 182AM | 1.2
235 | MCDONALD | 478MD | 1.1988
236 | NORTH END | 28NOE | 1.1964
237 | SANDY SHORES | 202SD | 1.19
238 | STOWELL | 232ST | 1.1729
239 | GOSLIN | 704GL | 1.1628
240 | ARCHIE | 45ARC | 1.1556
241 | LINCOLN | 16LCN | 1.1531
242 | MADISONVILLE | 802MA | 1.1091
243 | NORTH END | 29NOE | 1.1051
244 | DOUCETTE | 568DC | 1.1017
245 | HEARNE | 29HRN | 1.1003
246 | GRIMES | 981GR | 1.0912
247 | FRONT STREET | 301FR | 1.087
248 | STONEGATE | 92STG | 1.0703
249 | DAISETTA | 741DA | 1.0617
250 | GROVES | 61GRO | 1.0444
251 | FRANKLIN | 7FKL | 1.0324
252 | SPURLOCK | 98SPU | 1.0298
253 | KOUNTZE BULK | 432KT | 1.0178
254 | SOUTH LIBERTY | 714SL | 1.0087
255 | FORT WORTH | 50FTW | 1
256 | ORANGE | 352ON | 0.99426
257 | DE QUEEN | 86DQN | 0.99029
258 | WOODVILLE | 594WD | 0.99013
259 | VIRGINIA | 129VI | 0.98807
260 | FRONT STREET | 302FR | 0.96694
261 | MCDONALD | 476MD | 0.92539
262 | CRYSTAL | 567CR | 0.91851
263 | TRANSCO | 48TCO | 0.91096
264 | WYNTEX | 634WT | 0.89222
265 | LOEB | 18LOB | 0.85371
266 | HUNTSVILLE | 611HU | 0.85211
267 | LOEB | 17LOB | 0.84913
268 | ORANGE | 350ON | 0.83252
269 | GOSLIN | 710GL | 0.82628
270 | WINSHIRE | 241WS | 0.8165
271 | PEE DEE | 808PD | 0.80369
272 | PORT ARTHUR WW | 17WWK | 0.79707
273 | CEDAR | 698CE | 0.77778
274 | ELIZABETH | 123EL | 0.76107
275 | SPURLOCK | 99SPU | 0.74684
276 | CONAIR | 513CN | 0.72285
277 | TANGLEWOOD | 136TG | 0.72279
278 | CALDWELL INDUSTRIAL CO | 138CI | 0.71405
279 | ALDEN | 767AL | 0.70423
280 | CONROE BULK | 506CN | 0.70127
281 | PORT NECHES | 46PTN | 0.6901
282 | HANKS | 24HKS | 0.68528
283 | SPLENDORA | 307SP | 0.67427
284 | HANKS | 25HKS | 0.65553
285 | MIDWAY | 819MD | 0.65517
286 | ELIZABETH | 120EL | 0.65471
287 | MAPLE | 91MPL | 0.65121
288 | LAMAR | 97LAM | 0.63668
289 | TAMINA | 599TA | 0.63415
290 | CENTRAL | 131CE | 0.63065
291 | VIDOR | 162VD | 0.61181
292 | PORT ARTHUR WW | 15WWK | 0.59796
293 | WEST END | 86WED | 0.59118
294 | LAKESIDE | 8LAS | 0.59091
295 | LAKESIDE | 5LAS | 0.57955
296 | LINCOLN | 15LCN | 0.57556
297 | TYRRELL | 37TYR | 0.57358
298 | PEE DEE | 809PD | 0.52985
299 | YANKEE DOODLE | 25YAN | 0.52941
300 | VIDOR | 161VD | 0.5264
301 | KOLBS | 34KOL | 0.52248
302 | APOLLO | 320AP | 0.52233
303 | HIMEX | 221HI | 0.51198
304 | KOUNTZE BULK | 435KT | 0.5
305 | DOUCETTE | 569DC | 0.48718
306 | CROWDER | 104CD | 0.48085
307 | VIRGINIA | 130VI | 0.45502
308 | HUNTSVILLE | 608HU | 0.45213
309 | CONAIR | 512CN | 0.43441
310 | HANKS | 23HKS | 0.42918
311 | NORTH END | 26NOE | 0.4291
312 | HUMPHREY | 106HM | 0.42659
313 | JIROU | 77JRU | 0.4121
314 | CONROE BULK | 573CN | 0.3913
315 | FORT WORTH | 55FTW | 0.38596
316 | OAK RIDGE | 740OK | 0.38476
317 | ADAMS BAYOU | 332AD | 0.38024
318 | CONROE BULK | 572CN | 0.37797
319 | STONEGATE | 90STG | 0.35885
320 | HANKS | 22HKS | 0.34573
321 | PANORAMA | 525PA | 0.34406
322 | WALDEN | 560WD | 0.29557
323 | WEST END | 80WED | 0.28893
324 | TYRRELL | 38TYR | 0.28685
325 | GOSLIN | 703GL | 0.28667
326 | NORTH END | 27NOE | 0.28472
327 | MANCHESTER | 66MAN | 0.27601
328 | YANKEE DOODLE | 24YAN | 0.26638
329 | WEST END | 82WED | 0.25586
330 | LACON | 538LA | 0.25131
331 | GOSLIN | 706GL | 0.24827
332 | BAYSHORE | 212BA | 0.23913
333 | AVERILL | 57AVR | 0.23684
334 | CONROE BULK | 505CN | 0.23009
335 | OAK RIDGE | 741OK | 0.22721
336 | WEST END | 88WED | 0.22162
337 | CLEVELAND | 401CV | 0.21552
338 | WESTSIDE | 113WS | 0.20433
339 | GOSLIN | 705GL | 0.19678
340 | GOSLIN | 708GL | 0.1795
341 | CENTRAL | 130CE | 0.16923
342 | SOMERVILLE | 126SO | 0.16667
343 | CLEVELAND | 402CV | 0.16529
344 | YANKEE DOODLE | 22YAN | 0.14158
345 | JIROU | 76JRU | 0.14113
346 | MANCHESTER | 65MAN | 0.13913
347 | JIROU | 78JRU | 0.13262
348 | CROCKETT | 61CRK | 0.12698
349 | AVERILL | 56AVR | 0.10931
350 | WESTSIDE | 112WS | 0.1079
351 | JIROU | 75JRU | 0.087912
352 | HIMEX | 222HI | 0.081633
353 | YANKEE DOODLE | 23YAN | 0.079239
354 | NAVASOTA | 902NA | 0.071856
355 | HUMPHREY | 108HM | 0.071429
356 | ADAMS BAYOU | 330AD | 0.070922
357 | SOUTH LIBERTY | 713SL | 0.055435
358 | MCFADDIN | 50MCF | 0.052632
359 | CONAIR | 516CN | 0.046559
360 | GOSLIN | 709GL | 0.046456
361 | ARCHIE | 46ARC | 0.046154
362 | METRO | 719ME | 0.043478
363 | ALDEN | 768AL | 0.043062
364 | HILLISTER | 531HI | 0.03125
365 | AVERILL | 55AVR | 0.021739
366 | ALDEN | 766AL | 0.018473
367 | FORT WORTH | 54FTW | 0.014085
368 | GLENDALE | 246GL | 0.012821
369 | CONROE BULK | 575CN | 0.004717
370 | SUN WARREN | 139SN | 0
371 | PARKDALE | 173PR | 0
372 | PARKDALE | 175PR | 0
373 | CROCKETT | 195CR | 0
374 | CROCKETT | 198CR | 0
375 | TESCO | 36TSC | 0
376 | KOUNTZE BULK | 451KT | 0
377 | HILLISTER | 532HI | 0
378 | CROCKETT | 63CRK | 0
379 | METRO | 717ME | 0
380 | MADISONVILLE | 801MA | 0
381 | NORTH ZULCH | 813NO | 0
382 | WEST END | 83WED | 0
383 | SPEEDWAY | 917SW | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  | Total Number of Feeders
Add or Delete Rows as Necessary |  |  | 383
Entergy Gulf States, Inc.
1999 SAIDI Ranking | Substation Identification | Feeder Identification | 1999 SAIDI Value
1 | REBEL | 119RB | 1021.6876
2 | CLEVELAND | 425CV | 737.9353
3 | WALDEN | 562WD | 618.8992
4 | MAGNOLIA AMES | 711MG | 594.1598
5 | KOUNTZE | 452KT | 589.5858
6 | SILSBEE | 463SI | 569.3432
7 | AMELIA BULK | 180AM | 548.0281
8 | LINDBERGH | 41LNB | 545.4569
9 | LAKESIDE | 4LAS | 502.6447
10 | PORT ARTHUR WW | 18WWK | 500.6132
11 | WARREN | 592WR | 490.3578
12 | HEARNE | 28HRN | 489.1786
13 | SHEAWILL | 536SH | 472.0945
14 | CONROE BULK | 577CN | 468.883
15 | NECHES | 193NE | 466.2674
16 | WEST END | 87WED | 457.7106
17 | HICKORY RIDGE | 341HI | 457.3302
18 | MCLEWIS | 382MC | 449.2203
19 | GROVETON | 256GV | 448.3333
20 | DOUCETTE | 570DC | 443.718
21 | DAYTON BULK | 725DY | 438.7834
22 | BEVIL | 155BE | 423.5568
23 | WINFREE | 342WN | 418.7498
24 | GOREE | 681GR | 415.8806
25 | GRIMES | 883GR | 409.4583
26 | LONGMIRE | 583LM | 385.3304
27 | PORT NECHES | 45PTN | 378.2913
28 | TEMCO | 627TE | 377.8381
29 | LONGMIRE | 581LM | 368.9384
30 | FLETCHER | 456FL | 366.0133
31 | SPURGER | 528SP | 363.9431
32 | DOBBIN | 519DO | 361.3425
33 | DAISETTA | 744DA | 356.5378
34 | CRYSTAL | 566CR | 356.3624
35 | HUNTSVILLE | 600HU | 353.1906
36 | TAMINA | 598TA | 352.8185
37 | BRIDGE CITY | 361BD | 343.8541
38 | LOVELLS LAKE | 142LV | 340.9603
39 | APOLLO | 321AP | 340.8252
40 | HANKAMER | 207HA | 340.1183
41 | MCDONALD | 479MD | 331.1084
42 | WALDEN | 563WD | 319.8678
43 | FLETCHER | 457FL | 310.0449
44 | DAYTON BULK | 724DY | 304.5051
45 | CONAIR | 514CN | 303.9395
46 | SILSBEE | 461SI | 303.8836
47 | MAPLE | 90MPL | 298.0136
48 | PORT ACRES | 68PTA | 297.0601
49 | MAYHAW | 671MA | 296.1741
50 | NEW CANEY | 333NC | 290.4305
51 | NORTH SILSBEE | 471NS | 287.0527
52 | WALDEN | 564WD | 284.6266
53 | HUNTSVILLE | 607HU | 283.8871
54 | CRYSTAL | 570CR | 283.2406
55 | CLEVELAND | 406CV | 278.4071
56 | VIDOR | 163VD | 273.8684
57 | PLANTATION | 546PL | 273.5351
58 | PLEASURE | 77PLS | 272.2778
59 | DE QUEEN | 84DQN | 272.0055
60 | MCHALE | 112MC | 267.25
61 | ELIZABETH | 121EL | 266.5426
62 | WYNTEX | 632WT | 262.0756
63 | PLANTATION | 545PL | 257.1758
64 | SILSBEE | 462SI | 256.2051
65 | CORDREY | 325CO | 253.0915
66 | BEVIL | 154BE | 251.8653
67 | RIVTRIN | 269RV | 250.4498
68 | APRIL | 591AP | 250.348
69 | BATSON | 53BAT | 242.5579
70 | KICKAPOO | 251KP | 242.23
71 | TAMINA | 317TA | 235.7236
72 | CROCKETT | 64CRK | 235.0816
73 | BAYSHORE | 211BA | 234.8093
74 | ROSEDALE | 151RS | 234.5464
75 | CHEEK | 160CH | 233.7162
76 | VIRGINIA | 131VI | 233.5422
77 | BAYOU FANNETT | 250BY | 233.25
78 | MCDONALD | 477MD | 233.0847
79 | CHINA | 92CHI | 231.0698
80 | PORT ACRES BULK | 70PAS | 230.9926
81 | MCDONALD | 478MD | 227.0872
82 | OAK RIDGE | 743OK | 222.8074
83 | HANKAMER | 206HA | 221.3675
84 | LILLARD | 490LI | 221.1229
85 | BRIARCLIFF | 31BRC | 216.9744
86 | NORTH SILSBEE | 472NS | 215.7762
87 | LONGMIRE | 580LM | 214.1807
88 | BLUE WATER | 101BL | 212.0387
89 | CROCKETT | 65CRK | 210.8209
90 | OAK RIDGE | 744OK | 208.6176
91 | LONGMIRE | 584LM | 208.1379
92 | LINDBERGH | 40LNB | 206.2303
93 | SOUR LAKE | 104SL | 205.1931
94 | WINFREE | 341WN | 203.8761
95 | LAMAR | 95LAM | 200.6958
96 | CROWDER | 103CD | 200.4281
97 | NEW CANEY | 304NC | 199.4746
98 | DOBBIN | 920DO | 198.1815
99 | SARATOGA | 761SA | 197.5285
100 | LACON | 537LA | 197.141
101 | CALVERT | 6CAL | 196.352
102 | WARREN | 506WR | 195.6292
103 | HEARNE | 25HRN | 195.2913
104 | CROWDER | 105CD | 194.9652
105 | MCHALE | 111MC | 194.7276
106 | CORDREY | 326CO | 190.482
107 | TANGLEWOOD | 137TG | 189.5858
108 | NAVASOTA | 904NA | 189.5733
109 | PRAIRIE | 147PR | 188.6054
110 | GREAT LAKES | 120GR | 188.3571
111 | TAMINA | 316TA | 187.5806
112 | NEW CANEY | 335NC | 186.2133
113 | ECHO | 71ECH | 181.5647
114 | WESTSIDE | 111WS | 181.2646
115 | CONROE BULK | 574CN | 179.5869
116 | PEE DEE | 811PD | 179.0358
117 | NAVASOTA | 905NA | 178.3021
118 | DE QUEEN | 85DQN | 177.7368
119 | JIROU | 77JRU | 177.2277
120 | DOUCETTE | 568DC | 174.2034
121 | NORTH END | 21NOE | 173.5446
122 | SPLENDORA | 307SP | 173.5311
123 | HARDIN | 35HDN | 172.5061
124 | CORDREY | 324CO | 172.4641
125 | BRIDGE CITY | 360BD | 172.3931
126 | ROSEDALE | 152RS | 171.0507
127 | GROVES | 59GRO | 170.6701
128 | NECHES | 197NE | 168.8325
129 | STOWELL | 231ST | 168.0335
130 | SOUR LAKE | 105SL | 165.7279
131 | BRIDGE CITY | 362BD | 165.5562
132 | GRIMES | 982GR | 163.1903
133 | FRONT STREET | 303FR | 163.1667
134 | MILLEDGE | 407MI | 161.955
135 | WINFREE | 340WN | 160.3141
136 | LAKEVIEW | 81LAV | 159.7897
137 | MCHALE | 113MC | 157.1124
138 | VIDOR | 164VD | 155.2058
139 | TRANSCO | 48TCO | 153.2123
140 | BRIDGE CITY | 363BD | 150.4626
141 | CEDAR | 698CE | 150.1111
142 | DORMAN | 114DR | 149.2043
143 | RAYWOOD | 73RAY | 148.9398
144 | CONROE BULK | 507CN | 148.8305
145 | ELIZABETH | 122EL | 147.2207
146 | ECHO | 72ECH | 146.4068
147 | ECHO | 70ECH | 144.7382
148 | GROVES | 61GRO | 144.3679
149 | WOODVILLE | 594WD | 143.3139
150 | PORT ACRES | 69PTA | 142.5894
151 | DAYTON BULK | 723DY | 141.3193
152 | AMELIA BULK | 182AM | 139.4183
153 | ALDEN | 764AL | 137.7915
154 | WOODVILLE | 593WD | 137.559
155 | GROVETON | 255GV | 137.2477
156 | SHEAWILL | 535SH | 136.1448
157 | WEST END | 86WED | 135.7545
158 | LOVELLS LAKE | 141LV | 134.9924
159 | RIVTRIN | 268RV | 134.9836
160 | EASTGATE | 781EG | 133.9869
161 | SPLENDORA | 308SP | 132.8332
162 | HUMPHREY | 107HM | 128.3107
163 | CLEVELAND | 426CV | 128.023
164 | LINCOLN | 15LCN | 127.1093
165 | CALVERT | 4CAL | 126.1109
166 | BAYSHORE | 213BA | 118.9113
167 | BLUE BONNET | 73BLB | 118.8828
168 | CORRIGAN BULK | 238CR | 118.7825
169 | GROVETON | 257GV | 118.6364
170 | MCLEWIS | 380MC | 116.9652
171 | MANCHESTER | 67MAN | 116.3996
172 | VIRGINIA | 129VI | 116.2798
173 | ADAMS BAYOU | 331AD | 115.9277
174 | MADISONVILLE | 802MA | 115.9236
175 | CLEVELAND | 404CV | 115.7925
176 | KOLBS | 37KOL | 114.7612
177 | DAYTON BULK | 726DY | 114.6258
178 | SANDY SHORES | 201SD | 114.3992
179 | WINSHIRE | 240WS | 114.3365
180 | VIWAY | 681VI | 112.1429
181 | MANCHESTER | 64MAN | 112.0373
182 | OAK RIDGE | 742OK | 111.11
183 | NAVASOTA | 969NA | 110.8925
184 | CORRIGAN BULK | 239CR | 109.2197
185 | GOREE | 682GR | 108.6713
186 | SOMERVILLE | 127SO | 107.3877
187 | LAKEVIEW | 80LAV | 106.8056
188 | KOLBS | 35KOL | 106.3716
189 | STONEGATE | 92STG | 106.2671
190 | DOUCETTE | 569DC | 104.812
191 | STOWELL | 233ST | 104.2682
192 | WYNTEX | 633WT | 103.5845
193 | FRONT STREET | 307FR | 103.3129
194 | VIRGINIA | 130VI | 101.9387
195 | TRAVIS | 13TRV | 99.81
196 | LINDBERGH | 42LNB | 99.6303
197 | SPURLOCK | 99SPU | 97.9241
198 | STONEGATE | 93STG | 97.8957
199 | PEE DEE | 808PD | 96.7202
200 | ORANGE | 352ON | 96.5526
201 | RAYWOOD | 74RAY | 96.2231
202 | CORDREY | 321CO | 95.7283
203 | KOUNTZE BULK | 432KT | 95.3017
204 | KOUNTZE | 453KT | 94.9678
205 | HUNTSVILLE | 610HU | 94.797
206 | TANGLEWOOD | 134TG | 94.5614
207 | DAISETTA | 743DA | 93.9301
208 | NAVASOTA | 901NA | 93.3093
209 | TANGLEWOOD | 135TG | 92.5858
210 | CROWDER | 102CD | 91.5302
211 | HEARNE | 29HRN | 89.0173
212 | LOEB | 17LOB | 86.7418
213 | METRO | 716ME | 86.6347
214 | CLEVELAND | 403CV | 86.4448
215 | MCDONALD | 476MD | 85.9978
216 | BREKOS | 13BEK | 84.8307
217 | CLEVELAND | 405CV | 84.4157
218 | CENTRAL | 132CE | 84.2402
219 | HAMPTON | 158HA | 82.381
220 | FORT WORTH | 51FTW | 81.9599
221 | ROSEDALE | 150RS | 79.3394
222 | STOWELL | 232ST | 79.1128
223 | CRYSTAL | 567CR | 78.4547
224 | PRAIRIE | 148PR | 78.1706
225 | KOLBS | 36KOL | 77.7603
226 | CHEEK | 159CH | 77.7509
227 | DE QUEEN | 86DQN | 77.7411
228 | LAKESIDE | 8LAS | 77.2727
229 | NORTH END | 28NOE | 76.9375
230 | BRIARCLIFF | 33BRC | 75.795
231 | MIDWAY | 819MD | 75.4138
232 | CENTRAL | 131CE | 74.8162
233 | WEST END | 85WED | 74.3014
234 | TAMINA | 599TA | 73.4251
235 | NECHES | 194NE | 73.0897
236 | BRIARCLIFF | 32BRC | 72.7385
237 | CROCKETT | 60CRK | 72.5537
238 | HANKS | 25HKS | 72.4854
239 | HUNTSVILLE | 611HU | 72.031
240 | PARKDALE | 176PR | 71.9583
241 | SPURLOCK | 98SPU | 71.8466
242 | LINDBERGH | 43LNB | 70.9092
243 | GROVES | 63GRO | 70.8437
244 | BLUE BONNET | 72BLB | 70.75
245 | SOUTH LIBERTY | 714SL | 70.6685
246 | CORDREY | 327CO | 70.3393
247 | ELIZABETH | 123EL | 69.9271
248 | FORT WORTH | 50FTW | 68.9155
249 | SOUR LAKE | 103SL | 68.7184
250 | NEW CANEY | 336NC | 68.3272
251 | MCHALE | 110MC | 68.1851
252 | WINSHIRE | 241WS | 67.0591
253 | PRAIRIE | 149PR | 66.929
254 | APRIL | 590AP | 66.5956
255 | TRINITY | 261TR | 65.3262
256 | CALDWELL INDUSTRIAL CO | 138CI | 65.0937
257 | MAPLE | 91MPL | 65.0088
258 | BLUE WATER | 100BL | 64.6328
259 | FRONT STREET | 308FR | 64.2132
260 | CONAIR | 512CN | 63.481
261 | HIMEX | 221HI | 63.4641
262 | GOSLIN | 704GL | 63.2901
263 | ARCHIE | 45ARC | 62.9667
264 | HANKS | 23HKS | 61.1459
265 | LAWSON | 102LA | 60.1415
266 | GOSLIN | 707GL | 59.7755
267 | APOLLO | 320AP | 58.8062
268 | ORANGE | 351ON | 58.7455
269 | ALDEN | 765AL | 58.6114
270 | CORDREY | 320CO | 57.1917
271 | ORANGE | 350ON | 56.5367
272 | VIWAY | 682VI | 56.2975
273 | CENTRAL | 133CE | 54.3287
274 | OAK RIDGE | 740OK | 54.303
275 | LOEB | 18LOB | 53.8096
276 | PORT NECHES | 46PTN | 53.6677
277 | NORTH END | 29NOE | 53.059
278 | PORT ARTHUR WW | 15WWK | 53.0408
279 | HUNTSVILLE | 608HU | 52.5941
280 | KOUNTZE BULK | 435KT | 52.5
281 | WEST END | 88WED | 52.3973
282 | CONAIR | 513CN | 51.9683
283 | WALDEN | 560WD | 51.9483
284 | SANDY SHORES | 202SD | 50.5218
285 | WYNTEX | 634WT | 49.6033
286 | FRANKLIN | 7FKL | 49.5997
287 | KOLBS | 34KOL | 49.5455
288 | NORTH END | 27NOE | 48.2778
289 | CLEVELAND | 402CV | 47.8595
290 | LINCOLN | 16LCN | 47.648
291 | YANKEE DOODLE | 25YAN | 47.0535
292 | CONROE BULK | 506CN | 46.0631
293 | FORT WORTH | 52FTW | 46.0577
294 | TYRRELL | 37TYR | 46.0518
295 | CROWDER | 104CD | 45.7741
296 | DAISETTA | 741DA | 45.7532
297 | AMELIA BULK | 181AM | 44.9257
298 | TANGLEWOOD | 136TG | 44.5867
299 | AVERILL | 57AVR | 43.8421
300 | ELIZABETH | 120EL | 43.293
301 | HANKS | 24HKS | 43.0591
302 | LAKESIDE | 5LAS | 42.7386
303 | VIDOR | 162VD | 42.6618
304 | GOSLIN | 703GL | 41.6374
305 | GOSLIN | 710GL | 40.8716
306 | CONAIR | 511CN | 40.2187
307 | DE QUEEN | 87DQN | 39.5395
308 | ALDEN | 767AL | 39.534
309 | PEE DEE | 809PD | 38.5969
310 | STONEGATE | 90STG | 37.4486
311 | LAMAR | 97LAM | 37.4066
312 | PORT ARTHUR WW | 17WWK | 37.1611
313 | TRINITY | 262TR | 36.6842
314 | PARKDALE | 171PR | 36.1787
315 | NORTH END | 26NOE | 36.1123
316 | VIDOR | 161VD | 35.2032
317 | CONROE BULK | 572CN | 32.4542
318 | WEST END | 80WED | 32.3279
319 | CLEVELAND | 401CV | 28.7069
320 | BAYSHORE | 212BA | 28.3696
321 | CONROE BULK | 573CN | 27.5652
322 | GROVES | 62GRO | 27.2209
323 | GRIMES | 981GR | 26.4421
324 | MANCHESTER | 66MAN | 25.9564
325 | FORT WORTH | 55FTW | 25.1287
326 | HANKS | 22HKS | 23.1843
327 | MANCHESTER | 65MAN | 23.0464
328 | YANKEE DOODLE | 24YAN | 21.7822
329 | FRONT STREET | 301FR | 20.834
330 | PANORAMA | 525PA | 20.6489
331 | GOSLIN | 705GL | 20.3663
332 | LACON | 538LA | 20.311
333 | WESTSIDE | 112WS | 19.8227
334 | TYRRELL | 38TYR | 19.6614
335 | ADAMS BAYOU | 332AD | 18.5778
336 | YANKEE DOODLE | 22YAN | 18.4379
337 | GOSLIN | 706GL | 18.4133
338 | WEST END | 82WED | 16.4989
339 | OAK RIDGE | 741OK | 15.457
340 | WESTSIDE | 113WS | 15.2601
341 | JIROU | 78JRU | 15.2115
342 | JIROU | 76JRU | 14.2702
343 | CONROE BULK | 505CN | 14.0929
344 | FRONT STREET | 302FR | 13.9587
345 | SOMERVILLE | 126SO | 13.2981
346 | HUMPHREY | 106HM | 12.2022
347 | GOSLIN | 708GL | 11.8175
348 | SOUTH LIBERTY | 713SL | 10.4457
349 | JIROU | 75JRU | 10.3077
350 | CROCKETT | 61CRK | 8.5556
351 | CENTRAL | 130CE | 8.3062
352 | HIMEX | 222HI | 8.2721
353 | YANKEE DOODLE | 23YAN | 7.5198
354 | NAVASOTA | 902NA | 5.1018
355 | CONAIR | 516CN | 4.8421
356 | HUMPHREY | 108HM | 4.8214
357 | MCFADDIN | 50MCF | 4.7895
358 | GOSLIN | 709GL | 4.6453
359 | AVERILL | 56AVR | 4.4413
360 | ADAMS BAYOU | 330AD | 4.3191
361 | ALDEN | 766AL | 2.4938
362 | ALDEN | 768AL | 1.9474
363 | AVERILL | 55AVR | 1.9022
364 | ARCHIE | 46ARC | 1.7077
365 | HILLISTER | 531HI | 1.1875
366 | METRO | 719ME | 1
367 | GLENDALE | 246GL | 0.92308
368 | FORT WORTH | 54FTW | 0.83803
369 | CONROE BULK | 575CN | 0.39151
370 | SUN WARREN | 139SN | 0
371 | PARKDALE | 173PR | 0
372 | PARKDALE | 175PR | 0
373 | CROCKETT | 195CR | 0
374 | CROCKETT | 198CR | 0
375 | TESCO | 36TSC | 0
376 | KOUNTZE BULK | 451KT | 0
377 | HILLISTER | 532HI | 0
378 | CROCKETT | 63CRK | 0
379 | METRO | 717ME | 0
380 | MADISONVILLE | 801MA | 0
381 | NORTH ZULCH | 813NO | 0
382 | WEST END | 83WED | 0
383 | SPEEDWAY | 917SW | 0

## Causes
Entergy Gulf States, Inc.
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 21.21%
|  | Vegetation | 22.08%
|  | Animals and Birds | 18.9%
|  | People (Including cars and farm equip) | 6.331%
|  | Utility-owned Equipment | 25.3%
|  | Other | 5.111%
|  | Unknown | 1.066%