Request No. TRA 2-9

Page 1 of 1

RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: pp. 32-33 of Ms. Nichols testimony, please provide the number of (a) housing starts, and (b) new customer hookups in each year from 1990 to 1999 recorded and 2000 through 2002 forecast.  Provide the basis for the forecast number of new housing starts and new customer hookups.

- (a.)	Please refer to the workpapers that support Georgianna Nichols’ testimony on pages 3464 for housing starts (1993-1999) and forecast 2000.  Housing starts for 1990, 1991 and 1992 were 10,964, 11,693 and 13,301 respectively.  Forecasts for 2001 and 2002 housing starts are not available.

(b.) The following represents new residential customer hookups from 1994 through May 2000.  Information is not available from 1990-1993 and forecasts for 2000 through 2002 are not available.

Year			# New Customer Hookups

- 23,380

- 24,725

- 24,547

- 24,507

- 37,784

- 51,143

Through May 2000		17,658

Attachment:	None

Sponsor:		Georgianna Nichols

Request No. TRA 2-13

Page 1 of 1

RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: Nichols Testimony, p. 25, lines 9-18.  Please identify the number of poles (a) inspected, and (b) treated and cost of pole inspection and treatment for each year from 1995 through 1999 recorded and 2000-2002 forecast.

- See attachment for requested information.

Attachment:	Reliant Energy HL&P Pole Inspection and Treatment Summary

Sponsor:		Georgianna Nichols

Request No. TRA 2-14

Page 1 of 1

# RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: Nichols Testimony, p. 25, lines 9-18.  Please identify the number of poles (a) inspected, and (b) treated and cost of pole inspection and treatment actually recorded through the end of the latest available month in 2000.

- Through May 2000, Reliant Energy HL&P inspected 59,036 poles of which 55,679 poles were treated.  The total cost of inspection and treatment was $1,251,339.

Attachment:	None

Sponsor:		Georgianna Nichols

Request No. TRA 2-15

Page 1 of 1

# RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: Nichols Testimony, p. 36, lines 4-12.  Please identify the number of poles replaced and cost of pole replacements for each year from 1995 through 1999 recorded and 2000-2002 forecast.

A.	The following reflects the number of poles replaced and cost of pole replacements from 1995-1999 and the forecast of pole replacements and cost for 2000-2002.

Year		Poles Replaced		Total Cost

1995	3,174			  5,341,923

1996	3,549			  5,144,960

1997	4,627			  6,419,798

1998	1,932			  3,612,918

1999	2,377			  5,687,104

2000	3,635			  6,398,469

2001	5,130			  9,165,652

2002	5,700			10,341,509

Attachment:	None

Sponsor:		Georgianna Nichols

Request No. TRA 2-16

Page 1 of 1

# RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: Nichols Testimony, p. 36, lines 4-12.  Please identify the number of poles replaced on a recorded basis and the cost of pole replacement actually recorded through the end of the latest available month in 2000.

- For the year 2000, there have been 1,438 poles replaced at a cost of $2,530,880 as of June 15, 2000.

Attachment:	None

Sponsor:		Georgianna Nichols

Request No. TRA 2-17

Page 1 of 1

# RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: Nichols Testimony, pp. 23-24, please identify the number of trees trimmed and removed each year from 1990-1999 recorded and 2000-2002 forecast and the cost of tree trimming and tree removal in each year.

A.	It must be noted that the tree count cannot be broken down by trees trimmed vs. trees removed.  Instead, proactive tree trimming reflects planned trimming of distribution circuits whereas reactive tree trimming reflects responses to customer requests and field inspections. The following attachment details the number of trees with associated costs from 1990 through 1999, and the forecast for tree trimming expenditures for 2000-2002.  The tree count is not available for certain years as reflected on the attachment.

Attachment:	Line Clearance O&M Expenditures & Tree Count 1990-2002

Sponsor:		Georgianna Nichols

Request No. TRA 2-19

Page 1 of 1

# RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- Re: Nichols Testimony, pp. 23-24, please identify the total number of trees on the HL&P system, divided into those close to 12 kV and 35 kV lines.

A.	There are an estimated 2,397,000 trees located along HL&P’s 12 kV lines and an estimated 1,040,000 trees along HL&P’s 35 kV lines.

Attachment:	None

Sponsor:		Georgianna Nichols