Request No. TRA11-3

Page 1 of 1

RELIANT ENERGY HL&P

DOCKET NO. 22355

TEXAS RETAILERS ASSOCIATION

- On Exhibit RWC-2 there are 36 SAIDI Repeats for 1998-1999.  Please provide the following information about those circuits.

- Name and location of each circuit.

- The reason(s) for those circuits to repeat.

- Cause(s) of outages for each of those circuits in 1998 and in 1999, respectively.

- a)   Name and location of each circuit is shown on the attached list.

- The reason that the circuits repeated is that they had a SAIDI value that was among the 10% worst of all circuits for two years in a row.

- The requested information is stored electronically, and accordingly an electronic copy is being provided to the propounding party.  An electronic copy is also being placed in the Houston and Austin voluminous rooms so that other parties may have access to the information.  Please contact Bunny Browning at 713-207-5567 to review this material or to request a copy.

Attachment(s):  Name & location of each circuit.

Sponsor: 	R. Comfort