## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | El Paso Electric Company
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 228
Due: |  | February 15, 2000
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 21972
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Industry Analysis Division
Office of Regulatory Affairs
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
1998 And 1999 Revised
El Paso Electric Company
Project 21972

## System-SAIFI
El Paso Electric Company
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 0.45112 | 0.014296 | 0.03688 | 0.069258 | 0.054045 | 0.012383 | 0.022489 | 0.12536 | 0.049224 | 0.008435 | 0.0091236 | 0.033603 | 0.020188
1999 Reported | 0.2131 | 0.011848 | 0.0025891 | 0.013201 | 0.0056755 | 0.022169 | 0.031305 | 0.027494 | 0.03108 | 0.023143 | 0.01879 | 0.0039599 | 0.023532
1999 Revised | 0.27301 | 0.015957 | 0.0034029 | 0.016684 | 0.010651 | 0.031224 | 0.030866 | 0.041542 | 0.063068 | 0.014159 | 0.016614 | 0.0034813 | 0.027666
Scheduled
1998 | 0.0083 | 0.0009 | 0.0005 | 0.0013 | 0.001 | 0.0011 | 0.0006 | 0.0005 | 0.0007 | 0.0009 | 0 | 0.0005 | 0.0003
1999 Reported | 0.0072 | 0.0007 | 0.0004 | 0.0007 | 0.0009 | 0.001 | 0.0008 | 0.0007 | 0.0007 | 0.0003 | 0.0003 | 0.0004 | 0.0003
1999 Revised | 0.011739 | 0.00080205 | 0.00057684 | 0.00086518 | 0.00097029 | 0.0018721 | 0.0011033 | 0.0017102 | 0.0013548 | 0.00041863 | 0.00053198 | 0.00089119 | 0.00075426
Outside Causes
1998 | 0.0781 | 0 | 0 | 0 | 0 | 0.0072 | 0.0182 | 0.0176 | 0 | 0.0356 | 0 | 0 | 0
1999 Reported | 0.011489 | 0.013787 | 0.0095871 | 0.016505 | 0.0013114 | 0.0075106 | 0.011348 | 0 | 0.068312 | 0 | 0.0096503 | 0 | 0
1999 Revised | 0.16594 | 0.0097411 | 0.0095871 | 0.055715 | 0.0013114 | 0.0054122 | 0.009407 | 0 | 0.045378 | 0.01192 | 0.019301 | 0 | 5.2623e-05
Major Events
1998 | 0.4261 | 0 | 0.0015 | 0 | 0 | 0.4274 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 Reported | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 Revised | 0.0054859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0055206 | 0 | 0 | 0 | 0

## System-SAIDI
El Paso Electric Company
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
1998 | 35.1321 | 1.4994 | 1.223 | 3.5022 | 2.3322 | 1.6564 | 3.09 | 11.8659 | 4.7779 | 1.2922 | 1.4304 | 1.6492 | 1.1034
1999 Reported | 23.36 | 1.0903 | 0.31357 | 0.63973 | 0.74509 | 1.6189 | 3.3243 | 3.1286 | 5.2911 | 2.4899 | 1.6302 | 0.37065 | 2.8896
1999 Revised | 30.1679 | 1.2828 | 0.37093 | 1.0709 | 1.435 | 3.4906 | 3.4557 | 6.5759 | 6.3364 | 1.8044 | 1.5211 | 0.33496 | 2.7357
Scheduled
1998 | 0.34 | 0.02 | 0.02 | 0.08 | 0.05 | 0.03 | 0.03 | 0.01 | 0.03 | 0.03 | 0 | 0.01 | 0.01
1999 Reported | 0.45 | 0.03 | 0.02 | 0.03 | 0.04 | 0.09 | 0.04 | 0.04 | 0.06 | 0.02 | 0.01 | 0.02 | 0.05
1999 Revised | 0.77358 | 0.042715 | 0.025488 | 0.032984 | 0.042272 | 0.17078 | 0.059615 | 0.080223 | 0.15632 | 0.024884 | 0.021534 | 0.056334 | 0.067238
Outside Causes
1998 | 5.59 | 0 | 0 | 0 | 0 | 3.85 | 0.71 | 0.71 | 0 | 0.36 | 0 | 0 | 0
1999 Reported | 0.82103 | 0.55282 | 0.99706 | 5.2157 | 0.24917 | 0.66731 | 0.43881 | 0 | 1.2219 | 0 | 0.55972 | 0 | 0
1999 Revised | 13.3839 | 0.36129 | 0.99706 | 8.2139 | 0.24917 | 0.19395 | 1.1336 | 0 | 0.78063 | 0.90287 | 0.74308 | 0 | 0.00010525
Major Events
1998 | 6.34 | 0 | 0.22 | 0 | 0 | 6.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 Reported | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1999 Revised | 0.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48587 | 0 | 0 | 0 | 0

## Feeder-SAIFI
List all Distribution Feeders on Texas System | [6 empty] | Total Number of Feeders
Add or Delete Rows as Necessary | [6 empty] | 228
El Paso Electric Company
Reported 1999 SAIFI Ranking | Reported Substation Identification | Reported Feeder Identification | Reported 1999 SAIFI Value | Revised 1999 SAIFI Ranking | Revised Substation Identification | Revised Feeder Identification | Revised 1999 SAIFI Value
1 | ALAMO | 21 | 2.8063 | 1 | CANUTILLO | 1 | 2.8407
2 | SOCORRO | 10 | 2.3275 | 2 | ALAMO | 21 | 2.8063
3 | BUTTERFIELD | 11 | 2.075 | 3 | SOCORRO | 10 | 2.3275
4 | SANTA FE | 4 | 2.0394 | 4 | BUTTERFIELD | 11 | 2.075
5 | BUTTERFIELD | 12 | 2.025 | 5 | SANTA FE | 4 | 2.0394
6 | MILAGRO | 11 | 2.0102 | 6 | BUTTERFIELD | 12 | 2.025
7 | LOMALAND | 2 | 1.9465 | 7 | MILAGRO | 11 | 2.0102
8 | CANUTILLO | 1 | 1.6052 | 8 | LOMALAND | 2 | 1.9465
9 | SIERRA BLANCA | 20 | 1.5096 | 9 | SIERRA BLANCA | 20 | 1.5096
10 | CIELO | 1 | 1.4959 | 10 | CIELO | 1 | 1.4959
11 | CLINT | 11 | 1.3425 | 11 | CLINT | 11 | 1.3425
12 | MANN | 10 | 1.3056 | 12 | MANN | 10 | 1.3056
13 | MONTOYA | 20 | 1.2843 | 13 | MONTOYA | 20 | 1.2859
14 | CLARDY | 2 | 1.2392 | 14 | CLARDY | 2 | 1.2392
15 | RANCHLAND | 2 | 1.2213 | 15 | RANCHLAND | 2 | 1.2213
16 | EAST | 1 | 1.1901 | 16 | EAST | 1 | 1.1901
17 | RADFORD | 1 | 1.184 | 17 | RADFORD | 1 | 1.184
18 | ASCARATE | 4 | 1.1512 | 18 | ASCARATE | 4 | 1.1512
19 | MANN | 14 | 1.1373 | 19 | MANN | 14 | 1.1373
20 | PARKDALE | 2 | 1.1333 | 20 | PARKDALE | 2 | 1.1333
21 | MESA | 16 | 1.1081 | 21 | MESA | 16 | 1.1081
22 | ASCARATE | 11 | 1.0954 | 22 | ASCARATE | 11 | 1.0954
23 | LEO | 1 | 1.0936 | 23 | LEO | 1 | 1.0936
24 | ASCARATE | 13 | 1.0858 | 24 | ASCARATE | 13 | 1.0858
25 | HORIZON | 10 | 1.0685 | 25 | HORIZON | 10 | 1.0685
26 | SUMMIT | 1 | 1.0628 | 26 | SUMMIT | 1 | 1.0628
27 | DALLAS | 1 | 1.0538 | 27 | DALLAS | 1 | 1.0538
28 | SUNSET | 13 | 1.0471 | 28 | SUNSET | 13 | 1.0471
29 | AMERICAS | 11 | 1.0463 | 29 | AMERICAS | 11 | 1.0463
30 | WRANGLER | 14 | 1.0226 | 30 | WRANGLER | 14 | 1.0226
31 | YSLETA | 2 | 1.0149 | 31 | YSLETA | 2 | 1.0149
32 | DALLAS | 4 | 0.98684 | 32 | DALLAS | 4 | 0.98684
33 | FARMER | 21 | 0.95926 | 33 | FARMER | 21 | 0.95926
34 | LANE | 11 | 0.89842 | 34 | LANE | 11 | 0.89842
35 | AUSTIN | 4 | 0.73754 | 35 | AUSTIN | 4 | 0.73754
36 | DIANA | 1 | 0.70423 | 36 | DIANA | 1 | 0.70423
37 | FRESNO | 1 | 0.65351 | 37 | FRESNO | 1 | 0.65351
38 | AUSTIN | 1 | 0.62656 | 38 | AUSTIN | 1 | 0.62656
39 | FIVE POINTS | 2 | 0.62048 | 39 | FIVE POINTS | 2 | 0.62048
40 | HORIZON | 11 | 0.60336 | 40 | HORIZON | 11 | 0.60336
41 | MISSION | 1 | 0.57556 | 41 | MISSION | 1 | 0.57556
42 | ALTURA | 4 | 0.56232 | 42 | ALTURA | 4 | 0.56232
43 | FRONTERA | 1 | 0.56225 | 43 | FRONTERA | 1 | 0.56225
44 | MULBERRY | 1 | 0.52577 | 44 | MULBERRY | 1 | 0.52577
45 | MILAGRO | 17 | 0.50209 | 45 | MILAGRO | 17 | 0.50209
46 | SUNSET | 5 | 0.49714 | 46 | SUNSET | 5 | 0.49714
47 | VISTA | 14 | 0.49189 | 47 | VISTA | 14 | 0.49189
48 | LOMALAND | 1 | 0.48259 | 48 | LOMALAND | 1 | 0.48259
49 | COYOTE | 10 | 0.47086 | 49 | COYOTE | 10 | 0.47086
50 | ALAMO | 20 | 0.46939 | 50 | ALAMO | 20 | 0.46939
51 | AMERICAS | 10 | 0.44224 | 51 | AMERICAS | 10 | 0.44224
52 | CIELO | 2 | 0.43697 | 52 | CIELO | 2 | 0.43697
53 | CINECUE | 1 | 0.40351 | 53 | CINECUE | 1 | 0.40351
54 | VALLEY | 10 | 0.3979 | 54 | VALLEY | 10 | 0.3979
55 | CROMO | 15 | 0.37352 | 55 | CROMO | 15 | 0.37352
56 | SOL | 10 | 0.37061 | 56 | SOL | 10 | 0.37061
57 | ASCARATE | 10 | 0.37013 | 57 | ASCARATE | 10 | 0.37013
58 | MESA | 14 | 0.3613 | 58 | RIO GRANDE | 13 | 0.36831
59 | DIANA | 2 | 0.36082 | 59 | MESA | 14 | 0.3613
60 | RIO GRANDE | 13 | 0.357 | 60 | DIANA | 2 | 0.36082
61 | VISTA | 15 | 0.35689 | 61 | VISTA | 15 | 0.35689
62 | GRACE | 1 | 0.35409 | 62 | GRACE | 1 | 0.35409
63 | CORONADO | 1 | 0.32803 | 63 | CORONADO | 1 | 0.32803
64 | VAN HORN | 1 | 0.32051 | 64 | VAN HORN | 1 | 0.32051
65 | THORN | 12 | 0.31163 | 65 | THORN | 12 | 0.31163
66 | VAN HORN | 2 | 0.3 | 66 | VAN HORN | 2 | 0.3
67 | SHEARMAN | 11 | 0.29068 | 67 | SHEARMAN | 11 | 0.29068
68 | SANTA FE | 1 | 0.28431 | 68 | SANTA FE | 1 | 0.28431
69 | SUMMIT | 2 | 0.27948 | 69 | SUMMIT | 2 | 0.27948
70 | MORNINGSIDE | 2 | 0.27653 | 70 | MORNINGSIDE | 2 | 0.27653
71 | WHITE | 1 | 0.26638 | 71 | WHITE | 1 | 0.26638
72 | CALIENTE | 11 | 0.26618 | 72 | CALIENTE | 11 | 0.26618
73 | SUNSET | 2 | 0.2582 | 73 | SUNSET | 2 | 0.2582
74 | MANN | 13 | 0.25554 | 74 | MANN | 13 | 0.25554
75 | LEO | 2 | 0.24776 | 75 | LEO | 2 | 0.24776
76 | FABENS | 1 | 0.24631 | 76 | FABENS | 1 | 0.24631
77 | AUSTIN | 3 | 0.23792 | 77 | AUSTIN | 3 | 0.23792
78 | NEWTEX | 2 | 0.2369 | 78 | NEWTEX | 2 | 0.2369
79 | LA TUNA | 1 | 0.23611 | 79 | LA TUNA | 1 | 0.23611
80 | HACIENDA | 1 | 0.23308 | 80 | HACIENDA | 1 | 0.23308
81 | VISTA | 10 | 0.2278 | 81 | VISTA | 10 | 0.2278
82 | ASCARATE | 3 | 0.22453 | 82 | ASCARATE | 3 | 0.22453
83 | SCOTSDALE | 15 | 0.22361 | 83 | SCOTSDALE | 15 | 0.22361
84 | MILAGRO | 12 | 0.22117 | 84 | MILAGRO | 12 | 0.22117
85 | THORN | 13 | 0.21734 | 85 | THORN | 13 | 0.21734
86 | VISTA | 11 | 0.20407 | 86 | VISTA | 11 | 0.20407
87 | THORN | 11 | 0.19823 | 87 | THORN | 11 | 0.19823
88 | SIERRA BLANCA | 1 | 0.19811 | 88 | SIERRA BLANCA | 1 | 0.19811
89 | MISSION | 2 | 0.19321 | 89 | MISSION | 2 | 0.19321
90 | FIVE POINTS | 1 | 0.18807 | 90 | FIVE POINTS | 1 | 0.18807
91 | SCOTSDALE | 16 | 0.18532 | 91 | SCOTSDALE | 16 | 0.18532
92 | TORNILLO | 1 | 0.17808 | 92 | TORNILLO | 1 | 0.17808
93 | DIANA | 3 | 0.17568 | 93 | DIANA | 3 | 0.17568
94 | RANCHLAND | 1 | 0.16863 | 94 | RANCHLAND | 1 | 0.16863
95 | DYER | 11 | 0.16795 | 95 | DYER | 11 | 0.16795
96 | ZARAGOSA | 1 | 0.1639 | 96 | ZARAGOSA | 1 | 0.1639
97 | THORN | 14 | 0.16111 | 97 | THORN | 14 | 0.16111
98 | TOBIN | 1 | 0.16047 | 98 | TOBIN | 1 | 0.16047
99 | SCOTSDALE | 12 | 0.15757 | 99 | SCOTSDALE | 12 | 0.15757
100 | PARKDALE | 1 | 0.15649 | 100 | PARKDALE | 1 | 0.15649
101 | VISTA | 13 | 0.15329 | 101 | VISTA | 13 | 0.15329
102 | CROMO | 12 | 0.153 | 102 | CROMO | 12 | 0.153
103 | KEMP | 1 | 0.15284 | 103 | KEMP | 1 | 0.15284
104 | WRANGLER | 13 | 0.14588 | 104 | WRANGLER | 13 | 0.14588
105 | FIVE POINTS | 3 | 0.14486 | 105 | FIVE POINTS | 3 | 0.14486
106 | CROMO | 11 | 0.1415 | 106 | ANTHONY | 20 | 0.14352
107 | SOL | 14 | 0.13756 | 107 | MONTOYA | 21 | 0.14269
108 | MANN | 11 | 0.13673 | 108 | CROMO | 11 | 0.1415
109 | SHEARMAN | 12 | 0.13253 | 109 | SOL | 14 | 0.13756
110 | MANN | 12 | 0.13136 | 110 | MANN | 11 | 0.13673
111 | ANTHONY | 20 | 0.12692 | 111 | SHEARMAN | 12 | 0.13253
112 | CLARDY | 1 | 0.12522 | 112 | MANN | 12 | 0.13136
113 | BUTTERFIELD | 10 | 0.125 | 113 | CLARDY | 1 | 0.12522
114 | MILAGRO | 13 | 0.12415 | 114 | BUTTERFIELD | 10 | 0.125
115 | MULBERRY | 2 | 0.12308 | 115 | MILAGRO | 13 | 0.12415
116 | SCOTSDALE | 11 | 0.11994 | 116 | MULBERRY | 2 | 0.12308
117 | MONTOYA | 21 | 0.11672 | 117 | SANTA TERESA | 20 | 0.12275
118 | FELIPE | 20 | 0.11266 | 118 | SCOTSDALE | 11 | 0.11994
119 | TOBIN | 2 | 0.11188 | 119 | FELIPE | 20 | 0.11266
120 | HACIENDA | 2 | 0.10585 | 120 | TOBIN | 2 | 0.11188
121 | ALTURA | 3 | 0.10345 | 121 | HACIENDA | 2 | 0.10585
122 | RIO GRANDE | 15 | 0.10017 | 122 | ALTURA | 3 | 0.10345
123 | FIVE POINTS | 4 | 0.098901 | 123 | RIO GRANDE | 15 | 0.10017
124 | MILAGRO | 15 | 0.097287 | 124 | FIVE POINTS | 4 | 0.098901
125 | ZARAGOSA | 11 | 0.091351 | 125 | MILAGRO | 15 | 0.097287
126 | BEAUMONT | 1 | 0.085437 | 126 | ZARAGOSA | 11 | 0.091351
127 | DYER | 13 | 0.081015 | 127 | BEAUMONT | 1 | 0.085437
128 | LEO | 11 | 0.080702 | 128 | DYER | 13 | 0.081015
129 | MILAGRO | 14 | 0.080332 | 129 | LEO | 11 | 0.080702
130 | THORN | 15 | 0.080021 | 130 | MILAGRO | 14 | 0.080332
131 | MESA | 12 | 0.079592 | 131 | THORN | 15 | 0.080021
132 | ALTURA | 5 | 0.077381 | 132 | MESA | 12 | 0.079592
133 | ASCARATE | 2 | 0.074733 | 133 | ALTURA | 5 | 0.077381
134 | ALTURA | 6 | 0.07377 | 134 | ASCARATE | 2 | 0.074733
135 | ALTURA | 2 | 0.071429 | 135 | ALTURA | 6 | 0.07377
136 | COTTON | 1 | 0.061947 | 136 | ALTURA | 2 | 0.071429
137 | AUSTIN | 2 | 0.06087 | 137 | COTTON | 1 | 0.061947
138 | DALLAS | 17 | 0.058824 | 138 | AUSTIN | 2 | 0.06087
139 | EAST | 2 | 0.057613 | 139 | DALLAS | 17 | 0.058824
140 | CLINT | 1 | 0.05625 | 140 | EAST | 2 | 0.057613
141 | ASCARATE | 1 | 0.055838 | 141 | CLINT | 1 | 0.05625
142 | VISTA | 12 | 0.055668 | 142 | ASCARATE | 1 | 0.055838
143 | FT. HANCOCK | 1 | 0.051771 | 143 | VISTA | 12 | 0.055668
144 | DALLAS | 16 | 0.049755 | 144 | FT. HANCOCK | 1 | 0.051771
145 | LEO | 12 | 0.048265 | 145 | DALLAS | 16 | 0.049755
146 | VISCOUNT | 11 | 0.046539 | 146 | LEO | 12 | 0.048265
147 | MIDWAY | 1 | 0.046512 | 147 | VISCOUNT | 11 | 0.046539
148 | MORNINGSIDE | 1 | 0.041667 | 148 | MIDWAY | 1 | 0.046512
149 | THORN | 10 | 0.038372 | 149 | MORNINGSIDE | 1 | 0.041667
150 | WHITE | 2 | 0.038278 | 150 | THORN | 10 | 0.038372
151 | SCOTSDALE | 13 | 0.037086 | 151 | WHITE | 2 | 0.038278
152 | SUNSET | 4 | 0.031746 | 152 | SCOTSDALE | 13 | 0.037086
153 | YSLETA | 1 | 0.031153 | 153 | SUNSET | 4 | 0.031746
154 | DALLAS | 13 | 0.029935 | 154 | YSLETA | 1 | 0.031153
155 | SOL | 13 | 0.029512 | 155 | DALLAS | 13 | 0.029935
156 | SOL | 15 | 0.029216 | 156 | SOL | 13 | 0.029512
157 | AUSTIN | 12 | 0.028823 | 157 | SOL | 15 | 0.029216
158 | ZARAGOSA | 10 | 0.026885 | 158 | AUSTIN | 12 | 0.028823
159 | CALIENTE | 10 | 0.02678 | 159 | ZARAGOSA | 10 | 0.026885
160 | MESA | 18 | 0.022455 | 160 | CALIENTE | 10 | 0.02678
161 | SANTA FE | 11 | 0.022222 | 161 | SANTA TERESA | 21 | 0.02537
162 | SANTA TERESA | 21 | 0.02167 | 162 | MESA | 18 | 0.022455
163 | AUSTIN | 10 | 0.020629 | 163 | SANTA FE | 11 | 0.022222
164 | VISCOUNT | 10 | 0.019644 | 164 | AUSTIN | 10 | 0.020629
165 | MESA | 17 | 0.019268 | 165 | VISCOUNT | 10 | 0.019644
166 | AUSTIN | 17 | 0.018622 | 166 | MESA | 17 | 0.019268
167 | CROMO | 13 | 0.018364 | 167 | AUSTIN | 17 | 0.018622
168 | OCTAVIA | 1 | 0.015564 | 168 | CROMO | 13 | 0.018364
169 | SUNSET | 15 | 0.014344 | 169 | OCTAVIA | 1 | 0.015564
170 | LATTA | 1 | 0.013453 | 170 | SUNSET | 15 | 0.014344
171 | MIDWAY | 2 | 0.011215 | 171 | LATTA | 1 | 0.013453
172 | FABENS | 2 | 0.010695 | 172 | MIDWAY | 2 | 0.011215
173 | ALTURA | 1 | 0.010417 | 173 | FABENS | 2 | 0.010695
174 | SUNSET NORTH | 11 | 0.010277 | 174 | ALTURA | 1 | 0.010417
175 | FARAH | 11 | 0.0094044 | 175 | SUNSET NORTH | 11 | 0.010277
176 | COPPER | 12 | 0.0091912 | 176 | FARAH | 11 | 0.0094044
177 | SOL | 11 | 0.0091832 | 177 | COPPER | 12 | 0.0091912
178 | DYER | 14 | 0.0091813 | 178 | SOL | 11 | 0.0091832
179 | SUNSET | 8 | 0.009009 | 179 | DYER | 14 | 0.0091813
180 | SANTA FE | 12 | 0.0083149 | 180 | SUNSET | 8 | 0.009009
181 | SANTA TERESA | 20 | 0.0081833 | 181 | SANTA FE | 12 | 0.0083149
182 | COTTON | 2 | 0.0079365 | 182 | COTTON | 2 | 0.0079365
183 | DALLAS | 11 | 0.0079177 | 183 | DALLAS | 11 | 0.0079177
184 | DYER | 12 | 0.0078247 | 184 | DYER | 12 | 0.0078247
185 | SCOTSDALE | 14 | 0.0071429 | 185 | SCOTSDALE | 14 | 0.0071429
186 | AUSTIN | 16 | 0.0069606 | 186 | AUSTIN | 16 | 0.0069606
187 | AUSTIN | 15 | 0.0064572 | 187 | AUSTIN | 15 | 0.0064572
188 | WRANGLER | 10 | 0.0053828 | 188 | WRANGLER | 10 | 0.0053828
189 | MANN | 15 | 0.0047348 | 189 | MANN | 15 | 0.0047348
190 | SANTA FE | 2 | 0.0028571 | 190 | SANTA FE | 2 | 0.0028571
191 | COPPER | 11 | 0.0026525 | 191 | COPPER | 11 | 0.0026525
192 | SHEARMAN | 10 | 0.0025289 | 192 | SHEARMAN | 10 | 0.0025289
193 | SOCORRO | 11 | 0.0022007 | 193 | SOCORRO | 11 | 0.0022007
194 | SUNSET | 14 | 0.0019639 | 194 | SUNSET | 14 | 0.0019639
195 | SANTA FE | 10 | 0.0017079 | 195 | SANTA FE | 10 | 0.0017079
196 | MESA | 13 | 0.0013541 | 196 | MESA | 13 | 0.0013541
197 | LANE | 13 | 0.001006 | 197 | LANE | 13 | 0.001006
198 | SUNSET NORTH | 12 | 0.00084424 | 198 | SUNSET NORTH | 12 | 0.00084424
199 | DALLAS | 12 | 0.00069881 | 199 | DALLAS | 12 | 0.00069881
200 | COPPER | 10 | 0.00060386 | 200 | COPPER | 10 | 0.00060386
201 | SUNSET NORTH | 10 | 0.00045455 | 201 | SUNSET NORTH | 10 | 0.00045455
202 | ANTHONY | 21 | 0.00040535 | 202 | AMERICAS | 12 | 0
203 | AMERICAS | 12 | 0.00040535 | 203 | ANTHONY | 22 | 0
204 | ASCARATE | 12 | 0.00040535 | 204 | ASCARATE | 12 | 0
205 | ASCARATE | 14 | 0.00040535 | 205 | ASCARATE | 14 | 0
206 | AUSTIN | 11 | 0.00040535 | 206 | AUSTIN | 11 | 0
207 | AUSTIN | 13 | 0.00040535 | 207 | AUSTIN | 13 | 0
208 | AUSTIN | 14 | 0.00040535 | 208 | AUSTIN | 14 | 0
209 | BUTTERFIELD | 14 | 0.00040535 | 209 | BUTTERFIELD | 14 | 0
210 | CROMO | 10 | 0.00040535 | 210 | CROMO | 10 | 0
211 | CROMO | 14 | 0.00040535 | 211 | CROMO | 14 | 0
212 | DALLAS | 2 | 0.00040535 | 212 | DALLAS | 2 | 0
213 | DYER | 15 | 0.00040535 | 213 | DYER | 15 | 0
214 | LANE | 12 | 0.00040535 | 214 | LANE | 12 | 0
215 | LEO | 13 | 0.00040535 | 215 | LEO | 13 | 0
216 | MONTOYA | 22 | 0.00040535 | 216 | MONTOYA | 22 | 0
217 | MONTOYA | 23 | 0.00040535 | 217 | MONTOYA | 23 | 0
218 | RIO GRANDE | 11 | 0.00040535 | 218 | NEWTEX | 1 | 0
219 | RIVER | 1 | 0.00040535 | 219 | RIO GRANDE | 11 | 0
220 | SANTA FE | 3 | 0.00040535 | 220 | RIVER | 1 | 0
221 | SANTA FE | 5 | 0.00040535 | 221 | SANTA FE | 3 | 0
222 | SANTA FE | 50 | 0.00040535 | 222 | SANTA FE | 5 | 0
223 | SOL | 12 | 0.00040535 | 223 | SOL | 12 | 0
224 | SUNSET | 1 | 0.00040535 | 224 | SUNSET | 1 | 0
225 | SUNSET | 7 | 0.00040535 | 225 | SUNSET | 7 | 0
226 | VISCOUNT | 12 | 0.00040535 | 226 | VISCOUNT | 12 | 0
227 | WRANGLER | 11 | 0.00040535 | 227 | WRANGLER | 11 | 0
228 | WRANGLER | 12 | 0.00040535 | 228 | WRANGLER | 12 | 0

## Feeder-SAIDI
List all Distribution Feeders on Texas System | [6 empty] | Total Number of Feeders
Add or Delete Rows as Necessary | [6 empty] | 228
El Paso Electric Company
Reported 1999 SAIDI Ranking | Reported Substation Identification | Reported Feeder Identification | Reported 1999 SAIDI Value | Revised 1999 SAIDI Ranking | Revised Substation Identification | Revised Feeder Identification | Revised 1999 SAIDI Value
1 | ALAMO | 21 | 333.0944 | 1 | CANUTILLO | 1 | 392.855
2 | AMERICAS | 11 | 319.7227 | 2 | ALAMO | 21 | 333.0944
3 | BUTTERFIELD | 12 | 244.25 | 3 | AMERICAS | 11 | 319.7227
4 | BUTTERFIELD | 11 | 219.95 | 4 | BUTTERFIELD | 12 | 244.25
5 | HORIZON | 10 | 214.5791 | 5 | BUTTERFIELD | 11 | 219.95
6 | CANUTILLO | 1 | 213.7192 | 6 | HORIZON | 10 | 214.5791
7 | LOMALAND | 2 | 212.0374 | 7 | LOMALAND | 2 | 212.0374
8 | AUSTIN | 4 | 211.588 | 8 | AUSTIN | 4 | 211.588
9 | SOCORRO | 10 | 190.7608 | 9 | SOCORRO | 10 | 190.7608
10 | MANN | 10 | 180.3657 | 10 | MANN | 10 | 180.3657
11 | DALLAS | 1 | 163.1769 | 11 | DALLAS | 1 | 163.1769
12 | CLARDY | 2 | 154.8086 | 12 | CLARDY | 2 | 154.8086
13 | MONTOYA | 20 | 137.0221 | 13 | MONTOYA | 20 | 137.2116
14 | SIERRA BLANCA | 20 | 135.984 | 14 | SIERRA BLANCA | 20 | 135.984
15 | LANE | 11 | 124.2306 | 15 | LANE | 11 | 124.2306
16 | CIELO | 1 | 111.5451 | 16 | CIELO | 1 | 111.5451
17 | MILAGRO | 11 | 106.7342 | 17 | MILAGRO | 11 | 106.7342
18 | CLINT | 11 | 103.2876 | 18 | CLINT | 11 | 103.2876
19 | MULBERRY | 1 | 99.3299 | 19 | MULBERRY | 1 | 99.3299
20 | RADFORD | 1 | 97.589 | 20 | RADFORD | 1 | 97.589
21 | DIANA | 1 | 97.5164 | 21 | DIANA | 1 | 97.5164
22 | DALLAS | 4 | 87.8289 | 22 | DALLAS | 4 | 87.8289
23 | THORN | 12 | 87.2205 | 23 | THORN | 12 | 87.2205
24 | SUNSET | 5 | 83.9571 | 24 | SUNSET | 5 | 83.9571
25 | SUMMIT | 1 | 79.9275 | 25 | SUMMIT | 1 | 79.9275
26 | HORIZON | 11 | 79.6842 | 26 | HORIZON | 11 | 79.6842
27 | MILAGRO | 17 | 78.8638 | 27 | MILAGRO | 17 | 78.8638
28 | ASCARATE | 11 | 75.7961 | 28 | ASCARATE | 11 | 75.7961
29 | MISSION | 1 | 75.6849 | 29 | MISSION | 1 | 75.6849
30 | FIVE POINTS | 2 | 72.9819 | 30 | FIVE POINTS | 2 | 72.9819
31 | SUMMIT | 2 | 71.048 | 31 | SUMMIT | 2 | 71.048
32 | VISTA | 14 | 68.0005 | 32 | VISTA | 14 | 68.0005
33 | AMERICAS | 10 | 67.9138 | 33 | AMERICAS | 10 | 67.9138
34 | SOL | 10 | 67.418 | 34 | SOL | 10 | 67.418
35 | WRANGLER | 14 | 66.4357 | 35 | WRANGLER | 14 | 66.4357
36 | ASCARATE | 10 | 65.5736 | 36 | ASCARATE | 10 | 65.5736
37 | MESA | 16 | 63.3192 | 37 | MESA | 16 | 63.3192
38 | COYOTE | 10 | 63.3013 | 38 | COYOTE | 10 | 63.3013
39 | RANCHLAND | 2 | 60.7532 | 39 | RANCHLAND | 2 | 60.7532
40 | SHEARMAN | 11 | 60.3065 | 40 | SHEARMAN | 11 | 60.3065
41 | LOMALAND | 1 | 59.9975 | 41 | LOMALAND | 1 | 59.9975
42 | LA TUNA | 1 | 58.2361 | 42 | LA TUNA | 1 | 58.2361
43 | SANTA FE | 1 | 57.5 | 43 | SANTA FE | 1 | 57.5
44 | FRESNO | 1 | 57.4518 | 44 | FRESNO | 1 | 57.4518
45 | SANTA FE | 4 | 54.6601 | 45 | SANTA FE | 4 | 54.6601
46 | VISTA | 10 | 52.2034 | 46 | VISTA | 10 | 52.2034
47 | YSLETA | 2 | 51.8476 | 47 | RIO GRANDE | 13 | 52.0226
48 | RIO GRANDE | 13 | 50.5278 | 48 | YSLETA | 2 | 51.8476
49 | LEO | 1 | 50.2897 | 49 | LEO | 1 | 50.2897
50 | PARKDALE | 2 | 50.2364 | 50 | PARKDALE | 2 | 50.2364
51 | THORN | 11 | 49.9739 | 51 | THORN | 11 | 49.9739
52 | CORONADO | 1 | 49.8926 | 52 | CORONADO | 1 | 49.8926
53 | BUTTERFIELD | 10 | 48.85 | 53 | BUTTERFIELD | 10 | 48.85
54 | VISTA | 11 | 48.171 | 54 | VISTA | 11 | 48.171
55 | VALLEY | 10 | 47.2616 | 55 | VALLEY | 10 | 47.2616
56 | CROMO | 15 | 44.1562 | 56 | CROMO | 15 | 44.1562
57 | ALTURA | 4 | 43.1565 | 57 | ALTURA | 4 | 43.1565
58 | FARMER | 21 | 41.8749 | 58 | FARMER | 21 | 41.8749
59 | VISTA | 13 | 41.1716 | 59 | VISTA | 13 | 41.1716
60 | MISSION | 2 | 40.6008 | 60 | MISSION | 2 | 40.6008
61 | ALAMO | 20 | 40.4889 | 61 | ALAMO | 20 | 40.4889
62 | WHITE | 1 | 40.3188 | 62 | WHITE | 1 | 40.3188
63 | SUNSET | 2 | 40.0205 | 63 | SUNSET | 2 | 40.0205
64 | THORN | 14 | 39.667 | 64 | THORN | 14 | 39.667
65 | AUSTIN | 1 | 39.4689 | 65 | AUSTIN | 1 | 39.4689
66 | AUSTIN | 3 | 38.0372 | 66 | AUSTIN | 3 | 38.0372
67 | MANN | 13 | 37.6807 | 67 | MANN | 13 | 37.6807
68 | FRONTERA | 1 | 37.6064 | 68 | FRONTERA | 1 | 37.6064
69 | MILAGRO | 12 | 36.4389 | 69 | MILAGRO | 12 | 36.4389
70 | CINECUE | 1 | 35.2434 | 70 | CINECUE | 1 | 35.2434
71 | DIANA | 2 | 34.2938 | 71 | DIANA | 2 | 34.2938
72 | LEO | 2 | 33.2 | 72 | LEO | 2 | 33.2
73 | SOL | 14 | 32.9964 | 73 | SOL | 14 | 32.9964
74 | EAST | 1 | 32.9648 | 74 | EAST | 1 | 32.9648
75 | ASCARATE | 4 | 32.7151 | 75 | ASCARATE | 4 | 32.7151
76 | SCOTSDALE | 16 | 31.6211 | 76 | SCOTSDALE | 16 | 31.6211
77 | MORNINGSIDE | 2 | 31.4084 | 77 | MORNINGSIDE | 2 | 31.4084
78 | VAN HORN | 2 | 29.3778 | 78 | VAN HORN | 2 | 29.3778
79 | MANN | 14 | 28.8959 | 79 | MANN | 14 | 28.8959
80 | VISTA | 15 | 26.4419 | 80 | VISTA | 15 | 26.4419
81 | THORN | 13 | 25.9886 | 81 | SANTA TERESA | 20 | 26.3633
82 | MILAGRO | 13 | 25.4865 | 82 | THORN | 13 | 25.9886
83 | GRACE | 1 | 25.428 | 83 | MILAGRO | 13 | 25.4865
84 | MESA | 14 | 23.4764 | 84 | GRACE | 1 | 25.428
85 | FABENS | 1 | 23.2611 | 85 | MESA | 14 | 23.4764
86 | LEO | 11 | 22.2435 | 86 | FABENS | 1 | 23.2611
87 | CIELO | 2 | 22.0672 | 87 | LEO | 11 | 22.2435
88 | ASCARATE | 2 | 21.9964 | 88 | CIELO | 2 | 22.0672
89 | WRANGLER | 13 | 21.0412 | 89 | ASCARATE | 2 | 21.9964
90 | FELIPE | 20 | 20.9889 | 90 | WRANGLER | 13 | 21.0412
91 | TOBIN | 1 | 20.4341 | 91 | FELIPE | 20 | 20.9889
92 | PARKDALE | 1 | 20.3282 | 92 | TOBIN | 1 | 20.4341
93 | CALIENTE | 11 | 20.0428 | 93 | PARKDALE | 1 | 20.3282
94 | CROMO | 12 | 19.6969 | 94 | CALIENTE | 11 | 20.0428
95 | THORN | 15 | 19.2755 | 95 | CROMO | 12 | 19.6969
96 | VAN HORN | 1 | 19.1709 | 96 | THORN | 15 | 19.2755
97 | FIVE POINTS | 1 | 19.0963 | 97 | VAN HORN | 1 | 19.1709
98 | DIANA | 3 | 19.0856 | 98 | FIVE POINTS | 1 | 19.0963
99 | MANN | 12 | 19.0178 | 99 | DIANA | 3 | 19.0856
100 | ASCARATE | 3 | 18.3098 | 100 | MANN | 12 | 19.0178
101 | RIO GRANDE | 15 | 18.294 | 101 | ASCARATE | 3 | 18.3098
102 | ASCARATE | 13 | 18.0172 | 102 | RIO GRANDE | 15 | 18.294
103 | HACIENDA | 1 | 17.218 | 103 | ASCARATE | 13 | 18.0172
104 | NEWTEX | 2 | 17.2164 | 104 | ANTHONY | 20 | 17.9057
105 | DYER | 11 | 16.9398 | 105 | HACIENDA | 1 | 17.218
106 | ZARAGOSA | 1 | 16.7767 | 106 | NEWTEX | 2 | 17.2164
107 | SUNSET | 13 | 16.4824 | 107 | DYER | 11 | 16.9398
108 | DYER | 13 | 16.4544 | 108 | ZARAGOSA | 1 | 16.7767
109 | SIERRA BLANCA | 1 | 16.0849 | 109 | SUNSET | 13 | 16.4824
110 | RANCHLAND | 1 | 15.702 | 110 | DYER | 13 | 16.4544
111 | ANTHONY | 20 | 15.6042 | 111 | SIERRA BLANCA | 1 | 16.0849
112 | SCOTSDALE | 15 | 15.1595 | 112 | RANCHLAND | 1 | 15.702
113 | WHITE | 2 | 13.9713 | 113 | MONTOYA | 21 | 15.2623
114 | SCOTSDALE | 12 | 13.6849 | 114 | SCOTSDALE | 15 | 15.1595
115 | KEMP | 1 | 13.3406 | 115 | WHITE | 2 | 13.9713
116 | SCOTSDALE | 11 | 12.9306 | 116 | SCOTSDALE | 12 | 13.6849
117 | MONTOYA | 21 | 12.3248 | 117 | KEMP | 1 | 13.3406
118 | MANN | 11 | 11.5014 | 118 | SCOTSDALE | 11 | 12.9306
119 | FIVE POINTS | 3 | 11.2056 | 119 | MANN | 11 | 11.5014
120 | CROMO | 11 | 9.6112 | 120 | FIVE POINTS | 3 | 11.2056
121 | VISTA | 12 | 9.4833 | 121 | CROMO | 11 | 9.6112
122 | DALLAS | 17 | 9.4503 | 122 | VISTA | 12 | 9.4833
123 | CLINT | 1 | 9.42 | 123 | DALLAS | 17 | 9.4503
124 | TOBIN | 2 | 9.4131 | 124 | CLINT | 1 | 9.42
125 | SOL | 15 | 8.946 | 125 | TOBIN | 2 | 9.4131
126 | MESA | 12 | 8.5622 | 126 | SOL | 15 | 8.946
127 | ALTURA | 6 | 8.5574 | 127 | MESA | 12 | 8.5622
128 | MILAGRO | 14 | 8.482 | 128 | ALTURA | 6 | 8.5574
129 | TORNILLO | 1 | 8.3562 | 129 | MILAGRO | 14 | 8.482
130 | SHEARMAN | 12 | 8.3049 | 130 | TORNILLO | 1 | 8.3562
131 | DALLAS | 16 | 8.283 | 131 | SHEARMAN | 12 | 8.3049
132 | THORN | 10 | 8.0151 | 132 | DALLAS | 16 | 8.283
133 | MULBERRY | 2 | 7.7795 | 133 | THORN | 10 | 8.0151
134 | ASCARATE | 1 | 6.9797 | 134 | MULBERRY | 2 | 7.7795
135 | BEAUMONT | 1 | 6.8913 | 135 | ASCARATE | 1 | 6.9797
136 | AUSTIN | 2 | 6.8543 | 136 | BEAUMONT | 1 | 6.8913
137 | COTTON | 1 | 6.7522 | 137 | AUSTIN | 2 | 6.8543
138 | ZARAGOSA | 11 | 6.7512 | 138 | COTTON | 1 | 6.7522
139 | ALTURA | 5 | 6.6071 | 139 | ZARAGOSA | 11 | 6.7512
140 | CLARDY | 1 | 6.3953 | 140 | ALTURA | 5 | 6.6071
141 | MESA | 17 | 6.3526 | 141 | CLARDY | 1 | 6.3953
142 | MILAGRO | 15 | 6.3358 | 142 | MESA | 17 | 6.3526
143 | FIVE POINTS | 4 | 5.7802 | 143 | MILAGRO | 15 | 6.3358
144 | HACIENDA | 2 | 5.4095 | 144 | FIVE POINTS | 4 | 5.7802
145 | ALTURA | 3 | 5.0188 | 145 | HACIENDA | 2 | 5.4095
146 | ALTURA | 2 | 5 | 146 | ALTURA | 3 | 5.0188
147 | SOL | 13 | 4.8354 | 147 | ALTURA | 2 | 5
148 | CROMO | 13 | 4.7112 | 148 | SOL | 13 | 4.8354
149 | MORNINGSIDE | 1 | 4.5833 | 149 | CROMO | 13 | 4.7112
150 | FT. HANCOCK | 1 | 4.4278 | 150 | MORNINGSIDE | 1 | 4.5833
151 | MIDWAY | 1 | 4.3148 | 151 | FT. HANCOCK | 1 | 4.4278
152 | LEO | 12 | 4.0954 | 152 | MIDWAY | 1 | 4.3148
153 | SCOTSDALE | 13 | 3.9272 | 153 | LEO | 12 | 4.0954
154 | SOL | 11 | 3.8217 | 154 | SCOTSDALE | 13 | 3.9272
155 | MIDWAY | 2 | 3.2617 | 155 | SOL | 11 | 3.8217
156 | SANTA TERESA | 21 | 3.2389 | 156 | SANTA TERESA | 21 | 3.4995
157 | EAST | 2 | 2.9959 | 157 | MIDWAY | 2 | 3.2617
158 | ZARAGOSA | 10 | 2.9241 | 158 | EAST | 2 | 2.9959
159 | AUSTIN | 12 | 2.442 | 159 | ZARAGOSA | 10 | 2.9241
160 | YSLETA | 1 | 2.2928 | 160 | AUSTIN | 12 | 2.442
161 | MANN | 15 | 2.0833 | 161 | YSLETA | 1 | 2.2928
162 | VISCOUNT | 11 | 2.0477 | 162 | MANN | 15 | 2.0833
163 | SUNSET | 4 | 2.0317 | 163 | VISCOUNT | 11 | 2.0477
164 | SUNSET | 8 | 1.991 | 164 | SUNSET | 4 | 2.0317
165 | SUNSET | 15 | 1.9109 | 165 | SUNSET | 8 | 1.991
166 | SANTA FE | 11 | 1.8889 | 166 | SUNSET | 15 | 1.9109
167 | DALLAS | 13 | 1.8859 | 167 | SANTA FE | 11 | 1.8889
168 | MESA | 18 | 1.8638 | 168 | DALLAS | 13 | 1.8859
169 | CALIENTE | 10 | 1.8612 | 169 | MESA | 18 | 1.8638
170 | AUSTIN | 10 | 1.4868 | 170 | CALIENTE | 10 | 1.8612
171 | ALTURA | 1 | 1.4792 | 171 | AUSTIN | 10 | 1.4868
172 | SUNSET NORTH | 11 | 1.4292 | 172 | ALTURA | 1 | 1.4792
173 | LATTA | 1 | 1.3498 | 173 | SUNSET NORTH | 11 | 1.4292
174 | OCTAVIA | 1 | 1.1206 | 174 | LATTA | 1 | 1.3498
175 | DALLAS | 11 | 0.93903 | 175 | OCTAVIA | 1 | 1.1206
176 | SCOTSDALE | 14 | 0.85714 | 176 | DALLAS | 11 | 0.93903
177 | AUSTIN | 17 | 0.84295 | 177 | SCOTSDALE | 14 | 0.85714
178 | SANTA TERESA | 20 | 0.83142 | 178 | AUSTIN | 17 | 0.84295
179 | FARAH | 11 | 0.78997 | 179 | FARAH | 11 | 0.78997
180 | COTTON | 2 | 0.77778 | 180 | COTTON | 2 | 0.77778
181 | FABENS | 2 | 0.70588 | 181 | FABENS | 2 | 0.70588
182 | VISCOUNT | 10 | 0.68017 | 182 | VISCOUNT | 10 | 0.68017
183 | SANTA FE | 12 | 0.57373 | 183 | SANTA FE | 12 | 0.57373
184 | AUSTIN | 16 | 0.48144 | 184 | AUSTIN | 16 | 0.48144
185 | COPPER | 12 | 0.4136 | 185 | COPPER | 12 | 0.4136
186 | WRANGLER | 10 | 0.37141 | 186 | WRANGLER | 10 | 0.37141
187 | DYER | 14 | 0.36725 | 187 | DYER | 14 | 0.36725
188 | SANTA FE | 10 | 0.34159 | 188 | SANTA FE | 10 | 0.34159
189 | DYER | 12 | 0.29734 | 189 | DYER | 12 | 0.29734
190 | AUSTIN | 15 | 0.28239 | 190 | AUSTIN | 15 | 0.28239
191 | SUNSET | 14 | 0.26944 | 191 | SUNSET | 14 | 0.26944
192 | MESA | 13 | 0.1652 | 192 | MESA | 13 | 0.1652
193 | SOCORRO | 11 | 0.14789 | 193 | SOCORRO | 11 | 0.14789
194 | COPPER | 11 | 0.12997 | 194 | COPPER | 11 | 0.12997
195 | SHEARMAN | 10 | 0.12897 | 195 | SHEARMAN | 10 | 0.12897
196 | SUNSET NORTH | 12 | 0.11819 | 196 | SUNSET NORTH | 12 | 0.11819
197 | SUNSET NORTH | 10 | 0.10455 | 197 | SUNSET NORTH | 10 | 0.10455
198 | SANTA FE | 2 | 0.091429 | 198 | SANTA FE | 2 | 0.091429
199 | LANE | 13 | 0.064386 | 199 | LANE | 13 | 0.064386
200 | ANTHONY | 21 | 0.044589 | 200 | COPPER | 10 | 0.035024
201 | COPPER | 10 | 0.035024 | 201 | DALLAS | 12 | 0.0069881
202 | DALLAS | 12 | 0.0069881 | 202 | AMERICAS | 12 | 0
203 | AMERICAS | 12 | 0.00040535 | 203 | ANTHONY | 22 | 0
204 | ASCARATE | 12 | 0.00040535 | 204 | ASCARATE | 12 | 0
205 | ASCARATE | 14 | 0.00040535 | 205 | ASCARATE | 14 | 0
206 | AUSTIN | 11 | 0.00040535 | 206 | AUSTIN | 11 | 0
207 | AUSTIN | 13 | 0.00040535 | 207 | AUSTIN | 13 | 0
208 | AUSTIN | 14 | 0.00040535 | 208 | AUSTIN | 14 | 0
209 | BUTTERFIELD | 14 | 0.00040535 | 209 | BUTTERFIELD | 14 | 0
210 | CROMO | 10 | 0.00040535 | 210 | CROMO | 10 | 0
211 | CROMO | 14 | 0.00040535 | 211 | CROMO | 14 | 0
212 | DALLAS | 2 | 0.00040535 | 212 | DALLAS | 2 | 0
213 | DYER | 15 | 0.00040535 | 213 | DYER | 15 | 0
214 | LANE | 12 | 0.00040535 | 214 | LANE | 12 | 0
215 | LEO | 13 | 0.00040535 | 215 | LEO | 13 | 0
216 | MONTOYA | 22 | 0.00040535 | 216 | MONTOYA | 22 | 0
217 | MONTOYA | 23 | 0.00040535 | 217 | MONTOYA | 23 | 0
218 | RIO GRANDE | 11 | 0.00040535 | 218 | NEWTEX | 1 | 0
219 | RIVER | 1 | 0.00040535 | 219 | RIO GRANDE | 11 | 0
220 | SANTA FE | 3 | 0.00040535 | 220 | RIVER | 1 | 0
221 | SANTA FE | 5 | 0.00040535 | 221 | SANTA FE | 3 | 0
222 | SANTA FE | 50 | 0.00040535 | 222 | SANTA FE | 5 | 0
223 | SOL | 12 | 0.00040535 | 223 | SOL | 12 | 0
224 | SUNSET | 1 | 0.00040535 | 224 | SUNSET | 1 | 0
225 | SUNSET | 7 | 0.00040535 | 225 | SUNSET | 7 | 0
226 | VISCOUNT | 12 | 0.00040535 | 226 | VISCOUNT | 12 | 0
227 | WRANGLER | 11 | 0.00040535 | 227 | WRANGLER | 11 | 0
228 | WRANGLER | 12 | 0.00040535 | 228 | WRANGLER | 12 | 0

## Causes
El Paso Electric Company
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
| Causes of Forced Interruptions |  | Revised Percentage | Reported Percentage
|  | Weather (Including Lightning) | 27.93% | 27.58%
|  | Utility-owned Equipment | 20.47% | 20.18%
|  | Unknown | 18.02% | 19.03%
|  | Vegetation | 11.41% | 10.48%
|  | Animals and Birds | 10.45% | 10.42%
|  | People (Including cars and farm equip) | 9.009% | 10.48%
|  | Other | 1.066% | 1.82%