## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | AEP Southwestern Electric Power
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 243
Due: |  | February 14, 2001
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 23436
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Division
Commission Staff
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mailto:mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2000 Reporting Year
AEP Southwestern Electric Power
Project 23436

## System-SAIFI
AEP Southwestern Electric Power
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 1.33 | 0.050648 | 0.08912 | 0.13354 | 0.10118 | 0.20586 | 0.16838 | 0.076899 | 0.10474 | 0.17176 | 0.082773 | 0.11383 | 0.034385
Scheduled
2000 | 0.020976 | 0.0008444 | 7.32e-05 | 3.38e-05 | 3.38e-05 | 1.13e-05 | 0.0004672 | 0.0006249 | 0.015132 | 0.000349 | 0.0001295 | 2.25e-05 | 1.13e-05
Outside Causes
2000 | 0.1535 | 0.0096658 | 0.045188 | 0.0083035 | 0.0003153 | 0.022873 | 0.022394 | 0.018712 | 0.016438 | 0.0004222 | 0.008782 | 0.000259 | 0.0001464
Major Events
2000 | 2.3188 | 0.44566 | 0 | 0 | 0.029082 | 0.063219 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7804

## System-SAIDI
AEP Southwestern Electric Power
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
| 94 | 3.0459 | 4.2148 | 11.8413 | 7.9475 | 16.3378 | 11.5643 | 4.6181 | 8.6203 | 9.6812 | 5.0296 | 9.4796 | 1.5898
Scheduled
2000 | 0.27809 | 0.031885 | 0.0023813 | 0.0022068 | 0.0022068 | 0.0004166 | 0.011844 | 0.020266 | 0.17073 | 0.032285 | 0.0026121 | 0.0011259 | 0.0001351
Outside Causes
2000 | 5.9555 | 0.21183 | 1.5417 | 0.53054 | 0.023295 | 0.94011 | 0.88344 | 0.85936 | 0.75399 | 0.029335 | 0.1663 | 0.011326 | 0.0047682
Major Events
2000 | 2670 | 130.7137 | 0 | 0 | 7.7005 | 7.2138 | 0 | 0 | 0 | 0 | 0 | 0 | 2524.3713

## Feeder-SAIFI
Reason for no 1999 Ranking
OCB 12760 Mount Vernon is a new Feeder for 2000
OCB 11894 Pleasant Hill only had 6 customers in 1999
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 243
Add or Delete Rows as Necessary
AEP Southwestern Electric Power
2000 SAIFI Ranking | 1999 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIFI Value
1 | 2 | Friars Switch | 5790 | 92 | 9.0217
2 | 171 | North Marshall | 9800 | 975 | 6.5538
3 | 20 | Leveretts Chapel | 5700 | 144 | 6.3264
4 | 70 | Evenside | 1F90 | 602 | 5.7392
5 | 60 | Waskom | 7890 | 549 | 5.102
6 | 157 | North Marshall | 8660 | 299 | 4.5753
7 | 38 | Howell | 2B80 | 456 | 4.4276
8 | 115 | Howell | 2B60 | 379 | 4.3166
9 | 39 | Kilgore | 3090 | 776 | 4.2629
10 | 44 | Pilgrims Pride | 6150 | 418 | 3.4593
11 | 94 | London | 5930 | 155 | 3.4516
12 | 23 | South East Longview | 1780 | 482 | 3.4129
13 | 61 | Kilgore | 7190 | 420 | 3.3929
14 | 162 | Lake Lamond | 4070 | 1380 | 3.3746
15 | 72 | Longview Heights | 8430 | 732 | 3.2145
16 | 125 | Linden | 10020 | 375 | 3.1493
17 | 153 | Longview | 5510 | 1359 | 3.1045
18 | 92 | New Gladewater | 11970 | 1277 | 3.0728
19 | 27 | Lone Star Plant | 6120 | 17 | 3.0588
20 | 81 | Marshall | 2000 | 118 | 3.0339
21 | 136 | New Hope | 2120 | 90 | 2.9889
22 | 50 | London | 5950 | 239 | 2.954
23 | 17 | Leveretts Chapel | 5200 | 291 | 2.8866
24 | 148 | Greggton | 1F50 | 520 | 2.8635
25 | 96 | Richmond Road | 6980 | 904 | 2.8551
26 | 106 | 39th Street | 2630 | 1276 | 2.7955
27 | 32 | Texarkana Plant | 6710 | 1582 | 2.7668
28 | 182 | Carthage | 3370 | 412 | 2.7427
29 | 12 | Texarkana Plant | 6570 | 1291 | 2.5546
30 | 47 | Friars Switch | 5780 | 154 | 2.5325
31 | 9 | L.A.Pacific | 2260 | 218 | 2.5046
32 | 189 | Mineola | 10990 | 1208 | 2.4768
33 | 187 | New Boston | 9620 | 681 | 2.4684
34 | 21 | Springhill | 8190 | 849 | 2.4547
35 | 41 | South East Marshall | 10180 | 1347 | 2.4113
36 | 52 | Big Sandy | 7300 | 727 | 2.4099
37 | 112 | Poynter | 3270 | 1069 | 2.3938
38 | 134 | Carthage | 10240 | 1153 | 2.3938
39 | 127 | Longview | 6770 | 1147 | 2.3705
40 | 73 | Clarksville | 3660 | 439 | 2.2938
41 | 15 | Texarkana Plant | 7960 | 1301 | 2.2921
42 | 37 | South East Marshall | 10920 | 1315 | 2.292
43 | 212 | Mount Pleasant | 1920 | 1005 | 2.2637
44 | 117 | New Hope | 8000 | 1354 | 2.2267
45 | 103 | Jefferson 69KV | 9340 | 1013 | 2.2241
46 | 75 | Tatum | 10840 | 637 | 2.2166
47 | 131 | Carthage | 5760 | 1231 | 2.2104
48 | 63 | London | 5940 | 167 | 2.2036
49 | 31 | Carthage | 3360 | 585 | 2.2017
50 | 144 | Harrison Road | 11870 | 654 | 2.1896
51 | 185 | Alba | 12400 | 535 | 2.1869
52 | 206 | Clarksville | 9200 | 721 | 2.1817
53 | 179 | Richmond Road | 1L40 | 771 | 2.1712
54 | 62 | Kilgore | 7880 | 802 | 2.1484
55 | 1 | Leveretts Chapel | 10850 | 132 | 2.1364
56 | 4 | Carthage | 3350 | 274 | 2.1095
57 | 149 | Greggton | 2A90 | 987 | 2.1064
58 |  | Mount Vernon | 12760 | 740 | 2.0716
59 | 18 | Friars Switch | 5920 | 42 | 2
60 | 172 | South East Marshall | 10170 | 1570 | 1.9701
61 | 116 | Lake Lamond | 4400 | 958 | 1.9635
62 | 118 | Hallsville | 5720 | 792 | 1.9331
63 | 139 | Mount Vernon | 9130 | 390 | 1.9308
64 | 89 | Texarkana Plant | 7970 | 597 | 1.8492
65 | 95 | New Boston | 1620 | 726 | 1.8017
66 | 83 | Hughes Springs | 1Z00 | 550 | 1.7855
67 | 43 | Liberty City | 7990 | 413 | 1.77
68 | 29 | Sugar Hill | 2690 | 1029 | 1.7075
69 | 45 | Gilmer | 2490 | 1346 | 1.6553
70 | 99 | IPC Jefferson | 8020 | 676 | 1.6538
71 | 53 | Clarksville | 3670 | 425 | 1.6353
72 | 154 | Taylor Street | 220 | 785 | 1.614
73 | 79 | Pittsburg | 5460 | 1144 | 1.5944
74 | 80 | Dekalb | 2430 | 775 | 1.5832
75 | 90 | Kings Hwy | 9030 | 588 | 1.5731
76 | 204 | Whitney | 1A00 | 568 | 1.5581
77 | 87 | Sabine | 5130 | 1838 | 1.5555
78 | 46 | New Gladewater | 11980 | 1018 | 1.5
79 | 51 | Clarksville | 9190 | 538 | 1.4963
80 | 102 | New Boston | 9610 | 864 | 1.4699
81 | 129 | Poynter | 7680 | 1070 | 1.4486
82 | 97 | Linden | 2540 | 1015 | 1.4483
83 | 188 | 39th Street | 1V60 | 1021 | 1.431
84 | 10 | Pleasant Hill | 044 | 396 | 1.4242
85 | 181 | North Marshall | 7600 | 583 | 1.4237
86 | 152 | Hallsville | 2380 | 516 | 1.4225
87 | 165 | Scottsville | 1J10 | 332 | 1.4187
88 | 59 | Taylor Street | 6760 | 1037 | 1.4166
89 | 174 | Richmond Road | 5290 | 1106 | 1.3996
90 | 113 | Beckville | 9120 | 238 | 1.3908
91 | 128 | North Marshall | 8670 | 1222 | 1.3887
92 | 177 | 39th Street | 1V70 | 1350 | 1.3859
93 | 201 | Gilmer | 2480 | 1055 | 1.3744
94 | 234 | Mount Pleasant | 5190 | 542 | 1.3708
95 | 175 | Petty | 11470 | 942 | 1.3684
96 | 64 | Naples | 3290 | 490 | 1.3673
97 | 19 | Longview | 5520 | 1203 | 1.3574
98 | 199 | Grand Saline | 7120 | 1046 | 1.3528
99 | 67 | 39th Street | 2640 | 1449 | 1.3506
100 | 146 | Harrison Road | 11880 | 3896 | 1.3475
101 | 48 | Pliler Road | 10370 | 1911 | 1.3386
102 | 101 | Winfield | 2B70 | 522 | 1.3372
103 | 142 | Marshall | 590 | 511 | 1.3346
104 | 151 | Grand Saline | 7110 | 1279 | 1.3213
105 | 3 | Springhill | 8200 | 475 | 1.32
106 | 34 | L.A.Pacific | 8030 | 393 | 1.3155
107 | 164 | Gates | 1X70 | 424 | 1.2948
108 | 85 | Poynter | 7590 | 1059 | 1.2861
109 | 197 | Tenaha | 2500 | 459 | 1.2854
110 | 105 | Bloomburg | 7350 | 210 | 1.281
111 | 65 | Evenside | 1G00 | 1041 | 1.2709
112 | 214 | Mount Vernon | 9140 | 562 | 1.2669
113 | 191 | Mineola | 3680 | 651 | 1.2642
114 | 35 | Greggton | 1F70 | 1739 | 1.257
115 | 208 | Clarksville | 9210 | 1608 | 1.2562
116 | 183 | Taylor Street | 9510 | 1220 | 1.2475
117 | 170 | West Mount Pleasant | 1G70 | 95 | 1.2421
118 | 84 | Poynter | 7800 | 154 | 1.2273
119 | 40 | Harrison Road | 8040 | 136 | 1.2206
120 | 69 | Center | 2190 | 1206 | 1.2073
121 | 192 | Waskom | 8180 | 1090 | 1.2046
122 | 11 | Turnertown | 1B10 | 306 | 1.1961
123 | 226 | Marshall | 4630 | 592 | 1.1875
124 | 168 | Naples | 8720 | 178 | 1.1461
125 | 200 | Petty | 11460 | 766 | 1.1123
126 | 7 | Tenaha | 2510 | 230 | 1.1043
127 | 100 | Howell | 2B90 | 317 | 1.0978
128 | 126 | Center | 9520 | 769 | 1.0884
129 | 49 | Hawkins | 9410 | 62 | 1.0806
130 | 26 | Longview Heights | 8440 | 84 | 1.0714
131 | 221 | Dekalb | 3200 | 578 | 1.0623
132 | 218 | Lake Lamond | 6860 | 81 | 1.0617
133 | 77 | Sabine | 5110 | 162 | 1.0309
134 | 138 | Kings Hwy | 9540 | 1309 | 1.0214
135 | 237 | Longview | 5550 | 246 | 1.0163
136 | 147 | Sugar Hill | 2370 | 716 | 1.014
137 | 238 | Longview | 5530 | 392 | 1.0077
138 | 6 | Whitney | 1480 | 2040 | 0.95343
139 | 124 | Mineola | 7130 | 956 | 0.94351
140 | 66 | Longview Heights | 1B40 | 1077 | 0.9415
141 | 25 | Operations Center | 7240 | 1285 | 0.9144
142 | 5 | Waskom | 7900 | 240 | 0.90833
143 | 114 | Daingerfield | 1950 | 334 | 0.83832
144 | 155 | Gilmer | 2450 | 600 | 0.83167
145 | 211 | Gates | 1X40 | 667 | 0.82909
146 | 156 | Atlanta | 2140 | 1174 | 0.7879
147 | 236 | Lake Lamond | 9770 | 333 | 0.78378
148 | 150 | Kings Hwy | 9040 | 1396 | 0.76719
149 | 28 | Evenside | 1G10 | 676 | 0.73225
150 | 160 | Hawkins | 2520 | 305 | 0.71803
151 | 14 | Pliler Road | 10380 | 2562 | 0.69204
152 | 123 | Airline | 1N30 | 1135 | 0.69163
153 | 107 | Whitney | 4080 | 1073 | 0.6822
154 | 16 | Big Sandy | 7310 | 675 | 0.68
155 | 74 | Daingerfield | 1960 | 946 | 0.67125
156 | 13 | South East Marshall | 7580 | 1182 | 0.65651
157 | 86 | Pliler Road | 12470 | 1244 | 0.63826
158 | 133 | Operation Center | 1S80 | 1076 | 0.63755
159 | 119 | Taylor Street | 4290 | 1009 | 0.63231
160 | 190 | Operation Center | 7830 | 1043 | 0.60403
161 | 143 | North Laneville | 10660 | 395 | 0.59241
162 | 22 | Marshall | 580 | 1036 | 0.59073
163 | 104 | Atlanta | 4460 | 880 | 0.55909
164 | 8 | Springhill | 6870 | 857 | 0.54959
165 | 176 | Kilgore | 7850 | 322 | 0.52174
166 | 215 | Lake Lamond | 9430 | 701 | 0.51641
167 | 184 | Taylor Street | 7920 | 786 | 0.50254
168 | 186 | Dekalb | 2440 | 699 | 0.49213
169 | 198 | Westwood | 3710 | 55 | 0.49091
170 | 33 | Airline | 1F00 | 1447 | 0.48652
171 | 110 | Longview Heights | 9240 | 866 | 0.47691
172 | 24 | Whitney | 1490 | 1848 | 0.47024
173 | 68 | Texarkana Plant | 7980 | 352 | 0.46875
174 | 196 | Airline | 1F10 | 506 | 0.46443
175 | 178 | Pittsburg | 5450 | 1295 | 0.45792
176 | 55 | Naples | 8730 | 949 | 0.45627
177 | 30 | South East Marshall | 10160 | 1863 | 0.45411
178 | 78 | Kilgore | 4650 | 555 | 0.45405
179 | 207 | Petty | 8370 | 130 | 0.44615
180 | 159 | Greggton | 1V20 | 1362 | 0.44567
181 | 158 | Daingerfield | 1970 | 713 | 0.43478
182 | 57 | Turnertown | 1B20 | 480 | 0.42708
183 | 203 | Turnertown | 1B00 | 211 | 0.41706
184 | 140 | Airline | 1S30 | 168 | 0.40476
185 | 135 | Hawkins | 6310 | 177 | 0.39548
186 | 224 | Winfield | 4100 | 157 | 0.38854
187 | 120 | Richmond Road | 4020 | 611 | 0.38298
188 | 205 | Taylor Street | 5080 | 783 | 0.3742
189 | 169 | New Boston | 5140 | 1187 | 0.37152
190 | 180 | Atlanta | 8070 | 655 | 0.37099
191 | 173 | Whitney | 4420 | 414 | 0.36715
192 | 82 | Marshall Uptown | 3210 | 281 | 0.36299
193 | 202 | Clarksville | 9180 | 585 | 0.36239
194 | 111 | West Mount Pleasant | 1L00 | 874 | 0.34554
195 | 121 | Scottsville | 1J30 | 412 | 0.33738
196 |  | Pleasant Hill | 11894 | 36 | 0.33333
197 | 108 | Beckville | 1U50 | 410 | 0.32927
198 | 219 | Mount Pleasant | 5360 | 927 | 0.3247
199 | 194 | Atlanta | 1U80 | 942 | 0.32059
200 | 122 | Atlanta | 2150 | 1077 | 0.31848
201 | 195 | Operation Center | 11630 | 695 | 0.31367
202 | 232 | Mineola | 9360 | 506 | 0.31028
203 | 227 | Cookville | 1E60 | 193 | 0.3057
204 | 71 | Airline | 1E90 | 847 | 0.30342
205 | 76 | Longview Heights | 9000 | 953 | 0.29591
206 | 161 | 12th Street | 2230 | 883 | 0.28426
207 | 163 | Hooks | 10950 | 703 | 0.24609
208 | 36 | Center | 8140 | 1274 | 0.24411
209 | 42 | Friars Switch | 1900 | 206 | 0.24272
210 | 58 | Lake Lamond | 1380 | 1303 | 0.23561
211 | 98 | Kilgore | 7860 | 570 | 0.22982
212 | 240 | Center | 2180 | 18 | 0.22222
213 | 137 | Lake Lamond | 6850 | 555 | 0.21982
214 | 109 | Hooks | 10960 | 1275 | 0.2149
215 | 56 | Hughes Springs | 5650 | 804 | 0.20398
216 | 233 | Gates | 1X60 | 355 | 0.19437
217 | 145 | Richmond Road | 8050 | 985 | 0.18071
218 | 222 | Operation Center | 1S90 | 444 | 0.17342
219 | 230 | Winnsboro | 2050 | 973 | 0.16958
220 | 225 | Monroe Corners | 6520 | 164 | 0.15244
221 | 231 | Jefferson 69KV | 9350 | 329 | 0.1459
222 | 166 | IPC 69KV | 1R60 | 28 | 0.14286
223 | 220 | Mount Pleasant | 5370 | 339 | 0.14159
224 | 210 | Pittsburg | 8680 | 421 | 0.13539
225 | 193 | Winnsboro | 1P00 | 896 | 0.12054
226 | 132 | Lake Lamond | 8570 | 1121 | 0.11864
227 | 216 | Mount Pleasant | 1930 | 344 | 0.11047
228 | 209 | Kilgore | 3150 | 1067 | 0.10216
229 | 228 | Lake Lamond | 9440 | 582 | 0.099656
230 | 141 | Sabine | 5120 | 435 | 0.098851
231 | 91 | Cookville | 1E70 | 157 | 0.095541
232 | 130 | Poynter | 9550 | 932 | 0.095494
233 | 229 | Marshall Uptown | 3220 | 117 | 0.094017
234 | 235 | Greggton | 1F60 | 84 | 0.071429
235 | 167 | Whitney | 4090 | 427 | 0.065574
236 | 88 | Hawkins | 2530 | 257 | 0.062257
237 | 223 | 39th Street | 2610 | 1080 | 0.055556
238 | 93 | Winnsboro | 2040 | 483 | 0.022774
239 | 239 | West Mount Pleasant | 1G90 | 404 | 0.014851
240 | 54 | Kilgore | 7870 | 248 | 0.012097
241 | 213 | Knox Lee Power Plant | 1U90 | 117 | 0.008547
242 | 217 | North Mineola | 5380 | 150 | 0.0066667
243 | 242 | Longview | 5540 | 324 | 0.0030864

## Feeder-SAIDI
Reason for no 1999 Ranking
OCB 12760 Mount Vernon is a new Feeder for 2000
OCB 11894 Pleasant Hill only had 6 customers in 1999
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 243
Add or Delete Rows as Necessary
AEP Southwestern Electric Power
2000 SAIDI Ranking | 1999 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIDI Value
1 | 58 | North Marshall | 8660 | 299 | 859.4983
2 | 27 | Lone Star Plant | 6120 | 17 | 771.0588
3 | 2 | Friars Switch | 5790 | 92 | 718.6413
4 | 21 | London | 5950 | 239 | 605.59
5 | 92 | New Hope | 2120 | 90 | 550.6333
6 | 31 | Leveretts Chapel | 5700 | 144 | 495.625
7 | 168 | North Marshall | 9800 | 975 | 461.4821
8 | 18 | Howell | 2B80 | 456 | 437.4189
9 | 30 | Waskom | 7890 | 549 | 403.0619
10 | 4 | South East Longview | 1780 | 482 | 401.3133
11 | 1 | Kilgore | 3090 | 776 | 362.7951
12 | 167 | Scottsville | 1J10 | 332 | 347.3464
13 | 19 | Leveretts Chapel | 10850 | 132 | 336.3636
14 | 136 | Dekalb | 2430 | 775 | 332.6994
15 | 14 | Marshall | 2000 | 118 | 312.4831
16 | 88 | Howell | 2B60 | 379 | 312.3034
17 | 238 | Longview | 5550 | 246 | 299.3049
18 | 40 | London | 5930 | 155 | 285.5032
19 | 20 | South East Marshall | 10180 | 1347 | 285.3719
20 | 43 | Longview Heights | 8430 | 732 | 274.3525
21 | 28 | Springhill | 8190 | 849 | 270.5642
22 | 104 | Longview | 5510 | 1359 | 262.8602
23 | 12 | Leveretts Chapel | 5200 | 291 | 261.4399
24 | 110 | Richmond Road | 6980 | 904 | 260.8639
25 | 34 | Kilgore | 7190 | 420 | 244.5738
26 | 46 | Evenside | 1F90 | 602 | 244.309
27 | 181 | Greggton | 2A90 | 987 | 232.0233
28 | 144 | Poynter | 3270 | 1069 | 229.7381
29 | 149 | New Boston | 9620 | 681 | 226.3451
30 | 35 | New Hope | 8000 | 1354 | 223.5236
31 | 90 | Greggton | 1F50 | 520 | 218.3135
32 | 206 | Alba | 12400 | 535 | 204.4598
33 | 123 | Longview | 6770 | 1147 | 196.4996
34 | 6 | Friars Switch | 5780 | 154 | 193.7143
35 | 33 | Kilgore | 7880 | 802 | 174.4713
36 | 59 | Sabine | 5130 | 1838 | 172.8351
37 | 15 | Waskom | 7900 | 240 | 172.2625
38 | 173 | Mount Vernon | 9130 | 390 | 171.8513
39 | 142 | 39th Street | 2630 | 1276 | 169.3848
40 | 82 | Pittsburg | 5460 | 1144 | 166.0131
41 | 23 | L.A.Pacific | 2260 | 218 | 165.1009
42 | 52 | Big Sandy | 7300 | 727 | 162.773
43 | 236 | Longview | 5530 | 392 | 161.9847
44 | 60 | Tatum | 10840 | 637 | 159.4082
45 | 72 | Kings Hwy | 9030 | 588 | 159.2075
46 | 3 | Turnertown | 1B10 | 306 | 157.5948
47 | 102 | New Gladewater | 11980 | 1018 | 155.0855
48 | 98 | Hughes Springs | 1Z00 | 550 | 153.2491
49 | 17 | Pliler Road | 10370 | 1911 | 150.4024
50 | 8 | Longview | 5520 | 1203 | 136.7523
51 | 197 | Carthage | 3370 | 412 | 135.7354
52 | 87 | Center | 2190 | 1206 | 133.3383
53 | 56 | Pilgrims Pride | 6150 | 418 | 131.5478
54 | 67 | Clarksville | 3670 | 425 | 128.7859
55 | 65 | Naples | 3290 | 490 | 122.5592
56 | 139 | Gates | 1X70 | 424 | 122.4646
57 | 86 | Texarkana Plant | 6570 | 1291 | 122.2812
58 | 32 | Pleasant Hill | 044 | 396 | 121.0783
59 | 203 | Gilmer | 2480 | 1055 | 119.6133
60 | 121 | New Gladewater | 11970 | 1277 | 118.8418
61 | 99 | Bloomburg | 7350 | 210 | 118.419
62 | 22 | Carthage | 3360 | 585 | 116.9744
63 | 215 | Mineola | 10990 | 1208 | 116.7177
64 | 78 | Linden | 2540 | 1015 | 116.4739
65 | 77 | Texarkana Plant | 7960 | 1301 | 116.3559
66 | 10 | Tenaha | 2510 | 230 | 113.9652
67 | 94 | Kings Hwy | 9540 | 1309 | 113.5439
68 | 97 | 39th Street | 2640 | 1449 | 111.8054
69 | 163 | Carthage | 10240 | 1153 | 111.1214
70 | 129 | Carthage | 5760 | 1231 | 110.0309
71 | 95 | Longview Heights | 1B40 | 1077 | 109.428
72 | 26 | Greggton | 1F70 | 1739 | 109.3422
73 | 180 | Richmond Road | 5290 | 1106 | 109.0335
74 | 13 | Friars Switch | 5920 | 42 | 108.4048
75 | 176 | Waskom | 8180 | 1090 | 107.7596
76 | 112 | Jefferson 69KV | 9340 | 1013 | 107.6505
77 | 109 | Sabine | 5110 | 162 | 106.8519
78 | 113 | New Boston | 9610 | 864 | 105.8067
79 | 187 | Richmond Road | 1L40 | 771 | 105.0986
80 | 194 | Harrison Road | 11870 | 654 | 104.0688
81 | 153 | IPC Jefferson | 8020 | 676 | 103.8462
82 | 177 | 39th Street | 1V70 | 1350 | 100.6526
83 | 133 | Poynter | 7590 | 1059 | 99.492
84 |  | Mount Vernon | 12760 | 740 | 99.3865
85 | 103 | Daingerfield | 1960 | 946 | 99.0856
86 | 216 | Clarksville | 9200 | 721 | 97.975
87 | 55 | North Marshall | 8670 | 1222 | 97.8568
88 | 100 | Lake Lamond | 4070 | 1380 | 97.6101
89 | 151 | Beckville | 9120 | 238 | 97.5168
90 | 101 | Texarkana Plant | 6710 | 1582 | 97.4027
91 | 76 | South East Marshall | 10920 | 1315 | 97.0441
92 | 209 | Mount Vernon | 9140 | 562 | 96.3221
93 | 237 | Lake Lamond | 9770 | 333 | 94.5255
94 | 124 | Taylor Street | 6760 | 1037 | 92.5689
95 | 38 | Carthage | 3350 | 274 | 91.2701
96 | 128 | Linden | 10020 | 375 | 90.0373
97 | 127 | Daingerfield | 1950 | 334 | 87.2305
98 | 93 | London | 5940 | 167 | 85.9162
99 | 214 | Petty | 11460 | 766 | 84.6175
100 | 141 | Naples | 8720 | 178 | 84.4157
101 | 160 | West Mount Pleasant | 1G70 | 95 | 83.4842
102 | 199 | Taylor Street | 9510 | 1220 | 83.4303
103 | 190 | Tenaha | 2500 | 459 | 81.488
104 | 24 | Springhill | 8200 | 475 | 79.9495
105 | 143 | South East Marshall | 10170 | 1570 | 78.9376
106 | 61 | Pliler Road | 12470 | 1244 | 78.5908
107 | 64 | Hawkins | 9410 | 62 | 75.5484
108 | 83 | Sugar Hill | 2690 | 1029 | 75.102
109 | 148 | Grand Saline | 7110 | 1279 | 74.7303
110 | 111 | Mineola | 7130 | 956 | 74.1925
111 | 164 | North Marshall | 7600 | 583 | 73.9194
112 | 229 | Marshall | 4630 | 592 | 73.9088
113 | 74 | Liberty City | 7990 | 413 | 73.5206
114 | 165 | Gates | 1X40 | 667 | 72.5412
115 | 186 | Operation Center | 7830 | 1043 | 71.6433
116 | 91 | Lake Lamond | 4400 | 958 | 71.3925
117 | 140 | Hallsville | 5720 | 792 | 69.846
118 | 85 | New Boston | 1620 | 726 | 68.7755
119 | 69 | Springhill | 6870 | 857 | 68.0163
120 | 212 | Grand Saline | 7120 | 1046 | 67.3719
121 | 45 | Big Sandy | 7310 | 675 | 67.1911
122 | 196 | Mount Pleasant | 1920 | 1005 | 65.7403
123 | 96 | Kilgore | 7850 | 322 | 64.4037
124 | 36 | Pliler Road | 10380 | 2562 | 63.7205
125 | 105 | Harrison Road | 11880 | 3896 | 63.4992
126 | 218 | Hallsville | 2380 | 516 | 62.6609
127 | 107 | Marshall | 590 | 511 | 61.9393
128 | 213 | 39th Street | 1V60 | 1021 | 61.5818
129 | 29 | Whitney | 1480 | 2040 | 61.4172
130 | 53 | Winfield | 2B70 | 522 | 60.9195
131 | 54 | Clarksville | 9190 | 538 | 58.6822
132 | 11 | L.A.Pacific | 8030 | 393 | 56.9033
133 | 188 | Whitney | 1A00 | 568 | 56.8451
134 | 204 | Westwood | 3710 | 55 | 56.6
135 | 119 | Center | 9520 | 769 | 56.3797
136 | 81 | Gilmer | 2490 | 1346 | 55.5267
137 | 138 | Poynter | 7680 | 1070 | 55.0963
138 | 145 | Hawkins | 2520 | 305 | 55.0754
139 | 71 | Harrison Road | 8040 | 136 | 54.7132
140 | 201 | Turnertown | 1B00 | 211 | 54.6919
141 | 122 | Scottsville | 1J30 | 412 | 54.2767
142 | 37 | Kilgore | 4650 | 555 | 53.8955
143 | 130 | Clarksville | 3660 | 439 | 52.5171
144 | 7 | Airline | 1F00 | 1447 | 52.4195
145 | 42 | Howell | 2B90 | 317 | 52.205
146 | 63 | Taylor Street | 4290 | 1009 | 51.4945
147 | 57 | South East Marshall | 7580 | 1182 | 50.9171
148 | 217 | Dekalb | 3200 | 578 | 50.4896
149 | 134 | Gilmer | 2450 | 600 | 50.32
150 | 62 | Evenside | 1G10 | 676 | 50.0044
151 | 108 | Hawkins | 6310 | 177 | 49.5311
152 | 233 | Mount Pleasant | 5190 | 542 | 49.1882
153 | 152 | Petty | 11470 | 942 | 48.2654
154 | 158 | Atlanta | 2140 | 1174 | 47.2751
155 | 156 | Texarkana Plant | 7980 | 352 | 47.0625
156 | 89 | Evenside | 1G00 | 1041 | 47.0548
157 | 79 | Whitney | 4080 | 1073 | 46.5517
158 | 68 | South East Marshall | 10160 | 1863 | 46.1358
159 | 73 | Longview Heights | 9000 | 953 | 45.9224
160 | 135 | Airline | 1N30 | 1135 | 44.9004
161 | 50 | North Laneville | 10660 | 395 | 43.7747
162 | 116 | Kings Hwy | 9040 | 1396 | 42.4534
163 | 154 | Hooks | 10950 | 703 | 42.2048
164 | 185 | Mineola | 3680 | 651 | 42.0814
165 | 70 | Naples | 8730 | 949 | 41.4405
166 | 5 | Marshall | 580 | 1036 | 41.388
167 | 191 | Dekalb | 2440 | 699 | 41.103
168 | 49 | Operations Center | 7240 | 1285 | 40.4848
169 | 161 | Sugar Hill | 2370 | 716 | 39.9162
170 | 170 | Taylor Street | 220 | 785 | 39.4038
171 | 155 | Daingerfield | 1970 | 713 | 39.2847
172 | 16 | Turnertown | 1B20 | 480 | 39.225
173 | 240 | Center | 2180 | 18 | 39.1111
174 | 115 | Atlanta | 4460 | 880 | 37.5398
175 | 41 | Whitney | 1490 | 1848 | 35.73
176 | 146 | Greggton | 1V20 | 1362 | 35.6902
177 | 226 | Lake Lamond | 6860 | 81 | 33.8642
178 | 193 | Airline | 1F10 | 506 | 32.7431
179 | 182 | Operation Center | 1S80 | 1076 | 32.6552
180 | 230 | Winfield | 4100 | 157 | 32.465
181 | 117 | Longview Heights | 9240 | 866 | 31.5242
182 | 166 | Texarkana Plant | 7970 | 597 | 31.464
183 | 44 | Kilgore | 7860 | 570 | 30.9561
184 | 132 | Airline | 1S30 | 168 | 30.6905
185 | 39 | Friars Switch | 1900 | 206 | 30.2039
186 | 48 | Longview Heights | 8440 | 84 | 29.619
187 | 178 | Lake Lamond | 9430 | 701 | 29.1455
188 | 159 | New Boston | 5140 | 1187 | 29.139
189 | 183 | Whitney | 4420 | 414 | 28.4348
190 | 222 | Mount Pleasant | 5360 | 927 | 26.0194
191 | 106 | Beckville | 1U50 | 410 | 25.7878
192 | 202 | Clarksville | 9210 | 1608 | 25.4988
193 |  | Pleasant Hill | 11894 | 36 | 24.5833
194 | 210 | Clarksville | 9180 | 585 | 24.2017
195 | 184 | Pittsburg | 5450 | 1295 | 24.1367
196 | 120 | Poynter | 7800 | 154 | 24.0779
197 | 192 | Taylor Street | 7920 | 786 | 20.9059
198 | 172 | Taylor Street | 5080 | 783 | 20.1481
199 | 25 | Airline | 1E90 | 847 | 19.9941
200 | 137 | Richmond Road | 4020 | 611 | 19.784
201 | 198 | Atlanta | 1U80 | 942 | 19.242
202 | 157 | West Mount Pleasant | 1L00 | 874 | 19.222
203 | 220 | Cookville | 1E60 | 193 | 19.0674
204 | 221 | Gates | 1X60 | 355 | 18.6169
205 | 219 | Monroe Corners | 6520 | 164 | 17.439
206 | 223 | Jefferson 69KV | 9350 | 329 | 17.31
207 | 125 | Lake Lamond | 1380 | 1303 | 17.2955
208 | 114 | Hooks | 10960 | 1275 | 17.062
209 | 80 | Hughes Springs | 5650 | 804 | 16.3744
210 | 231 | Mineola | 9360 | 506 | 15.9625
211 | 174 | Atlanta | 2150 | 1077 | 15.7001
212 | 84 | Center | 8140 | 1274 | 15.6028
213 | 75 | Sabine | 5120 | 435 | 15.3908
214 | 224 | Mount Pleasant | 1930 | 344 | 14.9012
215 | 211 | Operation Center | 11630 | 695 | 14.3468
216 | 189 | Petty | 8370 | 130 | 14.2692
217 | 179 | IPC 69KV | 1R60 | 28 | 13.8571
218 | 169 | Atlanta | 8070 | 655 | 13.6229
219 | 131 | Lake Lamond | 6850 | 555 | 13.3658
220 | 235 | Operation Center | 1S90 | 444 | 13.1486
221 | 150 | 12th Street | 2230 | 883 | 12.855
222 | 51 | Hawkins | 2530 | 257 | 10.2646
223 | 227 | Winnsboro | 2050 | 973 | 9.3217
224 | 175 | Kilgore | 3150 | 1067 | 7.9897
225 | 208 | Pittsburg | 8680 | 421 | 7.4632
226 | 195 | Winnsboro | 1P00 | 896 | 7.4308
227 | 66 | Cookville | 1E70 | 157 | 7.4204
228 | 205 | Lake Lamond | 9440 | 582 | 7.4141
229 | 47 | Marshall Uptown | 3210 | 281 | 7.3879
230 | 162 | Lake Lamond | 8570 | 1121 | 7.2141
231 | 228 | Mount Pleasant | 5370 | 339 | 6.1799
232 | 118 | Poynter | 9550 | 932 | 5.9549
233 | 147 | Richmond Road | 8050 | 985 | 5.8853
234 | 171 | Whitney | 4090 | 427 | 4.1405
235 | 232 | Greggton | 1F60 | 84 | 3.8929
236 | 207 | Marshall Uptown | 3220 | 117 | 3.6325
237 | 234 | 39th Street | 2610 | 1080 | 2.2972
238 | 9 | Kilgore | 7870 | 248 | 1.8024
239 | 126 | Winnsboro | 2040 | 483 | 1.1346
240 | 200 | Knox Lee Power Plant | 1U90 | 117 | 0.60684
241 | 239 | West Mount Pleasant | 1G90 | 404 | 0.34158
242 | 225 | North Mineola | 5380 | 150 | 0.14667
243 | 242 | Longview | 5540 | 324 | 0.10802

## Causes
AEP Southwestern Electric Power
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2000 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 22%
|  | Vegetation | 32%
|  | Animals and Birds | 23%
|  | People (Including cars and farm equip) | 2%
|  | Utility-owned Equipment | 15%
|  | Other | 1%
|  | Unknown | 5%