## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | AEP Central Power & Light
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 663
Due: |  | February 14, 2001
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 23436
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Division
Commission Staff
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mailto:mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2000 Reporting Year
AEP Central Power & Light
Project 23436

## System-SAIFI
AEP Central Power & Light
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 1.1657 | 0.090296 | 0.057039 | 0.092122 | 0.057975 | 0.15226 | 0.12542 | 0.098592 | 0.11006 | 0.15284 | 0.065004 | 0.074102 | 0.10435
Scheduled
2000 | 0.0069323 | 6.6637e-05 | 0.00044071 | 0.00040989 | 0.00060046 | 0.0010157 | 0.00091364 | 0.00082093 | 0.00062565 | 0.00073266 | 0.00042813 | 0.00060873 | 0.00035857
Outside Causes
2000 | 0.49233 | 0.039437 | 0.0069367 | 0.11346 | 0.042865 | 0.036105 | 0.024497 | 0.07996 | 0.011769 | 0.025073 | 0.051145 | 0.053688 | 0.013061
Major Events
2000 | 0.018962 | 0 | 0 | 0 | 0 | 0.019299 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## System-SAIDI
AEP Central Power & Light
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 78.7482 | 6.1853 | 3.496 | 7.3839 | 3.8221 | 10.479 | 6.3384 | 6.4326 | 6.6842 | 10.1409 | 4.3888 | 5.2817 | 9.0418
Scheduled
2000 | 0.46899 | 0.0049917 | 0.029778 | 0.035055 | 0.031671 | 0.082353 | 0.056708 | 0.05065 | 0.043334 | 0.051291 | 0.027196 | 0.037381 | 0.024657
Outside Causes
2000 | 25.3128 | 3.6213 | 0.32907 | 4.4768 | 1.9792 | 2.182 | 1.1221 | 5.781 | 0.47754 | 0.55684 | 2.6383 | 1.0756 | 1.3896
Major Events
2000 | 16.3048 | 0 | 0 | 0 | 0 | 16.594 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 663
Add or Delete Rows as Necessary
AEP Central Power & Light
2000 SAIFI Ranking | 1999 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIFI Value
1 | 334 | San Ygnacio | 16060 | 11 | 9.3636
2 | 15 | Elsa | 710 | 563 | 8.4405
3 | 106 | Raymondville #1 | 630 | 761 | 7.2063
4 | 4 | Taft | 1260 | 85 | 6.7412
5 | New | Nueces Bay Plant 69KV Bus #1 | 7825 | 904 | 6.441
6 | 172 | Darst | 800 | 161 | 5.9876
7 | 53 | Malone | 7550 | 144 | 5.9514
8 | 596 | Sinton | 360CS | 277 | 5.8664
9 | 59 | Uvalde 138KV Bus | 6620 | 1500 | 5.6787
10 | 6 | Palmhurst | 2820 | 1979 | 5.6594
11 | 174 | Edna | 5765 | 1100 | 5.4445
12 | 204 | North McAllen | 2980 | 1629 | 5.318
13 | 28 | Eagle Pass City | 2770 | 1475 | 5.1119
14 | 276 | North McAllen | 2750 | 1849 | 5.073
15 | New | Milo | 3065 | 350 | 5.0257
16 | 39 | Bishop | 2690 | 779 | 4.6585
17 | 230 | Rachal | 6595 | 474 | 4.5844
18 | 609 | Goodwin | 4380 | 810 | 4.5506
19 | 104 | Santa Rosa | 4040 | 1362 | 4.4934
20 | 482 | South Padre Island | 4695 | 3079 | 4.3222
21 | 25 | Nixon | 5990 | 524 | 4.2424
22 | 359 | Prairie Pump | 1940 | 38 | 4.2368
23 | 95 | Carrizo Springs | 910 | 1584 | 4.2235
24 | 35 | Washington Street 69KV Bus #3 | 6525 | 2000 | 4.1985
25 | 207 | El Campo 69KV Bus | 5745 | 1080 | 4.1886
26 | 443 | Polk Avenue | 4900 | 1464 | 4.153
27 | 9 | Rangerville | 3410 | 712 | 4.1362
28 | 188 | North Padre Island | 5170 | 2713 | 4.1047
29 | 81 | San Benito | 4135 | 653 | 4.0398
30 | 37 | McColl Road | 4400 | 793 | 3.971
31 | 390 | Harlingen Switching Station | 320 | 519 | 3.9576
32 | 490 | Crystal City | 330W | 920 | 3.95
33 | 350 | Goliad | 6540 | 886 | 3.8476
34 | 201 | Pettus | 8210 | 455 | 3.7429
35 | 5 | Alazan | 620CS | 222 | 3.6937
36 | 38 | Laredo Plant | 8695 | 800 | 3.658
37 | 197 | Wesmer | 4050 | 1557 | 3.526
38 | 19 | Bishop | 7180 | 1005 | 3.4796
39 | 12 | Elsa | 690 | 1703 | 3.4627
40 | 251 | Harlingen | 660 | 1511 | 3.4461
41 | 518 | La Pryor | 580 | 153 | 3.4444
42 | 313 | Sharyland | 2010 | 954 | 3.414
43 | 131 | Eagle Pass City | 2650 | 2950 | 3.3715
44 | 321 | Big Wells | 1570 | 478 | 3.3473
45 | 229 | Moore Field | 3960 | 891 | 3.3266
46 | 330 | Sharyland | 2150 | 1296 | 3.287
47 | 449 | Pleasanton | 120W | 1175 | 3.2774
48 | 111 | Pearsall | 5580 | 1906 | 3.2718
49 | 263 | South Padre Island | 6440 | 1584 | 3.2418
50 | 217 | Moore Field | 3110 | 1277 | 3.2255
51 | 65 | Del Rio City | 9790 | 2861 | 3.2192
52 | 210 | Stadium | 7810 | 1310 | 3.1366
53 | 166 | Bruni | 5440 | 44 | 3.1364
54 | 392 | Ganado | 5795 | 689 | 3.1306
55 | 299 | Sharyland | 2035 | 1482 | 3.1215
56 | 34 | Kingsville | 1130 | 1684 | 3.117
57 | 608 | Banquette | 130CS | 540 | 3.1148
58 | 626 | Darst | 790 | 80 | 3.1125
59 | 406 | Three Rivers | 2010CN | 753 | 3.1009
60 | 36 | McColl Road | 4780 | 1697 | 3.0672
61 | 550 | Three Rivers | 2580 | 110 | 3.0273
62 | 657 | Washington Street 69KV Bus #2 | 2470 | 600 | 3.015
63 | 240 | Rockport | 5940 | 113 | 2.9912
64 | 399 | Brownsville | 3050 | 1766 | 2.9117
65 | 437 | San Benito | 4945 | 745 | 2.894
66 | 558 | Haine Drive | 9690 | 1023 | 2.868
67 | 211 | Palmview | 9680 | 726 | 2.8017
68 | 29 | Alice | 2530 | 900 | 2.7344
69 | 377 | Palmhurst | 1300 | 842 | 2.6781
70 | 487 | La Grulla | 5110 | 992 | 2.6603
71 | 246 | Naval Base 69KV Bus #2 | 6330 | 262 | 2.6412
72 | 385 | El Campo 69KV Bus | 7260 | 723 | 2.6302
73 | 140 | Aransas Pass 69KV Bus #2 | 660CS | 350 | 2.6029
74 | 213 | Harlingen Switching Station | 4090 | 1013 | 2.5814
75 | 70 | South East Edinburg | 4015 | 1302 | 2.566
76 | 146 | South Padre Island | 5850 | 880 | 2.5557
77 | 46 | Haine Drive | 270 | 870 | 2.5111
78 | 56 | Devine | 7090 | 901 | 2.5083
79 | 512 | Pleasanton | 9475 | 1650 | 2.4976
80 | 202 | Cavazos | 3550 | 633 | 2.4882
81 | 187 | Nixon | 810 | 543 | 2.488
82 | 49 | Kenedy | 1970 | 140 | 2.4786
83 | 393 | Refugio | 5120 | 23 | 2.4783
84 | 2 | Raymondville #2 | 3250 | 40 | 2.475
85 | 658 | Woodsboro | 8330CS | 1095 | 2.4575
86 | 457 | Rio Grande City | 3220 | 1379 | 2.446
87 | 58 | Pleasanton | 2080 | 1305 | 2.4337
88 | 141 | Rangerville | 7750 | 625 | 2.4336
89 | 402 | Los Fresnos | 930S | 836 | 2.4258
90 | 472 | Loyola | 120CS | 698 | 2.4212
91 | 480 | Santa Rosa | 3430 | 1454 | 2.3955
92 | 395 | North Victoria | 7430 | 524 | 2.395
93 | 455 | West Harlingen | 3700 | 1267 | 2.3796
94 | 309 | Santo Nino | 645 | 1500 | 2.3653
95 | 524 | Beeville | 490CN | 1020 | 2.3627
96 | 193 | Placedo | 7970 | 387 | 2.3566
97 | 91 | N. Edinburg 69KV Bus #1 | 3570 | 437 | 2.341
98 | 534 | Goodwin | 4625 | 1048 | 2.3378
99 | 452 | Hall Acres Road | 5585 | 574 | 2.3258
100 | 200 | Blessing | 8780 | 76 | 2.3158
101 | 613 | Rio Grande City | 3210 | 1205 | 2.3137
102 | 220 | Causeway | 4765 | 1100 | 2.3118
103 | 100 | North Padre Island | 7900 | 1100 | 2.3036
104 | 97 | Port Lavaca | 2480CN | 750 | 2.3013
105 | 223 | Bay City | 6450 | 1072 | 2.2957
106 | 571 | Brownsville | 4290 | 2358 | 2.2918
107 | 208 | Del Rio City | 430 | 2244 | 2.283
108 | 420 | Palmview | 3930 | 628 | 2.2818
109 | 444 | Government Wells | 7250 | 324 | 2.2747
110 | 470 | Polk Avenue | 4190 | 1901 | 2.2646
111 | 474 | Hidalgo | 3680 | 889 | 2.2632
112 | 326 | Raymondville #2 | 4160 | 774 | 2.2545
113 | 3 | Devine | 7100 | 850 | 2.2529
114 | 123 | Causeway | 4795 | 1496 | 2.2507
115 | 428 | McKenzie Road | 330 | 1726 | 2.2491
116 | 170 | Harlingen | 380 | 1216 | 2.2401
117 | 102 | Port Lavaca | 8310 | 230 | 2.2391
118 | New | San Diego | 2930 | 600 | 2.2167
119 | 180 | Victoria Power Plant 69KV Bus #1 | 8070 | 444 | 2.214
120 | 79 | Laredo Heights Bank #2 | 2390 | 1000 | 2.207
121 | 388 | Greenlake | 2750CN | 840 | 2.2048
122 | 658 | Normanna CST | 840 | 10 | 2.2
123 | 501 | Stadium | 8540 | 1795 | 2.19
124 | 499 | North McAllen | 4995 | 2267 | 2.1888
125 | 186 | Ganado | 5815 | 550 | 2.18
126 | 508 | Hearn Road | 870 | 982 | 2.1762
127 | 280 | Casa Blanca | 55 | 357 | 2.1697
128 | 473 | Rodd Field | 2190 | 610 | 2.1689
129 | 369 | Greenlake | 2760 | 675 | 2.1674
130 | 62 | Magruder | 7870 | 1283 | 2.1598
131 | 116 | Raymondville #1 | 620S | 613 | 2.1566
132 | 77 | Aransas Pass 69KV Bus #2 | 1250 | 300 | 2.1533
133 | 281 | La Pryor | 2440 | 562 | 2.153
134 | 74 | Randado | 8360 | 193 | 2.1503
135 | 148 | McColl Road | 2810 | 1447 | 2.1444
136 | 258 | Jourdanton | 5685 | 630 | 2.1381
137 | 114 | Clarkwood | 5525 | 470 | 2.134
138 | 226 | Palmhurst | 3890 | 609 | 2.133
139 | 538 | Airline 69KV Bus #2 | 7280 | 632 | 2.1329
140 | 296 | West McAllen | 4505 | 1886 | 2.131
141 | 438 | Magruder | 7690 | 907 | 2.1279
142 | 532 | Government Wells | 6800 | 228 | 2.1272
143 | 22 | Goodwin | 4390 | 810 | 2.116
144 | 182 | Wesmer | 9705 | 1168 | 2.1147
145 | 294 | West McAllen | 4965 | 709 | 2.1142
146 | 155 | Sharyland | 2020 | 1867 | 2.1077
147 | 87 | Markham | 5550 | 85 | 2.1059
148 | 94 | Morris Street 138KV Bus #1 | 8830 | 2101 | 2.1042
149 | 527 | Holly | 1950 | 1109 | 2.092
150 | 235 | Holly | 7740 | 2812 | 2.0885
151 | 152 | Port Aransas | 3030CS | 600 | 2.0867
152 | 408 | North Victoria | 1580 | 1077 | 2.0826
153 | 570 | Brownsville | 4280 | 1045 | 2.0813
154 | 88 | N. Edinburg 69KV Bus #2 | 560 | 414 | 2.0797
155 | 368 | Three Rivers | 8430 | 141 | 2.078
156 | 533 | Holly | 5820 | 1135 | 2.0749
157 | 250 | Zapata | 2710 | 41 | 2.0488
158 | 427 | Sinton | 180 | 1151 | 2.0434
159 | 51 | Weslaco Unit | 8610 | 1863 | 2.0365
160 | 271 | North McAllen | 3830 | 2024 | 2.0306
161 | 351 | Rio Bravo | 300W | 862 | 2.0297
162 | 337 | Rio Grande City | 3230 | 2326 | 2.0168
163 | 156 | McColl Road | 4910 | 1358 | 2.014
164 | 621 | Bandera Electric (Leakey) | L30 | 373 | 2.0107
165 | 414 | Pearsall | 9905 | 180 | 2.0056
166 | 195 | Southside 69KV Bus #4 | 5335 | 948 | 1.9641
167 | 547 | Kleberg 138KV Bus #2 | 8140 | 172 | 1.9638
168 | 68 | Premont | 2730 | 213 | 1.8826
169 | 44 | O'Conner | 390CN | 120 | 1.875
170 | 71 | Rio Bravo | 5 | 1000 | 1.8688
171 | 284 | Crystal City | 140W | 1630 | 1.8607
172 | 316 | Continental | 4880 | 227 | 1.8546
173 | 383 | East Harrison 69KV Bus #2 | 3950 | 301 | 1.8472
174 | 26 | Morris Street 138KV Bus #2 | 8715 | 2294 | 1.837
175 | 531 | Crestonio | 270W | 599 | 1.8331
176 | 168 | Clarkwood | 7230 | 135 | 1.8222
177 | 416 | Pettus | 1020 | 336 | 1.8125
178 | 389 | Port Aransas | 6940 | 900 | 1.7256
179 | 234 | Port Isabel Switching Station | 3820 | 440 | 1.7091
180 | 521 | East Harrison 69KV Bus #3 | 4310 | 977 | 1.6837
181 | 45 | Columbus | 6180 | 876 | 1.6826
182 | 461 | North Alamo | 3580 | 297 | 1.6802
183 | 658 | Zapata | 8300 | 30 | 1.6667
184 | 358 | Bay City | 6670 | 1845 | 1.6629
185 | 101 | Odem | 385 | 262 | 1.6565
186 | 98 | North Mercedes | 3840 | 720 | 1.6444
187 | 127 | North Mercedes | 3770 | 1460 | 1.6438
188 | 185 | Rio Rico | 8330 | 1752 | 1.6421
189 | 479 | Weil Tract (138/12KV) | 2520 | 294 | 1.6361
190 | 92 | Santa Rosa | 3270 | 1045 | 1.6268
191 | 510 | Weslaco Unit | 9805 | 1460 | 1.6171
192 | 84 | Dilley | 510 | 440 | 1.5795
193 | 153 | South McAllen | 3790 | 1916 | 1.5725
194 | 130 | El Campo 69KV Bus | 2860 | 487 | 1.5634
195 | 598 | Port Aransas | 1000 | 897 | 1.5596
196 | 458 | El Campo 138KV Bus | 7710 | 990 | 1.5475
197 | 262 | San Diego | 1980 | 650 | 1.5262
198 | 467 | Highway Nine 69KV Bus #1 | 6720 | 1407 | 1.5224
199 | New | Pharr | 1625 | 515 | 1.5217
200 | 256 | Del Rio City | 1930 | 1125 | 1.5191
201 | 435 | N. Edinburg 69KV Bus #1 | 4240 | 600 | 1.5183
202 | 394 | El Campo 138KV Bus | 2800 | 1763 | 1.5058
203 | 169 | Robstown | 1650 | 58 | 1.4828
204 | 52 | Foster Field | 2550 | 118 | 1.4661
205 | 67 | San Benito | 3910 | 1806 | 1.464
206 | 353 | Campwood | 2610 | 880 | 1.4614
207 | 129 | Knippa | 6365 | 274 | 1.4599
208 | 505 | Jourdanton | 5695 | 1030 | 1.4592
209 | 7 | Tatton | 8490 | 130 | 1.4462
210 | 82 | South East Edinburg | 6580 | 2233 | 1.4438
211 | 345 | Kingsville | 1670 | 402 | 1.4378
212 | 31 | Rangerville | 4060 | 446 | 1.4327
213 | 379 | Luling LCRA | 10CN | 167 | 1.4311
214 | 335 | Hamilton Road 138KV Bus #1 | 9645 | 304 | 1.4309
215 | 396 | Greta | 7890 | 304 | 1.4276
216 | 279 | Pueblo | 130W | 1050 | 1.4229
217 | 265 | Taft | 1180 | 928 | 1.4224
218 | 149 | South Mission | 3980 | 4020 | 1.4209
219 | 179 | Refugio | 1040 | 566 | 1.4134
220 | 426 | Wadsworth | 7660 | 1119 | 1.4102
221 | 177 | Beeville | 1760 | 874 | 1.4039
222 | 400 | Pueblo | 275 | 1100 | 1.4027
223 | 354 | Edna | 5785 | 457 | 1.4004
224 | 72 | Weslaco Unit | 5970 | 1752 | 1.3973
225 | 366 | Falfurrias 69KV Bus | 1080W | 419 | 1.3962
226 | 47 | Refugio | 1210 | 333 | 1.3844
227 | 580 | Magruder | 6680 | 646 | 1.3824
228 | 57 | Goliad | 8220 | 1057 | 1.3728
229 | 212 | Washington Street 69KV Bus #2 | 2350 | 1000 | 1.361
230 | 264 | Maverick | 9680W | 580 | 1.3431
231 | 451 | Alice | 1770 | 1180 | 1.3415
232 | 529 | Hall Acres Road | 5465 | 958 | 1.3382
233 | 466 | Edroy | 6980 | 354 | 1.3362
234 | 119 | Seawall | 9450 | 155 | 1.3355
235 | 173 | West Harlingen | 3720 | 1595 | 1.3335
236 | 113 | North Alamo | 3610 | 1168 | 1.3318
237 | 658 | Bonnieview | 8020BO | 407 | 1.3243
238 | 483 | Mines Road | 3680 | 700 | 1.3239
239 | 317 | Morris Street 138KV Bus #1 | 7625 | 829 | 1.3197
240 | 138 | West McAllen | 4555 | 1521 | 1.3143
241 | 107 | Pearsall | 7050 | 1334 | 1.3103
242 | 469 | Portland | 9290 | 1007 | 1.3039
243 | 320 | Santo Nino | 70 | 1500 | 1.302
244 | 221 | Palacios | 6840 | 1387 | 1.2985
245 | 241 | Del Rio City | 420W | 1904 | 1.2878
246 | 139 | South East Edinburg | 4550 | 1721 | 1.2824
247 | 176 | Hamilton Road 138KV Bus #2 | 9665W | 322 | 1.2795
248 | 196 | Bay City | 2700 | 1375 | 1.2756
249 | 376 | Rockport | 5950 | 434 | 1.2742
250 | 545 | Washington Street 69KV Bus #3 | 7015 | 1500 | 1.27
251 | 255 | Woolridge | 1110 | 1057 | 1.2687
252 | 429 | Aransas Pass 69KV Bus #1 | 8270 | 450 | 1.2667
253 | 347 | Highway Nine 69KV Bus #2 | 6780 | 881 | 1.2656
254 | 541 | Big Wells | 2630W | 234 | 1.265
255 | 249 | Port Aransas | 990CS | 565 | 1.2637
256 | 214 | Southside 69KV Bus #4 | 8055 | 1066 | 1.2608
257 | 413 | Arcadia 69KV Bus #1 | 5030 | 1892 | 1.2595
258 | 635 | Kleberg 138KV Bus #2 | 6410 | 370 | 1.2514
259 | 600 | Arcadia 69KV Bus #1 | 1400 | 559 | 1.2415
260 | 150 | Crestonio | 260 | 1449 | 1.2395
261 | 588 | Cabaniss | 75 | 968 | 1.2386
262 | 247 | Raymondville #2 | 3240 | 1040 | 1.2375
263 | 115 | Bay City | 1110CN | 974 | 1.232
264 | 418 | Placedo | 7980 | 407 | 1.226
265 | 336 | Alazan | 2740CS | 40 | 1.225
266 | 13 | Elsa | 700 | 1050 | 1.2076
267 | 199 | Bay City | 7480 | 2004 | 1.2036
268 | 269 | Del Rio City | 9850 | 767 | 1.2034
269 | 415 | Greenlake | 2740CN | 20 | 1.2
270 | 209 | Fulton Bank #1 | 440CS | 1581 | 1.1992
271 | 55 | Los Fresnos | 3280 | 1573 | 1.1977
272 | 144 | Mathis | 340CS | 1506 | 1.1932
273 | 260 | Ingleside City | 8050 | 1000 | 1.193
274 | 274 | Naval Base 69KV Bus #2 | 1380 | 1931 | 1.1906
275 | 446 | Buena Vista | 9035 | 858 | 1.19
276 | 442 | Buena Vista | 9385 | 1612 | 1.1886
277 | 439 | Stadium | 6950 | 610 | 1.1852
278 | 348 | North Victoria | 6390 | 1128 | 1.1817
279 | 103 | Bruni | 1100 | 659 | 1.1791
280 | 304 | Mathis | 2870 | 1000 | 1.177
281 | 445 | Kingsville | 1660 | 1459 | 1.1748
282 | 341 | Amistad Dam | 5450 | 922 | 1.1735
283 | 346 | Hearn Road | 8980 | 971 | 1.1648
284 | 371 | Cavazos | 3560 | 1166 | 1.1647
285 | 311 | Hearn Road | 8990 | 812 | 1.1638
286 | 422 | Matthews | 1740 | 39 | 1.1538
287 | 324 | Santo Nino | 80 | 500 | 1.152
288 | 272 | Carancahua | 5870CN | 277 | 1.1516
289 | 157 | Laredo Heights Bank #2 | 6810 | 2000 | 1.1455
290 | 267 | Gregory | 5900 | 97 | 1.134
291 | 597 | Zapata | 8290W | 2014 | 1.1316
292 | 496 | Asphalt Mines | 500 | 23 | 1.1304
293 | 403 | Columbus | 9060 | 547 | 1.117
294 | 136 | Aransas Pass 69KV Bus #2 | 8280 | 350 | 1.1143
295 | 112 | Laguna | 9590 | 2156 | 1.1141
296 | 288 | Holly | 1480 | 2319 | 1.1113
297 | 18 | Victoria Power Plant 69KV Bus #1 | 8170 | 740 | 1.1108
298 | 227 | Bay City | 2050 | 683 | 1.1098
299 | 454 | Crystal City | 190 | 985 | 1.1096
300 | 548 | Point Comfort | 6060 | 407 | 1.1081
301 | 424 | Woolridge | 1170 | 1416 | 1.1052
302 | 606 | Fulton Bank #1 | 2020CS | 1530 | 1.1039
303 | 73 | McColl Road | 4790 | 1397 | 1.1031
304 | 564 | Hearn Road | 2220 | 1604 | 1.1016
305 | 650 | STP Construction Substation | 1010 | 10 | 1.1
306 | 356 | Beeville | 8090 | 1281 | 1.0984
307 | 30 | Port Lavaca | 2490 | 675 | 1.0963
308 | 17 | Elsa | 3500 | 1066 | 1.0957
309 | 653 | Victoria Power Plant 69KV Bus #2 | 7600 | 222 | 1.0946
310 | 539 | West Harlingen | 4870 | 1949 | 1.0939
311 | 295 | Nixon | 2620 | 590 | 1.0932
312 | 398 | Luling LCRA | 20 | 354 | 1.0932
313 | 556 | Alice | 1780 | 1060 | 1.0906
314 | 557 | Clarkwood | 7220 | 707 | 1.0863
315 | 471 | Uvalde 138KV Bus | 5060 | 1600 | 1.0862
316 | 339 | Nordheim | 470 | 245 | 1.0857
317 | 8 | West McAllen | 4515 | 1307 | 1.0857
318 | 243 | Harlingen Switching Station | 4230 | 1511 | 1.0761
319 | 641 | Mustang Island | 9470 | 653 | 1.075
320 | 365 | Palacios | 8550 | 43 | 1.0698
321 | 511 | Cotulla | 90 | 593 | 1.0658
322 | 314 | Portland | 9370 | 1289 | 1.0628
323 | 440 | Magruder | 6700 | 1906 | 1.0561
324 | 118 | North Alamo | 4370 | 1861 | 1.0557
325 | 165 | South McAllen | 3850 | 965 | 1.0549
326 | 421 | Rocksprings | 2600 | 349 | 1.0544
327 | 645 | Rocksprings | 8040 | 300 | 1.0533
328 | 633 | Hidalgo | 3400 | 814 | 1.0528
329 | 252 | Brackettville | 8460 | 1143 | 1.0516
330 | 504 | Airline 69KV Bus #2 | 9390 | 1054 | 1.0488
331 | 158 | West Harlingen | 3800 | 2248 | 1.048
332 | 624 | Comstock | 290 | 191 | 1.0471
333 | 417 | Holly | 1370 | 2277 | 1.0452
334 | New | Pharr | 1640 | 200 | 1.045
335 | 41 | Aransas Pass 69KV Bus #2 | 9130 | 300 | 1.0433
336 | 224 | Holly | 7620 | 2525 | 1.0432
337 | 381 | Blessing | 8790 | 641 | 1.0421
338 | 419 | Southside 69KV Bus #3 | 5345 | 432 | 1.0417
339 | 569 | Holly | 1220 | 3284 | 1.0405
340 | 161 | Morris Street 138KV Bus #2 | 7465 | 1033 | 1.0368
341 | 244 | Los Fresnos | 3290 | 802 | 1.0324
342 | 340 | Weaver Road | 1900 | 105 | 1.0286
343 | 283 | Leary Lane | 1430 | 1184 | 1.0279
344 | 441 | Refugio | 1170CN | 1143 | 1.0201
345 | 625 | Conoco-Chittam Ranch | 8580 | 50 | 1.02
346 | 290 | Banquette | 740 | 175 | 1.0171
347 | 542 | Holly | 9675 | 3359 | 1.0125
348 | 516 | Highway Nine 69KV Bus #1 | 7200 | 957 | 1.0094
349 | 612 | Laredo Heights Bank #1 | 6820 | 1000 | 1.009
350 | 142 | South McAllen | 3640 | 1100 | 1.0082
351 | 327 | Nueces Bay Plant 69KV Bus #2 | 350 (Was 7765) | 790 | 1.0051
352 | 338 | Continental | 3650 | 37 | 1
353 | 543 | Airline 69KV Bus #2 | 2210 | 285 | 1
354 | 636 | Knippa | 6535 | 14 | 1
355 | 90 | Wadsworth | 8630 | 589 | 0.99321
356 | 147 | Live Oak | 1090 | 111 | 0.98198
357 | 228 | Falfurrias 138KV Bus | 5210 | 959 | 0.96142
358 | 554 | Premont | 6570 | 1397 | 0.92126
359 | 128 | Devine | 8100 | 1261 | 0.89532
360 | 167 | La Pryor | 570 | 90 | 0.88889
361 | 178 | Rodd Field | 3010 | 103 | 0.87379
362 | 573 | Anna Street | 900 | 1500 | 0.8625
363 | 42 | Mathis | 1410 | 152 | 0.86184
364 | 89 | West Oso | 9085 | 312 | 0.83333
365 | 99 | Cabaniss | 80 | 1102 | 0.83122
366 | 566 | Airline 69KV Bus #1 | 9030 | 328 | 0.82012
367 | 591 | Bruni | 5160 | 188 | 0.80319
368 | 397 | Malone | 7560 | 150 | 0.79333
369 | 1 | Freer | 1500 | 201 | 0.78607
370 | 578 | McKenzie Road | 140 | 116 | 0.78448
371 | 198 | Los Fresnos | 3200 | 1806 | 0.77962
372 | 412 | Palacios | 6830 | 903 | 0.77962
373 | 495 | Gregory | 8560 | 229 | 0.76856
374 | 360 | El Campo 138KV Bus | 6370 | 1228 | 0.76639
375 | 126 | Pueblo | 95 | 1289 | 0.76338
376 | 181 | Pharaoh | 1285 | 1215 | 0.7465
377 | 579 | Gateway | 380 | 500 | 0.738
378 | 171 | Stafford Hill | 1550 | 180 | 0.71667
379 | 503 | Charlotte | 2780 | 510 | 0.65294
380 | 189 | Raymondville #2 | 3170 | 543 | 0.64457
381 | 266 | San Diego | 2890 | 1000 | 0.624
382 | 500 | Charlotte | 8120 | 145 | 0.6069
383 | 517 | Asherton | 2670 | 152 | 0.59868
384 | 544 | Weil Tract (138/12KV) | 5405 | 145 | 0.58621
385 | 239 | Live Oak | 1070 | 1692 | 0.58511
386 | 191 | Skidmore | 600 | 352 | 0.57955
387 | 552 | La Grulla | 4120 | 728 | 0.57418
388 | 231 | Parker | 9010 | 14 | 0.57143
389 | 555 | Wesmer | 6900 | 1179 | 0.56489
390 | 478 | Portland | 9270 | 1047 | 0.53868
391 | 10 | Weslaco Unit | 8195 | 1752 | 0.52626
392 | 33 | Armstrong | 6050 | 48 | 0.52083
393 | 48 | North Victoria | 7860 | 1387 | 0.51839
394 | 562 | Aransas Pass 69KV Bus #1 | 590 | 150 | 0.51333
395 | 401 | Southside 69KV Bus #3 | 8025 | 622 | 0.50965
396 | 134 | Airline 69KV Bus #2 | 8370 | 367 | 0.50409
397 | 108 | Arcadia 69KV Bus #1 | 6930 | 1955 | 0.5023
398 | 135 | Weslaco Unit | 7455 | 1460 | 0.49589
399 | 163 | Live Oak | 1080 | 111 | 0.4955
400 | 259 | North Mercedes | 4860 | 1459 | 0.49006
401 | 120 | Fulton Bank #2 | 9050 | 980 | 0.48673
402 | 409 | Eagle Lake | 9455 | 547 | 0.46618
403 | 310 | Asherton | 2660 | 633 | 0.46603
404 | 465 | Southside 69KV Bus #3 | 8035 | 1147 | 0.4612
405 | 66 | Falfurrias 69KV Bus | 2830 | 1344 | 0.44345
406 | 387 | Southside 69KV Bus #1 | 7925 | 1195 | 0.44184
407 | 248 | Carrizo Springs | 860 | 1372 | 0.44023
408 | 307 | San Diego | 2880 | 1438 | 0.42559
409 | 463 | Alice | 2540 | 1045 | 0.42105
410 | 375 | Lytle | 2850 | 630 | 0.4127
411 | 525 | Southside 69KV Bus #2 | 8005 | 710 | 0.40986
412 | 530 | Uvalde 138KV Bus | 9770 | 1600 | 0.40937
413 | 352 | Uvalde 138KV Bus | 550 | 370 | 0.40811
414 | 432 | Beeville | 300CN | 1245 | 0.40723
415 | 218 | West Oso | 9095 | 2577 | 0.40667
416 | 384 | Wesmer | 4480 | 1946 | 0.39928
417 | 110 | Odem | 375 | 735 | 0.39592
418 | 364 | Pleasanton | 9505 | 1250 | 0.388
419 | 245 | Banquette | 9000 | 130 | 0.38462
420 | 372 | Arcadia 69KV Bus #1 | 1460 | 2491 | 0.38338
421 | 93 | Causeway | 4775 | 967 | 0.38263
422 | 219 | Sinton | 6860 | 1320 | 0.38106
423 | 658 | Three Rivers | 5100 | 40 | 0.375
424 | 85 | Kingsville | 1350 | 280 | 0.37143
425 | 572 | Fulton Bank #2 | 6070 | 1921 | 0.36648
426 | 298 | Loyola | 195 | 662 | 0.36556
427 | 190 | Eagle Lake | 310 | 828 | 0.36111
428 | 162 | Berclair | 990C | 243 | 0.35391
429 | 225 | Garwood City | 2560 | 204 | 0.34804
430 | 361 | Brookhollow | 8950 | 650 | 0.34615
431 | 382 | Ingleside City | 8060 | 800 | 0.345
432 | 423 | Hall Acres Road | 3670 | 981 | 0.34455
433 | 509 | North McAllen | 9660 | 574 | 0.34146
434 | 464 | Sinton | 1750 | 373 | 0.33512
435 | 291 | West Oso | 9090 | 1929 | 0.33459
436 | 362 | George West | 1320 | 593 | 0.33052
437 | 589 | Charlotte | 2790 | 170 | 0.32941
438 | 14 | Stadium | 7490 | 1350 | 0.32889
439 | 642 | Port Isabel Switching Station | 3760 | 800 | 0.325
440 | 315 | N. Edinburg 69KV Bus #2 | 3810 | 224 | 0.32143
441 | 520 | Kleberg 138KV Bus #1 | 1560 | 912 | 0.32018
442 | 450 | Southside 69KV Bus #2 | 7995 | 1483 | 0.31558
443 | 192 | Clarkwood | 9570 | 1187 | 0.31171
444 | 242 | Anna Street | 2250 | 1300 | 0.3
445 | 651 | University | 920 | 60 | 0.3
446 | 355 | Gateway | 390 | 1400 | 0.3
447 | 215 | Casa Blanca | 1300CS | 590 | 0.29796
448 | 486 | Yorktown | 8420 | 917 | 0.29662
449 | 205 | Rodd Field | 205 | 1089 | 0.2966
450 | 448 | Magruder | 245 | 640 | 0.29531
451 | 322 | Port Isabel Switching Station | 4070 | 493 | 0.29209
452 | 75 | Arcadia 69KV Bus #2 | 1440 | 1735 | 0.28415
453 | 302 | South Mission | 3620 | 3300 | 0.28121
454 | 54 | San Benito | 4030 | 1169 | 0.27973
455 | 331 | Haine Drive | 8065 | 1455 | 0.27629
456 | 329 | Laredo Plant | 9305 | 1800 | 0.27611
457 | 43 | Laredo Heights Bank #2 | 2450 | 2000 | 0.2755
458 | 647 | Santo Nino | 515 | 1500 | 0.27333
459 | 594 | Taft | 5230 | 744 | 0.27285
460 | 254 | Morris Street 138KV Bus #2 | 8820 | 1603 | 0.267
461 | 565 | Airline 69KV Bus #2 | 9605 | 562 | 0.26512
462 | 297 | Zapata | 7330 | 2139 | 0.2618
463 | 183 | Eagle Lake | 320CN | 692 | 0.26156
464 | 133 | South Mission | 5215 | 997 | 0.25677
465 | 481 | West McAllen | 4535 | 1810 | 0.25414
466 | 549 | East Harrison 69KV Bus #2 | 3190 | 1115 | 0.25112
467 | 405 | Runge | 7320 | 598 | 0.25084
468 | 526 | Moore Field | 3120 | 392 | 0.24745
469 | 285 | Kleberg 138KV Bus #1 | 280 | 1398 | 0.24464
470 | 623 | Bruni | 1120W | 86 | 0.24419
471 | 447 | Leary Lane | 7530 | 1553 | 0.24404
472 | 431 | Arcadia 69KV Bus #2 | 1360 | 1978 | 0.24216
473 | 485 | Airline 69KV Bus #1 | 8260 | 1039 | 0.23965
474 | 206 | Raymondville #2 | 1280 | 1698 | 0.23498
475 | 132 | Tatton | 8200 | 1514 | 0.23448
476 | 430 | Rodd Field | 1730 | 910 | 0.23297
477 | 292 | Freer | 2900 | 304 | 0.23026
478 | 536 | Laguna | 9065 | 1697 | 0.22864
479 | 373 | Portland | 6505 | 1563 | 0.22521
480 | 494 | Hall Acres Road | 3460 | 2344 | 0.2244
481 | 367 | Arcadia 69KV Bus #2 | 5020 | 1863 | 0.22276
482 | 232 | Kleberg 138KV Bus #2 | 6000 | 1552 | 0.22036
483 | 433 | Southside 69KV Bus #2 | 7955 | 979 | 0.21859
484 | 622 | Brookhollow | 7580 | 550 | 0.21818
485 | 386 | Arcadia 69KV Bus #2 | 8570 | 1440 | 0.21808
486 | 585 | Leary Lane | 6175 | 1051 | 0.21598
487 | 278 | Government Wells | 7240 | 247 | 0.21457
488 | 23 | Columbus | 930CN | 945 | 0.21164
489 | 404 | Airline 69KV Bus #2 | 6970 | 1066 | 0.20919
490 | 305 | East Harrison 69KV Bus #3 | 4360 | 1202 | 0.20549
491 | 468 | Highway Nine 69KV Bus #2 | 6770 | 1605 | 0.20187
492 | 105 | Bay City | 5960 | 1917 | 0.19979
493 | 658 | Skidmore | 380CS | 256 | 0.19922
494 | 476 | East Harrison 69KV Bus #1 | 3080 | 1068 | 0.1985
495 | 411 | George West | 730 | 721 | 0.19834
496 | 513 | Laredo Heights Bank #1 | 9400 | 1000 | 0.196
497 | 143 | Mathis | 1420 | 812 | 0.19458
498 | 559 | Rio Grande City | 3740 | 2481 | 0.19226
499 | 374 | Gregory | 5920 | 375 | 0.192
500 | 604 | Eagle Pass City | 7060 | 1120 | 0.19107
501 | 319 | Carrizo Springs | 370W | 278 | 0.19065
502 | 489 | Leary Lane | 1890 | 1396 | 0.19054
503 | 24 | Continental | 4080 | 162 | 0.18519
504 | 301 | Pharaoh | 5185 | 1993 | 0.18264
505 | 145 | Hamilton Road 138KV Bus #2 | 9655 | 654 | 0.18043
506 | 643 | Randado | 8350 | 89 | 0.17978
507 | 601 | Airline 69KV Bus #1 | 7390 | 1408 | 0.17898
508 | 282 | Harlingen | 360 | 1624 | 0.17549
509 | 257 | Uvalde 138KV Bus | 480 | 1610 | 0.17391
510 | 184 | Southside 69KV Bus #4 | 8045 | 1036 | 0.17278
511 | 434 | Seawall | 9420 | 1011 | 0.17112
512 | 607 | Hall Acres Road | 4895 | 1544 | 0.17034
513 | 16 | Weslaco Unit | 7630 | 1557 | 0.16956
514 | 357 | Karon Humble Pump | 9895 | 30 | 0.16667
515 | 506 | Alice | 1790 | 440 | 0.16591
516 | 574 | North Victoria | 2240 | 814 | 0.16216
517 | 137 | Crestonio | 6660 | 938 | 0.15991
518 | 300 | Mines Road | 3745 | 3500 | 0.15943
519 | 216 | Victoria Power Plant 69KV Bus #2 | 1390 | 1351 | 0.1584
520 | 86 | Edroy | 6990 | 230 | 0.15652
521 | 459 | Kleberg 138KV Bus #1 | 9395 | 1107 | 0.15628
522 | 270 | Weaver Road | 1910 | 264 | 0.1553
523 | 121 | North Victoria | 7440 | 2232 | 0.15457
524 | 522 | Naval Base 69KV Bus #2 | 8440 | 1289 | 0.15438
525 | 475 | Woolridge | 1120 | 1171 | 0.15371
526 | 595 | Rockport | 5930 | 1011 | 0.15134
527 | 568 | Pharaoh | 1185 | 1013 | 0.15104
528 | 460 | Magruder | 6690 | 544 | 0.15074
529 | 370 | Three Rivers | 5190 | 692 | 0.14595
530 | 349 | Hearn Road | 9665 | 1039 | 0.14533
531 | 268 | Arcadia 69KV Bus #1 | 1450 | 2548 | 0.14207
532 | 289 | Southside 69KV Bus #1 | 7905 | 2091 | 0.14204
533 | 194 | Buena Vista | 8965 | 882 | 0.14172
534 | 40 | Laredo Heights Bank #1 | 2100 | 2000 | 0.139
535 | 363 | North Victoria | 7770 | 999 | 0.13814
536 | 551 | Gateway | 350 | 1500 | 0.138
537 | 638 | Lolita | 6320CN | 29 | 0.13793
538 | 586 | Encinal | 2160 | 625 | 0.136
539 | 593 | Sabinal | 200 | 400 | 0.135
540 | 203 | Yorktown | 8380 | 831 | 0.13478
541 | 436 | Highway Nine 69KV Bus #2 | 6760 | 825 | 0.13333
542 | 175 | Kenedy S.S. 138KV Bus | 8340 | 702 | 0.13248
543 | 286 | Nueces Bay Plant 69KV Bus #2 | 345 (Was 7855) | 53 | 0.13208
544 | 560 | Kingsville | 1140 | 979 | 0.12972
545 | 380 | Harlingen Switching Station | 4110 | 751 | 0.12916
546 | New | Pharr | 1620 | 1622 | 0.12885
547 | 616 | Airline 69KV Bus #1 | 5870 | 799 | 0.12641
548 | 277 | Ingleside City | 7310 | 40 | 0.125
549 | 306 | Garwood City | 2570CN | 305 | 0.12459
550 | 614 | Cotulla | 110 | 1345 | 0.12416
551 | 407 | Kenedy S.S. 138KV Bus | 6750 | 877 | 0.12201
552 | 629 | East Harrison 69KV Bus #1 | 3000 | 1175 | 0.12085
553 | 237 | Ingleside City | 6040 | 800 | 0.12
554 | 122 | Dilley | 6400 | 970 | 0.11959
555 | 590 | South McAllen | 3935 | 1096 | 0.1177
556 | 312 | Polk Avenue | 4600 | 2009 | 0.11747
557 | 80 | Polk Avenue | 4170 | 1432 | 0.11662
558 | 410 | Parker | 9260 | 70 | 0.11429
559 | 576 | Highway Nine 69KV Bus #1 | 9830 | 106 | 0.11321
560 | 592 | Highway Nine 69KV Bus #1 | 6730 | 380 | 0.11316
561 | 273 | Premont | 2720 | 928 | 0.11099
562 | 11 | Blessing | 1030 | 146 | 0.10274
563 | 21 | West McAllen | 4595 | 894 | 0.10067
564 | 124 | Morris Street 138KV Bus #2 | 5655 | 1577 | 0.099556
565 | 453 | Cabaniss | 240 | 1788 | 0.098434
566 | 151 | Polk Avenue | 4180 | 2743 | 0.098432
567 | 378 | Uvalde 138KV Bus | 540 | 800 | 0.095
568 | 488 | Roma | 3060 | 2064 | 0.094477
569 | 60 | Goodwin | 3530 | 1296 | 0.094136
570 | 617 | Airline 69KV Bus #1 | 8890 | 411 | 0.092457
571 | 425 | Polk Avenue | 4740 | 1282 | 0.092044
572 | 584 | Hidalgo | 4845 | 438 | 0.091324
573 | 238 | Markham | 6440CN | 460 | 0.08913
574 | 63 | Eagle Pass Hydro | 1340 | 180 | 0.088889
575 | 620 | Aransas Pass 69KV Bus #1 | 650 | 250 | 0.088
576 | 303 | Santo Nino | 75 | 1800 | 0.087778
577 | 287 | Del Mar | 3440 | 2500 | 0.0868
578 | 293 | North Weslaco | 4810 | 1460 | 0.085616
579 | 477 | Highway Nine 69KV Bus #1 | 7210 | 1069 | 0.085126
580 | 492 | Seawall | 9325 | 1514 | 0.084544
581 | 493 | Campwood | 3430W | 383 | 0.083551
582 | 639 | McKenzie Road | 150 | 12 | 0.083333
583 | 333 | Del Mar | 490 | 1500 | 0.083333
584 | 615 | Roma | 3070S | 2068 | 0.081238
585 | 491 | Polk Avenue | 4610 | 2029 | 0.080828
586 | 275 | Del Rio City | 440W | 1621 | 0.078347
587 | 537 | East Harrison 69KV Bus #2 | 4620 | 1285 | 0.077043
588 | 546 | Beeville | 8510CN | 979 | 0.075587
589 | 343 | Thomaston | 9580 | 53 | 0.075472
590 | 64 | Kenedy S.S. 69KV Bus | 8320 | 583 | 0.075472
591 | 553 | South Mission | 3590 | 2295 | 0.075381
592 | 563 | Clarkwood | 7610 | 226 | 0.075221
593 | New | Jourdanton | 250 | 650 | 0.073846
594 | 261 | North Victoria | 1470 | 542 | 0.071956
595 | 318 | South Mission | 4650 | 1618 | 0.071693
596 | 619 | Anna Street | 850 | 1400 | 0.07
597 | 523 | San Benito | 3920 | 1981 | 0.068147
598 | 253 | Fulton Bank #2 | 3070CS | 1800 | 0.066111
599 | 325 | Del Mar | 10 | 4700 | 0.065319
600 | 154 | Freer | 6320W | 171 | 0.064327
601 | 117 | Jourdanton | 880 | 345 | 0.063768
602 | 125 | Beeville | 2200 | 802 | 0.063591
603 | 308 | Freer | 5200 | 1245 | 0.062651
604 | 328 | Washington Street 69KV Bus #3 | 6355 | 800 | 0.0625
605 | 69 | South East Edinburg | 4570 | 1538 | 0.061769
606 | 515 | Port Lavaca | 6850 | 680 | 0.060294
607 | 610 | Laredo Plant | 8565 | 480 | 0.059524
608 | 535 | Pharaoh | 5175 | 1110 | 0.059459
609 | 581 | Rio Rico | 8290 | 1217 | 0.059162
610 | New | Pharr | 1645 | 712 | 0.058989
611 | 644 | Robstown | 7120 | 120 | 0.058333
612 | 109 | Morris Street 138KV Bus #2 | 8840 | 1036 | 0.055985
613 | 583 | Hall Acres Road | 9595 | 574 | 0.055749
614 | 611 | Gregory | 420CS | 668 | 0.055389
615 | 514 | East Harrison 69KV Bus #1 | 3030 | 975 | 0.055385
616 | 582 | Harlingen | 370 | 1784 | 0.053251
617 | 456 | Anna Street | 780 | 1000 | 0.053
618 | 656 | Washington Street 69KV Bus #2 | 2360 | 700 | 0.052857
619 | 575 | Del Mar | 7930 | 2500 | 0.052
620 | 627 | Darst | 820 | 141 | 0.049645
621 | 502 | Edna | 5775 | 870 | 0.049425
622 | 498 | Sabinal | 485 | 477 | 0.048218
623 | 519 | North Weslaco | 4830 | 1243 | 0.047466
624 | 587 | La Grulla | 5005 | 1257 | 0.046937
625 | 462 | Leary Lane | 1540 | 1107 | 0.04607
626 | 602 | Eagle Pass City | 2745 | 2150 | 0.045581
627 | 50 | Kenedy | 6270 | 1046 | 0.043977
628 | 32 | Mustang Island | 8510CS | 47 | 0.042553
629 | 160 | Polk Avenue | 4520 | 1974 | 0.042047
630 | 567 | Weil Tract (138/12KV) | 1990 | 1003 | 0.040877
631 | 20 | Stadium | 7800 | 925 | 0.038919
632 | 76 | West McAllen | 6385 | 1448 | 0.038674
633 | 507 | Beeville | 2380 | 950 | 0.036842
634 | 540 | Laredo Plant | 8745 | 1000 | 0.036
635 | 528 | Brookhollow | 8960 | 700 | 0.035714
636 | 561 | North McAllen | 9640 | 2579 | 0.035285
637 | 323 | Brookhollow | 7190 | 500 | 0.034
638 | 342 | Morris Street 138KV Bus #1 | 8850 | 692 | 0.033237
639 | 640 | Morris Street Network | NET CC | 430 | 0.030233
640 | 159 | Falfurrias 138KV Bus | 1070W | 881 | 0.027242
641 | 83 | Laredo Heights Bank #2 | 9080 | 1000 | 0.027
642 | 618 | Anna Street | 5780 | 1500 | 0.026
643 | 605 | Airline 69KV Bus #1 | 7270 | 985 | 0.017259
644 | 603 | South Mission | 3940 | 2187 | 0.016918
645 | 628 | Eagle Pass City | 2510 | 750 | 0.016
646 | 497 | Point Comfort | 2460 | 330 | 0.015152
647 | 484 | Leary Lane | 6005 | 898 | 0.013363
648 | 637 | Laredo Plant | 8705 | 1000 | 0.013
649 | 233 | Morris Street 138KV Bus #1 | 2515 | 733 | 0.012278
650 | 652 | University | 930 | 100 | 0.01
651 | 634 | Kenedy | 1960 | 241 | 0.0082988
652 | 391 | West McAllen | 4815 | 136 | 0.0073529
653 | 164 | San Benito | 3860 | 1164 | 0.0060137
654 | 577 | Laredo Plant | 8505 | 1000 | 0.005
655 | 599 | Eagle Pass City | 450 | 1625 | 0.00061538
656 | New | Milo | 3060 | 1070 | 0
657 | New | Casa Blanca | 5115 | 1167 | 0
658 | 632 | Haine Drive | 9240 | 1290 | 0
659 | 649 | Southside 69KV Bus #1 | 7935 | 43 | 0
660 | 654 | Victoria Power Plant Network | NET VIC | 192 | 0
661 | 222 | Airline 69KV Bus #1 | 2180 | 12 | 0
662 | 655 | Washington Street 69KV Bus #1 | NET LAR | 500 | 0
663 | 631 | Foster Field | 8880 | 204 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 663
Add or Delete Rows as Necessary
AEP Central Power & Light
2000 SAIDI Ranking | 1999 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIDI Value
1 | 113 | San Ygnacio | 16060 | 11 | 1131.7273
2 | 15 | Alazan | 620CS | 222 | 1019.964
3 | 269 | Rachal | 6595 | 474 | 1010.4156
4 | 4 | Elsa | 710 | 563 | 811.4618
5 | 312 | Prairie Pump | 1940 | 38 | 795.9211
6 | 69 | Darst | 800 | 161 | 773.5342
7 | 487 | Rocksprings | 2600 | 349 | 706.9628
8 | 645 | Rocksprings | 8040 | 300 | 705.25
9 | 53 | Nixon | 5990 | 524 | 656.5401
10 | 626 | Darst | 790 | 80 | 628.5375
11 | 23 | Malone | 7550 | 144 | 562.2083
12 | 39 | Taft | 1260 | 85 | 545.2706
13 | 306 | Luling LCRA | 10CN | 167 | 511.4012
14 | 43 | Bruni | 5440 | 44 | 472
15 | 144 | Raymondville #1 | 630 | 761 | 450.0105
16 | 109 | McColl Road | 4400 | 793 | 440.7579
17 | New | Nueces Bay Plant 69KV Bus #1 | 7825 | 904 | 422.4212
18 | 266 | Big Wells | 1570 | 478 | 407.2573
19 | 624 | Comstock | 290 | 191 | 403.4712
20 | 621 | Bandera Electric (Leakey) | L30 | 373 | 393.2708
21 | New | Milo | 3065 | 350 | 391.6057
22 | 34 | Bishop | 2690 | 779 | 389.0565
23 | 195 | Continental | 4880 | 227 | 385.6696
24 | 376 | Brownsville | 3050 | 1766 | 379.0345
25 | 235 | Cavazos | 3550 | 633 | 366.782
26 | 259 | Refugio | 5120 | 23 | 362.2609
27 | 302 | Sharyland | 2010 | 954 | 341.7977
28 | 247 | Rockport | 5940 | 113 | 336.0619
29 | 14 | Rangerville | 3410 | 712 | 335.6025
30 | 83 | Aransas Pass 69KV Bus #2 | 1250 | 300 | 333.88
31 | 159 | North Mercedes | 3840 | 720 | 331.9764
32 | 163 | Palmhurst | 3890 | 609 | 327.6026
33 | 10 | Kenedy | 1970 | 140 | 316.7286
34 | 658 | Normanna CST | 840 | 10 | 316.6
35 | 275 | Los Fresnos | 930S | 836 | 312.3493
36 | 391 | Palmview | 3930 | 628 | 310.9092
37 | 598 | Port Aransas | 1000 | 897 | 310.7168
38 | 112 | Santa Rosa | 4040 | 1362 | 308.1535
39 | 515 | La Pryor | 580 | 153 | 294.3137
40 | 127 | Pettus | 8210 | 455 | 293.2923
41 | 18 | Moore Field | 3960 | 891 | 290.982
42 | 600 | Sinton | 360CS | 277 | 289.509
43 | 122 | Clarkwood | 5525 | 470 | 289.0489
44 | 72 | Eagle Pass City | 2770 | 1475 | 288.2732
45 | 220 | Edna | 5765 | 1100 | 280.0809
46 | 466 | Loyola | 120CS | 698 | 278.0573
47 | 395 | Harlingen Switching Station | 320 | 519 | 274.3622
48 | 29 | Palmhurst | 2820 | 1979 | 271.0045
49 | 509 | Pleasanton | 120W | 1175 | 270.8834
50 | 118 | San Benito | 4135 | 653 | 270.2925
51 | 234 | Zapata | 2710 | 41 | 268.5854
52 | 222 | Highway Nine 69KV Bus #2 | 6780 | 881 | 263.9455
53 | 100 | Carrizo Springs | 910 | 1584 | 262.863
54 | 273 | Blessing | 8780 | 76 | 258.1974
55 | 296 | North Padre Island | 5170 | 2713 | 258.0361
56 | 121 | Uvalde 138KV Bus | 6620 | 1500 | 257.2067
57 | 261 | Port Lavaca | 8310 | 230 | 255.6522
58 | 50 | N. Edinburg 69KV Bus #2 | 560 | 414 | 254.7343
59 | 123 | La Pryor | 2440 | 562 | 248.516
60 | New | San Diego | 2930 | 600 | 244.6233
61 | 425 | Aransas Pass 69KV Bus #1 | 8270 | 450 | 240.12
62 | 6 | Raymondville #2 | 3250 | 40 | 239.6
63 | 108 | Laredo Plant | 8695 | 800 | 237.96
64 | 215 | Port Aransas | 990CS | 565 | 237.4566
65 | 507 | Government Wells | 6800 | 228 | 231.4518
66 | 33 | Clarkwood | 7230 | 135 | 229.8593
67 | 21 | Bishop | 7180 | 1005 | 227.0816
68 | 309 | Jourdanton | 5685 | 630 | 226.7397
69 | 362 | Pettus | 1020 | 336 | 226.6726
70 | 348 | North McAllen | 2980 | 1629 | 222.3831
71 | 154 | Los Fresnos | 3290 | 802 | 221.4514
72 | 307 | Sharyland | 2035 | 1482 | 219.7375
73 | 240 | Goliad | 6540 | 886 | 219.6185
74 | 1 | Tatton | 8490 | 130 | 219.3615
75 | 286 | McColl Road | 2810 | 1447 | 219.1997
76 | 346 | Casa Blanca | 55 | 357 | 216.1244
77 | 419 | Polk Avenue | 4900 | 1464 | 216.0806
78 | 455 | South Padre Island | 4695 | 3079 | 211.7324
79 | 251 | Causeway | 4795 | 1496 | 211.0201
80 | 102 | Wesmer | 4050 | 1557 | 211.0173
81 | 404 | San Benito | 4945 | 745 | 205.7987
82 | 7 | Elsa | 690 | 1703 | 203.195
83 | 137 | La Pryor | 570 | 90 | 201.5
84 | 74 | Washington Street 69KV Bus #3 | 6525 | 2000 | 200.8255
85 | 321 | Palacios | 8550 | 43 | 200.6744
86 | 459 | North Alamo | 3580 | 297 | 200.4041
87 | 32 | Haine Drive | 270 | 870 | 199.8496
88 | 271 | South Padre Island | 5850 | 880 | 198.2307
89 | 252 | North McAllen | 2750 | 1849 | 195.0822
90 | 304 | East Harrison 69KV Bus #2 | 3950 | 301 | 194.8306
91 | 129 | Naval Base 69KV Bus #2 | 6330 | 262 | 194.4313
92 | 243 | Moore Field | 3110 | 1277 | 193.8912
93 | 449 | Asphalt Mines | 500 | 23 | 193.1304
94 | 484 | Charlotte | 2780 | 510 | 192.5235
95 | 650 | STP Construction Substation | 1010 | 10 | 190.2
96 | 42 | Randado | 8360 | 193 | 188.8394
97 | 316 | Harlingen | 660 | 1511 | 188.589
98 | 609 | Goodwin | 4380 | 810 | 188.5753
99 | 2 | Elsa | 700 | 1050 | 184.4571
100 | 73 | Crestonio | 260 | 1449 | 184.0545
101 | 429 | Hall Acres Road | 5585 | 574 | 180.7439
102 | 512 | Goodwin | 4625 | 1048 | 180.1698
103 | 207 | South East Edinburg | 6580 | 2233 | 178.6462
104 | 184 | Ganado | 5815 | 550 | 177.86
105 | 89 | Kingsville | 1130 | 1684 | 177.4323
106 | 502 | Brownsville | 4280 | 1045 | 177.2316
107 | 59 | Dilley | 510 | 440 | 177
108 | 615 | Laredo Heights Bank #1 | 6820 | 1000 | 176.668
109 | 79 | McColl Road | 4780 | 1697 | 175.9994
110 | 231 | Del Rio City | 9790 | 2861 | 175.9151
111 | 432 | La Grulla | 5110 | 992 | 174.3942
112 | 298 | Rio Bravo | 300W | 862 | 173.0526
113 | 295 | Stadium | 7810 | 1310 | 171.4412
114 | 149 | Devine | 8100 | 1261 | 171.2958
115 | 167 | Mathis | 2870 | 1000 | 166.035
116 | 225 | West McAllen | 4965 | 709 | 165.5247
117 | 279 | McColl Road | 4910 | 1358 | 164.9006
118 | 284 | Port Lavaca | 2480CN | 750 | 164.2627
119 | 555 | Three Rivers | 2580 | 110 | 164.2091
120 | 439 | Rio Grande City | 3220 | 1379 | 162.198
121 | 104 | Robstown | 1650 | 58 | 161.4655
122 | 389 | Palmhurst | 1300 | 842 | 161.4454
123 | 514 | Stadium | 8540 | 1795 | 160.9504
124 | 550 | Pleasanton | 9475 | 1650 | 160.0685
125 | 657 | Washington Street 69KV Bus #2 | 2470 | 600 | 159.7867
126 | 106 | Woolridge | 1110 | 1057 | 157.7455
127 | 599 | Fulton Bank #1 | 2020CS | 1530 | 156.4255
128 | 270 | Pearsall | 5580 | 1906 | 154.138
129 | 614 | Rio Grande City | 3210 | 1205 | 153.5411
130 | 564 | Brownsville | 4290 | 2358 | 152.8291
131 | 486 | Weil Tract (138/12KV) | 2520 | 294 | 152.2687
132 | 3 | Elsa | 3500 | 1066 | 152.1895
133 | 495 | Crestonio | 270W | 599 | 151.7746
134 | 278 | Falfurrias 138KV Bus | 5210 | 959 | 149.9301
135 | 473 | Pearsall | 9905 | 180 | 149.3444
136 | 535 | Zapata | 8290W | 2014 | 148.7344
137 | 513 | North McAllen | 4995 | 2267 | 148.3277
138 | 544 | Uvalde 138KV Bus | 5060 | 1600 | 148.3019
139 | 97 | Rangerville | 4060 | 446 | 148.1211
140 | 393 | Palmview | 9680 | 726 | 148.0661
141 | 185 | Alazan | 2740CS | 40 | 146.575
142 | 124 | Weslaco Unit | 8610 | 1863 | 145.8824
143 | 76 | Placedo | 7970 | 387 | 143.6021
144 | 324 | Port Isabel Switching Station | 3820 | 440 | 143.3977
145 | 213 | Aransas Pass 69KV Bus #2 | 660CS | 350 | 143.2343
146 | 30 | O'Conner | 390CN | 120 | 142.7
147 | 55 | Goodwin | 4390 | 810 | 142.5753
148 | 454 | West Harlingen | 3700 | 1267 | 141.2423
149 | 581 | Beeville | 490CN | 1020 | 139.6088
150 | 206 | North Mercedes | 3770 | 1460 | 139.5507
151 | 468 | Airline 69KV Bus #1 | 9030 | 328 | 138.4756
152 | 387 | Wadsworth | 7660 | 1119 | 137.7033
153 | 377 | Luling LCRA | 20 | 354 | 137.0734
154 | 536 | Premont | 6570 | 1397 | 136.6206
155 | 547 | Washington Street 69KV Bus #3 | 7015 | 1500 | 135.974
156 | 40 | North Padre Island | 7900 | 1100 | 135.7327
157 | 36 | Causeway | 4775 | 967 | 135.4292
158 | 38 | N. Edinburg 69KV Bus #1 | 3570 | 437 | 134.6476
159 | 80 | Nixon | 810 | 543 | 134.4899
160 | 291 | San Diego | 1980 | 650 | 134.0031
161 | 263 | Carancahua | 5870CN | 277 | 133.5596
162 | 156 | Eagle Pass City | 2650 | 2950 | 133.302
163 | 157 | Campwood | 2610 | 880 | 133.2091
164 | 538 | Crystal City | 330W | 920 | 133.0033
165 | 111 | Rodd Field | 3010 | 103 | 132.9417
166 | 386 | Greenlake | 2750CN | 840 | 132.6048
167 | 433 | Mines Road | 3680 | 700 | 132.4074
168 | 51 | Devine | 7090 | 901 | 132.2908
169 | 245 | Three Rivers | 8430 | 141 | 132.156
170 | 345 | Greenlake | 2740CN | 20 | 131.25
171 | 199 | Sharyland | 2150 | 1296 | 131.2369
172 | 138 | Columbus | 6180 | 876 | 130.8733
173 | 27 | Alice | 2530 | 900 | 130.8667
174 | 78 | Magruder | 7870 | 1283 | 130.5674
175 | 246 | Southside 69KV Bus #4 | 5335 | 948 | 130.0359
176 | 636 | Knippa | 6535 | 14 | 130
177 | 349 | Morris Street 138KV Bus #1 | 7625 | 829 | 129.9312
178 | 606 | Banquette | 130CS | 540 | 129.8778
179 | 398 | Pueblo | 275 | 1100 | 129.4827
180 | 99 | Pleasanton | 2080 | 1305 | 129.0828
181 | 242 | El Campo 69KV Bus | 5745 | 1080 | 128.8965
182 | 58 | Markham | 5550 | 85 | 123.8353
183 | 633 | Hidalgo | 3400 | 814 | 123.4484
184 | 658 | Woodsboro | 8330CS | 1095 | 123.3662
185 | 534 | Airline 69KV Bus #2 | 7280 | 632 | 122.5
186 | 262 | Harlingen Switching Station | 4090 | 1013 | 121.9092
187 | 103 | Maverick | 9680W | 580 | 121.6034
188 | 300 | Del Rio City | 430 | 2244 | 120.4782
189 | 94 | Morris Street 138KV Bus #1 | 8830 | 2101 | 120.1223
190 | 335 | Placedo | 7980 | 407 | 119.9238
191 | 24 | Mathis | 1410 | 152 | 117.4342
192 | 130 | Laguna | 9590 | 2156 | 117.4272
193 | 399 | West McAllen | 4505 | 1886 | 117.4199
194 | 511 | East Harrison 69KV Bus #3 | 4310 | 977 | 116.4012
195 | 533 | Government Wells | 7250 | 324 | 114.4815
196 | 658 | Bonnieview | 8020BO | 407 | 112.7862
197 | 592 | Magruder | 6680 | 646 | 112.6254
198 | 22 | Foster Field | 2550 | 118 | 112.4153
199 | 26 | Refugio | 1210 | 333 | 112.3814
200 | 272 | Seawall | 9450 | 155 | 111.2129
201 | 400 | Airline 69KV Bus #2 | 2210 | 285 | 111
202 | 417 | Ganado | 5795 | 689 | 110.6168
203 | 90 | Odem | 385 | 262 | 110.4008
204 | 444 | South Padre Island | 6440 | 1584 | 110.1465
205 | 641 | Mustang Island | 9470 | 653 | 110.0245
206 | 142 | Harlingen | 380 | 1216 | 108.7188
207 | 318 | Bay City | 6670 | 1845 | 106.7848
208 | 98 | Raymondville #1 | 620S | 613 | 106.4209
209 | 422 | Hall Acres Road | 3670 | 981 | 106.2253
210 | 320 | Taft | 1180 | 928 | 106.1498
211 | 383 | North Victoria | 7430 | 524 | 105.9656
212 | 453 | Santa Rosa | 3430 | 1454 | 105.8253
213 | 625 | Conoco-Chittam Ranch | 8580 | 50 | 104.9
214 | 571 | Kleberg 138KV Bus #2 | 8140 | 172 | 104.8597
215 | 60 | Wadsworth | 8630 | 589 | 104.837
216 | 96 | Rangerville | 7750 | 625 | 104.5616
217 | 61 | South East Edinburg | 4015 | 1302 | 104.4308
218 | 125 | Weaver Road | 1900 | 105 | 104.2476
219 | 202 | South McAllen | 3790 | 1916 | 103.9504
220 | 658 | Zapata | 8300 | 30 | 103.6
221 | 436 | Magruder | 7690 | 907 | 103.3925
222 | 287 | Bay City | 6450 | 1072 | 103.2332
223 | 369 | Arcadia 69KV Bus #1 | 5030 | 1892 | 103.0597
224 | 431 | North Victoria | 1580 | 1077 | 102.9396
225 | 265 | Victoria Power Plant 69KV Bus #1 | 8070 | 444 | 102.2365
226 | 152 | North Alamo | 4370 | 1861 | 101.9016
227 | 254 | West McAllen | 4555 | 1521 | 101.4583
228 | 339 | Los Fresnos | 3200 | 1806 | 101.2735
229 | 289 | Sharyland | 2020 | 1867 | 101.203
230 | New | Pharr | 1625 | 515 | 100.8811
231 | 518 | Jourdanton | 5695 | 1030 | 100.7437
232 | 359 | Port Aransas | 6940 | 900 | 100.4122
233 | 12 | Freer | 1500 | 201 | 100.1393
234 | 126 | Santa Rosa | 3270 | 1045 | 99.2632
235 | 450 | Polk Avenue | 4190 | 1901 | 99.1741
236 | 119 | Crystal City | 140W | 1630 | 98.6301
237 | New | Pharr | 1640 | 200 | 98.505
238 | 20 | Rio Bravo | 5 | 1000 | 96.9551
239 | 218 | Laredo Heights Bank #2 | 2390 | 1000 | 95.35
240 | 343 | Malone | 7560 | 150 | 94.7067
241 | 379 | Portland | 9290 | 1007 | 94.6296
242 | 499 | Hall Acres Road | 5465 | 958 | 94.6263
243 | 370 | Blessing | 8790 | 641 | 93.5242
244 | 587 | Gateway | 380 | 500 | 93.444
245 | 525 | Holly | 1950 | 1109 | 93.4184
246 | 593 | McKenzie Road | 140 | 116 | 92.2414
247 | 226 | South Mission | 3980 | 4020 | 92.1152
248 | 65 | West Oso | 9085 | 312 | 92.0288
249 | 253 | Rio Rico | 8330 | 1752 | 90.5691
250 | 413 | Palacios | 6830 | 903 | 90.0587
251 | 553 | Big Wells | 2630W | 234 | 90.0556
252 | 35 | Devine | 7100 | 850 | 89.2118
253 | 607 | Arcadia 69KV Bus #1 | 1400 | 559 | 89
254 | 485 | McKenzie Road | 330 | 1726 | 88.69
255 | 434 | Matthews | 1740 | 39 | 88.6667
256 | 353 | Greta | 7890 | 304 | 88.5888
257 | 356 | Falfurrias 69KV Bus | 1080W | 419 | 88.5823
258 | 214 | Cabaniss | 80 | 1102 | 88.4637
259 | 128 | North McAllen | 3830 | 2024 | 88.4289
260 | 448 | Highway Nine 69KV Bus #1 | 6720 | 1407 | 87.7171
261 | 224 | Hamilton Road 138KV Bus #2 | 9665W | 322 | 87.5186
262 | 488 | Alice | 1770 | 1180 | 87.2254
263 | 204 | Pharaoh | 1285 | 1215 | 86.1251
264 | 82 | North Victoria | 6390 | 1128 | 85.8094
265 | 165 | Airline 69KV Bus #2 | 8370 | 367 | 85.7575
266 | 421 | N. Edinburg 69KV Bus #1 | 4240 | 600 | 85.7117
267 | 530 | Hearn Road | 870 | 982 | 85.554
268 | 147 | Santo Nino | 645 | 1500 | 84.1607
269 | 572 | La Grulla | 4120 | 728 | 83.1745
270 | 63 | Freer | 2900 | 304 | 83.0033
271 | 85 | Premont | 2730 | 213 | 82.8404
272 | 210 | North Alamo | 3610 | 1168 | 82.535
273 | 173 | Port Aransas | 3030CS | 600 | 82.055
274 | 308 | Fulton Bank #1 | 440CS | 1581 | 81.4029
275 | 367 | Santo Nino | 80 | 500 | 81.14
276 | 560 | Haine Drive | 9690 | 1023 | 80.8974
277 | 440 | Three Rivers | 2010CN | 753 | 80.5498
278 | 498 | Gregory | 8560 | 229 | 80.5197
279 | 565 | Anna Street | 900 | 1500 | 78.865
280 | 465 | Hidalgo | 3680 | 889 | 78.5062
281 | 461 | North McAllen | 9660 | 574 | 78.4564
282 | 132 | Knippa | 6365 | 274 | 78.3577
283 | 236 | Naval Base 69KV Bus #2 | 1380 | 1931 | 77.3169
284 | 388 | El Campo 138KV Bus | 6370 | 1228 | 76.1393
285 | 267 | Continental | 3650 | 37 | 76
286 | 569 | Alice | 1780 | 1060 | 75.9868
287 | 91 | Pueblo | 95 | 1289 | 75.7556
288 | 410 | Raymondville #2 | 4160 | 774 | 75.584
289 | 57 | Raymondville #2 | 3170 | 543 | 75.5157
290 | 86 | Wesmer | 9705 | 1168 | 74.9872
291 | 441 | Charlotte | 8120 | 145 | 74.0276
292 | 409 | El Campo 138KV Bus | 2800 | 1763 | 73.1826
293 | 506 | Rodd Field | 2190 | 610 | 73.0049
294 | 570 | Point Comfort | 6060 | 407 | 72.8796
295 | 380 | Hamilton Road 138KV Bus #1 | 9645 | 304 | 72.8289
296 | 293 | Holly | 7740 | 2812 | 72.734
297 | 635 | Kleberg 138KV Bus #2 | 6410 | 370 | 72.3865
298 | 382 | Live Oak | 1070 | 1692 | 72.1554
299 | 168 | Gregory | 5900 | 97 | 71.4948
300 | 371 | Greenlake | 2760 | 675 | 71.4652
301 | 313 | Pueblo | 130W | 1050 | 70.6733
302 | 589 | Bruni | 5160 | 188 | 70.0745
303 | 344 | Del Rio City | 420W | 1904 | 69.6581
304 | 437 | Southside 69KV Bus #2 | 7995 | 1483 | 69.6278
305 | 256 | Causeway | 4765 | 1100 | 69.3691
306 | 81 | Los Fresnos | 3280 | 1573 | 68.684
307 | 160 | Southside 69KV Bus #4 | 8055 | 1066 | 68.6182
308 | 8 | Armstrong | 6050 | 48 | 66.8125
309 | 155 | Leary Lane | 1430 | 1184 | 66.7965
310 | 203 | Bruni | 1100 | 659 | 66.7329
311 | 162 | Fulton Bank #2 | 9050 | 980 | 66.4592
312 | 158 | South McAllen | 3640 | 1100 | 65.9945
313 | 435 | Woolridge | 1170 | 1416 | 65.5282
314 | 482 | Buena Vista | 9385 | 1612 | 64.6402
315 | 62 | Morris Street 138KV Bus #2 | 8715 | 2294 | 64.3426
316 | 423 | Columbus | 9060 | 547 | 63.479
317 | 481 | Southside 69KV Bus #3 | 8035 | 1147 | 62.2371
318 | 107 | Brackettville | 8460 | 1143 | 61.9545
319 | 200 | Arcadia 69KV Bus #1 | 6930 | 1955 | 61.8936
320 | 546 | Weslaco Unit | 9805 | 1460 | 61.8493
321 | 178 | Weslaco Unit | 8195 | 1752 | 61.6712
322 | 146 | Skidmore | 600 | 352 | 60.5653
323 | 355 | Nixon | 2620 | 590 | 60.4169
324 | 114 | San Diego | 2880 | 1438 | 60.4089
325 | 460 | Edroy | 6980 | 354 | 59.6949
326 | 590 | Charlotte | 2790 | 170 | 59.6
327 | 25 | Victoria Power Plant 69KV Bus #1 | 8170 | 740 | 59.3878
328 | 478 | Stadium | 6950 | 610 | 58.5951
329 | 67 | San Benito | 3910 | 1806 | 58.51
330 | 522 | Moore Field | 3120 | 392 | 58.2219
331 | 277 | Bay City | 7480 | 2004 | 57.2056
332 | 558 | Airline 69KV Bus #2 | 9605 | 562 | 57.0854
333 | 397 | El Campo 69KV Bus | 7260 | 723 | 56.6673
334 | 192 | Live Oak | 1080 | 111 | 56.2432
335 | 274 | North Mercedes | 4860 | 1459 | 55.9486
336 | 358 | Southside 69KV Bus #3 | 8025 | 622 | 55.4711
337 | 182 | Parker | 9010 | 14 | 55.3571
338 | 452 | N. Edinburg 69KV Bus #2 | 3810 | 224 | 55.2857
339 | 331 | Edna | 5785 | 457 | 54.9431
340 | 248 | Pearsall | 7050 | 1334 | 54.8223
341 | 44 | West McAllen | 4515 | 1307 | 54.3726
342 | 148 | Banquette | 9000 | 130 | 53.8462
343 | 164 | Refugio | 1040 | 566 | 53.6025
344 | 139 | West Harlingen | 3720 | 1595 | 53.489
345 | 350 | Ingleside City | 8050 | 1000 | 53.236
346 | 490 | Portland | 9270 | 1047 | 52.9895
347 | 416 | Crystal City | 190 | 985 | 52.6721
348 | 381 | Rockport | 5950 | 434 | 52.5829
349 | 110 | San Diego | 2890 | 1000 | 52.549
350 | 201 | Stafford Hill | 1550 | 180 | 52.4167
351 | 402 | Amistad Dam | 5450 | 922 | 52.3015
352 | 299 | Laredo Plant | 9305 | 1800 | 52.2961
353 | 188 | Bay City | 1110CN | 974 | 51.7084
354 | 354 | Cavazos | 3560 | 1166 | 50.8182
355 | 374 | Nordheim | 470 | 245 | 50.2857
356 | 477 | Kingsville | 1660 | 1459 | 49.6477
357 | 573 | Cabaniss | 75 | 968 | 49.6033
358 | 135 | Goliad | 8220 | 1057 | 48.3453
359 | 41 | South East Edinburg | 4550 | 1721 | 48.2435
360 | 229 | Haine Drive | 8065 | 1455 | 48.2069
361 | 216 | El Campo 69KV Bus | 2860 | 487 | 47.8946
362 | 249 | Port Isabel Switching Station | 4070 | 493 | 47.6775
363 | 11 | Weslaco Unit | 5970 | 1752 | 47.6632
364 | 390 | Santo Nino | 70 | 1500 | 47.662
365 | 414 | Pleasanton | 9505 | 1250 | 47.5896
366 | 70 | Live Oak | 1090 | 111 | 47.4324
367 | 653 | Victoria Power Plant 69KV Bus #2 | 7600 | 222 | 47.2072
368 | 394 | Arcadia 69KV Bus #1 | 1460 | 2491 | 47.1979
369 | 524 | Holly | 5820 | 1135 | 47.0009
370 | 88 | West Harlingen | 3800 | 2248 | 46.6588
371 | 554 | Aransas Pass 69KV Bus #1 | 590 | 150 | 46.3867
372 | 77 | Mathis | 340CS | 1506 | 45.9489
373 | 521 | El Campo 138KV Bus | 7710 | 990 | 45.9212
374 | 48 | Falfurrias 69KV Bus | 2830 | 1344 | 45.8966
375 | 442 | Sinton | 180 | 1151 | 45.8792
376 | 115 | Government Wells | 7240 | 247 | 45.5992
377 | 257 | Beeville | 1760 | 874 | 45.4256
378 | 219 | Aransas Pass 69KV Bus #2 | 8280 | 350 | 45.1943
379 | 230 | Kingsville | 1670 | 402 | 45.1343
380 | 171 | Palacios | 6840 | 1387 | 45.0627
381 | 117 | Asherton | 2660 | 633 | 44.0142
382 | 516 | Yorktown | 8420 | 917 | 43.8691
383 | 469 | Asherton | 2670 | 152 | 43.7697
384 | 551 | Weil Tract (138/12KV) | 5405 | 145 | 43.469
385 | 260 | Rio Grande City | 3230 | 2326 | 43.1767
386 | 49 | North Victoria | 7860 | 1387 | 42.8017
387 | 438 | Eagle Lake | 9455 | 547 | 42.6088
388 | 340 | Southside 69KV Bus #1 | 7925 | 1195 | 41.1556
389 | 233 | Washington Street 69KV Bus #2 | 2350 | 1000 | 41.028
390 | 329 | South Mission | 3620 | 3300 | 40.977
391 | 647 | Santo Nino | 515 | 1500 | 40.916
392 | 472 | Hall Acres Road | 3460 | 2344 | 40.6382
393 | 411 | Del Rio City | 1930 | 1125 | 40.3476
394 | 19 | Stadium | 7490 | 1350 | 40.0459
395 | 31 | Aransas Pass 69KV Bus #2 | 9130 | 300 | 39.7733
396 | 467 | Highway Nine 69KV Bus #1 | 7200 | 957 | 39.7116
397 | 496 | Cotulla | 90 | 593 | 39.575
398 | 579 | Fulton Bank #2 | 6070 | 1921 | 39.3988
399 | 528 | Wesmer | 6900 | 1179 | 39.2791
400 | 426 | Holly | 1370 | 2277 | 39.1765
401 | 365 | Hearn Road | 8990 | 812 | 39.1638
402 | 520 | Laguna | 9065 | 1697 | 38.1126
403 | 470 | Alice | 2540 | 1045 | 37.9416
404 | 281 | Bay City | 2700 | 1375 | 37.2655
405 | 221 | Holly | 7620 | 2525 | 37.0618
406 | 276 | Casa Blanca | 1300CS | 590 | 36.9946
407 | 332 | Anna Street | 2250 | 1300 | 36.4231
408 | 457 | Beeville | 300CN | 1245 | 36.098
409 | 250 | West Oso | 9095 | 2577 | 36.0931
410 | 385 | George West | 730 | 721 | 35.4508
411 | 212 | Eagle Lake | 320CN | 692 | 35.3324
412 | 658 | Three Rivers | 5100 | 40 | 35.075
413 | 175 | Sinton | 6860 | 1320 | 35.0591
414 | 208 | Laredo Heights Bank #2 | 6810 | 2000 | 34.501
415 | 169 | Laredo Heights Bank #2 | 2450 | 2000 | 34.4855
416 | 638 | Lolita | 6320CN | 29 | 34.1379
417 | 209 | McColl Road | 4790 | 1397 | 33.7502
418 | 642 | Port Isabel Switching Station | 3760 | 800 | 33.6287
419 | 523 | Southside 69KV Bus #2 | 8005 | 710 | 33.4437
420 | 336 | Carrizo Springs | 860 | 1372 | 33.3302
421 | 145 | South Mission | 5215 | 997 | 33.0782
422 | 191 | Weslaco Unit | 7455 | 1460 | 33.0281
423 | 92 | Odem | 375 | 735 | 32.8966
424 | 305 | Holly | 1480 | 2319 | 32.7947
425 | 424 | Sinton | 1750 | 373 | 32.7587
426 | 405 | Portland | 9370 | 1289 | 32.6843
427 | 238 | Raymondville #2 | 3240 | 1040 | 32.5942
428 | 153 | Berclair | 990C | 243 | 32.0082
429 | 463 | Refugio | 1170CN | 1143 | 31.874
430 | 194 | West Oso | 9090 | 1929 | 31.4814
431 | 420 | Wesmer | 4480 | 1946 | 31.2975
432 | 501 | West Harlingen | 4870 | 1949 | 31.1729
433 | 177 | Eagle Lake | 310 | 828 | 30.686
434 | 384 | Magruder | 6700 | 1906 | 30.6474
435 | 75 | Garwood City | 2560 | 204 | 30.5196
436 | 623 | Bruni | 1120W | 86 | 30.3953
437 | 428 | Highway Nine 69KV Bus #2 | 6770 | 1605 | 30.2012
438 | 401 | Ingleside City | 8060 | 800 | 30.1075
439 | 217 | Uvalde 138KV Bus | 550 | 370 | 29.7081
440 | 372 | Gregory | 5920 | 375 | 29.664
441 | 54 | San Benito | 4030 | 1169 | 28.8221
442 | 172 | Clarkwood | 9570 | 1187 | 28.5131
443 | 643 | Randado | 8350 | 89 | 28.1461
444 | 255 | Brookhollow | 8950 | 650 | 27.9892
445 | 526 | Magruder | 6690 | 544 | 27.9559
446 | 412 | Runge | 7320 | 598 | 27.9532
447 | 537 | Leary Lane | 1890 | 1396 | 27.462
448 | 415 | Del Rio City | 9850 | 767 | 27.4433
449 | 366 | Arcadia 69KV Bus #2 | 8570 | 1440 | 27.2988
450 | 294 | Rodd Field | 205 | 1089 | 27.1809
451 | 541 | Rio Grande City | 3740 | 2481 | 27.0685
452 | 549 | Kleberg 138KV Bus #1 | 1560 | 912 | 26.5274
453 | 347 | Morris Street 138KV Bus #2 | 8820 | 1603 | 26.3974
454 | 494 | Magruder | 245 | 640 | 26.3313
455 | 451 | Airline 69KV Bus #1 | 8260 | 1039 | 26.1078
456 | 176 | Zapata | 7330 | 2139 | 26.0248
457 | 373 | Beeville | 8090 | 1281 | 25.9969
458 | 186 | Raymondville #2 | 1280 | 1698 | 25.8999
459 | 445 | Buena Vista | 9035 | 858 | 25.7098
460 | 264 | Bay City | 2050 | 683 | 25.4934
461 | 407 | Arcadia 69KV Bus #2 | 1360 | 1978 | 25.2351
462 | 64 | Mathis | 1420 | 812 | 25.2303
463 | 532 | East Harrison 69KV Bus #2 | 3190 | 1115 | 25.1677
464 | 418 | Loyola | 195 | 662 | 25.1208
465 | 326 | Arcadia 69KV Bus #2 | 5020 | 1863 | 24.847
466 | 568 | Holly | 1220 | 3284 | 24.4217
467 | 392 | Lytle | 2850 | 630 | 24.2381
468 | 620 | Aransas Pass 69KV Bus #1 | 650 | 250 | 24.216
469 | 651 | University | 920 | 60 | 24.2
470 | 548 | Uvalde 138KV Bus | 9770 | 1600 | 24.1569
471 | 557 | Holly | 9675 | 3359 | 24.0232
472 | 13 | Continental | 4080 | 162 | 23.5123
473 | 174 | Arcadia 69KV Bus #2 | 1440 | 1735 | 23.4709
474 | 342 | Gateway | 390 | 1400 | 23.3621
475 | 586 | Encinal | 2160 | 625 | 23.1808
476 | 193 | Pharaoh | 5185 | 1993 | 23.0497
477 | 268 | Hearn Road | 8980 | 971 | 22.6838
478 | 282 | Southside 69KV Bus #4 | 8045 | 1036 | 22.6506
479 | 446 | Southside 69KV Bus #2 | 7955 | 979 | 22.4923
480 | 456 | Alice | 1790 | 440 | 21.6295
481 | 622 | Brookhollow | 7580 | 550 | 21.4527
482 | 120 | Weaver Road | 1910 | 264 | 21.3106
483 | 341 | Portland | 6505 | 1563 | 20.8906
484 | 612 | Hall Acres Road | 4895 | 1544 | 20.8886
485 | 280 | Tatton | 8200 | 1514 | 20.7721
486 | 559 | Pharaoh | 1185 | 1013 | 20.7206
487 | 510 | East Harrison 69KV Bus #1 | 3080 | 1068 | 20.5468
488 | 375 | Santo Nino | 75 | 1800 | 20.4811
489 | 577 | Eagle Pass City | 7060 | 1120 | 20.0045
490 | 596 | Sabinal | 200 | 400 | 19.7675
491 | 542 | Airline 69KV Bus #2 | 9390 | 1054 | 19.7161
492 | 95 | North Victoria | 7440 | 2232 | 19.5968
493 | 227 | Hamilton Road 138KV Bus #2 | 9655 | 654 | 19.5963
494 | 258 | Banquette | 740 | 175 | 19.5486
495 | 545 | Gateway | 350 | 1500 | 19.046
496 | 602 | Airline 69KV Bus #1 | 7390 | 1408 | 19.0362
497 | 403 | Airline 69KV Bus #2 | 6970 | 1066 | 18.9672
498 | 364 | East Harrison 69KV Bus #3 | 4360 | 1202 | 18.8561
499 | 205 | Morris Street 138KV Bus #2 | 7465 | 1033 | 18.243
500 | 116 | Edroy | 6990 | 230 | 18.2261
501 | 283 | Harlingen | 360 | 1624 | 18.2063
502 | 360 | Carrizo Springs | 370W | 278 | 17.9568
503 | 585 | Highway Nine 69KV Bus #1 | 9830 | 106 | 17.9151
504 | 474 | Leary Lane | 7530 | 1553 | 17.7836
505 | 588 | Leary Lane | 6175 | 1051 | 17.7526
506 | 105 | Crestonio | 6660 | 938 | 17.4797
507 | 475 | Seawall | 9420 | 1011 | 17.454
508 | 464 | Laredo Heights Bank #1 | 9400 | 1000 | 17.331
509 | 658 | Skidmore | 380CS | 256 | 17.2695
510 | 597 | Taft | 5230 | 744 | 17.1008
511 | 462 | North Weslaco | 4830 | 1243 | 16.9944
512 | 508 | Naval Base 69KV Bus #2 | 8440 | 1289 | 16.8169
513 | 491 | Woolridge | 1120 | 1171 | 16.7891
514 | 492 | West McAllen | 4535 | 1810 | 16.6901
515 | 408 | Rodd Field | 1730 | 910 | 16.4044
516 | 47 | Columbus | 930CN | 945 | 16.1862
517 | 334 | Harlingen Switching Station | 4110 | 751 | 16.1851
518 | 16 | West McAllen | 4595 | 894 | 16.1342
519 | 500 | Roma | 3060 | 2064 | 15.7582
520 | 311 | George West | 1320 | 593 | 15.6476
521 | 333 | Nueces Bay Plant 69KV Bus #2 | 350 (was 7765) | 790 | 15.6139
522 | 315 | Polk Avenue | 4600 | 2009 | 15.5913
523 | 337 | Hearn Road | 9665 | 1039 | 15.3321
524 | 180 | Bay City | 5960 | 1917 | 15.0803
525 | 196 | Laredo Heights Bank #1 | 2100 | 2000 | 15.032
526 | 363 | Southside 69KV Bus #3 | 5345 | 432 | 14.9861
527 | 406 | Highway Nine 69KV Bus #2 | 6760 | 825 | 14.9345
528 | 71 | Weslaco Unit | 7630 | 1557 | 14.8247
529 | 151 | Kingsville | 1350 | 280 | 14.8179
530 | 566 | Clarkwood | 7220 | 707 | 14.7822
531 | 46 | Goodwin | 3530 | 1296 | 14.7685
532 | 583 | South McAllen | 3935 | 1096 | 14.6953
533 | 328 | Harlingen Switching Station | 4230 | 1511 | 14.6757
534 | 361 | Del Mar | 490 | 1500 | 14.6513
535 | 292 | Three Rivers | 5190 | 692 | 14.4928
536 | 617 | Airline 69KV Bus #1 | 8890 | 411 | 14.4331
537 | 613 | Cotulla | 110 | 1345 | 14.3628
538 | New | Pharr | 1620 | 1622 | 14.3249
539 | 45 | Port Lavaca | 2490 | 675 | 14.1822
540 | 319 | Del Mar | 3440 | 2500 | 14.0328
541 | 629 | East Harrison 69KV Bus #1 | 3000 | 1175 | 13.9557
542 | 244 | Polk Avenue | 4170 | 1432 | 13.9455
543 | 288 | Victoria Power Plant 69KV Bus #2 | 1390 | 1351 | 13.7224
544 | 317 | Kleberg 138KV Bus #2 | 6000 | 1552 | 13.6991
545 | 493 | Campwood | 3430W | 383 | 13.6789
546 | 603 | Rockport | 5930 | 1011 | 13.4481
547 | 189 | South McAllen | 3850 | 965 | 13.1668
548 | 310 | Southside 69KV Bus #1 | 7905 | 2091 | 13.1239
549 | 368 | Uvalde 138KV Bus | 480 | 1610 | 12.8093
550 | 574 | Kingsville | 1140 | 979 | 12.475
551 | 314 | Nueces Bay Plant 69KV Bus #2 | 345 (was 7855) | 53 | 12.3208
552 | 338 | Arcadia 69KV Bus #1 | 1450 | 2548 | 12.2865
553 | 141 | Kenedy S.S. 138KV Bus | 8340 | 702 | 12.1083
554 | 595 | Highway Nine 69KV Bus #1 | 6730 | 380 | 11.8632
555 | 594 | Hidalgo | 4845 | 438 | 11.8037
556 | 198 | Mines Road | 3745 | 3500 | 11.7314
557 | 552 | Hearn Road | 2220 | 1604 | 11.5131
558 | 327 | Fulton Bank #2 | 3070CS | 1800 | 11.2361
559 | 480 | Cabaniss | 240 | 1788 | 11.1409
560 | 136 | Premont | 2720 | 928 | 11.1207
561 | 9 | Blessing | 1030 | 146 | 11.1027
562 | 616 | Airline 69KV Bus #1 | 5870 | 799 | 11.0889
563 | 52 | South East Edinburg | 4570 | 1538 | 10.459
564 | 297 | Yorktown | 8380 | 831 | 10.4212
565 | New | Pharr | 1645 | 712 | 10.4143
566 | 232 | North Weslaco | 4810 | 1460 | 10.3664
567 | 237 | Thomaston | 9580 | 53 | 10.2642
568 | 140 | Garwood City | 2570CN | 305 | 10.2525
569 | 228 | Kleberg 138KV Bus #1 | 280 | 1398 | 10.1624
570 | 84 | Ingleside City | 6040 | 800 | 10.0813
571 | 529 | Seawall | 9325 | 1514 | 10.0363
572 | 563 | North Victoria | 2240 | 814 | 9.8268
573 | 504 | Kleberg 138KV Bus #1 | 9395 | 1107 | 9.7913
574 | 447 | Polk Avenue | 4740 | 1282 | 9.7543
575 | 150 | Jourdanton | 880 | 345 | 9.5101
576 | 584 | Rio Rico | 8290 | 1217 | 9.5037
577 | 322 | North Victoria | 7770 | 999 | 9.3744
578 | 17 | Mustang Island | 8510CS | 47 | 9.1277
579 | 576 | Del Mar | 7930 | 2500 | 9.094
580 | 179 | Markham | 6440CN | 460 | 9.0174
581 | 396 | Kenedy S.S. 138KV Bus | 6750 | 877 | 8.9932
582 | 181 | Morris Street 138KV Bus #2 | 5655 | 1577 | 8.9873
583 | 561 | South Mission | 3590 | 2295 | 8.8784
584 | 427 | East Harrison 69KV Bus #2 | 4620 | 1285 | 8.5619
585 | 190 | Eagle Pass Hydro | 1340 | 180 | 8.5333
586 | 37 | Dilley | 6400 | 970 | 8.2464
587 | 639 | McKenzie Road | 150 | 12 | 8
588 | 325 | Del Rio City | 440W | 1621 | 7.9581
589 | 323 | Ingleside City | 7310 | 40 | 7.95
590 | 619 | Anna Street | 850 | 1400 | 7.7257
591 | 458 | Polk Avenue | 4610 | 2029 | 7.7043
592 | 556 | Port Lavaca | 6850 | 680 | 7.675
593 | 303 | Buena Vista | 8965 | 882 | 7.5794
594 | 519 | San Benito | 3920 | 1981 | 7.5351
595 | 575 | La Grulla | 5005 | 1257 | 7.4097
596 | 527 | North McAllen | 9640 | 2579 | 7.2935
597 | 430 | Parker | 9260 | 70 | 7.2143
598 | 605 | Laredo Plant | 8565 | 480 | 7.1905
599 | 285 | Washington Street 69KV Bus #3 | 6355 | 800 | 6.9662
600 | 479 | Pharaoh | 5175 | 1110 | 6.7892
601 | 241 | Del Mar | 10 | 4700 | 6.584
602 | 543 | Clarkwood | 7610 | 226 | 6.3407
603 | 483 | Highway Nine 69KV Bus #1 | 7210 | 1069 | 6.2086
604 | 611 | Roma | 3070S | 2068 | 6.014
605 | 134 | Beeville | 2200 | 802 | 5.8529
606 | 211 | Laredo Heights Bank #2 | 9080 | 1000 | 5.825
607 | 608 | Gregory | 420CS | 668 | 5.7066
608 | 378 | Polk Avenue | 4180 | 2743 | 5.6792
609 | 497 | Anna Street | 780 | 1000 | 5.531
610 | 580 | Beeville | 8510CN | 979 | 5.5117
611 | 166 | Karon Humble Pump | 9895 | 30 | 5.3333
612 | 351 | Morris Street 138KV Bus #1 | 8850 | 692 | 5.1055
613 | 443 | Uvalde 138KV Bus | 540 | 800 | 5.04
614 | 68 | Kenedy | 6270 | 1046 | 5.0315
615 | New | Jourdanton | 250 | 650 | 5.0277
616 | 601 | Eagle Pass City | 2745 | 2150 | 5.0265
617 | 567 | Sabinal | 485 | 477 | 4.9811
618 | 562 | Weil Tract (138/12KV) | 1990 | 1003 | 4.6311
619 | 539 | Laredo Plant | 8745 | 1000 | 4.627
620 | 87 | Kenedy S.S. 69KV Bus | 8320 | 583 | 4.6244
621 | 223 | Freer | 5200 | 1245 | 4.6145
622 | 627 | Darst | 820 | 141 | 4.3546
623 | 489 | Leary Lane | 1540 | 1107 | 4.1807
624 | 578 | Harlingen | 370 | 1784 | 4.1239
625 | 531 | Beeville | 2380 | 950 | 4.0137
626 | 644 | Robstown | 7120 | 120 | 3.975
627 | 170 | West McAllen | 6385 | 1448 | 3.8715
628 | 618 | Anna Street | 5780 | 1500 | 3.87
629 | 183 | North Victoria | 1470 | 542 | 3.8672
630 | 591 | Hall Acres Road | 9595 | 574 | 3.8328
631 | 471 | Edna | 5775 | 870 | 3.8161
632 | 66 | Freer | 6320W | 171 | 3.6608
633 | 540 | Brookhollow | 8960 | 700 | 3.5886
634 | 187 | Morris Street 138KV Bus #2 | 8840 | 1036 | 3.4382
635 | 656 | Washington Street 69KV Bus #2 | 2360 | 700 | 3.4057
636 | 290 | South Mission | 4650 | 1618 | 3.1625
637 | 197 | Polk Avenue | 4520 | 1974 | 2.7427
638 | 610 | Airline 69KV Bus #1 | 7270 | 985 | 2.7147
639 | 476 | East Harrison 69KV Bus #1 | 3030 | 975 | 2.6379
640 | 56 | Stadium | 7800 | 925 | 2.4259
641 | 357 | Brookhollow | 7190 | 500 | 2.07
642 | 133 | Falfurrias 138KV Bus | 1070W | 881 | 2
643 | 352 | Morris Street 138KV Bus #1 | 2515 | 733 | 1.8349
644 | 582 | South Mission | 3940 | 2187 | 1.8326
645 | 652 | University | 930 | 100 | 1.8
646 | 503 | Point Comfort | 2460 | 330 | 1.6909
647 | 517 | Leary Lane | 6005 | 898 | 1.3675
648 | 637 | Laredo Plant | 8705 | 1000 | 1.367
649 | 239 | West McAllen | 4815 | 136 | 1.0956
650 | 628 | Eagle Pass City | 2510 | 750 | 0.88533
651 | 505 | Laredo Plant | 8505 | 1000 | 0.862
652 | 640 | Morris Street Network | NET CC | 430 | 0.77209
653 | 101 | San Benito | 3860 | 1164 | 0.69845
654 | 634 | Kenedy | 1960 | 241 | 0.52282
655 | 604 | Eagle Pass City | 450 | 1625 | 0.031385
656 | 631 | Foster Field | 8880 | 204 | 0
657 | 654 | Victoria Power Plant Network | NET VIC | 192 | 0
658 | 655 | Washington Street 69KV Bus #1 | NET LAR | 500 | 0
659 | 28 | Airline 69KV Bus #1 | 2180 | 12 | 0
660 | New | Milo | 3060 | 1070 | 0
661 | 649 | Southside 69KV Bus #1 | 7935 | 43 | 0
662 | New | Casa Blanca | 5115 | 1167 | 0
663 | 632 | Haine Drive | 9240 | 1290 | 0

## Causes
AEP Central Power & Light
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2000 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 1.519%
|  | Vegetation | 5.915%
|  | Animals and Birds | 7.434%
|  | People (Including cars and farm equip) | 2.398%
|  | Utility-owned Equipment | 66.75%
|  | Other | 2.558%
|  | Unknown | 13.43%