## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Entergy Gulf States, Inc.
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 382
Due: |  | February 14, 2001
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 23436
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Division
Commission Staff
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mailto:mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2000 Reporting Year
Entergy Gulf States, Inc.
Project 23436

## System-SAIFI
Entergy Gulf States, Inc.
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 2.0146 | 0.097253 | 0.10829 | 0.1373 | 0.12438 | 0.25271 | 0.17908 | 0.29092 | 0.24903 | 0.17737 | 0.083208 | 0.14761 | 0.16744
Scheduled
2000 | 0.018248 | 0.001799 | 0.0021629 | 0.0012179 | 0.0023977 | 0.0019164 | 0.0035686 | 0.0019721 | 0.0013852 | 0.00045781 | 0.00066911 | 0.00011739 | 0.00058401
Outside Causes
2000 | 0.58218 | 0.030858 | 0.015686 | 0.06216 | 0.051064 | 0.084132 | 0.048109 | 0.037981 | 0.10737 | 0.060026 | 0.020877 | 0.017045 | 0.04687
Major Events
2000 | 1.1523 | 0 | 0 | 0 | 0.20387 | 0.10615 | 0 | 0.16514 | 0.10745 | 0.20731 | 0 | 0.24712 | 0.11522

## System-SAIDI
Entergy Gulf States, Inc.
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 154.0282 | 7.2209 | 6.2425 | 12.3019 | 9.7811 | 21.6929 | 11.5935 | 17.9554 | 16.2471 | 11.7424 | 5.2703 | 15.4615 | 18.5188
Scheduled
2000 | 1.3398 | 0.14964 | 0.1049 | 0.074547 | 0.16627 | 0.2615 | 0.18534 | 0.24479 | 0.061397 | 0.011809 | 0.023331 | 0.020587 | 0.035671
Outside Causes
2000 | 39.7482 | 1.652 | 2.0893 | 5.0175 | 3.8219 | 6.8171 | 3.1642 | 2.0762 | 2.323 | 2.3895 | 0.16075 | 3.9337 | 6.303
Major Events
2000 | 199.1254 | 0 | 0 | 0 | 34.0815 | 28.3449 | 0 | 29.4156 | 13.507 | 26.4913 | 0 | 52.4847 | 14.8004

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 382
Add or Delete Rows as Necessary
Entergy Gulf States, Inc.
2000 SAIFI Ranking | 1999 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIFI Value
1 | 120 | ECHO | 72ECH | 161 | 12.3354
2 | 254 | SOUTH LIBERTY | 714SL | 127 | 11.2913
3 | 126 | SPLENDORA | 308SP | 1281 | 9.1452
4 | 303 | HIMEX | 221HI | 363 | 7.7851
5 | 324 | TYRRELL | 38TYR | 38 | 7.2895
6 | 283 | SPLENDORA | 307SP | 1179 | 6.7014
7 | 20 | OAK RIDGE | 743OK | 2436 | 6.5123
8 | 4 | WINFREE | 342WN | 390 | 6.4487
9 | 9 | NECHES | 197NE | 204 | 6.2451
10 | 251 | FRANKLIN | 7FKL | 610 | 6.1508
11 | NA | CONAIR | 515CN | 800 | 6.1225
12 | 35 | WARREN | 592WR | 1754 | 5.8489
13 | 166 | HEARNE | 25HRN | 210 | 5.7476
14 | 28 | MAYHAW | 671MA | 1649 | 5.6434
15 | 24 | PORT ARTHUR WW | 18WWK | 309 | 5.4466
16 | 88 | CRYSTAL | 566CR | 722 | 5.3947
17 | 96 | HANKAMER | 206HA | 721 | 5.3467
18 | 271 | PEE DEE | 808PD | 1583 | 5.1118
19 | 158 | CLEVELAND | 405CV | 1418 | 5.0832
20 | 52 | APRIL | 591AP | 934 | 5.0814
21 | 359 | CONAIR | 516CN | 524 | 4.876
22 | 228 | RAYWOOD | 73RAY | 466 | 4.7167
23 | 216 | GOREE | 682GR | 1260 | 4.6627
24 | 168 | BRIDGE CITY | 363BD | 1618 | 4.6211
25 | 123 | TRINITY | 261TR | 1315 | 4.6053
26 | 40 | CORDREY | 324CO | 1553 | 4.5924
27 | 32 | NEW CANEY | 335NC | 3900 | 4.5323
28 | 265 | LOEB | 18LOB | 508 | 4.4508
29 | 118 | BATSON | 53BAT | 849 | 4.4181
30 | 2 | REBEL | 119RB | 449 | 4.4076
31 | 367 | FORT WORTH | 54FTW | 143 | 4.3916
32 | 194 | WEST END | 85WED | 514 | 4.3716
33 | 181 | SOUR LAKE | 105SL | 1207 | 4.3662
34 | 325 | GOSLIN | 703GL | 2724 | 4.3293
35 | 191 | DAYTON BULK | 726DY | 1482 | 4.2665
36 | 246 | GRIMES | 981GR | 309 | 4.2654
37 | 179 | CLEVELAND | 426CV | 1633 | 4.2229
38 | 176 | ALDEN BRIDGE | 765AL | 1524 | 4.1864
39 | 151 | BAYOU FANNETT | 250BY | 24 | 4.125
40 | 295 | LAKESIDE | 5LAS | 93 | 4.1183
41 | 98 | NECHES | 193NE | 608 | 4.0049
42 | 292 | PORT ARTHUR WW | 15WWK | 488 | 3.9939
43 | 8 | CONROE BULK | 577CN | 538 | 3.9926
44 | 25 | DAISETTA | 744DA | 758 | 3.8364
45 | 143 | MCLEWIS | 380MC | 2173 | 3.8274
46 | 73 | RIVTRIN | 269RV | 2458 | 3.8226
47 | 95 | CLEVELAND | 406CV | 902 | 3.7284
48 | 266 | HUNTSVILLE | 611HU | 1126 | 3.706
49 | 5 | NEW CANEY | 333NC | 2474 | 3.6564
50 | 50 | HUNTSVILLE | 600HU | 1473 | 3.6538
51 | 262 | CRYSTAL | 567CR | 1317 | 3.5991
52 | 277 | TANGLEWOOD | 136TG | 603 | 3.5025
53 | 37 | SILSBEE | 463SI | 568 | 3.493
54 | 141 | BAYSHORE | 213BA | 952 | 3.4758
55 | 21 | DOUCETTE | 570DC | 1099 | 3.465
56 | 116 | TAMINA | 317TA | 1132 | 3.4629
57 | 145 | PLEASURE | 77PLS | 190 | 3.4368
58 | NA | ECHO | 73ECH | 1081 | 3.4191
59 | 304 | KOUNTZE BULK | 435KT | 36 | 3.4167
60 | 267 | LOEB | 17LOB | 1022 | 3.4139
61 | 146 | HARDIN | 35HDN | 645 | 3.4031
62 | 298 | PEE DEE | 809PD | 1370 | 3.4007
63 | 133 | BLUE WATER | 101BL | 1624 | 3.3953
64 | 280 | CONROE BULK | 506CN | 2074 | 3.3944
65 | 186 | LAKEVIEW | 80LAV | 769 | 3.3784
66 | 272 | PORT ARTHUR WW | 17WWK | 459 | 3.3747
67 | 134 | CORRIGAN BULK | 238CR | 586 | 3.3737
68 | 155 | RAYWOOD | 74RAY | 1109 | 3.3454
69 | 23 | FORT WORTH | 52FTW | 46 | 3.2391
70 | 109 | DOBBIN | 920DO | 1133 | 3.2048
71 | 286 | ELIZABETH | 120EL | 1333 | 3.138
72 | 178 | HUMPHREY | 107HM | 562 | 3.0925
73 | 148 | BAYSHORE | 211BA | 1545 | 3.0867
74 | 110 | GRIMES | 982GR | 624 | 3.0769
75 | 48 | LOVELLS LAKE | 142LV | 263 | 3.0722
76 | 77 | ECHO | 70ECH | 1341 | 3.0686
77 | 315 | FORT WORTH | 55FTW | 169 | 3.0355
78 | 92 | VIDOR | 164VD | 787 | 2.9708
79 | 245 | HEARNE | 29HRN | 287 | 2.9617
80 | NA | LAKESIDE | 9LAS | 63 | 2.9524
81 | 90 | GRIMES | 883GR | 746 | 2.933
82 | 226 | HAMPTON | 158HA | 1089 | 2.9036
83 | 51 | LONGMIRE | 581LM | 1008 | 2.8899
84 | 247 | FRONT STREET | 301FR | 241 | 2.8672
85 | 105 | ELIZABETH | 122EL | 1086 | 2.8637
86 | 174 | ECHO | 71ECH | 602 | 2.814
87 | 100 | MAGNOLIA AMES | 711MG | 836 | 2.811
88 | 10 | KOUNTZE | 452KT | 400 | 2.7775
89 | 106 | PEE DEE | 811PD | 1293 | 2.7525
90 | 46 | DAYTON BULK | 723DY | 809 | 2.7466
91 | 278 | CALDWELL INDUSTRIAL | 138CI | 645 | 2.7054
92 | 130 | WYNTEX | 632WT | 863 | 2.7045
93 | 86 | CLEVELAND | 425CV | 1202 | 2.703
94 | NA | LACON | 539LA | 1297 | 2.6916
95 | 366 | ALDEN BRIDGE | 766AL | 918 | 2.6819
96 | 205 | HUNTSVILLE | 610HU | 1565 | 2.6773
97 | 111 | SARATOGA | 761SA | 420 | 2.6429
98 | NA | FEDERAL | 801FE | 148 | 2.6351
99 | 221 | LAWSON | 102LA | 324 | 2.6296
100 | 360 | GOSLIN | 709GL | 3426 | 2.589
101 | 222 | CONROE BULK | 507CN | 2096 | 2.5573
102 | 235 | MCDONALD | 478MD | 610 | 2.5246
103 | 263 | TRANSCO | 48TCO | 130 | 2.5154
104 | 261 | MCDONALD | 476MD | 1010 | 2.503
105 | NA | METRO | 718ME | 14 | 2.5
106 | NA | OILLA | 345OI | 816 | 2.4939
107 | 127 | MCDONALD | 477MD | 1212 | 2.4728
108 | 207 | ORANGE | 351ON | 334 | 2.4162
109 | 149 | VIDOR | 163VD | 2826 | 2.3924
110 | 67 | HICKORY RIDGE | 341HI | 1000 | 2.37
111 | 210 | TRINITY | 262TR | 114 | 2.3596
112 | 6 | MCLEWIS | 382MC | 551 | 2.3521
113 | 308 | HUNTSVILLE | 608HU | 2208 | 2.3089
114 | 203 | WESTSIDE | 111WS | 547 | 2.2797
115 | 202 | CHEEK | 159CH | 1045 | 2.2775
116 | 229 | BRIARCLIFF | 32BRC | 729 | 2.2757
117 | 57 | BRIARCLIFF | 31BRC | 1164 | 2.2741
118 | 33 | BEVIL | 155BE | 3471 | 2.2636
119 | 217 | CALVERT | 4CAL | 1342 | 2.2623
120 | 56 | TAMINA | 598TA | 561 | 2.2496
121 | 16 | WALDEN | 563WD | 878 | 2.2118
122 | 190 | BREKOS | 13BEK | 647 | 2.1855
123 | 125 | ALDEN BRIDGE | 764AL | 1113 | 2.1788
124 | 270 | WINSHIRE | 241WS | 343 | 2.172
125 | 29 | WEST END | 87WED | 682 | 2.1584
126 | 84 | LAKEVIEW | 81LAV | 1354 | 2.1529
127 | 206 | CROWDER | 102CD | 1818 | 2.1485
128 | 138 | OAK RIDGE | 742OK | 141 | 2.1348
129 | 69 | DAYTON BULK | 725DY | 801 | 2.1286
130 | 44 | OAK RIDGE | 744OK | 2635 | 2.1184
131 | 60 | LAKESIDE | 4LAS | 72 | 2.1111
132 | 340 | GOSLIN | 708GL | 1916 | 2.1054
133 | 257 | DE QUEEN | 86DQN | 305 | 2.1016
134 | 14 | CRYSTAL | 570CR | 2235 | 2.0966
135 | 62 | DOBBIN | 519DO | 1512 | 2.0754
136 | 224 | LACON | 537LA | 506 | 2.0731
137 | 253 | KOUNTZE BULK | 432KT | 1128 | 2.0541
138 | 89 | CALVERT | 6CAL | 796 | 2.0377
139 | 144 | FORT WORTH | 51FTW | 384 | 2.026
140 | 213 | WARREN | 506WR | 1450 | 2.0234
141 | 316 | OAK RIDGE | 740OK | 585 | 1.9983
142 | 27 | FLETCHER | 457FL | 1453 | 1.9952
143 | 152 | NEW CANEY | 304NC | 1788 | 1.995
144 | 71 | BEVIL | 154BE | 3258 | 1.9847
145 | 55 | BLUE BONNET | 73BLB | 270 | 1.9815
146 | 162 | STONEGATE | 93STG | 1640 | 1.9512
147 | 240 | ARCHIE | 45ARC | 91 | 1.9451
148 | 349 | AVERILL | 56AVR | 243 | 1.9218
149 | 294 | LAKESIDE | 8LAS | 47 | 1.9149
150 | 19 | GOREE | 681GR | 330 | 1.9
151 | 101 | TANGLEWOOD | 135TG | 1305 | 1.892
152 | 104 | LILLARD | 490LI | 243 | 1.8889
153 | 54 | MCDONALD | 479MD | 912 | 1.875
154 | NA | TEMCO | 628TE | 316 | 1.8513
155 | 131 | FLETCHER | 456FL | 603 | 1.8474
156 | 269 | GOSLIN | 710GL | 1353 | 1.8411
157 | 170 | VIWAY | 682VI | 1872 | 1.8381
158 | 75 | ELIZABETH | 121EL | 1326 | 1.8379
159 | 219 | LOVELLS LAKE | 141LV | 693 | 1.8095
160 | 58 | EASTGATE | 781EG | 1262 | 1.8027
161 | 76 | VIRGINIA | 131VI | 1213 | 1.7947
162 | 193 | GROVES | 63GRO | 1238 | 1.7884
163 | 352 | HIMEX | 222HI | 286 | 1.7797
164 | 108 | TAMINA | 316TA | 271 | 1.7749
165 | 279 | ALDEN BRIDGE | 767AL | 1470 | 1.7571
166 | 321 | PANORAMA | 525PA | 927 | 1.754
167 | 200 | SHEAWILL | 535SH | 615 | 1.748
168 | 258 | WOODVILLE | 594WD | 1227 | 1.7392
169 | 85 | WINSHIRE | 240WS | 1085 | 1.7382
170 | 187 | KOLBS | 35KOL | 1140 | 1.7316
171 | 156 | ROSEDALE | 152RS | 1149 | 1.7215
172 | 342 | SOMERVILLE | 126SO | 633 | 1.7125
173 | 209 | NEW CANEY | 336NC | 4765 | 1.6846
174 | 68 | GROVES | 59GRO | 1261 | 1.6812
175 | 124 | MCHALE | 111MC | 881 | 1.6799
176 | 212 | MILLEDGE | 407MI | 725 | 1.6772
177 | NA | LACON | 540LA | 626 | 1.6645
178 | 80 | ROSEDALE | 151RS | 1122 | 1.6622
179 | 61 | TEMCO | 627TE | 1015 | 1.6414
180 | 198 | NAVASOTA | 904NA | 1538 | 1.6326
181 | 237 | SANDY SHORES | 202SD | 501 | 1.6228
182 | 289 | TAMINA | 599TA | 602 | 1.5947
183 | 281 | PORT NECHES | 46PTN | 936 | 1.5577
184 | 327 | MANCHESTER | 66MAN | 1578 | 1.5412
185 | 79 | RIVTRIN | 268RV | 1164 | 1.5378
186 | 182 | SOMERVILLE | 127SO | 627 | 1.5295
187 | 83 | CROCKETT | 64CRK | 536 | 1.5243
188 | 78 | VIWAY | 681VI | 928 | 1.5162
189 | 121 | CONAIR | 514CN | 1364 | 1.4927
190 | 128 | PLANTATION | 545PL | 893 | 1.4838
191 | 153 | KOLBS | 36KOL | 1358 | 1.4816
192 | 39 | DORMAN | 114DR | 842 | 1.4798
193 | 302 | APOLLO | 320AP | 1013 | 1.4551
194 | 250 | GROVES | 61GRO | 939 | 1.4483
195 | 112 | STOWELL | 231ST | 1354 | 1.4357
196 | 167 | KOLBS | 37KOL | 1050 | 1.4352
197 | 31 | HUNTSVILLE | 607HU | 2973 | 1.4201
198 | 135 | APRIL | 590AP | 1255 | 1.4112
199 | 300 | VIDOR | 161VD | 634 | 1.4006
200 | 344 | YANKEE DOODLE | 22YAN | 2059 | 1.3919
201 | 17 | LONGMIRE | 583LM | 1106 | 1.3797
202 | 177 | DAISETTA | 743DA | 348 | 1.3793
203 | 350 | WESTSIDE | 112WS | 503 | 1.3539
204 | 227 | WYNTEX | 633WT | 495 | 1.3495
205 | 319 | STONEGATE | 90STG | 860 | 1.3395
206 | 184 | STOWELL | 233ST | 607 | 1.3344
207 | 307 | VIRGINIA | 130VI | 727 | 1.3136
208 | 97 | LINDBERGH | 40LNB | 1210 | 1.295
209 | 74 | FRONT STREET | 308FR | 434 | 1.2926
210 | 42 | PORT NECHES | 45PTN | 1244 | 1.2886
211 | 12 | MCHALE | 112MC | 646 | 1.2864
212 | 66 | CHEEK | 160CH | 1702 | 1.2667
213 | 293 | WEST END | 86WED | 945 | 1.2667
214 | 161 | NAVASOTA | 905NA | 1534 | 1.2581
215 | 264 | WYNTEX | 634WT | 679 | 1.2356
216 | 260 | FRONT STREET | 302FR | 189 | 1.2328
217 | 192 | METRO | 716ME | 3004 | 1.2314
218 | 38 | MCHALE | 113MC | 1035 | 1.2309
219 | 312 | HUMPHREY | 106HM | 355 | 1.2225
220 | 154 | PARKDALE | 176PR | 324 | 1.2099
221 | 256 | ORANGE | 352ON | 818 | 1.1858
222 | 103 | MAPLE | 90MPL | 413 | 1.1768
223 | 374 | CROCKETT | 198CR | 57 | 1.1754
224 | 94 | WALDEN | 564WD | 1377 | 1.1663
225 | 119 | CHINA | 92CHI | 1742 | 1.1659
226 | 301 | KOLBS | 34KOL | 1013 | 1.1658
227 | 204 | MCHALE | 110MC | 869 | 1.1577
228 | 65 | DE QUEEN | 84DQN | 343 | 1.1574
229 | 361 | ARCHIE | 46ARC | 13 | 1.1538
230 | 173 | SILSBEE | 461SI | 492 | 1.1463
231 | 165 | PLANTATION | 546PL | 791 | 1.1226
232 | 13 | BRIDGE CITY | 361BD | 1077 | 1.1151
233 | 189 | CORRIGAN BULK | 239CR | 492 | 1.1118
234 | 343 | CLEVELAND | 402CV | 342 | 1.1111
235 | 244 | DOUCETTE | 568DC | 186 | 1.1075
236 | 338 | WESTSIDE | 113WS | 324 | 1.1049
237 | 336 | WEST END | 88WED | 337 | 1.1039
238 | 252 | SPURLOCK | 98SPU | 565 | 1.1027
239 | 70 | CORDREY | 326CO | 1235 | 1.0955
240 | 285 | MIDWAY | 819MD | 63 | 1.0952
241 | 255 | FORT WORTH | 50FTW | 264 | 1.0947
242 | 199 | DE QUEEN | 87DQN | 216 | 1.088
243 | 211 | AMELIA BULK | 181AM | 568 | 1.0863
244 | 147 | DE QUEEN | 85DQN | 109 | 1.0826
245 | 180 | CORDREY | 320CO | 253 | 1.0791
246 | 11 | SHEAWILL | 536SH | 1320 | 1.078
247 | 1 | WALDEN | 562WD | 1513 | 1.0767
248 | NA | FORT WORTH | 53FTW | 14 | 1.0714
249 | 196 | CLEVELAND | 403CV | 1374 | 1.0699
250 | 339 | GOSLIN | 705GL | 831 | 1.0578
251 | 299 | YANKEE DOODLE | 25YAN | 185 | 1.0541
252 | 26 | WINFREE | 341WN | 686 | 1.0437
253 | 22 | DAYTON BULK | 724DY | 2075 | 1.039
254 | 188 | ROSEDALE | 150RS | 107 | 1.0374
255 | 81 | TANGLEWOOD | 137TG | 1364 | 1.0359
256 | 107 | CROCKETT | 65CRK | 480 | 1.0292
257 | 249 | DAISETTA | 741DA | 185 | 1.0216
258 | 348 | CROCKETT | 61CRK | 126 | 1.0079
259 | 150 | BLUE BONNET | 72BLB | 66 | 1
260 | 288 | LAMAR | 97LAM | 579 | 1
261 | 291 | VIDOR | 162VD | 1686 | 0.99941
262 | 114 | CROWDER | 105CD | 826 | 0.99274
263 | 268 | ORANGE | 350ON | 886 | 0.98871
264 | 59 | SPURGER | 528SP | 367 | 0.98365
265 | 239 | GOSLIN | 704GL | 1739 | 0.96377
266 | 354 | NAVASOTA | 902NA | 186 | 0.94086
267 | 223 | GOSLIN | 707GL | 762 | 0.93438
268 | NA | APRIL | 592AP | 676 | 0.90385
269 | 197 | SILSBEE | 462SI | 720 | 0.90278
270 | 117 | CLEVELAND | 404CV | 2367 | 0.88044
271 | 195 | CENTRAL | 133CE | 1478 | 0.86806
272 | 93 | NAVASOTA | 969NA | 620 | 0.86774
273 | 115 | KICKAPOO | 251KP | 828 | 0.82729
274 | 18 | NORTH SILSBEE | 471NS | 1045 | 0.79139
275 | NA | CONROE BULK | 576CN | 81 | 0.77778
276 | 132 | PORT ACRES SUB | 68PTA | 1120 | 0.77232
277 | 379 | METRO | 717ME | 47 | 0.76596
278 | 53 | CORDREY | 325CO | 1447 | 0.75812
279 | 36 | HANKAMER | 207HA | 607 | 0.74465
280 | 129 | CONROE BULK | 574CN | 459 | 0.71895
281 | 15 | APOLLO | 321AP | 735 | 0.71429
282 | 259 | VIRGINIA | 129VI | 913 | 0.71084
283 | 330 | LACON | 538LA | 1266 | 0.70142
284 | 248 | STONEGATE | 92STG | 1915 | 0.69713
285 | 233 | CENTRAL | 132CE | 1552 | 0.66817
286 | 171 | NORTH SILSBEE | 472NS | 333 | 0.66366
287 | 234 | AMELIA BULK | 182AM | 1193 | 0.6337
288 | 231 | KOUNTZE | 453KT | 638 | 0.60972
289 | 290 | CENTRAL | 131CE | 1684 | 0.60154
290 | 172 | ADAMS BAYOU | 331AD | 1676 | 0.59427
291 | 163 | BRIDGE CITY | 360BD | 936 | 0.58333
292 | 273 | CEDAR | 698CE | 19 | 0.57895
293 | 220 | CROCKETT | 60CRK | 406 | 0.57635
294 | 306 | CROWDER | 104CD | 1547 | 0.56238
295 | 274 | ELIZABETH | 123EL | 2237 | 0.55878
296 | 159 | WINFREE | 340WN | 855 | 0.55789
297 | 318 | CONROE BULK | 572CN | 1417 | 0.5434
298 | 160 | LINDBERGH | 42LNB | 1685 | 0.52997
299 | 122 | SANDY SHORES | 201SD | 1277 | 0.52623
300 | 331 | GOSLIN | 706GL | 1816 | 0.51652
301 | 218 | CONAIR | 511CN | 1246 | 0.51204
302 | 87 | FRONT STREET | 307FR | 588 | 0.5034
303 | 201 | LINDBERGH | 43LNB | 814 | 0.48894
304 | 215 | BRIARCLIFF | 33BRC | 852 | 0.48239
305 | 63 | PRAIRIE | 148PR | 344 | 0.47093
306 | 310 | HANKS | 23HKS | 1412 | 0.46955
307 | 282 | HANKS | 24HKS | 924 | 0.46861
308 | 305 | DOUCETTE | 569DC | 143 | 0.46853
309 | 230 | PARKDALE | 171PR | 581 | 0.45955
310 | 238 | STOWELL | 232ST | 869 | 0.458
311 | 329 | WEST END | 82WED | 447 | 0.41611
312 | 341 | CENTRAL | 130CE | 660 | 0.40152
313 | 335 | OAK RIDGE | 741OK | 800 | 0.4
314 | 214 | NECHES | 194NE | 514 | 0.39883
315 | 41 | SOUR LAKE | 104SL | 296 | 0.38514
316 | 322 | WALDEN | 560WD | 427 | 0.38173
317 | 328 | YANKEE DOODLE | 24YAN | 470 | 0.37447
318 | 175 | WOODVILLE | 593WD | 900 | 0.37222
319 | 276 | CONAIR | 513CN | 1044 | 0.37165
320 | 320 | HANKS | 22HKS | 1192 | 0.37081
321 | 232 | GROVES | 62GRO | 1479 | 0.36849
322 | 183 | TANGLEWOOD | 134TG | 2109 | 0.36226
323 | 7 | LONGMIRE | 580LM | 2461 | 0.36042
324 | 136 | CORDREY | 327CO | 951 | 0.33228
325 | 309 | CONAIR | 512CN | 1844 | 0.33189
326 | 113 | LONGMIRE | 584LM | 858 | 0.32751
327 | 345 | JIROU | 76JRU | 245 | 0.32653
328 | NA | SPLENDORA | 309SP | 1688 | 0.32109
329 | 47 | PORT ACRES BULK | 70PAS | 829 | 0.31725
330 | 284 | HANKS | 25HKS | 954 | 0.31132
331 | 102 | PRAIRIE | 147PR | 287 | 0.30662
332 | 243 | NORTH END | 29NOE | 402 | 0.301
333 | 49 | NORTH END | 21NOE | 1469 | 0.28387
334 | 157 | PORT ACRES SUB | 69PTA | 1027 | 0.25901
335 | 334 | CONROE BULK | 505CN | 583 | 0.25901
336 | 169 | BRIDGE CITY | 362BD | 1175 | 0.25617
337 | 332 | BAYSHORE | 212BA | 67 | 0.25373
338 | 333 | AVERILL | 57AVR | 110 | 0.24545
339 | 185 | CROWDER | 103CD | 1328 | 0.24473
340 | 311 | NORTH END | 26NOE | 509 | 0.22004
341 | 296 | LINCOLN | 15LCN | 293 | 0.21502
342 | 317 | ADAMS BAYOU | 332AD | 658 | 0.21277
343 | 72 | GROVETON | 255GV | 199 | 0.21106
344 | 323 | WEST END | 80WED | 476 | 0.21008
345 | 369 | CONROE BULK | 575CN | 262 | 0.18702
346 | 208 | CORDREY | 321CO | 162 | 0.16049
347 | 140 | BLUE WATER | 100BL | 1569 | 0.15806
348 | 326 | NORTH END | 27NOE | 166 | 0.1506
349 | 142 | PRAIRIE | 149PR | 325 | 0.14154
350 | 99 | MANCHESTER | 67MAN | 941 | 0.13921
351 | 287 | MAPLE | 91MPL | 446 | 0.13453
352 | 3 | LINDBERGH | 41LNB | 310 | 0.13226
353 | 297 | TYRRELL | 37TYR | 577 | 0.12132
354 | 355 | HUMPHREY | 108HM | 33 | 0.12121
355 | 91 | MANCHESTER | 64MAN | 132 | 0.12121
356 | 346 | MANCHESTER | 65MAN | 348 | 0.12069
357 | 64 | LAMAR | 95LAM | 601 | 0.11481
358 | 82 | GROVETON | 257GV | 133 | 0.10526
359 | 356 | ADAMS BAYOU | 330AD | 138 | 0.094203
360 | 225 | NAVASOTA | 901NA | 416 | 0.081731
361 | 139 | HEARNE | 28HRN | 25 | 0.08
362 | 313 | JIROU | 77JRU | 341 | 0.076246
363 | 375 | TESCO | 36TSC | 73 | 0.068493
364 | 353 | YANKEE DOODLE | 23YAN | 606 | 0.066007
365 | 241 | LINCOLN | 16LCN | 386 | 0.062176
366 | 45 | AMELIA BULK | 180AM | 373 | 0.061662
367 | 347 | JIROU | 78JRU | 278 | 0.061151
368 | 275 | SPURLOCK | 99SPU | 445 | 0.047191
369 | 351 | JIROU | 75JRU | 91 | 0.032967
370 | 337 | CLEVELAND | 401CV | 103 | 0.029126
371 | 365 | AVERILL | 55AVR | 176 | 0.028409
372 | 236 | NORTH END | 28NOE | 213 | 0.023474
373 | 363 | ALDEN BRIDGE | 768AL | 1275 | 0.01098
374 | 357 | SOUTH LIBERTY | 713SL | 197 | 0.010152
375 | 362 | METRO | 719ME | 154 | 0.0064935
376 | 164 | TRAVIS | 13TRV | 14 | 0
377 | 373 | CROCKETT | 195CR | 365 | 0
378 | NA | TRAVIS | 2TRV | 17 | 0
379 | NA | OAK RIDGE | 745OK | 139 | 0
380 | 383 | SPEEDWAY | 917SW | 18 | 0
381 | NA | STONEGATE | 91STG | 930 | 0
382 | NA | TRAVIS | 9TRV | 49 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 382
Add or Delete Rows as Necessary
Entergy Gulf States, Inc.
2000 SAIDI Ranking | 1999 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIDI Value
1 | 245 | SOUTH LIBERTY | 714SL | 127 | 1397.8819
2 | 103 | HEARNE | 25HRN | 210 | 1327.1714
3 | 199 | PEE DEE | 808PD | 1583 | 1029.2356
4 | 77 | BAYOU FANNETT | 250BY | 24 | 1001.2083
5 | 309 | PEE DEE | 809PD | 1370 | 966.2708
6 | 146 | ECHO | 72ECH | 161 | 932.9627
7 | 29 | LONGMIRE | 581LM | 1008 | 928.4216
8 | 261 | HIMEX | 221HI | 363 | 901.8981
9 | 211 | HEARNE | 29HRN | 287 | 869.23
10 | 286 | FRANKLIN | 7FKL | 610 | 652.4951
11 | 116 | PEE DEE | 811PD | 1293 | 588.7386
12 | 201 | RAYWOOD | 74RAY | 1109 | 586.826
13 | 83 | HANKAMER | 206HA | 721 | 538.387
14 | 143 | RAYWOOD | 73RAY | 466 | 502.3133
15 | 23 | WINFREE | 342WN | 390 | 489.4026
16 | 323 | GRIMES | 981GR | 309 | 486.0971
17 | 14 | CONROE BULK | 577CN | 538 | 471.1543
18 | 11 | WARREN | 592WR | 1754 | 448.0211
19 | 186 | SOMERVILLE | 127SO | 627 | 441.8915
20 | 334 | TYRRELL | 38TYR | 38 | 431.2105
21 | NA | LACON | 539LA | 1297 | 422.9021
22 | 144 | CONROE BULK | 507CN | 2096 | 421.6865
23 | 168 | CORRIGAN BULK | 238CR | 586 | 417.4829
24 | 177 | DAYTON BULK | 726DY | 1482 | 405.7355
25 | 278 | PORT ARTHUR WW | 15WWK | 488 | 401.6598
26 | 98 | DOBBIN | 920DO | 1133 | 389.985
27 | NA | CONAIR | 515CN | 800 | 385.3562
28 | 239 | HUNTSVILLE | 611HU | 1126 | 384.7078
29 | 67 | RIVTRIN | 269RV | 2458 | 384.5773
30 | 10 | PORT ARTHUR WW | 18WWK | 309 | 383.0485
31 | 255 | TRINITY | 261TR | 1315 | 372.2829
32 | 256 | CALDWELL INDUSTRIAL | 138CI | 645 | 369.1519
33 | 71 | TAMINA | 317TA | 1132 | 365.1095
34 | 275 | LOEB | 18LOB | 508 | 363.7736
35 | 49 | MAYHAW | 671MA | 1649 | 361.4196
36 | 88 | BLUE WATER | 101BL | 1624 | 360.5302
37 | 69 | BATSON | 53BAT | 849 | 356.212
38 | 163 | CLEVELAND | 426CV | 1633 | 352.8034
39 | 55 | CLEVELAND | 406CV | 902 | 348.6452
40 | 161 | SPLENDORA | 308SP | 1281 | 345.1585
41 | 219 | HAMPTON | 158HA | 1089 | 339.9614
42 | 85 | BRIARCLIFF | 31BRC | 1164 | 336.6589
43 | 68 | APRIL | 591AP | 934 | 332.3469
44 | 99 | SARATOGA | 761SA | 420 | 329.4857
45 | 5 | KOUNTZE | 452KT | 400 | 324.465
46 | 280 | KOUNTZE BULK | 435KT | 36 | 322.1667
47 | 4 | MAGNOLIA AMES | 711MG | 836 | 313.6184
48 | 345 | SOMERVILLE | 126SO | 633 | 312.5466
49 | 34 | CRYSTAL | 566CR | 722 | 308.2604
50 | 100 | LACON | 537LA | 506 | 305.9071
51 | 32 | DOBBIN | 519DO | 1512 | 304.9835
52 | 217 | CLEVELAND | 405CV | 1418 | 300.5818
53 | 185 | GOREE | 682GR | 1260 | 288.0183
54 | 269 | ALDEN BRIDGE | 765AL | 1524 | 283.1883
55 | 28 | TEMCO | 627TE | 1015 | 282.5724
56 | 352 | HIMEX | 222HI | 286 | 278.6469
57 | NA | FEDERAL | 801FE | 148 | 269.6959
58 | 355 | CONAIR | 516CN | 524 | 268.8359
59 | 139 | TRANSCO | 48TCO | 130 | 267.3077
60 | 162 | HUMPHREY | 107HM | 562 | 267.1922
61 | 302 | LAKESIDE | 5LAS | 93 | 262.6022
62 | 132 | GRIMES | 982GR | 624 | 262.3381
63 | 82 | OAK RIDGE | 743OK | 2436 | 262.1646
64 | 33 | DAISETTA | 744DA | 758 | 261.6557
65 | 112 | NEW CANEY | 335NC | 3900 | 255.5167
66 | NA | TEMCO | 628TE | 316 | 254.9304
67 | 123 | HARDIN | 35HDN | 645 | 251.1008
68 | NA | METRO | 718ME | 14 | 248.2857
69 | 15 | NECHES | 193NE | 608 | 244.1497
70 | 234 | TAMINA | 599TA | 602 | 244.015
71 | 346 | HUMPHREY | 106HM | 355 | 241.9268
72 | 166 | BAYSHORE | 213BA | 952 | 238.7279
73 | 130 | SOUR LAKE | 105SL | 1207 | 238.1243
74 | 101 | CALVERT | 6CAL | 796 | 235.5678
75 | 17 | HICKORY RIDGE | 341HI | 1000 | 225.762
76 | 160 | EASTGATE | 781EG | 1262 | 222.691
77 | 20 | DOUCETTE | 570DC | 1099 | 219.9445
78 | 300 | ELIZABETH | 120EL | 1333 | 217.2273
79 | NA | LAKESIDE | 9LAS | 63 | 215.9365
80 | 38 | LOVELLS LAKE | 142LV | 263 | 215.9316
81 | 36 | TAMINA | 598TA | 561 | 211.795
82 | 233 | WEST END | 85WED | 514 | 211.6946
83 | 41 | MCDONALD | 479MD | 912 | 211.6886
84 | 73 | BAYSHORE | 211BA | 1545 | 211.1249
85 | 2 | CLEVELAND | 425CV | 1202 | 210.7005
86 | 62 | WYNTEX | 632WT | 863 | 210.1622
87 | 128 | NECHES | 197NE | 204 | 209.6863
88 | 216 | BREKOS | 13BEK | 647 | 207.4482
89 | 124 | CORDREY | 324CO | 1553 | 204.8789
90 | 223 | CRYSTAL | 567CR | 1317 | 202.4457
91 | 22 | BEVIL | 155BE | 3471 | 201.2187
92 | 145 | ELIZABETH | 122EL | 1086 | 199.082
93 | 50 | NEW CANEY | 333NC | 2474 | 198.3743
94 | 58 | PLEASURE | 77PLS | 190 | 197.9895
95 | 187 | LAKEVIEW | 80LAV | 769 | 196.4876
96 | 63 | PLANTATION | 545PL | 893 | 192.6506
97 | 6 | SILSBEE | 463SI | 568 | 191.3028
98 | 312 | PORT ARTHUR WW | 17WWK | 459 | 190.2179
99 | 138 | VIDOR | 164VD | 787 | 187.6645
100 | 170 | MCLEWIS | 380MC | 2173 | 187.1114
101 | 43 | FLETCHER | 457FL | 1453 | 183.0516
102 | 1 | REBEL | 119RB | 449 | 182.9042
103 | 25 | GRIMES | 883GR | 746 | 182.3284
104 | 165 | CALVERT | 4CAL | 1342 | 182.1475
105 | 265 | LAWSON | 102LA | 324 | 181.9969
106 | 122 | SPLENDORA | 307SP | 1179 | 181.1993
107 | 254 | APRIL | 590AP | 1255 | 179.3888
108 | 137 | MCHALE | 113MC | 1035 | 177.6676
109 | 284 | SANDY SHORES | 202SD | 501 | 173.9202
110 | 30 | FLETCHER | 456FL | 603 | 173.0713
111 | 54 | CRYSTAL | 570CR | 2235 | 172.826
112 | 291 | YANKEE DOODLE | 25YAN | 185 | 171.8649
113 | NA | APRIL | 592AP | 676 | 170.8861
114 | 24 | GOREE | 681GR | 330 | 170.2758
115 | 78 | MCDONALD | 477MD | 1212 | 168.5413
116 | 274 | OAK RIDGE | 740OK | 585 | 168.1197
117 | 35 | HUNTSVILLE | 600HU | 1473 | 167.2335
118 | 90 | OAK RIDGE | 744OK | 2635 | 164.7575
119 | 140 | BRIDGE CITY | 363BD | 1618 | 164.1978
120 | 267 | APOLLO | 320AP | 1013 | 163.696
121 | 147 | ECHO | 70ECH | 1341 | 163.6115
122 | 330 | PANORAMA | 525PA | 927 | 162.5038
123 | 205 | HUNTSVILLE | 610HU | 1565 | 159.7623
124 | 159 | RIVTRIN | 268RV | 1164 | 158.5997
125 | 18 | MCLEWIS | 382MC | 551 | 158.2831
126 | 298 | TANGLEWOOD | 136TG | 603 | 157.7728
127 | 56 | VIDOR | 163VD | 2826 | 157.3117
128 | 76 | VIRGINIA | 131VI | 1213 | 156.3553
129 | 182 | OAK RIDGE | 742OK | 141 | 156.2979
130 | 102 | WARREN | 506WR | 1450 | 156.2572
131 | NA | ECHO | 73ECH | 1081 | 156.1961
132 | 226 | CHEEK | 159CH | 1045 | 156.0297
133 | 236 | BRIARCLIFF | 32BRC | 729 | 154.299
134 | 194 | VIRGINIA | 130VI | 727 | 152.6025
135 | 61 | ELIZABETH | 121EL | 1326 | 152.2866
136 | 304 | GOSLIN | 703GL | 2724 | 148.5316
137 | 308 | ALDEN BRIDGE | 767AL | 1470 | 148.4571
138 | 212 | LOEB | 17LOB | 1022 | 148.3454
139 | 42 | WALDEN | 563WD | 878 | 147.5114
140 | 292 | CONROE BULK | 506CN | 2074 | 147.0077
141 | 151 | DAYTON BULK | 723DY | 809 | 146.6922
142 | 111 | TAMINA | 316TA | 271 | 146.5904
143 | 203 | KOUNTZE BULK | 432KT | 1128 | 145.1161
144 | 252 | WINSHIRE | 241WS | 343 | 143.5685
145 | 148 | GROVES | 61GRO | 939 | 142.1981
146 | 329 | FRONT STREET | 301FR | 241 | 141.9544
147 | 79 | CHINA | 92CHI | 1742 | 141.8576
148 | 156 | SHEAWILL | 535SH | 615 | 141.0959
149 | 215 | MCDONALD | 476MD | 1010 | 140.7277
150 | 210 | CROWDER | 102CD | 1818 | 140.6139
151 | 272 | VIWAY | 682VI | 1872 | 135.8686
152 | NA | OILLA | 345OI | 816 | 131.6863
153 | 53 | HUNTSVILLE | 607HU | 2973 | 130.3737
154 | 52 | WALDEN | 564WD | 1377 | 129.3602
155 | 57 | PLANTATION | 546PL | 791 | 128.3325
156 | 21 | DAYTON BULK | 725DY | 801 | 128.2385
157 | 64 | SILSBEE | 462SI | 720 | 127.9
158 | 81 | MCDONALD | 478MD | 610 | 127.8689
159 | 368 | FORT WORTH | 54FTW | 143 | 125.9021
160 | 279 | HUNTSVILLE | 608HU | 2208 | 124.1884
161 | 134 | MILLEDGE | 407MI | 725 | 122.3821
162 | 3 | WALDEN | 562WD | 1513 | 120.4911
163 | 26 | LONGMIRE | 583LM | 1106 | 120.4231
164 | 74 | ROSEDALE | 151RS | 1122 | 119.5419
165 | 167 | BLUE BONNET | 73BLB | 270 | 117.8704
166 | 221 | ROSEDALE | 150RS | 107 | 115.1495
167 | 313 | TRINITY | 262TR | 114 | 114.7895
168 | 198 | STONEGATE | 93STG | 1640 | 114.014
169 | 358 | GOSLIN | 709GL | 3426 | 112.2064
170 | 120 | DOUCETTE | 568DC | 186 | 111.7151
171 | 263 | ARCHIE | 45ARC | 91 | 111.5604
172 | 347 | GOSLIN | 708GL | 1916 | 111.1253
173 | 92 | LINDBERGH | 40LNB | 1210 | 110.1124
174 | 97 | NEW CANEY | 304NC | 1788 | 110.0817
175 | 250 | NEW CANEY | 336NC | 4765 | 109.7077
176 | NA | LACON | 540LA | 626 | 106.6629
177 | 266 | GOSLIN | 707GL | 762 | 105.874
178 | 268 | ORANGE | 351ON | 334 | 105.5689
179 | 105 | MCHALE | 111MC | 881 | 105.2338
180 | 66 | BEVIL | 154BE | 3258 | 104.6731
181 | 293 | FORT WORTH | 52FTW | 46 | 104.2609
182 | 180 | VIWAY | 681VI | 928 | 104.0302
183 | 361 | ALDEN BRIDGE | 766AL | 918 | 102.5654
184 | 126 | ROSEDALE | 152RS | 1149 | 102.2272
185 | 75 | CHEEK | 160CH | 1702 | 101.4835
186 | 220 | FORT WORTH | 51FTW | 384 | 100.7318
187 | 65 | CORDREY | 325CO | 1447 | 99.1279
188 | 45 | CONAIR | 514CN | 1364 | 98.8592
189 | 40 | HANKAMER | 207HA | 607 | 98.8023
190 | 209 | TANGLEWOOD | 135TG | 1305 | 98.6582
191 | 84 | LILLARD | 490LI | 243 | 98.2634
192 | 207 | DAISETTA | 743DA | 348 | 97.3506
193 | 153 | ALDEN BRIDGE | 764AL | 1113 | 94.522
194 | 243 | GROVES | 63GRO | 1238 | 94.391
195 | 191 | STOWELL | 233ST | 607 | 93.7611
196 | 113 | ECHO | 71ECH | 602 | 93.3571
197 | 332 | LACON | 538LA | 1266 | 92.3547
198 | 336 | YANKEE DOODLE | 22YAN | 2059 | 90.3652
199 | 70 | KICKAPOO | 251KP | 828 | 88.0399
200 | 317 | CONROE BULK | 572CN | 1417 | 87.6965
201 | 158 | LOVELLS LAKE | 141LV | 693 | 87.6724
202 | 179 | WINSHIRE | 240WS | 1085 | 87.5954
203 | 184 | CORRIGAN BULK | 239CR | 492 | 86.8028
204 | 60 | MCHALE | 112MC | 646 | 86.531
205 | 227 | DE QUEEN | 86DQN | 305 | 85.4361
206 | 241 | SPURLOCK | 98SPU | 565 | 83.9788
207 | 324 | MANCHESTER | 66MAN | 1578 | 83.7706
208 | 9 | LAKESIDE | 4LAS | 72 | 82.8889
209 | 285 | WYNTEX | 634WT | 679 | 81.6024
210 | 107 | TANGLEWOOD | 137TG | 1364 | 80.6913
211 | 46 | SILSBEE | 461SI | 492 | 80.6098
212 | 297 | AMELIA BULK | 181AM | 568 | 80.0528
213 | 157 | WEST END | 86WED | 945 | 77.9048
214 | 178 | SANDY SHORES | 201SD | 1277 | 77.7463
215 | 16 | WEST END | 87WED | 682 | 77.7214
216 | 117 | NAVASOTA | 905NA | 1534 | 77.4622
217 | 200 | ORANGE | 352ON | 818 | 77.1455
218 | 307 | DE QUEEN | 87DQN | 216 | 76.8657
219 | 59 | DE QUEEN | 84DQN | 343 | 75.7872
220 | 228 | LAKESIDE | 8LAS | 47 | 74.7234
221 | 142 | DORMAN | 114DR | 842 | 74.4537
222 | 72 | CROCKETT | 64CRK | 536 | 74.0466
223 | 114 | WESTSIDE | 111WS | 547 | 73.3473
224 | 176 | KOLBS | 37KOL | 1050 | 72.099
225 | 311 | LAMAR | 97LAM | 579 | 71.5889
226 | 251 | MCHALE | 110MC | 869 | 71.4085
227 | 231 | MIDWAY | 819MD | 63 | 71.3492
228 | 225 | KOLBS | 36KOL | 1358 | 70.19
229 | 325 | FORT WORTH | 55FTW | 169 | 69.0651
230 | 192 | WYNTEX | 633WT | 495 | 67.9394
231 | 106 | CORDREY | 326CO | 1235 | 67.57
232 | 108 | NAVASOTA | 904NA | 1538 | 67.0982
233 | 364 | ARCHIE | 46ARC | 13 | 66.9231
234 | 31 | SPURGER | 528SP | 367 | 66.7466
235 | 276 | PORT NECHES | 46PTN | 936 | 66.7019
236 | 13 | SHEAWILL | 536SH | 1320 | 66.6864
237 | 149 | WOODVILLE | 594WD | 1227 | 66.0008
238 | 333 | WESTSIDE | 112WS | 503 | 65.9583
239 | 193 | FRONT STREET | 307FR | 588 | 65.1446
240 | 359 | AVERILL | 56AVR | 243 | 65.037
241 | 248 | FORT WORTH | 50FTW | 264 | 64.9205
242 | 39 | APOLLO | 321AP | 735 | 64.3497
243 | 188 | KOLBS | 35KOL | 1140 | 63.1965
244 | 273 | CENTRAL | 133CE | 1478 | 62.7145
245 | 44 | DAYTON BULK | 724DY | 2075 | 61.8805
246 | NA | FORT WORTH | 53FTW | 14 | 61.0714
247 | 48 | PORT ACRES SUB | 68PTA | 1120 | 60.4027
248 | 175 | CLEVELAND | 404CV | 2367 | 60.0266
249 | 224 | PRAIRIE | 148PR | 344 | 59.7384
250 | 344 | FRONT STREET | 302FR | 189 | 59.7302
251 | 118 | DE QUEEN | 85DQN | 109 | 58.8624
252 | 37 | BRIDGE CITY | 361BD | 1077 | 58.2461
253 | 244 | BLUE BONNET | 72BLB | 66 | 58
254 | 183 | NAVASOTA | 969NA | 620 | 57.5887
255 | 94 | WINFREE | 341WN | 686 | 57.0292
256 | 104 | CROWDER | 105CD | 826 | 56.5169
257 | 213 | METRO | 716ME | 3004 | 56.1561
258 | 127 | GROVES | 59GRO | 1261 | 55.843
259 | 271 | ORANGE | 350ON | 886 | 55.7359
260 | 337 | GOSLIN | 706GL | 1816 | 55.1217
261 | 214 | CLEVELAND | 403CV | 1374 | 54.8683
262 | NA | CONROE BULK | 576CN | 81 | 54.5062
263 | 136 | LAKEVIEW | 81LAV | 1354 | 54.401
264 | 283 | WALDEN | 560WD | 427 | 52.6112
265 | 218 | CENTRAL | 132CE | 1552 | 52.5174
266 | 47 | MAPLE | 90MPL | 413 | 50.6877
267 | 295 | CROWDER | 104CD | 1547 | 50.2922
268 | 259 | FRONT STREET | 308FR | 434 | 49.4009
269 | 232 | CENTRAL | 131CE | 1684 | 48.6716
270 | 374 | CROCKETT | 198CR | 57 | 48.6316
271 | 306 | CONAIR | 511CN | 1246 | 48.4486
272 | 303 | VIDOR | 162VD | 1686 | 48.3428
273 | 89 | CROCKETT | 65CRK | 480 | 47.9062
274 | 331 | GOSLIN | 705GL | 831 | 46.6005
275 | 247 | ELIZABETH | 123EL | 2237 | 45.481
276 | 318 | WEST END | 80WED | 476 | 44.8361
277 | 51 | NORTH SILSBEE | 471NS | 1045 | 44.3301
278 | 316 | VIDOR | 161VD | 634 | 43.7003
279 | 189 | STONEGATE | 92STG | 1915 | 43.1572
280 | 282 | CONAIR | 513CN | 1044 | 42.5948
281 | 296 | DAISETTA | 741DA | 185 | 40.3568
282 | 125 | BRIDGE CITY | 360BD | 936 | 39.828
283 | 204 | KOUNTZE | 453KT | 638 | 39.4169
284 | 190 | DOUCETTE | 569DC | 143 | 39.2517
285 | 87 | LONGMIRE | 580LM | 2461 | 38.8948
286 | 27 | PORT NECHES | 45PTN | 1244 | 38.7235
287 | 277 | NORTH END | 29NOE | 402 | 37.9453
288 | 115 | CONROE BULK | 574CN | 459 | 37.3878
289 | 240 | PARKDALE | 176PR | 324 | 37.3642
290 | 305 | GOSLIN | 710GL | 1353 | 36.7554
291 | 86 | NORTH SILSBEE | 472NS | 333 | 36.4775
292 | 173 | ADAMS BAYOU | 331AD | 1676 | 35.7041
293 | 172 | VIRGINIA | 129VI | 913 | 35.1391
294 | 109 | PRAIRIE | 147PR | 287 | 35.122
295 | 270 | CORDREY | 320CO | 253 | 34.9091
296 | 264 | HANKS | 23HKS | 1412 | 34.7139
297 | 242 | LINDBERGH | 43LNB | 814 | 34.656
298 | 196 | LINDBERGH | 42LNB | 1685 | 33.9359
299 | 301 | HANKS | 24HKS | 924 | 33.7608
300 | 154 | WOODVILLE | 593WD | 900 | 33.3222
301 | 354 | NAVASOTA | 902NA | 186 | 32.4677
302 | 237 | CROCKETT | 60CRK | 406 | 32.2808
303 | 129 | STOWELL | 231ST | 1354 | 31.9003
304 | 91 | LONGMIRE | 584LM | 858 | 31.5105
305 | 314 | PARKDALE | 171PR | 581 | 31.1635
306 | NA | SPLENDORA | 309SP | 1688 | 31.0391
307 | 93 | SOUR LAKE | 104SL | 296 | 30.5
308 | 80 | PORT ACRES BULK | 70PAS | 829 | 29.9566
309 | 230 | BRIARCLIFF | 33BRC | 852 | 29.7453
310 | 326 | HANKS | 22HKS | 1192 | 29.6669
311 | 141 | CEDAR | 698CE | 19 | 28.7895
312 | 339 | OAK RIDGE | 741OK | 800 | 28.0362
313 | 238 | HANKS | 25HKS | 954 | 27.5052
314 | 222 | STOWELL | 232ST | 869 | 27.1945
315 | 351 | CENTRAL | 130CE | 660 | 27.1879
316 | 246 | CORDREY | 327CO | 951 | 25.939
317 | 155 | GROVETON | 255GV | 199 | 25.1457
318 | 152 | AMELIA BULK | 182AM | 1193 | 25.1157
319 | 150 | PORT ACRES SUB | 69PTA | 1027 | 24.9844
320 | 135 | WINFREE | 340WN | 855 | 24.6702
321 | 310 | STONEGATE | 90STG | 860 | 23.0047
322 | 260 | CONAIR | 512CN | 1844 | 22.1236
323 | 343 | CONROE BULK | 505CN | 583 | 20.7599
324 | 206 | TANGLEWOOD | 134TG | 2109 | 20.6814
325 | 289 | CLEVELAND | 402CV | 342 | 20.2778
326 | 328 | YANKEE DOODLE | 24YAN | 470 | 20.1021
327 | 96 | CROWDER | 103CD | 1328 | 20.0384
328 | 320 | BAYSHORE | 212BA | 67 | 19.7015
329 | 262 | GOSLIN | 704GL | 1739 | 19.3232
330 | 338 | WEST END | 82WED | 447 | 18.2461
331 | 288 | NORTH END | 27NOE | 166 | 17.6325
332 | 350 | CROCKETT | 61CRK | 126 | 17.0556
333 | 340 | WESTSIDE | 113WS | 324 | 16.9506
334 | 258 | BLUE WATER | 100BL | 1569 | 16.9031
335 | 379 | METRO | 717ME | 47 | 16.8511
336 | 235 | NECHES | 194NE | 514 | 16.5175
337 | 8 | LINDBERGH | 41LNB | 310 | 16.4355
338 | 287 | KOLBS | 34KOL | 1013 | 16.2892
339 | 299 | AVERILL | 57AVR | 110 | 16.1091
340 | 131 | BRIDGE CITY | 362BD | 1175 | 15.9387
341 | 322 | GROVES | 62GRO | 1479 | 15.8702
342 | 369 | CONROE BULK | 575CN | 262 | 14.3931
343 | 202 | CORDREY | 321CO | 162 | 14.1975
344 | 356 | HUMPHREY | 108HM | 33 | 13.7879
345 | 164 | LINCOLN | 15LCN | 293 | 13.5427
346 | 342 | JIROU | 76JRU | 245 | 13.4735
347 | 253 | PRAIRIE | 149PR | 325 | 12.8
348 | 281 | WEST END | 88WED | 337 | 11.73
349 | 360 | ADAMS BAYOU | 330AD | 138 | 10.7029
350 | 181 | MANCHESTER | 64MAN | 132 | 10.6212
351 | 294 | TYRRELL | 37TYR | 577 | 10.4697
352 | 335 | ADAMS BAYOU | 332AD | 658 | 10.1125
353 | 95 | LAMAR | 95LAM | 601 | 9.1215
354 | 169 | GROVETON | 257GV | 133 | 8.3534
355 | 121 | NORTH END | 21NOE | 1469 | 7.8421
356 | 12 | HEARNE | 28HRN | 25 | 7.56
357 | 208 | NAVASOTA | 901NA | 416 | 6.6899
358 | 257 | MAPLE | 91MPL | 446 | 6.6502
359 | 171 | MANCHESTER | 67MAN | 941 | 6.5707
360 | 315 | NORTH END | 26NOE | 509 | 6.3792
361 | 327 | MANCHESTER | 65MAN | 348 | 6.319
362 | 353 | YANKEE DOODLE | 23YAN | 606 | 5.6667
363 | 375 | TESCO | 36TSC | 73 | 5.5342
364 | 7 | AMELIA BULK | 180AM | 373 | 4.6273
365 | 290 | LINCOLN | 16LCN | 386 | 3.9456
366 | 119 | JIROU | 77JRU | 341 | 3.7361
367 | 197 | SPURLOCK | 99SPU | 445 | 3.1753
368 | 341 | JIROU | 78JRU | 278 | 2.8741
369 | 349 | JIROU | 75JRU | 91 | 1.8462
370 | 319 | CLEVELAND | 401CV | 103 | 1.3981
371 | 229 | NORTH END | 28NOE | 213 | 1.3146
372 | 363 | AVERILL | 55AVR | 176 | 1.0511
373 | 348 | SOUTH LIBERTY | 713SL | 197 | 0.64975
374 | 362 | ALDEN BRIDGE | 768AL | 1275 | 0.40627
375 | 366 | METRO | 719ME | 154 | 0.33766
376 | 195 | TRAVIS | 13TRV | 14 | 0
377 | 373 | CROCKETT | 195CR | 365 | 0
378 | NA | TRAVIS | 2TRV | 17 | 0
379 | NA | OAK RIDGE | 745OK | 139 | 0
380 | 383 | SPEEDWAY | 917SW | 18 | 0
381 | NA | STONEGATE | 91STG | 930 | 0
382 | NA | TRAVIS | 9TRV | 49 | 0

## Causes
Entergy Gulf States, Inc.
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2000 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 15.69%
|  | Vegetation | 19.71%
|  | Animals and Birds | 23.47%
|  | People (Including cars and farm equip) | 6.894%
|  | Utility-owned Equipment | 32.16%
|  | Other | 1.697%
|  | Unknown | 0.3772%