## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Southwestern Public Service Co
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 572
Due: |  | February 14, 2001
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 23436
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Division
Commission Staff
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mailto:mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2000 Reporting Year
Southwestern Public Service Co
Project 23436

## System-SAIFI
Southwestern Public Service Co
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 0.53703 | 0.03225 | 0.01841 | 0.11242 | 0.02568 | 0.071758 | 0.056636 | 0.037695 | 0.026067 | 0.016318 | 0.045161 | 0.027022 | 0.067612
Scheduled
2000 | 0.02326 | 0.00073925 | 0.00095383 | 0.0016595 | 0.00062225 | 0.0010068 | 0.0081998 | 0.0032769 | 0.0019707 | 0.00083018 | 0.00058721 | 0.00063747 | 0.0027759
Outside Causes
2000 | 0.011549 | 0 | 0.0011431 | 0.00096078 | 0 | 0.0023335 | 0 | 0.0046905 | 0 | 0 | 0.0022048 | 0.00021609 | 0
Major Events
2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## System-SAIDI
Southwestern Public Service Co
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 43.56 | 1.2169 | 1.0866 | 8.7757 | 1.6076 | 4.892 | 5.542 | 3.7388 | 1.8038 | 1.5038 | 2.8551 | 2.1328 | 8.4029
Scheduled
2000 | 1.57 | 0.062432 | 0.053036 | 0.078628 | 0.057411 | 0.075371 | 0.41153 | 0.52839 | 0.066496 | 0.051785 | 0.058847 | 0.058863 | 0.065153
Outside Causes
2000 | 0.72 | 0 | 0.074304 | 0.10569 | 0 | 0.1384 | 0 | 0.29455 | 0 | 0 | 0.087902 | 0.01706 | 0
Major Events
2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 572
Add or Delete Rows as Necessary
Southwestern Public Service Co
2000 SAIFI Ranking | 1999 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIFI Value
1 | 173 | CARSON | 7030 | 87 | 11.023
2 | 37 | DALHART | 1664 | 20 | 8.35
3 | 373 | Littlefield City | LI630 | 306 | 6.6013
4 | 10 | SHERMAN | 1452 | 32 | 5.7188
5 | 4 | KINGSMILL | 5100 | 131 | 5.4656
6 | 141 | Lehman | LV500 | 159 | 5.3145
7 | 131 | EXELL | 1238 | 171 | 4.4561
8 | 115 | SPRINGCREEK | 1320 | 174 | 4.1839
9 | 544 | Booker | 33-08 | 1157 | 4.0588
10 | 177 | Allred | S180 | 112 | 3.9196
11 | 163 | Wellman | S755 | 228 | 3.6184
12 | 158 | CARSON | 7034 | 49 | 3.551
13 | 168 | ESTACADO | 5D15 | 1361 | 3.1727
14 | 110 | Kress Rural | KR120 | 148 | 2.7905
15 | 235 | HERRING | 1434 | 1653 | 2.7387
16 | 88 | Cedar Lake East | S910 | 33 | 2.7273
17 | 262 | DIMMITT S | DI110 | 312 | 2.6795
18 | 242 | Diekemper | DI110 | 312 | 2.6118
19 | 258 | KINGSMILL | 5115 | 1033 | 2.5094
20 | 2 | Tenneco | S440 | 53 | 2.5065
21 | 28 | BUFFALO | 5165 | 306 | 2.5051
22 | 366 | Muleshoe Valley | MR150 | 99 | 2.4663
23 | 172 | SPEARMAN INTG | 1512 | 905 | 2.4518
24 | 184 | Moss | 6540 | 166 | 2.3495
25 | 205 | CENTER | 5305 | 103 | 2.3349
26 | 127 | KITE | 5B80 | 851 | 2.2832
27 | 159 | CANYON E | 5185 | 452 | 2.2691
28 | 87 | DAWN | 5A35 | 223 | 2.25
29 | 23 | Muleshoe West | MR140 | 688 | 2.2192
30 | 360 | RIVERVIEW | R095 | 730 | 2.2177
31 | 116 | WATERFIELD | 2361 | 487 | 2.1695
32 | 557 | SLATON 23KV | 6600 | 525 | 2.103
33 | 302 | Moss | 6320 | 1845 | 2.0937
34 | 255 | Tuco | N412 | 651 | 2.0398
35 | 55 | PRINGLE OIL | 1200 | 176 | 2.0222
36 | 254 | VAN BUREN N | 7044 | 45 | 1.9444
37 | 122 | Middleton | LV820 | 54 | 1.9376
38 | 290 | Littlefield City | LI640 | 673 | 1.8785
39 | 59 | WILDORADO | 2018 | 107 | 1.8569
40 | 321 | Monroe | 6610 | 517 | 1.8205
41 | 261 | Lewters | L470 | 39 | 1.8011
42 | 9 | Doud | 6325 | 2031 | 1.8
43 | 346 | Flanagan | S550 | 40 | 1.7869
44 | 165 | FRITCH | 1360 | 826 | 1.7852
45 | 112 | HIGHLAND PARK | 5335 | 810 | 1.75
46 | 164 | Doss 23kV | 6660 | 80 | 1.6948
47 | 47 | Whiteface | LV210 | 154 | 1.6562
48 | 138 | GRAVES | 7178 | 1524 | 1.6349
49 | 409 | SONCY | 7024 | 2101 | 1.6306
50 | 114 | KINGSMILL | 5105 | 647 | 1.6298
51 | 123 | EAST PLANT | A110 | 262 | 1.6045
52 | 35 | PERRYTON | 1230 | 976 | 1.5952
53 | 520 | Riley | S500 | 42 | 1.5659
54 | 24 | BURNETT | 1394 | 129 | 1.5377
55 | 41 | CONWAY | 5010 | 1380 | 1.5
56 | 21 | CHANNING | 1568 | 10 | 1.496
57 | 51 | HEREFORD | 83 | 252 | 1.4906
58 | 94 | Allred | S140 | 53 | 1.4558
59 | 42 | Kress Rural | KR140 | 147 | 1.4364
60 | 58 | Irick | IB110 | 55 | 1.4078
61 | 219 | DIMMITT S | DI120 | 255 | 1.301
62 | 543 | BOOKER | 535 | 206 | 1.2975
63 | 139 | EAST PLANT | A118 | 1704 | 1.2923
64 | 215 | Barwise | IB140 | 65 | 1.2897
65 | 8 | PARMER | 2475 | 711 | 1.2761
66 | 180 | ROXANA | 2076 | 873 | 1.2703
67 | 34 | Jaybee | S765 | 37 | 1.2583
68 | 128 | KITE | 5075 | 1057 | 1.257
69 | 274 | Doud | 6305 | 1704 | 1.244
70 | 199 | Indiana | 7480 | 1861 | 1.2293
71 | 151 | PIERCE | 5B05 | 1016 | 1.2205
72 | 216 | GEORGIA W | 2338 | 3292 | 1.2195
73 | 233 | Plant X | X310 | 1034 | 1.2147
74 | 98 | KINGSMILL | 5110 | 489 | 1.2078
75 | 76 | WEATHERLY | 1354 | 765 | 1.2024
76 | 118 | LYONS | 5C25 | 677 | 1.1861
77 | 105 | VEGA | 5170 | 833 | 1.1852
78 | 3 | Springlake | SO140 | 54 | 1.1818
79 | 0 | Pacific | LV930 | 11 | 1.1807
80 | 309 | KITE | 7106 | 581 | 1.1801
81 | 226 | LAWRENCE PARK W | 5315 | 705 | 1.1771
82 | 40 | Russell | S280 | 96 | 1.1667
83 | 449 | Boardman | S430 | 48 | 1.1587
84 | 63 | Littlefield South | LI120 | 63 | 1.1494
85 | 81 | TASCOSA | 1218 | 174 | 1.1487
86 | 239 | Acco | L580 | 195 | 1.1472
87 | 13 | Levelland City 12KV | LV190 | 2541 | 1.1463
88 | 278 | Stanton 23KV | 6570 | 123 | 1.143
89 | 317 | HEREFORD | 2630 | 979 | 1.1415
90 | 15 | Levelland City 12KV | LV180 | 2658 | 1.1183
91 | 69 | MANHATTAN | 7164 | 1285 | 1.1101
92 | 169 | 34TH STREET | 5B85 | 1717 | 1.109
93 | 29 | DUMAS 19TH | 1470 | 2623 | 1.0984
94 | 253 | VAN BUREN S | 7198 | 1778 | 1.0909
95 | 148 | PRINGLE OIL | 1204 | 88 | 1.073
96 | 66 | Plainview West | P130 | 603 | 1.0708
97 | 46 | SUNRAY | 5A55 | 960 | 1.0694
98 | 559 | GARZA | 6520 | 533 | 1.0622
99 | 264 | SPRINGCREEK | 1316 | 434 | 1.0545
100 | 418 | SHERMAN | 1448 | 807 | 1.0513
101 | 62 | RIVERVIEW | R100 | 429 | 1.0508
102 | 200 | Acco | L570 | 256 | 1.0455
103 | 550 | SONCY | 7116 | 66 | 1.0296
104 | 108 | BOWERS | 2057 | 541 | 1.0232
105 | 250 | Littlefield West | LI156 | 259 | 1.0183
106 | 117 | EXELL | 1242 | 109 | 1.0157
107 | 236 | ODC | S325 | 127 | 1.0087
108 | 101 | Southland | SO110 | 115 | 1.006
109 | 137 | Allen | L505 | 166 | 1.0054
110 | 351 | Sudan Rural | SR120 | 558 | 1.0044
111 | 501 | SHERMAN | 1460 | 2259 | 1
112 | 85 | DUMAS HELIUM | 1264 | 26 | 1
113 | 553 | SUNSET | 5D30 | 29 | 0.98249
114 | 82 | Westridge | P460 | 457 | 0.96698
115 | 432 | VAN BUREN S | 7194 | 212 | 0.96667
116 | 31 | Yellowhouse | LV900 | 30 | 0.96352
117 | 400 | Lynn | 6300 | 603 | 0.95521
118 | 26 | Hendrick | 6685 | 1429 | 0.93088
119 | 295 | Plainview South | P220 | 1519 | 0.85806
120 | 527 | HERRING | 1438 | 155 | 0.85564
121 | 27 | FARMERS | 5395 | 665 | 0.8
122 | 304 | BUFFALO | 2215 | 10 | 0.71958
123 | 53 | Murphy | 7535 | 1997 | 0.7132
124 | 209 | HASTINGS | 7086 | 659 | 0.71246
125 | 14 | BOWERS | 5090 | 313 | 0.70506
126 | 299 | Plainview East | P160 | 573 | 0.70225
127 | 144 | DALHART | 1298 | 1021 | 0.69697
128 | 136 | MOORE CO | M055 | 33 | 0.69441
129 | 186 | WEATHERLY | 1350 | 733 | 0.69388
130 | 33 | TEXAS | 0146 | 49 | 0.68128
131 | 312 | LAWRENCE PARK E | 5275 | 1277 | 0.67251
132 | 185 | STINNETT | 1332 | 171 | 0.6657
133 | 263 | FRITCH | 1364 | 2064 | 0.65306
134 | 149 | Muleshoe West | MR130 | 98 | 0.64455
135 | 161 | SUNSET | 5D35 | 211 | 0.61082
136 | 134 | GEORGIA E | 5B40 | 776 | 0.59557
137 | 228 | WATERFIELD | 2364 | 361 | 0.5746
138 | 83 | WEST BORGER | 1A15 | 1575 | 0.5735
139 | 17 | Doss 23kV | 6670 | 1932 | 0.56641
140 | 182 | MANHATTAN | 5135 | 655 | 0.5553
141 | 95 | MC LEAN | 5300 | 859 | 0.55093
142 | 245 | SONCY | 5130 | 1178 | 0.53623
143 | 436 | Indiana | 7465 | 1035 | 0.52805
144 | 391 | VAN BUREN N | 7046 | 303 | 0.51102
145 | 152 | MC CULLOUGH | 5085 | 1180 | 0.5063
146 | 124 | ARROWHEAD | 5D85 | 1428 | 0.48677
147 | 106 | WILDORADO | 2014 | 189 | 0.47981
148 | 104 | CHANNING | 145-3 | 421 | 0.46763
149 | 194 | Planters | L710 | 1251 | 0.46723
150 | 338 | Garza 4KV | PO120 | 595 | 0.46575
151 | 1 | Springlake | SO150 | 73 | 0.4655
152 | 204 | CANYON W | 7128 | 3261 | 0.46068
153 | 147 | SOUTHEAST | 5C85 | 2416 | 0.43864
154 | 32 | SOUTHEAST | 5C80 | 383 | 0.43392
155 | 187 | WHITAKER | 5260 | 1362 | 0.43239
156 | 142 | CANYON E | 5190 | 1272 | 0.39623
157 | 43 | ODC | S335 | 53 | 0.39
158 | 100 | Clutter | 6630 | 500 | 0.38947
159 | 218 | PIERCE | 5B00 | 1140 | 0.38835
160 | 229 | Tokio | S800 | 103 | 0.38307
161 | 193 | BUSH | 5210 | 2185 | 0.37838
162 | 48 | TASCOSA | 1222 | 37 | 0.37748
163 | 49 | HAPPY CITY | 7040 | 302 | 0.36364
164 | 0 | Indiana | 7440 | 11 | 0.36364
165 | 314 | ETTER RURAL | 5410 | 407 | 0.35913
166 | 121 | Garza 23KV | 6500 | 504 | 0.33659
167 | 323 | Levelland East | LV950 | 410 | 0.33466
168 | 64 | WATERFIELD | 2368 | 251 | 0.33333
169 | 71 | County Line | CL110 | 21 | 0.33019
170 | 143 | El Paso | S320 | 212 | 0.3299
171 | 178 | MC CULLOUGH | 7002 | 1458 | 0.3289
172 | 249 | BUSH | 5205 | 1277 | 0.32124
173 | 441 | Wheelock | 7370 | 1874 | 0.31628
174 | 273 | SONCY | 7020 | 860 | 0.30934
175 | 376 | Tuco | N404 | 889 | 0.30882
176 | 61 | Barwise | IB130 | 68 | 0.30748
177 | 16 | HASTINGS | 7078 | 2953 | 0.30702
178 | 220 | Littlefield South | LI110 | 1495 | 0.30624
179 | 251 | Hale Center | HR110 | 849 | 0.3
180 | 212 | Irick | IB120 | 20 | 0.28941
181 | 160 | Doss 12kV | S400 | 1275 | 0.28892
182 | 130 | Slaton 23KV | 6690 | 803 | 0.27586
183 | 374 | DALHART | 1580 | 145 | 0.27354
184 | 305 | Stanton 12KV | L540 | 786 | 0.26946
185 | 257 | STRATFORD | 1290 | 334 | 0.26744
186 | 56 | Lockney Rural | LA150 | 86 | 0.26446
187 | 167 | Amoco | LV920 | 242 | 0.26014
188 | 157 | Muleshoe East | MU630 | 296 | 0.25993
189 | 109 | CHERRY STREET | 5C15 | 1108 | 0.25988
190 | 125 | CHERRY STREET | 5C10 | 835 | 0.25893
191 | 166 | Boardman | S560 | 112 | 0.25878
192 | 92 | Carlisle | 6650 | 1851 | 0.25299
193 | 211 | PERRYTON | 1235 | 1340 | 0.25
194 | 25 | Lehman | LV510 | 240 | 0.24434
195 | 50 | EAST PLANT | A122 | 1326 | 0.23938
196 | 287 | INDUSTRIAL | 1416 | 706 | 0.23711
197 | 54 | Lockney Rural | LA140 | 97 | 0.23684
198 | 206 | Allen | L745 | 798 | 0.23402
199 | 423 | GEORGIA W | 2342 | 782 | 0.22935
200 | 224 | LYONS | 5C20 | 1513 | 0.22898
201 | 72 | 34TH STREET | 5B95 | 1974 | 0.22621
202 | 359 | Allen | L520 | 1114 | 0.22535
203 | 398 | SHERMAN | 1456 | 1420 | 0.22354
204 | 201 | PIERCE | 5B10 | 841 | 0.22166
205 | 84 | Vickers | 6680 | 1588 | 0.22106
206 | 275 | Stanton 23KV | 6430 | 1624 | 0.21355
207 | 423 | GEORGIA W | 2342 | 782 | 0.21178
208 | 316 | Hart | HA120 | 628 | 0.20554
209 | 344 | VAN BUREN N | 7048 | 433 | 0.2
210 | 5 | SNEED | 1400 | 10 | 0.19843
211 | 7 | Olton | SO180 | 635 | 0.19769
212 | 44 | WHITAKER | 5270 | 1993 | 0.19514
213 | 342 | GEORGIA E | 5B30 | 1399 | 0.1891
214 | 171 | HIGHLAND PARK | 5325 | 312 | 0.18357
215 | 129 | ROXANA | 2334 | 207 | 0.1746
216 | 68 | WADE | 1420 | 63 | 0.1738
217 | 372 | COULTER | 5290 | 1588 | 0.17226
218 | 238 | Denver City East | S100 | 685 | 0.17099
219 | 45 | DUMAS 19TH | 1367 | 1772 | 0.17069
220 | 266 | LAWRENCE PARK E | 5025 | 1740 | 0.17041
221 | 395 | Slaton 4KV | SL140 | 1291 | 0.16358
222 | 38 | CONWAY | 5005 | 1834 | 0.16318
223 | 181 | El Paso | S340 | 478 | 0.16279
224 | 150 | Ivory | L680 | 86 | 0.15881
225 | 120 | CANYON W | 5160 | 636 | 0.15847
226 | 259 | WEST BORGER | 1A10 | 1729 | 0.15805
227 | 174 | DALHART | 1246 | 1335 | 0.15789
228 | 111 | Hart | HA110 | 95 | 0.15595
229 | 70 | Plainview South | P230 | 622 | 0.15577
230 | 222 | PERRYTON | 1530 | 1040 | 0.15385
231 | 510 | Texaco | LV980 | 26 | 0.15385
232 | 534 | Zavalla | LV790 | 13 | 0.14958
233 | 277 | Levelland East | LV960 | 1083 | 0.14776
234 | 197 | GEORGIA E | 5B35 | 1543 | 0.14739
235 | 289 | GEORGIA W | 2346 | 977 | 0.14668
236 | 279 | Murphy | 7430 | 784 | 0.14623
237 | 404 | BOOKER | 422 | 212 | 0.14392
238 | 313 | Wheelock | 7365 | 1744 | 0.14286
239 | 243 | Aiken Rural | LA110 | 112 | 0.14286
240 | 426 | Levelland City 2.4KV | LV520 | 210 | 0.14128
241 | 133 | FARMERS | 5390 | 2803 | 0.13721
242 | 265 | STINNETT | 1328 | 1188 | 0.13467
243 | 270 | HASTINGS | 7082 | 1344 | 0.13333
244 | 74 | ARROWHEAD | 5D80 | 225 | 0.13208
245 | 333 | Garza 4KV | PO110 | 636 | 0.13024
246 | 191 | COULTER | 5285 | 1336 | 0.12966
247 | 75 | Littlefield City | LI610 | 617 | 0.12727
248 | 227 | Plainview East | P180 | 110 | 0.11923
249 | 57 | HEREFORD | 2627 | 1342 | 0.11868
250 | 91 | ETTER RURAL | 5405 | 969 | 0.11702
251 | 11 | ROBERTS | 7010 | 564 | 0.11628
252 | 132 | SNEED | 1404 | 43 | 0.11276
253 | 60 | Plainview West | P120 | 1756 | 0.11111
254 | 126 | Pacific | LV940 | 72 | 0.11017
255 | 343 | PUCKETT | 5C30 | 944 | 0.10833
256 | 283 | Sudan Rural | SR110 | 120 | 0.10756
257 | 156 | West Anton | 3502 | 688 | 0.10526
258 | 12 | CHANNING | 1564 | 19 | 0.10417
259 | 352 | SAN JACINTO | 130 | 192 | 0.10186
260 | 230 | INDUSTRIAL | 1412 | 805 | 0.1
261 | 170 | Elwood | LV140 | 70 | 0.096725
262 | 196 | MANHATTAN | 7160 | 1313 | 0.095074
263 | 320 | 34TH STREET | 5B90 | 873 | 0.094787
264 | 153 | Olton | SO170 | 633 | 0.094643
265 | 89 | Brisco | 3434 | 560 | 0.093843
266 | 280 | HASTINGS | 7074 | 1673 | 0.091503
267 | 381 | Morton | M120 | 765 | 0.090486
268 | 329 | Denver City East | S110 | 1503 | 0.090226
269 | 294 | COULTER | 5280 | 798 | 0.088957
270 | 189 | HAPPY CITY | 2326 | 326 | 0.08867
271 | 361 | EAST PLANT | A126 | 609 | 0.088398
272 | 221 | Plainview East | P150 | 181 | 0.088154
273 | 99 | DALHART | 108 | 363 | 0.087728
274 | 190 | Clutter | 6620 | 1972 | 0.086594
275 | 192 | Plainview North | P260 | 1559 | 0.086174
276 | 318 | LAWRENCE PARK W | 5050 | 1056 | 0.084976
277 | 272 | LAWRENCE PARK E | 5020 | 1471 | 0.084906
278 | 90 | Wheelock | 7375 | 848 | 0.084559
279 | 252 | ESTACADO | 5D20 | 544 | 0.084011
280 | 282 | Kress Rural | KR110 | 369 | 0.083001
281 | 195 | MC CULLOUGH | 7005 | 1506 | 0.082895
282 | 358 | Plainview City | P630 | 760 | 0.082192
283 | 213 | Morton | M130 | 511 | 0.082067
284 | 269 | Allmon | AT120 | 658 | 0.08135
285 | 339 | CENTER | 5310 | 2311 | 0.079621
286 | 370 | Slaton 4KV | SL150 | 1055 | 0.079007
287 | 430 | SPEARMAN CITY | 301 | 443 | 0.078979
288 | 410 | South Floydada | 3547 | 823 | 0.078947
289 | 135 | WHITAKER | 5265 | 38 | 0.07757
290 | 145 | Batton | L624 | 1070 | 0.076212
291 | 276 | Plainview City | P620 | 433 | 0.075879
292 | 237 | FRIONA RURAL | 2436 | 1621 | 0.075
293 | 522 | Prentice | S875 | 40 | 0.07489
294 | 388 | CANADIAN | 350 | 227 | 0.073333
295 | 420 | DALHART | 106 | 150 | 0.071429
296 | 413 | Muleshoe East | MU640 | 266 | 0.070732
297 | 225 | Doud | 6480 | 2050 | 0.069577
298 | 207 | LAWRENCE PARK W | 5030 | 733 | 0.066978
299 | 419 | SPEARMAN CITY | 302 | 642 | 0.063906
300 | 30 | Lockney Rural | 3417 | 1111 | 0.062742
301 | 202 | BUSH | 5215 | 1291 | 0.060606
302 | 20 | South Floydada | 3551 | 33 | 0.059211
303 | 367 | Batton | L622 | 912 | 0.05814
304 | 315 | Ivory | L685 | 1204 | 0.057018
305 | 80 | Amherst | AM620 | 456 | 0.055319
306 | 378 | Plainview City | P670 | 235 | 0.054974
307 | 113 | San Andres | S370 | 382 | 0.054608
308 | 77 | PERRYTON | 1535 | 879 | 0.051576
309 | 102 | Brownfield | 6580 | 349 | 0.05132
310 | 389 | Stanton 23KV | 6420 | 682 | 0.050872
311 | 286 | 3RD & WESTERN | 241 | 688 | 0.05
312 | 319 | Lariat | MR110 | 100 | 0.05
313 | 394 | Whitharral | LV710 | 120 | 0.049569
314 | 382 | ISOM | 231 | 464 | 0.04878
315 | 345 | Amherst | AM610 | 41 | 0.04828
316 | 375 | Hendrick | 6675 | 1657 | 0.048236
317 | 326 | Westridge | P450 | 1389 | 0.048204
318 | 383 | Allen | L510 | 1058 | 0.047876
319 | 365 | ESTACADO | 5D10 | 2590 | 0.044888
320 | 240 | Curry Co | 3486 | 401 | 0.044745
321 | 96 | Stanton 23KV | 6410 | 961 | 0.043478
322 | 97 | Zavalla | LV780 | 23 | 0.04
323 | 439 | Batton | L640 | 1000 | 0.039735
324 | 341 | DALHART | 116 | 302 | 0.038961
325 | 176 | FARMERS | 5385 | 231 | 0.038462
326 | 39 | BOWERS | 2053 | 52 | 0.038012
327 | 297 | Plainview West | P110 | 1026 | 0.037889
328 | 155 | CANYON W | 7124 | 2217 | 0.036232
329 | 414 | Ivory | L682 | 138 | 0.034794
330 | 533 | WYE | 33-10 | 776 | 0.034483
331 | 386 | RIVERVIEW | R090 | 29 | 0.034343
332 | 310 | DALHART | 114 | 495 | 0.034063
333 | 65 | SPEARMAN CITY | 401 | 411 | 0.032394
334 | 437 | PUCKETT | 5C60 | 710 | 0.029777
335 | 324 | Farwell | FA610 | 403 | 0.029772
336 | 406 | Muleshoe City | MU610 | 571 | 0.029563
337 | 355 | Allen | L750 | 778 | 0.029012
338 | 415 | Lynn | 6340 | 1103 | 0.028939
339 | 179 | DIMMITT E | DI180 | 933 | 0.028239
340 | 433 | Indiana | 7450 | 1806 | 0.027451
341 | 551 | STRATFORD | 252 | 255 | 0.025157
342 | 247 | EAST PLANT | A04 | 318 | 0.02449
343 | 198 | BOOKER | 421 | 245 | 0.022727
344 | 234 | KINGSMILL | 5095 | 44 | 0.02243
345 | 22 | SPEARMAN INTG | 1210 | 535 | 0.022167
346 | 362 | CANADIAN | 325 | 406 | 0.021153
347 | 217 | DIMMITT E | DI150 | 1891 | 0.020778
348 | 363 | PUCKETT | 5C35 | 1877 | 0.019608
349 | 285 | Plainview South | P210 | 102 | 0.019324
350 | 337 | FRIONA | 34 | 621 | 0.01877
351 | 183 | DUMAS EAST | 1250 | 1545 | 0.017241
352 | 348 | SPEARMAN CITY | 402 | 348 | 0.015748
353 | 36 | MOORE CO | M060 | 127 | 0.014706
354 | 392 | VAN BUREN S | 7190 | 68 | 0.014493
355 | 532 | WYE | 33-09 | 69 | 0.01434
356 | 369 | Carlisle | 6635 | 1046 | 0.014006
357 | 399 | Batton | L650 | 357 | 0.013569
358 | 244 | Muleshoe City | MU620 | 737 | 0.011019
359 | 284 | ISOM | 232 | 726 | 0.010695
360 | 103 | Allen | L740 | 1122 | 0.01
361 | 385 | Plainview City | P680 | 100 | 0.0095238
362 | 526 | Plainview City | P690 | 210 | 0.0093897
363 | 300 | CANADIAN | 340 | 426 | 0.0089127
364 | 73 | Doud | 6345 | 561 | 0.007874
365 | 268 | Riley | S510 | 127 | 0.0077071
366 | 86 | NORTH BORGER | 203 | 519 | 0.0070423
367 | 401 | Plainview North | P270 | 142 | 0.0063158
368 | 78 | BONHAM | 266 | 475 | 0.0060241
369 | 298 | Littlefield City | LI620 | 166 | 0.0032362
370 | 162 | DUMAS NORTH | 158 | 309 | 0.0032051
371 | 424 | Whiteface | LV220 | 312 | 0.0031746
372 | 357 | EAST PLANT | A03 | 315 | 0.0029762
373 | 203 | SAN JACINTO | 128 | 336 | 0.0029557
374 | 231 | DUMAS 19TH | 1371 | 1015 | 0.0025641
375 | 0 | Dimmitt East | DI170 | 390 | 0.0023041
376 | 232 | MIAMI CITY | 29 | 434 | 0.001355
377 | 416 | Farwell | FA620 | 738 | 0.0012165
378 | 271 | 3RD & WESTERN | 240 | 822 | 0.00074156
379 | 0 | Unknown | 6945 | 2697 | 0
380 | 6 | PARMER | 2465 | 0 | 0
381 | 18 | Bainer | BA601 | 0 | 0
382 | 19 | Crosbyton | CR610 | 0 | 0
383 | 52 | HEREFORD | 84 | 0 | 0
384 | 67 | Lynn | 6510 | 0 | 0
385 | 79 | Anton City | AN610 | 0 | 0
386 | 93 | Doss 12kV | S410 | 0 | 0
387 | 107 | DUMAS 19TH | 1498 | 0 | 0
388 | 119 | Roundup | RO110 | 0 | 0
389 | 140 | Flanagan | S540 | 0 | 0
390 | 146 | Big Four | CR118 | 0 | 0
391 | 154 | Petersburg | PE610 | 0 | 0
392 | 175 | South Plains | SP610 | 0 | 0
393 | 188 | Tatum | TA110 | 0 | 0
394 | 208 | Close City | CC110 | 0 | 0
395 | 210 | Auburn | L270 | 0 | 0
396 | 214 | Highland | L430 | 0 | 0
397 | 223 | Wilson | WI114 | 0 | 0
398 | 241 | Lockney West | WL110 | 0 | 0
399 | 246 | Globe | L450 | 0 | 0
400 | 248 | Carver | L180 | 0 | 0
401 | 256 | Knoxville | L380 | 0 | 0
402 | 260 | Silverton | SI640 | 0 | 0
403 | 267 | Lorenzo | LR612 | 0 | 0
404 | 281 | Seminole | S600 | 0 | 0
405 | 288 | Crosbyton | CR615 | 0 | 0
406 | 291 | NORTH BORGER | 201 | 0 | 0
407 | 292 | Elbert | EL110 | 0 | 0
408 | 293 | Jones | L600 | 0 | 0
409 | 296 | Floydada | FL620 | 0 | 0
410 | 301 | Auburn | L260 | 0 | 0
411 | 303 | Tahoka | TA160 | 0 | 0
412 | 306 | Harwell | L280 | 0 | 0
413 | 307 | Idalou | ID110 | 0 | 0
414 | 308 | Highland | L410 | 0 | 0
415 | 311 | Sears | L670 | 0 | 0
416 | 322 | Jones | L590 | 0 | 0
417 | 325 | DUMAS SOUTH | 152 | 0 | 0
418 | 327 | Jones | L610 | 0 | 0
419 | 328 | Lockney | LO610 | 0 | 0
420 | 330 | HARTLEY | D144 | 0 | 0
421 | 331 | Silverton | SI650 | 0 | 0
422 | 332 | STRATFORD | 1294 | 0 | 0
423 | 334 | Hale Center | HC610 | 0 | 0
424 | 335 | Mallet | LV120 | 0 | 0
425 | 336 | Harwell | L290 | 0 | 0
426 | 340 | Wadley | L230 | 0 | 0
427 | 347 | Ralls | RA612 | 0 | 0
428 | 349 | Sears | L360 | 0 | 0
429 | 350 | Knoxville | L390 | 0 | 0
430 | 353 | SEMINOLE | S721 | 0 | 0
431 | 354 | Carver | L190 | 0 | 0
432 | 356 | ONG | 148 | 0 | 0
433 | 364 | Lockney | LO620 | 0 | 0
434 | 368 | Meadow | ME110 | 0 | 0
435 | 371 | Highland | L420 | 0 | 0
436 | 377 | Wadley | L240 | 0 | 0
437 | 379 | Sears | L660 | 0 | 0
438 | 380 | Junction | L320 | 0 | 0
439 | 384 | Allmon | AT110 | 0 | 0
440 | 387 | Wolfforth | WF110 | 0 | 0
441 | 390 | HIGGINS | 260 | 0 | 0
442 | 393 | Wadley | L220 | 0 | 0
443 | 396 | Globe | L440 | 0 | 0
444 | 397 | FOLLETT | 420 | 0 | 0
445 | 402 | Wilson | WI110 | 0 | 0
446 | 403 | DARROUZETT | 480 | 0 | 0
447 | 405 | Lubbock City | L202 | 0 | 0
448 | 407 | STRATFORD | 256 | 0 | 0
449 | 408 | Cone | CO612 | 0 | 0
450 | 411 | Junction | L310 | 0 | 0
451 | 412 | SAN JACINTO | 132 | 0 | 0
452 | 417 | BONHAM | 156 | 0 | 0
453 | 421 | Levelland City 2.4KV | LV530 | 0 | 0
454 | 422 | Ropesville | RP110 | 0 | 0
455 | 425 | Lubbock City | L204 | 0 | 0
456 | 427 | CANADIAN | 335 | 0 | 0
457 | 428 | Anton City | AN620 | 0 | 0
458 | 429 | ONG | 146 | 0 | 0
459 | 431 | TYLER | 280 | 0 | 0
460 | 434 | Seminole | S610 | 0 | 0
461 | 435 | Shallowater | SH110 | 0 | 0
462 | 438 | New Deal | L490 | 0 | 0
463 | 440 | BOISE CITY EAST | 410 | 0 | 0
464 | 442 | DENVER CITY | W730 | 0 | 0
465 | 443 | LAMB | 3838 | 0 | 0
466 | 444 | ELKHART OIL FIELD | 520 | 0 | 0
467 | 445 | Adair | S790 | 0 | 0
468 | 446 | ELKHART | 500 | 0 | 0
469 | 447 | ELKHART | 0284 | 0 | 0
470 | 448 | SULPHUR SPRINGS | 6F35 | 0 | 0
471 | 450 | SEAGRAVES | 6F15 | 0 | 0
472 | 451 | FLOYD | 8871 | 0 | 0
473 | 452 | LAMB | 3846 | 0 | 0
474 | 453 | ELKHART | 510 | 0 | 0
475 | 454 | LAMB | 3842 | 0 | 0
476 | 455 | BEAVER CITY | 714 | 0 | 0
477 | 456 | DENVER CITY | W710 | 0 | 0
478 | 457 | COX | 3830 | 0 | 0
479 | 458 | LYNN | 6F45 | 0 | 0
480 | 459 | CROSBY | 7810 | 0 | 0
481 | 460 | COX | 3834 | 0 | 0
482 | 461 | SEAGRAVES | 6F05 | 0 | 0
483 | 462 | BEAVER CITY | 0230 | 0 | 0
484 | 463 | BEAVER | 0224 | 0 | 0
485 | 464 | BEAVER CITY | 710 | 0 | 0
486 | 465 | Bardwell | BA110 | 0 | 0
487 | 466 | LOCKNEY RURAL | 8724 | 0 | 0
488 | 467 | TUCO | N723 | 0 | 0
489 | 468 | DUMAS NORTH | D156 | 0 | 0
490 | 469 | HOCKLEY | 7765 | 0 | 0
491 | 470 | HAPPY | 3786 | 0 | 0
492 | 471 | HALE | 8736 | 0 | 0
493 | 472 | TUCO | N727 | 0 | 0
494 | 473 | KRESS | 9718 | 0 | 0
495 | 474 | TUCO | N606 | 0 | 0
496 | 475 | HALE | 3744 | 0 | 0
497 | 476 | GRAHAM | 6F70 | 0 | 0
498 | 477 | TUCO | N702 | 0 | 0
499 | 478 | LAMTON | 6G05 | 0 | 0
500 | 479 | DUMAS SOUTH | D148 | 0 | 0
501 | 480 | LAMB | 3850 | 0 | 0
502 | 481 | LUBBOCK EAST | 6805 | 0 | 0
503 | 482 | LAMTON | 6G10 | 0 | 0
504 | 483 | LUBBOCK EAST | 6825 | 0 | 0
505 | 484 | GAINES | 7715 | 0 | 0
506 | 485 | TERRY | 6760 | 0 | 0
507 | 486 | LUBBOCK EAST | 6835 | 0 | 0
508 | 487 | LUBBOCK SOUTH | 6810 | 0 | 0
509 | 488 | LUBBOCK SOUTH | 6820 | 0 | 0
510 | 489 | FLOYD | 8875 | 0 | 0
511 | 490 | HOCKLEY | 7775 | 0 | 0
512 | 491 | TUCO | N710 | 0 | 0
513 | 492 | GAINES | 7735 | 0 | 0
514 | 493 | GRAHAM | 6F65 | 0 | 0
515 | 494 | GUYMON CITY | 120 | 0 | 0
516 | 495 | GUYMON WEST | 160 | 0 | 0
517 | 496 | GUYMON WEST | 150 | 0 | 0
518 | 497 | GUYMON NORTHEAST | 0170 | 0 | 0
519 | 498 | GUYMON NORTHEAST | 140 | 0 | 0
520 | 499 | GUYMON NORTHEAST | 0180 | 0 | 0
521 | 500 | GUYMON CITY | 110 | 0 | 0
522 | 502 | GUYMON CITY | G130 | 0 | 0
523 | 503 | HEREFORD | 2742 | 0 | 0
524 | 504 | GOODWELL | 300 | 0 | 0
525 | 505 | GOODWELL | 310 | 0 | 0
526 | 506 | RIVERVIEW | R920 | 0 | 0
527 | 507 | FRIONA RURAL | 2410 | 0 | 0
528 | 508 | FORGAN OIL | 700 | 0 | 0
529 | 509 | Floydada | FL610 | 0 | 0
530 | 511 | GUYMON CITY | 100 | 0 | 0
531 | 512 | NASS | 2728 | 0 | 0
532 | 513 | Lubbock City | L212 | 0 | 0
533 | 514 | MIAMI NE | 5885 | 0 | 0
534 | 515 | Middleton | LV810 | 0 | 0
535 | 516 | KINGSMILL | 2180 | 0 | 0
536 | 517 | KINGSMILL | 2800 | 0 | 0
537 | 518 | MOORE CO | M748 | 0 | 0
538 | 519 | TEXAS CO | 0025 | 0 | 0
539 | 521 | KEYES | 0900 | 0 | 0
540 | 523 | HUTCHINSON | 1822 | 0 | 0
541 | 524 | PARMER | 2455 | 0 | 0
542 | 525 | PERRYTON | 1F40 | 0 | 0
543 | 528 | CHANNING | 101-3 | 0 | 0
544 | 529 | DUMAS 19TH | 1444 | 0 | 0
545 | 530 | KEYES | 0250 | 0 | 0
546 | 531 | BOWERS | 2786 | 0 | 0
547 | 535 | SEAGRAVES | 5711 | 0 | 0
548 | 536 | BOWERS | 5710 | 0 | 0
549 | 537 | BOWERS | 5875 | 0 | 0
550 | 538 | Sears | L350 | 0 | 0
551 | 539 | BOWERS | 5795/2893 | 0 | 0
552 | 540 | CASTRO | 5870 | 0 | 0
553 | 541 | BAILEY | 3867 | 0 | 0
554 | 542 | CARLISLE | 6880 | 0 | 0
555 | 545 | COCHRAN | 7835 | 0 | 0
556 | 546 | COCHRAN | 7845 | 0 | 0
557 | 547 | BOISE CITY REG | J130 | 0 | 0
558 | 548 | BAILEY | 3860 | 0 | 0
559 | 549 | TEXHOMA | 195 | 0 | 0
560 | 552 | DALHART | 5825 | 0 | 0
561 | 554 | DALHART | 1865 | 0 | 0
562 | 555 | TEXAS | 0134 | 0 | 0
563 | 556 | TEXAS | 0142 | 0 | 0
564 | 558 | TEXAS | 0H08 | 0 | 0
565 | 560 | TEXHOMA | 190 | 0 | 0
566 | 561 | TEXHOMA | 185 | 0 | 0
567 | 562 | THOMPSON | 0644 | 0 | 0
568 | 563 | THOMPSON | 0108 | 0 | 0
569 | 564 | THOMPSON | 0104 | 0 | 0
570 | 565 | THOMPSON | 0636 | 0 | 0
571 | 566 | BOISE CITY REG | J140 | 0 | 0
572 | 567 | TEXAS | 0616/0612 | 0 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 572
Add or Delete Rows as Necessary
Southwestern Public Service Co
2000 SAIDI Ranking | 1999 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIDI Value
1 | 62 | EXELL | 1242 | 109 | 1277.0734
2 | 254 | Wellman | S755 | 228 | 1160.1667
3 | 119 | WATERFIELD | 2361 | 487 | 1033.9897
4 | 150 | CARSON | 7030 | 87 | 877.5632
5 | 13 | DALHART | 1664 | 20 | 807.6
6 | 479 | Riley | S500 | 42 | 788.3333
7 | 90 | SHERMAN | 1452 | 32 | 781.5312
8 | 1 | KINGSMILL | 5100 | 131 | 722.7557
9 | 108 | Allred | S180 | 112 | 645.2768
10 | 21 | TASCOSA | 1218 | 174 | 577.6092
11 | 3 | Tenneco | S440 | 53 | 496.2264
12 | 40 | Lehman | LV500 | 159 | 485.1761
13 | 544 | BOOKER | 33-08 | 1157 | 402.3077
14 | 12 | BUFFALO | 5165 | 306 | 391.6111
15 | 87 | EXELL | 1238 | 171 | 374.8538
16 | 280 | Moss | 6540 | 166 | 315.1386
17 | 321 | ODC | S325 | 127 | 306.1417
18 | 296 | Littlefield City | LI630 | 306 | 305.4444
19 | 310 | RIVERVIEW | R095 | 730 | 286.0795
20 | 267 | Barwise | IB140 | 65 | 281.1385
21 | 7 | CHANNING | 1568 | 10 | 273.6
22 | 30 | SPRINGCREEK | 1320 | 174 | 257.7184
23 | 123 | Middleton | LV820 | 54 | 253.5926
24 | 48 | Irick | IB110 | 55 | 252.4182
25 | 32 | Kress Rural | KR120 | 148 | 244.2297
26 | 38 | PRINGLE OIL | 1200 | 176 | 243.4375
27 | 70 | Cedar Lake East | S910 | 33 | 227
28 | 82 | WILDORADO | 2018 | 107 | 222.8598
29 | 213 | KINGSMILL | 5115 | 1033 | 206.0823
30 | 185 | CANYON E | 5185 | 452 | 195.7965
31 | 89 | CONWAY | 5010 | 1380 | 195.4406
32 | 161 | Acco | L570 | 256 | 195.2344
33 | 165 | Doss 23kV | 6660 | 80 | 190.05
34 | 170 | FRITCH | 1360 | 826 | 184.4891
35 | 291 | SPRINGCREEK | 1316 | 434 | 183.9309
36 | 156 | CARSON | 7034 | 49 | 182.8571
37 | 240 | BUFFALO | 2215 | 10 | 180
38 | 553 | SLATON 23KV | 6600 | 525 | 179.6629
39 | 229 | HERRING | 1434 | 1653 | 178.7011
40 | 115 | DAWN | 5A35 | 223 | 175.2466
41 | 35 | Whiteface | LV210 | 154 | 170.6494
42 | 256 | CENTER | 5305 | 103 | 166.6893
43 | 345 | Sudan Rural | SR120 | 558 | 163.7491
44 | 248 | Muleshoe Valley | MR150 | 99 | 157.3737
45 | 143 | KITE | 5B80 | 851 | 156.866
46 | 253 | VAN BUREN N | 7044 | 45 | 156.2
47 | 448 | Boardman | S430 | 48 | 155.8333
48 | 20 | FARMERS | 5395 | 665 | 153.3669
49 | 52 | ROXANA | 2076 | 873 | 153.3448
50 | 33 | Southland | SO110 | 115 | 150.5217
51 | 206 | Littlefield City | LI640 | 673 | 146.0223
52 | 129 | Allred | S140 | 53 | 146
53 | 338 | Moss | 6320 | 1845 | 144.813
54 | 349 | Flanagan | S550 | 40 | 139.75
55 | 520 | HERRING | 1438 | 155 | 138.7806
56 | 83 | HIGHLAND PARK | 5335 | 810 | 138.3173
57 | 155 | ESTACADO | 5D15 | 1361 | 138.0088
58 | 140 | Westridge | P460 | 457 | 137.9606
59 | 88 | EAST PLANT | A110 | 262 | 137.9389
60 | 329 | Monroe | 6610 | 517 | 137.6963
61 | 23 | RIVERVIEW | R100 | 429 | 133.7529
62 | 211 | Indiana | 7480 | 1861 | 125.1908
63 | 53 | PERRYTON | 1230 | 976 | 122.6732
64 | 36 | BURNETT | 1394 | 129 | 121.0853
65 | 138 | SPEARMAN INTG | 1512 | 905 | 119.0365
66 | 26 | Russell | S280 | 96 | 116.6146
67 | 15 | KINGSMILL | 5105 | 647 | 115.7079
68 | 43 | SUNRAY | 5A55 | 960 | 112.7792
69 | 552 | GARZA | 6520 | 533 | 110.6792
70 | 91 | GRAVES | 7178 | 1524 | 110.6201
71 | 286 | Stanton 23KV | 6570 | 123 | 105.3252
72 | 246 | FRITCH | 1364 | 2064 | 103.9583
73 | 235 | Lewters | L470 | 39 | 103.2051
74 | 73 | Doss 23kV | 6670 | 1932 | 101.4912
75 | 60 | BOWERS | 2057 | 541 | 98.854
76 | 98 | KINGSMILL | 5110 | 489 | 98.771
77 | 22 | Yellowhouse | LV900 | 30 | 97.9333
78 | 42 | Kress Rural | KR140 | 147 | 94.9796
79 | 420 | VAN BUREN S | 7194 | 212 | 94.7264
80 | 4 | Springlake | SO140 | 54 | 92.8704
81 | 45 | PARMER | 2475 | 711 | 92.0703
82 | 59 | Muleshoe West | MR140 | 688 | 86.7297
83 | 543 | BOOKER | 535 | 206 | 85.4515
84 | 216 | PIERCE | 5B00 | 1140 | 82.8289
85 | 118 | EAST PLANT | A118 | 1704 | 81.8157
86 | 274 | Tuco | N412 | 651 | 81.0292
87 | 189 | LAWRENCE PARK W | 5315 | 705 | 80.1504
88 | 295 | DIMMITT S | DI120 | 255 | 77.5451
89 | 168 | WATERFIELD | 2364 | 361 | 75.3213
90 | 84 | LYONS | 5C25 | 677 | 74.4712
91 | 218 | DIMMITT S | DI110 | 312 | 73.8462
92 | 179 | Planters | L710 | 1251 | 73.5236
93 | 390 | SONCY | 7024 | 2101 | 73.4822
94 | 178 | Plant X | X310 | 1034 | 71.7872
95 | 197 | WEATHERLY | 1350 | 733 | 71.4911
96 | 158 | HASTINGS | 7086 | 659 | 71.3642
97 | 182 | 34TH STREET | 5B85 | 1717 | 71.0909
98 | 154 | PRINGLE OIL | 1204 | 88 | 70.9091
99 | 47 | Doud | 6325 | 2031 | 70.3727
100 | 416 | Lynn | 6300 | 603 | 70.2803
101 | 258 | Doud | 6305 | 1704 | 69.6027
102 | 551 | SHERMAN | 1460 | 2259 | 69.3054
103 | 126 | VEGA | 5170 | 833 | 68.6291
104 | 128 | CANYON E | 5190 | 1272 | 68.1769
105 | 186 | CANYON W | 7128 | 3261 | 67.6618
106 | 64 | Plainview West | P130 | 603 | 67.2935
107 | 167 | SUNSET | 5D35 | 211 | 66.5829
108 | 141 | PIERCE | 5B05 | 1016 | 65.0856
109 | 342 | HEREFORD | 2630 | 979 | 65.0204
110 | 217 | GEORGIA W | 2338 | 3292 | 65.0164
111 | 180 | MC CULLOUGH | 5085 | 1180 | 64.9788
112 | 57 | Levelland City 12KV | LV190 | 2541 | 62.867
113 | 31 | TEXAS | 0146 | 49 | 60.8367
114 | 93 | Allen | L505 | 166 | 60.2771
115 | 132 | STINNETT | 1332 | 171 | 60.0994
116 | 25 | Jaybee | S765 | 37 | 59.9189
117 | 313 | Hart | HA120 | 628 | 59.9108
118 | 110 | MANHATTAN | 5135 | 655 | 59.4763
119 | 373 | SHERMAN | 1448 | 807 | 56.8996
120 | 58 | WATERFIELD | 2368 | 251 | 56.3227
121 | 6 | Springlake | SO150 | 73 | 55.8767
122 | 51 | Levelland City 12KV | LV180 | 2658 | 55.2814
123 | 78 | MC LEAN | 5300 | 859 | 53.4889
124 | 77 | MOORE CO | M055 | 33 | 51.9394
125 | 112 | Clutter | 6630 | 500 | 51.422
126 | 117 | ROXANA | 2334 | 207 | 50.1836
127 | 238 | Acco | L580 | 195 | 49.4974
128 | 205 | Tokio | S800 | 103 | 48.2427
129 | 61 | Muleshoe West | MR130 | 98 | 46.8878
130 | 192 | Doss 12kV | S400 | 1275 | 46.0635
131 | 173 | GEORGIA E | 5B40 | 776 | 45.3956
132 | 139 | WHITAKER | 5260 | 1362 | 45.3869
133 | 146 | WEATHERLY | 1354 | 765 | 45.3647
134 | 337 | LAWRENCE PARK E | 5275 | 1277 | 44.6547
135 | 389 | VAN BUREN N | 7046 | 303 | 42.3663
136 | 134 | KITE | 5075 | 1057 | 40.4768
137 | 101 | 34TH STREET | 5B95 | 1974 | 39.3713
138 | 44 | SOUTHEAST | 5C80 | 383 | 39.3238
139 | 65 | DUMAS 19TH | 1470 | 2623 | 39.1453
140 | 39 | Olton | SO180 | 635 | 38.1008
141 | 285 | Littlefield West | LI156 | 259 | 36.3243
142 | 289 | Stanton 12KV | L540 | 786 | 35.4949
143 | 27 | BOWERS | 5090 | 313 | 35.4185
144 | 94 | WILDORADO | 2014 | 189 | 34.8519
145 | 116 | SOUTHEAST | 5C85 | 2416 | 34.7049
146 | 242 | STRATFORD | 1290 | 334 | 34.4521
147 | 386 | Tuco | N404 | 889 | 34.1744
148 | 16 | TASCOSA | 1222 | 37 | 33.8378
149 | 433 | Indiana | 7465 | 1035 | 33.371
150 | 184 | BUSH | 5210 | 2185 | 33.2993
151 | 231 | BUSH | 5205 | 1277 | 33.1731
152 | 0 | Indiana | 7440 | 11 | 33.0909
153 | 252 | DALHART | 1298 | 1021 | 32.6268
154 | 157 | SNEED | 1404 | 43 | 31.9767
155 | 121 | Murphy | 7535 | 1997 | 31.9574
156 | 102 | ARROWHEAD | 5D85 | 1428 | 31.7535
157 | 92 | Littlefield South | LI120 | 63 | 30.7937
158 | 269 | KITE | 7106 | 581 | 30.6472
159 | 135 | Boardman | S560 | 112 | 29.3482
160 | 215 | WEST BORGER | 1A15 | 1575 | 29.1816
161 | 283 | SONCY | 5130 | 1178 | 28.843
162 | 226 | Carlisle | 6650 | 1851 | 28.7931
163 | 85 | HIGHLAND PARK | 5325 | 312 | 28.3878
164 | 568 | Pacific | LV930 | 11 | 27.9091
165 | 10 | Hendrick | 6685 | 1429 | 27.0119
166 | 159 | Slaton 23KV | 6690 | 803 | 25.5604
167 | 383 | Garza 4KV | PO120 | 595 | 25.5294
168 | 193 | ETTER RURAL | 5410 | 407 | 25.3464
169 | 501 | SONCY | 7116 | 66 | 25.0909
170 | 319 | SHERMAN | 1456 | 1420 | 25.0634
171 | 2 | Barwise | IB130 | 68 | 24.8235
172 | 272 | LAWRENCE PARK E | 5025 | 1740 | 24.7879
173 | 103 | HEREFORD | 83 | 252 | 24.7262
174 | 327 | Plainview East | P160 | 573 | 24.5812
175 | 34 | HAPPY CITY | 7040 | 302 | 23.7285
176 | 74 | Lockney Rural | LA150 | 86 | 23.5698
177 | 28 | HASTINGS | 7078 | 2953 | 23.5601
178 | 288 | WEST BORGER | 1A10 | 1729 | 23.3054
179 | 293 | SONCY | 7020 | 860 | 22.8767
180 | 79 | Garza 23KV | 6500 | 504 | 22.3433
181 | 330 | Plainview South | P220 | 1519 | 22.3094
182 | 99 | Littlefield City | LI610 | 617 | 22.2075
183 | 202 | MC CULLOUGH | 7002 | 1458 | 22.203
184 | 66 | CHERRY STREET | 5C15 | 1108 | 22.0623
185 | 297 | GEORGIA W | 2346 | 977 | 21.9959
186 | 214 | Hale Center | HR110 | 849 | 21.1684
187 | 105 | EAST PLANT | A122 | 1326 | 20.8688
188 | 183 | Allen | L745 | 798 | 20.8083
189 | 354 | DALHART | 1580 | 145 | 20.5655
190 | 68 | ODC | S335 | 53 | 20.2642
191 | 81 | County Line | CL110 | 21 | 20
192 | 195 | PERRYTON | 1235 | 1340 | 19.9418
193 | 424 | GEORGIA W | 2342 | 782 | 19.0639
194 | 5 | CHANNING | 1564 | 19 | 18.9474
195 | 164 | El Paso | S320 | 212 | 18.783
196 | 49 | WHITAKER | 5270 | 1993 | 18.4631
197 | 209 | INDUSTRIAL | 1416 | 706 | 18.0255
198 | 360 | GEORGIA E | 5B30 | 1399 | 17.451
199 | 29 | CHANNING | 145-3 | 421 | 16.9549
200 | 14 | Lehman | LV510 | 240 | 16.6667
201 | 322 | Wheelock | 7365 | 1744 | 16.5826
202 | 63 | DUMAS 19TH | 1367 | 1772 | 16.4791
203 | 104 | CONWAY | 5005 | 1834 | 16.3255
204 | 255 | HASTINGS | 7074 | 1673 | 16.2271
205 | 97 | Hart | HA110 | 95 | 16.0947
206 | 549 | Texaco | LV980 | 26 | 16
207 | 250 | Littlefield South | LI110 | 1495 | 15.6943
208 | 424 | GEORGIA W | 2342 | 782 | 15.6432
209 | 142 | CHERRY STREET | 5C10 | 835 | 15.4
210 | 41 | Vickers | 6680 | 1588 | 15.2424
211 | 137 | Irick | IB120 | 20 | 15.05
212 | 303 | Murphy | 7430 | 784 | 15.0344
213 | 106 | ETTER RURAL | 5405 | 969 | 14.8421
214 | 37 | WADE | 1420 | 63 | 14.2063
215 | 100 | FARMERS | 5390 | 2803 | 14.0953
216 | 228 | PIERCE | 5B10 | 841 | 13.6635
217 | 9 | SNEED | 1400 | 10 | 13.2
218 | 339 | BOOKER | 422 | 212 | 12.9575
219 | 239 | Sudan Rural | SR110 | 120 | 12.7083
220 | 55 | Amherst | AM610 | 41 | 12.6829
221 | 378 | COULTER | 5290 | 1588 | 12.6341
222 | 266 | HASTINGS | 7082 | 1344 | 12.5223
223 | 299 | Stanton 23KV | 6430 | 1624 | 12.2383
224 | 148 | ARROWHEAD | 5D80 | 225 | 12.0933
225 | 328 | SAN JACINTO | 130 | 192 | 12.0417
226 | 136 | Muleshoe East | MU630 | 296 | 11.902
227 | 271 | Aiken Rural | LA110 | 112 | 11.7143
228 | 152 | Plainview South | P230 | 622 | 11.4743
229 | 366 | Allen | L520 | 1114 | 10.9093
230 | 222 | LYONS | 5C20 | 1513 | 10.9002
231 | 71 | Lockney Rural | LA140 | 97 | 10.6598
232 | 441 | Wheelock | 7370 | 1874 | 10.58
233 | 166 | Amoco | LV920 | 242 | 10.5455
234 | 402 | Slaton 4KV | SL140 | 1291 | 10.4919
235 | 510 | WYE | 33-10 | 776 | 10.4317
236 | 334 | VAN BUREN N | 7048 | 433 | 10.3834
237 | 208 | Plainview East | P180 | 110 | 10.2545
238 | 124 | COULTER | 5285 | 1336 | 10.1602
239 | 358 | CENTER | 5310 | 2311 | 10.1108
240 | 122 | DUMAS HELIUM | 1264 | 26 | 10
241 | 318 | Levelland East | LV950 | 410 | 9.939
242 | 145 | PERRYTON | 1530 | 1040 | 9.7615
243 | 194 | MANHATTAN | 7164 | 1285 | 9.7222
244 | 175 | Ivory | L680 | 86 | 9.4884
245 | 369 | EAST PLANT | A126 | 609 | 9.2791
246 | 367 | Hendrick | 6675 | 1657 | 9.0495
247 | 243 | DALHART | 1246 | 1335 | 8.8779
248 | 363 | PUCKETT | 5C30 | 944 | 8.7669
249 | 174 | MANHATTAN | 7160 | 1313 | 8.7616
250 | 261 | Denver City East | S100 | 685 | 8.6058
251 | 245 | VAN BUREN S | 7198 | 1778 | 8.4353
252 | 301 | El Paso | S340 | 478 | 8.3808
253 | 249 | STINNETT | 1328 | 1188 | 8.1961
254 | 241 | Clutter | 6620 | 1972 | 7.9224
255 | 227 | LAWRENCE PARK W | 5030 | 733 | 7.8677
256 | 440 | Levelland City 2.4KV | LV520 | 210 | 7.7
257 | 247 | GEORGIA E | 5B35 | 1543 | 7.5295
258 | 232 | Plainview East | P150 | 181 | 7.326
259 | 188 | BUSH | 5215 | 1291 | 7.1286
260 | 418 | Muleshoe East | MU640 | 266 | 7.0113
261 | 298 | LAWRENCE PARK W | 5050 | 1056 | 6.8712
262 | 153 | Plainview West | P120 | 1756 | 6.6959
263 | 368 | Morton | M120 | 765 | 6.6614
264 | 107 | Brisco | 3434 | 560 | 6.6143
265 | 263 | ESTACADO | 5D20 | 544 | 6.614
266 | 292 | COULTER | 5280 | 798 | 6.589
267 | 224 | Levelland East | LV960 | 1083 | 6.5457
268 | 171 | Amherst | AM620 | 456 | 6.4737
269 | 277 | INDUSTRIAL | 1412 | 805 | 6.3876
270 | 312 | Allmon | AT120 | 658 | 6.2432
271 | 273 | LAWRENCE PARK E | 5020 | 1471 | 6.2427
272 | 196 | West Anton | 3502 | 688 | 6.2122
273 | 385 | Garza 4KV | PO110 | 636 | 6.1557
274 | 251 | Wheelock | 7375 | 848 | 6.1474
275 | 133 | Olton | SO170 | 633 | 6.1406
276 | 11 | ROBERTS | 7010 | 564 | 6.1152
277 | 80 | Lockney Rural | 3417 | 1111 | 6.0297
278 | 306 | FRIONA RURAL | 2436 | 1621 | 5.6952
279 | 414 | SPEARMAN CITY | 302 | 642 | 5.6745
280 | 365 | Allen | L510 | 1058 | 5.6295
281 | 225 | MC CULLOUGH | 7005 | 1506 | 5.583
282 | 50 | Batton | L624 | 1070 | 5.443
283 | 407 | Slaton 4KV | SL150 | 1055 | 5.4417
284 | 324 | Denver City East | S110 | 1503 | 5.4358
285 | 384 | Stanton 23KV | 6420 | 682 | 5.3944
286 | 111 | WHITAKER | 5265 | 38 | 5.3421
287 | 54 | San Andres | S370 | 382 | 5.2225
288 | 204 | Plainview North | P260 | 1559 | 5.1899
289 | 125 | CANYON W | 5160 | 636 | 5.0629
290 | 323 | Lariat | MR110 | 100 | 4.85
291 | 343 | DALHART | 114 | 495 | 4.7374
292 | 210 | Morton | M130 | 511 | 4.6888
293 | 130 | Brownfield | 6580 | 349 | 4.6676
294 | 244 | Kress Rural | KR110 | 369 | 4.4797
295 | 387 | Muleshoe City | MU610 | 571 | 4.3345
296 | 199 | HAPPY CITY | 2326 | 326 | 4.2485
297 | 374 | Batton | L622 | 912 | 4.1162
298 | 516 | SUNSET | 5D30 | 29 | 4.069
299 | 351 | CANADIAN | 325 | 406 | 3.9557
300 | 190 | Doud | 6480 | 2050 | 3.9527
301 | 562 | Zavalla | LV790 | 13 | 3.8462
302 | 425 | CANADIAN | 350 | 227 | 3.7004
303 | 405 | VAN BUREN S | 7190 | 68 | 3.6765
304 | 379 | Plainview City | P630 | 760 | 3.6368
305 | 491 | Prentice | S875 | 40 | 3.5
306 | 207 | DIMMITT E | DI150 | 1891 | 3.4865
307 | 151 | Curry Co | 3486 | 401 | 3.414
308 | 399 | Plainview City | P670 | 235 | 3.3617
309 | 17 | PERRYTON | 1535 | 879 | 3.2526
310 | 314 | 34TH STREET | 5B90 | 873 | 3.236
311 | 56 | South Floydada | 3551 | 33 | 3.1818
312 | 305 | Ivory | L685 | 1204 | 3.1503
313 | 200 | Elwood | LV140 | 70 | 3.1429
314 | 397 | South Floydada | 3547 | 823 | 3.1021
315 | 308 | ESTACADO | 5D10 | 2590 | 3.0911
316 | 67 | Zavalla | LV780 | 23 | 3.087
317 | 423 | PUCKETT | 5C60 | 710 | 3.0803
318 | 114 | Pacific | LV940 | 72 | 3.0139
319 | 131 | Stanton 23KV | 6410 | 961 | 2.9771
320 | 348 | Allen | L750 | 778 | 2.964
321 | 422 | SPEARMAN CITY | 301 | 443 | 2.9458
322 | 332 | Westridge | P450 | 1389 | 2.9352
323 | 268 | 3RD & WESTERN | 241 | 688 | 2.9273
324 | 24 | SPEARMAN INTG | 1210 | 535 | 2.8841
325 | 19 | HEREFORD | 2627 | 1342 | 2.8815
326 | 439 | Batton | L640 | 1000 | 2.807
327 | 187 | FARMERS | 5385 | 231 | 2.7879
328 | 371 | RIVERVIEW | R090 | 29 | 2.7586
329 | 257 | DALHART | 108 | 363 | 2.73
330 | 364 | Ivory | L682 | 138 | 2.6957
331 | 75 | SPEARMAN CITY | 401 | 411 | 2.6496
332 | 381 | ISOM | 231 | 464 | 2.625
333 | 309 | Plainview City | P620 | 433 | 2.4988
334 | 429 | Indiana | 7450 | 1806 | 2.4086
335 | 426 | DALHART | 106 | 150 | 2.28
336 | 412 | Whitharral | LV710 | 120 | 2.0667
337 | 320 | PUCKETT | 5C35 | 1877 | 1.9654
338 | 203 | CANYON W | 7124 | 2217 | 1.8142
339 | 560 | WYE | 33-09 | 69 | 1.7391
340 | 333 | Plainview West | P110 | 1026 | 1.5214
341 | 279 | ISOM | 232 | 726 | 1.4545
342 | 236 | DUMAS EAST | 1250 | 1545 | 1.4518
343 | 411 | Lynn | 6340 | 1103 | 1.3445
344 | 499 | STRATFORD | 252 | 255 | 1.2353
345 | 198 | BOOKER | 421 | 245 | 1.2245
346 | 400 | Plainview City | P680 | 100 | 1.19
347 | 18 | MOORE CO | M060 | 127 | 1.1496
348 | 8 | BOWERS | 2053 | 52 | 1.0962
349 | 408 | DALHART | 116 | 302 | 1.0894
350 | 169 | DIMMITT E | DI180 | 933 | 1.0836
351 | 69 | NORTH BORGER | 203 | 519 | 1.0443
352 | 336 | Carlisle | 6635 | 1046 | 1.0057
353 | 421 | SPEARMAN CITY | 402 | 348 | 0.8908
354 | 356 | FRIONA | 34 | 621 | 0.86957
355 | 476 | Plainview City | P690 | 210 | 0.8619
356 | 191 | Allen | L740 | 1122 | 0.79947
357 | 325 | CANADIAN | 340 | 426 | 0.77934
358 | 278 | KINGSMILL | 5095 | 44 | 0.77273
359 | 352 | Farwell | FA610 | 403 | 0.75682
360 | 300 | Muleshoe City | MU620 | 737 | 0.73948
361 | 404 | Batton | L650 | 357 | 0.66667
362 | 341 | Plainview South | P210 | 102 | 0.62745
363 | 237 | EAST PLANT | A04 | 318 | 0.57862
364 | 160 | BONHAM | 266 | 475 | 0.47368
365 | 223 | Riley | S510 | 127 | 0.43307
366 | 147 | Doud | 6345 | 561 | 0.33868
367 | 220 | DUMAS 19TH | 1371 | 1015 | 0.25813
368 | 335 | Plainview North | P270 | 142 | 0.21127
369 | 95 | DUMAS NORTH | 158 | 309 | 0.19417
370 | 340 | EAST PLANT | A03 | 315 | 0.17143
371 | 417 | Whiteface | LV220 | 312 | 0.16026
372 | 172 | SAN JACINTO | 128 | 336 | 0.15774
373 | 264 | Littlefield City | LI620 | 166 | 0.1506
374 | 394 | Farwell | FA620 | 738 | 0.12331
375 | 163 | MIAMI CITY | 29 | 434 | 0.11521
376 |  | UNKNOWN | 6945 | 2697 | 0.10234
377 |  | UNKNOWN | DI170 | 390 | 0.076923
378 | 181 | 3RD & WESTERN | 240 | 822 | 0.062044
379 | 46 | PARMER | 2465 | 20 | 0.062044
380 | 72 | Bainer | BA601 | 14 | 0.062044
381 | 76 | Doss 12kV | S410 | 159 | 0.062044
382 | 86 | Lynn | 6510 | 26 | 0.062044
383 | 96 | HEREFORD | 84 | 103 | 0.062044
384 | 109 | Highland | L430 | 0 | 0.062044
385 | 113 | Roundup | RO110 | 0 | 0.062044
386 | 120 | Anton City | AN610 | 0 | 0.062044
387 | 127 | Big Four | CR118 | 0 | 0.062044
388 | 144 | DUMAS 19TH | 1498 | 27 | 0.062044
389 | 149 | Crosbyton | CR610 | 0 | 0.062044
390 | 162 | DUMAS SOUTH | 152 | 395 | 0.062044
391 | 176 | Auburn | L270 | 0 | 0.062044
392 | 177 | Diekemper | DE110 | 21 | 0.062044
393 | 201 | South Plains | SP610 | 0 | 0.062044
394 | 212 | Mallet | LV120 | 16 | 0.062044
395 | 219 | Close City | CC110 | 0 | 0.062044
396 | 221 | Wilson | WI114 | 0 | 0.062044
397 | 230 | Flanagan | S540 | 39 | 0.062044
398 | 233 | Petersburg | PE610 | 0 | 0.062044
399 | 234 | Carver | L180 | 0 | 0.062044
400 | 259 | Sears | L670 | 0 | 0.062044
401 | 260 | Globe | L450 | 0 | 0.062044
402 | 262 | Knoxville | L380 | 0 | 0.062044
403 | 265 | Harwell | L280 | 0 | 0.062044
404 | 270 | Tatum | TA110 | 0 | 0.062044
405 | 275 | Jones | L600 | 0 | 0.062044
406 | 276 | Crosbyton | CR615 | 0 | 0.062044
407 | 281 | Lorenzo | LR612 | 0 | 0.062044
408 | 282 | Lockney West | WL110 | 0 | 0.062044
409 | 284 | Auburn | L260 | 0 | 0.062044
410 | 287 | Wadley | L240 | 0 | 0.062044
411 | 290 | Wadley | L230 | 0 | 0.062044
412 | 294 | Idalou | ID110 | 0 | 0.062044
413 | 302 | Highland | L410 | 0 | 0.062044
414 | 304 | Seminole | S600 | 0 | 0.062044
415 | 307 | Silverton | SI640 | 0 | 0.062044
416 | 311 | Floydada | FL620 | 0 | 0.062044
417 | 315 | Lockney | LO620 | 0 | 0.062044
418 | 316 | Jones | L590 | 0 | 0.062044
419 | 317 | Knoxville | L390 | 0 | 0.062044
420 | 326 | Elbert | EL110 | 0 | 0.062044
421 | 331 | Tahoka | TA160 | 0 | 0.062044
422 | 344 | Harwell | L290 | 0 | 0.062044
423 | 346 | Allmon | AT110 | 0 | 0.062044
424 | 347 | Hale Center | HC610 | 0 | 0.062044
425 | 350 | ONG | 148 | 432 | 0.062044
426 | 353 | Meadow | ME110 | 0 | 0.062044
427 | 355 | STRATFORD | 1294 | 27 | 0.062044
428 | 357 | Jones | L610 | 0 | 0.062044
429 | 359 | Wadley | L220 | 0 | 0.062044
430 | 361 | HARTLEY | D144 | 145 | 0.062044
431 | 362 | Silverton | SI650 | 0 | 0.062044
432 | 370 | Sears | L660 | 0 | 0.062044
433 | 372 | Sears | L360 | 0 | 0.062044
434 | 375 | Lockney | LO610 | 0 | 0.062044
435 | 376 | Carver | L190 | 0 | 0.062044
436 | 377 | Lubbock City | L202 | 0 | 0.062044
437 | 380 | Globe | L440 | 0 | 0.062044
438 | 382 | NORTH BORGER | 201 | 296 | 0.062044
439 | 388 | Highland | L420 | 0 | 0.062044
440 | 391 | Junction | L320 | 0 | 0.062044
441 | 392 | SEMINOLE | S721 | 0 | 0.062044
442 | 393 | STRATFORD | 256 | 804 | 0.062044
443 | 395 | SAN JACINTO | 132 | 619 | 0.062044
444 | 396 | Ralls | RA612 | 0 | 0.062044
445 | 398 | Wolfforth | WF110 | 0 | 0.062044
446 | 401 | Ropesville | RP110 | 0 | 0.062044
447 | 403 | Cone | CO612 | 0 | 0.062044
448 | 406 | FOLLETT | 420 | 368 | 0.062044
449 | 409 | Wilson | WI110 | 0 | 0.062044
450 | 410 | HIGGINS | 260 | 330 | 0.062044
451 | 413 | DARROUZETT | 480 | 302 | 0.062044
452 | 415 | BONHAM | 156 | 420 | 0.062044
453 | 419 | Junction | L310 | 0 | 0.062044
454 | 427 | Lubbock City | L204 | 0 | 0.062044
455 | 428 | TYLER | 280 | 202 | 0.062044
456 | 430 | Anton City | AN620 | 0 | 0.062044
457 | 431 | Shallowater | SH110 | 0 | 0.062044
458 | 432 | CANADIAN | 335 | 182 | 0.062044
459 | 434 | Seminole | S610 | 0 | 0.062044
460 | 435 | New Deal | L490 | 0 | 0.062044
461 | 436 | Levelland City 2.4KV | LV530 | 0 | 0.062044
462 | 437 | ONG | 146 | 183 | 0.062044
463 | 438 | BOISE CITY EAST | 410 | 0 | 0.062044
464 | 442 | BEAVER | 0224 | 0 | 0.062044
465 | 443 | BEAVER CITY | 710 | 0 | 0.062044
466 | 444 | BEAVER CITY | 0230 | 0 | 0.062044
467 | 445 | LAMB | 3842 | 0 | 0.062044
468 | 446 | GAINES | 7715 | 0 | 0.062044
469 | 447 | FLOYD | 8875 | 0 | 0.062044
470 | 449 | BEAVER CITY | 714 | 0 | 0.062044
471 | 450 | GAINES | 7735 | 0 | 0.062044
472 | 451 | GRAHAM | 6F65 | 0 | 0.062044
473 | 452 | Bardwell | BA110 | 0 | 0.062044
474 | 453 | GRAHAM | 6F70 | 0 | 0.062044
475 | 454 | KRESS | 9718 | 0 | 0.062044
476 | 455 | HALE | 3744 | 0 | 0.062044
477 | 456 | HALE | 8736 | 0 | 0.062044
478 | 457 | HAPPY | 3786 | 0 | 0.062044
479 | 458 | HOCKLEY | 7765 | 0 | 0.062044
480 | 459 | HOCKLEY | 7775 | 0 | 0.062044
481 | 460 | LAMB | 3838 | 0 | 0.062044
482 | 461 | TUCO | N702 | 0 | 0.062044
483 | 462 | ELKHART | 0284 | 0 | 0.062044
484 | 463 | ELKHART | 510 | 0 | 0.062044
485 | 464 | PARMER | 2455 | 731 | 0.062044
486 | 465 | SULPHUR SPRINGS | 6F35 | 0 | 0.062044
487 | 466 | PERRYTON | 1F40 | 0 | 0.062044
488 | 467 | LAMTON | 6G10 | 0 | 0.062044
489 | 468 | TERRY | 6760 | 0 | 0.062044
490 | 469 | SEAGRAVES | 6F15 | 0 | 0.062044
491 | 470 | TUCO | N710 | 0 | 0.062044
492 | 471 | DUMAS SOUTH | D148 | 0 | 0.062044
493 | 472 | TUCO | N723 | 0 | 0.062044
494 | 473 | TUCO | N727 | 0 | 0.062044
495 | 474 | DUMAS NORTH | D156 | 0 | 0.062044
496 | 475 | TUCO | N606 | 0 | 0.062044
497 | 477 | LUBBOCK EAST | 6835 | 0 | 0.062044
498 | 478 | LAMB | 3850 | 0 | 0.062044
499 | 480 | NASS | 2728 | 0 | 0.062044
500 | 481 | LAMTON | 6G05 | 0 | 0.062044
501 | 482 | LOCKNEY RURAL | 8724 | 0 | 0.062044
502 | 483 | Adair | S790 | 15 | 0.062044
503 | 484 | ELKHART | 500 | 0 | 0.062044
504 | 485 | LUBBOCK EAST | 6825 | 0 | 0.062044
505 | 486 | ELKHART OIL FIELD | 520 | 0 | 0.062044
506 | 487 | LUBBOCK SOUTH | 6810 | 0 | 0.062044
507 | 488 | LUBBOCK SOUTH | 6820 | 0 | 0.062044
508 | 489 | LYNN | 6F45 | 0 | 0.062044
509 | 490 | SEAGRAVES | 6F05 | 0 | 0.062044
510 | 492 | LAMB | 3846 | 0 | 0.062044
511 | 493 | LUBBOCK EAST | 6805 | 0 | 0.062044
512 | 494 | THOMPSON | 0108 | 0 | 0.062044
513 | 495 | HUTCHINSON | 1822 | 0 | 0.062044
514 | 496 | TEXHOMA | 190 | 0 | 0.062044
515 | 497 | TEXHOMA | 185 | 0 | 0.062044
516 | 498 | FRIONA RURAL | 2410 | 1630 | 0.062044
517 | 500 | FORGAN OIL | 700 | 0 | 0.062044
518 | 502 | THOMPSON | 0644 | 0 | 0.062044
519 | 503 | GOODWELL | 310 | 0 | 0.062044
520 | 504 | THOMPSON | 0104 | 0 | 0.062044
521 | 505 | THOMPSON | 0636 | 0 | 0.062044
522 | 506 | DUMAS 19TH | 1444 | 5437 | 0.062044
523 | 507 | KEYES | 0900 | 0 | 0.062044
524 | 508 | KEYES | 0250 | 0 | 0.062044
525 | 509 | KINGSMILL | 2800 | 0 | 0.062044
526 | 511 | Floydada | FL610 | 0 | 0.062044
527 | 512 | GUYMON NORTHEAST | 0180 | 0 | 0.062044
528 | 513 | TEXAS | 0134 | 0 | 0.062044
529 | 514 | TEXAS | 0142 | 0 | 0.062044
530 | 515 | TEXAS | 0616/0612 | 0 | 0.062044
531 | 517 | HEREFORD | 2742 | 0 | 0.062044
532 | 518 | GUYMON WEST | 160 | 0 | 0.062044
533 | 519 | GUYMON WEST | 150 | 0 | 0.062044
534 | 521 | GUYMON NORTHEAST | 140 | 0 | 0.062044
535 | 522 | CHANNING | 101-3 | 421 | 0.062044
536 | 523 | GUYMON CITY | 110 | 0 | 0.062044
537 | 524 | GUYMON CITY | 100 | 0 | 0.062044
538 | 525 | GUYMON CITY | G130 | 0 | 0.062044
539 | 526 | GUYMON CITY | 120 | 0 | 0.062044
540 | 527 | TEXAS | 0H08 | 0 | 0.062044
541 | 528 | GOODWELL | 300 | 0 | 0.062044
542 | 529 | DALHART | 5825 | 0 | 0.062044
543 | 530 | GUYMON NORTHEAST | 0170 | 0 | 0.062044
544 | 531 | BOWERS | 2786 | 0 | 0.062044
545 | 532 | CARLISLE | 6880 | 0 | 0.062044
546 | 533 | COCHRAN | 7835 | 0 | 0.062044
547 | 534 | COCHRAN | 7845 | 0 | 0.062044
548 | 535 | COX | 3830 | 0 | 0.062044
549 | 536 | BOWERS | 5710 | 0 | 0.062044
550 | 537 | BOWERS | 5875 | 0 | 0.062044
551 | 538 | KINGSMILL | 2180 | 2345 | 0.062044
552 | 539 | BOWERS | 5795/2893 | 0 | 0.062044
553 | 540 | BAILEY | 3860 | 0 | 0.062044
554 | 541 | CROSBY | 7810 | 0 | 0.062044
555 | 542 | DENVER CITY | W710 | 0 | 0.062044
556 | 545 | DENVER CITY | W730 | 0 | 0.062044
557 | 546 | FLOYD | 8871 | 0 | 0.062044
558 | 547 | BOISE CITY REG | J130 | 0 | 0.062044
559 | 548 | COX | 3834 | 0 | 0.062044
560 | 550 | DALHART | 1865 | 0 | 0.062044
561 | 554 | Lubbock City | L212 | 0 | 0.062044
562 | 555 | Sears | L350 | 0 | 0.062044
563 | 556 | CASTRO | 5870 | 0 | 0.062044
564 | 557 | BAILEY | 3867 | 0 | 0.062044
565 | 558 | Middleton | LV810 | 27 | 0.062044
566 | 559 | TEXAS CO | 0025 | 0 | 0.062044
567 | 561 | TEXHOMA | 195 | 0 | 0.062044
568 | 563 | SEAGRAVES | 5711 | 0 | 0.062044
569 | 564 | RIVERVIEW | R920 | 0 | 0.062044
570 | 565 | MOORE CO | M748 | 0 | 0.062044
571 | 566 | BOISE CITY REG | J140 | 0 | 0.062044
572 | 567 | MIAMI NE | 5885 | 0 | 0.062044

## Causes
Southwestern Public Service Co
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2000 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 60.11%
|  | Vegetation | 3.698%
|  | Animals and Birds | 4.416%
|  | People (Including cars and farm equip) | 10.93%
|  | Utility-owned Equipment | 16.35%
|  | Other | 1.42%
|  | Unknown | 3.082%