## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | TXU SESCO
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 103
Due: |  | February 14, 2001
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 23436
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Mel Eckhoff, Engineering Specialist
Electric Division
Commission Staff
Voice: | 512 936 7348
Fax: | 512 936 7361
E-mail: | mailto:mel.eckhoff@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2000 Reporting Year
TXU SESCO
Project 23436

## System-SAIFI
TXU SESCO
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 1.21 | 0.1 | 0.06 | 0.05 | 0.11 | 0.19 | 0.11 | 0.09 | 0.06 | 0.15 | 0.09 | 0.08 | 0.12
Scheduled
2000
Outside Causes
2000
Major Events
2000
Note: SESCO does not maintain records of scheduled outages. There were no outages recorded in excess of 24 hours in one event for Major Events.
There were no recordable events in the Outside Causes category.
The data shown above are calculated from field estimated data.
The index values shown above may increase in future reports due to automation of outage data management.

## System-SAIDI
TXU SESCO
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2000 | 84.34 | 7.6 | 4.7 | 3.6 | 9.72 | 14.56 | 7.46 | 4.68 | 3.64 | 12.29 | 3.97 | 5.07 | 7.05
Scheduled
2000
Outside Causes
2000
Major Events
2000
Note: SESCO does not maintain records of scheduled outages. There were no outages recorded in excess of 24 hours in one event for Major Events.
There were no recordable events in the Outside Causes category.
The data shown above are calculated from field estimated data.
The index values shown above may increase in future reports due to automation of outage data management.

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 103
Add or Delete Rows as Necessary
TXU SESCO
2000 SAIFI Ranking | 1999 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIFI Value
1 | N/A | RUSK | 3057 | 108 | 10.28
2 | N/A | WHOUS | 4128 | 280 | 9.31
3 | N/A | TEGMN | 3040 | 166 | 5.01
4 | N/A | MARLN | 3015 | 233 | 4.32
5 | N/A | MEXIA | 4024 | 639 | 4.16
6 | N/A | OVRTN | 4015 | 512 | 3.11
7 | N/A | OVRTN | 4019 | 744 | 3.04
8 | N/A | BEAST | 4084 | 1197 | 2.84
9 | N/A | TEGLV | 4026 | 54 | 2.83
10 | N/A | OVRTN | 1201 | 33 | 2.45
11 | N/A | OVRTN | 4037 | 87 | 2.13
12 | N/A | MARLN | 3019 | 15 | 2.07
13 | N/A | WSFRF | 4020 | 310 | 2.04
14 | N/A | MEXIA | 4023 | 540 | 1.89
15 | N/A | JAXNR | 4109 | 813 | 1.86
16 | N/A | MEXIA | 3016 | 186 | 1.66
17 | N/A | TEGMN | 3038 | 623 | 1.54
18 | N/A | ARP | 4147 | 420 | 1.48
19 | N/A | TRPNM | 4094 | 396 | 1.41
20 | N/A | TRPNM | 4023 | 368 | 1.39
21 | N/A | SRUSK | 4061 | 155 | 1.33
22 | N/A | REYST | 4118 | 403 | 1.32
23 | N/A | FRKST | 4168 | 856 | 1.22
24 | N/A | REYST | 4040 | 777 | 1.2
25 | N/A | TEGLV | 4025 | 329 | 1.19
26 | N/A | WRTHM | 5004 | 206 | 1.15
27 | N/A | TGFIF | 5014 | 288 | 1.11
28 | N/A | BEAST | 4082 | 442 | 1.09
29 | N/A | SMART | 4044 | 423 | 1.07
30 | N/A | ESFRF | 4009 | 162 | 1.06
31 | N/A | DVILL | 4060 | 105 | 1.05
32 | N/A | RUSK | 3046 | 191 | 1.03
33 | N/A | RKREA | 4041 | 216 | 0.99
34 | N/A | GRSBK | 4028 | 576 | 0.94
35 | N/A | MARLN | 4005 | 678 | 0.86
36 | N/A | BEAST | 4090 | 1079 | 0.81
37 | N/A | WHOUS | 4121 | 912 | 0.78
38 | N/A | MSLMN | 4009 | 147 | 0.65
39 | N/A | MEXIA | 3015 | 39 | 0.62
40 | N/A | REYST | 4129 | 383 | 0.61
41 | N/A | JAXNR | 4105 | 99 | 0.54
42 | N/A | MSLMN | 4007 | 734 | 0.51
43 | N/A | RUSK | 3078 | 67 | 0.51
44 | N/A | JKWST | 4035 | 80 | 0.5
45 | N/A | GRSBK | 4029 | 891 | 0.49
46 | N/A | NMART | 4009 | 165 | 0.48
47 | N/A | RSBUD | 5009 | 441 | 0.47
48 | N/A | MARLN | 4012 | 388 | 0.44
49 | N/A | ESFRF | 4004 | 314 | 0.43
50 | N/A | GRSBK | 3027 | 219 | 0.42
51 | N/A | JAXNR | 4111 | 333 | 0.41
52 | N/A | REYST | 4051 | 838 | 0.41
53 | N/A | FRFWS | 3001 | 1035 | 0.39
54 | N/A | TRPNM | 4001 | 334 | 0.36
55 | N/A | JKWST | 4033 | 400 | 0.32
56 | N/A | MARLN | 4006 | 527 | 0.29
57 | N/A | WRTHM | 5012 | 263 | 0.29
58 | N/A | ESJAX | 5030 | 93 | 0.27
59 | N/A | WHOUS | 4122 | 1012 | 0.26
60 | N/A | SMARL | 4003 | 955 | 0.25
61 | N/A | CHILT | 4025 | 188 | 0.25
62 | N/A | MEXIA | 4040 | 851 | 0.23
63 | N/A | MEXIA | 4012 | 538 | 0.19
64 | N/A | BEAST | 4088 | 103 | 0.18
65 | N/A | FRFWS | 3002 | 236 | 0.14
66 | N/A | GRSBK | 3071 | 220 | 0.12
67 | N/A | JKCTY | 5001 | 63 | 0.11
68 | N/A | SMARL | 4002 | 470 | 0.11
69 | N/A | NMART | 4010 | 406 | 0.1
70 | N/A | JKCTY | 5034 | 153 | 0.1
71 | N/A | ESJAX | 5026 | 248 | 0.1
72 | N/A | WSFRF | 4019 | 32 | 0.09
73 | N/A | JKCTY | 5003 | 105 | 0.08
74 | N/A | MEXIA | 4007 | 314 | 0.07
75 | N/A | TGFIF | 5015 | 409 | 0.06
76 | N/A | MEXIA | 4011 | 855 | 0.06
77 | N/A | ESFRF | 4001 | 172 | 0.06
78 | N/A | JKCTY | 5002 | 18 | 0.06
79 | N/A | MSLMN | 4131 | 80 | 0.04
80 | N/A | ERUSK | 5014 | 177 | 0.03
81 | N/A | LOTMN | 5011 | 145 | 0.03
82 | N/A | RSBUD | 5006 | 154 | 0.03
83 | N/A | CHILT | 4024 | 39 | 0.03
84 | N/A | RSBUD | 5008 | 204 | 0.02
85 | N/A | WRTHM | 5017 | 143 | 0.02
86 | N/A | RUSK | 3053 | 291 | 0.02
87 | N/A | LOTMN | 5012 | 203 | 0.02
88 | N/A | TGFIF | 5013 | 169 | 0.01
89 | N/A | THRTN | 5003 | 89 | 0.01
90 | N/A | RIESL | 5013 | 154 | 0.01
91 | N/A | MEXIA | 4008 | 337 | 0.01
92 | N/A | ALTOM | 5016 | 181 | 0.01
93 | N/A | ALTOM | 5017 | 211 | 0
94 | N/A | BMILL | 4163 | 20 | 0
95 | N/A | JAXNR | 4107 | 13 | 0
96 | N/A | JKSES | 3028 | 25 | 0
97 | N/A | MARLN | 4014 | 17 | 0
98 | N/A | OTTO | 3059 | 31 | 0
99 | N/A | RIESL | 5010 | 139 | 0
100 | N/A | RKCTY | 5012 | 113 | 0
101 | N/A | RKCTY | 5013 | 146 | 0
102 | N/A | TRAVI | 4015 | 53 | 0
103 | N/A | WHOUS | 0002 | 84 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With More Than 10 Customers |  |  |  |  | 103
Add or Delete Rows as Necessary
TXU SESCO
2000 SAIDI Ranking | 1999 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2000 SAIDI Value
1 | N/A | MARLN | 3015 | 233 | 675.01
2 | N/A | WHOUS | 4128 | 280 | 564.92
3 | N/A | OVRTN | 4019 | 744 | 458.44
4 | N/A | MEXIA | 4024 | 639 | 406.66
5 | N/A | BEAST | 4084 | 1197 | 338.76
6 | N/A | OVRTN | 4015 | 512 | 324.97
7 | N/A | TRPNM | 4023 | 368 | 291.84
8 | N/A | FRKST | 4168 | 856 | 251.63
9 | N/A | ARP | 4147 | 420 | 249.25
10 | N/A | TEGMN | 3040 | 166 | 248.66
11 | N/A | RUSK | 3057 | 108 | 210.06
12 | N/A | OVRTN | 1201 | 33 | 197.85
13 | N/A | BEAST | 4082 | 442 | 192.39
14 | N/A | MEXIA | 3016 | 186 | 163.58
15 | N/A | MEXIA | 4023 | 540 | 160.93
16 | N/A | REYST | 4040 | 777 | 156.57
17 | N/A | WSFRF | 4020 | 310 | 149.45
18 | N/A | OVRTN | 4037 | 87 | 120.63
19 | N/A | REYST | 4118 | 403 | 119.45
20 | N/A | DVILL | 4060 | 105 | 107.29
21 | N/A | TEGLV | 4026 | 54 | 97.44
22 | N/A | SRUSK | 4061 | 155 | 79.33
23 | N/A | BEAST | 4090 | 1079 | 76.98
24 | N/A | RKREA | 4041 | 216 | 67.9
25 | N/A | MEXIA | 3015 | 39 | 58.46
26 | N/A | TGFIF | 5014 | 288 | 58.23
27 | N/A | TEGMN | 3038 | 623 | 57.88
28 | N/A | TRPNM | 4094 | 396 | 57.26
29 | N/A | GRSBK | 4028 | 576 | 52.66
30 | N/A | GRSBK | 3027 | 219 | 51.81
31 | N/A | WHOUS | 4121 | 912 | 51.51
32 | N/A | MARLN | 3019 | 15 | 45.4
33 | N/A | MARLN | 4005 | 678 | 44.93
34 | N/A | TEGLV | 4025 | 329 | 44.17
35 | N/A | RUSK | 3046 | 191 | 42.76
36 | N/A | RSBUD | 5009 | 441 | 42.25
37 | N/A | JKWST | 4035 | 80 | 41.4
38 | N/A | MSLMN | 4007 | 734 | 35.41
39 | N/A | ESFRF | 4009 | 162 | 33.3
40 | N/A | REYST | 4129 | 383 | 32.33
41 | N/A | JAXNR | 4109 | 813 | 32.1
42 | N/A | WRTHM | 5004 | 206 | 31.71
43 | N/A | JAXNR | 4111 | 333 | 31.07
44 | N/A | MSLMN | 4009 | 147 | 30.92
45 | N/A | NMART | 4009 | 165 | 29.7
46 | N/A | REYST | 4051 | 838 | 27.77
47 | N/A | GRSBK | 4029 | 891 | 25.07
48 | N/A | ESFRF | 4004 | 314 | 22.41
49 | N/A | ESJAX | 5026 | 248 | 22.19
50 | N/A | JKWST | 4033 | 400 | 22.1
51 | N/A | RUSK | 3078 | 67 | 21.16
52 | N/A | WRTHM | 5012 | 263 | 20.33
53 | N/A | TRPNM | 4001 | 334 | 19.19
54 | N/A | ESJAX | 5030 | 93 | 18.38
55 | N/A | WHOUS | 4122 | 1012 | 17.99
56 | N/A | FRFWS | 3001 | 1035 | 16.75
57 | N/A | WSFRF | 4019 | 32 | 16.22
58 | N/A | JKCTY | 5002 | 18 | 16.11
59 | N/A | FRFWS | 3002 | 236 | 14.81
60 | N/A | SMART | 4044 | 423 | 14.1
61 | N/A | MARLN | 4012 | 388 | 13.64
62 | N/A | MEXIA | 4040 | 851 | 13.2
63 | N/A | MARLN | 4006 | 527 | 12.86
64 | N/A | GRSBK | 3071 | 220 | 11
65 | N/A | CHILT | 4025 | 188 | 10.39
66 | N/A | JKCTY | 5034 | 153 | 9.2
67 | N/A | BEAST | 4088 | 103 | 8.43
68 | N/A | SMARL | 4003 | 955 | 8.32
69 | N/A | JAXNR | 4105 | 99 | 8.01
70 | N/A | NMART | 4010 | 406 | 7.11
71 | N/A | TGFIF | 5015 | 409 | 5.95
72 | N/A | MEXIA | 4012 | 538 | 5.7
73 | N/A | RSBUD | 5006 | 154 | 4.73
74 | N/A | SMARL | 4002 | 470 | 4.43
75 | N/A | MEXIA | 4007 | 314 | 4.42
76 | N/A | MSLMN | 4131 | 80 | 3.98
77 | N/A | JKCTY | 5003 | 105 | 3.89
78 | N/A | ESFRF | 4001 | 172 | 3.46
79 | N/A | MEXIA | 4011 | 855 | 3.05
80 | N/A | CHILT | 4024 | 39 | 2.64
81 | N/A | JKCTY | 5001 | 63 | 2.57
82 | N/A | ERUSK | 5014 | 177 | 2.38
83 | N/A | RUSK | 3053 | 291 | 1.93
84 | N/A | RSBUD | 5008 | 204 | 1.83
85 | N/A | LOTMN | 5011 | 145 | 1.19
86 | N/A | LOTMN | 5012 | 203 | 0.92
87 | N/A | WRTHM | 5017 | 143 | 0.88
88 | N/A | THRTN | 5003 | 89 | 0.67
89 | N/A | ALTOM | 5017 | 211 | 0.66
90 | N/A | MEXIA | 4008 | 337 | 0.41
91 | N/A | TGFIF | 5013 | 169 | 0.4
92 | N/A | ALTOM | 5016 | 181 | 0.35
93 | N/A | RIESL | 5013 | 154 | 0.18
94 | N/A | BMILL | 4163 | 20 | 0
95 | N/A | JAXNR | 4107 | 13 | 0
96 | N/A | JKSES | 3028 | 25 | 0
97 | N/A | MARLN | 4014 | 17 | 0
98 | N/A | OTTO | 3059 | 31 | 0
99 | N/A | RIESL | 5010 | 139 | 0
100 | N/A | RKCTY | 5012 | 113 | 0
101 | N/A | RKCTY | 5013 | 146 | 0
102 | N/A | TRAVI | 4015 | 53 | 0
103 | N/A | WHOUS | 0002 | 84 | 0

## Causes
TXU SESCO
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2000 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 25.2%
|  | Vegetation | 21.8%
|  | Animals and Birds | 26.6%
|  | People (Including cars and farm equip) | 2.8%
|  | Utility-owned Equipment | 8.9%
|  | Other | 4.3%
|  | Unknown | 10.4%