PROJECT NO. 24055

| Protocol Revision Informational Filings by the Electric Reliability Council of Texas | § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

# NOTICE OF ERCOT PROTOCOL REVISIONS

# (Effective JuLY 1, 2001)

COMES NOW the Electric Reliability Council of Texas, Inc. (“ERCOT”) and respectfully informs the Public Utility Commission of Texas (“the Commission”) of revisions to the ERCOT Protocols.

Summary of Revisions

In accordance with the process set forth in Section 21 of the ERCOT Protocols, several Protocol revisions were developed in the ERCOT committee process and approved by the ERCOT Board of Directors on June 19, 2001.  All of these revisions are effective as of July 1, 2001 (except for PRR 246 which was made effective as an Urgent Request upon approval of the Technical Advisory Committee on June 6, 2001), and are listed below according to the Protocol Revision Request (“PRR”) number assigned to each revision.

| PRR | Description | ERCOT Protocols Section Modified |
| --- | --- | --- |
| 218 | Responsibility Assignment for Reactive Power Capability and Automated Voltage Regulator (AVR) Testing (from QSE to Generation Entity). This revision changes the responsibility for reactive power capability verification and automatic voltage regulator (AVR) testing from the QSE to the Generation Entity. | 6.10.3.5 (Attachments B-1 and B-2) |
| 219 | Frequency Level Deviation Measurement. This revision changes the level of frequency deviation at which ERCOT measures and records various system operating data from 0.375 to 0.175 Hz. | 6.10.5.4 (Attachments B-1 and B-2) |
| 220 | Operating Guides Reference Clarification. This revision changes a description of the Protocols that described the ERCOT Operating Guides as part of the Protocols. The ERCOT Operating Guides are not part of the Protocols. | 17.6 (Attachments E-1 and E-2) |
| 241 | UFE Analysis Clarifications. This revision (a) changes the beginning date for UFE analysis in section 11.5.1 to January 2002, (b) modifies the language in 11.5.2.1 to accommodate a December 01, 2001 implementation timeline, and (c) adds language in 11.5.2.1 to require TDSPs to leave “old control area” boundary meters in place until UFE analysis zones are defined. Definition of zones to will take place after June 01, 2001 but will be accomplished in time to support the December 01, 2001 deadline. | 11.5 (Attachments C-1 and C-2) |
| 243 | Correction for Non-ERCOT Transactions from TDSPs. This revision corrects the Protocols to reflect the actual design/performance of the ERCOT systems. An impact analysis was performed by the vendor, and it was determined that it would be costly and time consuming (in terms of system performance) to validate and reject “pass through usage transactions” for Non-ERCOT Consumption (TDSP 867_03) transactions. Therefore, the systems will not reject transactions from Non-ERCOT TDSPs who choose to send the 867_03 to ERCOT. These Non-ERCOT 867_03s will be sent on to the Competitive Retailers identified in the transaction in the same manner as ERCOT TDSP submitted 867_03s. | 15.3 (Attachments D-1 and D-2) |
| 245 | - Ratchet Down for Out of Merit (OOM) Energy Payments. This revision is required by PUCT Order issued on April 11, 2001, in Docket No. 23220 (Page 11, Section II.D.4). It applies a ratcheting down mechanism for OOME Up energy payment. | 6.8.2.2 (Attachments B-1 and B-2) |
| 246 | Effective Date for Single Control Area Operation to July 6, 2001. This revision changes the effective date from June 1, 2001 to July 6, 2001, in order to reflect the start of single control area operations. | 1.7 (Attachments A-1 and A-2) |

The Protocols Sections revised by the above PRRs, attached hereto as Attachments A-1 through E-2, are shown in red-lined and black-lined formats.

Notice of other Protocols revisions

The Protocols revisions directed by PRR 223, (§ 1.1), 225 (§ 18.7.1.4), and 227 (§ 1.2) approved by the Board at its May 2001 meeting were inadvertently omitted in ERCOT’s May filing in this Docket.  The revised language approved in those PRRs are reflected in the Attachments A-1, A-2, F-1, and F-2.

On the ERCOT website, but not reflected in the attachments to this filing, ERCOT has updated its address in all of the standard form agreements (Section 22 of the Protocols) to reflect its new Austin location.

The Protocols, all revisions thereto, and the details of the revision process are available on the Internet at the link identified as “Protocols” on the ERCOT website, http://www.ercot.com.

Respectfully Submitted,

______________________________

Mark A. Walker

SENIOR CORPORATE COUNSEL

Texas Bar No: 20717318

ERCOT

7620 Metro Center Drive

Austin, Texas 78744-1654

Tel. (512) 225-7076

Fax (512) 225-7079

mwalker@ercot.com

## LIST OF ATTACHMENTS

ATTACHMENT A-1 SEC. 01-060601 REDLINE

ATTACHMENT A-2 SEC. 01-060601 BLACKLINE

ATTACHMENT B-1 SEC. 06-070101 REDLINE

ATTACHMENT B-2 SEC. 06-070101BLACKLINE

ATTACHMENT C-1 SEC. 11-070101 REDLINE

ATTACHMENT C-2 SEC. 11-070101 BLACKLINE

ATTACHMENT D-1 SEC. 15-070101 REDLINE

ATTACHMENT D-2 SEC. 15-070101 BLACKLINE

ATTACHMENT E-1 SEC. 17-070101 REDLINE

ATTACHMENT E-2 SEC. 17-070101 BLACKLINE

ATTACHMENT F-1 SEC. 18-060101 REDLINE

ATTACHMENT F-2 SEC. 18-060101 BLACKLINE