## Slide 1: Evaluation, Measurement & Verification (EM&V) Key Findings
Lark Lee, Commission EM&V Contractor lead
Fall EEIP Meeting, September 26, 2023

## Slide 2: Texas IOU Energy Efficiency History
The Public Utility Regulatory Act (PURA) Section 39.905 first established long-term goals in 1999 for the IOUs
  Since 2013, “floor” of 30 percent of demand growth or 4/10th of 1% of summer peak
  Due to consistent demand growth, IOUs are generally pursuing larger kW and kWh reductions

## Slide 3: Evaluation, Measurement and Verification (EM&V) Background

## Slide 4: EM&V Objectives

## Slide 5: How are EM&V objectives reached?
Engineering desk reviews
Statewide Database compiled from all utilities program tracking data
On-site M&V
interval meter data analysis for all load management M&V, prioritized energy efficiency programs
participant surveys, program design and delivery and market actor interviews
Ongoing technical support and reviews
100% program tracking data verification
Notes: PY2021 EM&V included:
100% program tracking data verification
460 engineering desk reviews
109 on-sites
639 participant surveys
12 in-depth interviews (8 program design and delivery staff, 4 winter load management aggregators)
Commercial lighting consumption analysis
Hard-to-reach air infiltration project analysis

## Slide 6: PY2022 Programs achieved lifetime savings at cost of $ 18.70 per kW, $0.014 per kWh
Notes: Average Texas house uses about 20,000 kWh annually (estimates vary) or about 38,000 homes

## Slide 7: trend change: STATEWIDE Utilities are meeting legislated goals with energy efficiency, continue to significantly exceed due to load management
PY2018–PY2022 Legislated Goals and Evaluated Demand Reduction

## Slide 8: 163,691 residential households 55,612 commercial customers plus retailer point of purchase discounts
How are savings delivered?

## Slide 9: Statewide Cost-effectiveness REMAINS HIGH

## Slide 10: 2022 Accomplishments

## Slide 11: ACEEE recommended Strategies— current characterization
Notes: Add a pic of another EE technology

## Slide 12: Replace Electric Furnaces with Heat Pumps
Heat pumps have become a top savings measure in residential programs.
Chart: MWh
| 2018 | 2019 | 2020 | 2021 | 2022
MWh | 21759.4816 | 25649.0439 | 26123.0688 | 20634.1476 | 40848.875
MW | 10.9423 | 12.9827 | 13.3827 | 10.4067 | 22.0795

## Slide 13: P.S. Commercial HVAC has Taken off too!

## Slide 14: Attic Insulation and Sealing
Insulation is robust given market conditions, but air sealing implementation producing real savings is a challenge
More accurate savings informed by a consumption analysis resulted in decreases after 2020

## Slide 15: Heat Pump Water Heaters
Challenges:
Program Sponsor Education
Consumer Education and Marketing
Cost and Installation
Skilled Workforce Shortage
Solutions:
Increased utility focus including sponsored education efforts (i.e., plumber continuing education)
Bundling with IRA tax credit
PY2023 TRM updates to midstream
PY2024 TRM update for small business application
Adoption has been slow, 71 incentivized through programs in 2022.

## Slide 16: Smart Thermostats
GROWTH EXPECTED TO CONTINUE--DELIVERY OPTIONS EXPANDED AND ADDITION OF SMALL BUSINESS IN PY2023 TRM

## Slide 17: Low-Income and Hard-to-Reach Programs
Recent Improvements:
Increased focus on underserved segments such as multifamily
Increased HVAC implementation in addition to traditional weatherization measures
Expanding partnerships with community organizations
Redesigned the program qualification process.

## Slide 18: Small Business
All utilities serve small business through commercial programs including midstream and upstream delivery, six utilities have dedicated direct install programs
There is a need to expand measures. Offerings primarily include a lighting retrofit with limited HVAC, controls, shell, and refrigeration offerings.
Midstream programs are particularly effective in expanding HVAC, food service, and refrigeration, which are expanding rapidly in utility portfolios.
Consideration: Track small business participation as metric of interest?

## Slide 19: Monitoring based commissioning
Monitoring-based commissioning (MBCx) is delivered in various ways.
Two utilities have dedicated retro-commissioning programs, two other utilities offer more targeted energy management programs. The rest include as a custom project.
The four programs with variations on MBCx through technical support to develop a plan to alter operations, controls, and behaviors to create sustainable annual energy savings. This same support is not typically offered as a custom project.

## Slide 20: Residential Demand Response Central Air Conditioning (CAC) with Smart thermostats
Residential demand programs had seen significant increases in participation and savings until PY2021.
Due to policy uncertainty, lower participation levels and capped program budgets contributed to a slight decrease in savings in PY2022.
PY2023 and PY2024 are expected to see rapid expansion of residential demand response.
Chart: MW
| 2019 | 2020 | 2021 | 2022
Demand Reduction (MW) | 49 | 64.8 | 72.8 | 71.8
Program Budget ($M) | 2.3625 | 2.6124 | 2.9453 | 2.6836

## Slide 21: Water Heater Demand Response
TRM M&V Methodology already in place, some interest particularly as residential winter demand response option

## Slide 22: EV Charging
Due to the high cost of the measure and low savings potential, the residential sector has seen limited participation (19 incentivized in PY2022)
Managed charging of commercial fleet charging may provide an opportunity for peak demand management—R&D study is underway.

## Slide 23: Thank you!
Lark.Lee@tetratech.com
TEL: 830-221-5448