Avoided Cost of Capacity and Energy for the 2019 Program Year

Avoided Cost of Capacity

Based on the Energy Information Administration's (EIA) Table 8.2, Cost and Performance Characteristics of New Central Station Electricity Generating Technologies, the base overnight cost of an advanced combustion turbine is $648 per kW. Since this amount is less than the $700 per kW threshold set forth in §25.181(d)(2)(A), the avoided cost of capacity will remain at $80 per kW for 2019.

Avoided Cost of Energy

As ERCOT's calculation of the avoided cost of energy shown below indicates, the 2019 avoided cost will be $0.05084/kWh.

| Load Zone | Load-Weighted Average $/MWh |  |  |
| --- | --- | --- | --- |
|  | Summer | Winter | Both |
| LZ_HOUSTON | 59.40 | 35.75 | 50.43 |
| LZ_NORTH | 55.42 | 38.24 | 48.62 |
| LZ_SOUTH | 62.24 | 52.83 | 58.58 |
| LZ_WEST | 58.25 | 38.21 | 49.61 |
| Weighted AVG | 58.02 | 39.75 | 50.84 |