| Public Utility Commission of Texas |  |
| --- | --- |

Evaluation, Measurement, and Verification Plans for ERCOT Utilities' Energy Efficiency and Load Management Portfolios—PY2024

|  |  | January 2025 |
| --- | --- | --- |

720 Brazo Street, Suite 210 | Austin, TX 78701

tetratech.com

Table of Contents

1.0 Introduction	1

1.1 Evaluation Prioritization	2

1.1.1 PY2024 EM&V Prioritization Overview	2

1.1.2 PY2025 EM&V Prioritization Overview	4

1.1.3 PY2026 EM&V Prioritization Overview	5

1.1.4 PY2027 EM&V Prioritization Overview	7

1.2 Evaluation Activities	8

2.0 Evaluation Approach	9

2.1 Impact Evaluations	9

2.1.1 Overview of Impact Evaluation Approach	11

2.2 EM&V Database and dashboard	13

2.2.1 Data Requests and Security	13

2.2.2 Front- and Back-End Data Management	14

2.2.3 Preliminary Data Validation	14

2.3 Detailed Research Plans and Supplemental Data Requests	15

2.4 Cost-Effectiveness Testing	15

2.5 Performance Feedback	17

2.6 Reporting and Deliverables	17

2.7 EM&V Timeline	18

3.0 AEP Texas	19

3.1 Portfolio Overview	19

3.2 Commercial Market Transformation	20

3.2.1 Commercial Solutions Market Transformation Program (MTP)	20

3.2.2 Open Market Transformation Program	22

3.2.3 SCORE/CitySmart Market Transformation Program	24

3.3 Commercial Standard Offer	26

3.3.1 Commercial Standard Offer Program	27

3.4 Load Management	28

3.4.1 Load Management Standard Offer Program (Commercial)	29

3.4.2 Winter Load Management (WLM) Standard Offer Program	30

3.5 Residential Market Transformation	32

3.5.1 High-Performance New Homes Market Transformation Program	32

3.6 Residential Standard Offer	34

3.6.1 Residential Standard Offer Program	34

3.7 Low-Income/Hard-to-Reach Standard Offer	36

3.7.1 Hard-to-Reach Standard Offer Program	36

3.7.2 Targeted Low-Income Energy Efficiency Program	37

3.8 Cross-Sector Programs	39

3.8.1 CoolSaverSM A/C Tune-Up Market Transformation Program	39

3.8.2 SMART Source Solar Photovoltaic Market Transformation Program	41

3.9 Pilot	43

3.9.1 Foodservice Pilot Market Transformation Program	43

3.9.2 Multifamily Smart Thermostat Pilot Market Transformation Program	44

4.0 CenterPoint Energy	47

4.1 Portfolio Overview	47

4.2 Commercial Market Transformation	49

4.2.1 Commercial Market Transformation Program	49

4.2.2 Retro-Commissioning Market Transformation Program	51

4.2.3 Commercial High-Efficiency Foodservice	52

4.3 Commercial Standard Offer	54

4.3.1 Commercial Standard Offer Program	54

4.4 Load Management	57

4.4.1 Commercial Load Management Standard Offer Program	57

4.4.2 Residential Load Management Standard Offer Program	58

4.5 Residential Market Transformation	59

4.5.1 Multifamily Market Transformation Program Market Rate	60

4.5.2 High-Efficiency Homes Market Transformation Program	61

4.5.3 Midstream Market Transformation Program 
(HVAC and Residential Pool Pump Distributors)	64

4.6 Residential Standard Offer	65

4.6.1 Residential and Small Commercial Standard Offer Program	65

4.7 Low-Income/Hard-to-Reach Market Transformation	67

4.7.1 Hard-to-Reach Standard Offer Program	67

4.7.2 Multifamily Market Transformation Program Hard-to-Reach	68

4.7.3 Targeted Low-Income (Agencies in Action) Market Transformation Program	70

4.8 Cross-Sector Programs	72

4.8.1 Retail Products and Services Market Transformation Program	72

4.9 Pilot	76

4.9.1 Winter Load Management Pilot Program	76

5.0 Oncor	78

5.1 Portfolio Overview	78

5.2 Commercial Market Transformation	80

5.2.1 Commercial Midstream Market Transformation Program	80

5.2.2 Master-Metered Smart Thermostat Market Transformation Program	81

5.2.3 Strategic Energy Management Market Transformation Program	83

5.3 Commercial Standard Offer	84

5.3.1 Commercial Standard Offer Program	85

5.3.2 Small Business Direct Install Standard Offer Program	87

5.4 Load Management	89

5.4.1 Commercial Load Management Standard Offer Program	89

5.4.2 Residential Load Management Standard Offer Program	90

5.5 Residential Standard Offer	91

5.5.1 Home Energy Efficiency Standard Offer Program	91

5.5.2 Residential Solar Photovoltaic Standard Offer Program	93

5.6 Low-Income/Hard-to-Reach Standard Offer	94

5.6.1 Hard-to-Reach Standard Offer Program	94

5.6.2 Low-Income Multi-Family Smart Thermostat Direct Install Market Transformation Program	96

5.6.3 Low-Income HVAC Tune-up Market Transformation Program	97

5.6.4 Targeted Weatherization Low-Income Standard Offer Program	99

5.7 Residential Market Transformation	101

5.7.1 Multi-Family Smart Thermostat Direct Install Market Transformation Program	101

5.7.2 Residential New Home Construction Market Transformation Program	102

5.7.3 Retail Platform Market Transformation Program	103

5.8 Pilots	105

5.8.1 Commercial Winter Load Management Standard Offer Program (Pilot)	105

5.8.2 Residential Winter Load Management Standard Offer Program (Pilot)	106

6.0 TNMP	108

6.1 Portfolio Overview	108

6.2 Commercial Market Transformation	109

6.2.1 Commercial Solutions Market Transformation Program	109

6.2.2 SCORE/CitySmart Market Transformation Program	111

6.2.3 Small Business Market Transformation Program	112

6.3 Load Management	115

6.3.1 Summer Load Management SOP	115

6.3.2 Winter Load Management Standard Offer Program	116

6.4 Residential Market Transformation	118

6.4.1 High-Performance Homes Market Transformation Program	118

6.5 Residential Standard Offer	120

6.5.1 Residential Standard Offer Program	120

6.6 Low-Income/Hard-to-Reach Standard Offer	122

6.6.1 Hard-to-Reach Standard Offer Program	122

6.6.2 Low-Income Weatherization Program	123

List of Figures

Figure 1. Annual Evaluation, Measurement, and Verification Timeline	18

Figure 2. Data Management Process	A-1

Figure 3. EM&V Team Organizational Chart	D-1

List of Tables

Table 1. Evaluation Prioritization and Plan Summary—PY2024 Completed in 2025	3

Table 2. Evaluation Prioritization and Plan Summary—PY2025 Completed in 2026	5

Table 3. Evaluation Prioritization and Plan Summary—PY2026 Completed in 2027	6

Table 4. Evaluation Prioritization and Plan Summary—PY2027 Completed in 2028	7

Table 5. Cost-Effectiveness Model Inputs and Sources	15

Table 6. AEP Texas—PY2024 Projected Demand and Energy Savings	19

Table 7. Commercial Solutions Market Transformation Program Summary	20

Table 8. Commercial Solutions Market Transformation Program EM&V Plan	22

Table 9. Open Market Transformation Program Summary	22

Table 10. Open Market Transformation Program EM&V Plan	24

Table 11. Texas SCORE/CitySmart Market Transformation Program Summary	24

Table 12. Texas SCORE/CitySmart Market Transformation Program EM&V Plan	26

Table 13. Commercial Standard Offer Program Summary	27

Table 14. Commercial Standard Offer Program EM&V Plan	28

Table 15. Load Management Standard Offer Program (Commercial) Summary	29

Table 16. Load Management Standard Offer Program (Commercial) EM&V Plan	30

Table 17. Winter Load Management Standard Offer Program Summary	30

Table 18. Winter Load Management Standard Offer Program EM&V Plan	31

Table 19. High-Performance New Homes Market Transformation Program Summary	32

Table 20. High-Performance New Homes Market Transformation Program EM&V Plan	33

Table 21. Residential Standard Offer Program Summary	34

Table 22. Residential Standard Offer Program EM&V Plan	35

Table 23. Hard-to-Reach Standard Offer Program Summary	36

Table 24. Hard-to-Reach Standard Offer Program EM&V Plan	37

Table 25. Targeted Low-Income Energy Efficiency Program Summary	37

Table 26. Targeted Low-Income Energy Efficiency Weatherization Program EM&V Plan	38

Table 27. CoolSaverSM A/C Tune-Up Market Transformation Program Summary	39

Table 28. CoolSaverSM A/C Tune-Up Market Transformation Program EM&V Plan	40

Table 29. SMART Source Solar Photovoltaic Market Transformation Program Summary	41

Table 30. SMART Source Solar Photovoltaic Market Transformation Program EM&V Plan	42

Table 31. Foodservice Pilot Market Transformation Program Summary	43

Table 32. Foodservice Pilot Market Transformation Program EM&V Plan	44

Table 33. Multifamily Smart Thermostat Pilot Market Transformation Program Summary	44

Table 34.  Multifamily Smart Thermostat Pilot Market Transformation Program EM&V Plan	45

Table 35. CenterPoint Energy—PY2024 Projected Demand and Energy Savings	47

Table 36. Commercial Market Transformation Program Summary	49

Table 37. Commercial Market Transformation Program EM&V Plan	50

Table 38. Retro-Commissioning Market Transformation Program Summary	51

Table 39. Retro-Commissioning Market Transformation Program EM&V Plan	52

Table 40. Commercial High-Efficiency Foodservice Market Transformation Program Summary	52

Table 41. Commercial High-Efficiency Foodservice Market Transformation Program EM&V Plan	53

Table 42. Commercial Standard Offer Program Summary	54

Table 43. Commercial Standard Offer Program EM&V Plan	56

Table 44. Commercial Load Management Standard Offer Program Summary	57

Table 45. Commercial Load Management Standard Offer Program EM&V Plan	58

Table 46. Residential Load Management Standard Offer Program Summary	58

Table 47. Residential Load Management Standard Offer Program EM&V Plan	59

Table 48. Multifamily Market Transformation Program Summary	60

Table 49. Multifamily Market Transformation Program EM&V Plan	61

Table 50. High Efficiency Homes Market Transformation Program Summary	61

Table 51. High-Efficiency Homes MTP EM&V Plan	63

Table 52. Midstream Market Transformation Program Summary	64

Table 53. Midstream MTP EM&V Plan	65

Table 54. Residential and Small Commercial Standard Offer Program Summary	65

Table 55. Residential and Small Commercial Standard Offer Program EM&V Plan	66

Table 56. Hard-to-Reach Standard Offer Program Summary	67

Table 57. Hard-to-Reach Standard Offer Program EM&V Plan	68

Table 58. Multifamily Market Transformation Program Hard-to-Reach Summary	68

Table 59. Multifamily Market Transformation Program Hard-to-Reach EM&V Plan	69

Table 60. Targeted Low-Income (Agencies in Action) Market Transformation Program Summary	70

Table 61. Targeted Low-Income (Agencies in Action) Market Transformation Program EM&V Plan	71

Table 62. Retail Products and Services Market Transformation Program Summary	72

Table 63. Retail Products and Services Market Transformation Program EM&V Plan	75

Table 64. Winter Load Management Pilot Program Summary	76

Table 65. Winter Load Management Pilot Program EM&V Plan	77

Table 66. Oncor—PY2024 Projected Demand and Energy Savings	78

Table 67. Commercial Midstream Market Transformation Program Summary	80

Table 68. Commercial Midstream Market Transformation Program EM&V Plan	81

Table 69. Master-Metered Smart Thermostat Market Transformation Program Summary	81

Table 70. Master-Metered Smart Thermostat Management Market Transformation 
Program EM&V Plan	82

Table 71. Strategic Energy Management Market Transformation Program Summary	83

Table 72. Strategic Energy Management Market Transformation Program EM&V Plan	84

Table 73. Commercial Standard Offer Program Summary	85

Table 74. Commercial Standard Offer Program EM&V Plan	86

Table 75. Small Business Direct Install Standard Offer Program Summary	87

Table 76. Small Business Direct Install Standard Offer Program EM&V Plan	88

Table 77. Commercial Load Management Standard Offer Program Summary	89

Table 78. Commercial Load Management Standard Offer Program EM&V Plan	90

Table 79. Residential Load Management Standard Offer Program Summary	90

Table 80. Residential Load Management Standard Offer Program EM&V Plan	91

Table 81. Home Energy Efficiency Standard Offer Program Summary	91

Table 82. Home Energy Efficiency Standard Offer Program EM&V Plan	92

Table 83. Solar Photovoltaic Standard Offer Program Summary	93

Table 84. Residential Solar Photovoltaic Standard Offer Program EM&V Plan	94

Table 85. Hard-to-Reach Standard Offer Program Summary	94

Table 86. Hard-to-Reach Standard Offer Program EM&V Plan	95

Table 87. Low-Income Multi-Family Smart Thermostat Direct Install 
Market Transformation Program Summary	96

Table 88. Low-Income Multi-Family Smart Thermostat Direct Install 
Market Transformation Program EM&V Plan	97

Table 89. Low-Income HVAC Tune-up Market Transformation Program Summary	97

Table 90. Low-Income HVAC Tune-up Pilot Management 
Market Transformation Program EM&V Plan	98

Table 91. Targeted Weatherization Low-Income Standard Offer Program Summary	99

Table 92. Targeted Weatherization Low-Income Standard Offer Program EM&V Plan	100

Table 93. Multi-Family Smart Thermostat Direct Install Market Transformation Program Summary	101

Table 94. Multi-Family Smart Thermostat Direct Install Market Transformation Program 
EM&V Plan	101

Table 95. Residential New Home Construction Market Transformation Program Summary	102

Table 96. Residential New Home Construction Market Transformation Program EM&V Plan	103

Table 97. Retail Platform Market Transformation Program Summary	103

Table 98. Retail Platform Market Transformation Program EM&V Plan	104

Table 99. Commercial Winter Load Management Standard Offer Program (Pilot) Summary	105

Table 100. Commercial Winter Load Management Standard Offer Program (Pilot) EM&V Plan	105

Table 101. Residential Winter Load Management Standard Offer Program (Pilot) Summary	106

Table 102. Residential Winter Load Management Standard Offer Program (Pilot) EM&V Plan	107

Table 103. TNMP—PY2024 Projected Demand and Energy Savings	108

Table 104. Commercial Solutions Market Transformation Program Summary	109

Table 105. Commercial Solutions Market Transformation Program EM&V Plan	110

Table 106. SCORE/CitySmart Market Transformation Program Summary	111

Table 107. SCORE/CitySmart Market Transformation Program EM&V Plan	112

Table 108. Small Business Market Transformation Program Summary	112

Table 109. Small Business Market Transformation Program EM&V Plan	114

Table 110. Summer Load Management Standard Offer Program Summary	115

Table 111. Summer Load Management Standard Offer Program EM&V Plan	116

Table 112. Winter Load Management Standard Offer Program Summary	116

Table 113. Winter Load Management Standard Offer Program EM&V Plan	117

Table 114. High-Performance Homes Market Transformation Program Summary	118

Table 115. High-Performance Homes Market Transformation Program EM&V Plan	120

Table 116. Residential Standard Offer Program Summary	120

Table 117. Residential Standard Offer Program EM&V Plan	121

Table 118. Hard-to-Reach Standard Offer Program Summary	122

Table 119. Hard-to-Reach Standard Offer Program EM&V Plan	123

Table 120. Low-Income Weatherization Program Summary	123

Table 121. Low-Income Weatherization Program EM&V Plan	124

Acknowledgements

The program evaluation plans contained in this document were developed based upon prior evaluation, measurement, and verification (EM&V) results and discussions with the Public Utility Commission of Texas (PUCT) staff, electric utilities program staff, and reviews of the utilities' program tracking and program documentation.

We would like to acknowledge the many individuals who contribute to the EM&V effort. This evaluation effort would not be possible without their assistance and support.

PUCT and electric utility staff provide input throughout the evaluation processes, starting with this EM&V Plan. The following individuals participated in ongoing evaluation deliverable reviews and discussions, attended multiple meetings, and responded to follow-up questions and program data and documentation requests:

- PUCT: Ramya Ramaswamy, Jenny DiLeo, Therese Harris, Patricia Garcia, Tugi Gotora, and James Harville;

- American Electric Power Texas (AEP Texas): Robert Cavazos and Pam Osterloh;

- CenterPoint Energy: Ana Baskharone, Shea Richardson, and Tim Griffin;

- Oncor:  Garry Jones, Tim McConkie, Paul Jacks, and Joseph Nixon; and

- Texas-New Mexico Power (TNMP): Stefani Case and Josh Campbell.

We also wish to thank the staff at the following utility consulting firms who provide program data, documentation, and insight into program implementation: CLEAResult, Frontier Energy, ICF International, TRC, and Willdan Energy Solutions.

Please send any questions or comments on the EM&V Plan to PUCT staff (energyefficiency@puc.texas.gov) and Lark Lee (lark.lee@tetratech.com).

Acronyms and abbreviations

| Acronym/Abbreviation | Description |
| --- | --- |
| AEP Texas | American Electric Power Texas |
| C&I | Commercial and industrial |
| CATI | Computer-assisted telephone interview |
| CNP | CenterPoint Energy Houston Electric, LLC |
| CSOP | Commercial standard offer program |
| DI | Direct install |
| EEIP | Energy efficiency implementation project |
| EEPR | Energy efficiency plan and report |
| EESP | Energy efficiency service provider |
| EM&V | Evaluation, measurement, and verification |
| Entergy | Entergy Texas, Inc. |
| EPE | El Paso Electric Company |
| HTR | Hard-to-reach |
| IOU | Investor-owned utility |
| kW | Kilowatt |
| kWh | Kilowatt-hour |
| LI | Low-income |
| LM | Load management |
| M&V | Measurement and verification |
| mcf | 1,000 cubic feet |
| MTP | Market transformation program |
| NTG | Net-to-gross |
| PUCT | Public Utility Commission of Texas |
| PV | Photovoltaic |
| PY | Program year |
| QA/QC | Quality assurance/quality control |
| RFP | Request for proposals |
| RSOP | Residential standard offer program |
| SOP | Standard offer program |
| SWEPCO | Southwestern Electric Power Company |
| TEESI | Texas Energy Engineering Services, Inc. |
| TNMP | Texas-New Mexico Power Company |
| TRM | Technical Reference Manual |
| Xcel Energy SPS | Xcel Energy Southwest Public Service, Inc. |

# Introduction

This document presents the evaluation, measurement, and verification (EM&V) plans for the ERCOT utilities' energy efficiency and load management programs implemented in program year (PY) 2024 (PY2024). It builds upon the prior program years' statewide EM&V efforts conducted annually since PY2012. This is the first EM&V Plan in the four-year EM&V contract period covering PY2024–PY2027 and responds to new research priorities and needs.

The EM&V provides a broad due diligence verification of claimed savings for all programs with targeted in-depth activities based on prioritization, which maximizes the value of EM&V. Prioritization allocates EM&V activities, including (1) engineering desk reviews, (2) on-site measurement and verification (M&V), (3) participant surveys, (4) in-depth interviews, (5) interval meter data analysis, and (6) consumption analyses.

In 2011, the Texas Legislature enacted SB 1125, which required the Public Utility Commission of Texas (PUCT) to develop an EM&V framework that promotes effective program design and consistent and streamlined reporting. The EM&V framework is embodied in P.U.C. SUBST. R. 25.181, relating to the energy efficiency goal.

The PUCT selected an independent, third-party EM&V contractor for the PY2024–PY2027 programs through the Request for Proposals (RFP) 473-24-00003, Project No. 56788. The selected EM&V team is led by Tetra Tech and includes Texas Energy Engineering Services, Inc. (TEESI), Energy Bees, and Blink Energy Services. This document is the deliverable for Task 1B of the Scope of Work in the RFP.

The objectives of the EM&V effort are to:

- document gross and net energy and demand impacts of utilities' individual energy efficiency and load management portfolios;

- determine program cost-effectiveness;

- provide feedback to the PUCT, utilities, and other stakeholders on program portfolio performance; and

- prepare and maintain a statewide technical reference manual (TRM).

This document addresses the planning to meet the first three objectives above. EM&V research and results inform the fourth objective, maintenance of the TRM, along with a collaborative TRM working group composed of the EM&V contractor, PUCT staff, the electric utilities, and contractors invited by the utilities. This EM&V Plan is a living document; there may be scope changes to meet new PUCT priorities, portfolio and program changes, issues encountered during data collection, or interim evaluation findings. Any changes in scope will be documented in the EM&V team's biweekly status reports to the PUCT.

ERCOT utility-specific evaluation plans are in Section 3.0 through Section 6.0. Prior to the ERCOT utility-specific sections, Section 2.0 discusses the Tetra Tech team's approach to evaluation activities that will be performed consistently statewide across all ERCOT utility portfolios. The remainder of this section discusses evaluation prioritization and EM&V research. An overview of the EM&V prioritization is provided, followed by summary tables of prioritization by program type across the four years.

## Evaluation Prioritization

The EM&V plans are based on the prioritization for the EM&V effort that includes both PY2024 and the four-year contract-proposed prioritization, which the PUCT approved. To briefly summarize, the EM&V team identified program types across utilities that have similar program design, delivery, and target markets. We reviewed each program type and prioritized (high, medium, low) based on the following considerations:

- magnitude of savings—the percentage of contribution to the portfolio of programs' impacts (e.g., more than ten percent of portfolio savings are from a measure or program or the measure is rapidly expanding),

- level of relative uncertainty in estimated savings,

- level and value of existing quality assurance/quality control (QA/QC), and verification data from on-site inspections completed by utilities or by their contractors,

- stage of the program or programmatic component (e.g., pilot, early implementation, mature),

- importance to future portfolio performance,

- and priorities for PUCT and utilities prior EM&V results, and upcoming changes in the markets in which the programs operate.

As discussed above, we propose to build on the use of consumption analyses in the previous evaluation cycles. The use of consumption analyses will continue to improve the accuracy of TRM deemed savings in estimating energy savings and demand reductions and allow us to assess how effectively individual measures and IOU programs are performing.

The priority given to each utility program is indicated at the top of its EM&V Plan in the utility-specific sections. A streamlined EM&V effort will be conducted, coupling broad due diligence verification of savings for all programs with targeted in-depth activities, including engineering desk reviews, on-site M&V, interval meter data analysis, participant surveys and interviews, and consumption analyses based on the prioritization of the programs.

We carefully developed PY2024‒PY2027 EM&V scopes that prioritize EM&V activities where they provide the greatest value. To continue the significant progress in improving IOU portfolios, programs, and the TRM, we propose the following prioritization and overview of the Portfolio EM&V Plan. The proposed Portfolio EM&V Plan, as summarized in Table 1 through Table 4, is based on our approach to implementing broad verification coupled with targeted in-depth evaluations.

### PY2024 EM&V Prioritization Overview

For PY2024 EM&V to be completed in 2025, we propose a high priority for HVAC tune-ups, smart thermostats, and major commercial end-uses (e.g., lighting, HVAC, and custom). The number of HVAC tune-ups incentivized through the programs has increased rapidly in recent years, and more information on both gross and net savings (as measured through a net-to-gross ratio) is needed. A consumption analysis and participant survey for HVAC tune-ups for both residential and commercial customers is planned.

The number of smart thermostats incentivized through the programs has also increased rapidly in recent years, necessitating more information on both gross and net savings. In addition, IOU program-incentivized smart devices can be utilized for demand response, which is relevant to broader PUCT initiatives. A process evaluation for the first Retail Electric Pilot is planned with in-depth interviews of program design and delivery staff, complemented with participant surveys for those receiving smart thermostats through sampling from other programs and delivery mechanisms such as retailer programs and online marketplaces.

Commercial projects delivered through Commercial Standard Offer Programs (CSOP) and Market Transformation Programs (CMTP) have seen increased complexity of projects where engineering desk reviews provide more information on the savings. In addition, through commercial participant surveys, we will verify measure installation, update the net-to-gross ratios used to calculate net savings for major end-uses and collect process information such as program satisfaction.

We have prioritized residential retrofit measures and load management as a medium priority for PY2024 EM&V. For residential retrofit measures, we will assess baseline documentation requirements that were added to the TRM to align better deemed savings with measured savings and complete desk reviews for measures that are heavily dependent on proper implementation such as air infiltration and duct sealing. These measures are implemented across Residential Standard Offer Programs (RSOPs), Residential Market Transformation Programs (RMPTs), Hard-to-Reach Programs (HTR SOPs) and Low-income Weatherization programs (LI programs). We will analyze interval meter data analysis for a census of load management, given that load management programs account for half or more of demand reductions across most IOU portfolios.

Table 1. Evaluation Prioritization and Plan Summary—PY2024 Completed in 2025

| Measure, end-use, or program type | Sector | Evaluation priority | Claimed savings verification approach | Project desk reviews | On-sites | Surveys and Interviews | Interval meter/ consumption analysis |
| --- | --- | --- | --- | --- | --- | --- | --- |
| HVAC tune-ups | Commercial and residential | High | Census sample | N/A | N/A | Participants | Census sample |
| Smart thermostats | Commercial and residential | High | Census, tracking system data | Census retail electric provider pilot | N/A | Participants and retail electric providers | Interval meter data for retail electric provider pilot |
| Commercial projects through CSOP and CMTP | Commercial | High | Sample by end-use | 73 | N/A | Participants, census or sample to meet 90/10 | N/A |
| Retrofit measures across RSOP, RMTP, HTR, and LI programs | Residential | Medium | Sample by end-use | 40 | N/A | N/A | N/A |
| Load management | Commercial and residential | Medium | Census | N/A | N/A | N/A | Census |
| All other measures and programs | Low | Census, tracking system data | N/A | N/A | N/A | N/A |  |

### PY2025 EM&V Prioritization Overview

For PY2025 EM&V to be completed in 2026 (Table 2), we have prioritized residential retrofit measures—insulation, air infiltration, duct sealing, and central air conditioners—as a high priority. We will re-evaluate the two ERCOT utilities’ where residential retrofit savings underperformed in the PY2023 consumption analysis.

Participant surveys for all IOU programs incentivizing residential retrofit measures will collect process information, update the net-to-gross factor for RSOP, and confirm measure installation. Desk reviews and on-sites will be conducted for residential retrofit IOU programs that are not included in the consumption analysis. Finally, as discussed further under Task 4, we propose developing a program participation metric for residential retrofit programs across ERCOT IOU territories to provide the PUCT insight on the percentage of residential customers served.

We have prioritized residential new homes, commercial projects, and load management as a medium priority. For residential new homes, we will assess how well the programs have responded to the PY2025 TRM baseline update and new performance paths open to the program through engineering desk reviews and program staff interviews. Given the complexity and uncertainty of project savings described above, we will sample for commercial project engineering desk reviews and on-sites. We will continue census interval meter data analysis for load management programs.

Table 2. Evaluation Prioritization and Plan Summary—PY2025 Completed in 2026

| Measure, end-use, or program type | Sector | Evaluation priority | Claimed savings verification approach | Project desk reviews or participation analysis | On-sites | Surveys and Interviews | Interval meter/ consumption analysis |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Retrofit measures across RSOP, RMTP, HTR, and LI programs | Residential | High | Census sample, tracking system, or consumption analysis as specified | 34 | 34 | Participants, sample to meet 90/10 | ERCOT IOU under-performing programs in PY2023 EM&V |
| New Homes | Residential | Medium | Sample by M&V approach (see desk reviews) | 35 | N/A | N/A | N/A |
| Commercial projects through CSOP and CMTP | Commercial | Medium | Sample by end-use (see desk reviews) | 146 | 73 | N/A | N/A |
| Load management | Commercial and residential | Medium | Census | N/A | N/A | N/A | Census interval meter data analysis |
| All other measures and programs |  | Low | Census, Tracking system data | N/A | N/A | N/A | N/A |

### PY2026 EM&V Prioritization Overview

For PY2026 EM&V to be completed in 2027 (Table 3), we have prioritized heat pumps, residential new homes, and load management as a high priority. A consumption analysis is proposed to assess heat pumps and variable speed heat pumps; the latter is a new measure in the PY2025 TRM. We will again assess how well the new homes programs have responded to the PY2025 TRM baseline update and new performance paths option coupled with an update in the net-to-gross ratio for these programs at the IOU-level. Load Management will include cooperation rate analysis coupled with in-depth interviews to understand IOU load management planning and optimization to provide performance feedback in addition to census interval meter data analysis.

We have prioritized commercial and residential retrofit projects as medium priorities to continue to assess the issues discussed above and have specified specific desk reviews for HVAC tune-ups to follow up on the results of the consumption analysis. Tetra Tech is proposing a new sampling stratum—geography—to provide additional feedback to the PUCT and IOUs on the quality of implementation across territories. Based on the experience with residential participation analysis for the outside-of-ERCOT IOUs, we will expand this analysis to the ERCOT IOUs, which will assist in developing the geography strata.

Table 3. Evaluation Prioritization and Plan Summary—PY2026 Completed in 2027

| Measure, end-use, or program type | Sector | Evaluation priority | Claimed savings verification approach | Project desk reviews and participation analysis | On-sites | Surveys and Interviews | Interval meter/ consumption analysis |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Heat pumps | Commercial and residential | High | Census sample | Baseline heating source | N/A | N/A | Census sample |
| New Homes | Residential | High | Sample by M&V approach | 40 | N/A | Approx. 20 builder and rater interviews | N/A |
| HVAC tune-ups | Commercial and residential | Medium | Sample | 13 Residential and 7 Commercial | 10 | N/A | N/A |
| Retrofit measures across RSOP, RMTP, HTR, and LI programs | Residential | Medium | Sample by geography | 86 and census participation for ERCOT IOUs | 43 | N/A | N/A |
| Commercial projects through CSOP and CMTP | Commercial | Medium | Sample by end-use and geography | 138 | 69 | N/A | N/A |
| Load management | Commercial and residential | High | Census | N/A | N/A | Census program design and delivery staff in-depth interviews | Census interval meter data analysis |
| All other measures and programs |  | Low | Census, Tracking system data | N/A | N/A | N/A | N/A |

### PY2027 EM&V Prioritization Overview

For PY2027 EM&V to be completed in 2028 (Table 4), we have placed a high priority on residential retrofit measures—insulation, air infiltration, duct sealing, and central air conditioners—and small business and expanding commercial offerings such as strategic energy management, recommissioning, and food services projects. We will conduct a residential retrofit consumption analysis for any programs found to be underperforming in the PY2025 consumption analysis. Desk reviews and on-sites will be conducted for residential retrofit IOU programs that are not included in the consumption analysis.

In addition, participant surveys for expanded commercial offerings will assess how effectively these programs serve commercial customers and update net-to-gross information. We will also evaluate how effectively programs reach the traditionally underserved small business customer segment. Other commercial projects and load management will continue as a medium priority for the above reasons.

Table 4. Evaluation Prioritization and Plan Summary—PY2027 Completed in 2028

| Measure, end-use, or Program type | Sector | Evaluation priority | Claimed savings verification approach | Project desk reviews and participation analysis | On-sites | Surveys and Interviews | Interval meter/ consumption analysis |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Retrofit measures across RSOP, RMTP, HTR, and LI programs | Residential | High | Census sample, tracking system, or consumption analysis as specified | 34 | 34 | N/A | Census analysis for under-performing programs in the PY2025 consumption analysis |
| Expanding offerings | Commercial | High | Sample by end-use and/or geography | 16 | 8 | Participants, census or sample to meet 90/10 | N/A |
| Small business | Commercial | High | Sample end-use and/or geography | 30 desk reviews, census analysis of measure mix and/or geography, participation analysis | 15 | N/A | N/A |
| Commercial projects through CSOP and CMTP | Commercial | Medium | Sampled by end-use (see desk reviews) | 102 | 51 | N/A | N/A |
| Load management | Commercial and residential | Medium | Census | N/A | N/A | N/A | Census interval meter data analysis |
| All other measures and programs |  | Low | Census, tracking system data | N/A | N/A | N/A | N/A |

## Evaluation Activities

Below, we briefly describe the major research activities listed in the tables above. These are discussed in more detail in Section 2 of this EM&V Plan.

Tracking system verification provides an independent third-party review of claimed savings; it assesses the accuracy of the data for all claimed savings in ERCOT utilities' annual Energy Efficiency Plans and Reports (EEPR). This verification includes a high-level review of programs' deemed measures to verify that all required tracking data is available and savings are calculated correctly for the applicable TRM. However, not all the information necessary to complete a census review of TRM-deemed savings calculations is in the tracking systems for residential and commercial programs; therefore, a sample of projects must be selected, and engineering desk reviews performed to verify savings.

Engineering desk reviews include reviewing the assumptions used for the savings calculations and, when available, utility M&V reports gathered through the supplemental data request for sampled projects.

On-site M&V checks the installation and equipment nameplate information to support the verification of claimed savings calculations and may include spot metering. Additional on-site metering will be completed when an enhanced level of rigor is warranted to validate key data inputs and assumptions. We expect to conduct metering or regression analyses for complex projects for which there is the greatest uncertainty in claimed savings in nonresidential applications or high-impact measures that represent a significant proportion of savings. We expect additional rigor in on-site M&V may be needed for project measures such as Strategic Energy Management projects, HVAC control system upgrades, fresh air pre-cooling, and air compressor upgrades, to name a few.

Consumption analyses of the utilities with interval meter data will be conducted to assess energy savings and demand reductions for several measures, end-uses, and programs, as described above in Table 1 through Table 4. These analyses will compare pre-program usage with post-program usage as well as comparisons with nonparticipant groups.

Interval meter data analyses will be conducted for all load management programs to recalculate kilowatt and kilowatt-hour savings from curtailment events as compared to the TRM baseline methodology.

Benchmarking research. Tetra Tech will conduct benchmarking research for net-to-gross ratios for similar upstream measures as offered through the Texas IOU programs when primary research is not warranted (e.g., small savings measures with low program uptake).

Participant analysis. Tetra Tech will work with PUCT Staff and IOUs to map multi-year program participation across IOU territories for specific customer segments as specified in the summary tables.

# Evaluation Approach

It is important to understand the energy efficiency and load management portfolios for each utility and the context in which they operate; this is necessary for the evaluation, measurement, and verification (EM&V) effort to result in actionable feedback that can be used to improve program performance and reporting accuracy. The EM&V team gathers information through meetings, program documentation, and data tracking reviews. The EM&V team reviews and compiles information from the annual Energy Efficiency Program Plans and Report (EEPR). In addition, the EM&V team collects and catalogs program documentation. Types of program-specific documentation reviewed included operating manuals, service provider applications, customer agreements, memoranda of understanding, sample customer reports (i.e., benchmarking), workshop presentations, and tools.

Scheduled biweekly status meetings between the EM&V team and the Public Utility Commission of Texas (PUCT) continue throughout the evaluation. Status reports are posted on the EM&V SharePoint site. The EM&V team and the PUCT will also hold periodic meetings with utilities and, when applicable, their implementation contractors throughout the evaluation period. The EM&V project manager will also email the utilities a monthly status update. In order to engage a wide range of stakeholders in the EM&V process in both up-front planning and the end results, an Energy Efficiency Implementation Project (EEIP) meeting will be held in the fall and spring, where the EM&V contractor presents.

Next, we discuss the EM&V team's approach to:

- the EM&V database,

- impact evaluations,

- performance feedback,

- cost-effectiveness testing, and

- reporting.

## Impact Evaluations

The impact evaluations will result in defensible lifetime and annual estimates of gross and net energy and demand impacts. The impact evaluations will be used to calculate realization rates; the realization rate is determined by dividing the evaluated savings by the utility-claimed savings.

We will complete program tracking system data verification for all demand reductions and energy savings. For a sample of projects, engineering desk reviews will verify that the measures installed are consistent with those listed in the tracking system, with a subset of on-site M&V for PY2025 through PY2027 to gain additional information and investigate areas of uncertainty found in the desk reviews. These impact evaluation activities are complemented by participant surveys and interviews to provide additional insight into program performance and to inform net-to-gross ratios to calculate net savings at the IOU program level. Next, we discuss the proposed evaluation approaches by sector, programs, and measures designated as high or medium priorities in Section 1.1.

Commercial sector energy efficiency proposed plan approach. The commercial SOPs and MTPs are similar in the sites they serve and the energy efficiency and demand reduction solution categories. Both program types have resulted in a large number of lighting and HVAC system improvement projects and customer measures, as well as a smaller number of projects of other measures (e.g., solar/PV, motors, roofs). Therefore, evaluation activities will be similar across both program types to strengthen results across this sector.

For each of the PY2025–PY2027 evaluations, we budgeted 200 desk reviews and 100 on-sites to verify key savings parameters. The PY2024 evaluation will include 100 desk reviews and participant telephone verifications instead of on-sites because of the limited time period in the first contract year before reporting. Compared to the residential sector, commercial buildings have a much larger variety of uses and operate similar equipment differently; therefore, a targeted measure approach that rotates across program years will focus the scope to provide actionable results. For example, HVAC tune-ups will be a focus for commercial and residential in PY2024 to provide useful results for this measure in addition to the highest savings measures of HVAC, lighting, and custom, while later years will focus on expanded measure offerings, including recommissioning, strategic energy management, food services and behavioral.

Residential sector energy efficiency proposed plan approach. The recommended evaluation approaches for the residential sector measures vary as the programs have different goals, designs, and delivery strategies and have different levels of proposed priority given prior years’ evaluations. For major programs and measures, we will conduct a consumption analysis, discussed in more detail below, to evaluate savings through changes in participants’ AMI meter data.

We will also conduct desk reviews to ensure the programs collect appropriate documentation and apply the TRM correctly. For desk reviews in the PY2025–PY2027 evaluations, we budgeted 340 desk reviews and 175 on-sites to verify key savings parameters. The PY2024 evaluation will include 60 desk reviews but no on-sites because of the limited time period in the first contract year before reporting. In PY2024, participant surveys evaluate the net-to-gross and assess performance for smart thermostats and tune-ups. Participant surveys to assess net-to-gross and performance for other residential programs and measures are planned for later years in the EM&V contract period. For new homes and measures that employ M&V approaches outlined in TRM Volume 5, we will conduct in-depth reviews of the M&V approach when those programs or measures are medium or high priority.

Measure-level consumption analysis. Each year’s consumption analysis, with 12-month pre- and 12-month post-installation AMI data, normalized for weather, will detail the expected targeted measures and IOU programs for the year. Consumption analysis results are expected to provide insight into the accuracy of the TRM assumptions and calculations related to real-world installations. This process will improve the accuracy of TRM deemed savings and the effectiveness of implementation at the IOU-level over the course of the evaluation contract.

The Tetra Tech team will conduct consumption analyses for programs that target measures of interest as proposed in Task 1B, Portfolio EM&V Plan, particularly HVAC tune-ups, HVAC equipment, and building envelope measures. As utilities update their portfolios, the programs included in these analyses might expand given the measure focus of the consumption analyses in the evaluation contract period.

While previous consumption analyses focused on the four to five utilities that had AMI data available, as AMI meters become fully deployed across all IOUs, the Tetra Tech team will expand consumption analysis to all utilities as it makes sense based on program participation and the progress of AMI meter deployment. Conducting utility-specific consumption analyses is important to provide results specific to utilities to understand program effectiveness within their unique territories and support consistent performance across IOUs.

Load management programs proposed evaluation approach. As we have done in the past, the Tetra Tech team proposes to collect interval load data from all utilities for a census of load management program participants to verify their energy and demand savings impacts. We have also proposed cooperation rate analysis coupled with in-depth interviews to understand IOU load management planning and optimization to be conducted once during the four-year contract period to assess program performance and gather key information.

Specific sampling strategies for PY2024 will be part of the Detailed Research Plans (DRP) discussed in Section 2.3.

In implementing the impact evaluations, we consider the issues that could introduce potential bias and uncertainty. Biases can be introduced for a number of reasons within evaluation results. It is important to assess that there are no major systematic non-random errors embedded in the data that would bias the evaluation results. The EM&V team will make every effort to identify and address any potential biases occurring due to measurement errors resulting from inaccurate meters or errors in recording data; collection errors arising from non-representative sampling; refusal by some in the sample to participate in a survey; biased responses or interpretation of responses; poor questionnaire design; failure to take behavioral factors into account; modeling errors from the incorrect specification of relationships between variables; improperly included or excluded information or data; and other modeling deficiencies. Even when applying best research practices to address potential biases, some uncertainty will remain; the annual ERCOT Investor-Owned Utilities (IOUs) Energy Efficiency Report will discuss sources of biases and uncertainty associated with the evaluated savings estimates.

In addition to mitigating the biases, the impact evaluations will increase the confidence of results and reduce uncertainty by employing appropriate sampling approaches and reporting confidence intervals. A confidence interval is a range of values that describes the uncertainty surrounding an estimate. Confidence intervals are one way to represent how "good" an estimate is—the larger a confidence interval is for a particular estimate, the more caution is required when using the point estimate.

Demand-side management program evaluations routinely employ 90 percent confidence intervals with ±10 percent as the industry standard ("90/10"). The 90 percent in the confidence interval represents a level of certainty about the estimate. If we were to repeatedly obtain new estimates using exactly the same procedure (by drawing a new sample, conducting new interviews, calculating new estimates, and new confidence intervals), the confidence intervals would contain the true average of all the estimates 90 percent of the time. The EM&V activities will result in a maximum confidence interval of ±10 percent with 90 percent confidence at the utility portfolio level for gross evaluated savings estimates.

Next, we overview our impact evaluation approach, followed by a discussion of DRPs used for data collection and details of the EM&V data collection activities.

### Overview of Impact Evaluation Approach

The EM&V team will use a combination of approaches to estimate and verify energy savings. Where standard offer programs (SOP), market transformation programs (MTP), and pilot programs are similar in terms of (1) the types of customers and sites they serve and (2) the end uses affected by the programs, the evaluation approaches will be similar to ensure the energy savings estimates are comparable for these program categories.

Below, we summarize the specific types of EM&V activities and analysis that the EM&V team will use to verify program impacts. The evaluated savings will be based on realization rate calculations; to calculate evaluated savings, we will apply the realization rates determined from the EM&V sample to the population of projects. Although the level of rigor varies by sector, program type, and measure, the following activities will be conducted by the EM&V team:

- Tracking system review. To review each utility's tracking system, which contains extensive information at the customer measure level, the EM&V team will use the technical reference manual (TRM) algorithms and deemed values to calculate aggregate savings at the utility program level. This review aims to verify that utilities have correctly applied these algorithms to all the programs' installed measures in the given program year. This tracking system review will allow the EM&V team to calculate the total program-deemed savings in order to conduct a final comparison to utilities' claimed savings. The tracking system review will be conducted for a sample of residential programs and commercial programs; utilities' tracking systems do not contain all of the information for a census review of commercial programs, and a supplemental data request to support desk reviews is needed.

- Engineering desk reviews. The EM&V team will review a sample of applications entered into the ERCOT utilities' tracking systems for accuracy and completeness. Our review will accomplish two primary objectives. First, it will ensure that the measures installed are consistent with those listed in the tracking system. For each program, the EM&V team will review the tracking system and its linkage to any deemed savings tools or methods used to estimate savings at the measure and site level. Second, the desk reviews will verify that the tracking system's savings estimates are consistent with those calculated in the "deemed" calculation tools, tables, or M&V methods used to estimate project savings. The EM&V team will review the assumptions used for the savings calculations. Our focus on this effort will be to review, if possible, available building simulation models and any work papers that were developed for the savings assumptions. Desk reviews will also include a review of the utility M&V reports gathered through the supplemental data request for sampled projects.

- On-site M&V. We will also conduct on-site M&V for a sample of participants. These on-site visits have two principal objectives: (1) to verify the installation and operation of the equipment/systems and (2) to verify key assumptions made in calculating claimed savings estimates.

  - Installations will be verified by collecting data on-site related to the number of measures installed, the location of the systems, equipment nameplate information, and a visual inspection to ensure the systems are working as intended. This basic inspection audit will take approximately one to two hours to complete.

  - Site measurements—and potentially spot metering—will be conducted to develop an independent estimate of savings to compare to the utility's claimed savings estimates. This more comprehensive audit seeks to verify key input assumptions used to develop ex-ante claimed savings estimates from deemed savings algorithms or M&V plans for custom projects (e.g., baseline energy use, operating hours, efficiency performance, and potentially interactive effects). For residential programs, blower door testing will also be performed.

- Consumption analysis. The EM&V team will conduct consumption analyses of the utilities with interval meter data to assess actual savings in comparison to the TRM for both commercial and residential high-impact measures. The consumption analyses will employ quasi-experimental designs that compare pre-participation and post-participation usage as well as comparisons with a representative nonparticipant group. Weather and outliers will also be addressed in the methodology. The primary goal of this analysis is to inform prospective updates to the TRM.

- Interval meter data analysis. For the load management programs, the EM&V team will perform interval meter data analysis to evaluate the energy and demand impacts of curtailment events compared to the TRM baseline methodology.

- Benchmarking research. Tetra Tech will conduct benchmarking research for net-to-gross ratios for similar upstream measures as offered through the Texas IOU programs.

## EM&V Database and dashboard

The EM&V database provides an integrated multi-purpose solution. It includes key data from all ERCOT and Outside-of-ERCOT utilities, which is critical for providing both the macro- and micro-level information needed to understand the programs and measures driving savings across the IOUs and allowing us to drill down to ERCOT and Outside-of-ERCOT utility-, program- and measure-specific data. We will continue to use the EM&V database to sample across utilities’ programs efficiently and maintain accuracy and consistency in reporting evaluated results. The EM&V database allows the EM&V team to conduct efficient sampling across utilities and programs, complete tracking system reviews across all programs, and sample projects for additional activities, as summarized in Section 1.0. In addition, the EM&V team reviews the utilities' final program tracking data to reconcile the EM&V's tracking system savings with the claimed savings that utilities report in their EEPRs.

In addition to the EM&V database, which manages the tracking data, the evaluation team plans to provide the PUCT with an interactive dashboard detailing the status of each program evaluation. Overall, the dashboard tracks progress toward goals across programs, including the number of completed desk reviews, surveys, and site verifications. At a more granular level, the dashboard allows the PUCT to examine all documentation and calculations the evaluation team used—by project or site—at any time.

Critical components of any successful evaluation include the secure collection, archival, organization, and maintenance of program and portfolio data. The Tetra Tech team has continuously improved the centralized, statewide EM&V database to carefully manage the data request process, which has improved the data quality and reduced the burden on utilities and their contractors. Data security protocols have also continuously improved to ensure secure transmission and storage.

### Data Requests and Security

The EM&V team will periodically submit data requests to utilities, as indicated on the data request timeline maintained on the EM&V SharePoint site. Supplemental data requests will be sent for the high and medium priority programs to obtain additional documentation. Per the communication protocols agreed upon by the utilities for prior EM&V efforts, the EM&V team will direct data requests to the utilities as well as implementation contractors who host the data and have been authorized by the utilities to release data to the EM&V team.

Care needs to be taken to transfer and store customer data to ensure data integrity and security. The confidentiality of customer data and personally identifiable information (PII) relies on the following solid security plan:

- File transfers

  - All data are encrypted when in transit; Tetra Tech uses a secure OneDrive file transfer application that encrypts files during the transfer process, ensuring data integrity and security.

- Storage

- Data containing PII are encrypted while at rest.

- Data are stored on a server located in a physically secured data center.

- Access

- Exposure to PII is limited to designated staff members.

- Non-PII/clean data will be made available to the project team.

- Database user access rights are limited in order to prevent exposure to PII.

### Front- and Back-End Data Management

The first approach to ensure data integrity is front-end data management, which involves data collection and organization. Keeping data well-organized begins with how it is requested, collected, and saved. The EM&V team will continue to use two key software programs that will allow efficient and effective data requests, collection, and repository—a SharePoint server and a secure file transfer site.

Tetra Tech maintains a secure SharePoint site for broadcasting relevant information and documentation about the PUCT EM&V project. The site is accessible to utilities, all relevant contractors, PUCT staff, and stakeholders who have requested access. The site has a Wiki-style interface for users to share information in near-real-time. This documentation and information interface is editable and linkable by all users and maintained by Tetra Tech staff.

As introduced above, Tetra Tech also maintains and hosts a secure file transfer website (OneDrive) for storing and transferring datasets and other project-related materials. The site is securely accessible to all relevant utilities, contractors, and PUCT staff. The site is used primarily for two purposes: (1) storing and sharing large datasets of relevant program information, such as contractor metering data and utility tracking and consumption data; and (2) sharing supporting documentation with other contractors and the PUCT. This site also allows the EM&V team to oversee and document the data as they come in, providing an extra quality control step to the evaluation process.

The second approach to ensure data integrity is through back-end data management, which involves dynamic data compilation, auditing, maintenance, algorithm development, and reporting. A critical element of our approach entails assessing each program's database at the earliest opportunity to determine whether the program implementers are collecting the data required for accurate evaluations. We use SQL Server as our core back-end technology.

### Preliminary Data Validation

Identifying data issues in the program's evaluation as soon as possible is critical. Data quality issues can reduce the integrity of the evaluation results or impede conducting specific activities that rely on this data. We will, therefore, review the program data for data completeness as well as data quality.

To determine whether the relevant information is being collected, we will review each program's database as they are sent to the EM&V team. After comparing the information in the database to the information required to evaluate the program, we will offer recommendations regarding additions or changes as appropriate. Our review will assess the fields in the database and the quality and detail of the data itself. Although a data field may have been created for vital information, this information is not always collected or collected in sufficient detail.

The EM&V team will implement EM&V data validation tasks that can be efficiently accomplished through SQL procedures. In general, the EM&V team will review the data for:

- missing but required data fields, including ex-ante savings estimates, fields needed for calculations or engineering review, fields needed to contact participants for additional research, and date fields to verify the timing of participation;

- duplicate records;

- inconsistent terminology, such as inconsistent naming of measures, which can result in ambiguities about what measure has been installed; and

- values that appear to be out of the expected range within fields, such as participation dates, values used as inputs within savings calculations (such as square footage for homes or quantities installed), and ex-ante savings.

A visual representation of the data import, review, and validation process can be found in Appendix A.

## Detailed Research Plans and Supplemental Data Requests

This EM&V plan describes EM&V activities we will complete by utility program. The DRPs provide a more in-depth discussion of the sampling and specific research activities and supplemental program data needed for specific utility program-level evaluations implemented throughout the evaluation period. DRPs will only be completed for the high- and medium-priority programs with primary data collection.

DRPs will be distributed for utility review; the utilities' review of the savings and sample characterization in the DRPs is particularly critical. For example, a population mischaracterization could indicate issues with the data housed in the EM&V database or a misunderstanding of the program data itself.

Supplemental data requests (SDR) for the associated sampled projects will be distributed to each utility within one week of the DRPs. The SDRs will request documentation to support the desk review and on-site verification activities. Utilities will be asked to send complete project documentation for the EM&V sample of program participants. Project files should include any documentation related to the project and energy calculations, such as invoices, application forms, project sponsor specification sheets, the completed energy savings calculators for the project, and other relevant materials. The project files should also include the quality assurance/quality control (QA/QC) inspection reports if the sampled projects received QA/QC.

## Cost-Effectiveness Testing

The EM&V team will conduct cost-effectiveness testing using the program administrator cost test (PACT), also known as the utility cost test, using actual results except for LI programs, as discussed below. Cost-effectiveness tests will be run using a uniform model for all utilities; the EM&V team will collect required inputs for the model from several sources, including program tracking data, deemed savings, and the PUCT and utilities. Table 5 lists the required inputs to the cost-effectiveness model and the sources of information.

Table 5. Cost-Effectiveness Model Inputs and Sources

| Model input | Measurement level | Source |
| --- | --- | --- |
| Reported energy/demand savings | Measure type | EM&V database |
| Summer/winter peak coincidence factors | Measure type | Deemed savings |
| Effective useful life | Measure type | Deemed savings |
| Incentive payments | Program | EEPRs |
| Administrative and research and development (R&D) costs | Program/portfolio | EEPRs |
| EM&V costs | Program/portfolio | EM&V team budgets |
| Performance bonus | Portfolio | EEPRs |
| Avoided costs | Statewide | PUCT (utilities) |
| Weighted average cost of capital | Utility | Utilities |
| Line loss factor (non-ERCOT utilities only) | Utility | Utilities |
| Realization rates | Program | Evaluation results |
| NTG rates | Program | Evaluation results |

The EM&V team will conduct cost-effectiveness tests separately using claimed gross savings, evaluated gross savings, and evaluated net savings. The model produces results at the portfolio, program category, and program levels.

All benefits and costs are expressed in PY dollars. Benefits resulting from energy savings occurring in future years are net-to-PY dollars using the utility's weighted average cost of capital (WACC) as the discount rate.

When tests are conducted at a more disaggregated level than data are available, allocations will be made proportionate to costs. For example, the performance bonus will be calculated for the overall portfolio and allocated to individual programs proportionate to the programs' costs associated with meeting demand and energy goals. Program costs include program administrative and incentive costs; portfolio-level costs include the performance bonus; and EM&V, administrative, and R&D costs.

LI programs are evaluated using the savings-to-investment ratio (SIR). This model only includes net incentive payments under program costs. The SIR methodology is only used when specifically testing LI programs.

Portfolio-level cost-effectiveness analyses are based on the PACT and will be shown both including and excluding LI programs.

The calculations used for the PACT cost-effectiveness methodology are in Appendix B.

In addition, the EM&V team will report the cost per lifetime kilowatt-hours and kilowatts; this is calculated by attributing costs to energy savings and avoided demand based on their portion of total benefits and then applying that proportion to the total program costs.

## Performance Feedback

Savings and cost-effectiveness alone do not completely explain a program or portfolio's effectiveness. Other factors, including internal and external utility operations, program maturity, service provider and implementation contractor activities, and markets, can influence a program's effectiveness. Identifying program process improvements is a best practice in EM&V and is critical to maximizing the value provided. Due to the emphasis placed on a broad reach of impact evaluation activities within a limited EM&V budget, the EM&V team will work with PUCT staff to prioritize process issues so that resources are spent on the areas of the highest importance. For PY2024, process issues will include timing of savings progress toward program goals, retail electric provider (REP) participation in the programs, customer segment analysis, support for a potential future energy efficiency rulemaking if needed, and other process items identified throughout the program year.

## Reporting and PROJECT MANAGEMENT Deliverables

There are two EM&V report deliverables per program year: (1) Interim Impact Evaluation Reports and (2) the annual IOU Energy Efficiency Report. The EM&V team will also deliver status reports, ad hoc data collection, and sampling deliverables as needed.

The Interim Impact Evaluation Reports will be separate for each utility and present detailed impact results for each utility's portfolio. For example, the reports will include detailed desk reviews and M&V results for the specified utility. The Interim Impact Evaluation Report findings will be discussed with the PUCT and each utility prior to drafting the annual IOUs Energy Efficiency Report; this will allow the EM&V team to discuss the impact results with the PUCT and utilities, receive their input, and conduct supplemental analysis if needed prior to the final annual IOUs Energy Efficiency Report.

The annual IOUs Energy Efficiency Report is a comprehensive report across all utility portfolios. It will include an overarching section presenting statewide findings and recommendations. The following quantitative metrics will be used as the basis for recommendations in the reports as well as others: gross savings realization rates, NTG ratios, and program cost-effectiveness.

Accuracy and transparency are a priority in the reporting of results. All reports will clearly document drivers of differences and consistencies between evaluated and utility-claimed savings; the reliability of evaluated savings values, precision levels, threats to validity, and approaches used to increase the reliability of the findings; and the feasibility and trade-offs inherent in program recommendations.

Additional deliverables that will be provided to the PUCT include:

- biweekly progress reports that summarize the status of current evaluation activities, key issues identified and their resolution, problems requiring resolution and proposed solutions, tracking of the schedule of deliverables, and any action items requiring PUCT or utility input before the EM&V team can proceed with specific tasks;

- guidance memorandums;

- data collection tools, including on-site data collection forms, participant and market actor surveys, and utility interview guides;

- any ad hoc interim reports as requested by the PUCT or utilities or deemed necessary by the EM&V team;

- on-site and desk review reports documenting the claimed savings, observations while on-site, on-site methods employed, and any adjustments resulting from the on-site visit; and

- the EM&V database and dashboard.

## EM&V Timeline

The EM&V team maintains an EM&V SharePoint site to facilitate communication with all relevant stakeholders throughout the evaluation process and house EM&V deliverables and documents. Detailed timelines for data requests, data collection activities, and deliverables are on the EM&V SharePoint under the EM&V Communications folder and are regularly updated.

Periodic tracking of data requests and evaluation planning deliverables (DRPs and SDRs) ensures the EM&V team can meet reporting deadlines. Interim impact evaluation reports are scheduled to be delivered to utilities corresponding to the date of their Energy Efficiency Cost Recovery Factor (EECRF) filings. This allows sufficient time to complete data collection for sampled projects and discuss interim results individually with utilities prior to their EECRF filings and the annual IOUs Energy Efficiency Report.

Figure 1 shows the annual timeline for EM&V activities and TRM updates for PY2025–PY2027. For PY2024, Evaluation Prioritization and Planning will occur in December and January with the complete prior program year data request due to the contract start date of January 1, 2025. The remainder of the January through December deliverables will follow the same schedule as shown below for PY2025-P2027.

Figure 1. Annual Evaluation, Measurement, and Verification Timeline

*Activities that include draft and final deliverables are shown using the same color.

# AEP Texas

This section addresses the energy efficiency and load management portfolio for AEP Texas. The overall portfolio is summarized below, followed by details for each program in the portfolio.

## Portfolio Overview

Table 6 shows the projected demand and energy savings for AEP Texas’ programs.

Table 6. AEP Texas—PY2024 Projected Demand and Energy Savings

| Program category | Program name | Program type | PY2024 demand savings (kW) | Percentage of total portfolio (demand) | PY2024 energy savings (kWh) | Percentage of total portfolio (energy) |
| --- | --- | --- | --- | --- | --- | --- |
| Commercial MTP | Commercial Solutions MTP | Commercial Solutions MTP | 4,125 | 7 | 21,317,683 | 24 |
| Commercial SOP | Commercial SOP | Commercial SOP | 3,313 | 5 | 13,166,101 | 15 |
| Commercial MTP | CoolSaver A/C Tune-Up MTP | A/C Programs (Distributor and CoolSaver AC Tune-up) MTP | 3,466 | 6 | 8,047,475 | 9 |
| Commercial MTP | Foodservice Pilot MTP | Commercial MTP | 41 | 0 | 276,622 | 0 |
| Commercial MTP | Open MTP | Small Business Direct Install (DI) | 1,215 | 2 | 5,234,159 | 6 |
| Commercial MTP | SCORE/CitySmart MTP | SCORE/CitySmart MTP | 2,463 | 4 | 8,259,385 | 9 |
| Commercial MTP | SMART Source Solar PV MTP | PV Solar MTP/SMART SOURCE PV MTP | 391 | 1 | 1,282,784 | 1 |
| Commercial Load Management | Winter Load Management SOP | Load Management SOP | 10,000 | 16 | 10,000 | 0 |
| Commercial Load Management | Load Management SOP | Load Management SOP | 25,709 | 42 | 25,709 | 0 |
| LI/HTR SOP | Hard-to-Reach (HTR) SOP | HTR SOP | 1,449 | 2 | 4,005,591 | 5 |
| LI/HTR SOP | Targeted Low-Income Energy Efficiency Program | Low-Income/HTR Weatherization Programs | 1,804 | 3 | 3,274,197 | 4 |
| Residential MTP | CoolSaver A/C Tune-Up MTP | A/C Programs (Distributor and CoolSaver AC Tune-up) MTP | 1,594 | 3 | 6,250,000 | 7 |
| Residential MTP | High-Performance New Homes MTP | New Home Construction MTP | 2,273 | 4 | 3,731,061 | 4 |
| Residential SOP | Residential SOP | Residential SOP | 3,020 | 5 | 10,133,001 | 11 |
| Residential MTP | SMART Source Solar PV MTP | PV Solar MTP/SMART SOURCE PV MTP | 913 | 1 | 3,002,285 | 3 |
| Residential SOP | Multifamily Smart Thermostat SOP (Pilot) | Smart Thermostat SOP (Pilot) | 0 | 0 | 831,000 | 1 |

Next, we present two summary tables for each program in the AEP Texas portfolio; each table provides a high-level overview of the applicable programs. The overview is based on program documentation review and discussions with utilities, PUCT, implementation contractors, and prior years' evaluation, measurement, and verification (EM&V) efforts. This information is followed by the program's EM&V Plan, including the evaluation priority, key researchable questions, and EM&V activities. In addition to program-specific researchable questions listed in the EM&V Plan, the following researchable issue will be investigated for each program:

What are the drivers of differences, if any, between claimed and evaluated savings?

## Commercial Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Market Transformation program in the utility’s portfolio.

### Commercial Solutions Market Transformation Program (MTP)

Table 7. Commercial Solutions Market Transformation Program Summary

| Commercial Solutions MTP | Summary |
| --- | --- |
| Program description | The Commercial Solutions MTP targets commercial customers (other than governmental and educational entities) that do not have the in-house expertise to (1) identify, evaluate, and undertake energy efficiency improvements; (2) properly evaluate energy efficiency proposals from vendors; and (3) understand how to leverage their energy savings to finance projects. Assistance from the program includes communications support, administrative program management, and technical assistance to identify, assess, and implement energy efficiency measures. Incentives are paid to customers for eligible energy efficiency measures that are installed in new or retrofit applications that result in verifiable demand and energy savings. |
| Target markets | - Market segments: Commercial facilities (other than government and education) - Eligibility criteria: Commercial facilities within AEP Texas’ service territory - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - contract with a third-party program implementer to conduct outreach and planning activities; - maintain an internet website to provide information to potential participants; - conduct workshops as necessary to explain elements of the program, such as the responsibilities of the participants, project requirements, incentive information, and the application and reporting process; - conduct contractor training sessions as necessary based on the energy efficiency programs being implemented; - participate in local, regional, statewide, and industry-related outreach activities as may be necessary; and - facilitate earned media opportunities, spotlighting successful projects and interesting stories as applicable. - Project sponsors: Utility |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: HVAC, lighting, motors, window film, roofing, or others that may require M&V planning and metering - Technical assistance: Communications support, administrative program management, and identification and evaluation of energy efficiency measures - Rebates/incentives: Provided to the end-use customer - kW (demand savings): $150–$200 per kW (varies by measure type) |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects when detailed equipment invoices are not provided - Pre- and post-inspection conducted by a third-party implementer - In addition, some verification is conducted by the utility |

Table 8 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 8. Commercial Solutions Market Transformation Program EM&V Plan

| Commercial Solutions MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial Solutions MTP is a high priority in PY2024. The majority of savings are from deemed measures. | High |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the process of data entry and storage more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or are there some measures that could be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 8 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats | Census sample to meet 90/10 |

### Open Market Transformation Program

Table 9. Open Market Transformation Program Summary

| Open MTP | Summary |
| --- | --- |
| Program description | The Open MTP targets traditionally underserved small commercial customers who may not employ knowledgeable personnel with a focus on energy efficiency, who are limited in the ability to implement energy efficiency measures, and/or who typically do not actively seek the help of a professional EESP. Small commercial customers with a peak demand not exceeding 150 kW in the previous twelve consecutive billing months may qualify to participate in the program. Available incentives are paid directly to the contractor, thereby reducing a portion of the project cost for the customer. The program is intended to overcome market barriers for participating contractors by providing technical support and incentives to implement energy efficiency upgrades and produce demand and energy savings. |
| Target markets | - Market segments: Small commercial facilities - Eligibility criteria: Small commercial facilities within AEP Texas’ service territory, with ≤150 kW peak demand at one facility or a total demand of ≤250 kW at all facilities owned by the same customer - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - contract with a third-party program implementer to conduct outreach and planning activities; - identify and recruit contractors to develop a network of participating contractors who will deliver the program directly to customers; - maintain an internet website to provide information to potential participants; - develop a recruitment packet with outreach information and enrollment materials that participating contractors can use when marketing the program to customers; - conduct training as necessary to explain elements of the program, such as responsibilities of the participants, project requirements, incentive information, and the application and reporting process; and - participate in local, regional, statewide, and industry-related outreach activities as may be necessary. - Project sponsors: Utility/contractor |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: Lighting currently with additional measures such as refrigeration measures as they are added to the field application tool - Technical assistance: Energy assessment provided by the contractor - Rebates/incentives: Provided to the contractor - Program direct install: Direct install approach |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of the initial five projects of every enrolled contractor and randomly selected pre- and post-on-site inspections for 20 percent of each additional project submitted - Pre- and post-inspection is conducted by a third-party implementer - In addition, some verification is conducted by the utility |

Table 10 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 10. Open Market Transformation Program EM&V Plan

| Open MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Open Market Transformation program is a low priority in PY2024. The majority of savings are from deemed measures. | Low |
| Key researchable issues | - What are the challenges and opportunities to serve this hard-to-reach business sector? - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |

### SCORE/CitySmart Market Transformation Program

Table 11. Texas SCORE/CitySmart Market Transformation Program Summary

| Texas SCORE/CitySmart MTP | Summary |
| --- | --- |
| Program description | The SCORE/CS MTP provides energy efficiency and demand reduction solutions for public and private educational entities grades K-12 as well as colleges and universities. In addition to educational facilities, SCORE/CS MTP provides these same solutions to local, state, county, and federal government customers. This program is designed to help educate and assist these customers in lowering their energy use by facilitating the integration of energy efficiency into their short- and long-term planning, budgeting, and operational practices. Incentives are paid to participating customers for eligible energy efficiency measures that are installed in new or retrofit applications that result in verifiable demand and energy savings. |
| Target markets | - Market segments: Education and government facilities - Eligibility criteria: Education and government facilities within AEP Texas’ service territory - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - contract with a third-party program implementer to conduct outreach and planning activities; - maintain an internet website to provide information to potential participants; - conduct workshops as necessary to explain elements of the program, such as the responsibilities of the participants, project requirements, incentive information, and the application and reporting process; - conducts contractor training sessions as necessary based on the energy efficiency programs being implemented; - participate in local, regional, statewide, and industry-related outreach activities as may be necessary; and - facilitate earned media opportunities, spotlighting successful projects or interesting stories as applicable. - Project sponsors: Utility |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: HVAC, lighting, motors, window film, roofing, or others that may require M&V planning and metering - Technical assistance: Communications support, financing assistance, performance benchmarking, and energy master planning workshops, in addition to identifying energy efficiency measures - Rebates/incentives: Provided to the end-use customer |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects when detailed equipment invoices are not provided - Pre- and post-inspection is conducted by a third-party implementer - In addition, some verification is conducted by the utility |

Table 12 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 12. Texas SCORE/CitySmart Market Transformation Program EM&V Plan

| SCORE/CitySmart MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Texas SCORE/CitySmart MTP is a high priority in PY2024. The majority of savings are from deemed measures. | High |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the process of data entry and storage more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or are there some measures that could be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 4 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats | Census sample to meet 90/10 |

## Commercial Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Standard Offer program in the utility’s portfolio.

### Commercial Standard Offer Program

Table 13. Commercial Standard Offer Program Summary

| Commercial SOP | Summary |
| --- | --- |
| Program description | The Commercial SOP targets commercial customers of all sizes. Variable incentives are available to project sponsors based on verified demand and energy savings for eligible measures installed in new or retrofit applications. |
| Target markets | - Market segments: Large and small commercial/industrial businesses - Eligibility criteria: Achieve energy consumption or summer and winter peak demand reductions that result in at least $500 in energy efficiency incentives - Applications: New or retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas may market this program in the following manner: - use of the AEP efficiency website (www.aeptexasefficiency.com); - utilize mass email notifications, bill inserts, radio ads, billboards, home shows, etc. - Project sponsors include: - national or local energy service companies, - local contractors, - national or local companies that provide energy-related services or products (such as lighting or HVAC equipment), - retail electricity providers, and - individual distribution customers within the eligible service territories who install measures in their own nonresidential facilities. |
| Implementation and delivery | - Implementers: Utility-administered |
| Measures/products, services, offerings | - Measure offerings: HVAC, lighting, controls, refrigeration, food service, motors, window film, cool roofs - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives on at its discretion to the end-use customer - Program direct install: N/A |
| QA/QC | - Pre- and post-on-site inspections for a census of projects - Conducted by utility or third-party implementer or combination |

Table 14 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 14. Commercial Standard Offer Program EM&V Plan

| Commercial SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial SOP is a high priority in PY2024. The majority of savings are from deemed measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data of a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 4 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats or HVAC tune-ups | Census Sample to meet 90/10 |

## Load Management

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Load Management program in the utility’s portfolio.

### Load Management Standard Offer Program (Commercial)

Table 15. Load Management Standard Offer Program (Commercial) Summary

| Load Management SOP (Commercial) | Summary |
| --- | --- |
| Program description | The Load Management SOP targets nonresidential customers with a peak electric demand of 500 kW or more and able to reduce at least 5 kW demand or more during a curtailment event. Curtailment events occur during the program operating period June 1 through September 30, from 1 pm through 7 pm, excluding weekends and federal holidays. Program participants include nonresidential customers and market actors, including national or local energy efficiency service providers, commercial aggregation groups, and retail electric providers (REP). Load curtailment events are dispatched by AEP Texas to the program participants, providing a 30-minute advance notification, and will last one to four hours. Incentive payments are based on the average measured and verified demand reduction during the program's operating period. |
| Target markets | - Market segments: Large commercial/industrial businesses - Eligibility criteria: - Peak demand ≥500 kW and can reduce ≥5 kW per event - Must have interval data recorders or advanced meters (AMI) - Must be located in the AEP Texas distribution system. - Applications: Existing |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - maintain a website containing the requirements for project participation, forms required for project submission, and the links to databases containing currently-available funding; and - leverage of retail providers. - Project sponsors: National or local EESPs, REPs, or individual customers that identify interruptible load in their own facilities. |
| Implementation and delivery | - Implementers: The third-party implementer or individual customers |
| Measures/products, services, offerings | - Measure offerings: N/A - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: AEP Texas will pay a participating customer (or the project sponsor, if different) up to $35 per kW of verified curtailed load each year of participation |
| QA/QC | - AEP Texas will verify actual demand savings from interruptions. |

Table 16 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 16. Load Management Standard Offer Program (Commercial) EM&V Plan

| Load Management SOP (Commercial) | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

### Winter Load Management (WLM) Standard Offer Program

Table 17. Winter Load Management Standard Offer Program Summary

| Winter Load Management SOP | Summary |
| --- | --- |
| Program description | The Winter Load Management SOP targets nonresidential customers with a peak electric demand of 500 kW or more and able to reduce at least 100 kW demand or more during a curtailment event. Curtailment events occur during the program operating period, December 1 through February 28, 24 hours a day, seven days a week. Program participants include nonresidential customers and market actors, such as national or local energy efficiency service providers, commercial aggregation groups, and REPs. Load curtailment events are dispatched by AEP Texas to the program participants, providing a 30-minute advance notification, and will last one to four hours. Incentive payments are based on the average measured and verified demand reduction during the program's operating period. |
| Target markets | - Market segments: Large commercial/industrial businesses - Eligibility criteria: Nonresidential customers with a peak demand of 500 kW or more and able to reduce at least 100 kW demand or more during a curtailment event. - Applications: Existing |
| Marketing strategies and project sponsors | - Marketing strategies: - maintain a website containing the requirements for project participation, forms required for project submission, and the links to databases containing currently-available funding; and - leverage of retail providers. - Project sponsors: National or local EESPs, REPs, or individual customers that identify interruptible load in their own facilities. |
| Implementation and delivery | - Implementers: The third-party implementer or individual customers |
| Measures/products, services, offerings | - Measure offerings: N/A - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: AEP Texas will pay a participating customer (or the project sponsor, if different) $35 per kW of verified curtailed load each year of participation |
| QA/QC | - AEP Texas will verify actual demand savings from interruptions. |

Table 18 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 18. Winter Load Management Standard Offer Program EM&V Plan

| Winter Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

## Residential Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Market Transformation program in the utility’s portfolio.

### High-Performance New Homes Market Transformation Program

Table 19. High-Performance New Homes Market Transformation Program Summary

| High-Performance New Homes MTP | Summary |
| --- | --- |
| Program description | The New Homes MTP targets several market participants, primarily homebuilders and consumers. The program’s goal is to create conditions in which consumers demand energy-efficient homes and homebuilders supply them. Incentives are paid to homebuilders who construct homes according to strict energy-efficient building guidelines that are at least five percent above the Texas Baseline Reference Home and meet all minimum energy code requirements. The program has a tiered design that uses a combination of mandatory, additional elective, and innovative measures to promote market transformation and drive deep energy savings. ENERGY STAR® and complete foam encapsulated homes are offered as alternative pathways to Tiers. Bonus incentives are offered for heat pump water heaters, prewiring for future installation of Level 2 EV chargers, ENERGY STAR smart thermostats, affordable/low-income housing, right-sized HVAC, and builders who switch from electric resistance furnaces to heat pumps. Each home results in verifiable demand and energy savings. In addition to homebuilder and consumer outreach, the New Homes MTP targets key market actors in the homebuilding production and sales cycle: home energy raters, homebuilder sales agents, real estate agents, HVAC contractors, mortgage lenders, product manufacturers, homebuilder associations, and media outlets. |
| Target markets | - Market segments: Home builders, HVAC contractors, and home energy raters - Eligibility criteria: Depending upon the home's physical location, homes will be paid based on kW and kWh that is calculated for each home - Applications: New home construction applications |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas markets the New Homes MTP in the following manner: - Contract with a third-party implementer to conduct outreach and planning activities; - email and phone notifications of informational meetings to home builders, home energy raters, HVAC contractors, real estate agents, home builder sales agents, mortgage lenders, and other allies; - maintain internet website with detailed project eligibility, incentives, procedures, and application forms; - direct outreach to consumers at home and garden shows and through a multi-city advertising campaign; - participate in appropriate industry-related meetings to generate awareness and interest; - conduct training workshops as necessary to explain elements such as responsibilities of and benefits to each party or ally, project requirements, incentive information, and the application and reporting process; and - support home builder sales efforts by providing sales training, marketing materials (inclusion in print advertisements and the program’s website), technical training, home plan analysis, and answers to questions as needed. - Project sponsors: In addition to homebuilder and consumer outreach, the New Homes MTP targets key allies in the home building production and sales cycle: home energy raters, homebuilder sales agents, real estate agents, HVAC contractors, mortgage lenders, product manufacturers, homebuilder associations, and media outlets. |
| Implementation and delivery | - Implementers: ICF is the third-party implementer; Frontier Energy is the data source |
| Measures/products, services, offerings | - Measure offerings: This is a whole-home program—features included are high-efficiency windows, HVAC equipment, tight ductwork and building envelope, lighting upgrades, and advanced framing - Technical assistance: Builders must work with raters - Rebates/incentives: Homes will be paid based on kW and kWh that are calculated for each home |
| QA/QC | - Five percent of both the builder and rater; various stages of new construction - Conducted by ICF |

Table 20 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 20. High-Performance New Homes Market Transformation Program EM&V Plan

| High-Performance New Homes MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The program is receiving a low evaluation priority in PY2024 due to the PY2022 impact evaluation results. | Low |
| Key researchable issues | - How can the program adapt to the changing codes and standards climate? Are there viable strategies the program can adopt in order to meet and exceed set goals given the new baselines? Have changes in residential baselines affected the program's ability to meet goals? - How are program data handled? Are all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are goals established appropriately, and will they be met? - To what degree is the program encouraging adopting energy-efficient technologies that would otherwise not have taken place? |  |
| Program evaluation approach | Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |

## Residential Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Standard Offer program in the utility’s portfolio.

### Residential Standard Offer Program

Table 21. Residential Standard Offer Program Summary

| Residential SOP | Summary |
| --- | --- |
| Program description | The Residential SOP targets all residential customers, paying incentives to project sponsors for eligible measures installed in new and retrofit applications that result in verified demand and energy savings. Project comprehensiveness is encouraged. |
| Target markets | - Market segments: Residential single-family and multifamily homes built prior to 2012 - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: - utilize mass email notifications to inform and update potential project sponsors such as REPs, EESPs, and national and local companies that provide energy-related services; - provide additional outreach using direct mail as necessary to attract more participants; - maintain a website with detailed project eligibility, end-use measures, incentives, procedures, and application forms - participate in appropriate industry-related meetings to generate awareness and interest; - participate in statewide outreach activities, as available; - conducts workshops as necessary to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process; and - project sponsors develop their own marketing materials. - Project sponsors represent a range of EESPs |
| Implementation and delivery | - Implementers: Utility-administered |
| Measures/products, services, offerings | - Measure offerings: Any Commission-approved measure included in the statewide Residential SOP template or any Commission-approved measure assigned a deemed savings value in the Texas TRM for the residential customer class is eligible under the SOP, including attic insulation, duct sealing, caulking/weatherstripping, air conditioning, heat pumps, water heaters, ENERGY STAR windows, refrigerators, dishwashers, clothes washers, wall insulation, floor insulation, water heater jackets, and renewable energy sources - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to a project sponsor who then passes rebates/incentives on to the end-use customer at their discretion. Higher incentives are available for customers in underserved counties. |
| QA/QC | - Around ten percent post-inspection per report, per project sponsor - Conducted by AEP Texas |

Table 22 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 22. Residential Standard Offer Program EM&V Plan

| Residential SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program is a medium priority for PY2024, as the program has recently responded to TRM updates. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and documentation storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of residential projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 3 |

## Low-Income/Hard-to-Reach Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Low-Income and Hard-to-Reach Standard Offer program in the utility’s portfolio.

### Hard-to-Reach Standard Offer Program

Table 23. Hard-to-Reach Standard Offer Program Summary

| Hard-to-Reach SOP | Summary |
| --- | --- |
| Program description | The Hard-to-Reach SOP targets residential customers with total annual household incomes at or below 200% of current federal poverty guidelines. Incentives are paid to project sponsors for eligible measures installed in new and retrofit applications that result in verifiable demand and energy savings. Project comprehensiveness is encouraged, and project sponsors distribute customer education materials regarding energy conservation behavior. |
| Target markets | - Market segments: HTR residential customers - Eligibility criteria: Residential customers at or below 200 percent of the federal poverty level or have been designated as HTR through another PUCT-approved verification methodology (e.g., Section 8 housing) - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - utilize mass email notifications to enroll and keep potential project sponsors interested and informed; - maintain a website with detailed project eligibility, end-use measures, incentives, procedures, and application forms; - participate in appropriate industry-related meetings to generate awareness and interest; - participate in statewide outreach activities as available; - conduct workshops to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process; - project sponsors develop their own marketing materials. - Project sponsors represent a range of EESPs |
| Implementation and delivery | - Implementers: Utility-administered |
| Measures/products, services, offerings | - Measure offerings: Insulation, infiltration, HVAC, water heating, lighting, ENERGY STAR appliances, windows, renewable energy installations - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives on at their discretion to the end-use customer. Higher incentives are available for customers in underserved counties and under-installed measures. |
| QA/QC | - 10 percent post-inspection per report, per project sponsor |

Table 24 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 24. Hard-to-Reach Standard Offer Program EM&V Plan

| Hard-to-Reach SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program is a medium priority for PY2024 as it has recently responded to TRM updates as well as a new low-income and hard-to-reach protocol. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on the census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of residential projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

### Targeted Low-Income Energy Efficiency Program

Table 25. Targeted Low-Income Energy Efficiency Program Summary

| Targeted Low-Income Energy Efficiency Program | Summary |
| --- | --- |
| Program description | The Targeted Low-Income Energy Efficiency Program is designed to cost-effectively reduce energy consumption and energy costs for low-income residential customers in the AEP Texas service territory. Weatherization service providers install eligible weatherization and energy efficiency measures in qualified households that meet the Department of Energy (DOE) income-eligibility guidelines of at or below 200 percent of the federal poverty guidelines. A savings-to-investment ratio of 1.0 or higher is required for each serviced dwelling unit. |
| Target markets | - Market segments: Low-income residential customers - Eligibility criteria: Receives electric power service through the utility's distribution system; meets the Department of Energy’s income-eligibility guidelines (i.e., 200 percent of the federal poverty level); has electric air-conditioning - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Frontier Energy, the third-party implementer, conducts outreach to weatherization service providers in the AEP Texas service territory - Project sponsors: Weatherization service providers |
| Implementation and delivery | - Implementers: Frontier Energy |
| Measures/products, services, offerings | - Measure offerings: Weatherization and energy education - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives on to the end-use customer at their discretion |
| QA/QC | - Third-party nonprofit agencies inspect 100 percent, and AEP Texas verifies less than five percent of those submitted - Conducted by AEP Texas and third-party nonprofit agencies |

Table 26 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 26. Targeted Low-Income Energy Efficiency Weatherization Program EM&V Plan

| Targeted Low-Income Energy Efficiency Program | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | Senate Bill 1434 requires transmission & distribution utilities to spend ten percent of their energy efficiency budget on targeted low-income weatherization programs. The priority is medium for PY2024, as the program has recently responded to TRM updates. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of residential projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

## Cross-Sector Programs

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Cross-Sector program in the utility’s portfolio.

### CoolSaverSM A/C Tune-Up Market Transformation Program

Table 27. CoolSaverSM A/C Tune-Up Market Transformation Program Summary

| CoolSaverSM A/C Tune-Up MTP | Summary |
| --- | --- |
| Program description | The CoolSaver MTP is designed to overcome market barriers that prevent residential and small commercial customers from receiving high-performance air conditioning (A/C) system tune-ups. The program works through local A/C networks to offer key program components, including: - Training and certifying A/C technicians on the tune-up and air flow correction services and protocols; - Paying incentives to A/C contactors for the successful implementation of A/C tune-up and air flow correction services; and - Paying incentives to A/C contractors who replace existing residential air conditioners and/or heat pumps with new high-efficiency units of 16 SEER or higher. Additional incentives are paid for early retirement of operational equipment and for “right-sizing” replacement units. |
| Target markets | - Market segments: Residential and commercial customers, HVAC contractors - Eligibility criteria: Equipment eligible for tune-ups includes high-efficiency A/C equipment of up to 25 tons in cooling capacity; the customer must accept recommendations from a tune-up analysis - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas markets the CoolSaverSM A/C Tune-Up MTP in the following manner: - contracts with CLEAResult to conduct outreach and planning activities; - targets commercial A/C contractors that service customers served by AEP Texas; - conducts training workshops with contractor staff on the specific tune-up and airflow correction services promoted by the program, as well as the M&V process to document savings; - conducts workshops as necessary to explain elements of the program, such as responsibilities of the contractors, project requirements, incentive information, and the application and reporting process; and - participates in appropriate industry-related meetings to generate awareness and interest. - Project sponsors: Utility/contractors |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer and the data source |
| Measures/products, services, offerings | - Measure offerings: Heat pumps, central air conditioners, custom/others pending approval, A/C tune-up - Technical assistance: Customer must accept recommendations from a tune-up analysis - Rebates/incentives: Up to $150 for residential and up to $350 for commercial (provided to contractor); discounts on tool purchases |
| QA/QC | - During technician training, CLEAResult ride-alongs - 10 percent for contractors and technicians - Post-on-site inspections conducted by the implementer |

Table 28 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 28. CoolSaverSM A/C Tune-Up Market Transformation Program EM&V Plan

| CoolSaverSM A/C Tune-Up MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The CoolSaverSM A/C Tune-Up MTP (residential and commercial) represents a growing portion of the portfolio’s current energy use and demand savings. The program is set to a high priority for PY2024. | High |
| Key researchable issues | To what degree does the program encourage adopting energy-efficient operational techniques and technologies that would otherwise not have occurred? Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? Are incentive values set optimally? What changes to the program design and delivery may improve program performance? Are there major differences in how this program is delivered and performs compared to similar programs at other utilities? Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? Is sufficient data being captured to allow for appropriate verification effectively? Are there significant differences in how data is captured and calculation methodologies used compared to similar programs within the state? Are there significant differences in how data is captured and calculation methodologies compared to industry standards? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of residential projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed with HVAC tune-up participants | Census sample to meet 90/10 |

### SMART Source Solar Photovoltaic Market Transformation Program

Table 29. SMART Source Solar Photovoltaic Market Transformation Program Summary

| SMART Source Solar PV MTP | Summary |
| --- | --- |
| Program description | The PV MTP offers incentives to residential and commercial customers for the installation of solar photovoltaic (PV) systems interconnected on the customer’s side of the meter. The incentives help offset the initial costs of installing solar PV systems and encourage service providers to seek more installation opportunities. In addition to demand and energy savings achieved from the installations, the PV MTP aims to transform the solar PV market by increasing the number of qualified technicians and installers and decreasing the average installed cost of PV systems, thereby creating greater market economies of scale. |
| Target markets | - Market segments: Residential and nonresidential - Eligibility criteria: Residential systems rebated up to 10 kWDC, nonresidential rebated up to 200 kWDC - Applications: New or retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Contract with a third-party implementer to conduct outreach and planning activities, maintain a website, provide clear documentation, conduct workshops, and facilitate media opportunities. - Project sponsors include: - national or local energy service companies (ESCOs), - national or local companies that provide energy-related services (e.g., contracting) or products; and - REPs. |
| Implementation and delivery | - Implementers: Frontier Energy is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: Solar PV - Technical assistance: The program manager intends to provide and support technical training and technical assistance opportunities to service providers, local code officials, and potential customers - Rebates/incentives: provided to EESPs who may designate the customer, themselves, or a manufacturer or supplier to receive the incentive payment |
| QA/QC | - Pre-inspections via desk reviews for a census of projects - Post-installation on-site inspections of approximately 40 percent of projects installed - Conducted by the program manager - EESPs must supply a revenue-grade electrical meter to measure the energy produced by the solar electric system |

Table 30 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 30. SMART Source Solar Photovoltaic Market Transformation Program EM&V Plan

| SMART Source Solar PV MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The SMART Solar PV MTP (commercial and residential) is set to a medium priority for PY2024. | Low |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |

## Pilot

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Pilot program in the utility’s portfolio.

### Foodservice Pilot Market Transformation Program

Table 31. Foodservice Pilot Market Transformation Program Summary

| Foodservice Pilot MTP | Summary |
| --- | --- |
| Program description | The Food Service Pilot MTP targets commercial Food Service participants and market actors. This program will feature a point-of-sale rebate at the Food Service equipment dealer and will engage other key market actors to stimulate the adoption of energy-efficient equipment. |
| Target markets | - Market segments: Commercial foodservice participants and market actors - Eligibility criteria: Point-of-sale rebate at the foodservice equipment dealer - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - Contract with a third-party program implementer to conduct outreach and planning activities; - identify and recruit contractors to develop a network of participating contractors who will deliver the program directly to customers; - maintain an internet website to provide information to potential participants; - develop a recruitment packet with outreach information and enrollment materials that participating contractors can use when marketing the program to customers; - conduct training as necessary to explain elements of the program, such as responsibilities of the participants, project requirements, incentive information, and the application and reporting process; and - participate in local, regional, statewide, and industry-related outreach activities as may be necessary. - Project sponsors: Utility/contractor |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: foodservice equipment - Rebates/incentives: Provided to distributor |
| QA/QC | - Review of each incentive request to validate equipment and program eligibility |

Table 10 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 32. Foodservice Pilot Market Transformation Program EM&V Plan

| Foodservice Pilot MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Foodservice Pilot MTP is set to a medium priority for PY2024. The savings are from deemed measures. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures are included in the midstream implementation? Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |

### Multifamily Smart Thermostat Pilot Market Transformation Program

Table 33. Multifamily Smart Thermostat Pilot Market Transformation Program Summary

| Multifamily Pilot MTP | Summary |
| --- | --- |
| Program description | The Multifamily Smart Thermostat Pilot MTP targets residential multifamily properties and provides incentives for the installation of qualified ENERGY STAR thermostats in an eligible property. To be eligible, properties must be individually metered AEP Texas meters with individual electric resistance heating systems. Existing thermostats cannot already be ENERGY STAR smart thermostats. Participants in the program may include property owners, management companies, and EESPs. |
| Target markets | - Market segments: Residential and commercial customers, HVAC contractors - Eligibility criteria: Equipment eligible for tune-ups includes high-efficiency A/C equipment of up to 25 tons in cooling capacity; the customer must accept recommendations from a tune-up analysis - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: AEP Texas plans to market the availability of this program in the following manner: - Contract with a third-party program implementer to conduct outreach and planning activities; - identify and recruit contractors to develop a network of participating contractors who will deliver the program directly to customers; - maintain an internet website to provide information to potential participants; - develop a recruitment packet with outreach information and enrollment materials that participating contractors can use when marketing the program to customers; - conduct training as necessary to explain elements of the program, such as responsibilities of the participants, project requirements, incentive information, and the application and reporting process; and - participate in local, regional, statewide, and industry-related outreach activities as may be necessary. - Project sponsors: Utility/contractor |
| Implementation and delivery | - Implementers: xxx is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: - Rebates/incentives: |
| QA/QC | - Review of each incentive request to validate equipment and program eligibility |

Table 10 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 34.  Multifamily Smart Thermostat Pilot Market Transformation Program EM&V Plan

| Multifamily Pilot MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Multifamily Smart Thermostat Pilot MTP is set as a high priority for PY2024. The savings are from deemed measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures are included in the midstream implementation? Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed with participants | Census sample to meet 90/10 |

# CenterPoint Energy

This section addresses CenterPoint Energy's energy efficiency and load management portfolio. The overall portfolio is summarized below, followed by details for each program in the portfolio.

## Portfolio Overview

Table 35 shows the projected energy and demand savings for the CenterPoint Energy programs for PY2024.

Table 35. CenterPoint Energy—PY2024 Projected Demand and Energy Savings

| Program category | Program name | Program type | PY2024 demand savings (kW) | Percentage of total portfolio (demand) | PY2024 energy savings (kWh) | Percentage of total portfolio (energy) |
| --- | --- | --- | --- | --- | --- | --- |
| Commercial SOP | Commercial SOP | Commercial SOP | 13,200 | 6 | 65,000,000 | 30 |
| Commercial MTP | Commercial MTP (SCORE, Healthcare, Data Center) | SCORE/Healthcare/Data Center MTP | 7,500 | 3 | 48,500,000 | 22 |
| Commercial MTP | Retro-Commissioning MTP | Retro-commissioning MTP | 977 | 0 | 5,132,000 | 2 |
| Commercial MTP | Commercial High Efficiency Foodservice MTP | Commercial Food Service | 536 | 0 | 3,500,000 | 2 |
| Commercial MTP | Retail Products and Services MTP | Commercial MTP | 1,225 | 1 | 4,000,000 | 2 |
| Commercial Load Management | Commercial Load Management SOP | Load Management SOP | 110,000 | 47 | 660,000 | 0 |
| Commercial Load Management | Winter Load Management Pilot Program | Commercial Load Management | 50,000 | 21 | 300,000 | 0 |
| Residential Load Management | Residential Load Management SOP | Load Management SOP | 22,000 | 9 | 66,000 | 0 |
| LI/HTR SOP | Hard-to-Reach (HTR) SOP | HTR SOP | 527 | 0 | 1,000,000 | 0 |
| LI/HTR MTP | Multi-Family MTP Hard-to-Reach | Water and Space Heating, Direct Install (DI) | 551 | 0 | 1,673,000 | 1 |
| LI/HTR MTP | Targeted Low Income MTP (Agencies in Action) | Low-Income Weatherization MTP | 4,800 | 2 | 7,600,000 | 3 |
| Residential MTP | Retail Products and Services MTP | Residential MTP | 6718 | 3 | 41,642,000 | 19 |
| Residential MTP | CenterPoint Energy High Efficiency Home MTP | ENERGY STAR® New Homes MTP | 12,496 | 5 | 25,537,000 | 12 |
| Residential SOP | Residential & Small Commercial Standard Offer Program | Residential SOP | 535 | 0 | 1,400,000 | 1 |
| Residential MTP | Midstream MTP (HVAC and Pool Pump Distributor) | Midstream (HVAC and Pool Pump Distributor) MTP | 3,500 | 1 | 7,385,000 | 3 |
| Residential MTP | Multi-Family MTP Market Rate | MF Water and Space Heating and MF New Construction MTP | 1,837 | 1 | 5,576,000 | 3 |

Next, we present two summary tables for each program in the CenterPoint Energy portfolio. Each table provides a high-level overview of the applicable programs. The overview is based on a review of program documentation and discussions with utilities, PUCT, and implementation contractors. This information is followed by the Evaluation, Measurement, and Verification (EM&V) Plan for the program, which includes the evaluation priority, key researchable questions, and EM&V activities. In addition to program-specific researchable questions listed in the EM&V Plan, the following researchable issue will be investigated portfolio-wide:

- What are the drivers of differences, if any, between claimed and evaluated savings?

## Commercial Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Market Transformation program in the utility’s portfolio.

### Commercial Market Transformation Program

Table 36. Commercial Market Transformation Program Summary

| Commercial MTP | Summary |
| --- | --- |
| Program description | The Commercial MTP includes the following three offerings: Schools/Cities (SCORE) program, the Healthcare Energy Efficiency Program (HEEP), and the Data Center Energy Efficiency Program (DCEEP). The SCORE program targets public and private K-12 schools, public and private higher education, cities, counties, state governmental agencies, and non-profit and faith-based organizations. SCORE provides technical support and financial incentives for implementing energy efficiency projects. Program participants are provided with technical assistance, engineering analysis, strategic energy management planning, and performance benchmarking to help them make informed decisions about cost-effective investments. HEEP provides technical support and financial incentives for implementing energy efficiency projects to eligible healthcare facilities, including hospitals, clinics, laboratories, medical office buildings, and assisted living/nursing care facilities. Program participants are provided with technical assistance, engineering analysis, and performance benchmarking to help them make informed decisions about installing cost-effective energy-efficient measures. DCEEP provides technical support and incentives for implementing energy efficiency projects to commercial customers who have a dedicated data center, server room, or server closets. Program participants are incentivized to install a variety of energy-saving measures such as data storage, web hosting, and telecommunications. |
| Target markets | - Market segments: Commercial, education, government, and healthcare facilities - Eligibility criteria: Commercial, education, government, and healthcare facilities within CenterPoint Energy Houston Electric, LLC (CNP)’s service territory - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy Houston plans to market the availability of this program in the following manner: - contract with a third-party program implementer to implement outreach and planning activities; - participate in appropriate industry-related meetings and events to generate awareness and interest; - Collaborate with internal company departments such as Commercial Customer Relationship; - Management, Energy Sales and Transportation Services, Local Relations, Distribution Operations, and Service Delivery to leverage existing relationships with commercial customers, informing them of energy efficiency opportunities; - Conduct training as necessary to explain elements of program requirements, incentive information, application, and reporting processes. - Project sponsors: N/A |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer for SCORE/CitySmart; Willdan Energy Solutions is the third-party implementer for HEEP and DCEEP. |
| Measures/products, services, offerings | - Measure offerings: HVAC, lighting, motors, window film, roofing, or others that may require M&V planning and metering - Technical assistance: Includes communications assistance, financing assistance, performance benchmarking, energy master planning workshops, and identifying energy efficiency measures - Rebates/incentives: Provided to the end-use customer |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects - Pre-inspections conducted by a third-party implementer - Post-inspections conducted by the utility |

Table 37 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 37. Commercial Market Transformation Program EM&V Plan

| Commercial MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial MTP is a high priority in PY2024. The majority of savings are from deemed measures with some custom measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 13 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats or HVAC tune-ups | Census sample to meet 90/10 |

### Retro-Commissioning Market Transformation Program

Table 38. Retro-Commissioning Market Transformation Program Summary

| Retro-Commissioning MTP | Summary |
| --- | --- |
| Program description | The Retro-Commissioning MTP is an optimization program that identifies no cost or low-cost measures (up to a three-year simple payback) the customer can implement to reduce the demand and energy usage in existing commercial facilities. The program provides end-users with a free engineering analysis to identify measures that will improve the performance within their facilities by reducing electric demand and consumption. Facility owners are required to implement all identified measures with a simple payback of less than one and a half years or pay the cost of the engineering analysis. Customers are also eligible to receive incentives based on kWh savings and how quickly the low-cost or no-cost measures are implemented. |
| Target markets | - Market segments: Commercial facilities (manufacturing, hospitals, educational campuses, retail stores, etc.) within CNP’s service territory - Eligibility criteria: Customers are required to commit funds of $3,000 toward the implementation of identified RCx measures with simple paybacks of less than 1.5 years - Applications: Existing facilities |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy Houston plans to market the availability of this program in the following manner: - Maintain website with detailed project eligibility, procedures, and application forms; - Participate in appropriate industry-related meetings and events to generate awareness and interest; - Conduct workshops as necessary to explain elements such as project sponsor responsibilities and Retro-Commissioning Agents, program requirements, incentive information, and the application and reporting process; - Collaborate with internal company departments such as Commercial Customer Relationship Management, Energy Sales and Transportation Services, and Distribution Operations and Service Delivery to leverage existing relationships with commercial customers, informing them of energy efficiency opportunities. |
| Implementation and delivery | - Implementers: Resource Innovations is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: May include HVAC temperature reset, outside air reduction, optimization of HVAC start-up, lighting (de-lamping, daylighting, etc.), the addition of variable frequency drives, etc. - Technical assistance: Includes technical energy analysis for identification of energy efficiency measures - Rebates/incentives: Provided to RCx agents based on the square footage of the project and the amount of energy savings |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects - Pre- and post-inspections conducted by a third-party implementer - Some verification conducted by the utility |

Table 39 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 39. Retro-Commissioning Market Transformation Program EM&V Plan

| Retro-Commissioning MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Retro-Commissioning MTP is a low priority in PY2024. The majority of savings are from custom project implementation. | Low |
| Key researchable issues | - Is the RCx implementation appropriate for the number of projects planned to be completed in the program for the long term? - Is the focus of low/no-cost measures affecting the participants' need for potentially more capital-intensive projects with further energy savings? - How are program data handled? Are all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design, delivery, or data collection may improve program performance? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |

### Commercial High-Efficiency Foodservice

Table 40. Commercial High-Efficiency Foodservice Market Transformation Program Summary

| Commercial High-Efficiency Foodservice (Pilot) | Summary |
| --- | --- |
| Program description | The Commercial High-Efficiency Foodservice (CHEF) program is a midstream Market Transformation Program designed to influence and incentivize the adoption of energy-efficient commercial kitchen equipment measures. This program targets all commercial foodservice segments in the CenterPoint Houston electric territory, including restaurants, schools, quick service restaurants, convenience stores, government facilities, hospitality, healthcare, and other end-users that utilize commercial foodservice equipment. |
| Target markets | - Market segments: Small- and mid-sized business segments, including restaurants, schools, quick-service restaurants, government facilities, and other customers that utilize commercial food service equipment. - Eligibility criteria: Commercial customers must have qualified equipment installed on a nonresidential meter in CenterPoint Energy’s electric service territory. - Applications: Retrofit or new construction |
| Marketing strategies and project sponsors | Marketing strategies: TRC Companies (implementer) plans to market the availability of this program in the following manner: - Partner with a third-party implementer to assist with delivery; - Recruit vendors to join the program’s Market Partner Network of participating sponsors; - Participate in appropriate industry-related meetings and events to generate awareness and interest; - Collaborate with internal company departments such as Commercial Customer Relationship Management, Distribution Operations, and Service Delivery to leverage existing relationships with commercial customers, informing them of energy efficiency opportunities; and - Provide marketing materials, such as brochures and program fact sheets, to potential participants. |
| Implementation and delivery | - Implementers: TRC Companies |
| Measures/products, services, offerings | - Measure offerings: ENERGY STAR-qualified new electric appliances, including commercial dishwashers, commercial ice makers, commercial combination ovens, commercial convection ovens, commercial fryers, commercial steam cookers, hot food holding cabinets, commercial solid or glass door reach-in refrigerators or freezers |
| QA/QC | - Review of each incentive request to validate equipment and program eligibility - Post-on-site inspections |

Table 41 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 41. Commercial High-Efficiency Foodservice Market Transformation Program EM&V Plan

| Commercial High-Efficiency Foodservice (Pilot) | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The commercial High-Efficiency Foodservice (pilot) program is a medium priority in PY2024. The savings are from deemed measures. | Medium |
| Key researchable Issues | How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? Which measures are included in the midstream implementation? Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? What changes to the program design and delivery may improve program performance? Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats and HVAC tune-ups | Census sample to meet 90/10 |

## Commercial Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Standard Offer program in the utility’s portfolio.

### Commercial Standard Offer Program

Table 42. Commercial Standard Offer Program Summary

| Commercial SOP | Summary |
| --- | --- |
| Program description | The Commercial SOP has three target facility types: large commercial, small commercial, and multifamily/strip centers. Large commercial customer: owns or operates a single site with a total maximum peak demand of more than 100 kW or multiple sites with a combined maximum peak demand greater than 250 kW. Small commercial customer: owns or operates a single site with a total maximum peak demand of less than 100 kW. Multifamily/strip center customer: owns a single location space that may have multiple meters servicing common areas. The maximum peak demand must be more than 100 kW. Incentives are paid to project sponsors for certain measures installed in new or retrofit applications. The utility has a limited group of participating project sponsors determined through a selection process based on meeting minimum eligibility criteria. Project sponsors must comply with all program rules and procedures, submit documentation describing their projects, and enter into a Standard Agreement with the IOU. |
| Target markets | - Market segments: Large and small commercial businesses - Eligibility criteria: - For large commercial and multifamily customers, each project within one site must provide a total estimated peak demand reduction of at least 15 kW or annual energy savings of at least 100,000 kWh. This limitation is included to ensure that projects contribute to the primary program goal of reducing peak demand and minimizing the administrative costs associated with smaller projects. - Small commercial projects must include facilities with a maximum peak demand of less than 100 kW (or 250 kW combined for multiple sites in the same project). Each project must provide a total estimated peak demand reduction of up to 15 kW or 100,000 kWh. - Applications: New or retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Examples may include websites, trade shows, retailer partners, bill inserts, radio ads, billboards, home shows, etc. |
| Implementation and delivery | - Any entity that installs eligible energy efficiency measures at a facility with a nonresidential electricity distribution service provided by CenterPoint Energy is eligible to participate in the Commercial SOP as a project sponsor. |
| Measures/products, services, offerings | Most energy-efficiency measures in retrofit or new construction applications that reduce electric energy consumption and peak demand are eligible for the Commercial SOP. CenterPoint Energy does not specify eligible measures in order to provide project sponsors flexibility in packaging services. Therefore, project sponsors may propose the inclusion of any measure in their project that meets the following requirements: - The measure may produce a measurable and verifiable electric demand reduction during the peak period(s), reduce electricity consumption, or produce both peak demand and energy savings. - The measure must produce savings through increasing energy efficiency or substituting another energy source for electricity supplied through the transmission and distribution grid. - The measure must exceed the minimum equipment standards established in the Program Manual (in manual Appendices). - Measures may provide for self-generation using renewable technologies, such as: - solar, - wind, - geothermal, - hydroelectric, - wave/tidal, - biomass, and projects involving combined heat and power (CHP) will be reviewed on a case-by-case basis for qualification by CenterPoint Energy Technical assistance: At the discretion of the project sponsor, not part of the program design Rebates/incentives: Provided to project sponsor who passes on at their discretion to end-use customer Incentive - For projects using only deemed savings, the project sponsor is eligible to receive 100 percent of the project incentive payment after the project is installed and approved by CenterPoint Energy. - For all other projects, the project sponsor will receive an initial payment of 40 percent of the total estimated project incentive payment. M&V activities must be completed, documented, and accepted before the project sponsor will receive the remaining incentive payment based on the one-year verified savings. |
| QA/QC | - Pre-inspections for a sample of projects and post-on-site inspections for a census of projects - Conducted by the utility or third-party implementer (or combination thereof) |

Table 43 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 43. Commercial Standard Offer Program EM&V Plan

| Commercial SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial SOP is a medium priority in PY2024. The majority of savings are from deemed measures. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 15 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats and HVAC tune-ups | Census sample to meet 90/10 |

## Load Management

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Load Management program in the utility’s portfolio.

### Commercial Load Management Standard Offer Program

Table 44. Commercial Load Management Standard Offer Program Summary

| Commercial Load Management SOP | Summary |
| --- | --- |
| Program description | The Commercial Load Management SOP is available to nonresidential distribution customers, as well as governmental, educational, and non-profit transmission customers. Curtailments are initiated when the Electric Reliability Council of Texas (ERCOT) declares an Energy Emergency Alert 2 (EEA2) event or deems that an EEA2 event is imminent or to support local system emergency conditions. Incentives are paid for measured and verified W reductions to project sponsors based on the average performance of all their events. Participating facilities must be equipped with an Interval Data Recorder (IDR) or smart meter and be able to curtail a minimum of 50 kW to be eligible. Originally designed to deliver demand reduction during the summer peak period (1:00 p.m. to 7:00 p.m. during the months of June through September, excluding weekends and holidays), the program has been modified to support load curtailment 24 hours per day, seven days per week from June through November. |
| Target markets | - Market segments: Large commercial/industrial businesses - Eligibility criteria: - Participants are required to have a normal aggregate peak demand of 750 kW or greater, with each participating site having at least 250 kW normal peak demand and capable of curtailing at least 100 kW. - Must have an interval data recorder meter. - Must be nonresidential customers taking service at the distribution level or be a nonprofit customer or government entity, including educational installations. - Applications: Existing |
| Marketing strategies and project sponsors | - Marketing strategies: Website, retailer partners; - Project sponsors: National or local EESPs, retail electric providers (REP), or individual customers that identify interruptible load in their own facilities; - Maintain program information in the program tracking database; - Conduct training as necessary to explain elements such as responsibilities of the project participant, program requirements, incentive information, and the application and reporting process; and - Participate in appropriate industry-related meetings and events to generate awareness and interest. - Collaborate with internal company departments such as Commercial Customer Relationship Management, Energy Sales and Transportation Services, and Distribution Operations and Service Delivery to leverage existing relationships with commercial customers, informing them of energy efficiency opportunities. |
| Implementation and delivery | - Implementers: Third-party implementers or individual customers |
| Measures/products, services, offerings | - Measure offerings: N/A - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: CenterPoint Energy will pay a participating customer (or the project sponsor, if different) up to $30 per kW of verified curtailed load each year of participation |
| QA/QC | - CenterPoint Energy will verify actual demand savings from interruptions. |

Table 45 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 45. Commercial Load Management Standard Offer Program EM&V Plan

| Commercial Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

### Residential Load Management Standard Offer Program

Table 46. Residential Load Management Standard Offer Program Summary

| Residential Load Management SOP | Summary |
| --- | --- |
| Program description | The Residential Load Management program provides demand reduction during the summer peak period when ERCOT issues an EEA2. Participants are randomly tested twice during the summer peak period and agree to be available for up to five additional load management events. Like the Commercial Load Management Program, the Residential Load Management Program was originally designed for the summer peak period but has been expanded to support load curtailment 24 hours per day, seven days per week, from June through November. |
| Target markets | - The program targets residential homes with central air conditioning. |
| Marketing strategies and project sponsors | - Maintain a website with detailed project eligibility, end-use measures, incentive structure, procedures, application forms, and list of third-party program sponsors; and - Partner with aggregators and REPs to enroll customers wanting to participate. |
| Implementation and delivery | - The third-party vendor manages and controls implementation and load management event activation. |
| Measures/products, services, offerings | - Third-party vendors manage and may offer competing air conditioner demand-response services through the BYOD approach. |
| QA/QC | - Actual demand reductions will be determined by CenterPoint Energy using advanced meter data. |

Table 47 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 47. Residential Load Management Standard Offer Program EM&V Plan

| Residential Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Interval metered data review: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates in accordance with the TRM. | Census |

## Residential Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Market Transformation program in the utility’s portfolio.

### Multi-family Market Transformation Program Market Rate

Table 48. Multi-family Market Transformation Program Summary

| Multi-family MTP | Summary |
| --- | --- |
| Program description | The Multi-family MTP Market Rate encompasses two program elements: - Multi-family Water and Space Heating and - Multi-family High Efficiency New Construction. Multi-family Water and Space Heating promotes the installation of energy-efficient non-electric water heating in multi-family housing developments. Multi-family High Efficiency New Construction incentivizes energy efficiency in new multi-family buildings. |
| Target markets | - Market segments: Multi-family housing; - Eligibility criteria: Multi-family housing facilities within CenterPoint Energy’s electric service territory; new housing must be built to ENERGY STAR Version 3.0 Standards. Natural-gas-storage tank water heaters must meet or exceed current federal efficiency standards or local building codes. Service water heating systems that serve multiple units must exceed the most current IECC standards adopted by the state of Texas. Peak kW and annual kWh savings are to be determined based on building simulation modeling using DOE-2, with eQUEST 3.60 used as the interface. - Applications: New construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy plans to market the availability of this program in the following manner: - Contract with a third-party program implementer to conduct outreach and planning; and - Marketing materials provided to potential participating developers and property managers, which includes brochures, cut sheets, and a program guidebook; and - Participate in appropriate industry-related meetings and events to generate awareness and interest. - Project sponsors: Developer |
| Implementation and delivery | - Implementers: Frontier Energy is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: Boiler systems and individual non-electric water and space heating units. Natural-gas-storage tank water heaters must meet or exceed current federal efficiency standards or local building codes. Incentives differ for individual water heaters versus central service water heating systems. Energy-efficient direct-install measures may include LEDs, water savings measures (faucet aerator, low-flow showerhead), water heater tank wrap, and water heater pipe insulation. - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Rebates/incentives are provided to multifamily project developers who agree to facilitate the installation of non-electric water heating in market-rate multifamily projects |
| QA/QC | - Monitoring progress or project through reservation period and post-on-site inspections for 100 percent of projects - Progress monitoring and post-inspection conducted by a third-party implementer |

Table 49 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 49. Multi-family Market Transformation Program EM&V Plan

| Multi-family MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Multi-family MTP represents a growing portion of the portfolio’s current energy use and demand savings and will receive a medium priority in PY2024. | Medium |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on the census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

### High-Efficiency Homes Market Transformation Program

Table 50. High Efficiency Homes Market Transformation Program Summary

| High-Efficiency Homes MTP | Summary |
| --- | --- |
| Program description | The High-Efficiency Home MTP incentivizes the construction of new ENERGY STAR-certified, DOE Zero Energy Ready, and other high-efficiency qualified homes. To qualify for incentives, all homes, at a minimum, must be rated and registered in the RESNET registry. Incentives can also be earned by meeting minimum prescriptive technology requirements such as high-efficiency HVAC systems, heat pump water heaters, and other efficient appliances. An additional bonus is offered for those builders who build ENERGY STAR Version 3.1 certified homes. Each home is reviewed for verifiable demand and energy savings. |
| Target markets | - Market segments: Homebuilders, HVAC contractors, and home energy raters - Eligibility criteria: - All program homes must achieve ten percent kWh savings better than the IECC 2015 reference home. - Homes may qualify for higher Tier 1, Tier 2, or High-Efficiency Tier incentives based on minimum kWh savings, percentage of kWh savings, or prescriptive home attributes. - Homes that are certified as ENERGY STAR may receive a bonus incentive in addition to the tiered incentives above. - Homes with an ENERGY STAR-certified smart thermostat may receive a bonus incentive in addition to the tier incentives above. - Raters receive an incentive for each approved home to defray the cost of qualifying for the program. - Applications: New home construction applications |
| Marketing strategies and project sponsors | Marketing strategies: CenterPoint Energy promotes the High-Efficiency Homes MTP in the following manner: - contracts with a third-party program implementer to implement outreach and planning activities; - advertises using a multitude of news media, including billboards, radio and television announcements, and targeted relocation publications, as well as supporting the local home builder association publications; - provides point-of-purchase materials, including yard signs, door mats, and brochures, free to participating builders; - maintains a website with detailed program information, links to participating builders’ websites, and the general features and benefits of ENERGY STAR homes; - conducts various testing for all local raters or air conditioning contractors as needed; - conducts training sessions for builders’ sales staff throughout the year to increase the knowledge and awareness of the features and benefits of ENERGY STAR homes; - participates in quarterly roundtables with the builder’s home energy raters to discuss and exchange information concerning program issues; - attends appropriate industry-related meetings and seminars to generate awareness and interest; - participates in statewide outreach activities; - Conducts builder workshops covering program requirements, incentive information, and the application and reporting process - Project sponsors: In addition to homebuilder and consumer outreach, the High-Efficiency Homes MTP targets key allies in the homebuilding production and sales cycle: home energy raters, homebuilder sales agents, real estate agents, HVAC contractors, mortgage lenders, product manufacturers, homebuilder associations, and media outlets |
| Implementation and delivery | - Implementers: TRC is the third-party implementer, and the data source is CenterPoint Energy |
| Measures/products, services, offerings | - Measure offerings: The energy savings earned by high-efficiency new homes are calculated on a whole-home basis. Energy savings are typically achieved through a combination of: - exterior construction upgrades; - high-performance windows; - controlling the amount of air leaking out through the duct system or unsealed holes; - controlling the amount of air entering the home from the outside; - properly installed insulation; - high-efficiency and properly-sized heating and air conditioning systems; - high-efficiency water heating equipment; - fresh-air mechanical ventilation system; - high-efficiency light bulbs and fixtures; and - ENERGY STAR-certified new refrigerators, clothes washers, and dishwashers. - Technical assistance: Builders must work with raters - Rebates/incentives: Builders will be paid for homes based on the incentive tiers described above |
| QA/QC | - The Home Energy Rating System (HERS) process provides an initial level of QA/QC on all program homes. - CenterPoint Energy or their third-party implementer will conduct field inspections of a sampling of homes. - The third-party implementer will conduct desk QA/QC of homes submitted to the program. |

Table 51 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 51. High-Efficiency Homes MTP EM&V Plan

| High-Efficiency Homes MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The High-Efficiency Homes MTP represents a moderate portion of the portfolio’s current and future energy use and demand savings and will receive a medium priority in PY2024. | Medium |
| Key researchable issues | - How can the program adapt to the changing codes and standards climate? Are there viable strategies the program can adopt in order to meet and exceed set goals given the new baselines? Have changes in residential baselines affected the program's ability to meet goals? - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are goals established appropriately, and will they be met? - To what degree is the program encouraging adopting energy-efficient technologies that would otherwise not have taken place? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |

### Midstream Market Transformation Program (HVAC and Residential Pool Pump Distributors)

Table 52. Midstream Market Transformation Program Summary

| Residential Pool Pump and A/C Distributor MTP | Summary |
| --- | --- |
| Program description | The Mid-Stream MTP (HVAC and Pool Pump Distributor) provides incentives to HVAC and pool pump distributors who agree to facilitate the installation of high-efficiency pool pumps, air conditioners, heat pumps, smart thermostats, and heat pump water heaters in existing single-family properties. |
| Target markets | - Market segments: Single-family properties - Application: Retrofit |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy plans to market the availability of this program in the following manner: - Contract with a third-party program implementer to conduct outreach, marketing, and planning activities; and - Conduct workshops as necessary to explain elements such as the responsibilities of the distributors and contractors, program requirements, incentive information, and the application and reporting process. |
| Implementation and delivery | - Implementers: CenterPoint Energy |
| Measures/products, services, offerings | - Measure offerings: High-efficiency pool pumps, air conditioners, and heat pumps - Technical assistance: N/A - Rebates/incentives: Provided to distributors |
| QA/QC | - Monitoring project progress through the reservation period and post-on-site inspections - A third-party implementer conducts progress monitoring and post-inspection |

Table 53 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 53. Midstream MTP EM&V Plan

| Residential Pool Pump and AC Distributor MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program has a medium priority for PY2024 | Medium |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review the tracking system data for completeness and accuracy | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |

## Residential Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Standard Offer program in the utility’s portfolio.

### Residential and Small Commercial Standard Offer Program

Table 54. Residential and Small Commercial Standard Offer Program Summary

| Residential & Small Commercial SOP | Summary |
| --- | --- |
| Program description | The Residential & Small Commercial SOP targets retrofit measures for residential and small commercial customers, with incentives being paid to project sponsors for qualifying measures that provide verifiable demand and energy savings. The program is open to all qualifying energy efficiency measures, including, but not limited to, HVAC, duct sealing, weatherization, ceiling insulation, water-saving measures, solar photovoltaics, and ENERGY STAR appliances. |
| Target markets | - Market segments: Residential single-family and multifamily homes - Eligibility criteria: Maximum demand <100 kW - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy plans to market the availability of this program in the following manner: - maintain an internet website with detailed project eligibility, end-use measures, incentive structure, procedures, application forms, and a list of third-party project sponsors; and - conduct workshops as necessary to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process. - Project sponsors include a range of EESPs |
| Implementation and delivery | - Implementers: CenterPoint Energy |
| Measures/products, services, offerings | - Measure offerings: Any Commission-approved measure included in the statewide Residential SOP template or any Commission-approved measure included in the TRM for the residential customer class is eligible under SOP, including attic insulation, duct sealing, caulking/weatherstripping, air conditioning, heat pumps, water heaters, ENERGY STAR windows, refrigerators, dishwashers, clothes washers, wall insulation, floor insulation, water heater jackets, and renewable energy sources - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor who passes the rebates/incentives on at their discretion to end-use customer |
| QA/QC | - Pre- and post-on-site inspections for approximately ten percent of homes - Conducted by CenterPoint Energy |

Table 55 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 55. Residential and Small Commercial Standard Offer Program EM&V Plan

| Residential & Small Commercial SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program is a medium priority as it has recently responded to TRM updates. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

## Low-Income/Hard-to-Reach Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Low-Income and Hard-to-Reach program in the utility’s portfolio.

### Hard-to-Reach Standard Offer Program

Table 56. Hard-to-Reach Standard Offer Program Summary

| Hard-to-Reach SOP | Summary |
| --- | --- |
| Program description | The Hard-to-Reach Standard Offer Program provides incentives to project sponsors for qualifying measures installed in retrofit applications, which provide verifiable demand and energy savings to customers whose annual total household income is less than 200% of current federal poverty guidelines. Qualifying energy efficiency measures include, but are not limited to, HVAC replacement, duct sealing, weatherization, ceiling insulation, water-saving measures, and ENERGY STAR windows. |
| Target markets | - Market segments: HTR residential customers - Eligibility criteria: Participants must have a total annual household income at or below 200 percent of the federal poverty level - Applications: Retrofit applications and new construction through the Affordable Single-Family component |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy plans to market the availability of this program in the following manner: - Maintain a website with detailed project eligibility, end-use measures, incentive structure, procedures, application forms, and a list of third-party project sponsors; - conduct workshops as necessary to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process. - Project sponsors represent a range of EESPs |
| Implementation and delivery | - Implementers: CenterPoint Energy |
| Measures/products, services, offerings | - Measure offerings: Envelope measures, water heating, ENERGY STAR refrigerators, HVAC - New construction for not-for-profit housing or social services organizations built to current ENERGY STAR Version 3.0 Standards - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives on at their discretion to the end-use customer |
| QA/QC | - Post-on-site inspections for approximately five percent of homes - Conducted by CenterPoint Energy |

Table 57 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 57. Hard-to-Reach Standard Offer Program EM&V Plan

| Hard-to-Reach SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | Given the updates in savings for key measure offerings in PY2024, this program has a medium priority for PY2024 as it will be prioritized for in-depth impact assessment in PY2024. | Medium |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on the census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

### Multi-family Market Transformation Program Hard-to-Reach

Table 58. Multi-family Market Transformation Program Hard-to-Reach Summary

| Multi-family MTP Hard-to-Reach | Summary |
| --- | --- |
| Program description | The Multi-family MTP Market Rate encompasses two program elements: - Multi-family Water and Space Heating and - Multi-family High Efficiency New Construction. Multi-family Water and Space Heating promotes the installation of energy-efficient non-electric water heating in multi-family housing developments. Multi-family High Efficiency New Construction incentivizes energy efficiency in new multi-family buildings. |
| Target markets | - Market segments: Multifamily housing; - Eligibility criteria: Multifamily housing facilities within CenterPoint Energy’s electric service territory; new housing must be built to ENERGY STAR Version 3.0 Standards. Natural-gas-storage tank water heaters must meet or exceed current federal efficiency standards or local building codes. Service water heating systems that serve multiple units must exceed the most current IECC standards adopted by the state of Texas. Peak kW and annual kWh savings are to be determined based on building simulation modeling using DOE-2, with eQUEST 3.60 used as the interface. - Applications: New construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy plans to market the availability of this program in the following manner: - Contract with a third-party program implementer to conduct outreach and planning; and - Marketing materials, including brochures, cut sheets, and program guidebook provided to potential participating developers and property managers; and - Participate in appropriate industry-related meetings and events to generate awareness and interest. - Project sponsors: Developer |
| Implementation and delivery | - Implementers: Frontier Energy is the third-party implementer |
| Measures/products, services, offerings | - Measure offerings: Boiler systems and individual non-electric water and space heating units. Natural-gas-storage tank water heaters must meet or exceed current federal efficiency standards or local building codes. Incentives differ for individual water heaters versus central service water heating systems. Energy-efficient direct-install measures may include LEDs, water savings measures (faucet aerator, low-flow showerhead), water heater tank wrap, and water heater pipe insulation. - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Rebates/incentives are provided to multifamily project developers who agree to facilitate the installation of non-electric water heating in market-rate multifamily projects |
| QA/QC | - Monitoring progress or project through reservation period and post-on-site inspections for 100 percent of projects - Progress monitoring and post-inspection conducted by a third-party implementer |

Table 49 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 59. Multi-family Market Transformation Program Hard-to-Reach EM&V Plan

| Multi-family MTP Hard-to-Reach | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Multi-family MTP represents a growing portion of the portfolio’s current energy use and demand savings and will receive a medium priority in PY2024. | Medium |
| Key researchable issues | - How are program data handled? Are all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on the census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 1 |

### Targeted Low-Income (Agencies in Action) Market Transformation Program

Table 60. Targeted Low-Income (Agencies in Action) Market Transformation Program Summary

| Targeted Low-Income (Agencies in Action) MTP | Summary |
| --- | --- |
| Program description | The Targeted Low-Income MTP facilitates the installation of energy efficiency upgrades for low-income residential customers in single-family or multifamily homes. Local non-profit organizations and energy service companies provide comprehensive, whole-house retrofits that maximize electricity savings to homes with a savings-to-investment ratio (SIR) greater than one. This is accomplished by installing attic and wall insulation, solar screens, lighting retrofits, water-saving measures, ENERGY STAR room air conditioners, central air conditioning systems, duct efficiency, and air infiltration control for participants that have an annual household income of less than 200 percent of the federal poverty guidelines. A maximum expenditure of $8,250 is allowed per home. |
| Target markets | - Market segments: Low-income residential customers - Eligibility criteria: Participants must have a total annual household income at or below 200 percent of the federal poverty level - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: CenterPoint Energy plans to market the availability of this program in the following manner: - Participate in appropriate industry-related meetings and events to generate awareness and interest; - conduct workshops as necessary to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process; - contact nonprofit organizations and local housing authorities for potential participation; and - promote program participation in under-served areas of the CenterPoint Energy Houston electric service territory - Maintain a website with detailed participant eligibility, end-use measures, incentive structure, procedures, and application forms. |
| Implementation and delivery | - Implementers: Frontier Energy is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings (requires a SIR of ≥1): Attic insulation, wall insulation, solar screens, CFLs, water-saving measures, ENERGY STAR room air conditioning, central air conditioning, heat pumps, ENERGY STAR refrigerators, duct efficiency improvements, and air infiltration control |
|  | - Technical assistance: At the discretion of the project sponsor, not part of the program design |
|  | - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives on at their discretion to end-use customer |
| QA/QC | - Post-on-site inspections for approximately five percent of homes - Conducted by CenterPoint Energy |

Table 61 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 61. Targeted Low-Income (Agencies in Action) Market Transformation Program EM&V Plan

| Targeted Low-Income (Agencies in Action) MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | Senate Bill 1434 requires transmission and distribution utilities to spend ten percent of their energy-efficiency budget on targeted low-income weatherization programs. CenterPoint Energy’s Agencies in Action MTP is prioritized as a medium priority in PY2024. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on the census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 3 |

## Cross-Sector Programs

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Cross-Sector program in the utility’s portfolio.

### Retail Products and Services Market Transformation Program

Table 62. Retail Products and Services Market Transformation Program Summary

| Retail Products and Services MTP | Summary |
| --- | --- |
| Program description | The Retail Products and Services MTP incorporates three program offerings previously delivered as stand-alone programs: - REP MTP - Smart Thermostat Program - Advanced Retail Products Program (previously the Advanced Lighting MTP) Components of the Retail Products and Services MTP include: REP component: The REP component offers energy-saving products and services to end-use residential and/or commercial customers through REPs. Participating REPs market energy-saving measures and services to their customers in the CenterPoint Houston service territory. REPs can participate in the following program components: - The CoolSaver A/C Tune-Up program component utilizes specially trained air conditioning contractors to perform comprehensive A/C tune-ups for residential and commercial customers. The program pays A/C contractors to reduce the customer's upfront cost of system diagnosis and correction. It also provides participating trade allies with training on best practices and discounts on high-quality diagnostic tools. - The Efficiency Connection program component is an online marketplace that enables customers to shop for discounted energy-efficiency products. Through the program’s third-party vendors, products are delivered directly to qualifying residential customers. Program marketing informs the customer of the importance of installing LED lighting in high-use areas and replacing existing incandescent, fluorescent, and halogen lamps to increase savings. Smart Thermostat component: The Smart Thermostat component enables customers to receive discounts for the purchase of ENERGY STAR-certified smart thermostats at online retail locations. Advanced Retail Products component: The Advanced Retail Products component offers point-of-purchase discounts to residential customers at participating retail stores to purchase qualified (i.e., ENERGY STAR-rated) high-efficiency products. |
| Target markets | - Market segments: Residential and small commercial customers - Eligibility criteria: Residential and small commercial customers at participating retailers - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | REP component: - Contract with a third-party implementer to conduct outreach and planning activities; - REPs market to existing customers via e-mail, social media, and direct mail; and - Participating contractors may do direct marketing to customers via e-mail, direct mail, and flyers Smart Thermostat component: - Contract with third-party to deliver online marketplace; and - Provide in-store marketing materials at participating retailers. Advanced Retail Products component: - In-store promotions of the program via signage and - Participation in appropriate industry-related meetings and events to generate awareness and interest. |
| Implementation and delivery | REP component: The REP component collaborates with REPs to recruit and enroll customers. Incentives are paid to program service providers or contractors for the average verified demand and energy savings achieved. Smart Thermostat component: This component utilizes an online marketplace and that offers an instant coupon code and allows the customer to shop for discounted energy-efficiency products. Advanced Retail Products component: The Advanced Retail Products component is implemented by a third-party implementer. Point-of-purchase discounts will be applied to residential customers at participating retailers. |
| Measures/products, services, offerings | REP component: - Measure offerings: Heat pumps, central air conditioners, custom/others pending approval, A/C tune-ups - Technical assistance: Customer must accept recommendations from a tune-up analysis - Rebates/incentives: Up to $350 provided to the end-use customer in the form of instant discounts at the time of service; up to $350 provided to the contractor; discounts on tool purchases Smart Thermostat component: - Measure offerings: Smart thermostats - Technical assistance: N/A - Rebates/incentives: Rebates paid to customers Advanced Retail Products component: - Measure offerings: Certified residential LED lighting - Technical assistance: N/A - Rebates/incentives: Provided to end-use customer |
| QA/QC | REP component: During technician training, CLEAResult ride-alongs Ten percent for contractors and technicians Post-on-site inspections conducted by the implementer Smart Thermostat component: Monitoring project progress through reservation period and post on-site inspections for 100 percent of projects Progress monitoring and post-inspection conducted by a third-party implementer Advanced Retail Products component: N/A |

Table 63 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 63. Retail Products and Services Market Transformation Program EM&V Plan

| Retail Products and Services MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Retail Products and Services MTP represents a large portion of the portfolio’s current and future energy use and demand savings. | High |
| Key researchable issues | How is the program engaging retail electric providers? What areas are working well, and what areas need improvement? To what degree does the program encourage adopting energy-efficient operational techniques and technologies that would otherwise not have occurred? Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? Are incentive values set optimally? What changes to the program design and delivery may improve program performance? Are there major differences in how this program is delivered and performs compared to similar programs at other utilities? Is sufficient data being captured to allow for appropriate verification? Are there significant differences in how data are captured, and calculation methodologies used compared to similar programs within the state? Are there significant differences in how data are captured, and calculation methodologies compared to industry standards? |  |
| Program evaluation approach | Program tracking system review: Review tracking data on a census of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of REP projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 7 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts for HVAC tune-ups, which are a component of this program. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats | Census sample to meet 90/10 |

## Pilot

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Pilot program in the utility’s portfolio.

### Winter Load Management Pilot Program

Table 64. Winter Load Management Pilot Program Summary

| Winter Load Management Pilot Program | Summary |
| --- | --- |
| Program description | The Winter Load Management Pilot program provides load shed capability twenty-four hours per day, seven days per week during the months of December – May. The program is available to non-residential distribution customers, as well as governmental, educational, and non-profit transmission customers. Curtailments are initiated when the Electric Reliability Council of Texas (ERCOT) declares an Energy Emergency Alert 2 (EEA2) event or deems that an EEA2 event is imminent or to support local system emergency conditions. Incentives are paid for measured and verified kW reductions to project sponsors based on the average performance of all their events. Participating facilities must be equipped with an Interval Data Recorder (IDR) or smart meter. The program objectives are: • Attain reliable peak demand reduction during grid emergencies; and • Evaluate program impacts and processes to gain insights that support the design of future emergency load management activities. |
| Target markets | - Market segments: Large commercial/industrial businesses - Eligibility criteria: - Participants are capable of curtailing twenty-four hours per day, seven days per week, during the months of December – February. - Must have an interval data recorder meter. - Must be nonresidential customers taking service at the distribution level or be a nonprofit customer or government entity, including educational installations. - Applications: Existing |
| Marketing strategies and project sponsors | - Marketing strategies: Website and retailer partners - Project sponsors: National or local EESPs, REPs, or individual customers that identify interruptible load in their own facilities - Recruit participants through direct outreach to customers and aggregation groups; - Conduct training as necessary to explain elements such as responsibilities of the project participant, program requirements, incentive information, and the application and reporting process; and - Participation in appropriate industry-related meetings and events to generate awareness and interest. |
| Implementation and delivery | - Implementers: Third-party implementers or individual customers |
| Measures/products, services, offerings | - Measure offerings: N/A - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: CenterPoint Energy will pay a participating customer (or the project sponsor, if different) |
| QA/QC | - CenterPoint Energy will verify actual demand savings from interruptions. |

Table 45 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 65. Winter Load Management Pilot Program EM&V Plan

| Winter Load Management Pilot Program | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

# Oncor

This section addresses Oncor's energy efficiency and load management portfolio. The overall portfolio is summarized below, followed by details for each program in the portfolio.

## Portfolio Overview

Table 66 shows the projected energy and demand savings for the Oncor programs for PY2024.

Table 66. Oncor—PY2024 Projected Demand and Energy Savings

| Program category | Program name | Program type | PY2024 demand savings (kW) | Percentage of total portfolio (demand) | PY2024 energy savings (kWh) | Percentage of total portfolio (Energy) |
| --- | --- | --- | --- | --- | --- | --- |
| Commercial SOP | Commercial SOP | Commercial SOP | 15,211 | 8 | 66,093,340 | 33 |
| Commercial SOP | Small Business Direct Install SOP | Small Business DI | 781 | 0 | 3,694,597 | 2 |
| Commercial MTP | Commercial Midstream MTP | Upstream/midstream Commercial MTP | 191 | 0 | 1,250,000 | 1 |
| Commercial MTP | Master-Metered Smart Thermostat Direct Install MTP | Commercial | 0 | 0 | 2,000,000 | 1 |
| Commercial MTP | Strategic Energy Management MTP | Pilot Commercial SEM MTP | 1,411 | 1 | 10,173,329 | 5 |
| Commercial Load Management | Commercial Load Management SOP | Load Management SOP | 70,000 | 36 | 210,000 | 0 |
| Commercial Load Management | Commercial Winter Load Management SOP (Pilot) | Commercial Winter Load Management SOP (Pilot) | 21,000 | 11 | 63,000 | 0 |
| Residential Load Management | Residential Load Management SOP | Load Management SOP | 30,000 | 15 | 90,000 | 0 |
| Residential Load Management | Residential Winter Load Management SOP (Pilot) | Residential Winter Load Management SOP (Pilot) | 10,000 | 5 | 30,000 | 0 |
| LI/HTR SOP | Hard-to-Reach (HTR) SOP | HTR SOP | 15,470 | 8 | 21,423,558 | 11 |
| LI/HTR MTP | Low-Income MF Smart Thermostat Direct Install MTP | HTR | 0 | 0 | 2,000,000 | 1 |
| LI/HTR MTP | Low-Income HVAC Tune-Up MTP | HTR MTP | 1,223 | 1 | 5,626,950 | 3 |
| LI/HTR SOP | Targeted Weatherization Low-Income SOP | Low-Income/HTR Weatherization Programs SOP | 3,432 | 2 | 6,301,159 | 3 |
| Residential SOP | Home Energy Efficiency SOP | Residential SOP | 17,209 | 9 | 33,316,204 | 17 |
| Residential MTP | Multi-Family Smart Thermostat Direct Install MTP | Residential | 0 | 0 | 2,150,000 | 1 |
| Residential MTP | Retail Products MTP | Retail Platform MTP | 5,754 | 3 | 36,328,263 | 18 |
| Residential MTP | Residential New Home Construction MTP | Residential MTP | 2,432 | 1 | 6,512,563 | 3 |
| Residential SOP | Solar PV SOP | Residential Solar SOP | 1,015 | 1 | 3,409,927 | 2 |

Next, we present two summary tables for each program in the Oncor portfolio. Each table provides a high-level overview of the applicable programs. The overview is based on a review of program documentation and discussions with utilities, PUCT, and implementation contractors. This information is followed by the Evaluation, Measurement, and Verification (EM&V) Plan for the program, which includes the evaluation priority, key researchable questions, and EM&V activities. In addition to program-specific researchable questions listed in the EM&V Plan, the following researchable issue will be investigated portfolio-wide:

What are the drivers of differences, if any, between claimed and evaluated savings?

## Commercial Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Market Transformation program in the utility’s portfolio.

### Commercial Midstream Market Transformation Program

Table 67. Commercial Midstream Market Transformation Program Summary

| Commercial Midstream MTP | Summary |
| --- | --- |
| Program description | The Commercial Midstream provides distributors incentives who agree to facilitate the installation of high-efficiency equipment in commercial facilities. The program will utilize the midstream, distributor-focused model, which is designed to provide incentives to the manufacturers and distributors of equipment and reaches down the entire supply chain to ensure incentives engage service providers and customers. The program will continue to analyze measures that will fit in the midstream distributor-focused model and will incorporate those measures into the program. 2024 Program Design Update The program is focusing on encouraging the purchase and installation of ENERGY STAR®-certified commercial kitchen measures through a targeted implementation effort. Commercial kitchens have high energy use and lengthy operating hours. This program design update aims to reduce consumption and demand for these high-intensity end uses. CHEF is considered a hybrid midstream/downstream program allowing incentives for both dealers and end users. The hybrid option and incentives encourage dealers to sell efficient equipment while also providing an incentive to help cover part of the incremental cost purchasing energy efficient equipment. |
| Target markets | - Market segments: Commercial and small commercial customers - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies include: - Program implementers market direct to dealers as well as food service equipment end users, e.g. Mom and Pop restaurants, chains, ghost kitchens etc. - Oncor maintains the Take a Load off Texas website and provides printed collateral for remote and in-person solicitation. |
| Implementation and delivery | Implementers: TRC is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: Dishwashers, Ice Machines, Steamers, Griddles, Convection & Combination Ovens, Refrigerators & Freezers (Vertical and Horizontal Reach In), Demand Control Kitchen Ventilation, Hot Food Holding Cabinets, Zero Energy Ready Refrigeration Doors - Technical assistance: N/A - Rebates/incentives: Dealer/Distributor discounts directly to the customer through point of sale or post sale purchases. |
| QA/QC | QA 1. Roles and responsibilities, process documents, online application forms, flowcharts and training for qualifying and submitting products 2. Checklist of what is needed to qualify project - Qualified Product List - TRM - ENERGY STAR database - California Energy Wise database and spec qualification calculations - Participant application form (downstream) - dealer agreement (midstream) - Paperwork for payment for both downstream and midstream participants Examples: - All products are in Energy Star Database – Oncor will confirm model nomenclature with manufacturers if unsure - Email confirmation on installation of design projects - Confirm installation is within proper year - Dishwashers require email confirmation on: Hot water heaters & Temp use of machine (high temp versus low temp on dual sanitizing machines) - Demand Control Kitchen Ventilation require engineering specs to confirm exhaust HP - All projects must provide final invoice QC review projects in various stages to ensure correct information - Reviewing invoices: checking for models, installation address, correct ESID, correct entry into worksheet, check with QPL and sometimes TRM to ensure all data is correct. - Reviewing submissions, ensuring all invoices and spec sheets are included - Site visits and/or confirmation of installation by manufacturers, manufacturer reps and dealers - Review team knowledge on participants, TRM and QPL - Review process to discuss suggestions/corrections/bottlenecks etc. |

Table 68 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 68. Commercial Midstream Market Transformation Program EM&V Plan

| Commercial Midstream MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial Midstream MTP is a high priority in PY2024. The savings are from deemed measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures are included in the midstream implementation? Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 4 |

### Master-Metered Smart Thermostat Market Transformation Program

Table 69. Master-Metered Smart Thermostat Market Transformation Program Summary

| Master-Metered Smart Thermostat MTP | Summary |
| --- | --- |
| Program description | The Master-Metered Smart Thermostat Direct Install MTP is focused on replacing existing HVAC thermostats with ENERGY STAR-qualifying smart thermostats in multifamily properties with a commercial rate classification (master-metered). The program will support efforts to increase awareness of the program, including outreach to property owners, managers, and service providers, as well as HVAC contractors, housing agencies, and community organizations. The goals of the program will be achieved through a cross-cutting multi-program outreach effort that will allow service providers a similar experience whether directly installing in commercial, residential, or hard­to-reach target markets. This program is being rebranded as Master Metered Multifamily HVAC MTP in the 2025 plan. |
| Target markets | - Market segments: multifamily property owners, managers, and service providers, as well as HVAC contractors, housing agencies, and community organizations. - Eligibility criteria: premises identified as master-metered complexes. |
| Marketing strategies and project sponsors | - Marketing strategies: Outreach to leading property management companies in Texas, HVAC contractors that specialize in multifamily replacements, community organizations, and HVAC equipment manufacturers |
| Implementation and delivery | - Implementers: EnerChoice |
| Measures/products, services, offerings | Select Core Measures - 2.2.8 ENERGY STAR® Connected Thermostats - Incentives: $125 per qualified and installed thermostat |
| QA/QC | - Inspections conducted by the utility; typically, a photo of the unit installed or, occasionally, another pre-approved method of installation verification may be used. - If the project is low-income, then the program implementer will review the documentation to validate the project’s low-income status in compliance with the requirements listed in Texas TRM Volume 5. |

Table 100 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 70. Master-Metered Smart Thermostat Management Market Transformation Program EM&V Plan

| Master-Metered Smart Thermostat MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Master-Metered Smart Thermostat MTP program is a high priority in PY2024. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Participant surveys: Interviews will be completed with participants and retail electric providers (REP), if applicable | Census sample to meet 90/10 |

### Strategic Energy Management Market Transformation Program

Table 71. Strategic Energy Management Market Transformation Program Summary

| Strategic Energy Management MTP | Summary |
| --- | --- |
| Program description | The Strategic Energy Management MTP uses a custom fit and energy concierge approach to identify deep energy savings for large commercial and agricultural customers. It enlists a relationship-building approach with the customer to ensure that their specific needs and opportunities are addressed. The program investigates the customer's current operations and system parameters to identify opportunities for improvement. The implementer and customer develop an annual Action Plan based on identified projects, and the program provides on-going coaching to support the implementation of the Action Plan measures. A key aspect of the approach is to uncover and influence the implementation of operational efficiency measures in addition to capital efficiency measures. |
| Target markets | - Market segments: large commercial, industrial, and agricultural customers who have not opted out of the EECRF tariff. |
| Marketing strategies and project sponsors | - Marketing strategies: primarily driven through an outreach campaign to the target audience. 3rd party data analytics used to identify potential customers for participation, ongoing/continued engagement in industry events and organizations. Oncor Area Managers and Oncor Large Customer and Industrial Account Managers are solicited and surveyed for eligible potential customers. |
| Implementation and delivery | - Implementers: Leidos |
| Measures/products, services, offerings | Select Core Measures - 2.5.4 Nonresidential Measurement and Verification - 2.5.3 Nonresidential Custom - 2.1.1 Lamps and Fixtures - 2.2.2 Split and Packaged Air Conditioners and Heat Pumps - 2.2.3 HVAC Chillers Added Services & Offerings - Technical support, customer coaching, and financial project incentives are provided to program participants (Participants), including commercial, industrial, and agricultural customers - Uses an Energy Concierge approach for customers with under 5 MW demand that uses key elements of SEM, like Treasure Hunts and Energy Action Plans, to engage customers in projects and to encourage a continual improvement approach - For larger customers with greater than 5 MW demand, the program uses a full SEM approach to teach the customers the elements of SEM and coaches them to implement them continually - Provides specific assistance in uncovering and supporting operational efficiency improvements - Incentives are based on either standard incentives or actual energy savings from custom projects |
| QA/QC | The inspection process will verify based on the type, quantity, and performance of existing and new systems, including taking pictures of equipment, systems, and existing and new equipment or process nameplates. The inspection report will summarize the pre- and post-savings. Routine meetings with EM&V are required to ensure approved saving methodologies are utilized for Nonresidential Custom and Nonresidential Measurement and Verification measure applications. |

Table 72 documents the evaluation priority and methodologies for the Strategic Energy Management Market Transformation (Pilot) program.

Table 72. Strategic Energy Management Market Transformation Program EM&V Plan

| Strategic Energy Management MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Strategic Energy Management MTP is a medium priority in PY2024. The majority of savings are from custom measures. | Medium |
| Key researchable issues | - Is the implementation appropriate for the number of projects planned to be completed in the program in the long term? - Is the focus of low/no-cost measures affecting the participants' need for potentially more capital-intensive projects with further energy savings? - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design, delivery, or data collection may improve program performance? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

## Commercial Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Standard Offer program in the utility’s portfolio.

### Commercial Standard Offer Program

Table 73. Commercial Standard Offer Program Summary

| Commercial SOP | Summary |
| --- | --- |
| Program description | The Commercial SOP provides incentives to energy efficiency service providers or self-sponsored commercial customers who install approved energy efficiency measures in eligible business, government, nonprofit, and worship facilities in Oncor's service area. This program is designed to achieve energy and demand savings in the commercial market with a wide range of energy efficiency measures, which are approved for use and more fully described in the Texas Technical Reference Manual (TRM). Incentives paid to service providers help to offset the cost of these energy efficiency measures. Common commercial measures include new construction and retrofit lighting, HVAC, variable frequency drives, as well as other program measures utilized from the TRM that exceed existing energy code baselines in the TRM.Projects must be approved by Oncor prior to the project's start. Once completed, Oncor verifies the savings, and the service providers receive incentive payments based on the project's actual savings. For master metered multifamily customers, commercial measures include HVAC units. 2024 Program Design Update: Commercial solar PV is now included as a measure to streamline applications for multi-measure projects. Certain HVAC measure technologies previously only available in the Commercial Midstream MTP are now fully included in the Commercial SOP. |
| Target markets | - Market segments: Large and small commercial businesses - Eligibility criteria: - Pre-qualification of Service Providers - Deemed Savings: New or retrofit projects with total project incentive of at least $500Custom M&V: New or retrofit projects with total project incentive of at least $10,000. Oncor technical pre-review and preliminary M&V Plan is required prior to project acceptance. Oncor pre-review of M&V project proposals may include consultation with EM&V team for certain unique or complex project measures. - Applications: New or retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Oncor website (www.oncor.com), Oncor energy efficiency website for customers (www.takealoadofftexas.com), Oncor energy efficiency contractor portal (https://eepm.oncor.com), Oncor energy efficiency program managers and implementers, trade and industry organizations, industry conferences, retail partners, equipment manufacturers and distributors and radio advertisements. - Service Providers typically include: - National or local energy service companies (ESCOs), - National or local companies that provide energy-related services (e.g., contracting) or products (e.g., lighting and HVAC equipment), - Retail Electric Providerss, and - individual customers with metered electrical demand exceeding 50 kW that implement qualifying energy efficiency measures in their own facilities. |
| Implementation and delivery | - Implementers: Oncor |
| Measures/products, services, offerings | - Measure offerings: Include, but not limited to energy efficient lighting, HVAC units, variable frequency drives, cool roofs, food service equipment, zero energy doors and other refrigeration measures, high-efficiency data center air conditioning, premium efficiency motors, ice makers, pool pumps, vending machine controls, lodging guest room occupancy controls, condenser air evaporative pre-cooling, and demand controlled kitchen ventilation. - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor (Service Provider), who then passes the rebate/incentive to the end-use customer at their discretion - Incentives are calculated using a formula using the measure’s M&V annual savings, its effective useful life, a net present value calculation, and, in applicable counties, a geographic multiplier. |
| QA/QC | - Pre- and post-on-site inspections at the discretion of the utility - Conducted by the utility or a third-party implementer or combination |

Table 74 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 74. Commercial Standard Offer Program EM&V Plan

| Commercial SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial SOP is a high priority in PY2024. The majority of savings are from deemed measures with some custom measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 14 |
|  | Participant surveys: Interviews will be completed with HVAC tune-up participants | Census sample to meet 90/10 |

### Small Business Direct Install Standard Offer Program

Table 75. Small Business Direct Install Standard Offer Program Summary

| Small Business Direct Install SOP | Summary |
| --- | --- |
| Program description | The Small Business Direct Install SOP is a special offering of the Commercial SOP designed to address the specific needs of the small business market with enhanced incentives. The program is focused on the non-Metro counties served by Oncor, and targets select business types. 2024 Program Design Update: Oncor has transitioned this program from an implementer-run MTP into a self-administered SOP. In addition to enhanced incentives, Oncor will be offering no-cost HVAC tune-ups. This program will be rebranded as Commercial Non-Metro SOP in the 2025 plan. |
| Target markets | - Market segments: Small commercial facilities - Eligibility criteria: Small commercial facilities within Oncor’s service territory and with peak demands ≤200 kW, focusing on the non-metro counties served by Oncor. Dallas, Collin, Tarrant, Denton, and Rockwall counties are not eligible to participate in this program. - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: Oncor plans to market the availability of this program in the following manner: - Contract with a third-party program implementer to conduct outreach and planning activities; - Third party contractor will identify and recruit contractors to develop a network of participating contractors who will deliver the program directly to customers; - maintain a website to provide information to potential participants, directing customer to program information and sign up; - One pager and trifold developed with QR code - Implementer will conduct training as necessary to explain elements of the program, such as responsibilities of the participants, project requirements, incentive information, and the application and reporting process; - participate in regional outreach activities as may be necessary; including sharing program information at local business organizations e.g. local Chamber of Commerce - participate in appropriate industry-related meetings to generate awareness and interest. - Project sponsors: HVAC Contractor Service Providers |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: CoolSavers tune up measure and methodology offered by CLEAResult while using the iManifold tool to perform tune ups and collect required tracking data. - Technical assistance: Provided by the contractor/implementer - Rebates/incentives: Provided by the contractor/implementer |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of the first five projects submitted by each contractor, and randomly selected pre- and post-inspections for 20 percent of each additional project submitted - Pre- and post-inspection conducted by a third-party implementer - In addition, some verification conducted by the utility |

Table 76 documents the evaluation priority and methodologies for the Small Business Direct Install SOP.

Table 76. Small Business Direct Install Standard Offer Program EM&V Plan

| Small Business Direct Install SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Small Business Direct Install SOP is a high priority in PY2024 due to the inclusion of HVAC tune-ups. | High |
| Key researchable Issues | - What are the challenges and opportunities to serve this hard-to-reach business sector? - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts on HVAC tune-ups, which may be included in this program. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed for HVAC tune-ups, to the extent these are implemented through this program | Census sample to meet 90/10 |

## Load Management

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Load Management program in the utility’s portfolio.

### Commercial Load Management Standard Offer Program

Table 77. Commercial Load Management Standard Offer Program Summary

| Commercial Load Management SOP | Summary |
| --- | --- |
| Program description | Under the Commercial Load Management SOP, Oncor pays incentives to service providers and aggregators who work with local commercial and manufacturing facilities as well as self-sponsored commercial premises to achieve documented summer demand reductions in those facilities. The program is designed to assist businesses in reducing their summer energy demand and help meet the state's energy efficiency goals. The demand reductions must be verified by Oncor in order for the incentives to be paid. This is accomplished by reviewing data recorded by meters and calculating the amount of demand savings achieved through curtailment during the summer season. The incentive is paid directly to the service provider, aggregator, or self-sponsored commercial customer. Each project must achieve a total estimated demand savings of at least 100 kW during the summer demand period. Participating customer facilities must reduce load when called for by Oncor. To participate, facilities must be able to curtail load within 30 minutes, at any time, in response to ERCOT energy emergency alert (EEA) Levels 2. With the exception of the scheduled curtailment event, curtailments will be called during or in anticipation of an ERCOT EEA Level 2 event, or to assure Oncor grid stability (grid emergencies) |
| Target markets | - Market segments: Large commercial and industrial businesses - Eligibility criteria: - Each project must achieve a total estimated demand savings of at least 100 kW during the on-peak demand period, - A single project may involve the service provider identifying the total curtailable load at more than one customer facility, - The project must be serviced by an Oncor interval data recorder (IDR) or advanced meter, - The project must be located in Oncor’s service area. - Applications: Via EEPM data tracking system |
| Marketing strategies and project sponsors | - Marketing strategies: Website and retailer partners, network and engagement with aggregation vendors. - Project sponsors: National or local ESCOs, REPs, or individual customers that identify interruptible load in their own facilities |
| Implementation and delivery | - Implementers: Third-party aggregator or individual customer |
| Measures/products, services, offerings | - Measure offerings: 2.6.2 Nonresidential Load Curtailment - Technical assistance: At the discretion of the project sponsor, not part of the program design - Incentives: are paid on a per kW-rate for actual curtailed load (or, in the event curtailment is not called, on a test event used to validate the availability of the load). |
| QA/QC | - Oncor does this by reviewing data recorded by electric meters and IDRs and calculating the demand savings achieved through the curtailment during the summer on-peak season. |

Table 78 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 78. Commercial Load Management Standard Offer Program EM&V Plan

| Commercial Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

### Residential Load Management Standard Offer Program

Table 79. Residential Load Management Standard Offer Program Summary

| Residential Load Management SOP | Summary |
| --- | --- |
| Program description | Oncor's Residential Load Management SOP provides incentives to participating service providers and aggregators to reduce peak electric demand at residential premises. The program engages Service Providers and Aggregators to provide demand response capability using remotely controlled load control devices in homes. The service providers will use various control strategies, such as pre-cooling and cycling, to reduce overall demand during the peak period. The participating providers are responsible for ensuring the presence of load control devices in participating residences. The actual demand savings will be determined by Oncor using advanced meter data in accordance with the Texas TRM. Program participants must be able to curtail load within 30 minutes, at any time, in response to ERCOT energy emergency alert (EEA) Level 2. With the exception of the scheduled curtailment event, curtailments will be called during or in anticipation of an ERCOT EEA Level 2 event, or to assure Oncor grid stability (grid emergencies). |
| Target markets | - The program targets single-family residential homes with central air conditioning using at least 1,000 kWh per month during the summer season. |
| Marketing strategies and project sponsors | - Program vendor: Local and regional trade allies leveraged to recruit participants through AC system maintenance and sales ally networks. |
| Implementation and delivery | - The third-party vendor manages and controls implementation and DR event activation and utilizes trade ally subcontractors to sell and install DR thermostats. |
| Measures/products, services, offerings | - The third-party vendor manages and may offer competing air conditioner cycling options (30 percent, 50 percent, or 100 percent cycling) and perhaps employ pre-cool options to aid thermal carry through to aid participant persistence. - Incentives: are paid on a per kW-rate for actual curtailed load (or, in the event curtailment is not called, on a test event used to validate the availability of the load). |
| QA/QC | - Actual demand reductions will be determined by Oncor using advanced meter data. |

Table 80 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 80. Residential Load Management Standard Offer Program EM&V Plan

| Residential Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The residential demand response program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Interval metered data review: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates in accordance with the TRM. | Census |

## Residential Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Standard Offer program in the utility’s portfolio.

### Home Energy Efficiency Standard Offer Program

Table 81. Home Energy Efficiency Standard Offer Program Summary

| Home Energy Efficiency SOP | Summary |
| --- | --- |
| Program description | The Home Energy Efficiency SOP targets residential customers with existing homes. This program is designed to achieve energy and demand savings in the residential market with the installation of a wide range of energy-efficiency measures in homes and individually metered multi-family residences. Incentives are paid to Service Providers to help offset the cost of these energy efficiency measures. Oncor provides the incentive directly to the service provider. Incentives to customers vary by service provider, and no incentives for this program are paid directly to the customer by Oncor. Eligible energy-efficient measures include the replacement of air conditioning units, heat pumps, and attic insulation. |
| Target markets | - Market segments: Residential customers |
|  | - Applications: Retrofit |
| Marketing strategies and project sponsors | - Marketing strategies: Oncor markets to trade organizations, cities and municipalities, manufacturers and distributors as well as project sponsors who develop their own marketing materials to be displayed via Oncor’s website: https://oncor.com/takealoadofftexas |
|  | - Project sponsors: General EESPs, REPs, contractors, energy service companies |
| Implementation and delivery | - Implementers: Oncor Standard Offer Program |
| Measures/products, services, offerings | - Measure offerings: Any Commission-approved measure included in the statewide Residential SOP template or any Commission-approved measure assigned a deemed savings value for the residential customer class is eligible under this SOP, including attic insulation, duct sealing, caulking/weatherstripping, air conditioning, heat pumps, water heaters, ENERGY STAR windows, refrigerators, dishwashers, clothes washers, solar window screens, window film, wall insulation, floor insulation, water heater jackets, and renewable energy sources - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes the rebates/incentives on at their discretion to end-use customer |
| QA/QC | - Post-on-site inspections, with confidence level at the program manager's discretion, usually around 15 percent of sites per contractor per invoice - Conducted by Oncor and contracted inspectors |

Table 82 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 82. Home Energy Efficiency Standard Offer Program EM&V Plan

| Home Energy Efficiency SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program will receive a medium priority for PY2024 as the program has recently responded to TRM updates. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 5 |

### Residential Solar Photovoltaic Standard Offer Program

Table 83. Solar Photovoltaic Standard Offer Program Summary

| Residential Solar PV SOP | Summary |
| --- | --- |
| Program description | The Solar Photovoltaic (PV) SOP provides incentives for the installation of solar systems that reduce customer energy costs, reduce peak demand, and save energy in existing residential customer structures. Incentives are paid to service providers based on savings calculations detailed in the Texas TRM for solar PV systems. Energy efficiency incentives are only eligible for projects that have or will include battery storage. |
| Target markets | - Market segments: Residential - Eligibility criteria: Residential system size between 3 kWDC STC to 15 kWDC STC - Applications: Retrofit |
| Marketing strategies and project sponsors | - Marketing strategies: Rely upon the marketing capabilities of the service providers to sell or lease the solar PV systems to eligible Oncor customers. - Project sponsors include: - national or local ESCOs, - national or local companies that provide energy-related services (e.g., contracting) or products, - REPs, and - self-sponsors whose commercial peak demand exceeds 50 kW. |
| Implementation and delivery | - Implementers: Utility Standard Offer Program |
| Measures/products, services, offerings | - Measure offerings: Solar PV - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the service provider, who then passes the rebates/incentives to the end-use customer at their discretion - Incentive values are calculated per-unit based on lifetime kW and kWh savings as defined by the Texas Technical Reference Manual. |
| QA/QC | - Pre-desk reviews for a census of projects - Post-on-site or desk inspections for a census of projects - Conducted by utility - The earlier pilot program required, "All projects must include an electrical meter to measure the energy produced by the solar electric system.” This data may be useful in evaluating the full program since the pilot and Solar PV SOP performance should be comparable. |

Table 84 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 84. Residential Solar Photovoltaic Standard Offer Program EM&V Plan

| Residential Solar PV SOP |  | 2024 |
| --- | --- | --- |
| Evaluation priority | The Residential Solar SOP is a high priority in PY2024. The savings are from deemed measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |

## Low-Income/Hard-to-Reach Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Low-Income and Hard-to-Reach program in the utility’s portfolio.

### Hard-to-Reach Standard Offer Program

Table 85. Hard-to-Reach Standard Offer Program Summary

| Hard-to-Reach SOP | Summary |
| --- | --- |
| Program description | The Hard-to-Reach SOP targets residences with household incomes at or below 200% of the federal poverty guidelines. Premises that are qualified as low-income are validated utilizing the qualification requirements listed in Texas TRM volume 5. This program is designed to achieve energy and demand savings with the installation of a wide range of energy-efficiency measures. Service Providers implement energy-saving projects in homes located in Oncor's service area. Incentives are paid to the Service Providers to help offset the cost of the energy efficiency measures. Common improvements include ceiling insulation and air infiltration mitigation measures that are installed at low or no cost to the customer. Service providers must test for air leakage before and after installation when installing air infiltration measures. Oncor provides the incentive directly to the Service Provider. Qualifying measures are similar to those described for the Home Energy Efficiency SOP, plus air infiltration measures. Also included is the replacement of existing HV AC units in multifamily apartment complexes with high-efficiency heat pumps. The same income qualifications (household incomes at or below 200 percent of current federal poverty level guidelines) apply to the multifamily apartment program option. |
| Target markets | - Market segments: Low-income residential customers - Eligibility criteria: Participants must have a total annual household income at or below 200 percent of the federal poverty level. - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Oncor markets to trade organizations, and project sponsors develop their own marketing materials |
| Implementation and delivery | - Implementers: Oncor |
| Measures/products, services, offerings | - Measure offerings: Attic insulation, caulking/weatherstripping, HVAC (central air conditioning, heat pumps, window air conditioning), water heaters, showerheads, wall insulation, water heater jackets. - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes the incentives to the end-use customers at their discretion. Incentives are savings-based, paid on a $-per-kW + $-per-kWh saved basis. |
| QA/QC | - Post-on-site inspections, with confidence level at the program manager's discretion - Conducted by Oncor and contracted inspectors |

Table 86 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 86. Hard-to-Reach Standard Offer Program EM&V Plan

| Hard-to-Reach SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program will receive a medium priority for PY2024 as the program has recently responded to TRM updates. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 4 |

### Low-Income Multi-Family Smart Thermostat Direct Install Market Transformation Program

Table 87. Low-Income Multi-Family Smart Thermostat Direct Install Market Transformation Program Summary

| Low-Income Multi-Family Smart Thermostat Direct Install MTP | Summary |
| --- | --- |
| Program description | The Low-Income Multifamily Smart Thermostat Direct Install MTP is focused on replacing existing HV AC thermostats with ENERGY ST AR qualifying Smart Thermostats in multifamily properties with low-income residents and individually metered units. The targeted program will support efforts to reduce the energy burden for low-income customers and to increase awareness of the program, including outreach to property owners, managers, and service providers, as well as HVAC contractors, housing agencies, and community organizations. The goals of the program will be achieved through a cross-cutting multi-program outreach effort that will allow service providers a similar experience whether directly installing in commercial, residential, or hard-to-reach target markets. |
| Target markets | - Market segments: multifamily property owners, managers, and service providers, as well as HVAC contractors, housing agencies, and community organizations. - Eligibility criteria: premises identified as qualified low-income multifamily complexes per the low-income validation requirements listed in Texas TRM Volume 5. |
| Marketing strategies and project sponsors | - Marketing strategies: Outreach to leading property management companies in Texas, HVAC contractors that specialize in multifamily replacements, community organizations, and HVAC equipment manufacturers |
| Implementation and delivery | - Implementers: Program implementer (TBD) |
| Measures/products, services, offerings | - Measure offerings: 2.2.8 ENERGY STAR® Connected Thermostats - Incentives: $125 per qualified and installed thermostat |
| QA/QC | - Inspections conducted by the utility; alternative: a photo of the unit installed or another pre-approved method of installation verification. - If the project is low-income, then the Program implementer will review the documentation to validate the project’s low-income status in compliance with the requirements listed in Texas TRM Volume 5. |

Table 100 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 88. Low-Income Multi-Family Smart Thermostat Direct Install Market Transformation Program EM&V Plan

| Low-Income Multi-Family Smart Thermostat Direct Install MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Low-Income Multi-Family Smart Thermostat Direct Install MTP program is a high priority in PY2024. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed with participants and REPs | Census sample to meet 90/10 |

### Low-Income HVAC Tune-up Market Transformation Program

Table 89. Low-Income HVAC Tune-up Market Transformation Program Summary

| Low-Income HVAC Tune-Up MTP | Summary |
| --- | --- |
| Program description | The Low-Income HVAC Tune-Up MTP is designed to overcome market barriers that prevent low-income residential customers from receiving high-performance air-conditioning system tune-ups. The program offers system tune-ups to low-income qualified customers at little to no additional cost to the customer to help alleviate the energy burden that most low-income customers face during the summer months. The program is designed to work through local networks to offer key program components, including: - Training and certifying technicians on the tune-up and airflow correction services and protocols. - Paying incentives to contractors for the successful implementation of a tune-up and air flow correction services. |
| Target markets | - Market segments: Residential - Eligibility criteria: Hard-to-Reach residential customers per the low-income validation requirements listed in Texas TRM Volume 5 |
| Marketing strategies and project sponsors | - Marketing strategies: The program implementer’s marketing approach for the program includes: - Marketing the program through contractors - Working with existing low-income weatherization program participants - Marketing the programs through market allies - Collaborate with Oncor on marketing campaigns. |
| Implementation and delivery | - Implementers: CLEAResult |
| Measures/products, services, offerings | - Measure offerings: Residential air conditioner and heat pump tune-ups measure listed in the Texas TRM volume 2 and airflow correction services. - Incentives: Paid to HVAC contactors through implementer. Incentives for HVAC tune up are between $125 - $150 per system for multifamily units and $200 per system for single family units. |
| QA/QC | - The program implementer will contact the customer directly to verify that the system was serviced according to the program requirements. - A statistically significant percentage of projects (estimated at five to eight percent) submitted by program-enrolled contractors selected randomly will be inspected. In addition, automated error checks are incorporated into the program applications and the program’s project database. - The program implementer will review and process 100 percent of the completed applications, isolating any documentation deficiencies or engineering issues before approving an incentive. |

Table 100 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 90. Low-Income HVAC Tune-up Pilot Management Market Transformation Program EM&V Plan

| Low-Income HVAC Tune-up Pilot MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Low-Income HVAC Tune-up Pilot MTP program is a high priority in PY2024. | High |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed with HVAC tune-up participants | Census sample to meet 90/10 |

### Targeted Weatherization Low-Income Standard Offer Program

Table 91. Targeted Weatherization Low-Income Standard Offer Program Summary

| Targeted Weatherization Low-Income SOP | Summary |
| --- | --- |
| Program description | The Targeted Low-Income Weatherization SOP program is designed to meet the program requirements outlined in PURA §39.905 and TAC §25.181 by working with community action agencies and program implementers. Oncor is implementing TLIW SOP through the Texas Association of Community Action Agencies, which provides funds to designated federal Weather Assistance Program sub-recipient agencies, enabling them to provide weatherization services to residential electric distribution customers of Oncor who have household incomes at or below 200 percent of current federal poverty level guidelines Energy efficiency measures installed include aerators, ceiling insulation, air infiltration, central air conditioning units, central heat pumps, floor insulation, ENERGY STAR refrigerators, dishwashers, clothes washers and windows, showerheads, window air conditioning units, wall insulation, water heater jackets, and water heater pipe insulation. The TLIW SOP also includes the replacement of HVAC units in multifamily apartment complexes with high-efficiency heat pumps for income-qualifying customers. The Targeted Weatherization Low-Income SOP provides weatherization and energy-efficiency measures to residential customers that meet the Department of Energy’s Weatherization Assistance program income-eligibility guidelines and cost-effectiveness criteria (savings-to-investment ratio). The utility contracts program implementers to conduct outreach, participant targeting, and program delivery, including home audits and installations. |
| Target markets | - Market segments: Residential HTR customers - Eligibility criteria: Participants must have a total annual household income at or below 200 percent of the federal poverty level. - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Project sponsors develop their own marketing materials. - Project sponsors: Texas Department of Housing and Community Affairs (TDHCA) sub-recipients and other not-for-profit community action and government agencies - Project sponsors: Designated federal Weather Assistance Program (WAP) sub-recipient agencies |
| Implementation and delivery | - Implementers: Texas Association of Community Action Agencies (TACAA) and EnerChoice |
| Measures/products, services, offerings | - Measure offerings: Attic insulation, duct sealing, and caulking/weatherstripping around doors and windows, central air conditioning units, central heat pumps, window air conditioning units, installation of ENERGY STAR refrigerators, solar window screens, wall insulation, water-saving devices, and water heater jackets - Technical assistance: At the discretion of the project sponsor, not part of the program design - Incentives: Provided to subrecipients that buys down the cost for end-use customers. |
| QA/QC | - Post-on-site inspections, with confidence level at the program manager's discretion - Conducted by Oncor, EnerChoice, and contracted inspectors |

Table 92 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 92. Targeted Weatherization Low-Income Standard Offer Program EM&V Plan

| Targeted Weatherization Low-Income SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | Senate Bill 1434 requires transmission and distribution utilities to spend ten percent of their energy-efficiency budget on targeted low-income weatherization programs. This program is a medium priority for impact assessment in PY2024. | Medium |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 2 |

## Residential Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Market Transformation program in the utility’s portfolio.

### Multi-Family Smart Thermostat Direct Install Market Transformation Program

Table 93. Multi-Family Smart Thermostat Direct Install Market Transformation Program Summary

| Multi-Family Smart Thermostat Direct Install MTP | Summary |
| --- | --- |
| Program description | The Multifamily Smart Thermostat Direct Install is focused on replacing existing HV AC thermostats with ENERGY STAR-qualifying Smart Thermostats in multifamily properties with a residential rate classification (individually metered). The program will support efforts to increase awareness of the program, including outreach to property owners, managers, and service providers, as well as HVAC contractors, housing agencies, and community organizations. The goals of the program will be achieved through a cross-cutting multi-program outreach effort that will allow service providers a similar experience whether directly installing in commercial, residential, or hard-to-reach target markets. |
| Target markets | - Market segments: multifamily property owners, managers, and service providers, as well as HVAC contractors, housing agencies, and community organizations. - Eligibility criteria: premises identified as residential multi-family complexes. |
| Marketing strategies and project sponsors | - Marketing strategies: Outreach to leading property management companies in Texas, HVAC contractors that specialize in multifamily replacements, community organizations, and HVAC equipment manufacturers |
| Implementation and delivery | - Implementers: EnerChoice |
| Measures/products, services, offerings | - Measure offerings: 2.2.8 ENERGY STAR® Connected Thermostats - Incentives: $125 per qualified installed smart thermostat |
| QA/QC | - Inspections conducted by the utility; alternative: a photo of the unit installed or another pre-approved method of installation verification. - If the project is low-income, then the Program implementer will review the documentation to validate the project’s low-income status in compliance with the requirements listed in Texas TRM Volume 5. |

Table 100 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 94. Multi-Family Smart Thermostat Direct Install Market Transformation Program EM&V Plan

| Multi-Family Smart Thermostat Direct Install MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Multi-Family Smart Thermostat Direct Install MTP program is a high priority in PY2024. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Consumption analysis: The EM&V team will conduct a targeted consumption analysis to evaluate energy and demand impacts. The PY2024 consumption analysis will help all stakeholders better understand the savings resulting from measures installed through this program and inform prospective updates to the TRM for PY2026. | Census |
|  | Participant surveys: Interviews will be completed with participants and REPs, if applicable | Census sample to meet 90/10 |

### Residential New Home Construction Market Transformation Program

Table 95. Residential New Home Construction Market Transformation Program Summary

| Residential New Home Construction MTP | Summary |
| --- | --- |
| Program description | Residential New Home Construction is a market transformation program designed to facilitate technical and financial assistance to home builders and energy raters to transform and deliver cost-effective energy savings on single-family new construction projects within the Oncor service territory. The program allows home builders and buyers the flexibility to take advantage of multiple technologies for efficient homes by incentivizing prescriptive measures, which include HVAC, heat pumps, smart thermostats, heat pump water heaters, ENERGY STAR EV supply equipment, ENERGY STAR appliances, and roof-mounted solar PV. The goal of the program is to increase the availability of high-performance new homes by aligning with nationally recognized above-code home programs such as ENERGY STAR-certified and DOE Zero Energy Ready (DOE ZER) single and multifamily homes. |
| Target markets | - Market segments: Residential home builders - Applications: New construction |
| Marketing strategies and project sponsors | - Marketing strategies: Oncor plans to market the availability of this program in the following manner: - Program implementers market direct to homebuilders and home energy rating providers through existing networks, homebuilders associations, and email solicitations. - Oncor maintains the Take a Load off Texas website and provides printed collateral for remote and in-person solicitation.. |
| Implementation and delivery | - Implementers: TRC Engineers, Inc |
| Measures/products, services, offerings | - Measure offerings: Whole House envelope, AHRI certified HVAC systems, ENERGY STAR Heat Pump Water Heaters, kitchen/laundry appliances, EVSE and solar PV. - Technical assistance: Oncor pays a stipend directly to RESNET HERS providers for providing program material and home energy efficiency guidance to homebuilders. HERS Raters are paid by homebuilders to act as their certified home energy experts. Program implementers provides best practices and guidance to HERS Raters, who in turn advise and consult homebuilders - Rebates/incentives: Fixed incentives for M&V based Whole House measure which requires eligibility with an above code certification program (ENERGY STAR and DOE Zero Energy Ready). Deemed measure incentives that target specific end uses are also available. |
| QA/QC | - Incentive application data is validated against the national RESNET HERS Registry of new homes, where only active, certified HERS Raters can submit. 10% of each Project is verified against field data for consistency with incentive application (a Project is a HERS Raters batch submission of homes). HVAC system efficiencies are validated against the AHRI database and appliance efficiencies are confirmed with the ENERGY STAR appliance database. |

Table 96 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 96. Residential New Home Construction Market Transformation Program EM&V Plan

| Residential New Home Construction MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Residential New Home Construction MTP will receive a low priority for PY2024. | Low |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |

### Retail Platform Market Transformation Program

Table 97. Retail Platform Market Transformation Program Summary

| Retail Platform MTP | Summary |
| --- | --- |
| Program description | The Retail Platform MTP provides incentives directly to residential customers through an online marketplace, in-store point-of-sale discounts, and retailer coupons for the purchase of ENERGY STAR-qualified products like smart thermostats, heat pump water heaters, room air conditioners, and more. The Program is partnership-based and delivers qualified product measures by contracting with major market manufacturers and through cooperation with their retail alliance partners. Oncor customers can find participating locations, obtain a coupon, or buy online by visiting www.smartsavingstx.com. 2024 Program Design Update: Incentives will no longer be offered on LED light bulbs due to the sunsetting of the measure in the Texas TRM. A pilot component to engage Retail Electric Providers as a delivery method for smart thermostats was added mid-year in 2024. |
| Target markets | - Market segments: Residential customers located in Oncor’s service territory - Applications: In-store purchases and online marketplace |
| Marketing strategies and project sponsors | - Marketing strategies: Oncor plans to market the availability of this program in the following manner: - Oncor’s program implementer contracts with major market manufacturers and their retailer alliance partners. - Marketing strategies also include digital marketing via Google and Meta ads, and Takealoadofftexas.com website |
| Implementation and delivery | - Implementers: CLEAResult - REP pilot component: Oncor |
| Measures/products, services, offerings | - Measure offerings: Advance Power Strips, ENERGY STAR appliances, including; SHEMS, Clothes Dryers, Clothes Washer, Thermostat, Heat Pump Water Heaters, Room AC and Air Purifier, as well as LED nightlights and pipe insulation - Technical assistance: A dedicated team of four customer service specialists support RPP & Marketplace that can be reached via email or phone, info@smartsavingstx.com or (888) 881-9020. - Rebates/incentives: In-store and online discounts directly to the customer |
| QA/QC | - Shipping reports are received from manufacturers, and CLEAResults field representatives actively visit stores to guarantee that products arrive on time and are placed on the shelves correctly. The field reps take the initiative to move products and set up point-of-purchase (POP) displays while documenting their efforts with photographs. The manufacturer partners send CLEAResult point-of-sale (POS) data, they are required to include a signed certification that confirms the accuracy of this information. This requirement solidifies our trust in their reporting. The POS data delivers essential insights into the date of sale, models sold, quantities, and store locations, empowering us to make strategic decisions that drive success. |

Table 98 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 98. Retail Platform Market Transformation Program EM&V Plan

| Retail Platform MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Retail Platform MTP will receive high priority for PY2024. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are program goals established appropriately, and will they be met? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 4 |
|  | Process interviews: The EM&V team will interview Oncor program design and delivery staff to understand successes and challenges of the REP pilot component. | 3 |

## Pilots

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Pilot program in the utility’s portfolio.

### Commercial Winter Load Management Standard Offer Program (Pilot)

Table 99. Commercial Winter Load Management Standard Offer Program (Pilot) Summary

| Commercial Winter Load Management SOP | Summary |
| --- | --- |
| Program description | The Commercial Winter Load Management SOP incentivizes participating service providers, aggregators, retail electric providers (REP), or end-use customers to curtail electric demand in the winter season. Participants must be available to curtail 24 hours a day, seven days a week, and be capable of curtailing load within 30 minutes' notice. The minimum load reduction that may be subscribed in the program is 100 kW. Participants must curtail a minimum of 90% of their contracted demand reduction across all events to be eligible for payment. Final program payments are determined by established program rules and TRM calculations. With the exception of the scheduled curtailment event, curtailments will be called during or in anticipation of an ERCOT EEA Level 2 event, or to assure Oncor grid stability (grid emergencies). |
| Target markets | - Market segments: Large commercial and industrial businesses - Eligibility criteria: - Each participant must subscribe at least 100 kW of load reduction. - Capable of curtailing within 30 minutes of notification. - The project must be serviced by an Oncor interval data recorder (IDR) or advanced meter. - The project must be located in Oncor’s service area. |
| Marketing strategies and project sponsors | - Marketing strategies: Direct outreach to customers, aggregation groups, and REPs. Account management organization to offer to managed accounts. |
| Implementation and delivery | - Implementers: Third-party implementer or individual customer |
| Measures/products, services, offerings | - Measure offerings: 2.6.2 Nonresidential Load Curtailment - Incentives are paid on a per kW-rate for actual curtailed load (or, in the event curtailment is not called, on a test event used to validate the availability of the load). |
| QA/QC | - Oncor does this by reviewing data recorded by electric meters and IDRs and calculating the demand savings achieved through the curtailment during the winter peak season. |

Table 100 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 100. Commercial Winter Load Management Standard Offer Program (Pilot) EM&V Plan

| Commercial Winter Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - How should utilities perform curtailment test with respect to a dual peak demand period? Are there outside regulations that prevent generator-based curtailments from testing during early morning or later evening hours? - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

### Residential Winter Load Management Standard Offer Program (Pilot)

Table 101. Residential Winter Load Management Standard Offer Program (Pilot) Summary

| Residential Winter Load Management SOP | Summary |
| --- | --- |
| Program description | The Residential Winter Load Management SOP is designed to help residences reduce their winter energy demand on the Oncor grid when needed and help meet state energy efficiency goals. Incentives are paid to residential participants who curtail their electricity demand during a scheduled curtailment event and during called curtailments throughout the winter period, which can occur 24/7 from December 1, 2023, through May 31, 2024. The peak period is defined as 6:00 a.m. to 10:00 a.m. and 6:00 p.m. to 10:00 p.m. The program is designed to be a load-shedding resource that helps prevent rolling curtailments during grid emergencies. The program is called when ERCOT anticipates or is in an EEA level 2 grid emergency. An EEA-2 is called just prior to rolling outages at EEA-3. With the exception of the scheduled curtailment event, curtailments will be called during or in anticipation of an ERCOT EEA Level 2 event, or to assure Oncor grid stability (grid emergencies). |
| Target markets | - Market segments: REPs A project is a group of eligible sites submitted by a participant. The project is assigned a unique identifier. - Eligibility criteria: - A project must include potential demand savings from at least 500 residential customers during the winter period. The minimum project size may be adjusted by Oncor based on program performance requirements. - Each eligible site is defined as an individual ESIID and meets the following criteria: - Located within the Oncor service territory. - Has an Oncor advanced metering infrastructure (AMI) or interval data recorder (IDR) meter to measure electricity demand. - On a residential service rate class. - Does not participate in an Electric Reliability Council of Texas (ERCOT) load curtailment program while enrolled in the Oncor program. - The residential customer has agreed to participate in a load management program. |
| Marketing strategies and project sponsors | - Marketing strategies: Outreach through REPs. |
| Implementation and delivery | - Implementers: Third-party implementer or individual customer |
| Measures/products, services, offerings | - Measure offerings: 2.6.1 Residential Load Curtailment - Incentives are paid on a per kW-rate for actual curtailed load (or, in the event curtailment is not called, on a test event used to validate the availability of the load). |
| QA/QC | - Oncor does this by reviewing data recorded by electric meters and IDRs and calculating the demand savings achieved through the curtailment during the winter peak season. |

Table 100 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 102. Residential Winter Load Management Standard Offer Program (Pilot) EM&V Plan

| Residential Winter Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - How should a dual peak period inform scheduling test events? - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

# TNMP

This section addresses the energy efficiency and load management portfolio for TNMP. The overall portfolio is summarized below, followed by details for each program in the portfolio.

## Portfolio Overview

Table 103 shows the projected energy and demand savings for the TNMP programs for PY2024.

Table 103. TNMP—PY2024 Projected Demand and Energy Savings

| Program category | Program name | Program type | PY2024 demand savings (kW) | Percentage of total portfolio (demand) | PY2024 energy savings (kWh) | Percentage of total portfolio (energy) |
| --- | --- | --- | --- | --- | --- | --- |
| Commercial MTP | Small Business MTP | Small Business DI | 600 | 4 | 1,392,875 | 10 |
| Commercial MTP | SCORE/CitySmart MTP | CitySmart/SCORE/Government MTP | 680 | 4 | 2,880,000 | 20 |
| Commercial MTP | Commercial Solutions MTP | Commercial Solutions MTP | 875 | 5 | 4,595,000 | 32 |
| Commercial Load Management | Winter Load Management Pilot | Commercial Load Management SOP | 1,500 | 9 | 1,500 | 0 |
| Commercial Load Management | Summer Load Management | Commercial Load Management SOP | 10,000 | 61 | 10,000 | 0 |
| LI/HTR SOP | Hard-to-Reach (HTR) SOP | HTR SOP | 473 | 3 | 817,000 | 6 |
| LI/HTR SOP | Low-Income Weatherization | Low-Income/HTR Weatherization Programs | 498 | 3 | 850,943 | 6 |
| Residential MTP | High-Performance Homes MTP | New Home Construction MTP | 532 | 3 | 1,453,177 | 10 |
| Residential SOP | Residential SOP | Residential SOP | 1,258 | 8 | 2,448,000 | 17 |

Next, we present two summary tables for each program in the TNMP portfolio. Each table provides a high-level overview of the applicable programs. The overview is based on a review of program documentation and discussions with utilities, PUCT, and implementation contractors. This information is followed by the Evaluation, Measurement, and Verification (EM&V) Plan for the program, which includes the evaluation priority, key researchable questions, and EM&V activities.

In addition to program-specific researchable questions listed in the EM&V Plan, the following researchable issues will be investigated portfolio-wide:

- What are the drivers of differences, if any, between claimed and evaluated savings?

- Are the program provisions for quality assurance and control adequate?

## Commercial Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Commercial Market Transformation program in the utility’s portfolio.

### Commercial Solutions Market Transformation Program

Table 104. Commercial Solutions Market Transformation Program Summary

| Commercial Solutions MTP | Summary |
| --- | --- |
| Program description | The Commercial Solutions MTP targets commercial customers (other than governmental and educational entities) that do not have the in-house expertise to (1) identify, evaluate, and undertake energy efficiency improvements, (2) properly evaluate energy efficiency proposals from vendors, or (3) understand how to leverage their energy savings to finance projects. Incentives are paid to TNMP customers or third-party contractors for eligible energy efficiency measures that are installed in new or retrofit applications, resulting in savings as defined by the Texas Technical Reference Manual ("TRM"). |
| Target markets | - Market segments: Commercial facilities (other than government and education) - Eligibility criteria: Commercial facilities within TNMP’s service territory - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP plans to market the availability of this program in the following manner: - contract with a third-party implementer to conduct outreach and planning activities; - target a number of customer participants; - conduct workshops for program participants and industry professionals as necessary to explain elements of the program, such as responsibilities of the participants, project requirements, incentive information, and the application and reporting process; - participate in regional outreach activities as may be necessary; and - attend appropriate industry-related meetings to generate awareness and interest. - Project sponsors: Partner required |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: HVAC, lighting, motors, window film, roofing, fuel switching, or others that may require M&V planning and metering - Technical assistance: Includes communications support in addition to identification and evaluation of energy efficiency measures - Rebates/incentives: Provided to the end-use customer or project sponsor - kW (demand savings): $50–$200 per kW (varies by measure type) - kWh (energy savings): $0.02–$0.04 per kWh (varies by measure type) |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects - Pre- and post-inspection conducted by a third-party implementer - In addition, some verification conducted by the utility |

Table 105 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 105. Commercial Solutions Market Transformation Program EM&V Plan

| Commercial Solutions MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Commercial Solutions MTP is a high priority in PY2024. The majority of savings are from deemed measures with some custom measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 3 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats and for HVAC tune-ups | Census sample to meet 90/10 |

### SCORE/CitySmart Market Transformation Program

Table 106. SCORE/CitySmart Market Transformation Program Summary

| SCORE/CitySmart MTP | Summary |
| --- | --- |
| Program description | The SCORE/CitySmart MTP provides energy efficiency and demand reduction solutions for school and local government customers. The program is designed to help educate and assist these customers in lowering their energy use by facilitating the integration of energy efficiency into their short and long-term planning, budgeting, and operational practices. The program provides assistance in areas such as energy master planning; energy performance benchmarking; and identifying, assessing, and implementing energy efficiency measures. Energy efficiency improvements include capital-intensive projects and implementing operational and maintenance practices and procedures. Financial incentives are provided for energy efficiency measures that reduce peak electricity demand. |
| Target markets | - Market segments: Education and government facilities - Eligibility criteria: Education and government facilities within TNMP’s service territory - Applications: Retrofit or new construction projects |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP plans to market the availability of this program in the following manner: - Coordinates with internal resources (i.e., employees, designers, and customer liaisons); - contract with a third-party implementer to conduct outreach and planning activities; - target a number of customer participants; - participate in regional outreach activities as may be necessary; and - attend appropriate industry-related meetings to generate awareness and interest. - Project sponsors: Utility |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: HVAC, lighting, motors, variable frequency drives, window film, roofing, or others that may require M&V planning and metering - Technical assistance: Includes communications support, financing assistance, performance benchmarking, and energy master planning workshops, in addition to identifying energy efficiency measures. - Rebates/incentives: Provided to the end-use customer |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects - Pre- and post-inspection conducted by a third-party implementer - In addition, some verification conducted by the utility |

Table 107 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 107. SCORE/CitySmart Market Transformation Program EM&V Plan

| SCORE/CitySmart MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The SCORE/CitySmart MTP is a high priority in PY2024. The majority of savings are from deemed measures with some custom measures. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 3 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats and for HVAC tune-ups | Census sample to meet 90/10 |

### Small Business Market Transformation Program

Table 108. Small Business Market Transformation Program Summary

| Small Business MTP | Summary |
| --- | --- |
| Program description | The Open for Small Business MTP assists small business customers that do not have the in-house capacity or expertise to (1) identify, evaluate, and undertake energy efficiency improvements; (2) properly evaluate energy efficiency proposals from vendors; or (3) understand how to leverage their energy savings to finance projects. Financial incentives are provided directly to the contractor, thereby reducing a portion of the project cost for the customer. Small-sized customers (<200 kW) tend to implement smaller projects with lower savings, which creates program cost-effectiveness challenges to providing one-on-one technical assistance to this market. The Small Business MTP provides the direct support, tools, and training necessary to contractors to pursue small commercial customers. |
| Target markets | - Market segments: Small commercial facilities - Eligibility criteria: Small commercial facilities within TNMP’s service territory and with peak demands ≤200 kW - Applications: Retrofit |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP plans to market the availability of this program in the following manner: - maintain a website containing the requirements for project participation, forms required for project submission, and the links to databases containing currently-available funding; and - leverage small business associations, government agencies, and service providers to serve program customers. - Project sponsors: Contractors |
| Implementation and delivery | - Implementers: CLEAResult is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: HVAC (and controls), lighting (and controls), roofing, refrigeration, and food service - Technical assistance: Energy assessment provided by the contractor - Rebates/incentives: Provided to the contractor - kW (demand savings): $550–$700 per kW (varies by measure type) - Program direct install: Direct install approach |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of projects of the first five projects, and ongoing 100 percent of documentation and 20 percent of installations - Pre- and post-inspection conducted by a third-party implementer - In addition, some verification conducted by the utility |

Table 109 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 109. Small Business Market Transformation Program EM&V Plan

| Small Business MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The Small Business MTP is a low priority in PY2024. The savings are from deemed measures. | Low |
| Key researchable issues | - What are the challenges and opportunities to serve this hard-to-reach business sector? - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? - Is the current mixture of rebated measures still appropriate, or could some measures be included or removed? - What changes to the program design and delivery may improve program performance? - Have the changes in equipment baselines affected the program’s ability to meet goals? Are there viable strategies the program can adopt in order to adapt to the changing codes and standards climate to meet and exceed set goals given the new baselines? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for a sample of projects. Ensure all project activity is included and check for consistency with reported savings in annual utility reports. | Census |
|  | Desk reviews: For a sample of projects, review savings calculations, along with other available project documentation, to independently estimate energy savings and develop project-level realization rates. | 0 |
|  | Participant surveys: Interviews will be completed with participants for smart thermostats and participants and contractors for HVAC tune-ups | Census sample to meet 90/10 |

## Load Management

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Load Management program in the utility’s portfolio.

### Summer Load Management SOP

Table 110. Summer Load Management Standard Offer Program Summary

| Summer Load Management SOP | Summary |
| --- | --- |
| Program description | The Summer Load Management Program ("SLMP"), formerly the Load Management SOP) was launched in 2009 in accordance with 16 TAC § 25.181, which authorizes participating Project Sponsors (customers or third-party sponsors) to provide on-call, voluntary curtailment of electric consumption during peak demand periods in return for incentive payments. The program has been renamed to avoid confusion with the Winter Load Management Pilot Program. Incentives are based on verified demand savings that occur at TNMP distribution sites or eligible institutional customers' sites as a result of calls for curtailment. Customers are not required to produce a specific level of curtailed load but will only receive payments for the lesser of the amount of curtailed load produced or contracted. |
| Target markets | - Market segments: Commercial and industrial businesses - Eligibility criteria: - TNMP prefers that project sponsors be capable of providing at least 50 kW of peak demand reduction at each site for which load reduction is offered into the program. However, TNMP may accept applications, including sites providing less than 50 kW of peak demand reduction to meet its peak load reduction targets. - Customers must have an interval data recorder or AMS meter. - All included project sites must be nonresidential customers of TNMP taking service at the distribution level or nonprofit customers or government entities, including educational institutions. - Applications: Accepted annually |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP plans to market the availability of this program in the following manner: - maintain a website containing the requirements for project participation, forms required for project submission, and the links to databases containing currently-available funding; and - leverage of retail providers. - Project sponsors: National or local EESPs, REPs, or individual customers identifying interruptible load in their own facilities. |
| Implementation and delivery | - TNMP is the program implementer. |
| Measures/products, services, offerings | - Measure offerings: N/A - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: TNMP will pay a participating customer (or the project sponsor, if different) $40 per kW of verified curtailed load each year of participation |
| QA/QC | - TNMP will verify actual demand savings from interruptions. |

Table 111 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 111. Summer Load Management Standard Offer Program EM&V Plan

| Summer Load Management SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. | Census |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

### Winter Load Management Standard Offer Program

Table 112. Winter Load Management Standard Offer Program Summary

| Winter Load Management Standard Offer Program | Summary |
| --- | --- |
| Program description | The TNMP Winter Load Management Standard Offer Program ("WLMPP") was launched in December 2021 with an operating period of December 1, 2021-February 28,2022 in accordance with Senate Bill 33, which, among other things, requires the Commission to "allow a transmission and distribution utility to design and operate a load management program for nonresidential customers to be used where the independent organization certified under [PURAI Section 39.151 for the ERCOT power region has declared a level 2 Emergency or higher level of emergency or has otherwise directed the transmission and distribution utility to shed load." The WLMPP operated from December 1,2022-February 28, 2024, under the energy efficiency portfolio in accordance with 16 TAC § 25.181, which authorizes participating Project Sponsors (customers or third-party sponsors) to provide on-call, voluntary curtailment of electric consumption during peak demand periods in return for incentive payments. Incentives are based on verified curtailed demand savings that occur as a result of calls to request curtailment. Customers are not required to produce a specific level of curtailed load but will only receive payments based on verified demand savings of the contracted amount of curtailable load. |
| Target markets | - Market segments: Commercial and industrial businesses - Eligibility criteria: - TNMP prefers that project sponsors be capable of providing at least 50 kW of peak demand reduction at each site for which load reduction is offered into the program. However, TNMP may accept applications, including sites providing less than 50 kW of peak demand reduction to meet its peak load reduction targets. - Customers must have an interval data recorder or AMS meter. - All included project sites must be nonresidential customers of TNMP taking service at the distribution level or nonprofit customers or government entities, including educational institutions. - Applications: Accepted annually |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP plans to market the availability of this program in the following manner: - Utilize mass electronic mail (e-mail) notifications to keep potential participants interested and informed - Maintain a website containing the requirements for project participation, forms required for project submission, and the links to databases containing currently-available funding. - Project sponsors: National or local EESPs, REPs, or individual customers identifying interruptible load in their own facilities. |
| Implementation and delivery | - TNMP is the program implementer. |
| Measures/products, services, offerings | - Measure offerings: N/A - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: TNMP will pay a participating customer (or the project sponsor, if different) $40 per kW of verified curtailed load each year of participation |
| QA/QC | - TNMP will verify actual demand savings from interruptions. |

Table 111 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 113. Winter Load Management Standard Offer Program EM&V Plan

| Winter Load Management Standard Offer Program | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The load management program is a medium priority in PY2024. | Medium |
| Key researchable issues | - Are sponsor-provided savings inputs and parameters accurate? - Are utility verification regimes sufficient and reliable? |  |
| Program evaluation approach | Program tracking data review: Review data for accuracy and alignment with demand interval metered data. | Census |
|  | Metered data review: Program rules require the installation of demand interval metering to record real-time participant demand profiles. A review of these data will verify program tracking data. |  |
|  | Data reviews: Review participant interval-load data. Periods ahead of, during, and following load interruption notices will verify load reduction and persistence during demand response events and provide a comparison to similar-condition non-interrupt baseline days to validate impact estimates. | Census |

## Residential Market Transformation

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Market Transformation program in the utility’s portfolio.

### High-Performance Homes Market Transformation Program

Table 114. High-Performance Homes Market Transformation Program Summary

| High-Performance Homes MTP | Summary |
| --- | --- |
| Program description | The High-Performance Homes MTP provides financial incentives and other types of assistance to production and custom homebuilders who commit to constructing homes within the TNMP service territory that meet program specifications. The homebuilder’s primary responsibility is to design, build, and market homes that comply with program requirements and achieve a five percent kWh savings or greater over the Texas baseline. The rater’s primary responsibility is to work with homebuilders to facilitate the construction of ENERGY STAR®-certified and high-performance homes that meet the performance requirements for the program. Incentives are paid to builders to improve the home's overall efficiency compared to the Texas baseline home defined in the Texas TRM. The program includes an alternate qualification method for midstream HVAC installations that focuses solely on the HVAC systems in new homes. |
| Target markets | - Market segments: Homebuilders, raters, and HVAC contractors - Eligibility criteria: TNMP's program is for builders and raters who build new homes in TNMP’s service territory. To be eligible, builders must: - submit required documentation from energy-rating software, - provide a copy of Air Conditioning, Heating, and Refrigeration Institute certificates, and - provide ENERGY STAR certificates, if applicable. - Midstream HVAC homes must meet a minimum SEER/HSPF requirement. - To be eligible for payment, homes must: - be located within TNMP's service territory; - have achieved five percent kWh savings over the Texas residential baseline home, and - not have received an incentive from any other utility or another TNMP program. - Bonus incentives are available for: - foam encapsulated envelope, R-13 walls, and R-21 ceiling; - ENERGY STAR Version 3.1 certification; and - right-sized HVAC. - Applications: New home construction applications |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP markets the availability of its programs in the following manner: - utilizing mass electronic mail (email) notifications to keep potential builders interested and informed; - maintaining a website with detailed builder eligibility, end-use measures, incentives, and procedures; and - participating in statewide outreach activities, as may be available. - Project sponsors: N/A |
| Implementation and delivery | - Implementers: ICF is the third-party implementer; Frontier Energy is the data source. |
| Measures/products, services, offerings | - Measure offerings: This is a whole-house program based on achieving a five percent kWh savings or having a valid ENERGY STAR Version 3.1 certificate. - Technical assistance: Builders must work with raters. - Rebates/incentives: Paid directly to participating builders (whole house option) or HVAC contractors (midstream option) |
| QA/QC | - QA/QC conducted by ICF; three percent post-on-site inspection; ten percent sample of all paperwork turned in. |

Table 115 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 115. High-Performance Homes Market Transformation Program EM&V Plan

| High-Performance Homes MTP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | The program is receiving a high evaluation priority in PY2024. | High |
| Key researchable issues | - How is the program adapting to the changing codes and standards climate? Are there viable strategies the program can adopt to meet and exceed set goals given the new baselines? Have changes in residential baselines affected the program's ability to meet goals? - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Are goals established appropriately, and will they be met? - To what degree is the program encouraging adopting energy-efficient technologies that would otherwise not have occurred? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of homes, review the energy model inputs, savings claims, and supporting documentation. | 0 |
|  | Process surveys: interviews with builders and raters | 3 |

## Residential Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Residential Standard Offer program in the utility’s portfolio.

### Residential Standard Offer Program

Table 116. Residential Standard Offer Program Summary

| Residential SOP | Summary |
| --- | --- |
| Program description | The Residential SOP provides incentives for the retrofit installation of a wide range of measures that reduce energy costs, reduce peak demand, and save energy in residential facilities. |
| Target markets | - Market segments: Residential customers <100 kW maximum demand - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP markets the availability of its programs in the following manner: - utilize mass email notifications to keep potential project sponsors interested and informed; - maintain internet website with detailed project eligibility, end-use measures, incentives, procedures, and application forms; - attend appropriate industry-related meetings to generate awareness and interest; - participate in state-wide outreach activities as may be available; and - conduct workshops as necessary to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process. Project sponsors develop their own marketing materials. - Project sponsors: A wide range of contractors, service companies, community agencies, and other organizations or local companies that provide energy-related products. |
| Implementation and delivery | - Implementers: Frontier Energy |
| Measures/products, services, offerings | - Measure offerings: Commission-approved measures included in the statewide TRM for the residential customer class are eligible under this SOP, including attic insulation, caulking/weatherstripping, air conditioning, heat pumps, water heaters, ENERGY STAR windows, refrigerators, dishwashers, clothes washers, solar window screens, wall insulation, floor insulation, water heater jackets, and renewable energy sources. - Technical assistance: At the discretion of the program manager, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives to the end-use customer at their discretion |
| QA/QC | - Pre- and post-on-site inspections for ten percent of submitted invoices - Conducted by Frontier Energy |

Table 117 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 117. Residential Standard Offer Program EM&V Plan

| Residential SOP |  | 2024 |
| --- | --- | --- |
| Evaluation priority | This program will receive a high priority for PY2024 as the program has recently responded to TRM updates. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of homes, review the energy model inputs, savings claims, and supporting documentation. | 2 |

## Low-Income/Hard-to-Reach Standard Offer

This section includes a program summary and the details of the activities to be performed as part of the evaluation of each Low-Income and Hard-to-Reach program in the utility’s portfolio.

### Hard-to-Reach Standard Offer Program

Table 118. Hard-to-Reach Standard Offer Program Summary

| Hard-to-Reach SOP | Summary |
| --- | --- |
| Program description | The Hard-to-Reach SOP pays project sponsors for certain measures to be installed in primarily retrofit applications, specifically for customers with total annual household incomes at or below 200 percent of the federal poverty level. The utility has a limited group of participating project sponsors determined through a selection process based on an application process, including customer feedback. |
| Target markets | - Market segments: HTR residential customers - Eligibility criteria: Participants must have a total annual household income at or below 200 percent of the federal poverty level. Multifamily residences will qualify if at least 75 percent of residences qualify. - Applications: Retrofit |
| Marketing strategies and project sponsors | - Marketing strategies: TNMP markets the availability of its programs in the following manner: - utilizes mass email notifications to keep potential project sponsors interested and informed; - maintain a website with detailed project eligibility, end-use measures, incentives, procedures, and application forms; - attend appropriate industry-related meetings to generate awareness and interest; - participate in state-wide outreach activities as may be available; and - conduct workshops as necessary to explain elements such as the responsibilities of the project sponsor, project requirements, incentive information, and the application and reporting process. Project sponsors develop their own marketing materials. - Project sponsors: A wide range of contractors, service companies, community agencies, and other organizations. |
| Implementation and delivery | - Implementers: Frontier Energy is the third-party implementer. |
| Measures/products, services, offerings | - Measure offerings: Envelope measures (insulation, attic encapsulation, cool roof, windows), HVAC measures (air conditioning, A/C tune-ups, variable speed drives), water heating (clothes washers, low-flow showerheads and faucet aerators, heat pump water heater), refrigerators, LEDs. - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives to the end-use customer at their discretion |
| QA/QC | - Pre- and post-on-site inspections for ten percent of submitted invoices - Conducted by Frontier Energy |

Table 119 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 119. Hard-to-Reach Standard Offer Program EM&V Plan

| Hard-to-Reach SOP | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | This program will receive a high priority for PY2024 as the program has recently responded to TRM updates. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | - Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | - Desk reviews: For a sample of homes, review the energy model inputs, savings claims, and supporting documentation. | 1 |

### Low-Income Weatherization Program

Table 120. Low-Income Weatherization Program Summary

| Low-Income Weatherization Program | Summary |
| --- | --- |
| Program description | The Low-Income Weatherization program provides weatherization and energy-efficiency measures to residential customers that meet the Department of Energy’s (DOE) Weatherization Assistance program income-eligibility guidelines and cost-effectiveness criteria (savings-to-investment ratio). The utility contracts with Frontier Energy, which then contracts with local government organizations and not-for-profit agencies to deliver weatherization services. |
| Target markets | - Market segments: Low-income residential customers - Eligibility criteria: Receives electric power service through the utility's system; meets DOE income-eligibility guidelines (i.e., 200 percent of the federal poverty level); qualified through service provider's guidelines - Applications: Retrofit applications |
| Marketing strategies and project sponsors | - Marketing strategies: Low-income advocates throughout TNMP's service territory will be called upon to participate. Workshops and database training will occur, and updates to policies and procedures will occur annually, as needed. - Project sponsors: Texas Department of Housing and Community Affairs (TDHCA) sub-recipients and other not-for-profit community action and government agencies |
| Implementation and delivery | - Implementers: Frontier Energy |
| Measures/products, services, offerings | - Measure offerings: Attic insulation, central air conditioning replacement, CFLs, electric water heater measures, infiltration control, refrigerator replacement, solar screens, wall insulation, and window air conditioning replacement - Technical assistance: At the discretion of the project sponsor, not part of the program design - Rebates/incentives: Provided to the project sponsor, who then passes rebates/incentives on at their discretion to the end-use customer. |
| QA/QC | - Pre- and post-on-site inspections for 100 percent of submitted invoices - Conducted by Frontier Energy |

Table 121 documents the key researchable issues to be addressed in the evaluation, along with the impact methodologies and primary data collection activities.

Table 121. Low-Income Weatherization Program EM&V Plan

| Low-Income Weatherization Program | Description | 2024 |
| --- | --- | --- |
| Evaluation priority | Senate Bill 1434 requires transmission and distribution utilities to spend ten percent of their energy-efficiency budget on targeted low-income weatherization programs. This program is receiving a high priority for PY2024. | High |
| Key researchable issues | - How is program data handled? Is all data being tracked accurately and effectively? How does the program manage and store supplemental data? Is there room for improvement to make the data entry and storage process more streamlined and effective? - Which measures have been installed, and what type of equipment did they replace? |  |
| Program evaluation approach | Program tracking system review: Review tracking data for accuracy and confirm that estimated savings concur with TRM. | Census |
|  | Desk reviews: For a sample of homes, review the energy model inputs, savings claims, and supporting documentation. | 1 |

###### Data Management Process

Figure 2 details the data management process.

Figure 2. Data Management Process

###### Cost-Effectiveness Calculations

This appendix describes the calculations that will be used for modeling cost-effectiveness. This approach provides the PUCT with a consistent methodology for evaluating cost-effectiveness across the utilities.

            - Approach

The approach to the EM&V team’s benefit-cost testing is based on 16 Tex. Admin. Code § 25.181, where costs and benefits are defined in section (d):

“The cost of a program includes the cost of incentives, measurement and verification, any shareholder bonus awarded to the utility, and actual or allocated research and development and administrative costs. The benefits of the program consist of the value of the demand reductions and energy savings, measured in accordance with the avoided costs prescribed in this subsection. The present value of the program benefits shall be calculated over the projected life of the measures installed or implemented under the program.”

This description is consistent with the PACT. Based on this definition, we will collect actual program year costs reported in the utilities’ Energy Efficiency Plan and Reports. The program benefits must be calculated at a measure level in order to apply individual effective useful lives. Therefore, the savings will be derived from the EM&V database, which is a comprehensive, centralized source of the utilities’ program tracking data.

The present value of the benefits is calculated separately for energy savings and demand reductions, as follows:

PV=ACWACC-E1-1+E1+WACCn

Where:

AC is the avoided cost of the benefit (energy savings or demand reductions).

The discount rate, WACC, is the utility’s weighted average cost of capital.

E is the escalation rate.

n is the effective useful life of the measure.

The EM&V team has provided results for benefit-cost calculation using an escalation rate of two percent and without an escalation rate.

The benefit-cost ratio is calculated as:

BC=PVe+PVdC

Where:

PVe is the present value of the avoided energy costs.

PVd is the present value of the avoided demand costs.

C is the total program cost, including incentives, administrative, EM&V, shareholder bonus, and research and development (R&D) costs.

Some costs are reported by the utilities at the portfolio level, such as R&D and shareholder bonus costs. These costs are attributed to individual programs based on each program’s incentive costs as a percentage of the portfolio. EM&V costs are distributed among utility programs by the EM&V team based on the programs’ share of energy savings and evaluation priority.

            - Savings-to-Investment Ratio

Targeted low-income energy efficiency programs are run by all unbundled transmission and distribution utilities—specifically, the ERCOT utilities. These programs are evaluated using the savings-to-investment ratio (SIR) rather than the PACT described above.

The SIR is significantly different in both the benefits and costs included. The benefits are comprised of the customer’s avoided energy costs, which means that the retail electric rate is used rather than the utility’s avoided cost, and there is no cost associated with avoided demand. Rather than the WACC, the SIR uses a societal discount rate of three percent. The only costs included are the incentives paid to the weatherization agencies.

Average retail rates paid by customers will be updated annually based on data from the Energy Information Administration, the Bureau of Labor Statistics, and the PUCT.

            - Net Savings

EM&V researched net-to-gross (NTG) ratios as described in this EM&V Plan will be used to calculate cost-effectiveness based on net savings at the IOU program-level.

###### QA/QC Protocols

This appendix documents the quality assurance/quality control (QA/QC) protocols established for the PUCT Evaluation, Measurement, and Verification (EM&V) team for reporting claimed and evaluated impacts. Although quality control is a function of all evaluation stages (e.g., populating the EM&V database, sampling, and analysis), this appendix focuses on the QA/QC processes within the reporting stage. A QA/QC team, led by the Tetra Tech reporting lead, is developed and accountable for ensuring all QA/QC protocols are being followed.

Below, we summarize the specific activities that are subject to QA/QC processes. Note that these QA/QC processes focus on the accuracy of data; this section does not address methodological issues.

Accuracy of ex-ante program data. The EM&V team is housing data, analysis, and reporting functions within the EM&V database. Data is provided by program implementers, read into the database in raw form, and organized for analysis. The database centrally stores the claimed (ex-ante) savings, which are used for sampling and reporting those claimed savings. Data is provided to the EM&V team quarterly. The EM&V team characterizes the data received in terms of energy savings, demand reductions, and participants served, and reports the information within the detailed research plans; these detailed research plans are delivered to the utilities for review and confirmation that the population data is accurate. Inaccurate population data may indicate missing data, errors in the data importation process, or misunderstanding of the data fields.

Responsibility: program leads

Accountability: QA/QC team

Consulted: utility staff, implementation contractors, and EM&V project manager

Application of verification rates and net-to-gross (NTG) ratios. The impacts are generated in the EM&V database. The database categorizes measure-level information in the format it was provided to the EM&V team per the data acquisition process. Although projects may be sampled and verified at the measure level, the EM&V team conducts impact evaluations to obtain and report verification and NTG estimates at the utility and program-type level, which is then aggregated and reported at the program-group level.

These impact estimates are provided by the program leads and stored in two locations. First, the program leads enter the impact results within an Excel tracking sheet stored on the SharePoint site. The Excel tracking sheet includes the following fields: program year (PY), utility, program group, program type, measure group, program lead, verification rate, NTG ratio, report source of verification rate, report source of NTG ratio, and modification date. Only one sheet maintains current impact information. If data is updated throughout the process, the outdated records are moved to a separate worksheet within that file. Doing so ensures that one sheet maintains the correct rates and any modifications are documented, including the reason for the modification.

Second, the EM&V database includes an interface where program leads directly enter their impact results. These results are then stored and applied against the claimed savings to calculate the evaluated gross and evaluated net results for the annual reporting.

By creating a two-stage impact reporting process, the EM&V team has built a point of verification of the data into the process. The evaluated and net savings results are directly calculated out of the EM&V database using the rates supplied within the web interface. The EM&V team then verifies that the results are as expected using the values documented within the Excel impact reporting file. Should the results differ, the QA/QC team may refer to the original source to verify the results.

Responsibility: program leads

Accountability: QA/QC team

Consulted: impact leads, EM&V data lead, and project manager

Accuracy of reported savings. As documented in the report outline, program impacts are aggregated and reported in various ways. At the most aggregate level, the data is reported by program group overall and then by utility. At the most granular level, the data is reported by program group for each utility. The annual report, therefore, represents impacts in over 100 tables. It is critical to spend considerable time conducting QA/QC against those reported values.

The EM&V database calculates the full-year claimed savings by utility, program type, and program group. Although claimed savings are documented in quarterly detailed research plans, adjustments made in claimed savings often occur throughout the year. Therefore, it is necessary to calculate the full PY claimed savings and verify our results against the utility-claimed data, which is reported to the PUCT. The EM&V team requests that the utilities provide their draft claimed savings to verify against the reported claimed savings within the EM&V database. Any differences in the evaluation and utility claimed savings are clearly documented within the report.

All results tables are cross-referenced to ensure the results true up and are consistent with each other. For example, the sum of all residential MTPs evaluated net savings documented within the utility-specific sections should equal the residential MTP results captured in Technical Reference Manual (TRM) Volume 1. The QA/QC team develops a checklist of tables that are cross-checked against which sources (i.e., EM&V database, EEPRs, etc.) and systematically goes through this checklist throughout the report-proofing process.

Although not a specific QA/QC function, the team’s development of these reporting functions with the overarching goal of ensuring transparency inherently allows for ad hoc QA/QC checks by the PUCT, utilities, implementation contractors, or other interested parties. For example, the EM&V database can export results and resulting calculations within easy-to-use Excel files. In addition, impact-related reports tie back to results clearly for a secondary review.

Responsibility: utilities (for providing claimed savings) and program leads (for verifying claimed impacts provided)

Accountability: QA/QC team (for final review and cross-checks of impact tables)

Consulted: impact leads, EM&V data lead, utilities, and EM&V project manager.

###### EM&V Team Staffing

This appendix summarizes the EM&V team organization by task and team member for PY2024.

- D.1 Team Organization

The EM&V team brings substantial expertise and resources, but the effective structure of the EM&V team is equally important. Effective management ensures strong communication and responsiveness to the PUCT, utilities, and other stakeholders. Based on our experience managing other portfolio evaluations of similar size and scope and the strong, established working relationships among the EM&V team members, we developed a staffing and subcontracting plan to operate as one fully integrated team.

The management plan in the organizational chart below (Figure 3) was strategically developed to ensure quality and clear lines of responsibility and accountability.

Figure 3. EM&V Team Organizational Chart

The project director is the primary point of contact for the PUCT and takes the lead in evaluation planning, reporting, and representing the EM&V team. She orchestrates the project by ensuring the EM&V team understands the PUCT’s needs and that resources are in place to meet these needs. Due to the breadth and depth of the EM&V effort, the project director is supported by the leads for the following areas: EM&V data, residential and nonresidential sectors, TRM, load management and net-to-gross, and process. This structure optimizes the use of our team’s deep technical expertise while maintaining consistency and realizing cost efficiencies.

This document is subject to change based on the needs of the PUCT, industry conditions or regulatory conditions.

Where sampling other than census is proposed, sample sizes will be designed to meet, at a minimum, the 90/10 confidence interval at the IOU portfolio level specified in the RFP.

While on-sites are foundational to the EM&V research and will be conducted all four calendar years, there is not sufficient time before impact reporting to complete on-site M&V for PY2024. On-sites across all IOUs are planned to begin in 2025 with PY2025 participants.

The EM&V team and PUCT Staff are exploring with IOUs the possibility of incorporating EM&V participant surveys into program delivery.

The EM&V team will interview IOU program design and delivery staff only, but will support IOUs in developing questions to interview Retail Electric Providers (REPs) to gather feedback as applicable for their pilots and engagement. The EM&V team and PUCT Staff are exploring with IOUs the possibility of incorporating participant surveys into program delivery.

It is industry standard practice to deem the net-to-gross ratio for low-income customers at 1 given the affordability barriers faced and therefore NTG questions are not planned at this time for these households.

At this time, our proposed geography sampling strata approach is to group projects into ‘metro’, ‘outside-of-metro’ and ‘rural’ geographies to sample across population areas that may affect program services. Given competing priorities and condensed timeline at the beginning of the four-year contract period, we are proposing the geography sampling strata is discussed and first implemented starting with PY2026.

Performance bonuses as an input into cost-effectiveness testing came into effect in 2012.

Program categories are currently defined as nonresidential, residential, low-income, load management, and pilot.

The planned process activities will update the retail electric provider (REP) research conducted in 2015 as part of the PY2014 EM&V scope.

See AEP Texas’ Application to Adjust Its Energy Efficiency Cost Recovery Factor filed on May 31, 2024, under Docket Number 56553. AEP Texas also filed an Amended Schedule S on June 6, 2024, under Docket Number, 56553.

See CenterPoint Energy’s Application to Adjust Its Energy Efficiency Cost Recovery Factor filed on May 31, 2024 under Docket Number 56690.

See Oncor Electric’s Application to Adjust Its Energy Efficiency Cost Recovery Factor filed on May 31, 2024 under Docket Number 56682.

Includes Emergency Load Management Standard Offer Program.

See Texas-New Mexico Power’s Application to Adjust Its Energy Efficiency Cost Recovery Factor filed on May 31, 2024, under Docket Number 56657.