## Slide 1: Public Utility Commission of Texas
Evaluation, Monitoring & Verification (EM&V) of the Texas Investor-Owned Utilities’ Energy Efficiency Portfolios
Energy Efficiency Implementation Project
October 12, 2021

## Slide 2: Agenda
PY2020 Key Findings and Recommendations
PY2021 EM&V Overview

## Slide 3: PY2020 Energy Efficiency Programs
EM&V Key Findings
& Recommendations

## Slide 4: lifetime savings cost of $0.02 kWh and $11.56 per kW.
Saved
695,012,552 kWh
Reduced demand by
536,770 kW
Notes: Average Texas house uses about 20,000 kWh annually (estimates vary) or about 28,000 homes
Average coal plant is about 600 MW so a small power plant

## Slide 5
Notes: Average Texas house uses about 20,000 kWh annually (estimates vary) or about 28,000 homes
Average coal plant is about 600 MW so a small power plant

## Slide 6: Savings by Program type

## Slide 7: PY2020 saw Highest Demand Reductions AND energy savings.
Demand Reductions and Energy Savings
2016 – 2020

## Slide 8: Statewide Cost-effectiveness was 4.0, ranging from 3.3 to 5.0 across utilities
2020 Cost-Benefit Ratio & Cost of Lifetime Savings
Evaluated Cost-Effectiveness

## Slide 9: Lighting, HVAC, & building shell improvements are delivering the most savings over time.
PY2012—2048 Lifecycle Energy Savings by End Use (GWh)

## Slide 10: EM&V Infrastructure
Senate Bill 1125 2011
established the requirement for an EM&V framework
Rule-making 2012
Commission Energy Efficiency Rule 25.181
PUCT selects and manages EM&V
Annual EM&V since PY2012

## Slide 11: EM&V Scope
Census tracking system savings verification with additional activities prioritized by program
Verify gross energy and demand savings for all energy efficiency and load management programs
Determine program and portfolio cost-effectiveness
Prepare and maintain a statewide Technical Reference Manual (TRM)
Estimate net savings
Provide information to improve program performance
Provide ongoing support for M&V plans, savings calculation tools, deemed savings petitions, and implementation guidance
Engineering desk reviews, interval meter data analysis, in-depth interviews

## Slide 12: EValuated and Claimed Savings WERE similar
The utilities have demonstrated a willingness to work with the EM&V team
upfront M&V reviews or additional technical assistance or input can reduce uncertainty in savings estimates

## Slide 13
Thirty-one recommendations from the PY2020 EM&V for PY2022 implementation
(§ 25.181(o)(9)).

## Slide 14
Commercial Program Recommendations
custom projects,
measurement and verification (M&V) projects,
Recommissioning (RCx) projects,
lighting projects, and
consumption analysis
Notes: in PY2017 due to TRM change

## Slide 15
Residential Program Recommendations
residential deemed savings
HTR/low-income program process assessment
smart thermostats
Notes: Commercial standard offer programs (CSOP) and the largest savers of the commercial market transformation programs (MTPs) are “high” priority as these programs continue to represent the largest percentage of statewide savings and have plans to explore new customer segments and technologies. The residential standard offer programs (RSOPs) and hard-to-reach (HTR) programs as a “high” evaluation priority for PY2017 because utilities are responding to changes in the TRM for common RSOP and HTR measures. These programs also comprised a substantial percentage of overall statewide portfolio savings in PY2017, and EM&V has recommended expanding the measure mix in these programs.
Load management programs are designated a “medium” priority due to their significant contribution to capacity (kW) savings and the new nature of the residential demand response programs, Both commercial and residential solar projects also received a “medium” priority in PY2017 due to TRM change

## Slide 16
Load Management Program Recommendations
Overall
Commercial programs
Residential programs

## Slide 17
Portfolio Recommendations
program tracking data
meter data
project documentation
solar PV
COVID-19 QA/QC response.

## Slide 18: PY2021 EM&V

## Slide 19: EM&V Overview
Verification across all programs
Program tracking data verification of claimed savings across all programs
Census review of residential deemed savings calculations and load management programs
Increased rigor for medium and high priority programs
Residential and commercial desk reviews and on-site M&V
Targeted consumption analyses
Commercial lighting
Residential air infiltration
HVAC contractor interviews
Residential and commercial participant surveys
Notes: This is key not only for cost-effective evaluation but also to meet the aggressive timeline.

## Slide 20: High Priority
Residential programs
comprise a substantial percentage of overall statewide portfolio savings have recently responded to various TRM updates to the envelope measures
Commercial programs
The largest percentage of savings
New types of projects, measures and delivery
EM&V consistently identifies some opportunities for improvement
Notes: This is key not only for cost-effective evaluation but also to meet the aggressive timeline.

## Slide 21: Medium Priority
Load Management
largest percentage of statewide kW reductions
Small business
Responding to prior EM&V recommendations
Notes: This is key not only for cost-effective evaluation but also to meet the aggressive timeline.

## Slide 22: Technical Assistance
Scope continues to include technical guidance/M&V discussions and review upon utility request
Steady flow of reviews for unique situations, new technologies, new programs

## Slide 23: Technical Reference Manual (TRM) Update process

## Slide 24: Maintenance and approval of the Texas TRM
Commission’s EM&V contractor reviews the TRM at least annually and makes needed updates.(16 TAC §25.181(o) (6) (B)).
Commission Staff approve

## Slide 25: TRM Format
Volume 1: TRM Overview and User Guide covers the process for TRM updates and version rollouts, weather zones, peak demand definitions, TRM structure and the format of the TRM measures
Volume 2: Residential Deemed Measures contains the measure descriptions and deemed savings estimates and algorithms for measures installed in residential dwellings.
Volume 3: Nonresidential Deemed Measures contains the measure descriptions and deemed savings estimates and algorithms for measures installed in nonresidential businesses.
Volume 4: M&V Protocols contains protocols to estimate claimed savings for measures that are not good candidates for deemed savings across both sectors
Volume 5: Implementation Guidance contains the PUCT’s EM&V team recommendations regarding program implementation that may affect claimed savings

## Slide 26: Collaborative Update Approach
Commission’s EM&V contractor reviews the TRM at least annually and makes needed updates
(16 TAC §25.181(o) (6) (B)).
Additional updates
Utility collaborative group, Electric Utilities Marketing Managers of Texas (EUMMOT)
Energy Efficiency Implementation Project (EEIP)
TRM Working Group meets at least biweekly and agree on prioritization and updates
PUCT staff, PUCT’s EM&V team, EUMMOT contractor, Utilities and utility invited contractors
Individual utility (ies)
EM&V research

## Slide 27: Goal of Updates
Improve
Improve accuracy of deemed savings estimates
Expand
Expand savings opportunities for electric customers
Clarify
Clarify program delivery, documentation and tracking requirements

## Slide 28
Do you have any additional questions for us? Lark Lee,
Lark.Lee@tetratech.com
Therese Harris,
Therese.Harris@puc.texas.gov
Thank you for your time today