TO:	Interested Persons

FROM:	Therese Harris, Infrastructure Division

DATE:	November 5, 2021

RE:	Project No. 38578 - Energy Efficiency Implementation Project under 16 TAC		§ 25.181(q)

Avoided Cost of Capacity for the 2022 Program Year

As shown below from the United States Department of Energy’s Energy Information Administration’s (EIA) Cost and Performance Characteristics of New Central Station Electricity Generating Technologies associated with EIA’s Annual Energy Outlook 2021, the base overnight cost of a combustion turbine—industrial frame is $626 per kilowatt (kW) in the Texas Reliability Entity or Electric Reliability Council of Texas (ERCOT) region.  Because this amount is less than the $700 per kW threshold set by 16 Texas Administrative Code (TAC) § 25.181(d)(2)(A)(ii), the avoided cost of capacity is $80 per kW-year for 2022.

https://www.eia.gov/outlooks/aeo/assumptions/pdf/table_8.2.pdf