TO:		Interested Persons

FROM:		Therese Harris, Director, Director, Infrastructure Division

DATE:		November 14, 2022

RE:	Project No. 38578 – Avoided Cost of Capacity and Energy 2023 Program Year

Avoided Cost of Capacity and Energy for the 2023 Program Year

Avoided Cost of Capacity

As shown below from the United States Department of Energy’s Energy Information Administration’s (EIA) Cost and Performance Characteristics of New Central Station Electricity Generating Technologies associated with EIA’s Annual Energy Outlook 2022, the base overnight cost of a combustion turbine—industrial frame is $692 per kilowatt (kW) in the Texas Reliability Entity or Electric Reliability Council of Texas (ERCOT) region.  Because this amount is less than the $700 per kW threshold set by 16 Texas Administrative Code (TAC) § 25.181(d)(2)(A)(ii), the avoided cost of capacity is $80 per kW-year for 2023.

Avoided Cost of Energy

As stated in its filing on October 31, 2022 in this project, ERCOT calculated the avoided cost of energy for 2023 in compliance with the Commission’s Order in Docket No. 52871 which required ERCOT to use the winter peak periods of December 2019 through February 2020 and December 2021 through February 2022 and the summer peak periods of June 2020 through September 2020 and June 2022 through September 2022 to calculate the avoided cost of energy for energy efficiency programs for the 2023 program year.  Using the methodology in 16 TAC § 25.181(d)(3)(A), ERCOT calculated an avoided cost of energy for 2023 of $91.15 /MWh, which is equivalent to $0.09115/kWh.

Commission Staff's Petition for a Good Cause Exception to 16 Texas Administrative Code § 25.181 (d)(3) (A) and to set the Avoided Cost of Energy under § 25.181 (d)(3)(A) for 2022 Electric Utility Energy Efficiency Programs, Docket No. 52871, Ordering Paragraph No. 5 (May 12, 2022).