## Sheet1
Planned Outage Table from 2007 - 2011
Sum of Eq Hrs |  |  | Year
Plant | Unit | Type | 2007 | 2008 | 2009 | 2010 | 2011 | Grand Total
CARLSBAD | 5 | PO |  |  | 247.167 |  |  | 247.167
| 5 Total |  |  |  | 247.167 |  |  | 247.167
CARLSBAD Total |  |  |  |  | 247.167 |  |  | 247.167
CELANESE | 1 | PD |  | 120 |  |  |  | 120
|  | PO | 246.183 |  |  |  |  | 246.183
| 1 Total |  | 246.183 | 120 |  |  |  | 366.183
| 2 | PD |  | 19.397 |  |  |  | 19.397
|  | PO | 315.6 | 309.567 |  |  |  | 625.167
| 2 Total |  | 315.6 | 328.964 |  |  |  | 644.564
CELANESE Total |  |  | 561.783 | 448.964 |  |  |  | 1010.747
CUNNINGHAM | 1 | PD |  |  |  |  | 7.549 | 7.549
|  | PO |  |  |  | 1407.717 |  | 1407.717
| 1 Total |  |  |  |  | 1407.717 | 7.549 | 1415.266
| 2 | PD |  |  | 1244.123 | 1170.18 | 7.396 | 2421.699
|  | PO | 1770.499 |  | 488.05 | 1410 | 460.034 | 4128.583
| 2 Total |  | 1770.499 |  | 1732.173 | 2580.18 | 467.43 | 6550.282
| 3 | PO | 3017 | 248.4 | 1600.25 | 1553.267 | 2961.333 | 9380.25
| 3 Total |  | 3017 | 248.4 | 1600.25 | 1553.267 | 2961.333 | 9380.25
| 4 | PO |  |  | 3052.85 | 513.217 | 3180.117 | 6746.184
| 4 Total |  |  |  | 3052.85 | 513.217 | 3180.117 | 6746.184
CUNNINGHAM Total |  |  | 4787.499 | 248.4 | 6385.273 | 6054.381 | 6616.429 | 24091.982
HARRINGTON | 1 | PD | 71.555 |  |  | 5.65 |  | 77.205
|  | PE | 326.483 |  |  | 105.05 |  | 431.533
|  | PO | 1177 |  | 190.367 | 1355.934 |  | 2723.301
| 1 Total |  | 1575.038 |  | 190.367 | 1466.634 |  | 3232.039
| 2 | PE |  | 63.933 |  |  | 73.317 | 137.25
|  | PO | 149.017 | 1312.25 |  |  | 961.267 | 2422.534
| 2 Total |  | 149.017 | 1376.183 |  |  | 1034.584 | 2559.784
| 3 | PD |  |  |  | 0.615 |  | 0.615
|  | PO | 319.667 |  | 863.95 |  | 184.933 | 1368.55
| 3 Total |  | 319.667 |  | 863.95 | 0.615 | 184.933 | 1369.165
HARRINGTON Total |  |  | 2043.722 | 1376.183 | 1054.317 | 1467.249 | 1219.517 | 7160.988
JONES | 1 | PD |  |  |  | 4.407 | 6.964 | 11.371
|  | PE |  |  |  | 44.833 |  | 44.833
|  | PO |  |  | 334.383 | 1079.934 | 198.117 | 1612.434
| 1 Total |  |  |  | 334.383 | 1129.174 | 205.081 | 1668.638
| 2 | PD |  |  | 6.338 | 26.727 |  | 33.065
|  | PE |  | 128.083 |  |  |  | 128.083
|  | PO |  | 1356.3 | 121.767 |  |  | 1478.067
| 2 Total |  |  | 1484.383 | 128.105 | 26.727 |  | 1639.215
JONES Total |  |  |  | 1484.383 | 462.488 | 1155.901 | 205.081 | 3307.853
MADDOX | 1 | PD |  |  |  |  | 33.767 | 33.767
|  | PE |  |  |  | 158.783 | 85.05 | 243.833
|  | PO | 682.783 | 1618.983 | 156.883 | 679.334 | 473.317 | 3611.3
| 1 Total |  | 682.783 | 1618.983 | 156.883 | 838.117 | 592.134 | 3888.9
| 2 | PO | 1961.233 | 1186.15 |  | 80.033 |  | 3227.416
| 2 Total |  | 1961.233 | 1186.15 |  | 80.033 |  | 3227.416
| 3 | PE |  |  |  |  | 64 | 64
|  | PO |  |  |  |  | 113 | 113
| 3 Total | [5 empty] | 177 | 177
MADDOX Total |  |  | 2644.016 | 2805.133 | 156.883 | 918.15 | 769.134 | 7293.316
MOORE COUNTY | 3 | PD |  |  |  | 938.668 | 14.03 | 952.698
|  | PO |  |  | 0.533 | 0.35 | 15.384 | 16.267
| 3 Total |  |  |  | 0.533 | 939.018 | 29.414 | 968.965
MOORE COUNTY Total |  |  |  |  | 0.533 | 939.018 | 29.414 | 968.965
NICHOLS | 1 | PD | 2.788 | 117.305 |  |  |  | 120.093
|  | PO |  |  | 415 | 676.617 |  | 1091.617
| 1 Total |  | 2.788 | 117.305 | 415 | 676.617 |  | 1211.71
| 2 | PD | 71.707 |  |  |  |  | 71.707
|  | PO | 494.533 | 232.7 | 152.1 | 526.433 |  | 1405.766
| 2 Total |  | 566.24 | 232.7 | 152.1 | 526.433 |  | 1477.473
| 3 | PD | 28.237 |  |  |  |  | 28.237
|  | PO |  |  | 1160.733 | 1159.883 | 135.484 | 2456.1
| 3 Total |  | 28.237 |  | 1160.733 | 1159.883 | 135.484 | 2484.337
NICHOLS Total |  |  | 597.265 | 350.005 | 1727.833 | 2362.933 | 135.484 | 5173.52
PLANT X | 1 | PD |  |  |  | 22.595 |  | 22.595
|  | PO | 511 | 1451.75 |  | 2277.899 |  | 4240.649
| 1 Total |  | 511 | 1451.75 |  | 2300.494 |  | 4263.244
| 2 | PD |  |  | 24.169 |  |  | 24.169
|  | PO | 510.833 | 1582.083 | 3489.917 | 493.966 | 2707.35 | 8784.149
| 2 Total |  | 510.833 | 1582.083 | 3514.086 | 493.966 | 2707.35 | 8808.318
| 3 | PD |  | 28.908 |  |  |  | 28.908
|  | PO | 715.484 | 3302.633 |  | 309.434 | 263.683 | 4591.234
| 3 Total |  | 715.484 | 3331.541 |  | 309.434 | 263.683 | 4620.142
| 4 | PD | 500.814 |  |  | 27.051 |  | 527.865
|  | PO | 302 | 113.333 |  | 1540.95 | 227.067 | 2183.35
| 4 Total |  | 802.814 | 113.333 |  | 1568.001 | 227.067 | 2711.215
PLANT X Total |  |  | 2540.131 | 6478.707 | 3514.086 | 4671.895 | 3198.1 | 20402.919
RIVERVIEW | 6 | PO | 3095.233 | 257.1 |  | 2113.017 | 3848.233 | 9313.583
| 6 Total |  | 3095.233 | 257.1 |  | 2113.017 | 3848.233 | 9313.583
RIVERVIEW Total |  |  | 3095.233 | 257.1 |  | 2113.017 | 3848.233 | 9313.583
TOLK | 1 | PD | 12.27 | 2.784 | 63.376 |  |  | 78.43
|  | PE |  |  |  | 24.083 |  | 24.083
|  | PO | 988.533 | 232.283 | 1224.933 | 339.55 |  | 2785.299
| 1 Total |  | 1000.803 | 235.067 | 1288.309 | 363.633 |  | 2887.812
| 2 | PD | 0.927 | 84.479 |  |  | 48.216 | 133.622
|  | PE | 570.167 | 151.483 |  | 20.1 | 119.95 | 861.7
|  | PO | 542.15 | 1087.333 | 180.2 | 430.283 | 1748.618 | 3988.584
| 2 Total |  | 1113.244 | 1323.295 | 180.2 | 450.383 | 1916.784 | 4983.906
TOLK Total |  |  | 2114.047 | 1558.362 | 1468.509 | 814.016 | 1916.784 | 7871.718
Grand Total |  |  | 18383.7 | 15007.24 | 15017.09 | 20496.56 | 17938.18 | 86842.758

## Sheet2
OUTAGE / DERATING CODES (ACTIVE STATES)
PO | PLANNED OUTAGES
MO | MAINTENANCE OUTAGE
PE | PLANNED OUTAGE EXTENSION
ME | MAINTENANCE OUTAGE EXTENTION
SF | STARTUP FAILURE
U1 | UNPLANNED (Forced) OUTAGE - IMMEDIATE
U2 | UNPLANNED (Forced) OUTAGE - DELAYED
U3 | UNPLANNED (Forced) OUTAGE - POSTPONED
PD | PLANNED DERATING
D4 | MAINTENANCE DERATING
DP | PLANNED DERATING EXTENSION
DM | MAINTENANCE DERATING EXTENSION
D1 | UNPLANNED (Forced) DERATING - IMMEDIATE
D2 | UNPLANNED (Forced) DERATING - DELAYED
D3 | UNPLANNED (Forced) DERATING - POSTPONED
RS | RESERVE SHUTDOWN
NC | NONCURTAILING EVENT
OUTAGE / DERATING CODES (INACTIVE STATES)
IR | INACTIVE RESERVE
MB | MOTHBALLED
RU | RETIRED