## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | TEXAS-NEW MEXICO POWER COMPANY
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 287
Due: |  | February 14, 2013
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 41092
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Larry Reed
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7357
Fax: | 512 936 7328
E-mail: | mailto:larry.reed@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2012 Reporting Year
TEXAS-NEW MEXICO POWER COMPANY
Project 41092

## System-SAIFI
TEXAS-NEW MEXICO POWER COMPANY
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2012 | 0.8062 | 0.0484 | 0.039 | 0.0465 | 0.0625 | 0.0955 | 0.0641 | 0.0859 | 0.0712 | 0.0718 | 0.0709 | 0.0302 | 0.1202
Scheduled
2012 | 0.0055 | 0.0002 | 0.0002 | 0.0001 | 0.0004 | 0.0003 | 0.0011 | 0.0002 | 0.0003 | 0 | 0.0026 | 0 | 0.0001
Outside Causes
2012 | 0.537 | 0.007 | 0.026 | 0 | 0.053 | 0.068 | 0.069 | 0.05 | 0.081 | 0 | 0.03 | 0.036 | 0.117
Major Events
2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## System-SAIDI
TEXAS-NEW MEXICO POWER COMPANY
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2012 | 67.0896 | 4.3648 | 2.3221 | 3.7695 | 4.8277 | 12.3077 | 5.8645 | 6.8981 | 6.401 | 6.1563 | 4.7367 | 1.7408 | 7.7004
Scheduled
2012 | 0.3526 | 0.0141 | 0.0137 | 0.0094 | 0.0273 | 0.0374 | 0.0458 | 0.021 | 0.0743 | 0.0041 | 0.0876 | 0.0072 | 0.0107
Outside Causes
2012 | 33.285 | 0.996 | 0.184 | 0 | 1.996 | 1.712 | 11.219 | 2.632 | 5.657 | 0 | 3.586 | 1.164 | 4.139
Major Events
2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 287
Add or Delete Rows as Necessary
TEXAS-NEW MEXICO POWER COMPANY
2012 SAIFI Ranking | 2011 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2012 SAIFI Value
1 | 75 | Leonard Substation | 12678 | 505 | 5.8495
2 | 78 | Red River Substation | 2252 | 1555 | 5.7054
3 | 44 | Friendswood Substation | 1108 | 1733 | 4.2296
4 | 189 | Blue Ridge Substation | 22700 | 441 | 4.1418
5 | 57 | Flat Top Substation | 26P01 | 129 | 3.9224
6 | 39 | Seminole Substation | 1402 | 903 | 3.7718
7 | 7 | Deport Substation (Oncor) | 22164 | 1706 | 3.6992
8 | 103 | Alvin Substation | 1116 | 2043 | 3.5227
9 | 59 | Freeway Park Substation | 1101 | 1526 | 3.1631
10 | 74 | South Substation | 1109 | 754 | 3.0835
11 | 52 | Texas Instruments Substation | 1033 | 1852 | 3.0021
12 | 182 | Cochise Substation | 25P48 | 183 | 2.836
13 | 4 | Emory Substation (Oncor) | 1201 | 1350 | 2.6377
14 | 88 | Cochise Substation | 12P637 | 85 | 2.5764
15 | 86 | Alvin Substation | 1257 | 1978 | 2.4443
16 | 289 | Worsham Field Substation | 13P97 | 85 | 2.4352
17 | 102 | Handley Substation | 22825 | 485 | 2.4123
18 | 38 | Alvin Substation | 1231 | 1974 | 2.3946
19 | 53 | Northside Substation | 1293 | 645 | 2.3844
20 | 115 | Alvin Substation | 1259 | 711 | 2.3052
21 | 203 | Tolar Substation | 25860 | 510 | 2.2666
22 | 65 | Cochise Substation | 25P47 | 30 | 2.2333
23 | 71 | Krugerville Substation | 2608 | 1807 | 2.1582
24 | 30 | Coryell County Substation | 22365 | 841 | 2.1117
25 | 244 | Texas Instruments Substation | 1032 | 3534 | 2.0761
26 | 20 | Lakepointe Substation | 2508 | 353 | 2.0736
27 | 40 | Tejas Substation | 1212 | 286 | 2.0279
28 | 14 | Lone Oak Substation | 13384 | 364 | 1.9807
29 | 92 | Leonard Substation | 14635 | 496 | 1.9314
30 | 263 | Olney Substation | 1695 | 635 | 1.8314
31 | 83 | Glen Rose Substation | 22300 | 1070 | 1.77
32 | 167 | Krugerville Substation | 2604 | 2122 | 1.671
33 | 144 | Pyote Substation | 25P312 | 104 | 1.6153
34 | 116 | Saint Jo Substation | 15761 | 155 | 1.6064
35 | 10 | Sycamore Substation | 24105 | 150 | 1.58
36 | 213 | Meridian Substation | 23205 | 350 | 1.5657
37 | 50 | Sweeny Substation | 1128 | 1427 | 1.5353
38 | 122 | Whitewright Substation | 12574 | 762 | 1.5183
39 | 28 | Angleton Substation | 1244 | 1210 | 1.5016
40 | 31 | Northside Substation | 1295 | 1717 | 1.4892
41 | 96 | Friendswood Substation | 1251 | 1875 | 1.4885
42 | 72 | Meridian Substation | 23210 | 822 | 1.4878
43 | 34 | Magnolia Substation | 1149 | 1151 | 1.4735
44 | 104 | California Substation | 12K87 | 56 | 1.4642
45 | 11 | Dickinson Substation | 1277 | 1683 | 1.461
46 | 8 | Whitewright Substation | 12573 | 180 | 1.4333
47 | 37 | Keystone Substation | 12K434 | 42 | 1.4285
48 | 166 | Dickinson Substation | 1272 | 2519 | 1.4184
49 | 58 | Pecos Main Substation | 12P02 | 1011 | 1.4124
50 | 170 | Brazoria Substation | 1291 | 668 | 1.3907
51 | 145 | Downtown 12.5KV Substation | 12F130 | 971 | 1.3903
52 | 35 | Tejas Substation | 1215 | 1536 | 1.3815
53 | 131 | Freeway Park Substation | 1103 | 1412 | 1.3781
54 | 17 | League City Main Substation | 1280 | 1446 | 1.3526
55 | 224 | Sweeny Substation | 1263 | 549 | 1.3224
56 | 204 | Heights Substation | 1222 | 620 | 1.2758
57 | 47 | Heights Substation | 1134 | 924 | 1.2748
58 | 13 | Heights Substation | 1132 | 2260 | 1.2703
59 | 267 | South Bend Substation | 1300 | 162 | 1.2592
60 | 81 | Whitewright Substation | 12698 | 893 | 1.2541
61 | 278 | Gomez Substation | 25F61 | 20 | 1.25
62 | 156 | Magnolia Substation | 1148 | 2397 | 1.2398
63 | 264 | Graham Substation | 12605 | 120 | 1.2333
64 | 219 | Lake Whitney Substation | 12355 | 876 | 1.2066
65 | 61 | W.D. Faulkner Substation | 12P259 | 231 | 1.1991
66 | 243 | Winkler County #6 Substation | 25K11 | 42 | 1.1666
67 | 63 | Tejas Substation | 1217 | 674 | 1.1602
68 | 234 | Freeway Park Substation | 1102 | 1052 | 1.1444
69 | 89 | League City Main Substation | 1010 | 429 | 1.1398
70 | 87 | Hamilton County Substation | 2345 | 209 | 1.1387
71 | 68 | Bryson Substation | 1233 | 176 | 1.1363
72 | 66 | Graham Substation | 1245 | 150 | 1.1333
73 | 228 | South Shore Substation | 1191 | 849 | 1.1283
74 | 132 | Friendswood Substation | 1253 | 882 | 1.1179
75 |  | Texas Instruments Substation | 1013 | 1752 | 1.1175
76 | 119 | West Substation | 1223 | 2367 | 1.0937
77 | 196 | Lone Star Substation | 25P171 | 61 | 1.0491
78 | 212 | Whitewright Substation | 13563 | 346 | 1.0462
79 | 194 | Keystone Substation | 12K437 | 683 | 1.0366
80 | 238 | Clifton #1 22KV Substation | 22495 | 325 | 1.0215
81 | 245 | Worsham Field Substation | 13P98 | 91 | 1.0109
82 | 283 | Sycamore Substation | 24100 | 28 | 1
83 | 190 | Gomez Substation | 25F05 | 24 | 1
84 | 82 | Longneck Substation | 23126 | 469 | 0.9914
85 | 54 | League City Main Substation | 1284 | 2648 | 0.9735
86 | 162 | Reeves County #4 Substation | 13P37 | 105 | 0.9047
87 | 25 | La Marque Substation | 1204 | 1582 | 0.8862
88 |  | Kermit #1 Substation | 4K03 | 192 | 0.875
89 | 149 | Longneck Substation | 23130 | 1381 | 0.7849
90 | 239 | Pyote Substation | 25P217 | 103 | 0.7669
91 | 76 | Whitney Substation | 22455 | 678 | 0.7566
92 | 153 | Jones Street Substation | 1431 | 879 | 0.7383
93 | 21 | Climax Substation | 2234 | 461 | 0.7353
94 | 210 | Talco West Substation | 13909 | 29 | 0.7096
95 | 33 | Lake Whitney Substation | 1230 | 490 | 0.6918
96 | 200 | Airport Substation | 12F271 | 108 | 0.6666
97 | 106 | Airport Substation | 12F44 | 862 | 0.6589
98 | 205 | Flat Top Substation | 26P03 | 44 | 0.6363
99 | 114 | Nocona Substation | 13374 | 684 | 0.5979
100 | 85 | Old Ocean Substation | 1260 | 514 | 0.5544
101 | 202 | Stafford Substation | 12P83 | 294 | 0.5476
102 | 90 | Nocona Substation | 13370 | 691 | 0.5397
103 | 80 | Valley Mills Substation | 22575 | 642 | 0.5342
104 | 26 | Seminole Substation | 1403 | 470 | 0.534
105 | 110 | Sweeny Substation | 1264 | 1344 | 0.5297
106 | 225 | Stafford Substation | 13P50 | 292 | 0.5171
107 | 143 | Wickett Substation | 12K449 | 195 | 0.5128
108 | 2 | La Marque Substation | 1203 | 458 | 0.5021
109 | 175 | Airport Substation | 12F725 | 695 | 0.4978
110 | 93 | Trenton Substation | 4120 | 201 | 0.4875
111 | 101 | Friendswood Substation | 1109 | 1532 | 0.4778
112 | 77 | Wickett Substation | 12K446 | 36 | 0.4722
113 | 248 | Leonard Substation | 12682 | 233 | 0.4721
114 | 32 | La Marque Substation | 1201 | 901 | 0.4705
115 | 135 | Freeway Park Substation | 1299 | 837 | 0.4635
116 | 36 | Sweeny Substation | 1129 | 642 | 0.4626
117 | 121 | Angleton Substation | 1240 | 1504 | 0.4494
118 | 151 | Whitney Substation | 22450 | 732 | 0.4426
119 | 1 | Friendswood Substation | 1252 | 1633 | 0.4384
120 | 3 | Red River Substation | 2229 | 347 | 0.4293
121 | 240 | Olney Substation | 1685 | 459 | 0.4291
122 | 5 | Angleton Substation | 1155 | 1026 | 0.4259
123 | 148 | Dickinson Substation | 1266 | 628 | 0.4251
124 | 274 | Lakepointe Substation | 2536 | 1416 | 0.4223
125 | 157 | La Marque Substation | 1110 | 371 | 0.4204
126 | 12 | La Marque Substation | 1205 | 1057 | 0.4134
127 | 164 | Pecos Main Substation | 12P03 | 374 | 0.4117
128 | 134 | Red River Substation | 2262 | 78 | 0.3974
129 | 150 | 16th Street Substation | 12F71 | 1059 | 0.3871
130 | 192 | Leonard Substation | 14631 | 450 | 0.38
131 | 126 | Alvin Substation | 1230 | 1761 | 0.3605
132 | 6 | Dickinson Substation | 1274 | 2394 | 0.3575
133 | 129 | South Substation | 1103 | 1569 | 0.3569
134 | 29 | Whitewright Substation | 12575 | 732 | 0.3565
135 | 247 | League City Main Substation | 1011 | 147 | 0.3537
136 | 233 | IH-20 Substation | 12P563 | 166 | 0.3493
137 | 73 | Brazoria Substation | 1271 | 1684 | 0.3212
138 | 187 | Petrolia Substation | 12260 | 889 | 0.3205
139 | 120 | Angleton Substation | 1243 | 1317 | 0.3189
140 | 277 | Glen Rose Substation | 22285 | 376 | 0.3111
141 | 111 | Angleton Substation | 1241 | 1585 | 0.3091
142 | 109 | La Marque Substation | 1202 | 1069 | 0.3077
143 | 159 | West Columbia Local Substation | 1234 | 1051 | 0.3016
144 | 95 | Stafford Substation | 12P82 | 307 | 0.2996
145 | 171 | Friendswood Substation | 1107 | 1826 | 0.2984
146 | 43 | Dickinson Substation | 1267 | 1779 | 0.2984
147 | 139 | Northside Substation | 1228 | 1141 | 0.2944
148 | 221 | West Substation | 1235 | 1511 | 0.2931
149 | 136 | West Columbia Local Substation | 1233 | 1070 | 0.285
150 | 236 | Glen Rose Substation | 22305 | 286 | 0.2832
151 | 41 | Dickinson Substation | 1279 | 1932 | 0.2758
152 | 209 | South Shore Substation | 1196 | 1161 | 0.2618
153 | 184 | Northside Substation | 1292 | 780 | 0.2564
154 | 117 | League City Main Substation | 1282 | 2150 | 0.2553
155 | 105 | Belding Substation | 12F161 | 40 | 0.25
156 | 155 | Reeves County #4 Substation | 12P28 | 153 | 0.2483
157 | 147 | League City Main Substation | 1283 | 1734 | 0.2468
158 | 55 | Alvin Substation | 1254 | 1658 | 0.2334
159 | 168 | California Substation | 12K86 | 30 | 0.2333
160 | 130 | Stafford Substation | 12P50 | 288 | 0.2291
161 | 232 | West Substation | 1233 | 640 | 0.2218
162 | 19 | Flat Top Substation | 26P02 | 41 | 0.2195
163 | 46 | Northside Substation | 1294 | 1078 | 0.2161
164 | 125 | Brazoria Substation | 1270 | 983 | 0.2156
165 | 252 | Bryson Substation | 1230 | 441 | 0.2154
166 | 23 | Hamilton County Substation | 24015 | 619 | 0.2051
167 | 266 | West Columbia Local Substation | 1235 | 768 | 0.2031
168 | 262 | Hico City Substation | 390 | 273 | 0.2014
169 | 123 | Angleton Substation | 1245 | 656 | 0.1951
170 | 107 | South Shore Substation | 1192 | 1449 | 0.1939
171 | 140 | Alvin Substation | 1232 | 1246 | 0.1902
172 | 249 | Magnolia Substation | 1150 | 726 | 0.179
173 | 141 | Gatesville #2 Substation | 23065 | 520 | 0.1788
174 | 22 | Freeway Park Substation | 1298 | 2092 | 0.1692
175 | 211 | Texas Instruments Substation | 1012 | 888 | 0.1689
176 | 188 | Lone Star Substation | 25P174 | 30 | 0.1666
177 | 42 | Alvin Substation | 1117 | 1619 | 0.163
178 | 193 | Jones Street Substation | 1411 | 1761 | 0.1618
179 | 216 | South Substation | 1107 | 1348 | 0.1602
180 | 286 | Walnut Springs Substation | 1270 | 50 | 0.16
181 | 98 | Magnolia Substation | 1144 | 922 | 0.1594
182 | 124 | Alvin Substation | 1115 | 2122 | 0.1569
183 | 62 | Freeway Park Substation | 1297 | 674 | 0.1483
184 | 146 | Heights Substation | 1224 | 1565 | 0.1463
185 | 269 | Lakepointe Substation | 2540 | 561 | 0.1443
186 | 99 | Jones Street Substation | 1412 | 443 | 0.1376
187 | 177 | Angleton Substation | 1154 | 1894 | 0.1372
188 | 178 | Walnut Springs Substation | 2200 | 387 | 0.1369
189 | 112 | Seminole Substation | 1404 | 1824 | 0.1365
190 |  | Puckett Substation | 25F14 | 48 | 0.125
191 | 142 | West Substation | 1221 | 1924 | 0.1211
192 | 94 | Climax Substation | 22110 | 980 | 0.1193
193 | 24 | Hamilton County Substation | 2340 | 143 | 0.1188
194 | 152 | Magnolia Substation | 1146 | 2227 | 0.1162
195 | 206 | Kermit #2 Substation | 12K48 | 448 | 0.1138
196 | 161 | Angleton Substation | 1242 | 537 | 0.1117
197 | 69 | Belding Substation | 12F164 | 18 | 0.1111
198 | 180 | Glen Rose Substation | 23875 | 841 | 0.1034
199 | 226 | Hamilton City Substation | 23820 | 207 | 0.1014
200 | 173 | Magnolia Substation | 1145 | 2829 | 0.0993
201 | 220 | Stafford Substation | 12P99 | 304 | 0.0986
202 | 214 | Kermit #2 Substation | 12K98 | 267 | 0.0973
203 | 197 | Hill County Substation | 23340 | 587 | 0.0971
204 | 186 | League City Main Substation | 1285 | 1948 | 0.0949
205 | 60 | Handley Substation | 22820 | 53 | 0.0943
206 | 199 | Valley Mills Substation | 22565 | 420 | 0.0928
207 | 287 | West Substation | 1201 | 692 | 0.091
208 | 127 | Meridian Substation | 690 | 235 | 0.0851
209 | 207 | Angleton Substation | 1153 | 2454 | 0.0819
210 | 229 | Olney Substation | 1690 | 443 | 0.079
211 | 160 | Jones Street Substation | 1433 | 1005 | 0.0786
212 | 154 | Tejas Substation | 1214 | 587 | 0.0766
213 | 137 | Frontier Substation | 4236 | 197 | 0.0761
214 | 163 | Glen Rose Substation | 22295 | 774 | 0.0723
215 | 242 | Downtown 12.5KV Substation | 12F520 | 338 | 0.071
216 | 201 | West Columbia Local Substation | 1237 | 781 | 0.0704
217 | 181 | Brazoria Substation | 1290 | 987 | 0.0699
218 | 56 | South Shore Substation | 1190 | 2315 | 0.0699
219 | 279 | Kermit #1 Substation | 4K05 | 144 | 0.0694
220 | 27 | Walnut Springs Substation | 2210 | 446 | 0.0672
221 | 174 | League City Main Substation | 1281 | 919 | 0.0663
222 | 223 | South Shore Substation | 1194 | 2113 | 0.0662
223 | 231 | Kermit #1 Substation | 4K04 | 387 | 0.0645
224 | 128 | 16th Street Substation | 12F72 | 422 | 0.0616
225 | 273 | Lakepointe Substation | 2512 | 2240 | 0.0607
226 | 64 | Saint Jo Substation | 408 | 448 | 0.0602
227 | 84 | Gatesville #2 Substation | 22725 | 488 | 0.0594
228 | 218 | Nocona Substation | 13610 | 684 | 0.0584
229 | 237 | IH-20 Substation | 12P566 | 423 | 0.0567
230 | 16 | Hill County Substation | 22125 | 455 | 0.0528
231 | 176 | League City Main Substation | 1012 | 1038 | 0.052
232 | 195 | Hamilton City Substation | 22780 | 677 | 0.0516
233 | 215 | Pecos Main Substation | 12P362 | 792 | 0.0505
234 | 67 | Hamilton City Substation | 23825 | 317 | 0.0504
235 | 185 | Whitney #2 Substation | 22460 | 509 | 0.0491
236 | 49 | Hamilton City Substation | 22785 | 390 | 0.0461
237 | 45 | Clifton #2 Substation | 4165 | 307 | 0.0456
238 | 97 | Pecos Main Substation | 12P01 | 193 | 0.0414
239 | 259 | Sanderson Substation | 4S26 | 173 | 0.0404
240 | 251 | Nocona Substation | 12490 | 324 | 0.0401
241 | 191 | Kermit #2 Substation | 4K06 | 206 | 0.0388
242 | 227 | South Substation | 1102 | 1419 | 0.038
243 | 179 | Kermit #1 Substation | 4K02 | 218 | 0.0366
244 | 230 | West Substation | 1203 | 868 | 0.0299
245 | 9 | Puckett Substation | 25F18 | 34 | 0.0294
246 | 246 | 16th Street Substation | 13F14 | 309 | 0.0291
247 | 257 | Hico City Substation | 395 | 525 | 0.0285
248 | 254 | Valley Mills Substation | 22570 | 432 | 0.0277
249 |  | Gatesville #1 Substation | 413 | 147 | 0.0272
250 | 48 | Coryell County Substation | 22155 | 586 | 0.0255
251 | 260 | Clifton #1 22KV Substation | 22485 | 79 | 0.0253
252 | 113 | Gatesville #2 Substation | 429 | 319 | 0.025
253 | 51 | Thurber Substation | 1447 | 613 | 0.0244
254 | 100 | Nocona Substation | 12486 | 169 | 0.0236
255 | 172 | Old Ocean Substation | 1261 | 171 | 0.0233
256 | 288 | West Substation | 1202 | 991 | 0.0221
257 | 261 | West Substation | 1222 | 1428 | 0.0217
258 | 272 | Gatesville #1 Substation | 419 | 246 | 0.0203
259 | 158 | South Substation | 1108 | 1867 | 0.0198
260 | 268 | South Shore Substation | 1195 | 1189 | 0.0185
261 | 217 | Downtown 12.5KV Substation | 12F114 | 610 | 0.0163
262 | 265 | Clifton #1 4KV Substation | 407 | 123 | 0.0162
263 | 222 | Clifton #2 Substation | 4160 | 506 | 0.0158
264 | 208 | Gatesville #1 Substation | 422 | 207 | 0.0144
265 | 241 | West Substation | 1234 | 1481 | 0.0135
266 | 256 | Clifton #2 Substation | 23165 | 75 | 0.0133
267 |  | Gatesville #2 Substation | 426 | 209 | 0.0096
268 | 255 | Clifton #1 4KV Substation | 405 | 219 | 0.0091
269 | 198 | Thurber Substation | 1490 | 779 | 0.0089
270 | 253 | Walnut Springs Substation | 2215 | 113 | 0.0088
271 | 118 | Clifton #1 22KV Substation | 22480 | 122 | 0.0081
272 | 138 | Meridian Substation | 680 | 291 | 0.0068
273 | 270 | Thurber Substation | 22890 | 408 | 0.0049
274 | 250 | Sanderson Substation | 4S27 | 234 | 0.0042
275 | 79 | South Substation | 1104 | 3434 | 0.004
276 | 271 | Lakepointe Substation | 2544 | 699 | 0.0028
277 | 282 | Sanderson Substation | 4S28 | 203 | 0
278 | 275 | Lakepointe Substation | 2516 | 905 | 0
279 | 235 | Clifton #2 Substation | 24370 | 218 | 0
280 | 183 | Kermit #2 Substation | 4K07 | 328 | 0
281 | 169 | Jones Street Substation | 1413 | 78 | 0
282 | 165 | Clifton #1 4KV Substation | 490 | 30 | 0
283 | 133 | Coryell County Substation | 22160 | 75 | 0
284 | 70 | Lone Oak Substation | 13388 | 58 | 0
285 |  | Lakepointe Substation | 2524 | 245 | 0
286 |  | W.D. Faulkner Substation | 12P260 | 94 | 0
287 |  | Whitney #2 Substation | 22465 | 165 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 287
Add or Delete Rows as Necessary
TEXAS-NEW MEXICO POWER COMPANY
2012 SAIDI Ranking | 2011 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2012 SAIDI Value
1 | 10 | Flat Top Substation | 26P01 | 129 | 1277.5891
2 | 5 | Cochise Substation | 25P47 | 30 | 795.0333
3 | 239 | Worsham Field Substation | 13P98 | 91 | 691.0659
4 | 162 | Blue Ridge Substation | 22700 | 441 | 653.9954
5 | 2 | Whitewright Substation | 12573 | 180 | 512.8777
6 | 40 | Seminole Substation | 1402 | 903 | 446.8815
7 | 71 | Leonard Substation | 14635 | 496 | 437.8528
8 | 112 | California Substation | 12K87 | 56 | 410.3571
9 | 34 | Cochise Substation | 12P637 | 85 | 361.1764
10 | 166 | Gomez Substation | 25F05 | 24 | 359.7916
11 | 17 | Deport Substation (Oncor) | 22164 | 1706 | 355.4701
12 | 66 | Red River Substation | 2252 | 1555 | 347.6385
13 | 52 | W.D. Faulkner Substation | 12P259 | 231 | 347.3593
14 | 57 | Freeway Park Substation | 1101 | 1526 | 324.8741
15 | 7 | Emory Substation (Oncor) | 1201 | 1350 | 308.7281
16 | 168 | Cochise Substation | 25P48 | 183 | 306.9344
17 | 79 | Leonard Substation | 12678 | 505 | 269.5762
18 | 289 | Worsham Field Substation | 13P97 | 85 | 264.7411
19 | 180 | Brazoria Substation | 1291 | 668 | 257.0209
20 | 103 | South Substation | 1109 | 754 | 235.3381
21 | 122 | Talco West Substation | 13909 | 29 | 226.6129
22 | 74 | Friendswood Substation | 1108 | 1733 | 223.9659
23 | 219 | Lake Whitney Substation | 12355 | 876 | 223.1723
24 | 104 | Texas Instruments Substation | 1033 | 1852 | 218.2742
25 | 82 | Handley Substation | 22825 | 485 | 210.4577
26 | 220 | Tolar Substation | 25860 | 510 | 198.5333
27 | 138 | Meridian Substation | 23205 | 350 | 197.2742
28 | 46 | Meridian Substation | 23210 | 822 | 196.4562
29 | 210 | Freeway Park Substation | 1102 | 1052 | 195.8384
30 | 182 | Krugerville Substation | 2604 | 2122 | 195.3859
31 | 117 | Alvin Substation | 1116 | 2043 | 194.8521
32 | 196 | Lone Star Substation | 25P171 | 61 | 188.0163
33 | 109 | Pyote Substation | 25P312 | 104 | 181.2307
34 | 49 | Alvin Substation | 1231 | 1974 | 166.6306
35 | 65 | Tejas Substation | 1217 | 674 | 163.497
36 | 50 | Northside Substation | 1295 | 1717 | 157.7856
37 | 95 | Alvin Substation | 1257 | 1978 | 156.9317
38 | 93 | Glen Rose Substation | 22300 | 1070 | 152.0551
39 | 226 | Stafford Substation | 13P50 | 292 | 147.9315
40 | 142 | Saint Jo Substation | 15761 | 155 | 145.3548
41 | 29 | Coryell County Substation | 22365 | 841 | 143.6789
42 | 18 | Dickinson Substation | 1277 | 1683 | 142.7433
43 | 6 | Sycamore Substation | 24105 | 150 | 140.06
44 | 197 | Downtown 12.5KV Substation | 12F130 | 971 | 135.6539
45 | 12 | Lone Oak Substation | 13384 | 364 | 134.1703
46 | 159 | Whitney Substation | 22450 | 732 | 131.3811
47 | 260 | Graham Substation | 12605 | 120 | 131.1416
48 | 98 | Northside Substation | 1293 | 645 | 129.5054
49 | 111 | Freeway Park Substation | 1103 | 1412 | 129.4313
50 | 261 | Olney Substation | 1695 | 635 | 123.4645
51 | 240 | Pyote Substation | 25P217 | 103 | 120.631
52 | 154 | Dickinson Substation | 1272 | 2519 | 119.5867
53 | 145 | Longneck Substation | 23130 | 1381 | 118.5778
54 | 25 | League City Main Substation | 1280 | 1446 | 118.0428
55 | 64 | Whitewright Substation | 12698 | 893 | 117.8443
56 | 81 | Bryson Substation | 1233 | 176 | 117.1477
57 | 36 | Tejas Substation | 1212 | 286 | 116.1013
58 | 152 | Whitewright Substation | 12574 | 762 | 112.9685
59 | 100 | Krugerville Substation | 2608 | 1807 | 112.8539
60 | 78 | Longneck Substation | 23126 | 469 | 111.855
61 | 211 | Texas Instruments Substation | 1032 | 3534 | 110.1853
62 | 143 | Alvin Substation | 1259 | 711 | 107.6413
63 | 202 | Airport Substation | 12F271 | 108 | 104.9629
64 | 278 | Gomez Substation | 25F61 | 20 | 104.1
65 | 119 | West Substation | 1223 | 2367 | 101.9395
66 | 88 | Friendswood Substation | 1251 | 1875 | 97.7024
67 | 51 | Magnolia Substation | 1149 | 1151 | 93.4535
68 | 85 | Airport Substation | 12F44 | 862 | 93.1751
69 | 9 | Red River Substation | 2229 | 347 | 89.0806
70 | 53 | La Marque Substation | 1204 | 1582 | 88.7951
71 |  | Texas Instruments Substation | 1013 | 1752 | 84.6706
72 | 47 | Tejas Substation | 1215 | 1536 | 84.6276
73 | 32 | Hamilton County Substation | 2345 | 209 | 81.1626
74 | 37 | Angleton Substation | 1244 | 1210 | 80.7768
75 | 33 | Heights Substation | 1132 | 2260 | 80.6097
76 | 146 | Reeves County #4 Substation | 13P37 | 105 | 80.438
77 | 144 | Nocona Substation | 13370 | 691 | 79.8379
78 | 198 | Flat Top Substation | 26P03 | 44 | 78.2045
79 | 44 | Valley Mills Substation | 22575 | 642 | 71.4485
80 | 23 | Climax Substation | 2234 | 461 | 70.2342
81 | 15 | Lakepointe Substation | 2508 | 353 | 69.2464
82 | 127 | Wickett Substation | 12K449 | 195 | 68.4923
83 | 45 | Graham Substation | 1245 | 150 | 66.3266
84 | 224 | South Shore Substation | 1191 | 849 | 65.6984
85 | 22 | Keystone Substation | 12K434 | 42 | 63.8333
86 | 188 | Heights Substation | 1222 | 620 | 61.929
87 | 258 | Clifton #1 22KV Substation | 22495 | 325 | 61.7938
88 | 163 | Pecos Main Substation | 12P03 | 374 | 58.655
89 | 209 | Winkler County #6 Substation | 25K11 | 42 | 56.8095
90 | 110 | Sweeny Substation | 1264 | 1344 | 56.7715
91 | 62 | Wickett Substation | 12K446 | 36 | 56.2222
92 | 58 | Whitney Substation | 22455 | 678 | 55.643
93 | 102 | Pecos Main Substation | 12P02 | 1011 | 55.5024
94 | 150 | Magnolia Substation | 1148 | 2397 | 54.468
95 | 228 | Whitewright Substation | 13563 | 346 | 54.0317
96 | 267 | South Bend Substation | 1300 | 162 | 52.9074
97 | 255 | Sweeny Substation | 1263 | 549 | 52.8306
98 | 236 | Olney Substation | 1685 | 459 | 51.7494
99 | 217 | Stafford Substation | 12P83 | 294 | 49.9489
100 | 105 | League City Main Substation | 1010 | 429 | 49.1445
101 | 87 | Brazoria Substation | 1271 | 1684 | 48.4109
102 | 195 | Leonard Substation | 14631 | 450 | 48.0466
103 | 283 | Sycamore Substation | 24100 | 28 | 48
104 | 27 | Lake Whitney Substation | 1230 | 490 | 46.3836
105 | 172 | La Marque Substation | 1110 | 371 | 45.5471
106 | 43 | La Marque Substation | 1201 | 901 | 45.5149
107 | 141 | Jones Street Substation | 1431 | 879 | 45.389
108 | 60 | Nocona Substation | 13374 | 684 | 45.2616
109 | 92 | Sweeny Substation | 1128 | 1427 | 45.2242
110 | 84 | Heights Substation | 1134 | 924 | 44.5811
111 | 56 | La Marque Substation | 1205 | 1057 | 43.5269
112 | 13 | La Marque Substation | 1203 | 458 | 43.3122
113 | 234 | Keystone Substation | 12K437 | 683 | 42.9795
114 | 124 | Angleton Substation | 1240 | 1504 | 42.8803
115 | 275 | Lakepointe Substation | 2536 | 1416 | 42.329
116 | 131 | League City Main Substation | 1284 | 2648 | 42.0135
117 | 251 | League City Main Substation | 1011 | 147 | 41.6326
118 | 149 | Petrolia Substation | 12260 | 889 | 41.631
119 | 128 | Angleton Substation | 1241 | 1585 | 40.9899
120 | 19 | Seminole Substation | 1403 | 470 | 39.5765
121 | 116 | Friendswood Substation | 1109 | 1532 | 37.5646
122 | 70 | Trenton Substation | 4120 | 201 | 37.4328
123 | 134 | Alvin Substation | 1230 | 1761 | 36.8069
124 | 24 | Dickinson Substation | 1274 | 2394 | 36.7163
125 | 68 | La Marque Substation | 1202 | 1069 | 36.1917
126 | 135 | Northside Substation | 1228 | 1141 | 35.7668
127 | 1 | Friendswood Substation | 1252 | 1633 | 35.755
128 | 90 | Freeway Park Substation | 1299 | 837 | 35.0227
129 | 76 | Whitewright Substation | 12575 | 732 | 34.9439
130 | 89 | Old Ocean Substation | 1260 | 514 | 32.9143
131 | 114 | South Substation | 1103 | 1569 | 32.3926
132 | 164 | Brazoria Substation | 1270 | 983 | 31.7884
133 | 190 | Friendswood Substation | 1107 | 1826 | 31.7404
134 | 160 | West Columbia Local Substation | 1234 | 1051 | 31.6336
135 | 249 | Bryson Substation | 1230 | 441 | 31.0385
136 | 69 | Dickinson Substation | 1267 | 1779 | 30.3175
137 | 148 | Alvin Substation | 1232 | 1246 | 30.0048
138 | 277 | Glen Rose Substation | 22285 | 376 | 29.3271
139 | 48 | Red River Substation | 2262 | 78 | 29.1923
140 | 233 | West Substation | 1233 | 640 | 28.325
141 | 250 | Leonard Substation | 12682 | 233 | 28.2575
142 | 72 | Sweeny Substation | 1129 | 642 | 27.0046
143 | 147 | Reeves County #4 Substation | 12P28 | 153 | 26.6405
144 | 247 | Glen Rose Substation | 22305 | 286 | 26.2447
145 | 156 | Dickinson Substation | 1266 | 628 | 26.1608
146 | 215 | IH-20 Substation | 12P563 | 166 | 25.9036
147 | 31 | Angleton Substation | 1155 | 1026 | 25.6549
148 | 126 | Angleton Substation | 1243 | 1317 | 25.6492
149 | 101 | Belding Substation | 12F161 | 40 | 25.475
150 | 20 | Hamilton County Substation | 24015 | 619 | 25.4361
151 | 213 | West Substation | 1235 | 1511 | 25.1826
152 | 222 | Kermit #2 Substation | 12K98 | 267 | 24.5992
153 | 137 | League City Main Substation | 1282 | 2150 | 24.586
154 | 269 | Lakepointe Substation | 2540 | 561 | 24.3725
155 | 30 | Freeway Park Substation | 1298 | 2092 | 23.1209
156 | 28 | Northside Substation | 1294 | 1078 | 23.051
157 | 286 | Walnut Springs Substation | 1270 | 50 | 22.94
158 | 14 | Flat Top Substation | 26P02 | 41 | 22.8536
159 | 21 | Alvin Substation | 1254 | 1658 | 22.7014
160 | 181 | Lone Star Substation | 25P174 | 30 | 22.1333
161 | 225 | Hico City Substation | 390 | 273 | 22.0622
162 | 192 | Stafford Substation | 12P50 | 288 | 21.5416
163 | 123 | Alvin Substation | 1115 | 2122 | 21.467
164 | 133 | Stafford Substation | 12P82 | 307 | 21.4332
165 | 132 | Heights Substation | 1224 | 1565 | 21.3782
166 | 175 | League City Main Substation | 1283 | 1734 | 21.0588
167 | 77 | Dickinson Substation | 1279 | 1932 | 20.8167
168 | 75 | Gatesville #2 Substation | 23065 | 520 | 20.0596
169 | 121 | South Shore Substation | 1192 | 1449 | 19.9206
170 | 155 | Northside Substation | 1292 | 780 | 19.873
171 | 174 | South Shore Substation | 1196 | 1161 | 19.869
172 | 161 | West Columbia Local Substation | 1233 | 1070 | 19.8177
173 | 212 | California Substation | 12K86 | 30 | 19.0666
174 | 193 | Airport Substation | 12F725 | 695 | 18.4892
175 | 94 | Seminole Substation | 1404 | 1824 | 17.376
176 | 39 | Freeway Park Substation | 1297 | 674 | 17.2566
177 | 158 | Magnolia Substation | 1145 | 2829 | 16.808
178 |  | Kermit #1 Substation | 4K03 | 192 | 15.6302
179 | 179 | Angleton Substation | 1154 | 1894 | 15.6256
180 | 170 | 16th Street Substation | 12F71 | 1059 | 14.8866
181 | 86 | Jones Street Substation | 1412 | 443 | 14.2957
182 | 139 | Magnolia Substation | 1146 | 2227 | 13.7772
183 | 153 | Friendswood Substation | 1253 | 882 | 12.9297
184 | 184 | Hill County Substation | 23340 | 587 | 12.5877
185 | 227 | Magnolia Substation | 1150 | 726 | 12.5578
186 | 140 | Walnut Springs Substation | 2200 | 387 | 11.8191
187 | 96 | Magnolia Substation | 1144 | 922 | 11.8145
188 |  | Puckett Substation | 25F14 | 48 | 11.7083
189 | 136 | Jones Street Substation | 1433 | 1005 | 11.6815
190 | 42 | Alvin Substation | 1117 | 1619 | 11.6701
191 | 108 | Angleton Substation | 1245 | 656 | 11.5929
192 | 183 | South Substation | 1107 | 1348 | 11.5437
193 | 115 | Saint Jo Substation | 408 | 448 | 11.4151
194 | 189 | Glen Rose Substation | 23875 | 841 | 10.8929
195 | 287 | West Substation | 1201 | 692 | 10.8265
196 | 270 | West Columbia Local Substation | 1235 | 768 | 10.4244
197 | 241 | Hamilton City Substation | 23820 | 207 | 10.256
198 | 216 | Brazoria Substation | 1290 | 987 | 9.9189
199 | 169 | Tejas Substation | 1214 | 587 | 9.7461
200 | 125 | West Substation | 1221 | 1924 | 9.6917
201 | 208 | League City Main Substation | 1285 | 1948 | 9.1273
202 | 206 | League City Main Substation | 1281 | 919 | 9.1175
203 | 279 | Kermit #1 Substation | 4K05 | 144 | 9.0972
204 | 165 | Texas Instruments Substation | 1012 | 888 | 9.0698
205 | 129 | Frontier Substation | 4236 | 197 | 8.5532
206 | 178 | Kermit #2 Substation | 12K48 | 448 | 8.4955
207 | 83 | Climax Substation | 22110 | 980 | 8.3316
208 | 246 | Sanderson Substation | 4S26 | 173 | 8.1329
209 | 16 | Hamilton County Substation | 2340 | 143 | 7.972
210 | 26 | Walnut Springs Substation | 2210 | 446 | 7.8968
211 | 191 | Kermit #2 Substation | 4K06 | 206 | 7.7427
212 | 97 | Meridian Substation | 690 | 235 | 7.6595
213 | 176 | Glen Rose Substation | 22295 | 774 | 7.1989
214 | 171 | Angleton Substation | 1242 | 537 | 6.8994
215 | 272 | Lakepointe Substation | 2512 | 2240 | 6.7906
216 | 235 | Kermit #1 Substation | 4K04 | 387 | 6.7855
217 | 256 | Downtown 12.5KV Substation | 12F520 | 338 | 6.7366
218 | 11 | Hill County Substation | 22125 | 455 | 6.24
219 | 167 | Valley Mills Substation | 22565 | 420 | 6.1238
220 | 54 | Gatesville #2 Substation | 22725 | 488 | 6.1004
221 | 177 | Hamilton City Substation | 22780 | 677 | 6.0709
222 | 245 | Hico City Substation | 395 | 525 | 6.0552
223 | 187 | South Shore Substation | 1194 | 2113 | 5.7789
224 | 244 | Nocona Substation | 13610 | 684 | 5.7441
225 | 35 | South Shore Substation | 1190 | 2315 | 5.3904
226 | 232 | Olney Substation | 1690 | 443 | 5.0248
227 | 221 | Angleton Substation | 1153 | 2454 | 4.9074
228 | 120 | Gatesville #2 Substation | 429 | 319 | 4.721
229 | 59 | Belding Substation | 12F164 | 18 | 4.6111
230 | 238 | IH-20 Substation | 12P566 | 423 | 4.5697
231 | 61 | Hamilton City Substation | 23825 | 317 | 4.41
232 | 203 | Kermit #1 Substation | 4K02 | 218 | 3.9633
233 | 230 | West Columbia Local Substation | 1237 | 781 | 3.6363
234 | 243 | Stafford Substation | 12P99 | 304 | 3.6019
235 | 204 | Jones Street Substation | 1411 | 1761 | 3.5894
236 | 207 | Clifton #2 Substation | 4160 | 506 | 3.5652
237 | 41 | Hamilton City Substation | 22785 | 390 | 3.4153
238 | 194 | Pecos Main Substation | 12P362 | 792 | 3.3156
239 | 91 | Handley Substation | 22820 | 53 | 3.2641
240 | 218 | League City Main Substation | 1012 | 1038 | 3.2398
241 |  | Gatesville #1 Substation | 413 | 147 | 2.9659
242 | 73 | Clifton #2 Substation | 4165 | 307 | 2.8273
243 | 8 | Puckett Substation | 25F18 | 34 | 2.8235
244 | 205 | Whitney #2 Substation | 22460 | 509 | 2.7347
245 | 107 | 16th Street Substation | 12F72 | 422 | 2.7274
246 | 264 | West Substation | 1222 | 1428 | 2.682
247 | 271 | South Shore Substation | 1195 | 1189 | 2.5357
248 | 288 | West Substation | 1202 | 991 | 2.5307
249 | 199 | Gatesville #1 Substation | 422 | 207 | 2.4734
250 | 130 | Pecos Main Substation | 12P01 | 193 | 2.2383
251 | 214 | South Substation | 1102 | 1419 | 2.2156
252 | 248 | Nocona Substation | 12490 | 324 | 2.0956
253 | 151 | South Substation | 1108 | 1867 | 1.9925
254 | 38 | Thurber Substation | 1447 | 613 | 1.8433
255 | 200 | Old Ocean Substation | 1261 | 171 | 1.807
256 | 252 | Gatesville #1 Substation | 419 | 246 | 1.756
257 | 265 | Valley Mills Substation | 22570 | 432 | 1.6898
258 | 118 | Nocona Substation | 12486 | 169 | 1.4556
259 | 67 | Coryell County Substation | 22155 | 586 | 1.4317
260 | 268 | Clifton #1 22KV Substation | 22485 | 79 | 1.3291
261 | 223 | West Substation | 1234 | 1481 | 1.295
262 | 229 | Sanderson Substation | 4S27 | 234 | 1.1965
263 | 257 | Clifton #1 4KV Substation | 405 | 219 | 1.0776
264 | 201 | West Substation | 1203 | 868 | 1.0253
265 | 237 | 16th Street Substation | 13F14 | 309 | 0.8737
266 | 266 | Clifton #1 4KV Substation | 407 | 123 | 0.8292
267 | 242 | Thurber Substation | 1490 | 779 | 0.7278
268 | 80 | Clifton #1 22KV Substation | 22480 | 122 | 0.6557
269 | 259 | Clifton #2 Substation | 23165 | 75 | 0.6
270 | 231 | Downtown 12.5KV Substation | 12F114 | 610 | 0.5786
271 | 113 | Meridian Substation | 680 | 291 | 0.4123
272 | 262 | Lakepointe Substation | 2544 | 699 | 0.3676
273 | 254 | Walnut Springs Substation | 2215 | 113 | 0.3628
274 | 99 | South Substation | 1104 | 3434 | 0.352
275 | 274 | Thurber Substation | 22890 | 408 | 0.3284
276 |  | Gatesville #2 Substation | 426 | 209 | 0.2028
277 | 282 | Sanderson Substation | 4S28 | 203 | 0
278 | 273 | Lakepointe Substation | 2516 | 905 | 0
279 | 253 | Clifton #2 Substation | 24370 | 218 | 0
280 | 186 | Kermit #2 Substation | 4K07 | 328 | 0
281 | 173 | Jones Street Substation | 1413 | 78 | 0
282 | 157 | Clifton #1 4KV Substation | 490 | 30 | 0
283 | 106 | Coryell County Substation | 22160 | 75 | 0
284 | 63 | Lone Oak Substation | 13388 | 58 | 0
285 |  | Lakepointe Substation | 2524 | 245 | 0
286 |  | W.D. Faulkner Substation | 12P260 | 94 | 0
287 |  | Whitney #2 Substation | 22465 | 165 | 0

## Causes
TEXAS-NEW MEXICO POWER COMPANY
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2012 Reporting Year
Causes of Forced Interruptions |  | Percentage
| VEGETATION | 19.05%
| WEATHER | 33.2%
| ANIMALS AND BIRDS | 14.24%
| PEOPLE | 3.91%
| UTILITY-OWNED EQUIPMENT | 23.48%
| UNKNOWN | 4.36%
| OTHER | 1.78%
| TOTAL | 100%