Percent of OOS Over 8 Hours Report < 90%

Benchmark for Corrective Action:	Greater than 90% for a period of 3 consecutive months.

The following exchanges were below the service quality objective for the last three months.

EXCHANGE NAME		JUL		AUG		SEP

Pecos                                                     77%                86%               69%

## Detail of Missed Levels: (Reason for miss)

The lower than acceptable percentages over the last three months can be attributed to heat related failures at the Prison remote, several bad sections of cable, and higher than normal amounts of rain.  These three factors led to a higher than normal volume of trouble tickets, pushing out past the 8 hour standard.

Action Plan:

We have identified, and rehabbed 4 sections of cable in town, and are working with engineering to install heat exchangers to the prison remote.  We will also add more quota to our OOS buckets, and engage the planner/dispatch group to actively monitor the trouble tickets to pull forward any tickets that would go past the 8 hour threshold.