PUC Memorandum In Support of Unanimous Stipulation and Settlement Agreement

To:	Doug Brown, Attorney

Legal Division

THRU:	Tammy Benter, Director

Lisa Fuentes, Work Leader

Water Utilities Division

FROM:	Heidi Graham, Staff Engineer

Water Utilities Division

DATE:  	March 28, 2017

SUBJECT:	Docket No. 42944, Application from the City of Thrall, to Amend Certificate of Convenience and Necessity (CCN) No. 13063, in Williamson County; (Application No. 36627-C)

On January 28, 2010, the City of Thrall (Applicant or City), filed an application with the Texas Commission on Environmental Quality (TCEQ) to amend water Certificate of Convenience and Necessity (CCN) No. 11922, in Wise County, Texas.  This application was filed pursuant to the criteria in the Texas Water Code, Chapter 13, and the TCEQ’s rules outlined in Title 30, Texas Administrative Code (TAC), Sections 291.102 and 291.107.  On September 1, 2014, the rates and CCN programs were transferred from the TCEQ to the Public Utility Commission (PUC).  This application was part of the transfer and is now under the PUC’s purview.  The application is now being reviewed under the PUC’s Substantive Rules in Chapter 24, §§24.102 and 24.107.

The City’s application was accepted for filing at TCEQ on March 12, 2010. Proper public notice was provided on July 9, and 16, 2010, in the Taylor Daily Press.  On July 12, 2010, notice was provided to neighboring systems, landowners, cities and affected parties in Williamson County.  An affidavit stating that notice was published in the newspaper  were received by TCEQ on July 19, 2010, and an affidavit stating that notices were provided to all affected parties were received at the TCEQ on July 27, 2010.  The comment period ended August 26, 2010. The Commission received requests for a public hearing on the application and the matter was referred to the State Office of Administrative Hearings (SOAH) for a contested case hearing.

On January 5, 2011, an Administrative Law Judge (ALJ) for SOAH, conducted a preliminary hearing, took jurisdiction, and designated the following parties: the City of Thrall (Applicant); the Executive Director of the TCEQ (ED); Noack Water Supply Corporation (WSC) and the Stiles Farm Foundation (Protestants). The case was abated as parties attempted to reach a settlement.  On October 11, 2012, the parties reached a settlement agreement.  The SOAH ALJ subsequently remanded the case to the ED on October 23, 2012.

The original service area requested in the application was approximately 47.6 acres for the construction of a high school. The settlement agreement between the City and the WSC reduced the area to approximately 22.62 acres.

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

•	TWC §13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.  Since the settlement was reached in 2012, a high school has been constructed and is receiving water service from the City. The City has a TCEQ approved public water system, (PWS) No. 2460015.  The PWS meets TCEQ’s drinking water standards as required by 16 TAC § 24.102(a)(1).  A review of TCEQ’s Central Registry database indicates that the PWS has no unresolved violations. Therefore, adequate service is being provided to the requested area.

•	TWC §13.246(c)(2) requires the commission to consider the need for service in the requested area.  The City originally filed the CCN application to amend their CCN for an area in which a high school was to be constructed. The high school has been constructed and the City is currently providing water service to the school. Therefore, there is a need for service in the requested area.

•	TWC §13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail water utility servicing the proximate area.  As a result of this application, the City’s water CCN No. 13063 will be amended to include the area noted in the settlement agreement. The City and Noack WSC reached a settlement agreement where the WSC consents to the City serving the eastern portion of the requested area. No other retail public utility is affected by this amendment application.

•	TWC §13.246(c)(4) requires the commission to consider the ability of the applicant to provide adequate service.  The City has a TCEQ approved public water system, (PWS) No. 2460015.  The PWS meets TCEQ’s drinking water standards as required by 16 TAC § 24.102(a)(1).  A review of TCEQ’s Central Registry database indicates that the PWS has no unresolved violations. There are no additional facilities required to serve the requested area. Therefore, the City has the ability to provide adequate service.

•	TWC §13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.  The City and Noack WSC reached a settlement agreement where the WSC consents to the City serving the eastern portion of the requested area. No other retail public utility is affected by this amendment application.

•	TWC §13.246(c)(6) requires the commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service. Based on the review of the application and information provided by the Applicant, the City has demonstrated adequate financial and managerial capabilities to provide service to the area being requested. Therefore, the City demonstrates adequate financial capability to provide service.

•	TWC §§13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.  The land in the proposed area was developed for the provision of water service to a high school. The school has been constructed and water service is currently being provided to the school by the City. There should be no additional effect on the environmental integrity or on the land.

•	TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.  The land in the proposed area was developed for the provision of water service to a high school. The school has been constructed and water service is currently being provided to the school by the City. The only customer in the requested area is the high school.

The City meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service.  Approving this application to amend CCN No. 13063 is necessary for the service, accommodation, convenience and safety of the public.

Staff recommends approval of the order.  The City consented to the attached map and certificate.. Staff also recommends that the Applicant file a certified copy of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC § 13.257 (r) and (s).

Based on the above information, Staff recommends the Commission do the following:

- Approve the Application and the Unanimous Stipulation and Settlement Agreement;

- Provide the attached map and certificate to the Applicant.