# DOCKET NO. 43705

| AGREED NOTICE OF VIOLATION AND SETTLEMENT AGREEMENT RELATING TO POWER RESOURCES LTD.'S VIOLATION OF PURA § 39.151(d), P.U.C. SUBST. R. § 25.503(f)(2), AND ERCOT OPERATING GUIDE §§ 2.2.5(2), RELATED TO AUTOMATIC VOLTAGE REGULATORS, AND 2.6.2(1), RELATED TO GENERATORS | § § §§ § §§ § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

# PROPOSED ORDER

Pursuant to P.U.C. Proc. R. 22.246(g)(1)(C), this Order approves the Settlement Agreement and Report to Commission (Agreement) between the Staff of the Public Utility Commission of Texas (Commission) and Power Resources, Ltd. (Power Resources) (collectively, Parties) regarding Commission Staff's investigation of Power Resources for violation of PURA § 39.151(d) and P.U.C. Subst. R. 25.503(f)(2), concerning failure to adhere to Electric Reliability Council of Texas (ERCOT) Operating Guide §§ 2.2.5(2), related to automatic voltage regulators, and 2.6.2(1), related to generators.  The Agreement resolves all issues in this docket.  Commission Staff recommended an administrative penalty of Thirty-Seven Thousand Dollars ($37,000), which Power Resources agreed to pay.  The Agreement is approved.

The Commission adopts the following findings of fact and conclusions of law:

# Findings of Fact

EDF Trading is an authorized Qualified Scheduling Entity (QSE), as defined by ERCOT Protocols § 2.1 and is the QSE for Power Resources.

The performance criteria in ERCOT Operating Guide § 2.2.5(2) states that generation resources shall conduct tests on Automatic Voltage Regulators (AVRs) or verify AVRs performance through comparison with operational data a minimum of every five years.

The performance criteria in ERCOT Operating Guide § 2.6.2(1) states that generation resources must set any under frequency relays to trip only if the generation resource is run at a particular frequency for a particular length of time.

Commission Staff reviewed Texas Reliability Entity, Inc.'s ERCOT Protocols compliance audit of Qualified Scheduling Entities (QSE) and determined EDF Trading has been the QSE for Power Resources since 2007.

Commission Staff concluded Power Resources had not performed AVR testing at five year intervals as required by ERCOT Operating Guide § 2.2.5(2) for three generators —two gas combustion turbines and a steam turbine — between 2003 and 2014.

Commission Staff concluded Power Resources had under-frequency relay settings that were not in accordance with ERCOT Operating Guide § 2.6.2(1) requirements.

On or about October 14, 2014, Power Resources was provided proper notice of Commission Staff's investigation in this matter, the results of the investigation, information about its right to a hearing, and an opportunity to explain its activities.

Power Resources fully cooperated with Commission Staff's investigation.

Power Resources acknowledges the alleged violations detailed in this Order.

Power Resources participated in one or more settlement discussions with Commission Staff to resolve this matter.

On November 4, 2014, the Parties entered into the Agreement resolving the alleged violations.  Commission Staff recommended, and Power Resources agreed to pay, an administrative penalty of Thirty-Seven Thousand Dollars ($37,000).

The Agreement provides for a reasonable resolution of this dispute.

# Conclusions of Law

- The Commission has jurisdiction over this matter pursuant to PURA §§ 14.001, 14.002, 14.003, 14.051, 15.023, 15.024, and 39.151(d).

Power Resources was provided proper notice of Commission Staff's investigation in this matter, the results of the investigation, information about its right to a hearing, and an opportunity to explain its activities.

Power Resources failed to meet the performance criteria of ERCOT Operating Guide §§ 2.2.5(2) and 2.6.2(1).  Therefore, Power Resources violated PURA § 39.151(d) and the requirements of P.U.C. Subst. R. 25.503(f)(2).

P.U.C. Proc. R. 22.246(g)(1)(A), (B), and (C) require issuance of a report of a settlement to the Commission and a written order that approves the settlement.

The Agreement is a report of settlement to the Commission as required by P.U.C. Proc. R. 22.246(g).

This docket was processed in accordance with applicable statutes and Commission rules.

The requirements for informal disposition pursuant to P.U.C. Proc. R. 22.35 have been met in this proceeding.

# Ordering Paragraphs

In accordance with these findings of fact and conclusions of law, the Commission issues the following order:

- The Agreement, attached to this Order as Attachment 1, is approved, and the Parties shall be bound by its terms.

Power Resources shall pay an administrative penalty to the Commission in the amount of Thirty-Seven Thousand Dollars ($37,000).  Power Resources shall remit payment of the full amount of the administrative penalty on or before thirty (30) calendar days after the date this Order is signed.  Payment of the administrative penalty shall be made by check payable to the Public Utility Commission of Texas and shall reference this docket.  The check shall be sent to the following address:

Public Utility Commission of Texas 
P.O. Box 13326

Austin, Texas 78711

ATTN: Fiscal Services

Power Resources shall file an affidavit of payment in this docket no later than five calendar days after the payment is made.

The Commission shall not be constrained in any manner from requiring additional action or penalties for violations that are not raised here.

Entry of this Order does not indicate the Commission's endorsement or approval of any principle or methodology that may underlie the Agreement.  Entry of this Order consistent with the Agreement shall not be regarded as a binding holding or precedent as to the appropriateness of any principle or methodology underlying the Agreement.

All other motions, requests for entry of specific findings of fact and conclusions of law, and any other request for general or specific relief, if not expressly granted herein, are denied.

SIGNED AT AUSTIN, TEXAS the ________ day of December 2014.

PUBLIC UTILITY COMMISSION OF TEXAS

DONNA L. NELSON, CHAIRMAN

KENNETH W. ANDERSON, JR., COMMISSIONER

BRANDY MARTY MARQUEZ, COMMISSIONER

q:\cadm\docket management\electric\nov\43xxx\43705 po.docx

Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 11.001-66.016 (Vernon 2007 & Supp. 2014) (PURA).