DOCKET NO. 44024

| APPLICATION OF AQUA TEXAS, INC. AND UNION HILL WSC FOR SALE TRANSFER, OR MERGER OF FACILITIES AND CERTIFICATE RIGHTS IN HENDERSON COUNTY | § § § § § | PUBLIC UTILITY COMMISSION of TEXAS |
| --- | --- | --- |

notice of approval

This Notice addresses the application filed by Aqua Texas, Inc. (Aqua Texas) regarding the sale and transfer of Union Hill Water Supply Corporation’s (Union Hill WSC) facilities and corresponding water certificate of convenience and necessity (CCN) No. 11439 for a certificated service area in Henderson County.  On January 4, 2016, Public Utility Commission of Texas (Commission) Staff recommended approval Aqua Texas’ application. The application is approved.

The Commission adopts the following findings of fact and conclusions of law:

- Findings of Fact

Procedural History, Description and Background

- On December 22, 2014, Aqua Texas filed an application for approval of the sale and transfer of Union Hill WSC’s facilities in Henderson County and the corresponding water CCN No. 11439.

- On April 28, 2015, Order No. 4 was issued, finding the application to be administratively complete and established a procedural schedule regarding notice and intervention.

- On July 20, 2015, Commission Staff filed its Recommendation on Final Disposition.  Commission Staff recommended Aqua Texas’ application be approved.

- On August 12, 2015, Order No. 6 was issued, which approved the application and the sale and transfer transaction between Aqua Texas and Union Hill WSC.

- On October 2, 2015, Aqua Texas provided a signed bill of sale.

- On October 27, 2015, Aqua Texas provided information regarding the disposition of customer deposits.

- On November 16, 2015, Commission Staff filed its Recommendation on Closing Documents, and determined that Aqua Texas and Union Hill WSC consummated their sale and transfer transaction.

- On November 17, 2015, Order No. 8 was issued, deeming the closing documents sufficient and established a procedural schedule.

- On December 29, 2015, Aqua Texas provided a signed consent form consenting to the map for the amended water CCN No. 13201, as prepared by Commission Staff.

- The map described in Findings of Fact No. 9 is attached to this Notice.  The revised CCN certificate and tariff are also attached to this Notice.

- On January 4, 2016, Commission Staff filed its Final Recommendation and recommended approval of Aqua Texas’ application and the sale and transfer of Union Hill WSC’s facilities in Henderson County and the corresponding water CCN No. 11439.

- On January 25, 2016, Commission Staff filed its Proposed Notice of Approval.

- On February 5, 2016, Commission Staff filed its proposed tariff.

- Notice

- Notice of the application was published in the Athens Daily Review on May 1 and 8, 2015.

- Notice of the application was provided to affected parties on May 5, 2015.

- On May 15, 2015, Aqua Texas filed affidavits regarding the provision and publication of notice of its application.

- Evidentiary Record

- On January 25, 2016, Commission Staff filed a request to admit evidence.

- On February 17, 2016, Order No. 9 was issued admitting evidence into the record.

Informal Disposition

- More than 15 days have passed since completion of the notice provided in this docket.

- No requests for hearing were submitted.

II.  Conclusions of Law

- The Commission has jurisdiction and authority over these matters pursuant to Tex. Water Code §§ 13.251and 13.301 (TWC).

- Aqua Texas and Union Hill WSC are retail public utilities as defined in TWC § 13.002(19) and 16 Tex. Admin. Code § 24.3(58) (TAC).

- Public notice of the application was provided as required by TWC § 13.301(a)(2).

- The application was processed in accordance with the requirements of the Texas Administrative Procedures Act, TWC § 13.301 and 16 TAC §§ 24.109 and 24.112.

- Aqua Texas and Union Hill WSC completed the sale within one year from the date of the Commission’s approval of the sale, consistent with 16 TAC § 24.112(e).

- After considering the factors in TWC § 13.246(c), Aqua Texas has demonstrated adequate financial, managerial, and technical capability for providing continuous and adequate service to the requested area.

- Under TWC § 13.257(r) and 16 TAC § 24.106(f), Aqua Texas is required to record a certified copy of the approved CCN and map, along with a boundary description of the service area, in the real property records of each county in which the service area or a portion of the service area is located, and submit to the Commission evidence of the recording.

- The requirements for informal disposition pursuant to 16 TAC § 22.35 have been met in this proceeding.

III.  Ordering Paragraphs

In accordance with these findings of fact and conclusions of law, the Commission issues the following ordering paragraphs:

- The application is approved and the water facilities and certificated service area in Henderson County are transferred to Aqua Texas.

- Union Hills WSC’s water CCN No. 11439 is cancelled and Aqua Texas’ water CCN No. 13201 is amended to reflect the transaction.

- Aqua Texas shall serve every customer and applicant for service within the area previously served by Union Hill WSC, now under CCN No. 13201, and such service shall be continuous and adequate.

- Aqua Texas shall comply with the recording requirements in TWC § 13.257(r) for the area in Henderson County affected by the application and submit to the Commission evidence of the recording no later than 31 days after receipt of this Notice.

- All other motions, requests for entry of specific findings of fact or conclusions of law, and any other requests for general or specific relief, if not expressly granted in this Notice are denied.

| Signed at Austin, Texas the ______ day of February 2016 |  |
| --- | --- |
|  | PUBLIC UTILITY COMMISSION OF TEXAS |
|  | __________________________________________________ JEFFREY J. HUHN ADMINISTRATIVE LAW JUDGE |

Q:\CADM\Docket Management\Water\STM\44XXX\44024 - NOA.docx