## Frontier Assoc
Bonus and Cost-effectiveness Calculator
| Version | v7.0
| updated | 2015-02-20
Frontier Associates

## Reference All Incentives (hidden)
| AEP Central - TCC |  |  |  |  | AEP North - TNC |  |  |  |  | AEP SWEPCO | [5 empty] | CenterPoint |  | Entergy |  |  | Sharyland |  | TNMP |  |  |  | Xcel |  |  |  | Selected Incentive Rates
2013 | RES | RES UC | HTR SF & MH | HTR MF | HTR UC | RES | RES UC | HTR SF & MH | HTR MF | HTR UC | RES SF & MH | RES MF | RES UC | HTR SF & MH | HTR MF | HTR UC | RES | HTR | RES | HTR | AC/HP | RES | HTR | RES | RES UC | HTR | HVAC | RES | RES SP | HTR | HTR SP
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32
Central AC kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Central AC kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Central HP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Central HP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Package AC kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Package AC kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Package HP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Package HP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
GSHP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
GSHP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Window AC kW | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 400 | 519 | 260 | 440 | 0 | 278 | 477 | 0 | 0 | 0 | 450 | 0 | 358 | 0 | 420 | 0
Window AC kWh | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0.25 | 0.35 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0 | 0 | 0 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0
Ceiling Insulation kW | 242 | 296 | 360 | 325 | 440 | 242 | 296 | 360 | 325 | 440 | 300 | 245 | 350 | 360 | 325 | 440 | 465 | 500 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Ceiling Insulation kWh | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.1 | 0.08 | 0.11 | 0.11 | 0.1 | 0.15 | 0.18 | 0.2 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Wall Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 300 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Wall Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.1 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Floor Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 300 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Floor Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.1 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Infiltration kW | 242 | 296 | 360 | 325 | 440 | 242 | 296 | 360 | 325 | 440 | 245 | 245 | 350 | 360 | 325 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Infiltration kWh | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.08 | 0.11 | 0.11 | 0.1 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Windows kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Windows kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
CFLs kW | 0 | 0 | 270 | 243.75 | 330 | 0 | 0 | 270 | 243.75 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | 101.25 | 180 | 260 | 440 | 0 | 0 | 477 | 0 | 0 | 341.25 | 0 | 0 | 0 | 0 | 0 | 0
CFLs kWh | 0 | 0 | 0.0825 | 0.075 | 0.1125 | 0 | 0 | 0.0825 | 0.075 | 0.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0375 | 0.06 | 0.083 | 0.16 | 0 | 0 | 0.16 | 0 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0
Solar Screens kW | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 440 | 0 | 278 | 477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Screens kWh | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.16 | 0 | 0.1 | 0.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Heater Jackets kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 280 | 477 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Jackets kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.1 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Water Heater Pipe Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 280 | 477 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Pipe Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.1 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Water Heater Replacement kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Replacement kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Ceiling Fans kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Ceiling Fans kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Refrigerators kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Refrigerators kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Dishwashers kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Dishwashers kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Clothes Washers kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Clothes Washers kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Solar Water Heater Replacement kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Solar Water Heater Replacement kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Photovoltaics kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Photovoltaics kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
25

## Planning Calculator (hidden)
Instructions |  | Select from drop-down | Incentive Levels |  | Manually Enter Data (It's ok to cut and paste) |  |  |  |  | Automatic Or Manual | Automatic Calculations for Cost-effectiveness and Bonus | [8 empty] | Additional Analysis
| Program | Measure (Select from Drop Down Menu or Type In) | Incentive $/kW | Incentive $/kWh | # Installations | kW | kWh | Incentives | Total Admin | Estimated Useful Life | Total Program Cost | PV (Avoided Capacity Cost) | PV (Avoided Energy Cost) | PV Avd Capacity Cost * kW | PV Avoided Energy Cost * kWh | Total Avoided Cost | Net Benefits | Ben-Cost Ratio | Estimated Max Bonus (10% NB) | Load Factor | Total $/Installation | Total Annual $/kW | Total Annual $/kWh | Total Avoided Cost/kW | Total Avoided Cost/kWh | Total Incentive Paid as % of Total Avoided Cost | % of Total Avoided Costs from kW | % of Total Avoided Costs from kWh
WHITE CELLS: Enter Data | Residential SOP | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
GREY CELLS: Sub-Totals or Blanks | Select Measure in column "C" | [6 empty] | 0 |  |  | 0
BLUE CELLS: Automatic Calculations | Measure 2 | [6 empty] | 0 |  |  | 0
Max of 15 programs | etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Hide any unused rows if needed | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Hard-to-Reach SOP | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
Unhide cells for more programs | [7 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Portfolio Total |  |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
| Fixed Inputs per PUC Rule |  |  |  | 2013 | 2014
| Avoided Cost per kW | 80 |  |  | 80 | 80
| Avoided Cost per kWh | 0.104 |  |  | 0.104 | 0.04619
| Inflation Rate | 2%
| Maximum % Net Benefits for Bonus | 10%
Utility Specific Inputs
| Discount Rate | 8.2%
Note on C1: Amy Martin: Select the measure from the drop-down menu. They are grouped by Commercial and Residential Measures, respectively, and alphabetized. Alternatively, you can manually type the measure and insert the EUL in column I
Note on K1: Amy Martin: Column C will automatically insert the correct EUL if you select the measure from the drop-down menu in column B. If you type in the measure, you can type in the EUL.
Note on U2: Amy Martin: If a measure produces more energy savings during non-peak hours than peak, the load factor could be > 100%

## Step 1 Fixed Inputs
Insert or Verify Data in Blue Cells | Fixed Inputs per PUC Rule | Avoided Cost Reference | 2013 | 2014
Avoided Cost per kW | 80 |  | 80 | 80
Avoided Cost per kWh | 0.04619 |  | 0.104 | 0.04619
Utility Specific Discount Rate (WACC) | 7.458%
Inflation Rate | 2%
Maximum % Net Benefits for Bonus | 10%
PUC Goals | kW | kWh
2014 Goals | 4260 | 7464000
Cost-effectiveness Input
Bonus Collected in 2014 = Bonus Earned in 2012 | 0
Please Note: The bonus included in the cost-effectiveness analysis is the bonus collected for the program year, not the bonus earned. For example, for PY2014 cost-effectiveness, the bonus collected (= 2012 bonus earned) should be included in cell B14 of this tab. As a result, this bonus will not match the bonus calculated in the Step 4 Bonus Calculator Tab which is the bonus earned for PY2014.

## Step 2 Results Calculator
Instructions |  | Select from drop-down | Not a required input |  | Manually Enter Data (It's ok to cut and paste in these cells) |  |  |  | Automatic Or Manual | Automatic Calculations for Cost-effectiveness and Bonus | [11 empty] | Additional Analysis (Not required as part of reporting)
| Program (list custom measure here if necessary) | Measure (Select from Drop Down Menu) | Incentive $/kW | Incentive $/kWh | # Installations | kW | kWh | Incentives | Estimated Useful Life | Total Admin for Bonus (Excluding Bonus; including cost paid for EECRF) | Total Admin for CE (Including Bonus; excluding cost paid for EECRF) | Total Program Cost for Bonus (Excluding Bonus; including cost paid for EECRF) | Total Program Cost for CE (Including Bonus; excluding cost paid for EECRF) | PV (Avoided Capacity Cost) | PV (Avoided Energy Cost) | PV Avd Capacity Cost * kW | PV Avoided Energy Cost * kWh | Total Avoided Cost | Net Benefits | Ben-Cost Ratio | Estimated Max Bonus (10% NB) | Load Factor | kW Incentive as % of Avoided Cost | kWh Incentive as % of Avoided Cost | % of Total Avoided Costs from kW | % of Total Avoided Costs from kWh | Total $/Installation | Total Annual $/kW | Total Annual $/kWh | Total Avoided Cost/kW | Total Avoided Cost/kWh | Total Incentive Paid as % of Total Avoided Cost
WHITE CELLS: Enter Data | Commercial Solutions MTP | N/A |  |  | 0 | 429.1 | 2148768 | 296580.95 | NA | 53922.6295 | 51764.791 | 350503.5795 | 348345.741 | 6670.7919 | 3.8515 | 295181.6184 | 856699.5051 | 1151881.1235 | 803535.3825 | 3.3067 | 80353.5382 | 57.16% | [5 empty] | 816.8343
GREY CELLS: Sub-Totals or Blanks |  | Comm Lamps and Fixtures: Integrated-ballast LED Lamps |  |  |  | 105.11 | 543190 | 72648.8549 | 9 | 13208.5938 | 12680.0214 | 85857.4487 | 85328.8763 | 559.8426 | 0.32324 | 58845.0547 | 175580.2552 | 234425.3099 | 149096.4335 | 2.7473 | 14909.6434 | 58.99% |  |  | 25.1% | 74.9% | #DIV/0! | 816.8343 | 0.15806 | 2230.2855 | 0.43157 | 30.99%
BLUE CELLS: Optional Data Entry |  | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 0 | 102.04 | 482517 | 70526.9637 | 8.5 | 12822.8038 | 12309.6697 | 83349.7675 | 82836.6335 | 535.1472 | 0.30898 | 54606.4183 | 149088.3938 | 203694.8121 | 120858.1787 | 2.459 | 12085.8179 | 53.98% |  |  | 26.81% | 73.19% | #DIV/0! | 816.8343 | 0.17274 | 1996.2251 | 0.42215 | 34.62%
GREEN CELLS: Automatic Calculations |  | Comm Lamps and Fixtures: T8 and T5 Liner Florescents |  |  |  | 68.88 | 320079 | 47607.774 | 15.5 | 8655.7696 | 8309.389 | 56263.5436 | 55917.163 | 828.6169 | 0.47842 | 57075.1307 | 153133.05 | 210208.1807 | 154291.0177 | 3.7593 | 15429.1018 | 53.05% |  |  | 27.15% | 72.85% | #DIV/0! | 816.8343 | 0.17578 | 3051.8029 | 0.65674 | 22.65%
Max of 16 programs |  | Comm HVAC Chillers: Screw/Scroll/Reciprocating Chillers |  |  |  | 57.07 | 297249 | 39445.059 | 20 | 7171.672 | 6884.681 | 46616.731 | 46329.74 | 967.9629 | 0.55888 | 55241.6407 | 166125.7956 | 221367.4363 | 175037.6963 | 4.7781 | 17503.7696 | 59.46% |  |  | 24.95% | 75.05% | #DIV/0! | 816.8343 | 0.15683 | 3878.8757 | 0.74472 | 17.82%
|  | Comm Lamps and Fixtures: Light Emitting Diode |  |  |  | 41.24 | 237515 | 28503.8415 | 15 | 5182.4033 | 4975.0174 | 33686.2447 | 33478.8589 | 811.0188 | 0.46826 | 33446.415 | 111219.2431 | 144665.6581 | 111186.7992 | 4.3211 | 11118.6799 | 65.75% |  |  | 23.12% | 76.88% | #DIV/0! | 816.8343 | 0.14183 | 3507.8967 | 0.60908 | 19.7%
Measure Search: |  | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 0 | 30.61 | 150950 | 21156.7068 | 8.5 | 3846.5898 | 3692.6596 | 25003.2966 | 24849.3664 | 535.1472 | 0.30898 | 16380.8552 | 46640.6221 | 63021.4773 | 38172.1109 | 2.5361 | 3817.2111 | 56.29% |  |  | 25.99% | 74.01% | #DIV/0! | 816.8343 | 0.16564 | 2058.8526 | 0.4175 | 33.57%
|  | Comm HVAC VFD on AHU Supplu Fans |  |  |  | 3.86 | 61489 | 2667.9153 | 15 | 485.0649 | 465.6539 | 3152.9802 | 3133.5692 | 811.0188 | 0.46826 | 3130.5325 | 28792.9606 | 31923.4931 | 28789.9239 | 10.1876 | 2878.9924 | 181.8% |  |  | 9.806% | 90.19% | #DIV/0! | 816.8343 | 0.051277 | 8270.335 | 0.51917 | 8.357%
*Filter measure list for cells in column C here; see comment in C1 for instructions.* |  | Comm HVAC VFD on AHU Supplu Fans |  |  |  | 11.6 | 32617 | 8017.5694 | 15 | 1457.708 | 1399.3744 | 9475.2774 | 9416.9438 | 811.0188 | 0.46826 | 9407.818 | 15273.3009 | 24681.1188 | 15264.175 | 2.6209 | 1526.4175 | 32.1% |  |  | 38.12% | 61.88% | #DIV/0! | 816.8343 | 0.2905 | 2127.6827 | 0.75669 | 32.48%
|  | Comm Split System/Single Packaged Heat Pumps and Air Conditioners |  |  |  | 8.69 | 23162 | 6006.2653 | 15 | 1092.0244 | 1048.3245 | 7098.2897 | 7054.5898 | 811.0188 | 0.46826 | 7047.7533 | 10845.8839 | 17893.6372 | 10839.0474 | 2.5365 | 1083.9047 | 30.43% |  |  | 39.39% | 60.61% | #DIV/0! | 816.8343 | 0.30646 | 2059.1067 | 0.77254 | 33.57%
measure max = 40
measure max = 103 | Commercial SOP | N/A |  |  | 38 | 655.816 | 2928945.4418 | 196102.79 | NA | 58313.5232 | 56886.7352 | 254416.3132 | 252989.5252 | 9177.6499 | 5.2989 | 489283.2362 | 1247132.8657 | 1736416.102 | 1483426.5768 | 6.8636 | 148342.6577 | 50.98% | [5 empty] | 387.9386
| DX Unit | Comm Split System/Single Packaged Heat Pumps and Air Conditioners |  |  | 5 | 37.3741 | 120322.5207 | 21060.7177 | 15 | 6262.6577 | 6109.4259 | 27323.3754 | 27170.1436 | 811.0188 | 0.46826 | 30311.0975 | 56342.4612 | 86653.5587 | 59483.4151 | 3.1893 | 5948.3415 | 36.75% |  |  | 34.98% | 65.02% | 5434.0287 | 731.0778 | 0.22708 | 2318.5457 | 0.72018 | 24.3%
| Halogen | Comm Lamps and Fixtures: Halogen Lamps |  |  | 1 | 0.031 | 121.1647 | 11.0285 | 1.5 | 3.2795 | 3.1992 | 14.308 | 14.2278 | 112.4461 | 0.064924 | 3.4858 | 7.8664 | 11.3523 | -2.8755 | 0.7979 | -0.28755 | 44.62% |  |  | 30.71% | 69.29% | 14.2278 | 461.5483 | 0.11809 | 366.2024 | 0.093693 | 97.15%
| HID | Comm Lamps and Fixtures: High Intensity Discharge Lamps |  |  | 1 | 1.2828 | 6225.842 | 221.419 | 15.5 | 65.8416 | 64.2306 | 287.2605 | 285.6496 | 828.6169 | 0.47842 | 1062.9497 | 2978.584 | 4041.5337 | 3755.8841 | 14.1486 | 375.5884 | 55.4% |  |  | 26.3% | 73.7% | 285.6496 | 223.9325 | 0.04614 | 3150.5564 | 0.64915 | 5.479%
| IB CFL Lamps | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps |  |  | 1 | 0.0941 | 444.717 | 43.1506 | 2.5 | 12.8313 | 12.5174 | 55.9819 | 55.668 | 182.6714 | 0.10547 | 17.1894 | 46.9043 | 64.0936 | 8.4256 | 1.1514 | 0.84256 | 53.95% |  |  | 26.82% | 73.18% | 55.668 | 594.9198 | 0.12588 | 681.1226 | 0.14412 | 67.32%
| LED | Comm Lamps and Fixtures: Light Emitting Diode |  |  | 9 | 39.6069 | 269245.9515 | 24593.2852 | 15 | 7313.1091 | 7134.1754 | 31906.3943 | 31727.4606 | 811.0188 | 0.46826 | 32121.9402 | 126077.6411 | 158199.5813 | 126472.1207 | 4.9862 | 12647.2121 | 77.6% |  |  | 20.3% | 79.7% | 3525.2734 | 805.5767 | 0.1185 | 3994.243 | 0.58757 | 15.55%
| LED Fixture Replace MBE | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 1 | 4.847 | 18856.4544 | 2625.9832 | 8.5 | 780.8677 | 761.7618 | 3406.8508 | 3387.7449 | 535.1472 | 0.30898 | 2593.8584 | 5826.2787 | 8420.137 | 5032.3921 | 2.4855 | 503.2392 | 44.41% |  |  | 30.81% | 69.19% | 3387.7449 | 702.8782 | 0.18067 | 1737.1853 | 0.44654 | 31.19%
| Lighting Controls | Comm Lighting Controls: Occupancy Sensor |  |  | 5 | 30.1418 | 162642.2091 | 7938.1153 | 10 | 2360.4941 | 2302.7386 | 10298.6094 | 10240.8539 | 607.3437 | 0.35067 | 18306.4337 | 57032.9457 | 75339.3794 | 65098.5255 | 7.3567 | 6509.8526 | 61.6% |  |  | 24.3% | 75.7% | 2048.1708 | 341.672 | 0.063321 | 2499.4984 | 0.46322 | 10.54%
| Linear Fluorescent | Comm Lamps and Fixtures: T8 and T5 Liner Florescents |  |  | 4 | 251.9577 | 1157155.794 | 52205.4951 | 15.5 | 15523.9318 | 15144.0995 | 67729.4269 | 67349.5946 | 828.6169 | 0.47842 | 208776.4031 | 553609.5654 | 762385.9686 | 695036.374 | 11.3198 | 69503.6374 | 52.43% |  |  | 27.38% | 72.62% | 16837.3986 | 268.8127 | 0.058531 | 3025.8491 | 0.65884 | 6.848%
| Non LED Fixture Replace MBE | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 4 | 8.4815 | 51025.8286 | 3594.5623 | 8.5 | 1068.8863 | 1042.7333 | 4663.4487 | 4637.2957 | 535.1472 | 0.30898 | 4538.8508 | 15765.9913 | 20304.8421 | 15667.5465 | 4.3786 | 1566.7546 | 68.68% |  |  | 22.35% | 77.65% | 1159.3239 | 549.8377 | 0.091394 | 2394.0155 | 0.39793 | 17.7%
| Roof and Insulation | Comm Energy Star Roofs |  |  | 3 | 8.4747 | 11119.6191 | 2040.0006 | 15 | 606.6187 | 591.7762 | 2646.6193 | 2631.7768 | 811.0188 | 0.46826 | 6873.141 | 5206.8948 | 12080.0358 | 9448.259 | 4.5901 | 944.8259 | 14.98% |  |  | 56.9% | 43.1% | 877.2589 | 312.2965 | 0.23801 | 1425.4234 | 1.0864 | 16.89%
| Centrifugal Chillers | Comm HVAC Chillers: Centrifugal Chillers |  |  | 1 | 36.0016 | 92374.8786 | 40000 | 25 | 11894.4811 | 11603.4525 | 51894.4811 | 51603.4525 | 1088.8979 | 0.6287 | 39202.0654 | 58076.3083 | 97278.3737 | 45674.9212 | 1.8851 | 4567.4921 | 29.29% |  |  | 40.3% | 59.7% | 51603.4525 | 1441.4493 | 0.56178 | 2702.057 | 1.0531 | 41.12%
| Cool Roof Only | Comm Energy Star Roofs |  |  | 1 | 5.9793 | 14255.9556 | 1652.1098 | 15 | 491.2747 | 479.2544 | 2143.3845 | 2131.3643 | 811.0188 | 0.46826 | 4849.3247 | 6675.5219 | 11524.8466 | 9393.4823 | 5.4073 | 939.3482 | 27.22% |  |  | 42.08% | 57.92% | 2131.3643 | 358.4675 | 0.15035 | 1927.4575 | 0.80842 | 14.34%
| Retro-commissioning - Petition 36779 EUL = 10 | Retro-commissioning |  |  | 1 | 231.06 | 1024616 | 40000 | 10 | 11894.4811 | 11603.4525 | 51894.4811 | 51603.4525 | 607.3437 | 0.35067 | 140332.8459 | 359297.0671 | 499629.913 | 448026.4605 | 9.6821 | 44802.646 | 50.62% |  |  | 28.09% | 71.91% | 51603.4525 | 224.5931 | 0.050648 | 2162.3384 | 0.48763 | 8.006%
| Window Film | Comm Window Film |  |  | 1 | 0.4835 | 538.5065 | 116.9228 | 10 | 34.7684 | 33.9177 | 151.6912 | 150.8405 | 607.3437 | 0.35067 | 293.6507 | 188.8354 | 482.4861 | 331.6456 | 3.1987 | 33.1646 | 12.71% |  |  | 60.86% | 39.14% | 150.8405 | 313.7357 | 0.28169 | 997.9031 | 0.89597 | 24.23%
Unhide cells for more programs
measure max = 40 | Irrigation Load Management MTP | N/A |  |  | 8 | 454 | 3636 | 50000 | NA | 10209.7603 | 9845.9745 | 60209.7603 | 59845.9745 | 75.9366 | 0.043844 | 34475.2368 | 159.4165 | 34634.6533 | -25211.3212 | 0.57873 | -2521.1321 | 0.09142% | [5 empty] | 132.6206
|  | Comm Load Curtailment Measure |  |  | 8 | 454 | 3636 | 50000 | 1 | 10209.7603 | 9845.9745 | 60209.7603 | 59845.9745 | 75.9366 | 0.043844 | 34475.2368 | 159.4165 | 34634.6533 | -25211.3212 | 0.57873 | -2521.1321 | 0.09142% |  |  | 99.54% | 0.4603% | 7480.7468 | 132.6206 | 16.5593 | 76.2878 | 9.5255 | 144.4%
measure max = 40 | Load Management SOP | N/A |  |  | 0 | 4654 | 31961 | 41495 | NA | 13393.6971 | 13091.7913 | 54888.6971 | 54586.7913 | 75.9366 | 0.043844 | 353409.1459 | 1401.2955 | 354810.4414 | 300223.6501 | 6.4999 | 30022.365 | 0.0784% | [5 empty] | 11.7939
|  | Comm Load Curtailment Measure |  |  |  | 4654 | 31961 | 41495 | 1 | 13393.6971 | 13091.7913 | 54888.6971 | 54586.7913 | 75.9366 | 0.043844 | 353409.1459 | 1401.2955 | 354810.4414 | 300223.6501 | 6.4999 | 30022.365 | 0.0784% |  |  | 99.61% | 0.3949% | #DIV/0! | 11.7939 | 1.7174 | 76.2377 | 11.1014 | 11.69%
measure max = 40 | Open MTP | N/A |  |  | 0 | 341.35 | 1517443 | 421174.8 | NA | 77056.1381 | 73991.7902 | 498230.9381 | 495166.5902 | 4183.539 | 2.4155 | 191723.7081 | 496926.9877 | 688650.6958 | 193484.1056 | 1.3907 | 19348.4106 | 50.75% | [5 empty] | 1459.5897
|  | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 0 | 121.36 | 545535 | 149740.0724 | 8.5 | 27395.7314 | 26306.2653 | 177135.8038 | 176046.3377 | 535.1472 | 0.30898 | 64945.4618 | 168559.7335 | 233505.1953 | 57458.8576 | 1.3264 | 5745.8858 | 51.31% |  |  | 27.81% | 72.19% | #DIV/0! | 1459.5897 | 0.3247 | 1924.0705 | 0.42803 | 64.13%
|  | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 0 | 112.27 | 475005 | 138524.3732 | 8.5 | 25343.7604 | 24335.8966 | 163868.1336 | 162860.2698 | 535.1472 | 0.30898 | 60080.974 | 146767.3315 | 206848.3055 | 43988.0357 | 1.2701 | 4398.8036 | 48.3% |  |  | 29.05% | 70.95% | #DIV/0! | 1459.5897 | 0.34498 | 1842.4183 | 0.43547 | 66.97%
|  | Comm Lamps and Fixtures: Integrated-ballast LED Lamps |  |  |  | 80.64 | 351295 | 99497.6882 | 9 | 18203.6238 | 17479.7069 | 117701.312 | 116977.3952 | 559.8426 | 0.32324 | 45145.7065 | 113552.2851 | 158697.9916 | 41720.5964 | 1.3567 | 4172.0596 | 49.73% |  |  | 28.45% | 71.55% | #DIV/0! | 1459.5897 | 0.33505 | 1967.981 | 0.45175 | 62.7%
|  | Comm Lamps and Fixtures: Light Emitting Diode |  |  |  | 14.52 | 94004 | 17915.5064 | 15 | 3277.7358 | 3147.3877 | 21193.2422 | 21062.8941 | 811.0188 | 0.46826 | 11775.9929 | 44018.4987 | 55794.4916 | 34731.5975 | 2.6489 | 3473.1598 | 73.91% |  |  | 21.11% | 78.89% | #DIV/0! | 1459.5897 | 0.22545 | 3842.5958 | 0.59353 | 32.11%
|  | Comm Lamps and Fixtures: T8 and T5 Liner Florescents |  |  |  | 11.35 | 49417 | 14004.2009 | 15.5 | 2562.142 | 2460.2514 | 16566.3429 | 16464.4523 | 828.6169 | 0.47842 | 9404.8016 | 23642.2131 | 33047.0147 | 16582.5624 | 2.0072 | 1658.2562 | 49.7% |  |  | 28.46% | 71.54% | #DIV/0! | 1459.5897 | 0.33524 | 2911.6313 | 0.66874 | 42.38%
| HVAC-DX/Heat Pump | Custom |  |  |  | 1.21 | 2187 | 1492.9589 | 4.4 | 273.1447 | 262.2823 | 1766.1035 | 1755.2412 | 306.4226 | 0.17692 | 370.7714 | 386.9257 | 757.6971 | -997.5441 | 0.43168 | -99.7544 | 20.63% |  |  | 48.93% | 51.07% | #DIV/0! | 1459.5897 | 0.80755 | 626.196 | 0.34646 | 197%
|  | Comm Lighting Controls: Occupancy Sensor |  |  |  | 0 |  | 0 | 10 | 0 | 0 | 0 | 0 | 607.3437 | 0.35067 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
measure max = 40 | SCORE/CitySmart MTP | N/A |  |  | 0 | 315.85 | 1024498.11 | 216140.73 | NA | 41644.0933 | 40071.515 | 257784.8233 | 256212.245 | 8937.9339 | 5.1605 | 260338.007 | 481209.2112 | 741547.2182 | 485334.9732 | 2.8943 | 48533.4973 | 37.03% | [5 empty] | 816.1622
|  | Comm Lamps and Fixtures: Light Emitting Diode |  |  |  | 57.81 | 384864 | 39560.2204 | 15 | 7622.115 | 7334.2861 | 47182.3354 | 46894.5065 | 811.0188 | 0.46826 | 46884.9964 | 180217.1769 | 227102.1733 | 180207.6668 | 4.8428 | 18020.7667 | 76% |  |  | 20.64% | 79.36% | #DIV/0! | 816.1622 | 0.12259 | 3928.4237 | 0.59008 | 17.42%
|  | Comm Lamps and Fixtures: T8 and T5 Liner Florescents |  |  |  | 47.19 | 265118 | 32292.8005 | 15.5 | 6221.8926 | 5986.9393 | 38514.6931 | 38279.7399 | 828.6169 | 0.47842 | 39102.4305 | 126838.4616 | 165940.8922 | 127661.1523 | 4.335 | 12766.1152 | 64.13% |  |  | 23.56% | 76.44% | #DIV/0! | 816.1622 | 0.14527 | 3516.4419 | 0.62591 | 19.46%
|  | Comm Split System/Single Packaged Heat Pumps and Air Conditioners |  |  |  | 155.99 | 203516 | 106746.2165 | 15 | 20566.9214 | 19790.2663 | 127313.1379 | 126536.4828 | 811.0188 | 0.46826 | 126510.8215 | 95298.8042 | 221809.6256 | 95273.1428 | 1.7529 | 9527.3143 | 14.89% |  |  | 57.04% | 42.96% | #DIV/0! | 816.1622 | 0.62557 | 1421.9477 | 1.0899 | 48.13%
|  | Comm HVAC VFD on AHU Supplu Fans |  |  |  | 4 | 40000 | 2737.2579 | 15 | 527.3908 | 507.4753 | 3264.6487 | 3244.7332 | 811.0188 | 0.46826 | 3244.0752 | 18730.479 | 21974.5542 | 18729.821 | 6.7724 | 1872.9821 | 114.2% |  |  | 14.76% | 85.24% | #DIV/0! | 816.1622 | 0.081616 | 5493.6385 | 0.54936 | 12.46%
|  | Comm HVAC Chillers: Screw/Scroll/Reciprocating Chillers |  |  |  | 15.46 | 33610 | 10579.5019 | 20 | 2038.3653 | 1961.3919 | 12617.8672 | 12540.8938 | 967.9629 | 0.55888 | 14964.7059 | 18783.8748 | 33748.5807 | 21207.6869 | 2.6911 | 2120.7687 | 24.82% |  |  | 44.34% | 55.66% | #DIV/0! | 816.1622 | 0.37542 | 2182.9612 | 1.0041 | 31.35%
|  | Comm Lighting Controls: Occupancy Sensor |  |  |  | 3.65 | 30598 | 2497.7479 | 10 | 481.2441 | 463.0712 | 2978.9919 | 2960.819 | 607.3437 | 0.35067 | 2216.8047 | 10729.6506 | 12946.4553 | 9985.6362 | 4.3726 | 998.5636 | 95.7% |  |  | 17.12% | 82.88% | #DIV/0! | 816.1622 | 0.097359 | 3546.974 | 0.42311 | 19.29%
|  | Comm HVAC Chillers: Screw/Scroll/Reciprocating Chillers |  |  |  | 17.27 | 27800 | 11818.1112 | 20 | 2277.0096 | 2191.0244 | 14095.1208 | 14009.1356 | 967.9629 | 0.55888 | 16716.7187 | 15536.7961 | 32253.5148 | 18244.3793 | 2.3023 | 1824.4379 | 18.38% |  |  | 51.83% | 48.17% | #DIV/0! | 816.1622 | 0.50702 | 1867.6036 | 1.1602 | 36.64%
|  | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts |  |  | 0 | 2.73 | 13521 | 1868.1785 | 8.5 | 359.9442 | 346.3519 | 2228.1227 | 2214.5304 | 535.1472 | 0.30898 | 1460.9518 | 4177.7267 | 5638.6785 | 3424.1481 | 2.5462 | 342.4148 | 56.54% |  |  | 25.91% | 74.09% | #DIV/0! | 816.1622 | 0.16479 | 2065.45 | 0.41703 | 33.13%
|  | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures |  |  |  | 1.63 | 8516 | 1115.4326 | 16 | 214.9117 | 206.7962 | 1330.3443 | 1322.2288 | 845.7622 | 0.48832 | 1378.5924 | 4158.5498 | 5537.1423 | 4214.9135 | 4.1877 | 421.4913 | 59.64% |  |  | 24.9% | 75.1% | #DIV/0! | 816.1622 | 0.15622 | 3397.0198 | 0.6502 | 20.14%
|  | Comm Lamps and Fixtures: High Intensity Discharge Lamps |  |  |  | 1.57 | 8158 | 1074.3737 | 15.5 | 207.0009 | 199.184 | 1281.3746 | 1273.5578 | 828.6169 | 0.47842 | 1300.9285 | 3902.9721 | 5203.9006 | 3930.3429 | 4.0861 | 393.0343 | 59.32% |  |  | 25% | 75% | #DIV/0! | 816.1622 | 0.15707 | 3314.5864 | 0.63789 | 20.65%
|  | Comm Energy Star Roofs |  |  |  | 8.01 | 5612.11 | 5481.359 | 15 | 1056.1 | 1016.2192 | 6537.459 | 6497.5782 | 811.0188 | 0.46826 | 6496.2605 | 2627.9377 | 9124.1982 | 2626.62 | 1.4042 | 262.662 | 7.998% |  |  | 71.2% | 28.8% | #DIV/0! | 816.1622 | 1.1649 | 1139.1009 | 1.6258 | 60.07%
|  | Comm Lamps and Fixtures: Halogen Lamps |  |  |  | 0.54 | 3185 | 369.5298 | 1.5 | 71.1978 | 68.5092 | 440.7276 | 438.039 | 112.4461 | 0.064924 | 60.7209 | 206.7816 | 267.5025 | -170.5365 | 0.61068 | -17.0536 | 67.33% |  |  | 22.7% | 77.3% | #DIV/0! | 816.1622 | 0.13838 | 495.375 | 0.083988 | 138.1%
measure max = 40 | SMART SourceSM Solar PV MTP | N/A |  |  | 2 | 28.008 | 53992 | 44284.48 | NA | 8058.4985 | 7736.2972 | 52342.9785 | 52020.7772 | 1182.0857 | 0.68251 | 33107.8556 | 36849.9026 | 69957.7582 | 17936.981 | 1.3448 | 1793.6981
|  | Comm Solar Photovoltaic (PV) |  |  | 2 | 28.008 | 53992 | 44284.48 | 30 | 8058.4985 | 7736.2972 | 52342.9785 | 52020.7772 | 1182.0857 | 0.68251 | 33107.8556 | 36849.9026 | 69957.7582 | 17936.981 | 1.3448 | 1793.6981 | 22.01% |  |  | 47.33% | 52.67% | 26010.3886 | 1868.8581 | 0.96946 | 2497.7777 | 1.2957 | 63.3%
measure max = 40 | A/C Distributor Pilot MTP | N/A |  |  | 0 | 86.21 | 307653 | 139281.26 | NA | 32338.2454 | 31324.8746 | 171619.5054 | 170606.1346 | 811.0188 | 0.46826 | 69917.9301 | 144062.2015 | 213980.1316 | 43373.997 | 1.2542 | 4337.3997
|  | Res Central Air Conditioner |  |  |  | 86.21 | 307653 | 139281.26 | 15 | 32338.2454 | 31324.8746 | 171619.5054 | 170606.1346 | 811.0188 | 0.46826 | 69917.9301 | 144062.2015 | 213980.1316 | 43373.997 | 1.2542 | 4337.3997 | 40.74% |  |  | 32.67% | 67.33% | #DIV/0! | 1990.7146 | 0.55783 | 2482.0802 | 0.69552 | 65.09%
measure max = 40 | Residential SOP | N/A |  |  | 1205 | 790.796 | 2684792 | 414451.41 | NA | 92371.7555 | 89356.3252 | 506823.1655 | 503807.7352 | 6173.329 | 3.5643 | 671113.2322 | 1364990.3516 | 2036103.5838 | 1532295.8486 | 4.0414 | 153229.5849
|  | Res Central Air Conditioner |  |  | 29 | 14.74 | 39790 | 7086.33 | 15 | 1579.3811 | 1527.823 | 8665.7111 | 8614.153 | 811.0188 | 0.46826 | 11954.417 | 18632.144 | 30586.561 | 21972.408 | 3.5507 | 2197.2408 | 30.82% |  |  | 39.08% | 60.92% | 297.0398 | 587.9044 | 0.21779 | 2075.072 | 0.7687 | 23.17%
|  | Res Ceiling Insulation |  |  | 127 | 130.178 | 246591 | 53778.55 | 25 | 11986.0108 | 11594.7334 | 65764.5608 | 65373.2834 | 1088.8979 | 0.6287 | 141750.5463 | 155032.3548 | 296782.9011 | 231409.6177 | 4.5398 | 23140.9618 | 21.62% |  |  | 47.76% | 52.24% | 514.7503 | 505.1895 | 0.26669 | 2279.8238 | 1.2035 | 18.12%
|  | Res Duct Efficiency Improvement |  |  | 602 | 312.55 | 1797606 | 218454.25 | 18 | 48688.4641 | 47099.0532 | 267142.7141 | 265553.3032 | 910.0447 | 0.52544 | 284434.4567 | 944528.7617 | 1228963.2184 | 963409.9152 | 4.6279 | 96340.9915 | 65.66% |  |  | 23.14% | 76.86% | 441.1184 | 854.7199 | 0.14861 | 3932.0532 | 0.68367 | 17.78%
|  | Res Central Heat Pump |  |  | 37 | 82.92 | 183585 | 36482.77 | 15 | 8131.1764 | 7865.7381 | 44613.9464 | 44348.5081 | 811.0188 | 0.46826 | 67249.6783 | 85965.8747 | 153215.553 | 108867.0449 | 3.4548 | 10886.7045 | 25.27% |  |  | 43.89% | 56.11% | 1198.6083 | 538.036 | 0.24302 | 1847.7515 | 0.83458 | 23.81%
|  | Res Air Infiltration |  |  | 404 | 238.492 | 388580 | 93217.08 | 11 | 20775.9586 | 20097.7377 | 113993.0386 | 113314.8177 | 652.4322 | 0.3767 | 155599.8662 | 146377.3306 | 301977.1968 | 188662.3792 | 2.6649 | 18866.2379 | 18.6% |  |  | 51.53% | 48.47% | 280.4822 | 477.9743 | 0.29336 | 1266.1942 | 0.77713 | 30.87%
|  | Res Ground Source heat Pump |  |  | 4 | 10.26 | 22140 | 4465.8 | 15 | 995.3248 | 962.833 | 5461.1248 | 5428.633 | 811.0188 | 0.46826 | 8321.0528 | 10367.3201 | 18688.3729 | 13259.74 | 3.4426 | 1325.974 | 24.63% |  |  | 44.53% | 55.47% | 1357.1582 | 532.2734 | 0.24666 | 1821.4788 | 0.8441 | 23.9%
|  | Res Wall Insulation |  |  | 2 | 1.656 | 6500 | 966.63 | 25 | 215.4398 | 208.4068 | 1182.0698 | 1175.0368 | 1088.8979 | 0.6287 | 1803.2149 | 4086.5656 | 5889.7805 | 4714.7437 | 5.0124 | 471.4744 | 44.81% |  |  | 30.62% | 69.38% | 587.5184 | 713.8102 | 0.18186 | 3556.6307 | 0.90612 | 16.41%
measure max = 40 | SMART SourceSM Solar PV MTP | N/A |  |  | 10 | 61.366 | 118296 | 102044.27 | NA | 16617.5235 | 15875.0785 | 118661.7935 | 117919.3485 | 1182.0857 | 0.68251 | 72539.8695 | 80737.8145 | 153277.6841 | 35358.3356 | 1.2999 | 3535.8336
|  | Res Solar Photovoltaic (PV) |  |  | 10 | 61.366 | 118296 | 102044.27 | 30 | 16617.5235 | 15875.0785 | 118661.7935 | 117919.3485 | 1182.0857 | 0.68251 | 72539.8695 | 80737.8145 | 153277.6841 | 35358.3356 | 1.2999 | 3535.8336 | 22.01% |  |  | 47.33% | 52.67% | 11791.9349 | 1933.6733 | 1.0031 | 2497.7623 | 1.2957 | 66.57%
measure max = 40 | Hard-to-Reach SOP | N/A |  |  | 424 | 224.235 | 788742 | 160598.34 | NA | 40127.2545 | 38958.7867 | 200725.5945 | 199557.1267 | 4101.1714 | 2.3679 | 191030.3878 | 399847.723 | 590878.1108 | 391320.9841 | 2.9609 | 39132.0984
|  | Res Ceiling Insulation |  |  | 50 | 38.992 | 70398 | 21781.2 | 25 | 5442.2714 | 5283.7976 | 27223.4714 | 27064.9976 | 1088.8979 | 0.6287 | 42458.3056 | 44259.3919 | 86717.6975 | 59652.6999 | 3.2041 | 5965.27 | 20.61% |  |  | 48.96% | 51.04% | 541.3 | 698.1809 | 0.38671 | 2223.9869 | 1.2318 | 25.12%
|  | Res Compact Fluorecent Lamps |  |  | 40 | 1.164 | 9338 | 1688.63 | 5.3 | 421.9227 | 409.6367 | 2110.5527 | 2098.2667 | 360.8988 | 0.20837 | 420.0862 | 1945.796 | 2365.8823 | 267.6156 | 1.1275 | 26.7616 | 91.58% |  |  | 17.76% | 82.24% | 52.4567 | 1813.1896 | 0.22602 | 2032.5449 | 0.25336 | 71.37%
|  | Res Duct Efficiency Improvement |  |  | 205 | 107.964 | 581404 | 98815.87 | 18 | 24690.2276 | 23971.2715 | 123506.0976 | 122787.1415 | 910.0447 | 0.52544 | 98252.061 | 305491.1923 | 403743.2533 | 280956.1119 | 3.2882 | 28095.6112 | 61.47% |  |  | 24.34% | 75.66% | 598.9617 | 1143.9563 | 0.21243 | 3739.61 | 0.69443 | 24.47%
|  | Res Air Infiltration |  |  | 128 | 75.565 | 127269 | 38049.35 | 11 | 9507.0469 | 9230.2107 | 47556.3969 | 47279.5607 | 652.4322 | 0.3767 | 49301.0411 | 47941.9849 | 97243.026 | 49963.4653 | 2.0568 | 4996.3465 | 19.23% |  |  | 50.7% | 49.3% | 369.3716 | 629.3442 | 0.37367 | 1286.8792 | 0.76407 | 39.13%
|  | Res Wall Insulation |  |  | 1 | 0.55 | 333 | 263.29 | 25 | 65.7859 | 63.8703 | 329.0759 | 327.1603 | 1088.8979 | 0.6287 | 598.8938 | 209.3579 | 808.2517 | 481.0915 | 2.4705 | 48.1091 | 6.912% |  |  | 74.1% | 25.9% | 327.1603 | 598.3198 | 0.98822 | 1469.5486 | 2.4272 | 32.58%
measure max = 119 | Targeted Low-Income Energy Efficiency Program | N/A |  |  | 67337.33 | 109.5362 | 258479.5668 | 248232.72 | NA | 54566.821 | 52760.7505 | 302799.541 | 300993.4705 | 9994.1447 | 5.7704 | 102072.4533 | 135716.8872 | 237789.3405 | -63204.13 | 0.79001 | -6320.413
|  | Res Air Infiltration |  |  | 15 | 8.8474 | 14536.64 | 6418.94 | 11 | 1411.0193 | 1364.3169 | 7829.9593 | 7783.2569 | 652.4322 | 0.3767 | 5772.3256 | 5475.924 | 11248.2496 | 3464.9927 | 1.4452 | 346.4993 | 18.76% |  |  | 51.32% | 48.68% | 518.8838 | 885.0017 | 0.53864 | 1271.3629 | 0.77379 | 57.07%
|  | Res Ceiling Insulation |  |  | 56742 | 51.1638 | 98674.52 | 99130.57 | 25 | 21791.0035 | 21069.7577 | 120921.5735 | 120200.3277 | 1088.8979 | 0.6287 | 55712.0982 | 62036.908 | 117749.0062 | -2451.3215 | 0.97961 | -245.1322 | 22.02% |  |  | 47.31% | 52.69% | 2.1184 | 2363.4228 | 1.2255 | 2301.4147 | 1.1933 | 84.19%
|  | Res Central Air Conditioner |  |  | 18 | 3.1127 | 13788.93 | 28994.23 | 15 | 6373.5472 | 6162.5935 | 35367.7772 | 35156.8235 | 811.0188 | 0.46826 | 2524.4704 | 6456.8316 | 8981.302 | -26175.5215 | 0.25546 | -2617.5521 | 50.57% |  |  | 28.11% | 71.89% | 1953.1569 | 11362.3564 | 2.5649 | 2885.3596 | 0.65134 | 322.8%
|  | Res Central Heat Pump |  |  | 20.5 | 30.85 | 58336.75 | 43163.17 | 15 | 9488.181 | 9174.1381 | 52651.351 | 52337.3081 | 811.0188 | 0.46826 | 25019.9298 | 27316.8818 | 52336.8115 | -0.49651 | 0.99999 | -0.049651 | 21.59% |  |  | 47.81% | 52.19% | 2553.0394 | 1706.6888 | 0.90254 | 1696.4931 | 0.89715 | 82.47%
|  | Res Duct Efficiency Improvement |  |  | 32.5 | 2.0899 | 13050.17 | 5100.26 | 18 | 1121.1454 | 1084.0374 | 6221.4054 | 6184.2974 | 910.0447 | 0.52544 | 1901.9433 | 6857.0426 | 8758.9859 | 2574.6885 | 1.4163 | 257.4688 | 71.28% |  |  | 21.71% | 78.29% | 190.2861 | 2976.8273 | 0.47673 | 4191.0126 | 0.67118 | 58.23%
|  | Res Water Heater Pipe Insulation |  |  | 4 | 0.03075 | 163.3578 | 201 | 13 | 44.1841 | 42.7216 | 245.1841 | 243.7216 | 735.8551 | 0.42486 | 22.6279 | 69.4049 | 92.0328 | -151.6889 | 0.37761 | -15.1689 | 60.64% |  |  | 24.59% | 75.41% | 60.9304 | 7973.3489 | 1.5009 | 2992.8922 | 0.56338 | 218.4%
|  | Res Energy Star Refrigerator |  |  | 21 | 1.2613 | 9282.411 | 24896.96 | 14 | 5472.8803 | 5291.7371 | 30369.8403 | 30188.6971 | 774.4162 | 0.44713 | 976.748 | 4150.4313 | 5127.1792 | -25061.5179 | 0.16984 | -2506.1518 | 84.01% |  |  | 19.05% | 80.95% | 1437.557 | 24078.778 | 3.2718 | 4065.0925 | 0.55235 | 485.6%
|  | Res Low-Flow Showerheads |  |  | 3 | 0.24878 | 756.4412 | 257.18 | 10 | 56.5336 | 54.6625 | 313.7136 | 311.8425 | 607.3437 | 0.35067 | 151.0973 | 265.2575 | 416.3549 | 104.5124 | 1.3351 | 10.4512 | 34.71% |  |  | 36.29% | 63.71% | 103.9475 | 1260.9884 | 0.41472 | 1673.5604 | 0.55041 | 61.77%
|  | Res Solar Screens |  |  | 1062 | 2.4749 | 4328.252 | 7750.42 | 10 | 1703.7068 | 1647.317 | 9454.1268 | 9397.737 | 607.3437 | 0.35067 | 1503.1077 | 1517.7669 | 3020.8746 | -6376.8623 | 0.32145 | -637.6862 | 19.96% |  |  | 49.76% | 50.24% | 8.8491 | 3820.0221 | 2.1843 | 1220.6106 | 0.69794 | 256.6%
|  | Res Wall Insulation |  |  | 8558 | 6.3186 | 27109.77 | 23106.64 | 25 | 5079.33 | 4911.2126 | 28185.97 | 28017.8526 | 1088.8979 | 0.6287 | 6880.3024 | 17043.9776 | 23924.28 | -4093.5726 | 0.85389 | -409.3573 | 48.98% |  |  | 28.76% | 71.24% | 3.2739 | 4460.7985 | 1.0397 | 3786.3303 | 0.8825 | 96.58%
|  | Res Water Heater Tank Insulation |  |  | 1 | 0.070645 | 383.2638 | 94.75 | 7 | 20.8281 | 20.1387 | 115.5781 | 114.8887 | 457.0789 | 0.26391 | 32.2902 | 101.1456 | 133.4358 | 18.5471 | 1.1614 | 1.8547 | 61.93% |  |  | 24.2% | 75.8% | 114.8887 | 1636.0462 | 0.30156 | 1888.8288 | 0.34816 | 71.01%
|  | Res Energy Star Windows |  |  | 228.33 | 0.64349 | 1570.661 | 4449.08 | 25 | 978.0022 | 945.632 | 5427.0822 | 5394.712 | 1088.8979 | 0.6287 | 700.6938 | 987.4783 | 1688.1721 | -3706.5398 | 0.31293 | -370.654 | 27.86% |  |  | 41.51% | 58.49% | 23.6268 | 8433.8384 | 3.4553 | 2623.467 | 1.0748 | 263.5%
|  | Res Compact Fluorecent Lamps |  |  | 632 | 2.424 | 16498.4 | 4669.52 | 5.3 | 1026.4596 | 992.4855 | 5695.9796 | 5662.0055 | 360.8988 | 0.20837 | 874.8188 | 3437.837 | 4312.6557 | -1349.3498 | 0.76168 | -134.935 | 77.7% |  |  | 20.28% | 79.72% | 8.9589 | 2349.8266 | 0.34524 | 1779.1484 | 0.2614 | 108.3%
measure max = 148 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Select Measure in column "C"
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Select Measure in column "C"
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Portfolio Total |  |  |  | 69024.33 | 8150.2672 | 11867206.1186 | 2330386.75 | NA | 498619.94 | 481664.71 | 2829006.69 | 2812051.46 |  |  | 2764192.6809 | 5245734.1623 | 8009926.8432 | 5197875.3832 | 2.8484 | 519787.5383 | 16.62% | [5 empty] | 347.106
[12 empty] | 2829006.69 | 2812051.46 | [7 empty] | Won't match bonus in step 4 because net benefits differ between CE test and bonus. For estimate only at the measure level
[11 empty] | Double-check: should = $0 | 0 | 0
Note on C1: Amy Martin: Select the measure from the drop-down menu. You can do this one of two ways: 1) Click on a white cell (ex: C4) and scroll through the list until you find the right measure. They are grouped by Commercial and Residential Measures, respectively, and alphabetized. 2) Type a key word into the Measure Search box in cell A10. Then, click on a cell in column C and it will be filtered, showing only the measures with that word in it. You'll still have to get used to the measure names as seen in the "reference only EULs" tab, but it can be faster than scrolling through the entire list. Alternatively, you can select the "custom measure" from the drop down box and type your own EUL into column J.
Note on J1: Amy Martin: Column C will automatically insert the correct EUL if you select the measure from the drop-down menu in column B. If you use a custom measure or a measure with a variable EUL you must type in the EUL.
Note on W2: Amy Martin: If a measure produces more energy savings during non-peak hours than peak, the load factor could be > 100%
Note on M922: Amy Martin: These are the Total Program Costs used for bonus calculation in Step 4 Total Program Costs for Bonus Calculation Should = o Incentives = actual PY incentives o R&D = use actual PY R&D costs o M&V Costs = use the TetraTech EM&V Cost Allocation spreadsheet (same as in the cost-effectiveness calculation) o Admin:  Use typical admin expenditures  DIFFERENT THAN COST-EFFECTIVENESS CALC: Rate Case Specifics: Include the costs incurred by your utility for the EECRF filing AND include the costs paid by a utility for an EECRF proceeding (based on preamble pg 150)  Include any non-TetraTech related M&V costs (ex: Frontier expenses) as admin
Note on N922: Amy Martin: These are the Total Program Costs that are tied to the benefit/cost ratios in this tab (ie the cost-effectiveness calculation) Total Program Costs for the Cost-effectiveness Calculation Should = o Incentives = actual PY incentives o R&D = use actual R&D costs o M&V Costs = use the TetraTech EM&V Cost Allocation spreadsheet o Admin:  Use typical admin expenditures  Rate Case Specifics: Include the costs incurred by your utility for the EECRF filing (do not include those payments to cities, et al related to rate case expenses)  Include any non-TetraTech related M&V costs as admin (ex: Frontier expenses)

## Step 3 Admin Allocation
| These columns will auto-populate |  |  | Column will auto-populate after entering values in cells F3:H17 and C21-24 | Program Specific Admin: Enter Manually |  |  | Allocated based on Total Incentives or Program Costs: Enter Values in cells C21 - 24 and results will auto-populate
| Program | Incentives | Incentive as % of Total Incentives (R&D/Other Admin Allocator) | Program Costs as % of Total Spending (Bonus Allocator) | Program Specific Admin (Do not include the costs paid by a utility for an EECRF proceeding here; these values are exempt from the CE test) | Program Specific R&D | Program Specific EM&V Admin (2014 TetraTech Allocation not actual expenditures) | R&D/Other Admin Portion | EM&V Costs | Bonus Portion | Costs Paid by a Utility for an EECRF Proceeding (to be included in Total Admin for Bonus Calculation) | Total Admin for Bonus Calculation (Excluding Bonus) | Total Admin for Cost-effectiveness Calculation (Including Bonus) | Total Program Costs | Total Program Costs (Excluding Bonus) | Program
1 | Commercial Solutions MTP | 296580.95 | 12.73% | 12.39% | 4208.99 | 0 | 6453.51 | 39631.6566 | 1470.6345 | 0 | 2157.8385 | 53922.6295 | 51764.791 | 348345.741 | 350503.5795 | 1
2 | Commercial SOP | 196102.79 | 8.415% | 8.993% | 17590.69 | 0 | 12118.73 | 26204.9145 | 972.4007 | 0 | 1426.788 | 58313.5232 | 56886.7352 | 252989.5252 | 252989.5252 | 2
3 | Irrigation Load Management MTP | 50000 | 2.146% | 2.128% | 2001.41 | 0 | 915.21 | 6681.4232 | 247.9314 | 0 | 363.7858 | 10209.7603 | 9845.9745 | 59845.9745 | 59845.9745 | 3
4 | Load Management SOP | 41495 | 1.781% | 1.94% | 4837.1 | 1640 | 864.02 | 5544.9131 | 205.7583 | 0 | 301.9058 | 13393.6971 | 13091.7913 | 54586.7913 | 54586.7913 | 4
5 | Open MTP | 421174.8 | 18.07% | 17.61% | 9586.59 | 0 | 6035.81 | 56280.9413 | 2088.449 | 0 | 3064.3478 | 77056.1381 | 73991.7902 | 495166.5902 | 495166.5902 | 5
6 | SCORE/CitySmart MTP | 216140.73 | 9.275% | 9.112% | 3663.69 | 0 | 6453.51 | 28882.5536 | 1071.7614 | 0 | 1572.5784 | 41644.0933 | 40071.515 | 256212.245 | 256212.245 | 6
7 | SMART SourceSM Solar PV MTP | 44284.48 | 1.9% | 1.85% | 260.1 | 205.24 | 1133.7 | 5917.667 | 219.5902 | 0 | 322.2013 | 8058.4985 | 7736.2972 | 52020.7772 | 52020.7772 | 7
8 | A/C Distributor Pilot MTP | 139281.26 | 5.977% | 6.066% | 8912.51 | 0 | 3109.78 | 18611.9407 | 690.6439 | 0 | 1013.3708 | 32338.2454 | 31324.8746 | 170606.1346 | 170606.1346 | 8
9 | Residential SOP | 414451.41 | 17.78% | 17.92% | 19454.56 | 3317.51 | 9146.64 | 55382.505 | 2055.1102 | 0 | 3015.4304 | 92371.7555 | 89356.3252 | 503807.7352 | 503807.7352 | 9
10 | SMART SourceSM Solar PV MTP | 102044.27 | 4.379% | 4.194% | 599.36 | 0 | 1133.7 | 13636.019 | 505.9995 | 0 | 742.445 | 16617.5235 | 15875.0785 | 117919.3485 | 117919.3485 | 10
11 | Hard-to-Reach SOP | 160598.34 | 6.891% | 7.095% | 8953.94 | 4191.59 | 3556.4 | 21460.5094 | 796.3474 | 0 | 1168.4678 | 40127.2545 | 38958.7867 | 199557.1267 | 199557.1267 | 11
12 | Targeted Low-Income Energy Efficiency Program | 248232.72 | 10.65% | 10.7% | 10041.61 | 3995.6 | 4321.69 | 33170.9569 | 1230.8936 | 0 | 1806.0705 | 54566.821 | 52760.7505 | 300993.4705 | 300993.4705 | 12
13 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
14 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
15 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
16 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 16
| Portfolio Total | 2330386.75 | 100% | 100% | 90110.55 | 13349.94 | 55242.7 | 311406 | 11555.52 | 0 | 16955.23 | 498619.94 | 481664.71 | 2812051.46 | 2814209.2985
[11 empty] | Total Program Cost Check | 2829006.69 | 2812051.46
| Other Costs to Be Allocated Among All Programs Enter Blue Cells Manually; Green Will Autocalculate if Step 1 completed: |  | PUC Rule: How to Allocate Non-program specific expenses | [8 empty] | should match Step 2 cell M922 | should match Step 2 cell N922
| R&D and Non-program specifc Admin to be Allocated (Rate Case Expenses Details: Include any costs incurred by the utility for an EECRF filing here unless they have already been included in the program specifc admin in column F. Do not include the costs paid by a utility for an EECRF proceeding here; these values are exempt from the CE test. Enter those costs separately in cell C24 below.) | 311406 | (i): Any portion of these costs which are not directly assignable to a specific program shall be allocated among the programs in proportion to the program incentive costs. Any bonus awarded by the commission shall not be included in program costs for the purpose of applying these limits.
| Third party EM&V Costs (Ex: Frontier EM&V; counted as admin) | 11555.52 | (i): Any portion of these costs which are not directly assignable to a specific program shall be allocated among the programs in proportion to the program incentive costs. Any bonus awarded by the commission shall not be included in program costs for the purpose of applying these limits.
| Bonus for Cost-effectiveness (bonus collected during the PY) | 0 | (h)(6): The bonus shall be allocated in proportion to the program costs associated with meeting the demand and energy goals and allocated to eligible customers on a rate class basis.
| Costs Paid by a Utility for an EECRF Proceeding (To be included as admin in the "total program cost" input for the bonus calculation in Step 4) | 16955.23 | These are costs to be included as admin in the "total program costs" for the bonus calculation (per the preamble pg 150). Please note these values are excluded from the cost-effectiveness test (per the preamble and email from Katie Rich). This is why they are not included in either the program-specific admin values or the non-program specific admin in other cells on this tab.
Note on M2: Amy Martin: includes the costs paid by a utility for an EECRF proceeding; allocated based on incentives
Note on C22: Amy Martin: This includes general non-program specific admin + external legal costs + internal legal costs + affiliate costs

## Step 4 Bonus Calculator
Program Year 2014
Energy Efficiency Performance Bonus Calculator
| kW | kWh | Directions: Fill in blue cell and performance bonus will calculate. All green cells will auto-populate All inputs must be accounted for the in the "Fixed Inputs," "Admin Allocation," and "Results Calculator" tabs in order to correctly calculate bonus.
Demand and Energy Goals | 4260 | 7464000
Actual Demand and Energy Savings | 8150.2672 | 11867206.1186
Reported/Verified Hard-to-Reach | 333.7712
Program Costs (excluding bonus) | 2829006.69
Performance Bonus | 518092.0153
7.835% | Hard-to-Reach Goal Met?
Bonus Calculation Details
191.3% | Percentage of Demand Reduction Goal Met (Reported kW/Goal kW)
159% | Percentage of Energy Reduction Goal Met (Reported kWh/Goal kWh)
TRUE | Met Requirements for Performance Bonus?
8009926.8432 | Total Avoided Costs
2829006.69 | Total Program Costs (excluding bonus)
5180920.1532 | Net Benefits
2365629.5614 | Calculated Bonus (((Achieved Demand Reduction/Demand Goal - 100%) / 2) * Net Benefits)
518092.0153 | Maximum Bonus Allowed (10% of Net Benefits)

## Reference Only EULs
Residential & Commercial EULs
Sector | TRM Measure | DO NOT DELETE; FOR SEARCH | Energy Efficiency Measure | EUL (years) | TRM Version
Custom | NA | 1 | Custom | NA | 1 | Custom
Residential | 2.1.1 | 2 | Res Compact Fluorecent Lamps | 5.3 | 1 | Res Compact Fluorecent Lamps
Residential | 2.2.1 | 3 | Res Duct Efficiency Improvement | 18 | 1 | Res Duct Efficiency Improvement
Residential | 2.2.2 | 4 | Res Central Air Conditioner | 15 | 1 | Res Central Air Conditioner
Residential | 2.2.3 | 5 | Res Ground Source heat Pump | 15 | 1 | Res Ground Source heat Pump
Residential | 2.2.4 | 6 | Res Central Heat Pump | 15 | 1 | Res Central Heat Pump
Residential | 2.2.5 | 7 | Res Split System and Single-Package Heat Pumps (65,000-240,000) | 15 | 1 | Res Split System and Single-Package Heat Pumps (65,000-240,000)
Residential | 2.2.6 | 8 | Res Split System and Single-Package Air Conditioners (65,000-240,000) | 15 | 1 | Res Split System and Single-Package Air Conditioners (65,000-240,000)
Residential | 2.2.7 | 9 | Res Window Air Conditioner | 13 | 1 | Res Window Air Conditioner
Residential | 2.3.1 | 10 | Res Air Infiltration | 11 | 1 | Res Air Infiltration
Residential | 2.3.2 | 11 | Res Ceiling Insulation | 25 | 1 | Res Ceiling Insulation
Residential | 2.3.3 | 12 | Res Wall Insulation | 25 | 1 | Res Wall Insulation
Residential | 2.3.4 | 13 | Res Floor Insulation | 25 | 1 | Res Floor Insulation
Residential | 2.3.5 | 14 | Res Energy Star Windows | 25 | 1 | Res Energy Star Windows
Residential | 2.3.6 | 15 | Res Solar Screens | 10 | 1 | Res Solar Screens
Residential | 2.4.1 | 16 | Res Faucet Aerators | 10 | 1 | Res Faucet Aerators
Residential | 2.4.2 | 17 | Res Low-Flow Showerheads | 10 | 1 | Res Low-Flow Showerheads
Residential | 2.4.3 | 18 | Res Water Heater Pipe Insulation | 13 | 1 | Res Water Heater Pipe Insulation
Residential | 2.4.4 | 19 | Res Water Heater Tank Insulation | 7 | 1 | Res Water Heater Tank Insulation
Residential | 2.4.5 | 20 | Res Water Heater Replacement- High Efficiency and Fuel Sustitution | 13 | 1 | Res Water Heater Replacement- High Efficiency and Fuel Sustitution
Residential | 2.4.6 | 21 | Res Heat Pump Water Heater | 13 | 1 | Res Heat Pump Water Heater
Residential | 2.4.7 | 22 | Res Water Heater Replacement- Solar Water Heating | 15 | 1 | Res Water Heater Replacement- Solar Water Heating
Residential | 2.5.1 | 23 | Res Energy Star Ceiling Fans | 10 | 1 | Res Energy Star Ceiling Fans
Residential | 2.5.2 | 24 | Res Energy Star Clothes Washers | 11 | 1 | Res Energy Star Clothes Washers
Residential | 2.5.3 | 25 | Res Energy Star Dishwashers | 11 | 1 | Res Energy Star Dishwashers
Residential | 2.5.4 | 26 | Res Energy Star Refrigerator | 14 | 1 | Res Energy Star Refrigerator
Residential | 2.6.1 | 27 | Res New Homes | 23 | 1 | Res New Homes
Residential | 2.7.1 | 28 | Res Solar Photovoltaic (PV) | 30 | 1 | Res Solar Photovoltaic (PV)
Residential | 2.8.1 | 29 | Res Direct Load Control Switches Installed on Outdoor Compressor Units | 1 | 1 | Res Direct Load Control Switches Installed on Outdoor Compressor Units
Residential | 2.8.2 | 30 | Res Direct Load Control Switches Installed on Swimming Pool Pump Motors | 1 | 1 | Res Direct Load Control Switches Installed on Swimming Pool Pump Motors
Commercial | 2.1.1 | 31 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps | 2.5 | 1 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps
Commercial | 2.1.1 | 32 | Comm Lamps and Fixtures: Integrated-ballast LED Lamps | 9 | 1 | Comm Lamps and Fixtures: Integrated-ballast LED Lamps
Commercial | 2.1.1 | 33 | Comm Lamps and Fixtures: Light Emitting Diode | 15 | 1 | Comm Lamps and Fixtures: Light Emitting Diode
Commercial | 2.1.1 | 34 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures | 16 | 1 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures
Commercial | 2.1.1 | 35 | Comm Lamps and Fixtures: T8 and T5 Liner Florescents | 15.5 | 1 | Comm Lamps and Fixtures: T8 and T5 Liner Florescents
Commercial | 2.1.1 | 36 | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts | 8.5 | 1.0/2.1 | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Florescents replacing T12s with magnetic ballasts
Commercial | 2.1.1 | 37 | Comm Lamps and Fixtures: Halogen Lamps | 1.5 | 2.1 | Comm Lamps and Fixtures: Halogen Lamps | Removed from TRM 1.0, but still allowed in LSF for PY 2014; added back into TRM 2.1
Commercial | 2.1.1 | 38 | Comm Lamps and Fixtures: High Intensity Discharge Lamps | 15.5 | 2.1 | Comm Lamps and Fixtures: High Intensity Discharge Lamps | Removed from TRM 1.0, but still allowed in LSF for PY 2014; added back into TRM 2.1
Commercial | 2.1.1 | 39 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps | 4.5 | 2.1 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps | Removed from TRM 1.0, but still allowed in LSF for PY 2014; added back into TRM 2.1
Commercial | 2.1.2 | 40 | Comm Lighting Controls: Occupancy Sensor | 10 | 1 | Comm Lighting Controls: Occupancy Sensor
Commercial | 2.1.2 | 41 | Comm Lighting Controls: Photocell (Daylight Control) | 10 | 1 | Comm Lighting Controls: Photocell (Daylight Control)
Commercial | 2.2.1 | 42 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners | 15 | 1 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners
Commercial | 2.2.2 | 43 | Comm HVAC Chillers: Screw/Scroll/Reciprocating Chillers | 20 | 1 | Comm HVAC Chillers: Screw/Scroll/Reciprocating Chillers
Commercial | 2.2.2 | 44 | Comm HVAC Chillers: Centrifugal Chillers | 25 | 1 | Comm HVAC Chillers: Centrifugal Chillers
Commercial | 2.2.3 | 45 | Comm Packaged terminal Aire Conditioners, Heat Pumps, and Room Air Conditioners | 13 | 1 | Comm Packaged terminal Aire Conditioners, Heat Pumps, and Room Air Conditioners
Commercial | 2.2.4 | 46 | Comm HVAC VFD on AHU Supplu Fans | 15 | 1 | Comm HVAC VFD on AHU Supplu Fans
Commercial | 2.3.1 | 47 | Comm Energy Star Roofs | 15 | 1 | Comm Energy Star Roofs
Commercial | 2.3.2 | 48 | Comm Window Film | 10 | 1 | Comm Window Film
Commercial | 2.4.1 | 49 | Comm High Efficiency Combination Ovens | 12 | 1 | Comm High Efficiency Combination Ovens
Commercial | 2.4.2 | 50 | Comm High Efficiency Electric Convention Ovens | 12 | 1 | Comm High Efficiency Electric Convention Ovens
Commercial | 2.4.3 | 51 | Comm Energy Star Commercial Dishwashers | 11 | 1 | Comm Energy Star Commercial Dishwashers
Commercial | 2.4.4 | 52 | Comm Hot Food Holding Cabinets | 12 | 1 | Comm Hot Food Holding Cabinets
Commercial | 2.4.5 | 53 | Comm Energy Star Electric Fryers | 12 | 1 | Comm Energy Star Electric Fryers
Commercial | 2.4.6 | 54 | Comm Pre-Rinse Spray Valves | 5 | 1 | Comm Pre-Rinse Spray Valves
Commercial | 2.4.7 | 55 | Comm Energy Star Electric Steam Cookers | 10 | 1 | Comm Energy Star Electric Steam Cookers
Commercial | 2.5.1 | 56 | Comm Door Heater Controls | 12 | 1 | Comm Door Heater Controls
Commercial | 2.5.2 | 57 | Comm ECM Evaporator Fan Motor | 15 | 1 | Comm ECM Evaporator Fan Motor
Commercial | 2.5.3 | 58 | Comm Electric Defrost Controls | 10 | 1 | Comm Electric Defrost Controls
Commercial | 2.5.4 | 59 | Comm Evaporator Fan Controls | 16 | 1 | Comm Evaporator Fan Controls
Commercial | 2.5.5 | 60 | Comm Night Covers for Open Refrigerated Display Cases | 5 | 1 | Comm Night Covers for Open Refrigerated Display Cases
Commercial | 2.5.6 | 61 | Comm Solid Glass Door Reach-Ins | 12 | 1 | Comm Solid Glass Door Reach-Ins
Commercial | 2.5.7 | 62 | Comm Strip Curtains for Walk-In Refrigerated Storage | 4 | 1 | Comm Strip Curtains for Walk-In Refrigerated Storage
Commercial | 2.5.8 | 63 | Comm Zero Energy Doors for Refrigerated Cases | 12 | 1 | Comm Zero Energy Doors for Refrigerated Cases
Commercial | 2.6.1 | 64 | Comm Vending Machine Controls | 5 | 1 | Comm Vending Machine Controls
Commercial | 2.7.1 | 65 | Comm Solar Photovoltaic (PV) | 30 | 1 | Comm Solar Photovoltaic (PV)
Commercial | 2.8.1 | 66 | Comm Load Curtailment Measure | 1 | 1 | Comm Load Curtailment Measure