PUC Interoffice Memorandum

To:	Alexander Petak, Attorney

Legal Division

Through:	Tammy Benter, Director

Lisa Fuentes, Manager

Water Utilities Division

From:	Elisabeth English, Engineering Specialist

Janie Kohl, Financial Analyst

Water Utilities Division

Date:	January 7, 2017

Subject:	Docket No. 45272, Application of Zipp Road Utility Company, LLC to Obtain a Certificate of Convenience and Necessity in Guadalupe County

On October 21, 2015, Zipp Road Utility Company, LLC (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to obtain a new sewer Certificate of Convenience and Necessity (CCN) in Guadalupe County, Texas, pursuant to the criteria in the Texas Water Code §§ 13.242-.250 (TWC) and Title 16 Tex. Admin Code §§24.101-.107 (TAC).

Background

The Applicant is seeking to obtain a sewer CCN service area containing approximately 86 acres, to provide service to 334 connections (167 Duplexes), situated within Guadalupe County and partially within the City of New Braunfels. Four acres of the requested area will be dedicated to commercial development, and two subdivisions are under development (Samuel's Court and Maldonado Subdivision.)

The requested area was decertified from the Guadalupe-Blanco River Authority's (GBRA) sewer CCN No. 20892 in Commission Docket Nos. 45142 and 45143, with final orders issued on December 4, 2015.  GBRA was granted a motion to intervene in this application on May 31, 2016. GBRA is a regional sewer service provider in Guadalupe County who has CCN area that abuts the Applicants requested area, and also has sewer collection facilities immediately adjacent to the requested area.

The Applicant originally proposed that the requested area be served by a new wastewater treatment facility. On August 19, 2016, the Applicant and GBRA entered into a settlement agreement whereby the Applicant agreed to obtain wholesale sewer treatment services from GBRA for the requested area. Subsequently, GBRA withdrew their opposition to the application.

Notice

On May 5, 2016, the application and mapping information were deemed sufficient for filing and found administratively complete by the Commission. On May 31 and June 7, 2016, the Applicant published notice in the Herald Zeitung newspaper in Guadalupe County.  On May 27, 2016, individual notice was provided to current customers, neighboring systems, cities, landowners of 25 acres or more, and affected parties in Guadalupe County.  Affidavits of notice were filed with the Commission on June 3 and 14, 2016.  The comment period ended July 7, 2016.  A motion to intervene was granted to GBRA on May 31, 2016. A hearing was requested by GBRA, however GBRA later withdrew their intervention and public hearing request on September 9, 2016, following a settlement agreement with the Applicant.

Compliance with TCEQ Standards

To date, the Applicant has no violations reported based on TCEQ standards for sewer operations. Wastewater will be transported to, and treated by the GBRA wastewater treatment plant adjacent to the requested area.

Financial Test

TWC § 13.246(c)(6) requires that  the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service is considered, as well as the overall financial stability of the Applicant. 16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility, provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests.  A financial staff review notes that the Applicant meets three of the five leverage tests in which the Applicant is only required to meet one in order to demonstrate financial capability.

16 TAC § 24.11(e)(3) refers to the operations test which states that the owner or operator must demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  Based on projected revenues, operating expenditures and loan proceeds obtained by the Applicant, net income from continuing operations is projected to be negative for three out of the next five years.  Based on projected financial information and the loan information, there is sufficient cash to cover the projected operations and maintenance shortages for the three years with projected shortages.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

- TWC §13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The Applicant can provide adequate sewer service to the projected customers in the requested area through a wastewater treatment contract with GBRA.

- TWC §13.246(c)(2) requires the commission to consider the need for service in the requested area.

The Seguin-New Braunfels Corridor, where the requested area is located, is one of the fastest growing corridors in Texas. The area is currently under development. The first 66 residences (33 duplexes), platted as Samuel's Court, are currently under construction. The remaining 268 residences (134 Duplexes) are currently being platted through City of New Braunfels and Guadalupe County as Maldonado Subdivision.

- TWC §13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no negative effect on any of the other retail public utility of the same kind already serving the proximate area. A portion of the requested area is located within the city of limits of New Braunfels, and the remaining area to be served is located within New Braunfels’ ETJ. On January 13, 2016, the City of New Braunfels Utilities (NBU) provided a consent letter to the Applicant stating that NBU had no intention of serving the area and had no objection to the Applicant providing sewer service to that portion of the City. GBRA will become the wholesale wastewater provider. There are no other sewer utilities in the proximate area.

- TWC §13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The Applicant will provide adequate sewer service to the area via the agreement for wholesale wastewater treatment with GBRA.

- TWC §13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The Applicant entered into an agreement with GBRA to purchase wholesale wastewater treatment, and the NBU stated they did not intend on serving the requested area. The feasibility of obtaining service from an adjacent retail public utility was not considered, since the adjacent retail public utilities are in agreement with the Applicants request.

- TWC §13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

Based on the review of the application and information provided, the Applicant has demonstrated adequate financial and managerial capabilities to provide service to the area being requested.

- TWC §§13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will be affected when the Applicant adds the additional collection lines to provide sewer service to the expected future customers in this area.

- 8-9) TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

Approving this application will have positive impacts on landowners as it will ensure that landowners will be able to receive continuous and adequate sewer service that meets the wastewater requirements of the region and of the state.

Recommendation

The Applicant meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service.  Staff recommends approval of the application.  Approval of this application will result in issuing sewer CCN No. 20930 to Zipp Road Utility, LLC.

The Applicant consented to the attached map, tariff and certificate on December 13, 2016.  Based on the above information, Staff recommends the application be approved, and for the Applicant to be issued the requested sewer CCN. Staff also recommends the Applicant file a copy of the CCN map along with a written description of the CCN service area in the respective county clerks’ offices pursuant to Texas Water Code § 13.257 (r) and (s).