PUC Interoffice Memorandum

To:	Kennedy Meier, Attorney

Legal Division

Thru:	Heidi Graham, Manager

Water Utility Regulation Division

From:	Elisabeth English, Engineering Specialist

Water Utility Regulation Division

Date:  	January 11, 2019

Subject:	Docket No. 45489; Application of City of Gregory to obtain Certificates of Convenience and Necessity in San Patricio County

On December 31, 2015, the City of Gregory (City or Applicant) filed an application with the Public Utility Commission of Texas (Commission) to obtain water and sewer Certificates of Convenience and Necessity (CCN) in San Patricio County, Texas. This application is being reviewed pursuant to Texas Water Code (TWC) §§ 13.241-250 and 16 Texas Administrative Code (TAC) §§ 24.225-24.259 (formerly 16 TAC §§ 24.101-.120).

Background

Gregory is seeking to obtain a sewer and water CCN for the service area containing approximately 2141 acres and 686 existing customers. Following Staff’s request, the application was referred to the State Office of Administrative Hearings (SOAH) to resolve ongoing application issues on June 12, 2018. Gregory amended their requested area via the maps filed on November 9, 2018 and the application was remanded back to the Commission on November 30, 2018.  Gregory amended their application to request only their current utility service area, which includes area within their municipal boundaries and a portion of their extraterritorial jurisdiction (ETJ).

Notice

The comment period ended February 16, 2017. Multiple landowner opt-out requests were received following notice, which have been sufficiently addressed by Gregory.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

Gregory has a public water system registered with the Texas Commission on Environmental Quality (TCEQ) under Public Water System (PWS) Identification No. 2050001 and a Wastewater Discharge Permit No. WQ-0010092001. Gregory does not have any pending TCEQ enforcement. Additionally, there is not any additional construction that is necessary for Gregory to serve the requested area.

TWC § 13.246(c)(2) requires the Commission to consider the need for additional service in the requested area.

The requested area generally encompasses existing customers and infrastructure.

TWC § 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

There will be no effect on any landowners or retail public utilities servicing the proximate area as Gregory has only requested area that generally encompasses existing customers and infrastructure. As a recipient, Gregory will be required to provide continuous and adequate service in accordance with Commission requirements.

TWC § 13.246(c)(4) requires the Commission to consider the ability of Gregory to provide adequate service.

Gregory has sufficient capacity to serve the additional service connections and has adequate facilities for the provision of  water and sewer utility service.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Gregory is a municipality that has existing facilities with the ability to serve the requested area.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of Gregory to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area.  16 TAC § 24.11(e) lists the financial tests.  Gregory meets two out of the five leverage tests with a debt service coverage ratio of 1.48 which is greater than 1.25, and two years of cash on hand for debt service. Gregory meets the operations test demonstrating that there is sufficient cash available to cover any projected operations and maintenance shortages in the first five years of operations.  Gregory did not submit projections in its application; however, based on its 2017 Comprehensive Annual Financial Report Statement of Revenues, Expenses, and Changes in Fund Net Position, Gregory had $324,103 in operating income.  Thus, there are no shortages to cover.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will not be affected as no additional construction is needed to provide water and sewer service to the requested area.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

Gregory will continue to provide water and sewer utility service to the existing customers in the requested area.

Staff recommends that Gregory has met all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service. Approving this application and granting the CCN Nos. 13275 and 21113 is necessary for the service, accommodation, convenience and safety of the public.

Gregory consented to the attached maps and certificates on December 19, 2018.

Based on the above information, Staff recommends the application be approved and that the attached maps and certificates be provided to Gregory. Staff further recommends that Gregory file certified copies of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC § 13.257(r)-(s).