## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | TEXAS-NEW MEXICO POWER COMPANY
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 287
Due: |  | February 14, 2016
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 45516
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Larry Reed
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7357
Fax: | 512 936 7328
E-mail: | mailto:larry.reed@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
16 Texas Admin. Code §25.81
2015 Reporting Year
TEXAS-NEW MEXICO POWER COMPANY
Project 45516

## System-SAIFI
TEXAS-NEW MEXICO POWER COMPANY
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
16 Texas Admin. Code §25.81
Forced
2015 | 0.5269 | 0.0114 | 0.016 | 0.0267 | 0.039 | 0.0693 | 0.0632 | 0.0227 | 0.0812 | 0.0384 | 0.0922 | 0.0397 | 0.0271
Scheduled
2015 | 0.0068 | 0.0005 | 0.0004 | 0.0008 | 0.0002 | 0.0015 | 0.0004 | 0.0002 | 0.0004 | 0.0002 | 0.0001 | 0.0017 | 0.0004
Outside Causes
2015 | 0.0821 | 0.0089 | 0.0052 | 0.0051 | 0.0061 | 0.0182 | 0.0066 | 0.0044 | 0.004 | 0.0057 | 0.0075 | 0.0095 | 0.0009
Major Events
2015 | 0.0996 | 0.0144 |  |  | 0.0527 | 0.013 |  |  |  | 0.0141 |  |  | 0.0054

## System-SAIDI
TEXAS-NEW MEXICO POWER COMPANY
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
16 Texas Admin. Code §25.81
Forced
2015 | 58.141 | 1.077 | 1.102 | 4 | 7.215 | 10.849 | 6.787 | 1.734 | 7.325 | 3.249 | 8.554 | 3.759 | 2.49
Scheduled
2015 | 34.18 | 33.471 | 0.075 | 0.165 | 0.008 | 0.288 | 0.042 | 0.013 | 0.031 | 0.018 | 0.009 | 0.042 | 0.018
Outside Causes
2015 | 8.882 | 0.776 | 0.417 | 0.338 | 0.448 | 0.941 | 2.368 | 0.313 | 0.439 | 1.035 | 0.189 | 1.493 | 0.125
Major Events
2015 | 37.52 | 4.329 |  |  | 18.016 | 3.474 |  |  |  | 5.176 |  |  | 6.525

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 287
Add or Delete Rows as Necessary
16 Texas Admin. Code §25.81
2015 SAIFI Ranking | 2014 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2015 SAIFI Value
1 | 72 | Flat Top Substation | 26P03 | 62 | 5.7741
2 | 179 | Hamilton City Substation | 23825 | 326 | 5.1533
3 | 95 | Whitewright Substation | 12575 | 714 | 3.4635
4 | 126 | Dickinson Substation | 1267 | 1824 | 3.4194
5 | 45 | Deport Substation (ONCOR) | 22164 | 581 | 3.413
6 | 47 | Glen Rose Substation | 22285 | 381 | 2.5564
7 | 261 | Hico City Substation | 390 | 271 | 2.4243
8 | 61 | Gatesville #2 Substation | 429 | 319 | 2.3542
9 | 223 | South Substation | 1102 | 1437 | 2.3089
10 | 56 | League City Main Substation | 1284 | 3317 | 2.2173
11 | 36 | Whitewright Substation | 12574 | 789 | 2.1901
12 | 66 | Cochise Substation | 25P47 | 43 | 2.1395
13 | 108 | Flat Top Substation | 26P02 | 63 | 2.0793
14 | 109 | League City Main Substation | 1010 | 481 | 1.8711
15 | 8 | Coryell County Substation | 22155 | 833 | 1.8643
16 | 233 | Hill County Substation | 22125 | 468 | 1.8482
17 | 82 | Krugerville Substation | 2604 | 2247 | 1.7098
18 | 105 | Wickett Substation | 12K446 | 45 | 1.6444
19 | 2 | Red River Substation | 2262 | 75 | 1.6
20 | 162 | Dickinson Substation | 1277 | 1695 | 1.571
21 | 272 | Hico City Substation | 395 | 517 | 1.5551
22 | 42 | Red River Substation | 2229 | 358 | 1.5446
23 | 16 | Freeway Park Substation | 1299 | 854 | 1.5163
24 | 71 | W.D. Faulkner Substation | 12P259 | 112 | 1.4821
25 | 20 | Climax Substation | 2234 | 498 | 1.4799
26 | 121 | Freeway Park Substation | 1103 | 1437 | 1.4578
27 | 178 | Cochise Substation | 25P48 | 221 | 1.4343
28 | 230 | Tejas Substation | 1217 | 140 | 1.4285
29 | 202 | Tejas Substation | 1214 | 588 | 1.403
30 | 176 | Stafford Substation | 13P50 | 357 | 1.3389
31 | 51 | Freeway Park Substation | 1298 | 2156 | 1.326
32 | 80 | Climax Substation | 22110 | 1056 | 1.266
33 | 132 | IH-20 Substation | 12P563 | 210 | 1.2619
34 | 38 | Alvin Substation | 1116 | 2069 | 1.2068
35 | 226 | Pecos Main Substation | 12P362 | 822 | 1.2031
36 | 155 | Alvin Substation | 1257 | 2020 | 1.2014
37 | 60 | Coryell County Substation | 22365 | 908 | 1.1927
38 | 13 | Clifton #1 22KV Substation | 22485 | 81 | 1.1851
39 | 50 | South Shore Substation | 1195 | 1193 | 1.1777
40 | 33 | Brazoria Substation | 1291 | 691 | 1.1765
41 | 128 | IH-20 Substation | 12P566 | 495 | 1.1616
42 | 221 | Freeway Park Substation | 1297 | 700 | 1.1557
43 | 117 | Alvin Substation | 1259 | 718 | 1.1545
44 | 49 | Jones Street Substation | 1431 | 885 | 1.148
45 | 129 | Magnolia Substation | 1144 | 926 | 1.1479
46 | 271 | Lakepointe Substation | 2512 | 2434 | 1.1306
47 | 260 | Jones Street Substation | 1413 | 78 | 1.1153
48 | 145 | Hamilton City Substation | 23820 | 204 | 1.0833
49 | 265 | Keystone Substation | 12K437 | 714 | 1.0784
50 | 256 | Meridian Substation | 23205 | 359 | 1.0584
51 | 244 | Winkler County #6 Substation | 25K11 | 40 | 1.05
52 | 53 | Saint Jo Substation | 15757 | 394 | 1.0456
53 | 286 | Lakepointe Substation | 2544 | 747 | 1.0374
54 | 238 | South Bend Substation | 1300 | 166 | 1.0361
55 | 24 | Magnolia Substation | 1149 | 1151 | 1.0356
56 | 240 | Lakepointe Substation | 2540 | 562 | 1.0302
57 | 100 | Reeves County #4 Substation | 13P37 | 208 | 1.0192
58 | 263 | South Substation | 1108 | 1928 | 1.015
59 | 242 | Pecos Main Substation | 12P01 | 201 | 1.0149
60 | 287 | Stafford Substation | 12P99 | 302 | 1.0132
61 | 267 | Graham Substation | 12605 | 127 | 1.0078
62 | 59 | Lakepointe Substation | 2516 | 901 | 1.0077
63 | 172 | Seminole Substation | 1403 | 977 | 1.004
64 | 103 | Lakepointe Substation | 2536 | 1446 | 1.0006
65 | 200 | Walnut Springs Substation | 1270 | 48 | 1
66 | 65 | Sycamore Substation | 24100 | 29 | 1
67 | 15 | Angleton Substation | 1244 | 1269 | 0.955
68 | 231 | Gomez Substation | 25F05 | 24 | 0.9166
69 | 77 | Nocona Substation | 13370 | 692 | 0.8439
70 | 9 | Sycamore Substation | 24105 | 147 | 0.8435
71 | 78 | Nocona Substation | 13374 | 702 | 0.8176
72 | 280 | California Substation | 12K87 | 57 | 0.807
73 | 70 | Worsham Field Substation | 13P98 | 91 | 0.7912
74 | 222 | Reeves County #4 Substation | 12P28 | 122 | 0.7868
75 | 254 | Airport Substation | 12F271 | 105 | 0.7619
76 | 27 | Jones Street Substation | 1433 | 1032 | 0.7441
77 | 246 | Worsham Field Substation | 13P97 | 89 | 0.7415
78 | 89 | La Marque Substation | 1204 | 1586 | 0.6588
79 | 182 | Hamilton County Substation | 24015 | 597 | 0.6566
80 | 101 | Dickinson Substation | 1274 | 2401 | 0.6209
81 | 7 | Friendswood Substation | 1107 | 1837 | 0.6102
82 | 163 | Thurber Substation | 1447 | 616 | 0.5974
83 | 269 | Kermit #2 Substation | 12K98 | 299 | 0.5886
84 | 94 | La Marque Substation | 1201 | 903 | 0.5869
85 | 159 | Angleton Substation | 1245 | 689 | 0.5674
86 | 157 | League City Main Substation | 1282 | 2182 | 0.5517
87 | 135 | League City Main Substation | 1283 | 1748 | 0.5463
88 | 88 | Cochise Substation | 12P637 | 103 | 0.5436
89 | 43 | Friendswood Substation | 1253 | 912 | 0.5405
90 | 57 | Pecos Main Substation | 12P03 | 424 | 0.5377
91 | 119 | Dickinson Substation | 1266 | 635 | 0.537
92 | 122 | Seminole Substation | 1402 | 1090 | 0.5339
93 | 144 | Gatesville #2 Substation | 22725 | 493 | 0.5192
94 | 112 | Glen Rose Substation | 22295 | 779 | 0.5186
95 | 68 | Whitney #2 Substation | 22465 | 384 | 0.5182
96 | 52 | Friendswood Substation | 1251 | 1897 | 0.5086
97 | 139 | Petrolia Substation | 12260 | 848 | 0.5023
98 | 18 | West Columbia Local Substation | 1233 | 1085 | 0.4912
99 | 192 | Puckett Substation | 25F18 | 33 | 0.4848
100 | 225 | Magnolia Substation | 1145 | 3282 | 0.4847
101 | 44 | Alvin Substation | 1231 | 2032 | 0.4803
102 | 6 | Red River Substation | 2252 | 1111 | 0.4743
103 | 138 | Krugerville Substation | 2608 | 1868 | 0.471
104 | 102 | South Shore Substation | 1192 | 1456 | 0.4704
105 | 224 | Lake Whitney Substation | 1230 | 477 | 0.457
106 | 148 | Gomez Substation | 25F61 | 20 | 0.45
107 | 22 | Leonard Substation | 12678 | 516 | 0.4496
108 | 73 | Emory Substation (ONCOR) | 1201 | 930 | 0.4483
109 | 12 | Coryell County Substation | 22160 | 74 | 0.4459
110 | 131 | Friendswood Substation | 1109 | 1543 | 0.4244
111 | 229 | Airport Substation | 12F725 | 761 | 0.4218
112 | 274 | League City Main Substation | 1281 | 940 | 0.4212
113 | 5 | Alvin Substation | 1115 | 2157 | 0.4167
114 | 170 | Freeway Park Substation | 1101 | 1573 | 0.4164
115 | 11 | Talco West Substation | 13909 | 30 | 0.4137
116 | 1 | Angleton Substation | 1240 | 1544 | 0.4132
117 | 87 | Walnut Springs Substation | 2210 | 454 | 0.4074
118 | 91 | Meridian Substation | 23210 | 798 | 0.3997
119 | 160 | Old Ocean Substation | 1260 | 560 | 0.3964
120 | 196 | Alvin Substation | 1254 | 1670 | 0.3922
121 | 79 | Nocona Substation | 12486 | 164 | 0.3841
122 | 130 | Northside Substation | 1295 | 2290 | 0.3829
123 | 142 | Alvin Substation | 1117 | 1638 | 0.3815
124 | 188 | Lone Oak Substation | 13388 | 469 | 0.3773
125 | 266 | Blossom Substation | 2207 | 122 | 0.377
126 | 14 | La Marque Substation | 1110 | 377 | 0.3766
127 | 115 | Frontier Substation | 4236 | 217 | 0.3686
128 | 85 | Dickinson Substation | 1279 | 1949 | 0.3658
129 | 191 | Whitney Substation | 22450 | 499 | 0.3547
130 | 203 | League City Main Substation | 1011 | 156 | 0.3525
131 | 147 | Airport Substation | 12F44 | 894 | 0.3501
132 | 168 | Hill County Substation | 23340 | 592 | 0.3429
133 | 106 | Leonard Substation | 14635 | 506 | 0.3418
134 | 252 | Wickett Substation | 12K449 | 216 | 0.3379
135 | 84 | Northside Substation | 1293 | 641 | 0.3354
136 | 140 | Lone Star Substation | 25P174 | 33 | 0.3333
137 | 206 | West Substation | 1222 | 1432 | 0.3296
138 | 189 | League City Main Substation | 1285 | 2004 | 0.3218
139 | 204 | Hamilton County Substation | 2340 | 135 | 0.3185
140 | 153 | Angleton Substation | 1155 | 1100 | 0.3145
141 | 81 | Pyote Substation | 25P217 | 104 | 0.3076
142 | 111 | Northside Substation | 1228 | 1148 | 0.3048
143 | 19 | Angleton Substation | 1242 | 544 | 0.2996
144 | 174 | Northside Substation | 1292 | 779 | 0.2952
145 | 21 | Longneck Substation | 23126 | 469 | 0.2942
146 | 250 | Blossom Substation | 2203 | 1385 | 0.2866
147 | 127 | Angleton Substation | 1241 | 1603 | 0.2832
148 | 197 | Magnolia Substation | 1150 | 839 | 0.2824
149 | 134 | La Marque Substation | 1202 | 1078 | 0.2792
150 | 75 | Nocona Substation | 12490 | 316 | 0.2721
151 | 10 | Northside Substation | 1294 | 1080 | 0.2712
152 | 113 | Glen Rose Substation | 22300 | 1126 | 0.2708
153 | 136 | La Marque Substation | 1205 | 1063 | 0.2681
154 | 83 | Flat Top Substation | 26P01 | 161 | 0.2608
155 | 209 | Alvin Substation | 1232 | 1260 | 0.2603
156 | 116 | Blue Ridge Substation | 22700 | 474 | 0.2594
157 | 220 | Seminole Substation | 1404 | 2009 | 0.2538
158 | 149 | Brazoria Substation | 1271 | 1744 | 0.2465
159 | 39 | Heights Substation | 1222 | 623 | 0.2455
160 | 26 | Brazoria Substation | 1270 | 1023 | 0.2453
161 | 123 | Leonard Substation | 14631 | 446 | 0.2443
162 | 41 | Friendswood Substation | 1108 | 1744 | 0.2442
163 | 28 | Friendswood Substation | 1252 | 1642 | 0.2369
164 | 177 | Nocona Substation | 13610 | 684 | 0.2295
165 | 154 | Lake Whitney Substation | 12355 | 857 | 0.2263
166 | 158 | Magnolia Substation | 1148 | 2398 | 0.2197
167 | 104 | Angleton Substation | 1243 | 1338 | 0.2167
168 | 29 | Saint Jo Substation | 15761 | 216 | 0.2129
169 | 23 | Whitewright Substation | 12573 | 190 | 0.2105
170 | 194 | Walnut Springs Substation | 2200 | 383 | 0.2062
171 | 118 | Tejas Substation | 1212 | 288 | 0.2048
172 | 90 | 16th Street Substation | 12F71 | 1066 | 0.2026
173 | 146 | Dickinson Substation | 1272 | 2531 | 0.2026
174 | 184 | League City Main Substation | 1012 | 1139 | 0.2001
175 | 48 | Heights Substation | 1224 | 1569 | 0.1963
176 | 4 | Hamilton City Substation | 22780 | 658 | 0.193
177 | 124 | Downtown 12.5KV Substation | 12F520 | 350 | 0.1828
178 | 227 | Whitewright Substation | 13563 | 339 | 0.1828
179 | 125 | La Marque Substation | 1203 | 463 | 0.1814
180 | 152 | South Shore Substation | 1196 | 1180 | 0.1779
181 | 150 | Glen Rose Substation | 22305 | 286 | 0.1748
182 | 30 | Hamilton County Substation | 2345 | 208 | 0.1682
183 | 156 | South Shore Substation | 1190 | 2319 | 0.1677
184 | 151 | Alvin Substation | 1230 | 1932 | 0.1645
185 | 247 | South Substation | 1104 | 3481 | 0.1643
186 | 175 | Valley Mills Substation | 22570 | 432 | 0.155
187 | 17 | Valley Mills Substation | 22575 | 657 | 0.1522
188 | 3 | South Substation | 1103 | 1576 | 0.151
189 | 107 | Tolar Substation | 25860 | 527 | 0.148
190 | 213 | Freeway Park Substation | 1102 | 1082 | 0.1469
191 | 201 | South Substation | 1107 | 1332 | 0.1411
192 | 98 | Handley Substation | 22825 | 476 | 0.1323
193 | 171 | Valley Mills Substation | 22565 | 425 | 0.1223
194 | 185 | Magnolia Substation | 1146 | 2517 | 0.1215
195 | 181 | Heights Substation | 1132 | 2272 | 0.121
196 | 219 | West Substation | 1201 | 708 | 0.1186
197 | 257 | Texas Instruments Substation | 1032 | 3564 | 0.1153
198 | 249 | South Shore Substation | 1194 | 2257 | 0.1147
199 | 195 | Jones Street Substation | 1412 | 474 | 0.1097
200 | 76 | Whitewright Substation | 12698 | 901 | 0.1076
201 | 276 | Belding Substation | 12F164 | 19 | 0.1052
202 | 164 | Whitney Substation | 22455 | 635 | 0.1039
203 | 282 | Clifton #1 22KV Substation | 22480 | 126 | 0.1031
204 | 166 | Sweeny Substation | 1129 | 659 | 0.0986
205 | 99 | Glen Rose Substation | 23875 | 835 | 0.0958
206 | 193 | Brazoria Substation | 1290 | 1012 | 0.0958
207 | 235 | Gatesville #2 Substation | 23065 | 520 | 0.0942
208 | 216 | Clifton #1 22KV Substation | 22495 | 332 | 0.0903
209 | 143 | Angleton Substation | 1154 | 1916 | 0.0902
210 | 161 | Tejas Substation | 1215 | 1548 | 0.0865
211 | 92 | West Columbia Local Substation | 1237 | 785 | 0.0828
212 | 268 | Graham Substation | 1245 | 147 | 0.0816
213 | 243 | Kermit #1 Substation | 4K03 | 246 | 0.0813
214 | 165 | Angleton Substation | 1153 | 2492 | 0.081
215 | 93 | Sweeny Substation | 1264 | 1367 | 0.0804
216 | 110 | West Columbia Local Substation | 1235 | 787 | 0.08
217 | 167 | West Substation | 1235 | 1524 | 0.0793
218 | 253 | Trenton Substation | 4120 | 206 | 0.0776
219 | 34 | Sweeny Substation | 1128 | 1516 | 0.0758
220 | 277 | Belding Substation | 12F161 | 41 | 0.0731
221 | 40 | Heights Substation | 1134 | 924 | 0.0714
222 | 25 | Leonard Substation | 12682 | 242 | 0.0702
223 | 218 | Downtown 12.5KV Substation | 12F114 | 607 | 0.0691
224 | 97 | Lone Oak Substation | 13384 | 368 | 0.0625
225 | 69 | Thurber Substation | 1490 | 777 | 0.0617
226 | 137 | Bryson Substation | 1230 | 456 | 0.0614
227 | 180 | Kermit #1 Substation | 4K02 | 231 | 0.0606
228 | 169 | West Substation | 1223 | 2383 | 0.057
229 | 86 | Lakepointe Substation | 2508 | 386 | 0.0518
230 | 275 | Kermit #2 Substation | 12K48 | 590 | 0.0508
231 | 212 | West Substation | 1233 | 592 | 0.0439
232 | 46 | Longneck Substation | 23130 | 1712 | 0.0426
233 | 237 | Pyote Substation | 25P312 | 170 | 0.0411
234 | 96 | Pecos Main Substation | 12P02 | 1117 | 0.0411
235 | 273 | Sanderson Substation | 4S28 | 295 | 0.0406
236 | 205 | West Substation | 1221 | 1926 | 0.0404
237 | 32 | West Columbia Local Substation | 1234 | 1074 | 0.0391
238 | 54 | Hamilton City Substation | 22785 | 383 | 0.0391
239 | 114 | 16th Street Substation | 12F72 | 459 | 0.037
240 | 211 | Texas Instruments Substation | 1012 | 1401 | 0.0349
241 | 133 | Jones Street Substation | 1411 | 1756 | 0.0347
242 | 239 | Kermit #2 Substation | 4K07 | 328 | 0.0335
243 | 37 | League City Main Substation | 1280 | 1462 | 0.0328
244 | 141 | Old Ocean Substation | 1261 | 187 | 0.032
245 | 31 | Lone Star Substation | 25P171 | 65 | 0.0307
246 | 173 | Sweeny Substation | 1263 | 557 | 0.0305
247 | 35 | Gatesville #1 Substation | 422 | 201 | 0.0298
248 | 259 | Handley Substation | 22820 | 68 | 0.0294
249 | 255 | Downtown 12.5KV Substation | 12F130 | 1006 | 0.0288
250 | 198 | Kermit #2 Substation | 4K06 | 220 | 0.0272
251 | 64 | Meridian Substation | 680 | 306 | 0.0261
252 | 190 | Olney Substation | 1695 | 593 | 0.0252
253 | 183 | Keystone Substation | 12K434 | 45 | 0.0222
254 | 262 | Sanderson Substation | 4S27 | 102 | 0.0196
255 | 281 | Walnut Springs Substation | 2215 | 117 | 0.017
256 | 234 | Stafford Substation | 12P50 | 317 | 0.0157
257 | 208 | 16th Street Substation | 13F14 | 343 | 0.0145
258 | 186 | Kermit #1 Substation | 4K04 | 481 | 0.0145
259 | 214 | Clifton #2 Substation | 23165 | 81 | 0.0123
260 | 58 | Gatesville #2 Substation | 426 | 208 | 0.0096
261 | 241 | Sanderson Substation | 4S26 | 227 | 0.0088
262 | 258 | West Substation | 1234 | 1492 | 0.0087
263 | 248 | Clifton #2 Substation | 4160 | 496 | 0.008
264 | 63 | Thurber Substation | 22890 | 400 | 0.0075
265 | 270 | Texas Instruments Substation | 1013 | 1835 | 0.007
266 | 210 | South Shore Substation | 1191 | 859 | 0.0058
267 | 283 | Clifton #1 4KV Substation | 405 | 225 | 0.0044
268 | 232 | South Substation | 1109 | 793 | 0.0037
269 | 264 | Texas Instruments Substation | 1033 | 2260 | 0.003
270 | 187 | Olney Substation | 1685 | 463 | 0.0021
271 | 236 | West Substation | 1202 | 995 | 0
272 | 62 | Bryson Substation | 1233 | 190 | 0
273 | 228 | Stafford Substation | 12P83 | 405 | 0
274 | 55 | Gatesville #1 Substation | 413 | 147 | 0
275 | 207 | Stafford Substation | 12P82 | 309 | 0
276 | 279 | Meridian Substation | 690 | 245 | 0
277 | 288 | California Substation | 12K86 | 27 | 0
278 | 245 | Clifton #2 Substation | 4165 | 311 | 0
279 | 67 | Clifton #2 Substation | 24370 | 220 | 0
280 | 217 | Whitney #2 Substation | 22460 | 516 | 0
281 | 120 | West Substation | 1203 | 912 | 0
282 | 251 | Puckett Substation | 25F14 | 52 | 0
283 | 284 | Clifton #1 4KV Substation | 407 | 127 | 0
284 | 199 | Kermit #1 Substation | 4K05 | 168 | 0
285 | 285 | Clifton #1 4KV Substation | 490 | 26 | 0
286 | 74 | Olney Substation | 1690 | 431 | 0
287 | 278 | Lakepointe Substation | 2524 | 674 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 287
Add or Delete Rows as Necessary
16 Texas Admin. Code §25.81
2015 SAIDI Ranking | 2014 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2015 SAIDI Value
1 | 45 | Glen Rose Substation | 22285 | 381 | 1157.3779
2 | 56 | Flat Top Substation | 26P03 | 62 | 1031.5322
3 | 23 | W.D. Faulkner Substation | 12P259 | 112 | 929.6339
4 | 69 | Whitewright Substation | 12575 | 714 | 610.3585
5 | 4 | Cochise Substation | 25P47 | 43 | 496.5348
6 | 263 | Hico City Substation | 390 | 271 | 488.2656
7 | 185 | Cochise Substation | 25P48 | 221 | 459.0497
8 | 223 | Hill County Substation | 22125 | 468 | 435.7286
9 | 72 | Flat Top Substation | 26P02 | 63 | 411.6507
10 | 212 | Hamilton City Substation | 23825 | 326 | 399.1533
11 | 262 | Hico City Substation | 395 | 517 | 389.0116
12 | 128 | League City Main Substation | 1010 | 481 | 332.2307
13 | 251 | Graham Substation | 12605 | 127 | 330.4724
14 | 7 | Deport Substation (ONCOR) | 22164 | 581 | 298.5043
15 | 242 | Gomez Substation | 25F05 | 24 | 264.9166
16 | 186 | Tejas Substation | 1217 | 140 | 232.7428
17 | 155 | Alvin Substation | 1257 | 2020 | 232.297
18 | 102 | Wickett Substation | 12K446 | 45 | 221.0444
19 | 25 | Red River Substation | 2262 | 75 | 213.2933
20 | 157 | Walnut Springs Substation | 1270 | 48 | 210
21 | 49 | Climax Substation | 22110 | 1056 | 205.4517
22 | 52 | Whitewright Substation | 12574 | 789 | 200.73
23 | 144 | Dickinson Substation | 1267 | 1824 | 195.5126
24 | 38 | Reeves County #4 Substation | 13P37 | 208 | 185.423
25 | 200 | South Substation | 1102 | 1437 | 182.6457
26 | 12 | Coryell County Substation | 22155 | 833 | 178.4453
27 | 133 | Gomez Substation | 25F61 | 20 | 176.8
28 | 111 | Hamilton City Substation | 23820 | 204 | 174.0294
29 | 287 | California Substation | 12K87 | 57 | 171.4561
30 | 107 | Frontier Substation | 4236 | 217 | 169.5668
31 | 63 | Coryell County Substation | 22365 | 908 | 168.8149
32 | 244 | Worsham Field Substation | 13P97 | 89 | 156.146
33 | 40 | Whitney #2 Substation | 22465 | 384 | 153.5937
34 | 224 | Pecos Main Substation | 12P362 | 822 | 153.0109
35 | 16 | Climax Substation | 2234 | 498 | 149.9357
36 | 26 | Red River Substation | 2229 | 358 | 149.6312
37 | 123 | Glen Rose Substation | 22295 | 779 | 147.2708
38 | 87 | Petrolia Substation | 12260 | 848 | 146.237
39 | 146 | Magnolia Substation | 1144 | 926 | 145.0313
40 | 260 | Meridian Substation | 23205 | 359 | 143.7242
41 | 233 | South Bend Substation | 1300 | 166 | 142.8795
42 | 53 | Meridian Substation | 23210 | 798 | 142.5463
43 | 135 | League City Main Substation | 1284 | 3317 | 135.794
44 | 265 | Blossom Substation | 2207 | 122 | 121.2213
45 | 256 | South Substation | 1108 | 1928 | 119.0612
46 | 226 | Wickett Substation | 12K449 | 216 | 118.1481
47 | 217 | Jones Street Substation | 1413 | 78 | 116.2307
48 | 116 | Freeway Park Substation | 1103 | 1437 | 115.2386
49 | 64 | Sycamore Substation | 24100 | 29 | 111
50 | 141 | Old Ocean Substation | 1260 | 560 | 110.5964
51 | 164 | Hill County Substation | 23340 | 592 | 110.1993
52 | 29 | Friendswood Substation | 1107 | 1837 | 103.7495
53 | 213 | Reeves County #4 Substation | 12P28 | 122 | 103.377
54 | 245 | Airport Substation | 12F271 | 105 | 103.019
55 | 109 | Lone Star Substation | 25P174 | 33 | 102.1818
56 | 66 | Alvin Substation | 1116 | 2069 | 101.7651
57 | 43 | Friendswood Substation | 1251 | 1897 | 100.0801
58 | 132 | Tejas Substation | 1214 | 588 | 99.8758
59 | 10 | Red River Substation | 2252 | 1111 | 98.4707
60 | 189 | Whitney Substation | 22455 | 635 | 95.6661
61 | 282 | Stafford Substation | 12P99 | 302 | 92.2284
62 | 172 | Dickinson Substation | 1277 | 1695 | 92.0318
63 | 99 | Krugerville Substation | 2604 | 2247 | 91.8072
64 | 54 | Freeway Park Substation | 1298 | 2156 | 91.6595
65 | 149 | Freeway Park Substation | 1297 | 700 | 91.6514
66 | 134 | League City Main Substation | 1283 | 1748 | 90.556
67 | 154 | Seminole Substation | 1403 | 977 | 89.392
68 | 101 | Brazoria Substation | 1291 | 691 | 88.5701
69 | 71 | Gatesville #2 Substation | 429 | 319 | 86.4388
70 | 5 | Angleton Substation | 1244 | 1269 | 85.8431
71 | 236 | Lakepointe Substation | 2540 | 562 | 84.9768
72 | 65 | Freeway Park Substation | 1299 | 854 | 84.2072
73 | 126 | Dickinson Substation | 1266 | 635 | 84.0299
74 | 59 | Saint Jo Substation | 15757 | 394 | 83.8223
75 | 160 | Hamilton County Substation | 24015 | 597 | 83.5175
76 | 76 | South Shore Substation | 1192 | 1456 | 83.4203
77 | 125 | Seminole Substation | 1402 | 1090 | 79.0587
78 | 89 | Dickinson Substation | 1274 | 2401 | 77.7246
79 | 83 | Jones Street Substation | 1431 | 885 | 75.6293
80 | 153 | Alvin Substation | 1117 | 1638 | 75.4487
81 | 103 | La Marque Substation | 1204 | 1586 | 75.1393
82 | 82 | Alvin Substation | 1231 | 2032 | 74.9901
83 | 225 | Thurber Substation | 1447 | 616 | 74.7321
84 | 117 | League City Main Substation | 1282 | 2182 | 73.7241
85 | 169 | Alvin Substation | 1254 | 1670 | 73.4131
86 | 130 | IH-20 Substation | 12P563 | 210 | 70.9428
87 | 13 | Clifton #1 22KV Substation | 22485 | 81 | 70.7407
88 | 114 | Magnolia Substation | 1148 | 2398 | 69.8698
89 | 173 | Freeway Park Substation | 1101 | 1573 | 69.5505
90 | 211 | Lone Oak Substation | 13388 | 469 | 66.8208
91 | 19 | Magnolia Substation | 1149 | 1151 | 66.3874
92 | 257 | Lakepointe Substation | 2512 | 2434 | 66.2506
93 | 98 | La Marque Substation | 1201 | 903 | 65.5503
94 | 68 | Nocona Substation | 13370 | 692 | 65.4046
95 | 41 | Friendswood Substation | 1253 | 912 | 64.6578
96 | 167 | Nocona Substation | 13374 | 702 | 63.9658
97 | 222 | Lake Whitney Substation | 1230 | 477 | 62.7568
98 | 39 | South Shore Substation | 1195 | 1193 | 62.0419
99 | 105 | Northside Substation | 1228 | 1148 | 61.5731
100 | 127 | Alvin Substation | 1259 | 718 | 61.2409
101 | 97 | Lakepointe Substation | 2516 | 901 | 58.9078
102 | 6 | Sycamore Substation | 24105 | 147 | 58.0136
103 | 80 | Dickinson Substation | 1279 | 1949 | 54.4679
104 | 9 | Northside Substation | 1294 | 1080 | 54.2148
105 | 231 | West Substation | 1222 | 1432 | 53.6641
106 | 30 | Alvin Substation | 1115 | 2157 | 53.2021
107 | 2 | Coryell County Substation | 22160 | 74 | 52.9054
108 | 81 | Gatesville #2 Substation | 22725 | 493 | 51.8215
109 | 190 | Stafford Substation | 13P50 | 357 | 50.0448
110 | 205 | Magnolia Substation | 1145 | 3282 | 49.0612
111 | 148 | La Marque Substation | 1205 | 1063 | 47.5983
112 | 90 | Northside Substation | 1293 | 641 | 47.5179
113 | 161 | IH-20 Substation | 12P566 | 495 | 47.3858
114 | 31 | Heights Substation | 1222 | 623 | 47.0577
115 | 32 | Longneck Substation | 23126 | 469 | 46.8912
116 | 131 | La Marque Substation | 1202 | 1078 | 46.6669
117 | 67 | Jones Street Substation | 1433 | 1032 | 46.0901
118 | 187 | Whitney Substation | 22450 | 499 | 45.533
119 | 210 | South Substation | 1107 | 1332 | 43.3506
120 | 18 | Pecos Main Substation | 12P03 | 424 | 42.3231
121 | 143 | Northside Substation | 1295 | 2290 | 41.2934
122 | 274 | League City Main Substation | 1281 | 940 | 40.9255
123 | 221 | Winkler County #6 Substation | 25K11 | 40 | 40.8
124 | 119 | Friendswood Substation | 1109 | 1543 | 40.6966
125 | 84 | Emory Substation (ONCOR) | 1201 | 930 | 40.0268
126 | 272 | Kermit #2 Substation | 12K98 | 299 | 39.5919
127 | 60 | Walnut Springs Substation | 2210 | 454 | 39.4977
128 | 156 | Krugerville Substation | 2608 | 1868 | 39.0968
129 | 58 | West Columbia Local Substation | 1233 | 1085 | 38.9059
130 | 158 | Hamilton County Substation | 2340 | 135 | 38.8666
131 | 201 | Seminole Substation | 1404 | 2009 | 38.1567
132 | 15 | South Substation | 1103 | 1576 | 37.7303
133 | 96 | Cochise Substation | 12P637 | 103 | 36.1456
134 | 50 | Flat Top Substation | 26P01 | 161 | 34.9875
135 | 269 | Keystone Substation | 12K437 | 714 | 34.6316
136 | 28 | Pyote Substation | 25P217 | 104 | 34.5769
137 | 17 | La Marque Substation | 1110 | 377 | 34.2652
138 | 37 | Friendswood Substation | 1252 | 1642 | 32.9409
139 | 150 | Lake Whitney Substation | 12355 | 857 | 32.6044
140 | 85 | Saint Jo Substation | 15761 | 216 | 32.4212
141 | 243 | Blossom Substation | 2203 | 1385 | 32.3487
142 | 88 | Lakepointe Substation | 2536 | 1446 | 32.0975
143 | 181 | Angleton Substation | 1245 | 689 | 30.7837
144 | 27 | Whitewright Substation | 12573 | 190 | 30.621
145 | 241 | Whitewright Substation | 13563 | 339 | 30.171
146 | 216 | Alvin Substation | 1232 | 1260 | 29.7047
147 | 11 | Angleton Substation | 1240 | 1544 | 29.5187
148 | 51 | Brazoria Substation | 1270 | 1023 | 28.8357
149 | 162 | Northside Substation | 1292 | 779 | 28.0423
150 | 124 | Glen Rose Substation | 22300 | 1126 | 27.9387
151 | 151 | Puckett Substation | 25F18 | 33 | 27.6363
152 | 175 | League City Main Substation | 1285 | 2004 | 27.6202
153 | 24 | Worsham Field Substation | 13P98 | 91 | 27.5274
154 | 47 | Nocona Substation | 12486 | 164 | 27.2317
155 | 3 | Talco West Substation | 13909 | 30 | 27.0344
156 | 1 | Valley Mills Substation | 22575 | 657 | 27.0152
157 | 246 | Texas Instruments Substation | 1032 | 3564 | 26.8468
158 | 219 | Airport Substation | 12F725 | 761 | 26.0512
159 | 229 | Freeway Park Substation | 1102 | 1082 | 26.0286
160 | 14 | Leonard Substation | 12678 | 516 | 25.9031
161 | 182 | Valley Mills Substation | 22565 | 425 | 25.2988
162 | 33 | Heights Substation | 1224 | 1569 | 24.121
163 | 79 | Leonard Substation | 14635 | 506 | 23.3695
164 | 177 | League City Main Substation | 1012 | 1139 | 22.9359
165 | 110 | Tejas Substation | 1212 | 288 | 22.6979
166 | 62 | Friendswood Substation | 1108 | 1744 | 22.6433
167 | 137 | Dickinson Substation | 1272 | 2531 | 22.5725
168 | 165 | Angleton Substation | 1241 | 1603 | 22.4815
169 | 21 | Hamilton County Substation | 2345 | 208 | 21.3221
170 | 230 | West Substation | 1201 | 708 | 21.1991
171 | 254 | South Substation | 1104 | 3481 | 20.399
172 | 46 | Nocona Substation | 12490 | 316 | 20.0664
173 | 159 | Brazoria Substation | 1271 | 1744 | 19.2981
174 | 139 | La Marque Substation | 1203 | 463 | 18.9114
175 | 34 | Angleton Substation | 1242 | 544 | 18.9044
176 | 174 | Walnut Springs Substation | 2200 | 383 | 18.8224
177 | 106 | Tolar Substation | 25860 | 527 | 18.5237
178 | 176 | Leonard Substation | 14631 | 446 | 18.4372
179 | 140 | South Shore Substation | 1190 | 2319 | 17.5795
180 | 168 | Alvin Substation | 1230 | 1932 | 17.4042
181 | 91 | Angleton Substation | 1243 | 1338 | 17.3721
182 | 188 | Magnolia Substation | 1150 | 839 | 16.9368
183 | 191 | Airport Substation | 12F44 | 894 | 16.5816
184 | 170 | Heights Substation | 1132 | 2272 | 16.1333
185 | 171 | Angleton Substation | 1155 | 1100 | 16.1118
186 | 122 | Magnolia Substation | 1146 | 2517 | 15.3059
187 | 112 | Glen Rose Substation | 22305 | 286 | 14.486
188 | 70 | 16th Street Substation | 12F71 | 1066 | 14.3086
189 | 288 | Lakepointe Substation | 2544 | 747 | 14.261
190 | 22 | Hamilton City Substation | 22780 | 658 | 14.1231
191 | 138 | South Shore Substation | 1196 | 1180 | 13.4347
192 | 203 | West Substation | 1233 | 592 | 13.3074
193 | 115 | Blue Ridge Substation | 22700 | 474 | 13.3059
194 | 208 | League City Main Substation | 1011 | 156 | 13.0961
195 | 179 | Pyote Substation | 25P312 | 170 | 13.0411
196 | 258 | South Shore Substation | 1194 | 2257 | 12.1369
197 | 255 | Gatesville #2 Substation | 23065 | 520 | 12.1307
198 | 152 | Nocona Substation | 13610 | 684 | 11.8801
199 | 86 | Whitewright Substation | 12698 | 901 | 11.8035
200 | 214 | Clifton #1 22KV Substation | 22495 | 332 | 11.6927
201 | 129 | West Substation | 1235 | 1524 | 11.4291
202 | 184 | Valley Mills Substation | 22570 | 432 | 11.3194
203 | 285 | Clifton #1 22KV Substation | 22480 | 126 | 11.2301
204 | 270 | Pecos Main Substation | 12P01 | 201 | 10.791
205 | 57 | Lone Oak Substation | 13384 | 368 | 10.7581
206 | 204 | Sweeny Substation | 1129 | 659 | 10.7101
207 | 142 | Tejas Substation | 1215 | 1548 | 10.5497
208 | 247 | Trenton Substation | 4120 | 206 | 10.1407
209 | 20 | Longneck Substation | 23130 | 1712 | 9.6232
210 | 75 | Handley Substation | 22825 | 476 | 9.4369
211 | 273 | Sanderson Substation | 4S28 | 295 | 8.7389
212 | 193 | Jones Street Substation | 1412 | 474 | 8.5569
213 | 239 | Kermit #1 Substation | 4K03 | 246 | 8.4552
214 | 78 | Heights Substation | 1134 | 924 | 8.2889
215 | 95 | Lakepointe Substation | 2508 | 386 | 8.2694
216 | 202 | West Substation | 1221 | 1926 | 7.5025
217 | 104 | West Substation | 1223 | 2383 | 7.2173
218 | 92 | Glen Rose Substation | 23875 | 835 | 7.2083
219 | 48 | Leonard Substation | 12682 | 242 | 7.1157
220 | 271 | Graham Substation | 1245 | 147 | 7.0748
221 | 94 | Bryson Substation | 1230 | 456 | 7.0723
222 | 286 | Belding Substation | 12F161 | 41 | 6.6585
223 | 100 | Pecos Main Substation | 12P02 | 1117 | 6.6141
224 | 73 | Sweeny Substation | 1128 | 1516 | 6.5118
225 | 42 | Meridian Substation | 680 | 306 | 6.5032
226 | 147 | Downtown 12.5KV Substation | 12F520 | 350 | 6.4371
227 | 283 | Belding Substation | 12F164 | 19 | 6.1578
228 | 93 | Sweeny Substation | 1264 | 1367 | 5.9992
229 | 275 | Kermit #2 Substation | 12K48 | 590 | 5.9491
230 | 120 | West Columbia Local Substation | 1237 | 785 | 5.9414
231 | 121 | West Columbia Local Substation | 1235 | 787 | 5.6569
232 | 220 | Brazoria Substation | 1290 | 1012 | 5.2262
233 | 237 | Texas Instruments Substation | 1012 | 1401 | 5.0599
234 | 268 | Handley Substation | 22820 | 68 | 5
235 | 209 | Kermit #2 Substation | 4K06 | 220 | 4.9909
236 | 136 | Angleton Substation | 1154 | 1916 | 4.9582
237 | 8 | Lone Star Substation | 25P171 | 65 | 4.9076
238 | 166 | Angleton Substation | 1153 | 2492 | 4.8571
239 | 55 | Thurber Substation | 1490 | 777 | 4.7129
240 | 44 | West Columbia Local Substation | 1234 | 1074 | 4.35
241 | 145 | Jones Street Substation | 1411 | 1756 | 4.1076
242 | 238 | Downtown 12.5KV Substation | 12F114 | 607 | 3.8253
243 | 180 | Sweeny Substation | 1263 | 557 | 3.447
244 | 234 | Kermit #2 Substation | 4K07 | 328 | 3.3536
245 | 266 | Sanderson Substation | 4S27 | 102 | 3.1372
246 | 206 | Olney Substation | 1695 | 593 | 2.6576
247 | 183 | Old Ocean Substation | 1261 | 187 | 2.5347
248 | 264 | Downtown 12.5KV Substation | 12F130 | 1006 | 2.49
249 | 178 | Gatesville #1 Substation | 422 | 201 | 2.3333
250 | 163 | 16th Street Substation | 12F72 | 459 | 2.0305
251 | 281 | Walnut Springs Substation | 2215 | 117 | 2.0256
252 | 118 | League City Main Substation | 1280 | 1462 | 1.8912
253 | 196 | Keystone Substation | 12K434 | 45 | 1.6666
254 | 249 | West Substation | 1234 | 1492 | 1.2352
255 | 250 | Sanderson Substation | 4S26 | 227 | 1.0572
256 | 195 | Stafford Substation | 12P50 | 317 | 1.0473
257 | 35 | Hamilton City Substation | 22785 | 383 | 1.0078
258 | 252 | Clifton #2 Substation | 23165 | 81 | 0.9259
259 | 218 | South Shore Substation | 1191 | 859 | 0.7543
260 | 227 | Kermit #1 Substation | 4K04 | 481 | 0.5322
261 | 232 | South Substation | 1109 | 793 | 0.4955
262 | 261 | Clifton #2 Substation | 4160 | 496 | 0.4838
263 | 267 | Texas Instruments Substation | 1033 | 2260 | 0.4579
264 | 253 | Texas Instruments Substation | 1013 | 1835 | 0.4108
265 | 228 | 16th Street Substation | 13F14 | 343 | 0.3819
266 | 61 | Gatesville #2 Substation | 426 | 208 | 0.3365
267 | 235 | Kermit #1 Substation | 4K02 | 231 | 0.303
268 | 278 | Clifton #1 4KV Substation | 405 | 225 | 0.2666
269 | 192 | Olney Substation | 1685 | 463 | 0.1943
270 | 113 | Thurber Substation | 22890 | 400 | 0.15
271 | 36 | Bryson Substation | 1233 | 190 | 0
272 | 74 | Clifton #2 Substation | 24370 | 220 | 0
273 | 77 | Olney Substation | 1690 | 431 | 0
274 | 108 | West Substation | 1203 | 912 | 0
275 | 194 | Whitney #2 Substation | 22460 | 516 | 0
276 | 197 | Gatesville #1 Substation | 413 | 147 | 0
277 | 198 | West Substation | 1202 | 995 | 0
278 | 199 | Stafford Substation | 12P83 | 405 | 0
279 | 215 | Kermit #1 Substation | 4K05 | 168 | 0
280 | 240 | Stafford Substation | 12P82 | 309 | 0
281 | 248 | Clifton #2 Substation | 4165 | 311 | 0
282 | 259 | Puckett Substation | 25F14 | 52 | 0
283 | 276 | California Substation | 12K86 | 27 | 0
284 | 277 | Lakepointe Substation | 2524 | 674 | 0
285 | 279 | Clifton #1 4KV Substation | 407 | 127 | 0
286 | 280 | Clifton #1 4KV Substation | 490 | 26 | 0
287 | 284 | Meridian Substation | 690 | 245 | 0

## Causes
TEXAS-NEW MEXICO POWER COMPANY
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2015 Reporting Year
16 Texas Admin. Code §25.81
Causes of Forced Interruptions |  | Percentage
| WEATHER | 29.45%
| UTILITY-OWNED EQUIPMENT | 28.53%
| VEGETATION | 20.26%
| ANIMALS AND BIRDS | 15.07%
| UNKNOWN | 5.28%
| OTHER | 1.16%
| PEOPLE | 0.25%
| TOTAL | 100%