## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Xcel Energy
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 348
Due: |  | February 15, 2016
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 45516
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Larry Reed
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7357
Fax: | 512 936 7328
E-mail: | mailto:larry.reed@puc.texas.gov

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2015 Reporting Year
Xcel Energy
Project 45516

## System-SAIFI
Xcel Energy
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2015 | 0.99683 | 0.028883 | 0.043653 | 0.023627 | 0.055935 | 0.14616 | 0.10067 | 0.14561 | 0.11007 | 0.043172 | 0.08665 | 0.10611 | 0.10628
Scheduled
2015 | 0.037359 | 4.8361e-05 | 0.0018652 | 0.0033473 | 0.0010123 | 0.00025226 | 0.00056458 | 0.0078279 | 0.0075518 | 0.00066628 | 0.0050729 | 0.0052466 | 0.0039035
Outside Causes
2015 | 0.51087 | 0.039571 | 0.030416 | 0.064542 | 0.014497 | 0.059197 | 0.05209 | 0.063272 | 0.096215 | 0.0024856 | 0.0025983 | 0.060667 | 0.025323
Major Events
2015 | 0.055655 | 0 | 0.018296 | 0 | 0 | 0 | 0 | 0 | 0.0071808 | 0 | 0 | 0.030178 | 0

## System-SAIDI
Xcel Energy
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2015 | 138.4523 | 4.0328 | 8.5417 | 1.9857 | 4.977 | 16.7161 | 16.0734 | 17.2063 | 16.288 | 3.2172 | 7.3662 | 12.9201 | 29.1279
Scheduled
2015 | 2.0777 | 0.0027835 | 0.25633 | 0.19747 | 0.08138 | 0.01401 | 0.05573 | 0.12501 | 0.258 | 0.057686 | 0.43176 | 0.22322 | 0.37436
Outside Causes
2015 | 43.6347 | 3.828 | 0.75498 | 2.1216 | 1.1828 | 3.7101 | 6.113 | 4.5745 | 8.7832 | 0.14913 | 0.50927 | 7.596 | 4.312
Major Events
2015 | 17.8856 | 0 | 8.5962 | 0 | 0 | 0 | 0 | 0 | 0.45291 | 0 | 0 | 8.8365 | 0

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 348
Add or Delete Rows as Necessary
Xcel Energy
2015 SAIFI Ranking | 2014 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2015 SAIFI Value
1 | 146 | Cherry | CHER5C10 | 1619 | 5.7375
2 | 2 | Channing | CHAN1568 | 57 | 5.5789
3 | 91 | Aiken Rural | AIKRLA110 | 128 | 5.5469
4 | 35 | Flanagan | FLANS550 | 120 | 5.3917
5 | NA(New in '15) | Pringle | PRIN1E15 | 463 | 5.3283
6 | 122 | Herring | HERR1438 | 86 | 4.7558
7 | 214 | Perryton | PERR1235 | 1653 | 4.6763
8 | 28 | Buffalo | BUFF5165 | 210 | 4.6571
9 | 24 | Allred | ALLRS140 | 359 | 4.3677
10 | 290 | Kress Rural | KRERKR110 | 344 | 4.3517
11 | 57 | Etter Rural | ETTR5405 | 573 | 4.3508
12 | 9 | Plant X | PLAXX310 | 612 | 4.3219
13 | 10 | Buffalo | BUFF2215 | 457 | 4.3195
14 | 92 | Channing | CHAN1564 | 30 | 4.2333
15 | 42 | Hereford | HERE2630 | 753 | 4.2271
16 | 285 | Weatherly | WEAT1354 | 817 | 4.1836
17 | 98 | Perryton | PERR1535 | 1193 | 4.14
18 | 201 | Waterfield | WTRF2368 | 143 | 4.1189
19 | 90 | Weatherly | WEAT1350 | 1521 | 4.1137
20 | 5 | Coble | COBLLV835 | 252 | 4.0198
21 | 77 | Moore Co | MOORM065 | 930 | 3.9677
22 | 13 | Dalhart | DALH1664 | 81 | 3.8889
23 | 32 | Middleton | MIDDLV820 | 50 | 3.78
24 | 85 | Herring | HERR1434 | 1199 | 3.7331
25 | 29 | Plainview South | PLVSP210 | 149 | 3.6711
26 | 1 | Booker | BOOK33-08 | 1106 | 3.5868
27 | 203 | Channing | CHAN1675 | 467 | 3.5803
28 | 8 | Irick | IRICIB110 | 85 | 3.5647
29 | 87 | Barwise | BARWIB130 | 60 | 3.5
30 | 26 | Spearman Int | SPEX1512 | 959 | 3.4692
31 | 43 | Kingsmill | KING5100 | 127 | 3.4646
32 | 123 | Lehman | LEHMLV500 | 195 | 3.3846
33 | 79 | Lockney Rural | LOCR3421 | 24 | 3.3333
34 | 264 | Jaybee | JAYBS765 | 49 | 3.2245
35 | 65 | McLean Rural | MCLE5300 | 820 | 3.1878
36 | 51 | Lehman | LEHMLV510 | 64 | 3.1562
37 | 7 | Plainview East | PLVEP180 | 292 | 3.0616
38 | 140 | East Plant | EPLAA110 | 950 | 3.0526
39 | 296 | Hastings | HAST7086 | 809 | 2.974
40 | 253 | Palo Duro | PALO1C35 | 580 | 2.9586
41 | 291 | Hale Center | HACTHR145 | 502 | 2.9124
42 | 134 | Kingsmill | KING5110 | 252 | 2.9048
43 | 144 | Springlake | SPRISO140 | 163 | 2.7607
44 | 14 | Carson County | CARS7030 | 140 | 2.7357
45 | 19 | Kress Rural | KRERKR120 | 135 | 2.7111
46 | 110 | Waterfield | WTRF2364 | 115 | 2.7043
47 | 107 | Sherman County | SHER1456 | 1132 | 2.6979
48 | 106 | Dalhart | DALH1580 | 370 | 2.6973
49 | 40 | Sherman County | SHER1452 | 40 | 2.675
50 | 39 | Roxana | ROXA2076 | 407 | 2.6044
51 | 266 | Garza | GARZ6520 | 396 | 2.5556
52 | 120 | Denver City East | DENES110 | 868 | 2.5046
53 | 270 | Pacific | PACILV940 | 66 | 2.4545
54 | 325 | Riley | RILES510 | 66 | 2.4242
55 | 128 | Hale Center | HACTHR110 | 630 | 2.3921
56 | 226 | Riverview | RIVER100 | 267 | 2.3745
57 | 278 | Perryton | PERR1230 | 581 | 2.3373
58 | 130 | Vega | VEGA5195 | 861 | 2.3055
59 | 183 | Dumas 19th Street | DU191371 | 1152 | 2.27
60 | 333 | Plainview City | PLVCP670 | 59 | 2.2034
61 | 6 | Wade | WADE1420 | 78 | 2.1667
62 | 327 | Plainview City | PLVCP680 | 80 | 2.1625
63 | 220 | Bennett | BENNS290 | 81 | 2.1605
64 | 258 | 34th Street | 34ST5B95 | 1586 | 2.0832
65 | 102 | Parmer County | PARM2465 | 40 | 2.05
66 | 124 | McCullough | MCCU5085 | 1279 | 2.0047
67 | 36 | Diekemper | DEIKDE110 | 67 | 1.9851
68 | 283 | Conway | CONW5010 | 1437 | 1.9228
69 | 46 | Bennett | BENNS365 | 69 | 1.913
70 | 143 | Lockney Rural | LOCRLA150 | 92 | 1.8913
71 | 207 | Springlake | SPRISO150 | 318 | 1.8805
72 | 232 | Dawn | DAWN5A40 | 34 | 1.8529
73 | 16 | Kingsmill | KING5105 | 327 | 1.8502
74 | 271 | Doss | DOSSS400 | 1103 | 1.8486
75 | 186 | Carson County | CARS7034 | 51 | 1.8431
76 | 292 | Vega | VEGA5170 | 61 | 1.8197
77 | 225 | Muleshoe West | MULWMR130 | 208 | 1.8125
78 | 293 | Monroe | MONR6610 | 417 | 1.8082
79 | 74 | Parmer County | PARM2475 | 812 | 1.8042
80 | 54 | Kress Rural | KRERKR140 | 142 | 1.8028
81 | 21 | Hart | HARTHA110 | 104 | 1.7885
82 | 328 | Littlefield West | LITWLI156 | 246 | 1.7805
83 | 204 | Garza | GARZ6500 | 737 | 1.7571
84 | 217 | Estacado | ESTA5D15 | 680 | 1.7456
85 | 64 | Russell | RUSSS385 | 91 | 1.7033
86 | 159 | Hastings | HAST7082 | 1417 | 1.6965
87 | 241 | Doss | DOSSS495 | 1012 | 1.6542
88 | 47 | Spring Draw | SPRD2C70 | 1061 | 1.6522
89 | 101 | Hendrick | HEND6685 | 1097 | 1.6445
90 | 161 | Riverview | RIVER095 | 476 | 1.6218
91 | 149 | Denver City East | DENES100 | 1042 | 1.5768
92 | 227 | Plainview City | PLVCP620 | 237 | 1.5527
93 | 127 | Texas Farms | TXFA1125 | 441 | 1.5488
94 | 255 | Farmers | FARM5395 | 991 | 1.5399
95 | 180 | Industrial | INDU1412 | 1078 | 1.5288
96 | 170 | Springcreek | SPRI1320 | 95 | 1.5263
97 | 284 | Hastings | HAST7074 | 1503 | 1.5216
98 | 73 | Bowers | BOWE2053 | 48 | 1.5208
99 | 298 | Brisco | BRIS3457 | 14 | 1.5
100 | 157 | Lawrence Park | LAWR5315 | 968 | 1.4938
101 | 12 | Industrial | INDU1416 | 877 | 1.4892
102 | 11 | Fritch | FRIT1364 | 1825 | 1.4805
103 | 240 | Moore Co | MOORM055 | 73 | 1.4795
104 | 184 | Conway | CONW5005 | 1546 | 1.4534
105 | 56 | Kingsmill | KING5115 | 838 | 1.3759
106 | 44 | Bowers | BOWE5090 | 142 | 1.3592
107 | 121 | Whiteface | WHITLV210 | 120 | 1.35
108 | 115 | Happy | HAPP7040 | 373 | 1.3458
109 | 83 | Brownfield | BROW6580 | 303 | 1.3201
110 | 117 | Tokio | TOKIS800 | 67 | 1.3134
111 | 177 | Slaton | SLAT6600 | 1137 | 1.3105
112 | 178 | Van Buren | VANB7048 | 327 | 1.3058
113 | 171 | Dalhart | DALH1246 | 1741 | 1.3056
114 | 224 | Lockney Rural | LOCRLA140 | 72 | 1.3056
115 | 75 | Tenneco | TENNS440 | 136 | 1.3015
116 | 20 | Southeast | SOEA5C80 | 316 | 1.288
117 | 246 | Bush | BUSH5210 | 1697 | 1.2823
118 | 196 | Arrowhead | ARRO5D85 | 2029 | 1.274
119 | 89 | Wildorado | WILD2018 | 948 | 1.25
120 | 251 | Westridge | WRIDP450 | 1495 | 1.2261
121 | 158 | Estacado | ESTA5D20 | 1872 | 1.2244
122 | 34 | Brisco | BRIS3434 | 490 | 1.2143
123 | 119 | Roxana | ROXA2334 | 113 | 1.2124
124 | 194 | Lariat | LARIMR110 | 57 | 1.2105
125 | 339 | Coulter | COUL5290 | 1814 | 1.2084
126 | 218 | Wildorado | WILD2014 | 353 | 1.1898
127 | 254 | Osage | OSAG6060 | 132 | 1.1894
128 | 129 | Hart | HARTHA120 | 547 | 1.1865
129 | 137 | Spring Draw | SPRD2C75 | 862 | 1.1833
130 | 245 | Lake Meredith | LAKM2B55 | 46 | 1.1739
131 | 269 | Lockney Rural | LOCR3417 | 947 | 1.1616
132 | 329 | Spearman | SPEA302 | 586 | 1.1587
133 | 82 | Plainview North | PLVNP270 | 144 | 1.1528
134 | 168 | Levelland City | LEVCLV180 | 2323 | 1.1477
135 | 94 | Pacific | PACILV930 | 15 | 1.1333
136 | 243 | Kite | KITE5B80 | 1073 | 1.123
137 | 4 | Moss | MOSS6540 | 313 | 1.1182
138 | 105 | Doss | DOSS6660 | 658 | 1.1155
139 | 190 | Vickers | VICK6680 | 1651 | 1.1127
140 | 166 | West Anton | WANT3502 | 626 | 1.1054
141 | 313 | Perryton | PERR1530 | 672 | 1.1042
142 | 256 | Arrowhead | ARRO5D80 | 413 | 1.0993
143 | 279 | Moore Co | MOORM060 | 167 | 1.0958
144 | 150 | South Floydada | SFLO3547 | 294 | 1.0816
145 | 230 | Coulter | COUL5280 | 871 | 1.0815
146 | 221 | Waterfield | WTRF2361 | 381 | 1.0787
147 | 126 | Howard | HOWA2480 | 629 | 1.0763
148 | 205 | Hillside | HILS2B05 | 140 | 1.0714
149 | 31 | Moss | MOSS6320 | 1270 | 1.0449
150 | 276 | Whitaker | WHIT5265 | 72 | 1.0417
151 | 237 | Pierce | PIER5B10 | 854 | 1.0363
152 | 136 | Plainview East | PLVEP160 | 347 | 1.0317
153 | 236 | Amherst | AMHEAM610 | 29 | 1
154 | 3 | Coulter | COUL5285 | 248 | 1
155 | 286 | Canadian | CANA340 | 445 | 0.99551
156 | 340 | Dumas 19th Street | DU191498 | 64 | 0.98438
157 | 320 | Morton | MORTM130 | 874 | 0.95309
158 | 294 | Boardman | BOARS430 | 21 | 0.95238
159 | 212 | Murphy | MURP7535 | 1702 | 0.94771
160 | 287 | West Borger | WBOR1A20 | 1299 | 0.94611
161 | 175 | Kite | KITE7106 | 645 | 0.90078
162 | 242 | Roberts County | ROBE7090 | 487 | 0.88912
163 | 309 | Osage | OSAG6065 | 1936 | 0.875
164 | 108 | Manhattan | MANH5135 | 698 | 0.86676
165 | 280 | Muleshoe West | MULWMR140 | 663 | 0.85973
166 | 30 | County Line | COLICL110 | 14 | 0.85714
167 | 147 | Seminole Interchange | SEMX6E00 | 650 | 0.84462
168 | 18 | Boardman | BOARS560 | 165 | 0.84242
169 | 181 | Spearman | SPEA301 | 456 | 0.83772
170 | 165 | Spring Draw | SPRD2C80 | 2051 | 0.83569
171 | 191 | Doss | DOSS6670 | 1994 | 0.80792
172 | 112 | Burnett | BURN1398 | 99 | 0.77778
173 | 215 | Highland Park | HIGH5335 | 1010 | 0.7703
174 | 142 | Seminole Interchange | SEMX6E10 | 287 | 0.75261
175 | 22 | Roberts County | ROBE7065 | 94 | 0.74468
176 | 48 | Exell | EXEL1238 | 232 | 0.72414
177 | 55 | Plainview North | PLVNP260 | 1557 | 0.71741
178 | 38 | Canyon West | CANW7124 | 2273 | 0.70084
179 | 248 | Riverview | RIVER090 | 19 | 0.68421
180 | 23 | Friona Rural | FRIO2436 | 1694 | 0.67651
181 | 95 | Cherry | CHER5C15 | 1619 | 0.67387
182 | 222 | South Georgia | SGEO2346 | 1134 | 0.67196
183 | 231 | Tuco | TUCON404 | 781 | 0.66709
184 | 15 | Irick | IRICIB120 | 54 | 0.66667
185 | 312 | Canyon East | CANE5190 | 2062 | 0.66295
186 | 17 | Canadian | CANA335 | 319 | 0.65831
187 | 208 | Dawn | DAWN5A35 | 442 | 0.64706
188 | 330 | Garza | GARZPO110 | 508 | 0.63976
189 | 200 | Olton | OLTOSO180 | 568 | 0.62676
190 | 153 | South Georgia | SGEO2342 | 1138 | 0.62302
191 | 72 | East Plant | EPLAA118 | 2723 | 0.60999
192 | 267 | Lawrence Park | LAWR5275 | 1255 | 0.60558
193 | 125 | Fritch | FRIT1360 | 904 | 0.60177
194 | 114 | Howard | HOWA2485 | 610 | 0.57705
195 | 323 | Riley | RILES500 | 53 | 0.56604
196 | 131 | Whitaker | WHIT5270 | 2682 | 0.56003
197 | 160 | Dalhart | DALH1298 | 1706 | 0.55393
198 | 342 | Prentice | PRENS875 | 13 | 0.53846
199 | 209 | Slaton | SLATSL140 | 581 | 0.53701
200 | 103 | East Plant | EPLAA122 | 1242 | 0.52335
201 | 304 | Levelland East | LEVELV960 | 1074 | 0.52235
202 | 68 | Bush | BUSH5205 | 1714 | 0.50175
203 | 88 | Bennett | BENNS345 | 1028 | 0.5
204 | 187 | Kite | KITE5075 | 1257 | 0.49562
205 | 206 | Whiteface | WHITLV220 | 290 | 0.4931
206 | 341 | Littlefield City | LITCLI620 | 102 | 0.4902
207 | 182 | Adobe Creek | ADOB1115 | 94 | 0.48936
208 | 288 | Lawrence Park | LAWR5050 | 1193 | 0.48198
209 | 189 | Farmers | FARM5390 | 1461 | 0.47981
210 | 229 | Olton | OLTOSO170 | 669 | 0.47833
211 | 45 | Canyon West | CANW5160 | 809 | 0.47713
212 | 135 | Highland Park | HIGH5325 | 277 | 0.47292
213 | 116 | Burnett | BURN1394 | 54 | 0.46296
214 | 169 | Pullman | PULL2A40 | 199 | 0.46231
215 | 172 | Plainview West | PLVWP120 | 1524 | 0.45472
216 | 80 | East Plant | EPLAA126 | 634 | 0.45426
217 | 185 | Dumas 19th Street | DU191470 | 2303 | 0.45376
218 | 310 | Littlefield South | LITSLI110 | 1581 | 0.45351
219 | 148 | Carlisle | CARL6650 | 915 | 0.45137
220 | 289 | Levelland City | LEVCLV190 | 2306 | 0.44016
221 | 332 | South Georgia | SGEO5B35 | 1702 | 0.43126
222 | 59 | Bowers | BOWE2057 | 589 | 0.42954
223 | 307 | Canyon West | CANW7128 | 1672 | 0.42703
224 | 133 | South Georgia | SGEO2338 | 3380 | 0.42012
225 | 317 | Lake Meredith | LAKM2B65 | 24 | 0.41667
226 | 61 | Southeast | SOEA5C85 | 2706 | 0.41648
227 | 259 | Manhattan | MANH7160 | 1226 | 0.41436
228 | 104 | Littlefield City | LITCLI640 | 438 | 0.41324
229 | 41 | Barwise | BARWIB140 | 110 | 0.40909
230 | 27 | Pierce | PIER5B00 | 996 | 0.40161
231 | 306 | Lynn | LYNN6340 | 638 | 0.39969
232 | 210 | Estacado | ESTA5D65 | 2169 | 0.37206
233 | 265 | Whitaker | WHIT5260 | 1719 | 0.36824
234 | 275 | Farwell | FARWFA620 | 70 | 0.35714
235 | 199 | Lawrence Park | LAWR5030 | 1589 | 0.35557
236 | 195 | Elwood | ELWOLV140 | 57 | 0.35088
237 | 49 | Plainview South | PLVSP220 | 1114 | 0.34829
238 | 234 | Allmon | ALLMAT120 | 701 | 0.34522
239 | 303 | Plainview City | PLVCP690 | 105 | 0.34286
240 | 244 | Happy | HAPP2326 | 277 | 0.32491
241 | 141 | Canyon East | CANE5185 | 825 | 0.31879
242 | 67 | Lyons | LYON5C25 | 1913 | 0.31678
243 | 63 | Hereford | HERE2627 | 1627 | 0.3153
244 | 295 | Etter Rural | ETTR5410 | 725 | 0.31448
245 | 71 | Mallet | MALLLV120 | 13 | 0.30769
246 | 93 | Wellman | WELLS755 | 235 | 0.30638
247 | 173 | 34th Street | 34ST2B45 | 2152 | 0.29926
248 | 69 | Adair | ADAIS790 | 17 | 0.29412
249 | 305 | Levelland East | LEVELV950 | 510 | 0.29216
250 | 167 | Lyons | LYON5C20 | 1402 | 0.28816
251 | 154 | Hastings | HAST7078 | 3462 | 0.28596
252 | 228 | Pierce | PIER5B05 | 934 | 0.28051
253 | 211 | West Borger | WBOR1A10 | 1256 | 0.27707
254 | 111 | Dumas 19th Street | DU191367 | 1711 | 0.27703
255 | 188 | Lawrence Park | LAWR5025 | 1808 | 0.26493
256 | 25 | Curry County Interchange | CURX3486 | 348 | 0.26437
257 | 192 | Plainview West | PLVWP130 | 677 | 0.26292
258 | 174 | Tuco | TUCON412 | 745 | 0.2604
259 | 281 | Cedar Lake East | CEDES910 | 27 | 0.25926
260 | 162 | Centre Street | CENT5310 | 1538 | 0.25748
261 | 132 | Dimmitt East | DIMEDI180 | 447 | 0.25727
262 | 261 | Lynn | LYNN6300 | 840 | 0.24881
263 | 250 | Van Buren | VANB7198 | 1675 | 0.24478
264 | 113 | Exell | EXEL1242 | 86 | 0.24419
265 | 76 | Springcreek | SPRI1316 | 357 | 0.2437
266 | 335 | Sunset | SUNS5D40 | 1430 | 0.23776
267 | 62 | Sunset | SUNS5D35 | 548 | 0.23358
268 | 321 | Osage | OSAG6040 | 1832 | 0.23253
269 | 233 | Farmers | FARM5385 | 211 | 0.23223
270 | 308 | Sudan Rural | SUDRSR120 | 468 | 0.23077
271 | 198 | Manhattan | MANH7164 | 1639 | 0.22575
272 | 272 | South Georgia | SGEO5B40 | 1488 | 0.22177
273 | 326 | Levelland City | LEVCLV520 | 145 | 0.22069
274 | 316 | Dimmitt South | DIMSDI120 | 352 | 0.21875
275 | 262 | Plainview West | PLVWP110 | 1445 | 0.21799
276 | 53 | 34th Street | 34ST5B85 | 2115 | 0.21277
277 | 216 | Lawrence Park | LAWR5020 | 1529 | 0.21256
278 | 81 | Estacado | ESTA5D60 | 2272 | 0.21171
279 | 239 | Doss | DOSSS410 | 242 | 0.21074
280 | 193 | McCullough | MCCU7005 | 1349 | 0.20682
281 | 252 | Southland | SOUTSO110 | 99 | 0.20202
282 | 33 | Booker | BOOK422 | 328 | 0.20122
283 | 247 | Centre Street | CENT5305 | 2689 | 0.19524
284 | 84 | South Georgia | SGEO5B30 | 1424 | 0.19242
285 | 277 | Van Buren | VANB7044 | 897 | 0.19064
286 | 213 | Plainview South | PLVSP230 | 568 | 0.17958
287 | 202 | Estacado | ESTA5D70 | 735 | 0.17551
288 | 50 | Garza | GARZPO120 | 345 | 0.17101
289 | 319 | Texaco | TEXALV980 | 25 | 0.16
290 | 163 | Muleshoe Valley | MULVMR150 | 926 | 0.15983
291 | 152 | McCullough | MCCU7002 | 1306 | 0.15773
292 | 249 | Sherman County | SHER1448 | 13 | 0.15385
293 | 118 | Van Buren | VANB7194 | 276 | 0.14493
294 | 268 | Plainview City | PLVCP630 | 499 | 0.14028
295 | 179 | Fain | FAIN1105 | 87 | 0.13793
296 | 138 | Dalhart | DALH116 | 254 | 0.1378
297 | 155 | Canadian | CANA325 | 444 | 0.13739
298 | 58 | Morton | MORTM120 | 164 | 0.13415
299 | NA(New in '15) | Higg East | HGEA6A05 | 23 | 0.13043
300 | 282 | Littlefield City | LITCLI630 | 114 | 0.12281
301 | 318 | Kingsmill | KING5095 | 51 | 0.11765
302 | 219 | Spearman | SPEA401 | 371 | 0.1159
303 | 100 | Lynn | LYNN6510 | 266 | 0.11278
304 | 60 | Van Buren | VANB7046 | 2705 | 0.11275
305 | 300 | Hillside | HILS2B10 | 2707 | 0.10676
306 | 336 | Farwell | FARWFA610 | 275 | 0.10545
307 | 78 | Amherst | AMHEAM620 | 352 | 0.10227
308 | 324 | Puckett West | PUCW5C35 | 1934 | 0.098759
309 | 145 | 34th Street | 34ST5B90 | 915 | 0.093989
310 | 273 | Dumas 19th Street | DU191175 | 1420 | 0.091549
311 | 37 | Hendrick | HEND6675 | 1271 | 0.091267
312 | 223 | Westridge | WRIDP460 | 598 | 0.086957
313 | 197 | Yellowhouse | YELLLV900 | 23 | 0.086957
314 | 260 | Estacado | ESTA5D10 | 2326 | 0.085985
315 | 52 | Soncy | SONC5130 | 723 | 0.085754
316 | 343 | Puckett West | PUCW5C30 | 744 | 0.083333
317 | 96 | Canadian | CANA350 | 255 | 0.078431
318 | 235 | Slaton | SLAT6690 | 847 | 0.076741
319 | 301 | Puckett West | PUCW5C60 | 118 | 0.076271
320 | 238 | Dimmitt South | DIMSDI110 | 356 | 0.075843
321 | 331 | Littlefield City | LITCLI610 | 321 | 0.062305
322 | 263 | Soncy | SONC7024 | 1226 | 0.060359
323 | 302 | Dalhart | DALH106 | 186 | 0.053763
324 | 314 | Dalhart | DALH108 | 305 | 0.04918
325 | 311 | Muleshoe East | MULEMU630 | 185 | 0.048649
326 | 315 | Littlefield South | LITSLI120 | 213 | 0.046948
327 | 257 | Dalhart | DALH114 | 148 | 0.040541
328 | 86 | Muleshoe City | MULCMU620 | 452 | 0.039823
329 | 164 | Sunset | SUNS5D30 | 61 | 0.032787
330 | 109 | Booker | BOOK421 | 123 | 0.03252
331 | 151 | Slaton | SLATSL150 | 451 | 0.028825
332 | 176 | South Floydada | SFLO3551 | 36 | 0.027778
333 | 274 | Hillside | HILS2B15 | 1155 | 0.027706
334 | 299 | Dimmitt East | DIMEDI150 | 880 | 0.021591
335 | 70 | Booker | BOOK535 | 274 | 0.014599
336 | 297 | Whitharral | WHITLV710 | 92 | 0.01087
337 | 338 | Bush | BUSH5215 | 1321 | 0.006056
338 | 337 | Soncy | SONC7020 | 412 | 0.0048544
339 | NA(New in '15) | Damron | DAMR5365 | 10 | 0
340 | NA(New in '15) | Kingsmill | KING1B80 | 25 | 0
341 | 66 | Middleton | MIDDLV810 | 18 | 0
342 | 156 | Muleshoe City | MULCMU610 | 22 | 0
343 | 322 | Muleshoe East | MULEMU640 | 19 | 0
344 | 344 | Soncy | SONC7116 | 62 | 0
345 | 334 | Spearman | SPEA402 | 368 | 0
346 | 99 | Sudan Rural | SUDRSR110 | 24 | 0
347 | 139 | Van Buren | VANB7190 | 51 | 0
348 | 97 | Zavala | ZAVALV780 | 12 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 348
Add or Delete Rows as Necessary
Xcel Energy
2015 SAIDI Ranking | 2014 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2015 SAIDI Value
1 | 274 | Hale Center | HACTHR145 | 502 | 2116.6641
2 | 25 | Buffalo | BUFF5165 | 210 | 2040.6625
3 | 8 | Buffalo | BUFF2215 | 457 | 2024.3196
4 | 77 | Lehman | LEHMLV500 | 195 | 1918.0487
5 | 98 | Bennett | BENNS365 | 69 | 1831.3319
6 | 5 | Channing | CHAN1568 | 57 | 1339.7814
7 | 112 | Herring | HERR1438 | 86 | 1249.7984
8 | 52 | Kingsmill | KING5100 | 127 | 1226.6772
9 | 191 | Muleshoe West | MULWMR130 | 208 | 1191.8341
10 | 33 | Plant X | PLAXX310 | 612 | 1156.5447
11 | 54 | Allred | ALLRS140 | 359 | 1141.8392
12 | 18 | Irick | IRICIB110 | 85 | 1018.3235
13 | 19 | Coble | COBLLV835 | 252 | 1004.2926
14 | 39 | Barwise | BARWIB130 | 60 | 986.0007
15 | 37 | Channing | CHAN1564 | 30 | 962.217
16 | 63 | Dalhart | DALH1580 | 370 | 914.1141
17 | 85 | Etter Rural | ETTR5405 | 573 | 872.9442
18 | 221 | Moore Co | MOORM065 | 930 | 823.2415
19 | 4 | Wade | WADE1420 | 78 | 799.2564
20 | 10 | Kingsmill | KING5105 | 327 | 799.2207
21 | 186 | Pacific | PACILV940 | 66 | 794.6645
22 | 157 | Hendrick | HEND6685 | 1097 | 721.9923
23 | 151 | McLean Rural | MCLE5300 | 820 | 671.1201
24 | NA(New in '15) | Pringle | PRIN1E15 | 463 | 661.6825
25 | 275 | Garza | GARZ6520 | 396 | 653.5631
26 | 183 | Waterfield | WTRF2368 | 143 | 637.1189
27 | 38 | Roxana | ROXA2076 | 407 | 624.5703
28 | 2 | Booker | BOOK33-08 | 1106 | 620.884
29 | 17 | Dalhart | DALH1664 | 81 | 613.1058
30 | 163 | Perryton | PERR1235 | 1653 | 611.5027
31 | 47 | Parmer County | PARM2465 | 40 | 611.325
32 | 222 | Bennett | BENNS290 | 81 | 604.6074
33 | 298 | Jaybee | JAYBS765 | 49 | 596.0969
34 | 48 | Lehman | LEHMLV510 | 64 | 590.0019
35 | 61 | Herring | HERR1434 | 1199 | 587.8988
36 | 89 | Channing | CHAN1675 | 467 | 556.4775
37 | 138 | Aiken Rural | AIKRLA110 | 128 | 550.4259
38 | 272 | Plainview City | PLVCP620 | 237 | 542.3629
39 | 142 | Texas Farms | TXFA1125 | 441 | 518.6037
40 | 14 | Bowers | BOWE5090 | 142 | 508.012
41 | 144 | Lockney Rural | LOCR3421 | 24 | 472.0208
42 | 161 | Springlake | SPRISO150 | 318 | 468.5059
43 | 312 | Farwell | FARWFA620 | 70 | 462.7646
44 | 171 | Springlake | SPRISO140 | 163 | 461.0429
45 | 36 | Sherman County | SHER1452 | 40 | 460.8
46 | 181 | Springcreek | SPRI1320 | 95 | 458.3895
47 | 148 | Hereford | HERE2630 | 753 | 455.9263
48 | 214 | Palo Duro | PALO1C35 | 580 | 455.1931
49 | 107 | Bowers | BOWE2053 | 48 | 447.5625
50 | 277 | Hastings | HAST7086 | 809 | 439.3774
51 | 53 | Burnett | BURN1398 | 99 | 439.3535
52 | 12 | Flanagan | FLANS550 | 120 | 430.9156
53 | 32 | Plainview East | PLVEP180 | 292 | 416.0867
54 | 269 | Perryton | PERR1230 | 581 | 376.9139
55 | 90 | Middleton | MIDDLV820 | 50 | 368.86
56 | 26 | Carson County | CARS7030 | 140 | 360.5988
57 | 16 | Spearman Int | SPEX1512 | 959 | 351.5511
58 | 146 | Perryton | PERR1535 | 1193 | 343.8423
59 | 128 | Riverview | RIVER100 | 267 | 336.7083
60 | 254 | Farmers | FARM5395 | 991 | 336.0495
61 | 114 | Denver City East | DENES110 | 868 | 334.8538
62 | 136 | Cherry | CHER5C10 | 1619 | 323.4184
63 | 58 | Sherman County | SHER1456 | 1132 | 322.6478
64 | 282 | Weatherly | WEAT1354 | 817 | 318.2168
65 | 9 | Moss | MOSS6540 | 313 | 311.7061
66 | 283 | Estacado | ESTA5D15 | 680 | 308.8943
67 | 122 | Seminole Interchange | SEMX6E10 | 287 | 308.6376
68 | 149 | Roxana | ROXA2334 | 113 | 308.115
69 | 286 | Conway | CONW5010 | 1437 | 304.106
70 | 323 | Kress Rural | KRERKR110 | 344 | 298.481
71 | 155 | Osage | OSAG6060 | 132 | 297.6439
72 | 172 | Carson County | CARS7034 | 51 | 297.1808
73 | 259 | Moore Co | MOORM055 | 73 | 293.8493
74 | 130 | Howard | HOWA2480 | 629 | 282.7377
75 | 236 | Van Buren | VANB7048 | 327 | 279.9229
76 | 110 | Kingsmill | KING5110 | 252 | 267.9808
77 | 42 | Plainview South | PLVSP210 | 149 | 267.8389
78 | 324 | Riley | RILES510 | 66 | 265.5645
79 | 152 | Hastings | HAST7082 | 1417 | 264.4789
80 | 258 | Hillside | HILS2B05 | 140 | 260.7429
81 | 197 | Doss | DOSS6670 | 1994 | 260.1731
82 | 81 | Riverview | RIVER095 | 476 | 255.1778
83 | 260 | South Georgia | SGEO2346 | 1134 | 246.6614
84 | 210 | Roberts County | ROBE7090 | 487 | 246.4071
85 | 49 | Spring Draw | SPRD2C75 | 862 | 244.5174
86 | 93 | Happy | HAPP7040 | 373 | 241.1743
87 | 102 | South Floydada | SFLO3547 | 294 | 235.9634
88 | 6 | Kress Rural | KRERKR120 | 135 | 234.6815
89 | 292 | Moore Co | MOORM060 | 167 | 233.2455
90 | 291 | Brisco | BRIS3457 | 14 | 233.1429
91 | 300 | Lockney Rural | LOCR3417 | 947 | 228.1067
92 | 159 | Arrowhead | ARRO5D85 | 2029 | 227.2052
93 | 285 | Monroe | MONR6610 | 417 | 226.7415
94 | 84 | Moss | MOSS6320 | 1270 | 224.8333
95 | 73 | Vega | VEGA5195 | 861 | 219.702
96 | 34 | Waterfield | WTRF2364 | 115 | 215.8798
97 | 327 | Plainview City | PLVCP680 | 80 | 209.055
98 | 83 | Spring Draw | SPRD2C70 | 1061 | 208.3658
99 | 76 | Diekemper | DEIKDE110 | 67 | 208.2687
100 | 7 | Brisco | BRIS3434 | 490 | 207.8388
101 | 198 | Dumas 19th Street | DU191371 | 1152 | 200.2981
102 | 206 | Lake Meredith | LAKM2B55 | 46 | 193.1957
103 | 168 | Lockney Rural | LOCRLA150 | 92 | 192.6522
104 | 51 | Manhattan | MANH5135 | 698 | 191.8673
105 | 45 | Parmer County | PARM2475 | 812 | 188.3256
106 | 231 | Whitaker | WHIT5265 | 72 | 186.9167
107 | 13 | Roberts County | ROBE7065 | 94 | 186.0213
108 | 336 | Plainview City | PLVCP670 | 59 | 184.9614
109 | 212 | Wildorado | WILD2014 | 353 | 183.8727
110 | 255 | Muleshoe West | MULWMR140 | 663 | 183.2081
111 | 15 | Hart | HARTHA110 | 104 | 181.1154
112 | 129 | Spring Draw | SPRD2C80 | 2051 | 179.5503
113 | 224 | Waterfield | WTRF2361 | 381 | 179.4094
114 | 322 | Perryton | PERR1530 | 672 | 178.1667
115 | 314 | Vega | VEGA5170 | 61 | 176.8361
116 | 162 | East Plant | EPLAA110 | 950 | 173.9407
117 | 62 | Southeast | SOEA5C80 | 316 | 170.2816
118 | 170 | Garza | GARZ6500 | 737 | 165.9902
119 | 140 | Canyon East | CANE5185 | 825 | 165.6536
120 | 219 | Hale Center | HACTHR110 | 630 | 165.0373
121 | 60 | Kress Rural | KRERKR140 | 142 | 165.0212
122 | 178 | Estacado | ESTA5D20 | 1872 | 160.4288
123 | 133 | McCullough | MCCU5085 | 1279 | 158.7913
124 | 280 | Doss | DOSSS495 | 1012 | 158.7396
125 | 96 | Lawrence Park | LAWR5315 | 968 | 152.1355
126 | 40 | Tokio | TOKIS800 | 67 | 151.6549
127 | 166 | Highland Park | HIGH5335 | 1010 | 149.3752
128 | 289 | Riverview | RIVER090 | 19 | 148.4737
129 | 290 | Doss | DOSSS400 | 1103 | 147.8802
130 | 204 | Dawn | DAWN5A40 | 34 | 147.6176
131 | 190 | Seminole Interchange | SEMX6E00 | 650 | 143.8523
132 | 249 | Pierce | PIER5B10 | 854 | 143.5293
133 | 57 | Mallet | MALLLV120 | 13 | 143.2315
134 | 220 | Lockney Rural | LOCRLA140 | 72 | 143.0961
135 | 279 | Boardman | BOARS430 | 21 | 141.1429
136 | 262 | Amherst | AMHEAM610 | 29 | 138.3793
137 | 196 | Conway | CONW5005 | 1546 | 136.1533
138 | 44 | Wildorado | WILD2018 | 948 | 135.6287
139 | 160 | Plainview East | PLVEP160 | 347 | 131.9463
140 | 340 | Dumas 19th Street | DU191498 | 64 | 129.7797
141 | 177 | Levelland City | LEVCLV180 | 2323 | 128.9776
142 | 86 | Adobe Creek | ADOB1115 | 94 | 128.1915
143 | 116 | Dalhart | DALH1246 | 1741 | 127.0066
144 | 100 | Russell | RUSSS385 | 91 | 124.2215
145 | 21 | Irick | IRICIB120 | 54 | 122.8333
146 | 78 | Fritch | FRIT1360 | 904 | 121.7902
147 | 189 | Slaton | SLAT6600 | 1137 | 121.0432
148 | 315 | Spearman | SPEA302 | 586 | 119.1809
149 | 261 | Lawrence Park | LAWR5275 | 1255 | 117.1745
150 | 74 | Plainview North | PLVNP270 | 144 | 116.6875
151 | 22 | Boardman | BOARS560 | 165 | 115.3325
152 | 188 | Denver City East | DENES100 | 1042 | 115.0746
153 | 252 | Canyon West | CANW7128 | 1672 | 114.5797
154 | 235 | Vickers | VICK6680 | 1651 | 109.4297
155 | 135 | Hart | HARTHA120 | 547 | 105.3985
156 | 141 | Bennett | BENNS345 | 1028 | 103.5507
157 | 147 | Weatherly | WEAT1350 | 1521 | 102.904
158 | 88 | Exell | EXEL1238 | 232 | 101.2716
159 | 319 | Canyon East | CANE5190 | 2062 | 99.5641
160 | 273 | Hastings | HAST7074 | 1503 | 96.6673
161 | 127 | Cherry | CHER5C15 | 1619 | 96.2447
162 | 113 | Doss | DOSS6660 | 658 | 95.6374
163 | 82 | Tenneco | TENNS440 | 136 | 94.3015
164 | 270 | West Borger | WBOR1A20 | 1299 | 90.729
165 | 246 | Kite | KITE5B80 | 1073 | 90.1855
166 | 195 | Lariat | LARIMR110 | 57 | 88.386
167 | 80 | Highland Park | HIGH5325 | 277 | 87.9783
168 | 109 | Burnett | BURN1394 | 54 | 86.7593
169 | 215 | Yellowhouse | YELLLV900 | 23 | 86.353
170 | 303 | Riley | RILES500 | 53 | 85
171 | 308 | Sudan Rural | SUDRSR120 | 468 | 84.6004
172 | 87 | Howard | HOWA2485 | 610 | 84.4279
173 | 105 | South Georgia | SGEO2342 | 1138 | 84.2463
174 | 66 | Canyon West | CANW7124 | 2273 | 83.7501
175 | 1 | Fritch | FRIT1364 | 1825 | 83.0608
176 | 124 | Dalhart | DALH1298 | 1706 | 81.5598
177 | 306 | Lynn | LYNN6340 | 638 | 81.0846
178 | 150 | Industrial | INDU1412 | 1078 | 80.9599
179 | 242 | Bush | BUSH5210 | 1697 | 80.5746
180 | 97 | Whiteface | WHITLV210 | 120 | 80.1833
181 | 134 | Pacific | PACILV930 | 15 | 79.8213
182 | 267 | 34th Street | 34ST5B95 | 1586 | 78.717
183 | 167 | Tuco | TUCON404 | 781 | 77.1719
184 | 342 | Prentice | PRENS875 | 13 | 76.4615
185 | 232 | Canadian | CANA340 | 445 | 75.9303
186 | 185 | Olton | OLTOSO170 | 669 | 75.8939
187 | 293 | Plainview City | PLVCP690 | 105 | 74.8571
188 | 339 | Coulter | COUL5290 | 1814 | 74.4721
189 | 320 | Osage | OSAG6065 | 1936 | 74.4148
190 | 153 | Kingsmill | KING5115 | 838 | 73.6828
191 | 251 | Westridge | WRIDP450 | 1495 | 73.3138
192 | 328 | Littlefield West | LITWLI156 | 246 | 73.3084
193 | 64 | Bowers | BOWE2057 | 589 | 73.0333
194 | 75 | Industrial | INDU1416 | 877 | 71.3409
195 | 121 | Plainview North | PLVNP260 | 1557 | 70.8265
196 | 184 | Dawn | DAWN5A35 | 442 | 69.733
197 | 126 | Murphy | MURP7535 | 1702 | 68.3102
198 | 28 | Pierce | PIER5B00 | 996 | 68.0162
199 | 301 | Lake Meredith | LAKM2B65 | 24 | 65.5417
200 | 311 | Levelland East | LEVELV950 | 510 | 65.3392
201 | 56 | Canyon West | CANW5160 | 809 | 63.6218
202 | 341 | Littlefield City | LITCLI620 | 102 | 61.3137
203 | 207 | Plainview West | PLVWP120 | 1524 | 61.0678
204 | 59 | Garza | GARZPO120 | 345 | 57.9159
205 | 156 | Olton | OLTOSO180 | 568 | 57.1655
206 | 31 | County Line | COLICL110 | 14 | 56.5714
207 | 132 | West Anton | WANT3502 | 626 | 56.4089
208 | 200 | Pullman | PULL2A40 | 199 | 55.6231
209 | 205 | Dumas 19th Street | DU191470 | 2303 | 55.1745
210 | 164 | Dimmitt East | DIMEDI180 | 447 | 54.6174
211 | 125 | Whitaker | WHIT5270 | 2682 | 54.1511
212 | 27 | Southeast | SOEA5C85 | 2706 | 54.1055
213 | 179 | Spearman | SPEA301 | 456 | 53.6732
214 | 208 | Whitaker | WHIT5260 | 1719 | 53.6329
215 | 202 | Estacado | ESTA5D65 | 2169 | 53.0003
216 | 119 | Sunset | SUNS5D35 | 548 | 52.3029
217 | 71 | East Plant | EPLAA126 | 634 | 51.7145
218 | 95 | 34th Street | 34ST2B45 | 2152 | 51.448
219 | 108 | Fain | FAIN1105 | 87 | 51.1494
220 | 192 | Allmon | ALLMAT120 | 701 | 50.271
221 | 180 | Coulter | COUL5280 | 871 | 50.2377
222 | 329 | Garza | GARZPO110 | 508 | 49.7352
223 | 43 | Curry County Interchange | CURX3486 | 348 | 48.5862
224 | 284 | Lawrence Park | LAWR5050 | 1193 | 48.5717
225 | 223 | Lawrence Park | LAWR5025 | 1808 | 48.2732
226 | 158 | Lawrence Park | LAWR5030 | 1589 | 47.222
227 | 175 | Carlisle | CARL6650 | 915 | 46.2161
228 | 201 | Sherman County | SHER1448 | 13 | 46.1538
229 | 41 | Friona Rural | FRIO2436 | 1694 | 45.8512
230 | 91 | East Plant | EPLAA122 | 1242 | 45.3677
231 | 209 | Arrowhead | ARRO5D80 | 413 | 45.2512
232 | 297 | Levelland City | LEVCLV190 | 2306 | 44.8864
233 | 11 | Canadian | CANA335 | 319 | 43.8433
234 | 216 | Tuco | TUCON412 | 745 | 43.7941
235 | 218 | Doss | DOSSS410 | 242 | 43.0165
236 | 199 | Happy | HAPP2326 | 277 | 42.9964
237 | 103 | South Georgia | SGEO2338 | 3380 | 42.9636
238 | 101 | Bush | BUSH5205 | 1714 | 42.5438
239 | 211 | Farmers | FARM5385 | 211 | 42.1517
240 | 239 | Hastings | HAST7078 | 3462 | 42.043
241 | 165 | Slaton | SLATSL140 | 581 | 40.8124
242 | 68 | East Plant | EPLAA118 | 2723 | 40.7507
243 | 92 | Springcreek | SPRI1316 | 357 | 40.7143
244 | 241 | Manhattan | MANH7164 | 1639 | 40.6991
245 | 244 | Whiteface | WHITLV220 | 290 | 40.6655
246 | 234 | Elwood | ELWOLV140 | 57 | 40.5614
247 | 288 | Cedar Lake East | CEDES910 | 27 | 40.5185
248 | 295 | Etter Rural | ETTR5410 | 725 | 38.7545
249 | 154 | Plainview West | PLVWP130 | 677 | 38.567
250 | 173 | Lyons | LYON5C25 | 1913 | 38.4945
251 | 46 | Brownfield | BROW6580 | 303 | 37.5974
252 | 169 | Hereford | HERE2627 | 1627 | 37.1272
253 | 325 | Levelland East | LEVELV960 | 1074 | 37.1027
254 | 256 | Wellman | WELLS755 | 235 | 36.5489
255 | 334 | Sunset | SUNS5D40 | 1430 | 36.1489
256 | 257 | Lynn | LYNN6300 | 840 | 35.1048
257 | 243 | Van Buren | VANB7044 | 897 | 35.0986
258 | 182 | Farmers | FARM5390 | 1461 | 34.7754
259 | 99 | Exell | EXEL1242 | 86 | 33.8023
260 | 115 | Dumas 19th Street | DU191367 | 1711 | 33.4389
261 | 253 | Kite | KITE7106 | 645 | 33.3922
262 | 316 | Littlefield South | LITSLI110 | 1581 | 32.7294
263 | 139 | Coulter | COUL5285 | 248 | 31.9556
264 | 225 | Pierce | PIER5B05 | 934 | 30.4775
265 | 228 | Van Buren | VANB7198 | 1675 | 29.889
266 | 240 | West Borger | WBOR1A10 | 1256 | 29.7062
267 | 174 | Littlefield City | LITCLI640 | 438 | 29.2123
268 | 67 | Barwise | BARWIB140 | 110 | 28.7182
269 | 229 | Kite | KITE5075 | 1257 | 28.2506
270 | 70 | Adair | ADAIS790 | 17 | 28.1765
271 | 250 | Southland | SOUTSO110 | 99 | 27.596
272 | 35 | 34th Street | 34ST5B85 | 2115 | 25.4596
273 | 131 | 34th Street | 34ST5B90 | 915 | 25.1738
274 | 310 | South Georgia | SGEO5B35 | 1702 | 24.4982
275 | 247 | Manhattan | MANH7160 | 1226 | 24.0094
276 | 217 | Van Buren | VANB7194 | 276 | 23.5471
277 | 117 | Plainview South | PLVSP220 | 1114 | 22.5144
278 | 176 | Centre Street | CENT5310 | 1538 | 22.2741
279 | 276 | South Georgia | SGEO5B40 | 1488 | 20.8945
280 | 313 | Morton | MORTM130 | 874 | 20.8753
281 | 237 | Plainview South | PLVSP230 | 568 | 19.9859
282 | 104 | Lynn | LYNN6510 | 266 | 19.9323
283 | 94 | Van Buren | VANB7046 | 2705 | 19.6302
284 | 118 | Dalhart | DALH116 | 254 | 19.5827
285 | 23 | Estacado | ESTA5D60 | 2272 | 19.1899
286 | 213 | Muleshoe Valley | MULVMR150 | 926 | 18.2559
287 | 203 | Lyons | LYON5C20 | 1402 | 17.4622
288 | 193 | Spearman | SPEA401 | 371 | 17.3181
289 | 317 | Osage | OSAG6040 | 1832 | 17.1736
290 | 137 | Canadian | CANA325 | 444 | 16.9189
291 | 230 | McCullough | MCCU7005 | 1349 | 16.5717
292 | NA(New in '15) | Higg East | HGEA6A05 | 23 | 15.9565
293 | 321 | Puckett West | PUCW5C35 | 1934 | 15.7995
294 | 318 | Plainview West | PLVWP110 | 1445 | 15.5073
295 | 265 | Lawrence Park | LAWR5020 | 1529 | 15.3931
296 | 50 | Morton | MORTM120 | 164 | 15.3598
297 | 309 | Dimmitt South | DIMSDI120 | 352 | 15.1364
298 | 264 | Centre Street | CENT5305 | 2689 | 15.0476
299 | 3 | Canadian | CANA350 | 255 | 13.3098
300 | 330 | Levelland City | LEVCLV520 | 145 | 13.2966
301 | 226 | McCullough | MCCU7002 | 1306 | 12.4687
302 | 305 | Dalhart | DALH108 | 305 | 11.7607
303 | 187 | South Georgia | SGEO5B30 | 1424 | 11.731
304 | 29 | Booker | BOOK422 | 328 | 11.6341
305 | 278 | Estacado | ESTA5D10 | 2326 | 11.5318
306 | 263 | Estacado | ESTA5D70 | 735 | 11.098
307 | 24 | Hendrick | HEND6675 | 1271 | 11.085
308 | 227 | Littlefield City | LITCLI630 | 114 | 10.8246
309 | 326 | Dalhart | DALH106 | 186 | 10.2151
310 | 55 | Soncy | SONC5130 | 723 | 9.9862
311 | 268 | Hillside | HILS2B10 | 2707 | 9.2791
312 | 238 | Dumas 19th Street | DU191175 | 1420 | 9.0718
313 | 65 | Muleshoe City | MULCMU620 | 452 | 8.9978
314 | 296 | Muleshoe East | MULEMU630 | 185 | 8.8919
315 | 271 | Slaton | SLAT6690 | 847 | 8.7627
316 | 245 | Dimmitt South | DIMSDI110 | 356 | 8.4579
317 | 233 | Westridge | WRIDP460 | 598 | 8.4415
318 | 333 | Littlefield City | LITCLI610 | 321 | 8.3801
319 | 106 | Amherst | AMHEAM620 | 352 | 8.2131
320 | 145 | Sunset | SUNS5D30 | 61 | 7.3607
321 | 302 | Texaco | TEXALV980 | 25 | 7.04
322 | 307 | Plainview City | PLVCP630 | 499 | 6.2645
323 | 120 | Booker | BOOK421 | 123 | 6.1138
324 | 266 | Littlefield South | LITSLI120 | 213 | 5.8873
325 | 143 | South Floydada | SFLO3551 | 36 | 5.75
326 | 335 | Farwell | FARWFA610 | 275 | 5.52
327 | 248 | Hillside | HILS2B15 | 1155 | 5.2799
328 | 304 | Soncy | SONC7024 | 1226 | 4.8369
329 | 281 | Kingsmill | KING5095 | 51 | 4.5686
330 | 343 | Puckett West | PUCW5C30 | 744 | 3.7298
331 | 299 | Puckett West | PUCW5C60 | 118 | 3.0254
332 | 79 | Dalhart | DALH114 | 148 | 2.0946
333 | 123 | Slaton | SLATSL150 | 451 | 1.8603
334 | 287 | Dimmitt East | DIMEDI150 | 880 | 1.6057
335 | 69 | Booker | BOOK535 | 274 | 1.5073
336 | 294 | Whitharral | WHITLV710 | 92 | 0.71739
337 | 338 | Bush | BUSH5215 | 1321 | 0.34974
338 | 337 | Soncy | SONC7020 | 412 | 0.26214
339 | NA(New in '15) | Damron | DAMR5365 | 10 | 0
340 | NA(New in '15) | Kingsmill | KING1B80 | 25 | 0
341 | 20 | Middleton | MIDDLV810 | 18 | 0
342 | 72 | Muleshoe City | MULCMU610 | 22 | 0
343 | 332 | Muleshoe East | MULEMU640 | 19 | 0
344 | 344 | Soncy | SONC7116 | 62 | 0
345 | 331 | Spearman | SPEA402 | 368 | 0
346 | 194 | Sudan Rural | SUDRSR110 | 24 | 0
347 | 111 | Van Buren | VANB7190 | 51 | 0
348 | 30 | Zavala | ZAVALV780 | 12 | 0

## Causes
Xcel Energy
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2015 Reporting Year
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning) | 18.81%
|  | Vegetation | 2.29%
|  | Animals and Birds | 2.654%
|  | People (Including cars and farm equip) | 6.782%
|  | Utility-owned Equipment | 51.74%
|  | Other | 2.601%
|  | Unknown | 15.12%