## Frontier Assoc
Bonus and Cost-effectiveness Calculator
| Version | v8.0
| updated | 2015-02-26
Frontier Associates

## Reference All Incentives (hidden)
| AEP Central - TCC |  |  |  |  | AEP North - TNC |  |  |  |  | AEP SWEPCO | [5 empty] | CenterPoint |  | Entergy |  |  | Sharyland |  | TNMP |  |  |  | Xcel |  |  |  | Selected Incentive Rates
2013 | RES | RES UC | HTR SF & MH | HTR MF | HTR UC | RES | RES UC | HTR SF & MH | HTR MF | HTR UC | RES SF & MH | RES MF | RES UC | HTR SF & MH | HTR MF | HTR UC | RES | HTR | RES | HTR | AC/HP | RES | HTR | RES | RES UC | HTR | HVAC | RES | RES SP | HTR | HTR SP
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32
Central AC kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Central AC kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Central HP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Central HP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Package AC kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Package AC kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Package HP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Package HP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
GSHP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
GSHP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Window AC kW | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 400 | 519 | 260 | 440 | 0 | 278 | 477 | 0 | 0 | 0 | 450 | 0 | 358 | 0 | 420 | 0
Window AC kWh | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0.25 | 0.35 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0 | 0 | 0 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0
Ceiling Insulation kW | 242 | 296 | 360 | 325 | 440 | 242 | 296 | 360 | 325 | 440 | 300 | 245 | 350 | 360 | 325 | 440 | 465 | 500 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Ceiling Insulation kWh | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.1 | 0.08 | 0.11 | 0.11 | 0.1 | 0.15 | 0.18 | 0.2 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Wall Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 300 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Wall Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.1 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Floor Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 300 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Floor Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.1 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Infiltration kW | 242 | 296 | 360 | 325 | 440 | 242 | 296 | 360 | 325 | 440 | 245 | 245 | 350 | 360 | 325 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Infiltration kWh | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.08 | 0.11 | 0.11 | 0.1 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Windows kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Windows kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
CFLs kW | 0 | 0 | 270 | 243.75 | 330 | 0 | 0 | 270 | 243.75 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | 101.25 | 180 | 260 | 440 | 0 | 0 | 477 | 0 | 0 | 341.25 | 0 | 0 | 0 | 0 | 0 | 0
CFLs kWh | 0 | 0 | 0.0825 | 0.075 | 0.1125 | 0 | 0 | 0.0825 | 0.075 | 0.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0375 | 0.06 | 0.083 | 0.16 | 0 | 0 | 0.16 | 0 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0
Solar Screens kW | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 440 | 0 | 278 | 477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Screens kWh | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.16 | 0 | 0.1 | 0.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Heater Jackets kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 280 | 477 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Jackets kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.1 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Water Heater Pipe Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 280 | 477 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Pipe Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.1 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Water Heater Replacement kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Replacement kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Ceiling Fans kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Ceiling Fans kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Refrigerators kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Refrigerators kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Dishwashers kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Dishwashers kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Clothes Washers kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Clothes Washers kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Solar Water Heater Replacement kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Solar Water Heater Replacement kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Photovoltaics kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Photovoltaics kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
25

## Planning Calculator (hidden)
Instructions |  | Select from drop-down | Incentive Levels |  | Manually Enter Data (It's ok to cut and paste) |  |  |  |  | Automatic Or Manual | Automatic Calculations for Cost-effectiveness and Bonus | [8 empty] | Additional Analysis
| Program | Measure (Select from Drop Down Menu or Type In) | Incentive $/kW | Incentive $/kWh | # Installations | kW | kWh | Incentives | Total Admin | Estimated Useful Life | Total Program Cost | PV (Avoided Capacity Cost) | PV (Avoided Energy Cost) | PV Avd Capacity Cost * kW | PV Avoided Energy Cost * kWh | Total Avoided Cost | Net Benefits | Ben-Cost Ratio | Estimated Max Bonus (10% NB) | Load Factor | Total $/Installation | Total Annual $/kW | Total Annual $/kWh | Total Avoided Cost/kW | Total Avoided Cost/kWh | Total Incentive Paid as % of Total Avoided Cost | % of Total Avoided Costs from kW | % of Total Avoided Costs from kWh
WHITE CELLS: Enter Data | Residential SOP | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
GREY CELLS: Sub-Totals or Blanks | Select Measure in column "C" | [6 empty] | 0 |  |  | 0
BLUE CELLS: Automatic Calculations | Measure 2 | [6 empty] | 0 |  |  | 0
Max of 15 programs | etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Hide any unused rows if needed | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Hard-to-Reach SOP | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
Unhide cells for more programs | [7 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Portfolio Total |  |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
| Fixed Inputs per PUC Rule |  |  |  | 2013 | 2014
| Avoided Cost per kW | 80 |  |  | 80 | 80
| Avoided Cost per kWh | 0.104 |  |  | 0.104 | 0.04619
| Inflation Rate | 2%
| Maximum % Net Benefits for Bonus | 10%
Utility Specific Inputs
| Discount Rate | 8.2%

## Step 1 Fixed Inputs
Insert or Verify Data in Blue Cells | Fixed Inputs per PUC Rule | Avoided Cost Reference | 2013 | 2014 | 2015
Avoided Cost per kW | 80 |  | 80 | 80 | 80
Avoided Cost per kWh | 0.05321 |  | 0.104 | 0.04619 | 0.05321
Utility Specific Discount Rate (WACC) | 7.88% | updated by Xcel 3/2016
Inflation Rate | 2%
Maximum % Net Benefits for Bonus | 10%
PUC Goals | kW | kWh
2015 Goals | 5495 | 9627240
Cost-effectiveness Input
Bonus Collected in 2015 = Bonus Earned in 2013 | 0 | no bonus earned PY2013 per Xcel 3/2016
Please Note: The bonus included in the cost-effectiveness analysis is the bonus collected for the program year, not the bonus earned. For example, for PY2015 cost-effectiveness, the bonus collected (= 2013 bonus earned) should be included in cell B14 of this tab. As a result, this bonus will not match the bonus calculated in the Step 4 Bonus Calculator Tab which is the bonus earned for PY2015.

## Step 2 Results Calculator
Instructions |  | Select from drop-down | Not a required input - Do Not Include In Filing |  | Manually Enter Data (It's ok to cut and paste in these cells) |  |  |  | Automatic Or Manual | Automatic Calculations for Cost-effectiveness and Bonus | [11 empty] | Additional Analysis (Do Not Include In Filing)
| Program (list custom measure here if necessary) | Measure (Select from Drop Down Menu) | Incentive $/kW | Incentive $/kWh | # Premises | kW | kWh | Incentives | Estimated Useful Life | Total Admin for Bonus (Excluding Bonus; including cost paid for EECRF) | Total Admin for CE (Including Bonus; excluding cost paid for EECRF) | Total Program Cost for Bonus (Excluding Bonus; including cost paid for EECRF) | Total Program Cost for CE (Including Bonus; excluding cost paid for EECRF) | PV (Avoided Capacity Cost) | PV (Avoided Energy Cost) | PV Avd Capacity Cost * kW | PV Avoided Energy Cost * kWh | Total Avoided Cost | Net Benefits | Ben-Cost Ratio | Estimated Max Bonus (10% NB) | Load Factor | kW Incentive as % of Avoided Cost | kWh Incentive as % of Avoided Cost | % of Total Avoided Costs from kW | % of Total Avoided Costs from kWh | Total $/Installation | Total Annual $/kW | Total Annual $/kWh | Total Avoided Cost/kW | Total Avoided Cost/kWh | Total Incentive Paid as % of Total Avoided Cost
WHITE CELLS: Enter Data | Commercial SOP | N/A |  |  | 0 | 1861.66 | 6429443.93 | 597672.43 | NA | 144595.2303 | 144595.2303 | 742267.6603 | 742267.6603 | 5111.3974 | 3.3997 | 1417311.5544 | 3225762.6239 | 4643074.1783 | 3900806.518 | 6.2553 | 390080.6518 | 39.42% | [5 empty] | 398.7128
GREY CELLS: Sub-Totals or Blanks | Not in TRM 2.1 for Comm? | C-CeilRoofIns |  |  |  | 31.61 | 63221.69 | 9684.03 | 10 | 2342.8629 | 2342.8629 | 12026.8929 | 12026.8929 | 595.4268 | 0.39603 | 18821.441 | 25037.8911 | 43859.3321 | 31832.4392 | 3.6468 | 3183.2439 | 22.83% |  |  | 42.91% | 57.09% | #DIV/0! | 380.4775 | 0.19023 | 1387.5145 | 0.69374 | 22.08%
BLUE CELLS: Optional Data Entry | C-HIDLmps | Comm Lamps and Fixtures: High Intensity Discharge Lamps |  |  |  | 4.76 | 24546.33 | 2150.24 | 15.5 | 520.2088 | 520.2088 | 2670.4488 | 2670.4488 | 805.6104 | 0.53583 | 3834.7054 | 13152.6995 | 16987.4049 | 14316.9561 | 6.3613 | 1431.6956 | 58.87% |  |  | 22.57% | 77.43% | #DIV/0! | 561.0187 | 0.10879 | 3568.7825 | 0.69205 | 12.66%
GREEN CELLS: Automatic Calculations | C-IBCFL | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps |  |  |  | 18.47 | 110938.08 | 7856.57 | 2.5 | 1900.7444 | 1900.7444 | 9757.3144 | 9757.3144 | 181.4396 | 0.12068 | 3351.189 | 13388.0072 | 16739.1962 | 6981.8818 | 1.7156 | 698.1882 | 68.57% |  |  | 20.02% | 79.98% | #DIV/0! | 528.2791 | 0.087953 | 906.2911 | 0.15089 | 46.94%
Max of 16 programs | C-IntLED | Comm Lamps and Fixtures: Integral LED Lamps |  |  |  | 141.26 | 584852.03 | 43400.7 | 9 | 10499.956 | 10499.956 | 53900.656 | 53900.656 | 549.7514 | 0.36565 | 77657.8824 | 213853.1323 | 291511.0147 | 237610.3587 | 5.4083 | 23761.0359 | 47.26% |  |  | 26.64% | 73.36% | #DIV/0! | 381.5706 | 0.092161 | 2063.6487 | 0.49844 | 14.89%
| C-LED - updated 4.21.16 per EM&V team | Comm Lamps and Fixtures: Light Emitting Diode |  |  |  | 891.93 | 4433664.54 | 322601.92 | 15 | 78047.2656 | 78047.2656 | 400649.1856 | 400649.1856 | 789.066 | 0.52483 | 703791.6501 | 2326909.2215 | 3030700.8716 | 2630051.686 | 7.5645 | 263005.1686 | 56.75% |  |  | 23.22% | 76.78% | #DIV/0! | 449.1935 | 0.090365 | 3397.9134 | 0.68357 | 10.64%
Measure Search: | C-LghtCntrlOS | Comm Lighting Controls: Occupancy Sensor |  |  |  | 10.89 | 66262.41 | 4595.11 | 10 | 1111.6976 | 1111.6976 | 5706.8076 | 5706.8076 | 595.4268 | 0.39603 | 6484.1978 | 26242.1173 | 32726.3151 | 27019.5076 | 5.7346 | 2701.9508 | 69.46% |  |  | 19.81% | 80.19% | #DIV/0! | 524.0411 | 0.086124 | 3005.1713 | 0.49389 | 14.04%
| C-SpltPckHPAC | Comm Split System/Single Packaged Heat Pumps and Air Conditioners |  |  |  | 670.97 | 623534.32 | 172037.36 | 15 | 41621.0962 | 41621.0962 | 213658.4562 | 213658.4562 | 789.066 | 0.52483 | 529439.6236 | 327247.9787 | 856687.6023 | 643029.1462 | 4.0096 | 64302.9146 | 10.61% |  |  | 61.8% | 38.2% | #DIV/0! | 318.4322 | 0.34266 | 1276.7897 | 1.3739 | 20.08%
*Filter measure list for cells in column C here; see comment in C1 for instructions.* | C-T8T5Lmps | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents |  |  |  | 91.77 | 522424.53 | 35346.5 | 15.5 | 8551.3988 | 8551.3988 | 43897.8988 | 43897.8988 | 805.6104 | 0.53583 | 73930.8652 | 279931.5762 | 353862.4414 | 309964.5425 | 8.061 | 30996.4543 | 64.99% |  |  | 20.89% | 79.11% | #DIV/0! | 478.3469 | 0.084027 | 3855.9708 | 0.67735 | 9.989%
measure max = 40
measure max = 103 | Small Commercial SOP | N/A |  |  | 0 | 134.05 | 532009.24 | 42902.39 | NA | 21265.2547 | 21265.2547 | 64167.6447 | 64167.6447 | 6044.994 | 4.0207 | 91744.6462 | 244998.7618 | 336743.4081 | 272575.7634 | 5.2479 | 27257.5763 | 45.31% | [5 empty] | 478.6844
| Not in TRM 2.1 for Comm? | C-CeilRoofIns |  |  |  | 21.89 | 43788 | 5889.26 | 10 | 2919.1058 | 2919.1058 | 8808.3658 | 8808.3658 | 595.4268 | 0.39603 | 13033.8925 | 17341.5038 | 30375.3963 | 21567.0306 | 3.4485 | 2156.7031 | 22.84% |  |  | 42.91% | 57.09% | #DIV/0! | 402.3922 | 0.20116 | 1387.638 | 0.69369 | 19.39%
| C-HaloLmps | Comm Lamps and Fixtures: Halogen Lamps |  |  |  | 0.19 | 882.86 | 62.6 | 1.5 | 31.0287 | 31.0287 | 93.6287 | 93.6287 | 111.899 | 0.074427 | 21.2608 | 65.7085 | 86.9693 | -6.6594 | 0.92887 | -0.66594 | 53.04% |  |  | 24.45% | 75.55% | #DIV/0! | 492.7826 | 0.10605 | 457.7332 | 0.098509 | 71.98%
| C-HIDLmps - updated 4.21.16 per EM&V team | Comm Lamps and Fixtures: High Intensity Discharge Lamps |  |  |  | 0 | 0 | 346.67 | 15.5 | 171.8325 | 171.8325 | 518.5025 | 518.5025 | 805.6104 | 0.53583 | 0 | 0 | 0 | -518.5025 | 0 | -51.8503 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| C-IBCFL | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps |  |  |  | 6.97 | 31787.1 | 2268.38 | 2.5 | 1124.3588 | 1124.3588 | 3392.7388 | 3392.7388 | 181.4396 | 0.12068 | 1264.6338 | 3836.0672 | 5100.701 | 1707.9622 | 1.5034 | 170.7962 | 52.06% |  |  | 24.79% | 75.21% | #DIV/0! | 486.7631 | 0.10673 | 731.8079 | 0.16046 | 44.47%
| C-IntLED | Comm Lamps and Fixtures: Integral LED Lamps |  |  |  | 26.61 | 114107.78 | 8298.87 | 9 | 4113.4674 | 4113.4674 | 12412.3374 | 12412.3374 | 549.7514 | 0.36565 | 14628.8847 | 41723.8975 | 56352.7822 | 43940.4448 | 4.5401 | 4394.0445 | 48.95% |  |  | 25.96% | 74.04% | #DIV/0! | 466.4539 | 0.10878 | 2117.7295 | 0.49386 | 14.73%
| C-LED | Comm Lamps and Fixtures: Light Emitting Diode |  |  |  | 6.62 | 38349.38 | 2504.15 | 15 | 1241.2219 | 1241.2219 | 3745.3719 | 3745.3719 | 789.066 | 0.52483 | 5223.617 | 20126.8105 | 25350.4275 | 21605.0556 | 6.7685 | 2160.5056 | 66.13% |  |  | 20.61% | 79.39% | #DIV/0! | 565.7662 | 0.097664 | 3829.3697 | 0.66104 | 9.878%
| C-LghtCntrlOS | Comm Lighting Controls: Occupancy Sensor |  |  |  | 0.43 | 2290.22 | 156.24 | 10 | 77.4429 | 77.4429 | 233.6829 | 233.6829 | 595.4268 | 0.39603 | 256.0335 | 907.0033 | 1163.0368 | 929.3539 | 4.977 | 92.9354 | 60.8% |  |  | 22.01% | 77.99% | #DIV/0! | 543.4485 | 0.10204 | 2704.7367 | 0.50783 | 13.43%
| C-ModCFLCCFL - updated 4.21.16 per EM&V team | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures |  |  |  | 0.16 | 654.83 | 58.07 | 16 | 28.7833 | 28.7833 | 86.8533 | 86.8533 | 821.6976 | 0.54653 | 131.4716 | 357.8853 | 489.3569 | 402.5036 | 5.6343 | 40.2504 | 46.72% |  |  | 26.87% | 73.13% | #DIV/0! | 542.8333 | 0.13263 | 3058.4806 | 0.7473 | 11.87%
| C-SpltPckHPAC | Comm Split System/Single Packaged Heat Pumps and Air Conditioners |  |  |  | 9.58 | 17218.45 | 2819.7 | 15 | 1397.6293 | 1397.6293 | 4217.3293 | 4217.3293 | 789.066 | 0.52483 | 7559.2524 | 9036.7166 | 16595.969 | 12378.6397 | 3.9352 | 1237.864 | 20.52% |  |  | 45.55% | 54.45% | #DIV/0! | 440.2223 | 0.24493 | 1732.3559 | 0.96385 | 16.99%
| C-T8T5Lmps | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents |  |  |  | 61.6 | 282930.62 | 20498.45 | 15.5 | 10160.3841 | 10160.3841 | 30658.8341 | 30658.8341 | 805.6104 | 0.53583 | 49625.5998 | 151603.1692 | 201228.769 | 170569.9349 | 6.5635 | 17056.9935 | 52.43% |  |  | 24.66% | 75.34% | #DIV/0! | 497.7083 | 0.10836 | 3266.7008 | 0.71123 | 10.19%
Unhide cells for more programs
measure max = 40 | Load Management SOP | N/A |  |  | 0 | 4252 | 34004 | 212600 | NA | 31799.1023 | 31799.1023 | 244399.1023 | 244399.1023 | 75.6396 | 0.05031 | 321619.5773 | 1710.7341 | 323330.3114 | 78931.2091 | 1.323 | 7893.1209 | 0.09129% | [5 empty] | 57.4786
|  | Comm Load Curtailment |  |  |  | 4252 | 34004 | 212600 | 1 | 31799.1023 | 31799.1023 | 244399.1023 | 244399.1023 | 75.6396 | 0.05031 | 321619.5773 | 1710.7341 | 323330.3114 | 78931.2091 | 1.323 | 7893.1209 | 0.09129% |  |  | 99.47% | 0.5291% | #DIV/0! | 57.4786 | 7.1874 | 76.0419 | 9.5086 | 65.75%
measure max = 40 | Recommissioning MTP | N/A |  |  | 0 | 420.1788 | 3188423.36 | 647439.69 | NA | 47393.7304 | 47393.7304 | 694833.4204 | 694833.4204 | 4247.0621 | 2.8248 | 331661.5699 | 1615156.5403 | 1946818.1102 | 1251984.6898 | 2.8018 | 125198.469 | 86.62% | [5 empty] | 1653.6613
| 10 year EUL | custom |  |  |  | 53.79 | 610518 | 0 | 10 | 0 | 0 | 0 | 0 | 595.4268 | 0.39603 | 32028.0073 | 241785.4255 | 273813.4328 | 273813.4328 | #DIV/0! | 27381.3433 | 129.6% |  |  | 11.7% | 88.3% | #DIV/0! | 0 | 0 | 5090.4152 | 0.44849 | 0%
| 15 year EUL | custom |  |  |  | 267.0646 | 2069305.68 | 528777.7547 | 15 | 38707.4669 | 38707.4669 | 567485.2215 | 567485.2215 | 789.066 | 0.52483 | 210731.5995 | 1086028.5945 | 1296760.194 | 729274.9725 | 2.2851 | 72927.4972 | 88.45% |  |  | 16.25% | 83.75% | #DIV/0! | 2124.8987 | 0.27424 | 4855.605 | 0.62666 | 40.78%
| 15.5 year EUL | custom |  |  |  | 44.4686 | 371838 | 62134.6782 | 15.5 | 4548.3683 | 4548.3683 | 66683.0465 | 66683.0465 | 805.6104 | 0.53583 | 35824.366 | 199242.5536 | 235066.9196 | 168383.8731 | 3.5251 | 16838.3873 | 95.45% |  |  | 15.24% | 84.76% | #DIV/0! | 1499.5535 | 0.17933 | 5286.1327 | 0.63218 | 26.43%
| 20 year EUL | custom |  |  |  | 38.8756 | 95769.68 | 39840.6204 | 20 | 2916.4039 | 2916.4039 | 42757.0243 | 42757.0243 | 935.3812 | 0.62215 | 36363.5066 | 59582.6698 | 95946.1764 | 53189.1521 | 2.244 | 5318.9152 | 28.12% |  |  | 37.9% | 62.1% | #DIV/0! | 1099.8422 | 0.44646 | 2468.0308 | 1.0018 | 41.52%
| 25 year EUL | custom |  |  |  | 15.98 | 40992 | 16686.6368 | 25 | 1221.4913 | 1221.4913 | 17908.1281 | 17908.1281 | 1045.9381 | 0.69568 | 16714.0906 | 28517.2968 | 45231.3874 | 27323.2593 | 2.5257 | 2732.3259 | 29.28% |  |  | 36.95% | 63.05% | #DIV/0! | 1120.6588 | 0.43687 | 2830.4998 | 1.1034 | 36.89%
[6 empty] | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 75.6396 | 0.05031 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
measure max = 40 | Residential SOP | N/A |  |  | 0 | 829.54 | 2386697 | 556073.94 | NA | 84658.791 | 84658.791 | 640732.731 | 640732.731 | 4297.2734 | 2.8582 | 766502.7354 | 1470271.9508 | 2236774.6861 | 1596041.9552 | 3.491 | 159604.1955 | 32.84% | [5 empty] | 772.3952
| R-AirInf | Res Air Infiltration |  |  |  | 114 | 119766 | 52642.51 | 11 | 8014.494 | 8014.494 | 60657.004 | 60657.004 | 638.6127 | 0.42476 | 72801.8424 | 50871.4757 | 123673.3181 | 63016.3141 | 2.0389 | 6301.6314 | 11.99% |  |  | 58.87% | 41.13% | #DIV/0! | 532.079 | 0.50646 | 1084.8537 | 1.0326 | 42.57%
| R-CeilingIns | Res Ceiling Insulation |  |  |  | 384.62 | 857001 | 234976.86 | 25 | 35773.7622 | 35773.7622 | 270750.6222 | 270750.6222 | 1045.9381 | 0.69568 | 402288.7055 | 596198.0851 | 998486.7906 | 727736.1685 | 3.6878 | 72773.6168 | 25.44% |  |  | 40.29% | 59.71% | #DIV/0! | 703.9432 | 0.31593 | 2596.0345 | 1.1651 | 23.53%
| R-CentAC | Res Central AC |  |  |  | 114.52 | 221240 | 66441.05 | 19 | 10115.2357 | 10115.2357 | 76556.2857 | 76556.2857 | 909.3032 | 0.6048 | 104133.4034 | 133806.0175 | 237939.4209 | 161383.1352 | 3.108 | 16138.3135 | 22.05% |  |  | 43.76% | 56.24% | #DIV/0! | 668.4971 | 0.34603 | 2077.7106 | 1.0755 | 27.92%
| R-CentHP | Res Central Heat Pump |  |  |  | 58.74 | 193297 | 43258.28 | 16 | 6585.8035 | 6585.8035 | 49844.0835 | 49844.0835 | 821.6976 | 0.54653 | 48266.515 | 105642.9175 | 153909.4325 | 104065.3491 | 3.0878 | 10406.5349 | 37.57% |  |  | 31.36% | 68.64% | #DIV/0! | 848.5544 | 0.25786 | 2620.181 | 0.79623 | 28.11%
| R-DuctEff | Res Duct Efficiency Improvement |  |  |  | 157.66 | 995393 | 158755.24 | 18 | 24169.4957 | 24169.4957 | 182924.7357 | 182924.7357 | 881.7219 | 0.58646 | 139012.269 | 583753.455 | 722765.724 | 539840.9883 | 3.9512 | 53984.0988 | 72.07% |  |  | 19.23% | 80.77% | #DIV/0! | 1160.2482 | 0.18377 | 4584.3316 | 0.72611 | 21.96%
measure max = 40 | Hard-to-Reach SOP | N/A |  |  | 0 | 443.52 | 1271605 | 351612.42 | NA | 51533.3803 | 51533.3803 | 403145.8003 | 403145.8003 | 3128.3267 | 2.0807 | 423748.9617 | 800028.6775 | 1223777.6392 | 820631.839 | 3.0356 | 82063.1839 | 32.73% | [5 empty] | 908.9687
| R-AirInf | Res Air Infiltration |  |  |  | 54.85 | 58130 | 30431.28 | 11 | 4460.1005 | 4460.1005 | 34891.3805 | 34891.3805 | 638.6127 | 0.42476 | 35027.904 | 24691.1384 | 59719.0424 | 24827.6619 | 1.7116 | 2482.7662 | 12.1% |  |  | 58.65% | 41.35% | #DIV/0! | 636.1236 | 0.60023 | 1088.7701 | 1.0273 | 50.96%
| R-CeilingIns | Res Ceiling Insulation |  |  |  | 286.97 | 636960 | 206515.71 | 25 | 30267.5674 | 30267.5674 | 236783.2774 | 236783.2774 | 1045.9381 | 0.69568 | 300152.8517 | 443120.0574 | 743272.9091 | 506489.6317 | 3.139 | 50648.9632 | 25.34% |  |  | 40.38% | 59.62% | #DIV/0! | 825.1151 | 0.37174 | 2590.0718 | 1.1669 | 27.78%
| R-CFL | Res Compact Fluorescent Lamps |  |  |  | 2.79 | 22374 | 4191 | 7.7 | 614.2456 | 614.2456 | 4805.2456 | 4805.2456 | 486.4145 | 0.32353 | 1357.0965 | 7238.5807 | 8595.6771 | 3790.4315 | 1.7888 | 379.0431 | 91.55% |  |  | 15.79% | 84.21% | #DIV/0! | 1722.3103 | 0.21477 | 3080.8879 | 0.38418 | 48.76%
| R-DuctEff | Res Duct Efficiency Improvement |  |  |  | 98.91 | 554141 | 110474.43 | 18 | 16191.4668 | 16191.4668 | 126665.8968 | 126665.8968 | 881.7219 | 0.58646 | 87211.1095 | 324978.9011 | 412190.0106 | 285524.1138 | 3.2542 | 28552.4114 | 63.96% |  |  | 21.16% | 78.84% | #DIV/0! | 1280.6177 | 0.22858 | 4167.3239 | 0.74384 | 26.8%
[9 empty] | 1 | 0 | 0 | 0 | 0 | 75.6396 | 0.05031 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
measure max = 40 | Low Income Weatherization | N/A |  |  | 0 | 224.6 | 694404 | 358461.51 | NA | 77493.0711 | 77493.0711 | 435954.5811 | 435954.5811 | 7205.015 | 4.7922 | 184545.8076 | 375555.5524 | 560101.36 | 124146.7788 | 1.2848 | 12414.6779
| R-AirInf | Res Air Infiltration |  |  |  | 5.49 | 7004 | 1463.67 | 11 | 316.4197 | 316.4197 | 1780.0897 | 1780.0897 | 638.6127 | 0.42476 | 3505.9835 | 2974.9997 | 6480.9832 | 4700.8935 | 3.6408 | 470.0893 | 14.56% |  |  | 54.1% | 45.9% | #DIV/0! | 324.2422 | 0.25415 | 1180.507 | 0.92533 | 22.58%
| R-CeilingIns | Res Ceiling Insulation |  |  |  | 10.56 | 15968 | 20469.16 | 25 | 4425.0722 | 4425.0722 | 24894.2322 | 24894.2322 | 1045.9381 | 0.69568 | 11045.1062 | 11108.6113 | 22153.7175 | -2740.5147 | 0.88991 | -274.0515 | 17.26% |  |  | 49.86% | 50.14% | #DIV/0! | 2357.4084 | 1.559 | 2097.8899 | 1.3874 | 92.4%
| R-CentHP | Res Central Heat Pump |  |  |  | 202.62 | 635538 | 299060.16 | 16 | 64651.5445 | 64651.5445 | 363711.7045 | 363711.7045 | 821.6976 | 0.54653 | 166492.3609 | 347341.5961 | 513833.9569 | 150122.2525 | 1.4128 | 15012.2252 | 35.81% |  |  | 32.4% | 67.6% | #DIV/0! | 1795.0435 | 0.57229 | 2535.9489 | 0.8085 | 58.2%
| R-CFL | Res Compact Fluorescent Lamps |  |  |  | 2.23 | 17465 | 7997.4 | 7.7 | 1728.8972 | 1728.8972 | 9726.2972 | 9726.2972 | 486.4145 | 0.32353 | 1084.7043 | 5650.3894 | 6735.0937 | -2991.2035 | 0.69246 | -299.1203 | 89.4% |  |  | 16.11% | 83.89% | #DIV/0! | 4361.5682 | 0.5569 | 3020.2214 | 0.38563 | 118.7%
| R-DuctEff | Res Duct Efficiency Improvement |  |  |  | 0.42 | 4082 | 443.88 | 18 | 95.959 | 95.959 | 539.839 | 539.839 | 881.7219 | 0.58646 | 370.3232 | 2393.9103 | 2764.2335 | 2224.3945 | 5.1205 | 222.4394 | 110.9% |  |  | 13.4% | 86.6% | #DIV/0! | 1285.3311 | 0.13225 | 6581.5084 | 0.67718 | 16.06%
| R-Refrig | Res Energy Star Refrigerators |  |  |  | 0.35 | 2426 | 4546.8 | 17 | 982.9382 | 982.9382 | 5529.7382 | 5529.7382 | 852.5505 | 0.56705 | 298.3927 | 1375.6698 | 1674.0625 | -3855.6757 | 0.30274 | -385.5676 | 79.13% |  |  | 17.82% | 82.18% | #DIV/0! | 15799.2519 | 2.2794 | 4783.0356 | 0.69005 | 271.6%
| R-SiteVisit | Site Visit |  |  |  | 0 | 0 | 13175 | 1 | 2848.2032 | 2848.2032 | 16023.2032 | 16023.2032 | 75.6396 | 0.05031 | 0 | 0 | 0 | -16023.2032 | 0 | -1602.3203 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| R-SlrScrn | Res Solar Screens |  |  |  | 2.66 | 10888 | 9033.12 | 10 | 1952.8016 | 1952.8016 | 10985.9216 | 10985.9216 | 595.4268 | 0.39603 | 1583.8353 | 4312.01 | 5895.8453 | -5090.0763 | 0.53667 | -509.0076 | 46.73% |  |  | 26.86% | 73.14% | #DIV/0! | 4130.0457 | 1.009 | 2216.4832 | 0.5415 | 153.2%
| R-WHPipeIns | Res Water Heater Pipe Insulation |  |  |  | 0.05 | 387 | 126.36 | 13 | 27.3168 | 27.3168 | 153.6768 | 153.6768 | 718.0511 | 0.47759 | 35.9026 | 184.8288 | 220.7313 | 67.0545 | 1.4363 | 6.7055 | 88.36% |  |  | 16.27% | 83.73% | #DIV/0! | 3073.5362 | 0.3971 | 4414.6268 | 0.57037 | 57.25%
| R-WHTnkIns | Res Water Heater Tank Insulation |  |  |  | 0.06 | 486 | 158.76 | 7 | 34.3211 | 34.3211 | 193.0811 | 193.0811 | 450.3497 | 0.29954 | 27.021 | 145.5759 | 172.5968 | -20.4843 | 0.89391 | -2.0484 | 92.47% |  |  | 15.66% | 84.34% | #DIV/0! | 3218.0186 | 0.39729 | 2876.6141 | 0.35514 | 91.98%
| R-WinAC | Res Window Air Conditioner |  |  |  | 0.16 | 160 | 1987.2 | 11 | 429.5977 | 429.5977 | 2416.7977 | 2416.7977 | 638.6127 | 0.42476 | 102.178 | 67.9612 | 170.1392 | -2246.6585 | 0.070399 | -224.6658 | 11.42% |  |  | 60.06% | 39.94% | #DIV/0! | 15104.9855 | 15.105 | 1063.3699 | 1.0634 | 1168%
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 119 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 148 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Select Measure in column "C"
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Select Measure in column "C"
measure max = 40 |  | N/A |  |  | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Portfolio Total |  |  |  | 0 | 8165.5488 | 14536586.53 | 2766762.38 | NA | 458738.56 | 458738.56 | 3225500.94 | 3225500.94 |  |  | 3537134.8525 | 7733484.8408 | 11270619.6933 | 8045118.7533 | 3.4942 | 804511.8753 | 20.32% | [5 empty] | 395.0134
[12 empty] | 3225500.94 | 3225500.94 | [7 empty] | Won't match bonus in step 4 because net benefits differ between CE test and bonus. For estimate only at the measure level
[5 empty] | As filed | 8172.4088 | 14581537.53 |  |  |  | Double-check: should = $0 | 0 | 0
[5 empty] | EM&V savings reduction | 6.86 | 44951.01
[5 empty] | New Total Should = | 8165.5488 | 14536586.52
[5 empty] | new total above | 8165.5488 | 14536586.53
[5 empty] | should = 0 | 0 | -0.01

## Step 3 Admin Allocation
| These columns will auto-populate |  |  | Column will auto-populate after entering values in cells F3:H18 and C22-25 | Program Specific Admin: Enter Manually |  |  | Allocated based on Total Incentives or Program Costs: Enter Values in cells C22 - 25 and results will auto-populate
| Program | Incentives | Incentive as % of Total Incentives (R&D/Other Admin Allocator) | Program Costs as % of Total Spending (Bonus Allocator) | Program Specific Admin (Do not include the costs paid by a utility for an EECRF proceeding here; these values are exempt from the CE test) | Program Specific R&D | Program Specific EM&V Admin (2015 TetraTech Allocation not actual expenditures) | R&D/Other Admin Portion | EM&V Costs | Bonus Portion | Costs Paid by a Utility for an EECRF Proceeding (to be included in Total Admin for Bonus Calculation) | Total Admin for Bonus Calculation (Excluding Bonus) | Total Admin for Cost-effectiveness Calculation (Including Bonus) | Total Program Costs | Total Program Costs (Excluding Bonus) | Program
1 | Commercial SOP | 597672.43 | 21.6% | 23.01% | 95738.8 |  | 11184.9 | 37671.5303 | 0 | 0 | 0 | 144595.2303 | 144595.2303 | 742267.6603 | 742267.6603 | 1
2 | Small Commercial SOP | 42902.39 | 1.551% | 1.989% | 16465.93 |  | 2095.17 | 2704.1547 | 0 | 0 | 0 | 21265.2547 | 21265.2547 | 64167.6447 | 64167.6447 | 2
3 | Load Management SOP | 212600 | 7.684% | 7.577% | 17376.59 |  | 1022.25 | 13400.2623 | 0 | 0 | 0 | 31799.1023 | 31799.1023 | 244399.1023 | 244399.1023 | 3
4 | Recommissioning MTP | 647439.69 | 23.4% | 21.54% | 2350.02 |  | 4235.33 | 40808.3804 | 0 | 0 | 0 | 47393.7304 | 47393.7304 | 694833.4204 | 694833.4204 | 4
5 | Residential SOP | 556073.94 | 20.1% | 19.86% | 41551.11 |  | 8058.12 | 35049.561 | 0 | 0 | 0 | 84658.791 | 84658.791 | 640732.731 | 640732.731 | 5
6 | Hard-to-Reach SOP | 351612.42 | 12.71% | 12.5% | 22574.52 |  | 6796.59 | 22162.2703 | 0 | 0 | 0 | 51533.3803 | 51533.3803 | 403145.8003 | 403145.8003 | 6
7 | Low Income Weatherization | 358461.51 | 12.96% | 13.52% | 53535.04 |  | 1364.06 | 22593.9711 | 0 | 0 | 0 | 77493.0711 | 77493.0711 | 435954.5811 | 435954.5811 | 7
8 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
9 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
10 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
11 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
12 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12
13 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
14 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
15 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
16 | 0 | 0 | 0% | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 16
| Portfolio Total | 2766762.38 | 100% | 100% | 249592.01 | 0 | 34756.42 | 174390.13 | 0 | 0 | 0 | 458738.56 | 458738.56 | 3225500.94 | 3225500.94
[11 empty] | Total Program Cost Check | 3225500.94 | 3225500.94
| Other Costs to Be Allocated Among All Programs Enter Blue Cells Manually; Green Will Autocalculate if Step 1 completed: |  | PUC Rule: How to allocate non-program specific expenses | [8 empty] | should match Step 2 cell M922 | should match Step 2 cell N922
| R&D and Non-program specifc Admin to be Allocated (Rate Case Expenses Details: Include any costs incurred by the utility for an EECRF filing here unless they have already been included in the program specifc admin in column F. Do not include the costs paid by a utility for an EECRF proceeding here; these values are exempt from the CE test. Enter those costs separately in cell C25 below.) | 174390.13 | (i): Any portion of these costs which are not directly assignable to a specific program shall be allocated among the programs in proportion to the program incentive costs. Any bonus awarded by the commission shall not be included in program costs for the purpose of applying these limits.
| Third party EM&V Costs (Ex: Frontier EM&V; counted as admin) | 0 | (i): Any portion of these costs which are not directly assignable to a specific program shall be allocated among the programs in proportion to the program incentive costs. Any bonus awarded by the commission shall not be included in program costs for the purpose of applying these limits.
| Bonus for Cost-effectiveness (bonus collected during the PY) | 0 | (h)(6): The bonus shall be allocated in proportion to the program costs associated with meeting the demand and energy goals and allocated to eligible customers on a rate class basis.
| Costs Paid by a Utility for an EECRF Proceeding (To be included as admin in the "total program cost" input for the bonus calculation in Step 4) | 0 | These are costs to be included as admin in the "total program costs" for the bonus calculation (per the preamble pg 150). Please note these values are excluded from the cost-effectiveness test (per the preamble and email from Katie Rich). This is why they are not included in either the program-specific admin values or the non-program specific admin in other cells on this tab.

## Step 4 Bonus Calculator
Program Year 2015
Energy Efficiency Performance Bonus Calculator
| kW | kWh | Directions: Fill in blue cell and performance bonus will calculate. All green cells will auto-populate All inputs must be accounted for the in the "Fixed Inputs," "Admin Allocation," and "Results Calculator" tabs in order to correctly calculate bonus.
Demand and Energy Goals | 5495 | 9627240
Actual Demand and Energy Savings | 8165.5488 | 14536586.53
Reported/Verified Hard-to-Reach | 443.52
Program Costs (excluding bonus) | 3225500.94
Performance Bonus | 804511.8753
8.071% | Hard-to-Reach Goal Met?
Bonus Calculation Details
148.6% | Percentage of Demand Reduction Goal Met (Reported kW/Goal kW)
151% | Percentage of Energy Reduction Goal Met (Reported kWh/Goal kWh)
TRUE | Met Requirements for Performance Bonus?
11270619.6933 | Total Avoided Costs
3225500.94 | Total Program Costs (excluding bonus)
8045118.7533 | Net Benefits
1954948.3378 | Calculated Bonus (((Achieved Demand Reduction/Demand Goal - 100%) / 2) * Net Benefits)
804511.8753 | Maximum Bonus Allowed (10% of Net Benefits)

## Reference 2.1 EULs
Residential & Commercial EULs
Sector | TRM Measure | DO NOT DELETE; FOR SEARCH | Energy Efficiency Measure | EUL (years) | TRM Version
Custom | NA | 1 | Custom | NA | NA | Custom
Residential | 2.1.1 | 2 | Res Compact Fluorescent Lamps | 7.7 | 2.1 | Res Compact Fluorescent Lamps
Residential | 2.2.1 | 3 | Res Duct Efficiency Improvement | 18 | 2.1 | Res Duct Efficiency Improvement
Residential | 2.2.2 | 4 | Res Central AC | 19 | 2.1 | Res Central AC
Residential | 2.2.3 | 5 | Res Ground Source Heat Pump | 20 | 2.1 | Res Ground Source Heat Pump
Residential | 2.2.4 | 6 | Res Central Heat Pump | 16 | 2.1 | Res Central Heat Pump
Residential | 2.2.5 | 7 | Res Window Air Conditioner | 11 | 2.1 | Res Window Air Conditioner
Residential | 2.3.1 | 8 | Res Air Infiltration | 11 | 2.1 | Res Air Infiltration
Residential | 2.3.2 | 9 | Res Ceiling Insulation | 25 | 2.1 | Res Ceiling Insulation
Residential | 2.3.3 | 10 | Res Wall Insulation | 25 | 2.1 | Res Wall Insulation
Residential | 2.3.4 | 11 | Res Floor Insulation | 25 | 2.1 | Res Floor Insulation
Residential | 2.3.5 | 12 | Res Energy Star Windows | 25 | 2.1 | Res Energy Star Windows
Residential | 2.3.6 | 13 | Res Solar Screens | 10 | 2.1 | Res Solar Screens
Residential | 2.4.1 | 14 | Res Faucet Aerators | 10 | 2.1 | Res Faucet Aerators
Residential | 2.4.2 | 15 | Res Low-Flow Showerheads | 10 | 2.1 | Res Low-Flow Showerheads
Residential | 2.4.3 | 16 | Res Water Heater Pipe Insulation | 13 | 2.1 | Res Water Heater Pipe Insulation
Residential | 2.4.4 | 17 | Res Water Heater Tank Insulation | 7 | 2.1 | Res Water Heater Tank Insulation
Residential | 2.4.5 | 18 | Res Water Heater Installation-Electric Tankless and Fuel Substitution | 20 | 2.1 | Res Water Heater Installation-Electric Tankless and Fuel Substitution
Residential | 2.4.6 | 19 | Res Heat Pump Water Heater | 13 | 2.1 | Res Heat Pump Water Heater
Residential | 2.4.7 | 20 | Res Water Heater Replacement-Solar Water Heating | 15 | 2.1 | Res Water Heater Replacement-Solar Water Heating
Residential | 2.5.1 | 21 | Res Energy Star Ceiling Fans | 10 | 2.1 | Res Energy Star Ceiling Fans
Residential | 2.5.2 | 22 | Res Energy Star Clothes Washer | 14 | 2.1 | Res Energy Star Clothes Washer
Residential | 2.5.3 | 23 | Res Energy Star Dishwashers | 15 | 2.1 | Res Energy Star Dishwashers
Residential | 2.5.4 | 24 | Res Energy Star Refrigerators | 17 | 2.1 | Res Energy Star Refrigerators
Residential | 2.6.1 | 25 | Res New Homes | 23 | 2.1 | Res New Homes
Residential | 2.7.1 | 26 | Res Solar Photovoltaic (PV) | 30 | 2.1 | Res Solar Photovoltaic (PV)
Residential | 2.8.1 | 27 | Res Direct Load Control of Outdoor Compressor Units | 1 | 2.1 | Res Direct Load Control of Outdoor Compressor Units
Residential | 2.8.2 | 28 | Res Direct Load Control of Swimming Pool Pump Motors | 1 | 2.1 | Res Direct Load Control of Swimming Pool Pump Motors
Residential | 2.9.1 | 29 | Res Refrigerator/Freezer Recycling | 8 | 2.1 | Res Refrigerator/Freezer Recycling
Commercial | 2.1.1 | 30 | Comm Lamps and Fixtures: Halogen Lamps | 1.5 | 2.1 | Comm Lamps and Fixtures: Halogen Lamps
Commercial | 2.1.1 | 31 | Comm Lamps and Fixtures: High Intensity Discharge Lamps | 15.5 | 2.1 | Comm Lamps and Fixtures: High Intensity Discharge Lamps
Commercial | 2.1.1 | 32 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps | 4.5 | 2.1 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps
Commercial | 2.1.1 | 33 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps | 2.5 | 2.1 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps
Commercial | 2.1.1 | 34 | Comm Lamps and Fixtures: Integral LED Lamps | 9 | 2.1 | Comm Lamps and Fixtures: Integral LED Lamps
Commercial | 2.1.1 | 35 | Comm Lamps and Fixtures: Light Emitting Diode | 15 | 2.1 | Comm Lamps and Fixtures: Light Emitting Diode
Commercial | 2.1.1 | 36 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures | 16 | 2.1 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures
Commercial | 2.1.1 | 37 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents | 15.5 | 2.1 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents
Commercial | 2.1.1 | 38 | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Fluorescents replacing T12s with magnetic ballasts | 8.5 | 2.1 | Comm Lamps and Fixtures: LEDs or T8 and T5 Linear Fluorescents replacing T12s with magnetic ballasts
Commercial | 2.1.2 | 39 | Comm Lighting Controls: Occupancy Sensor | 10 | 2.1 | Comm Lighting Controls: Occupancy Sensor
Commercial | 2.1.2 | 40 | Comm Lighting Controls: Photocell (Daylighting Control) | 10 | 2.1 | Comm Lighting Controls: Photocell (Daylighting Control)
Commercial | 2.1.2 | 41 | Comm Lighting Controls: Timeclock | 10 | 2.1 | Comm Lighting Controls: Timeclock
Commercial | 2.2.1 | 42 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners | 15 | 2.1 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners
Commercial | 2.2.2 | 43 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers | 20 | 2.1 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers
Commercial | 2.2.2 | 44 | Comm HVAC Chillers: Centrifugal Chillers | 25 | 2.1 | Comm HVAC Chillers: Centrifugal Chillers
Commercial | 2.2.3 | 45 | Comm Packaged Terminal Air Conditioners, Heat Pumps | 15 | 2.1 | Comm Packaged Terminal Air Conditioners, Heat Pumps
Commercial | 2.2.3 | 46 | Comm Room Air Conditioners | 11 | 2.1 | Comm Room Air Conditioners
Commercial | 2.2.4 | 47 | Comm HVAC VFD on AHU Supply Fans | 15 | 2.1 | Comm HVAC VFD on AHU Supply Fans
Commercial | 2.3.1 | 48 | Comm Energy Star Roofs | 15 | 2.1 | Comm Energy Star Roofs
Commercial | 2.3.2 | 49 | Comm Window Film | 10 | 2.1 | Comm Window Film
Commercial | 2.4.1 | 50 | Comm High Efficiency Combination Ovens | 12 | 2.1 | Comm High Efficiency Combination Ovens
Commercial | 2.4.2 | 51 | Comm High Efficiency Electric Convention Ovens | 12 | 2.1 | Comm High Efficiency Electric Convention Ovens
Commercial | 2.4.3 | 52 | Comm Energy Star Commercial Dishwashers | 11 | 2.1 | Comm Energy Star Commercial Dishwashers
Commercial | 2.4.4 | 53 | Comm Hot Food Holding Cabinets | 12 | 2.1 | Comm Hot Food Holding Cabinets
Commercial | 2.4.5 | 54 | Comm Energy Star Electric Fryers | 12 | 2.1 | Comm Energy Star Electric Fryers
Commercial | 2.4.6 | 55 | Comm Pre-Rinse Spray Valves | 5 | 2.1 | Comm Pre-Rinse Spray Valves
Commercial | 2.4.7 | 56 | Comm Energy Star Electric Steam Cookers | 12 | 2.1 | Comm Energy Star Electric Steam Cookers
Commercial | 2.5.1 | 57 | Comm Door Heater Controls | 12 | 2.1 | Comm Door Heater Controls
Commercial | 2.5.2 | 58 | Comm ECM Evaporator Fan Motor | 15 | 2.1 | Comm ECM Evaporator Fan Motor
Commercial | 2.5.3 | 59 | Comm Electronic Defrost Controls | 10 | 2.1 | Comm Electronic Defrost Controls
Commercial | 2.5.4 | 60 | Comm Evaporator Fan Controls | 16 | 2.1 | Comm Evaporator Fan Controls
Commercial | 2.5.5 | 61 | Comm Night Covers for Open Refrigerated Display Cases | 5 | 2.1 | Comm Night Covers for Open Refrigerated Display Cases
Commercial | 2.5.6 | 62 | Comm Solid and Glass Door Reach-Ins | 12 | 2.1 | Comm Solid and Glass Door Reach-Ins
Commercial | 2.5.7 | 63 | Comm Strip Curtains for Walk-In Refrigerated Storage | 4 | 2.1 | Comm Strip Curtains for Walk-In Refrigerated Storage
Commercial | 2.5.8 | 64 | Comm Zero Energy Doors for Refrigerated Cases | 12 | 2.1 | Comm Zero Energy Doors for Refrigerated Cases
Commercial | 2.6.1 | 65 | Comm Vending Machine Controls | 5 | 2.1 | Comm Vending Machine Controls
Commercial | 2.6.2 | 66 | Comm Lodging Guest Room Occupancy Sensor Controls | 10 | 2.1 | Comm Lodging Guest Room Occupancy Sensor Controls
Commercial | 2.6.3 | 67 | Comm Pump-Off Controller | 15 | 2.1 | Comm Pump-Off Controller
Commercial | 2.7.1 | 68 | Comm Solar Photovoltaic (PV) | 30 | 2.1 | Comm Solar Photovoltaic (PV)
Commercial | 2.8.1 | 69 | Comm Load Curtailment | 1 | 2.1 | Comm Load Curtailment