PUC Interoffice Memorandum

To:		Matthew Arth, Attorney

Legal Division

Thru:		Tammy Benter, Director

Water Utilities Division

From:		Sean Scaff, Engineering Specialist

Water Utilities Division

Date: 		December 21, 2016

Subject:	Docket No. 46067: Application of Quadvest, L.P. to Amend its Certificate of Convenience and Necessity in Montgomery County

On June 16, 2016, Quadvest, L.P. (Quadvest) filed with the Public Utility Commission (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11612 and sewer CCN No. 20952 in Montgomery County.  The total new service area being requested includes approximately 202 acres and zero current customers.

In determining whether to grant or amend a CCN, the Commission shall ensure that Quadvest possesses the financial, managerial, and technical capability to provide continuous and adequate service pursuant to Tex. Water Code § 13.241(a) (TWC) and 16 Tex. Admin. Code § 24.102(a) (TAC).  The Commission shall also consider the nine elements as stated in TWC § 13.246(c) and 16 TAC § 24.102(d).  Staff has reviewed the above referenced application, and has found that it meets the requirements to amend a water and a sewer CCN, as detailed below.

TWC § 13.246(c)(1) and 16 TAC § 24.102(d)(1)

In considering whether to amend a certificate, the Commission shall consider the adequacy of service currently provided to the requested area. The area subject to this application is currently not being provided water or sewer service. Quadvest maintains a Texas Commission on Environmental Quality (TCEQ) approved Public Water Systems (PWS) called Mostyn Manor No. 1700669.  Mostyn Manor has no current enforcement actions against it and is currently meeting TCEQ’s required drinking water standards.  Quadvest plans on developing the proposed area by connecting it to the existing water and sewer systems at Mostyn Manor and extending the distribution and collection systems to the new development area.

TWC § 13.246(c)(2) and 16 TAC § 24.102(d)(2)

In considering whether to grant or amend a certificate, the Commission shall consider the need for additional service in the proposed area.  A request for service was provided to Quadvest by a developer.  Quadvest is already certificated to serve both water and sewer in an adjacent development that will connect to the proposed area.

TWC § 13.246(c)(3) and 16 TAC § 24.102(d)(3)

In considering whether to grant or amend a certificate, the Commission shall consider the effect of granting a certificate to Quadvest, on the landowners in the area, and on any retail public utility of the same kind already serving the proximate area.  Quadvest received a request for service from a developer who owns the land. The development will tie into existing water and sewer services already provided by Quadvest, and no protests were received in relation to the application.  As such, the approval of the water and sewer CCN amendments should have no effect on landowners and other retail providers in the area.

TWC § 13.246(c)(4) and 16 TAC § 24.102(d)(4)

In considering whether to grant or amend a certificate, the Commission shall consider the ability of Quadvest to provide adequate service, including meeting the standards of the Commission, taking into consideration the current and projected density and land use of the area.  Quadvest has an existing TCEQ approved water system adjacent to the proposed area.  Quadvest plans to tap into these existing facilities to provide water and sewer service to the area.  Quadvest provided a TCEQ approved wastewater permit and letter granting approval to construct the distribution lines needed to serve the proposed area.  As such, Quadvest proposes to provide water and sewer service to 313 connections on approximately 202 acres of currently undeveloped land and meet all TCEQ drinking water and wastewater requirements and standards.

TWC § 13.246(c)(5) and 16 TAC § 24.102(d)(5)

In considering whether to grant or amend a certificate, the Commission shall consider the feasibility of obtaining service from an adjacent retail public utility.  Quadvest already has water and sewer service infrastructure in place at an adjacent development that they will tie into.  Also, Quadvest received a request to provide service from a developer that owns the land. As such, the feasibility of obtaining service from another provider was not considered.

TWC § 13.246(c)(6) and 16 TAC § 24.102(d)(6)

In considering whether to grant or amend a certificate, the Commission shall consider the financial ability of Quadvest to pay for the facilities necessary to provide continuous and adequate service and the financial stability of Quadvest, including, if applicable, the adequacy of Quadvest’s debt-equity ratio. A review of Quadvest’s financial and managerial information has shown that Quadvest has the required capability to provide continuous and adequate service to its customers.  According to a financial review completed by Commission staff, Quadvest meets the required financial test and is financially sound and fit to operate in the proposed area.

TWC § 13.246(c)(7) and 16 TAC § 24.102(d)(7)

In considering whether to grant or amend a certificate, the Commission shall consider the environmental integrity of the proposed area resulting from the granting of the certificate or amendment.  As long as all appropriate construction techniques and approved design criteria are used during the construction process, there should be minimal effect to the environmental integrity of the proposed area.

TWC § 13.246(c)(8) and 16 TAC § 24.102(d)(8)

In considering whether to grant or amend a certificate, the Commission shall consider the probable improvement in service or lowering of cost to consumers in that area resulting from the granting of the certificate or amendment.  The approval will allow Quadvest to bring infrastructure to the proposed neighborhood development.  Quadvest will be required to charge rates for both water and sewer service that have been approved by the Commission.

TWC § 13.246(c)(9) and 16 TAC § 24.102(d)(9)

In considering whether to grant or amend a certificate, the Commission shall consider the effect on the land to be included in the certificated area.  Quadvest proposes to construct 313 water and sewer connections on approximately 202 acres of currently undeveloped land after receiving commission approval.

Based on my review of the application, Quadvest meets all of the statutory requirements of TWC Chapter 13 and the regulatory requirements of 16 TAC Chapter 24. Approving this application to issue water and sewer Certificates of Convenience and Necessity to Quadvest is necessary for the service, accommodation, convenience and safety of the public pursuant to 16 TAC § 24.102(c).  Staff recommends approval of the application.

Quadvest consented to the attached maps, certificates, and tariff revisions on November 16, 2016.

Staff also recommends that Quadvest file a certified copy of the CCN maps along with a written description of the CCN service areas in the county clerks’ offices in Montgomery County pursuant to TWC §§ 13.257(r) and (s).