PUC Interoffice Memorandum

To:		Matthew Arth, Attorney

Legal Division

Thru:		Tammy Benter, Director

Water Utilities Division

From:		Sean Scaff, Engineering Specialist

Water Utilities Division

Date:  		December 5, 2016

Subject:	Docket No. 46089: Application of Quadvest, L.P. to Amend a Certificate of Convenience and Necessity and to Decertify a Portion of Tri-County Point Property Owners Association Inc.’s Service Area in Jackson County

On June 21, 2016, Quadvest, L.P., (Quadvest) filed with the Public Utility Commission (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11612 and to decertify a portion of Tri-County Point Property Owners Association Inc.’s service area in Jackson County.  The service area requested includes approximately 152 acres and zero current customers.

In determining whether to grant or amend a CCN, the Commission shall ensure that Quadvest possesses the financial, managerial, and technical capability to provide continuous and adequate service pursuant to Tex. Water Code § 13.241(a) (TWC) and 16 Tex. Admin. Code § 24.102(a) (TAC).  The Commission shall also consider the nine elements as stated in TWC § 13.246(c) and 16 TAC § 24.102(d).  Staff has reviewed the above referenced application and has found that it meets the requirements to amend a water CCN, as detailed below.

TWC § 13.246(b) and 16 TAC § 24.102(d)(1)

In considering whether to amend a certificate, the Commission shall consider the adequacy of service currently provided to the requested area. The areas subject to this application is currently undeveloped, but will be served by Quadvest.  Quadvest has received Texas Commission on Environmental Quality (TCEQ) approval to drill and develop wells and a distribution system for the proposed area.  The system will be referred to as Cape Shores Subdivision, Public Water System (PWS) No. 1200044.

TWC § 13.246(c)(2) and 16 TAC § 24.102(d)(2)

In considering whether to grant or amend a certificate, the Commission shall consider the need for additional service in the proposed area.  Quadvest has received a request for service from a developer in the proposed area.

TWC § 13.246(c)(3) and 16 TAC § 24.102(d)(3)

In considering whether to grant or amend a certificate, the Commission shall consider the effect of granting a certificate on Quadvest, on the landowners in the area, and on any retail public utility of the same kind already serving the proximate area.  Quadvest has received a request for service from a developer in the proposed area.  No protests or requests to intervene were received in relation to the application.  As such, the approval of the water CCN amendment should have no effect on landowners and other retail providers in the area.

TWC § 13.246(c)(4) and 16 TAC § 24.102(d)(4)

In considering whether to grant or amend a certificate, the Commission shall consider the ability of Quadvest to provide adequate service, including meeting the standards of the commission, taking into consideration the current and projected density and land use of the area.  Quadvest has received approval from the TCEQ to build and develop a water well and distribution system to provide service to the proposed area.  The approval has required Quadvest to meet all criteria required by the TCEQ to provide adequate service to the proposed area.

TWC § 13.246(c)(5) and 16 TAC § 24.102(d)(5)

In considering whether to grant or amend a certificate, the Commission shall consider the feasibility of obtaining service from an adjacent retail public utility.  As Quadvest received a request for service from a developer directly, the feasibility of obtaining service from another provider was not considered.

TWC § 13.246(c)(6) and 16 TAC § 24.102(d)(6)

In considering whether to grant or amend a certificate, the Commission shall consider the financial ability of Quadvest to pay for the facilities necessary to provide continuous and adequate service and the financial stability of Quadvest, including, if applicable, the adequacy of Quadvest’s debt-equity ratio. A review of Quadvest’s financial and managerial information has shown that Quadvest has the required capability to provide continuous and adequate service to its customers.  According to a financial review completed by Commission Staff, Quadvest meets the required financial test and is financially sound and fit to operate in the proposed area.

TWC § 13.246(c)(7) and 16 TAC § 24.102(d)(7)

In considering whether to grant or amend a certificate, the Commission shall consider the environmental integrity of the proposed area resulting from the granting of the certificate or amendment.  As long as all appropriate construction techniques and approved design criteria are used during the construction process, there should be minimal effect to the environmental integrity of the proposed area.

TWC § 13.246(c)(8) and 16 TAC § 24.102(d)(8)

In considering whether to grant or amend a certificate, the Commission shall consider the probable improvement in service or lowering of cost to consumers in that area resulting from the granting of the certificate or amendment.  The approval will allow Quadvest to bring infrastructure to the proposed neighborhood development.  Quadvest will be required to charge rates for water service which have been approved by the Commission.

TWC § 13.246(c)(9) and 16 TAC § 24.102(d)(9)

In considering whether to grant or amend a certificate, the Commission shall consider the effect on the land to be included in the certificated area.  Quadvest proposes to construct 97 water connections on 152 acres of currently undeveloped land after receiving Commission approval.

Based on my review of the application, Quadvest meets all of the statutory requirements of TWC Chapter 13 and the regulatory requirements of Title 16, Chapter 24 of TAC. Approval of this application to issue a water Certificate of Convenience and Necessity to Quadvest is necessary for the service, accommodation, convenience and safety of the public pursuant to 16 TAC § 24.102(c).  Therefore, Staff recommends approval of the application.

Quadvest consented to the attached map and certificate on November 17, 2016.

Staff also recommends that Quadvest file copies of the CCN map, along with a written description of the CCN service area, in the respective county clerks’ offices in Montgomery County pursuant to TWC §§ 13.257(r) and (s).