PUC Interoffice Memorandum

To:	Brittany Johnson, Attorney

Legal Division

Thru:	Heidi Graham, Director

Lisa Fuentes, Manager

Water Utilities Division

From:	Andrew Novak, Financial Analyst

Sean Scaff, Engineering Specialist

Kristy Nguyen, GIS Specialist

Water Utilities Division

Date:	December 27, 2016

Subject:	Docket No. 46181, Application of Aqua Texas, Inc. dba Aqua Texas to Amend a Water Certificate of Convenience and Necessity in Chambers County

On July 18, 2016, the Aqua Texas, Inc. (Aqua Texas) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 13203 and Sewer CCN No. 21065 in Chambers County, Texas. The amendment will expand Aqua Texas’ service area to allow for the provision of services to the proposed Joseph’s Cove development.  The Application was reviewed pursuant to Texas Water Code (TWC), §§ 13.241-250 and the 16 Tex. Admin Code (TAC) §§ 24.101-.107.

Proper public notice was provided on August 26, 2016, and September 2, 2016, in the Baytown Sun. According to the affidavits of notice received on September 23, 2016, notice was provided to current customers, neighboring systems, cities, other affected parties and landowners in Chambers County, Texas on September 6, 2016. The comment period ended October 6, 2016, and the Commission did not receive any protests or requests for hearing.

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  The following criteria were considered:

- TWC §13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area. Currently, the area is not being served. The applicant operates Public Water System (PWS) #0360005 and a TCEQ approved wastewater system, WQ 0011449001.  The system does not have current drinking water violations.

- TWC §13.246(c)(2) requires the Commission to consider the need for additional service in the requested area, including whether any landowners, prospective landowners, tenants, or residents have requested service.  Aqua Texas has received requests for service and will serve the new Joseph’s Cove development.

- TWC §13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient, on the landowners in the area, and on any other retail water utility servicing the proximate area.  Only the Applicant’s CCN Nos. 11309 and 21065 will be affected by revising the boundaries to reflect the additional area.

- TWC §13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.  The Applicant currently provides service to 1,065 water connections and 957 Sewer Connections The applicant also employs 26 “Class C” Operator.

- TWC §13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility. There are currently no other adjacent retail public utilities.

- TWC §13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.  Aqua Texas has demonstrated adequate financial ability to pay for any facilities necessary and to provide continuous and adequate service.

- TWC §§13.246(7) and (9) requires the Commission to consider the environmental integrity and the effect on the land to be included in the CCN.  The CCN amendment will not have a material impact on the environmental integrity of the land in the proposed areas.

- TWC § 13.246(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers. Due to there being no consumers currently, this criteria is not applicable.

In Staff’s opinion, Aqua Texas has demonstrated adequate financial and managerial capability to provide continuous and adequate service to the area subject to this application.  These conclusions are based on information provided by Aqua Texas prior to this date and may not reflect any changes in Aqua Texas status subsequent to this review.

Aqua Texas consented to the maps, CCN certificates and tariffs on December 20, 2016.

Therefore, based on review of the application, Staff recommends approval of the application.  Staff further recommends that Aqua Texas file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).