PUC Interoffice Memorandum

To:	Erika Garcia, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utilities Regulation Division

From:		Greg Charles, Engineering Specialist

Water Utilities Regulation Division

Date:	August 8, 2017

Subject:	Docket No. 46336: Application of the City of Tomball to Obtain Water and Sewer Certificates of Convenience and Necessity in Montgomery and Harris Counties

On September 1, 2016, the City of Tomball (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to obtain water and sewer Certificates of Convenience and Necessity (CCN) in Montgomery and Harris Counties, Texas. The application is being reviewed under Texas Water Code (TWC) §§13.242-13.250 and Title 16 Tex. Admin. Code (TAC) §§24.101- 24.107.

Background

The Applicant is seeking to obtain water and sewer CCNs for the service area containing approximately 10,697 acres (water CCN), and 10,998 acres (sewer CCN), and serves 12,000 current customers. The application was accepted for filing on November 17, 2016. On February

Motions to intervene and requests for a hearing were filed by Quadvest, L.P. and Undine Texas, LLC. On February 1, 2017, the DeNina Family Partnership, Ltd, filed a letter to ‘Opt out’. On February 6, 2017, this matter was referred to the State Office of Administrative Hearings. On June 6, 2016, the Administrative Law Judge remanded the application back the Commission, after dismissing the docket due to the withdrawal of requests for a hearing.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, Staff considered the following criteria:

TWC §13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved Public Water Drinking System, PWS #1010026, and has two approved TCEQ Wastewater Discharge Permits, Nos.WQ0010616-001 and WQ0010616-002.  The Applicant does not have any violations listed in the TCEQ database.

TWC §13.246(c)(2) requires the Commission to consider the need for service in the requested area.

The Applicant already provides water and waste water services to the requested areas. The Applicant has water and sewer projects needed to serve projected growth in the requested areas in its infrastructure master plan.

TWC §13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area.

TWC §13.246(c)(4) requires the Commission to consider the ability of the Applicant to provide adequate service.

The Applicant has two TCEQ approved Wastewater Discharge Permits as stated above. The Applicant does not have any violations listed in the TCEQ database.  The wastewater treatment facilities currently have the capacity to serve the requested area.

TWC §13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

This criterion is not applicable, since the Applicant is already adequately serving the requested area.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.  16 Texas Admin. Code § 24.11 (TAC) establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests.  Staff notes that the following discussion shows that the applicant does meets the required criteria:

- 16 TAC § 24.11(e)(2) refers to the leverage test:

  - 16 TAC § 24.11(e)(2)(A) states that the owner or operator must have a debt to equity ratio of less than one, using long term debt and equity or net assets.

    - Ratio = $2,879,607/$44,083,196= 0.07

    - Net Position = $44,083,196

    - Long-term Notes payable 2015 = $2,879,607

The applicant meets this ratio criterion.

  - 16 TAC § 24.11(e)(2)(B) states the owner or operator must have a debt service coverage ratio of more than 1.25 using annual net operating income before depreciation and non-cash expenses divided by annual combined long term debt payments.

    - Annual Net Operating Income before depreciation and non-cash expenses = $3,852,407

    - Annual Long-term debt payments = $623,103

    - Ratio = $3,852,407/$623,103= 6.18

The Applicant meets this ratio criterion.

- 16 TAC § 24.11(e)(3) refers to the operations test.  This states that the owner or operator must demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.

  - There are no projected operations and maintenance shortages. Therefore, the applicant meets this test.

TWC §§13.246(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity and the effect on the land will be minimal, since the Applicant already serves the requested areas.

TWC § 13.246(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

The Applicant plans to continue to provide water service and wastewater treatment service to the existing customers in the area.

Conclusion

Staff recommends that the Applicant meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, and is capable of providing continuous and adequate service. Staff further recommends that approving this application to obtain a CCN is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached maps and certificates on July 21, 2017.

Staff recommends this application be approved, and that the Applicant be provided with a copy of the attached maps and certificates. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).