PUC Interoffice Memorandum

To:	Ralph J. Daigneault, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utilities Division

From:		Greg Charles, Engineering Specialist

Water Utilities Division

Date:	May 12, 2017

Subject:	Docket No. 46412: Application of MSEC Enterprises, Inc. to Amend a Sewer Certificate of Convenience and Necessity in Montgomery County

On September 29, 2016, MSEC Enterprises, Inc. (Applicant) filed with the Public Utility Commission of Texas (Commission) an application requesting to amend sewer Certificate of Convenience and Necessity (CCN) No. 20984 in Montgomery County, Texas. The application is being reviewed under Texas Water Code §13.254(d) (TWC) and Title 16 Tex. Admin. Code §§24.115 and 24.102(a) (1) (TAC).

Background

The Applicant is seeking to amend sewer CCN No. 20984 for the service area containing approximately 38 acres and 3 existing customers. The Applicant currently provides water service to the area under its water CCN No. 12887.

The application was accepted for filing on November 3, 2016. Proper notice was published on November 16, and 23, 2016, in the Montgomery County News newspaper. Notice to neighboring systems, landowners, cities and affected parties was provided on November 2, 2016.  The affidavits of notice were received by the Commission on November 7, 2016.  The comment period ended December 23, 2016, and no protests or opt-out requests were received.

Financial Test

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.  16 Texas Admin. Code § 24.11 (TAC) establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests.  The Applicant must meet one of the leverage tests and the operations test.

- 16 TAC § 24.11(e)(2)(B) states the owner or operator must have a debt service coverage ratio of more than 1.25 using annual net operating income before depreciation and non-cash expenses (NOIBDNCE) divided by annual combined long term (LT) debt payments.  The Applicant has met this requirement using the latest six year’s financial statements which reflected ratios between 5.50 and 1.74 and is projected to meet it over the next two years.

- 16 TAC § 24.11(e)(3) refers to the operations test.  This states that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  No projected operations and maintenance shortages are projected.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC §13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.  The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved Wastewater Discharge Permit No.WQ0014638-001.  The Applicant does not have any violations listed in the TCEQ database.  The Applicant will extend a sewer line from the existing wastewater treatment facility to serve the requested area.

TWC §13.246(c)(2) requires the commission to consider the need for service in the requested area.  There is a need for service in the requested area because commercial development and other improvements are planned for the area.

TWC §13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.  There will be no effect on any retail public utility servicing the proximate area as there are no other sewer providers in the area.

TWC §13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.  The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved Wastewater Discharge Permit No. WQ0014638-001.  The Applicant does not have any violations listed in the TCEQ database.  The wastewater treatment facility has the capacity to serve the requested area.

TWC §13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.  Currently, there are no other sewer providers in the area.

TWC §§13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.  The environmental integrity of the effect on the land will be minimal since the extension of a sewer line from an existing wastewater treatment facility will avoid the addition of septic or aerobic surface treatment to the requested area.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.  The Applicant will continue to provide wastewater treatment service to the existing customers in the area.

The Applicant meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations.  Approval of this application to amend a sewer CCN No.20984 is necessary for the service, accommodation, convenience and safety of the public.

The Applicant is capable of providing continuous and adequate service.  Staff recommends approval of the application.  The Applicant consented to the attached map, tariff and certificate on April 28, 2017.

Based on the above information, Staff recommends an order be issued and  the attached map, tariff and certificate be provided to the Applicant.

Staff further recommends that the Applicant file a copy of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).