PUC Interoffice Memorandum

To:	Alex Petak, Attorney

Legal Division

Thru:	Tammy Benter, Director

Heidi Graham, Manager

Water Utilities Division

From:	Sean Scaff, Engineering Specialist

Water Utilities Division

Date:  	August 24, 2017

Subject:	Docket No. 46423, Application of MSEC Enterprises, Inc. to Amend its Certificate of Convenience and Necessity in Montgomery County

On October 3, 2016 MSEC Enterprises, Inc. (MSEC) filed with the Commission application to amend Certificate of Convenience and Necessity (CCN) No. 12887 in Montgomery County pursuant to Tex. Water Code Ann. (TWC) §§ 13.242-50 and 30 Texas. Admin. Code (TAC) §§ 291.101-07. MSEC is requesting to amend 216 acres with no existing customers.

The comment period ended December 23, 2016, and no protests or requests to opt out were received.

In determining whether to grant or amend a CCN, the Commission shall ensure that MSEC possesses the financial, managerial, and technical capability to provide continuous and adequate service pursuant to Tex. Water Code Ann. § 13.241(a) (TWC) and 16 Tex. Admin Code § 24.102(a) (TAC).  The Commission shall also consider the nine elements as stated in TWC § 13.246(c) and 16 TAC § 24.102(d).  Staff has reviewed the above referenced application, and has found that it meets the requirements to amend a water CCN, as detailed below.

TWC § 13.246(b) and 16 TAC § 24.102(d)(1)

In considering whether to amend a certificate, the Commission shall consider the adequacy of service currently provided to the requested area. The areas subject to this application is currently undeveloped land.  The applicant received a request for service from the developer that owns the requested area.  Service will be extended from MSEC’s existing Texas Commission on Environmental Quality (TCEQ) approved Public Water System (PWS) No. 1700638.  MSEC has no current enforcement actions against it and is currently meeting TCEQ’s required drinking water standards.

TWC § 13.246(c)(2) and 16 TAC § 24.102(d)(2)

In considering whether to grant or amend a certificate, the Commission shall consider the need for additional service in the proposed area.  MSEC received a request for service from the developer that owns the requested area.

TWC § 13.246(c)(3) and 16 TAC § 24.102(d)(3)

In considering whether to grant or amend a certificate, the Commission shall consider the effect of granting a certificate on MSEC, on the landowners in the area, and on any retail public utility of the same kind already serving the proximate area.  MSEC received a request for service from the developer that owns the requested area.  As such, the approval of the water CCN amendment should have no effect on landowners and other retail providers in the area.

TWC § 13.246(c)(4) and 16 TAC § 24.102(d)(4)

In considering whether to grant or amend a certificate, the Commission shall consider the ability of MSEC to provide adequate service, including meeting the standards of the commission, taking into consideration the current and projected density and land use of the area.  MSEC has an existing TCEQ approved water system adjacent to the requested area.  MSEC will be extending service from this system to the requested area.  An engineer submitted a signed and sealed statement that the phased approach to construction does not constitute more than 10% of their existing system, thus MSEC does not need TCEQ approval to extend service from their existing facilities.  MSEC also employees the appropriate number and classification of licensed operators to handle to the proposed system changes.

TWC § 13.246(c)(5) and 16 TAC § 24.102(d)(5)

In considering whether to grant or amend a certificate, the Commission shall consider the feasibility of obtaining service from an adjacent retail public utility.  MSEC received a request to serve from the developer that owns the requested area thus obtaining service from an adjacent retail provider was not considered.

TWC § 13.246(c)(6) and 16 TAC § 24.102(d)(6)

In considering whether to grant or amend a certificate, the Commission shall consider the financial ability of MSEC to pay for the facilities necessary to provide continuous and adequate service and the financial stability of MSEC, including, if applicable, the adequacy of MSEC’s debt-equity ratio. Texas Water Code § 13.246(c)(6) (TWC) requires the PUC to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.  Based on the information provided by the Applicant in this filing, the Applicant has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area.

Texas Water Code § 13.246(c)(6) (TWC) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.  16 Tex. Admin. Code § 24.11 (TAC) establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests. The following discussion based on the projected financial statements provided shows MSEC met the criteria:

- 16 TAC § 24.11(e)(2) refers to the leverage test in which the applicant must meet one or more of four criteria as applicable to this application:

  - 16 TAC § 24.11(e)(2)(B) states the owner or operator must have a debt service coverage ratio of more than 1.25 using annual net operating income before depreciation and non-cash expenses divided by annual combined long term debt payments.

    - Annual Net Operating Income before depreciation and non-cash expenses = $2,338,551.00

    - Annual Long-term debt payments = $1,194,262.00

MSEC meets the criterion because the Debt Service Coverage Ratio is greater than 1.25.

- 16 TAC § 24.11(e)(3) refers to the operations test.  This states that the owner or operator must demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.

  - Cash shortages were not reflected in the financial statements for the year ended December 31, 2015 and demonstrate there is sufficient cash available to cover any projected operations and maintenance shortages, therefore the applicant meets this criterion.

Therefore, MSEC meets the leverage and operations tests.

TWC § 13.246(c)(7) and 16 TAC § 24.102(d)(7)

In considering whether to grant or amend a certificate, the Commission shall consider the environmental integrity of the proposed area resulting from the granting of the certificate or amendment.  As long as all appropriate construction techniques and approved design criteria are used during the construction process, there should be minimal effect to the environmental integrity of the requested area.

TWC § 13.246(c)(8) and 16 TAC § 24.102(d)(8)

In considering whether to grant or amend a certificate, the Commission shall consider the probable improvement in service or lowering of cost to consumers in that area resulting from the granting of the certificate or amendment.  The requested area is currently owned by the developer who has requested service from MSEC. MSEC will be required to charge the rates set in their current Commission approved tariff.

TWC § 13.246(c)(9) and 16 TAC § 24.102(d)(9)

In considering whether to grant or amend a certificate, the Commission shall consider the effect on the land to be included in the certificated area.  MSEC is already providing service to a system adjacent to the requested area that will extend service to the new area.

Based on my review of the application, MSEC meets all of the statutory requirements of TWC Chapter 13 and 16 TAC Chapter 24 rules and regulations. Approving this application to amend MSEC’s CCN Nos. 12887 is necessary for the service, accommodation, convenience and safety of the public pursuant to 16 TAC § 24.102(c).  Staff recommends approval of the application.

MSEC consented to the attached map and certificate on August 18 2017.

Staff also recommends that MSEC file copies of the CCN map along with a written description of the CCN service area in the respective county clerks’ offices in Montgomery County pursuant to Texas Water Code § 13.257 (r) and (s).