## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.state.tx.us/rules/subrules/electric/25.52/25.52.doc
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.state.tx.us/rules/statutes/index.cfm
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | TEXAS-NEW MEXICO POWER COMPANY
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 294
Due: |  | February 14, 2017
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 46717
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
Larry Reed
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7357
Fax: | 512 936 7328
E-mail: | mailto:larry.reed@puc.state.tx.us

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
16 Texas Admin. Code §25.81
2016 Reporting Year
TEXAS-NEW MEXICO POWER COMPANY
Project 46717

## System-SAIFI
TEXAS-NEW MEXICO POWER COMPANY
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2016 | 0.6426 | 0.0185 | 0.0202 | 0.0225 | 0.0969 | 0.0982 | 0.0763 | 0.088 | 0.0607 | 0.0472 | 0.0388 | 0.0194 | 0.0559
Scheduled
2016 | 0.0339 | 0.0002 | 0.0004 | 0.0006 | 0.0016 | 0.0068 | 0.0003 | 0.0084 | 0.0003 | 0.0032 | 0.0063 | 0.0002 | 0.0056
Outside Causes
2016 | 0.0577 | 0.002 | 0.0069 | 0.0095 | 0.0041 | 0.0043 | 0.0243 | 0.001 | 0.0011 | 0.0009 | 0.0002 | 0.0014 | 0.002
Major Events
2016 | 0.0238 |  |  | 0.0152 |  | 0.0086

## System-SAIDI
TEXAS-NEW MEXICO POWER COMPANY
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2016 | 61.27 | 1.723 | 1.611 | 2.232 | 8.187 | 9.951 | 6.93 | 10.401 | 5.995 | 3.481 | 3.331 | 2.617 | 4.811
Scheduled
2016 | 1.218 | 0.018 | 0.055 | 0.025 | 0.094 | 0.147 | 0.027 | 0.361 | 0.029 | 0.167 | 0.057 | 0.014 | 0.224
Outside Causes
2016 | 6.24 | 0.242 | 0.582 | 1.416 | 0.261 | 0.413 | 2.419 | 0.2 | 0.096 | 0.132 | 0.069 | 0.284 | 0.126
Major Events
2016 | 14.865 |  |  | 3.022 |  | 11.843

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 294
Add or Delete Rows as Necessary
2016 SAIFI Ranking | 2015 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2016 SAIFI Value
1 | 81 | Friendswood Substation | 1107 | 1744 | 5.8319
2 | 269 | Texas Instruments Substation | 1033 | 2265 | 4.0463
3 | 1 | Flat Top Substation | 26P03 | 73 | 3.9178
4 | 24 | W.D. Faulkner Substation | 12P259 | 111 | 3.4234
5 | 215 | Sweeny Substation | 1264 | 1377 | 3.2926
6 | 253 | Keystone Substation | 12K434 | 47 | 2.617
7 | 12 | Cochise Substation | 25P47 | 44 | 2.5909
8 | 128 | Dickinson Substation | 1279 | 1955 | 2.4818
9 | 17 | Krugerville Substation | 2604 | 2273 | 2.4518
10 | 72 | California Substation | 12K87 | 55 | 2.4
11 | 74 | Reeves County #4 Substation | 12P28 | 120 | 2.4
12 | 83 | Kermit #2 Substation | 12K98 | 303 | 2.3927
13 | 51 | Winkler County #6 Substation | 25K11 | 41 | 2.2439
14 | 29 | Tejas Substation | 1214 | 587 | 2.1959
15 | 209 | Angleton Substation | 1154 | 1928 | 2.1545
16 | 277 | California Substation | 12K86 | 29 | 2.1379
17 | 101 | Alvin Substation | 1231 | 2016 | 2.1274
18 | 42 | Freeway Park Substation | 1297 | 823 | 2.1142
19 | 134 | Wickett Substation | 12K449 | 212 | 2.1084
20 | 191 | South Substation | 1107 | 1328 | 2.076
21 | 57 | Reeves County #4 Substation | 13P37 | 222 | 2.0585
22 | 98 | West Columbia Local Substation | 1233 | 1086 | 1.9125
23 | 35 | Pecos Main Substation | 12P362 | 523 | 1.9043
24 | 102 | Red River Substation | 2252 | 1113 | 1.893
25 | 158 | Brazoria Substation | 1271 | 1761 | 1.6342
26 | 121 | Nocona Substation | 12486 | 162 | 1.6049
27 | 229 | Lakepointe Substation | 2508 | 384 | 1.5859
28 | 230 | Kermit #2 Substation | 12K48 | 583 | 1.5797
29 | 166 | Magnolia Substation | 1148 | 1127 | 1.5607
30 | 164 | Nocona Substation | 13610 | 688 | 1.5595
31 | 18 | Wickett Substation | 12K446 | 38 | 1.5263
32 | 135 | Northside Substation | 1293 | 642 | 1.5124
33 | 130 | League City Main Substation | 1011 | 178 | 1.5
34 | 78 | La Marque Substation | 1204 | 1551 | 1.4468
35 | 100 | Magnolia Substation | 1145 | 432 | 1.4074
36 | 163 | Friendswood Substation | 1252 | 1710 | 1.3713
37 | 13 | Flat Top Substation | 26P02 | 66 | 1.3636
38 | 117 | Walnut Springs Substation | 2210 | 459 | 1.3159
39 | 154 | Flat Top Substation | 26P01 | 169 | 1.2958
40 | 252 | Olney Substation | 1695 | 591 | 1.269
41 | 77 | Worsham Field Substation | 13P97 | 89 | 1.2584
42 | 132 | Hill County Substation | 23340 | 590 | 1.2423
43 | 143 | Angleton Substation | 1242 | 546 | 1.238
44 | 16 | Hill County Substation | 22125 | 463 | 1.2181
45 | 155 | Alvin Substation | 1232 | 1260 | 1.1888
46 | 27 | Cochise Substation | 25P48 | 230 | 1.1826
47 | 82 | Thurber Substation | 1447 | 616 | 1.1801
48 | 238 | Hamilton City Substation | 22785 | 384 | 1.1718
49 | 173 | Dickinson Substation | 1272 | 2533 | 1.1709
50 | 246 | Sweeny Substation | 1263 | 561 | 1.1622
51 | 118 | Meridian Substation | 23210 | 829 | 1.1531
52 | 85 | Angleton Substation | 1245 | 746 | 1.1501
53 | 49 | Keystone Substation | 12K437 | 709 | 1.1495
54 | 184 | Alvin Substation | 1230 | 1981 | 1.1256
55 | 214 | Angleton Substation | 1153 | 2510 | 1.1203
56 | 142 | Northside Substation | 1228 | 1153 | 1.1196
57 | 194 | Magnolia Substation | 1146 | 2387 | 1.1189
58 | 241 | Jones Street Substation | 1411 | 1757 | 1.1166
59 | 50 | Meridian Substation | 23205 | 366 | 1.1065
60 | 240 | Texas Instruments Substation | 1012 | 1400 | 1.0828
61 | 9 | South Substation | 1102 | 1457 | 1.0576
62 | 268 | South Substation | 1109 | 797 | 1.0426
63 | 38 | Clifton #1 22KV Substation | 22485 | 82 | 1.0365
64 | 263 | Clifton #2 Substation | 4160 | 501 | 1.0319
65 | 186 | Valley Mills Substation | 22570 | 447 | 1.0223
66 | 204 | Sweeny Substation | 1129 | 669 | 1.0209
67 | 63 | Seminole Substation | 1403 | 1014 | 1.0187
68 | 228 | West Substation | 1223 | 2385 | 1.018
69 | 207 | Gatesville #2 Substation | 23065 | 524 | 1.0133
70 | 250 | Kermit #2 Substation | 4K06 | 218 | 1.0045
71 | 242 | Kermit #2 Substation | 4K07 | 326 | 1.003
72 | 157 | Seminole Substation | 1404 | 2020 | 1.0029
73 | 66 | Sycamore Substation | 24100 | 28 | 1
74 | 206 | Brazoria Substation | 1290 | 1018 | 0.9921
75 | 113 | Alvin Substation | 1115 | 2127 | 0.983
76 | 202 | Whitney Substation | 22455 | 665 | 0.9819
77 | 2 | Hamilton City Substation | 23825 | 325 | 0.9569
78 | 187 | Valley Mills Substation | 22575 | 658 | 0.9255
79 | 116 | Angleton Substation | 1240 | 1594 | 0.9127
80 | 152 | Glen Rose Substation | 22300 | 1139 | 0.8928
81 | 233 | Pyote Substation | 25P312 | 171 | 0.8479
82 | 30 | Stafford Substation | 13P50 | 399 | 0.7944
83 | 97 | Petrolia Substation | 12260 | 847 | 0.7685
84 | 61 | Graham Substation | 12605 | 126 | 0.746
85 | 45 | Magnolia Substation | 1144 | 945 | 0.7386
86 | 212 | Graham Substation | 1245 | 145 | 0.731
87 | 122 | Northside Substation | 1295 | 2326 | 0.7244
88 | 43 | Alvin Substation | 1259 | 736 | 0.7201
89 | 70 | Sycamore Substation | 24105 | 147 | 0.7074
90 | 80 | Dickinson Substation | 1274 | 2415 | 0.7068
91 | 75 | Airport Substation | 12F271 | 108 | 0.6944
92 | 88 | Cochise Substation | 12P637 | 107 | 0.6542
93 | 73 | Worsham Field Substation | 13P98 | 83 | 0.6506
94 | 225 | Thurber Substation | 1490 | 785 | 0.6165
95 | 71 | Nocona Substation | 13374 | 677 | 0.5923
96 | 22 | Red River Substation | 2229 | 356 | 0.5814
97 | 146 | Blossom Substation | 2203 | 1377 | 0.5541
98 | 95 | Whitney #2 Substation | 22465 | 388 | 0.5438
99 | 76 | Jones Street Substation | 1433 | 1027 | 0.5296
100 | 171 | Tejas Substation | 1212 | 286 | 0.5209
101 | 69 | Nocona Substation | 13370 | 688 | 0.5174
102 | 86 | League City Main Substation | 1282 | 2023 | 0.5165
103 | 226 | Bryson Substation | 1230 | 438 | 0.5114
104 | 231 | West Substation | 1233 | 593 | 0.4806
105 | 104 | South Shore Substation | 1192 | 1777 | 0.4738
106 | 153 | La Marque Substation | 1205 | 1064 | 0.4671
107 | 140 | Angleton Substation | 1155 | 1077 | 0.4633
108 | 19 | Red River Substation | 2262 | 75 | 0.4533
109 | 124 | Lone Oak Substation | 13388 | 473 | 0.4524
110 | 110 | Friendswood Substation | 1109 | 1971 | 0.4414
111 | 162 | Friendswood Substation | 1108 | 1309 | 0.4407
112 | 114 | Freeway Park Substation | 1101 | 1586 | 0.4369
113 | 217 | West Substation | 1235 | 1528 | 0.4339
114 | 195 | Heights Substation | 1132 | 2277 | 0.4185
115 | 6 | Glen Rose Substation | 22285 | 392 | 0.4041
116 | 23 | Freeway Park Substation | 1299 | 857 | 0.3955
117 | 270 | Olney Substation | 1685 | 466 | 0.3862
118 | 107 | Leonard Substation | 12678 | 525 | 0.3809
119 | 211 | West Columbia Local Substation | 1237 | 787 | 0.3761
120 | 90 | Pecos Main Substation | 12P03 | 433 | 0.3741
121 | 174 | League City Main Substation | 1012 | 1152 | 0.3723
122 | 224 | Lone Oak Substation | 13384 | 369 | 0.3712
123 | 41 | IH-20 Substation | 12P566 | 558 | 0.3691
124 | 237 | West Columbia Local Substation | 1234 | 1081 | 0.3598
125 | 40 | Brazoria Substation | 1291 | 696 | 0.3591
126 | 67 | Angleton Substation | 1244 | 1302 | 0.354
127 | 4 | Dickinson Substation | 1267 | 1842 | 0.349
128 | 138 | League City Main Substation | 1285 | 1239 | 0.3446
129 | 159 | Heights Substation | 1222 | 626 | 0.3434
130 | 179 | La Marque Substation | 1203 | 464 | 0.3426
131 | 129 | Whitney Substation | 22450 | 517 | 0.3404
132 | 84 | La Marque Substation | 1201 | 910 | 0.3296
133 | 189 | Tolar Substation | 25860 | 561 | 0.3262
134 | 203 | Clifton #1 22KV Substation | 22480 | 126 | 0.3253
135 | 175 | Heights Substation | 1224 | 1575 | 0.3238
136 | 210 | Tejas Substation | 1215 | 1520 | 0.3197
137 | 219 | Sweeny Substation | 1128 | 1548 | 0.3087
138 | 54 | South Bend Substation | 1300 | 166 | 0.3072
139 | 5 | Deport Substation (ONCOR) | 22164 | 582 | 0.2972
140 | 160 | Brazoria Substation | 1270 | 1035 | 0.2966
141 | 26 | Freeway Park Substation | 1103 | 1461 | 0.2943
142 | 136 | Lone Star Substation | 25P174 | 34 | 0.2941
143 | 176 | Hamilton City Substation | 22780 | 661 | 0.2919
144 | 149 | La Marque Substation | 1202 | 1082 | 0.2911
145 | 125 | Blossom Substation | 2207 | 121 | 0.2892
146 | 108 | Emory Substation (ONCOR) | 1201 | 933 | 0.287
147 | 58 | South Substation | 1108 | 1936 | 0.2789
148 | 188 | South Substation | 1103 | 1589 | 0.2769
149 | 87 | League City Main Substation | 1283 | 2054 | 0.2745
150 | 96 | Friendswood Substation | 1251 | 1787 | 0.2742
151 | 103 | Krugerville Substation | 2608 | 2038 | 0.2703
152 | 192 | Handley Substation | 22825 | 485 | 0.268
153 | 167 | Angleton Substation | 1243 | 1341 | 0.2662
154 | 245 | Lone Star Substation | 25P171 | 64 | 0.2656
155 | 182 | Hamilton County Substation | 2345 | 208 | 0.2644
156 | 20 | Dickinson Substation | 1277 | 1703 | 0.2583
157 | 123 | Alvin Substation | 1117 | 1472 | 0.2567
158 | 33 | IH-20 Substation | 12P563 | 211 | 0.2559
159 | 28 | Tejas Substation | 1217 | 143 | 0.2517
160 |  | Westminster Substation | 15804 | 393 | 0.2468
161 | 221 | Heights Substation | 1134 | 924 | 0.2402
162 | 14 | League City Main Substation | 1010 | 1029 | 0.239
163 | 147 | Angleton Substation | 1241 | 1609 | 0.2361
164 | 36 | Alvin Substation | 1257 | 1951 | 0.2347
165 | 120 | Alvin Substation | 1254 | 1818 | 0.2216
166 | 183 | South Shore Substation | 1190 | 2553 | 0.2181
167 | 52 | Saint Jo Substation | 15757 | 400 | 0.215
168 | 91 | Dickinson Substation | 1266 | 644 | 0.2049
169 | 55 | Magnolia Substation | 1149 | 1158 | 0.2037
170 | 151 | Northside Substation | 1294 | 1084 | 0.2029
171 | 141 | Pyote Substation | 25P217 | 104 | 0.2019
172 | 7 | Hico City Substation | 390 | 273 | 0.1978
173 | 31 | Freeway Park Substation | 1298 | 2168 | 0.1932
174 |  | Farmersville West Substation | 23568 | 16 | 0.1875
175 | 89 | Friendswood Substation | 1253 | 922 | 0.1854
176 | 279 | Clifton #2 Substation | 24370 | 225 | 0.1822
177 | 144 | Northside Substation | 1292 | 780 | 0.1756
178 | 227 | Kermit #1 Substation | 4K02 | 233 | 0.1716
179 | 44 | Jones Street Substation | 1431 | 898 | 0.1659
180 | 37 | Coryell County Substation | 22365 | 928 | 0.1648
181 | 216 | West Columbia Local Substation | 1235 | 799 | 0.1564
182 | 48 | Hamilton City Substation | 23820 | 202 | 0.1534
183 | 234 | Pecos Main Substation | 12P02 | 1115 | 0.1515
184 | 92 | Seminole Substation | 1402 | 1455 | 0.1498
185 | 139 | Hamilton County Substation | 2340 | 147 | 0.1496
186 | 180 | South Shore Substation | 1196 | 1356 | 0.1482
187 | 109 | Coryell County Substation | 22160 | 75 | 0.1466
188 | 79 | Hamilton County Substation | 24015 | 612 | 0.1421
189 | 62 | Lakepointe Substation | 2516 | 909 | 0.1419
190 | 93 | Gatesville #2 Substation | 22725 | 487 | 0.1416
191 | 198 | South Shore Substation | 1194 | 2257 | 0.14
192 | 262 | West Substation | 1234 | 1498 | 0.1368
193 | 21 | Hico City Substation | 395 | 526 | 0.1368
194 | 243 | League City Main Substation | 1280 | 1478 | 0.1366
195 | 273 | Stafford Substation | 12P83 | 407 | 0.1351
196 | 64 | Lakepointe Substation | 2536 | 1477 | 0.1299
197 | 264 | Thurber Substation | 22890 | 408 | 0.1299
198 | 244 | Old Ocean Substation | 1261 | 196 | 0.1275
199 | 197 | Texas Instruments Substation | 1032 | 3588 | 0.1198
200 | 119 | Old Ocean Substation | 1260 | 76 | 0.1184
201 | 239 | 16th Street Substation | 12F72 | 457 | 0.1181
202 | 248 | Handley Substation | 22820 | 68 | 0.1176
203 |  | Old Ocean Substation | 1262 | 501 | 0.1097
204 | 200 | Whitewright Substation | 12698 | 916 | 0.1091
205 | 161 | Leonard Substation | 14631 | 451 | 0.1086
206 | 190 | Freeway Park Substation | 1102 | 1118 | 0.1082
207 | 126 | La Marque Substation | 1110 | 377 | 0.1061
208 |  | Pecos Main Substation | 12P366 | 312 | 0.1057
209 | 255 | Walnut Springs Substation | 2215 | 120 | 0.1
210 | 156 | Blue Ridge Substation | 22700 | 478 | 0.0983
211 | 172 | 16th Street Substation | 12F71 | 1098 | 0.091
212 | 46 | Lakepointe Substation | 2512 | 2533 | 0.084
213 | 281 | West Substation | 1203 | 911 | 0.0834
214 | 59 | Pecos Main Substation | 12P01 | 212 | 0.0801
215 | 68 | Gomez Substation | 25F05 | 25 | 0.08
216 | 137 | West Substation | 1222 | 1435 | 0.078
217 | 254 | Sanderson Substation | 4S27 | 104 | 0.0769
218 | 185 | South Substation | 1104 | 3519 | 0.0755
219 | 220 | Belding Substation | 12F161 | 40 | 0.075
220 | 15 | Coryell County Substation | 22155 | 851 | 0.0693
221 | 10 | League City Main Substation | 1284 | 3524 | 0.0678
222 | 177 | Downtown 12.5KV Substation | 12F520 | 340 | 0.0676
223 | 150 | Nocona Substation | 12490 | 314 | 0.0668
224 | 65 | Walnut Springs Substation | 1270 | 49 | 0.0612
225 | 105 | Lake Whitney Substation | 1230 | 500 | 0.06
226 | 272 | Bryson Substation | 1233 | 185 | 0.0594
227 | 131 | Airport Substation | 12F44 | 893 | 0.0571
228 | 39 | South Shore Substation | 1195 | 1165 | 0.0566
229 | 236 | West Substation | 1221 | 1917 | 0.0537
230 | 56 | Lakepointe Substation | 2540 | 563 | 0.0532
231 | 201 | Belding Substation | 12F164 | 19 | 0.0526
232 | 223 | Downtown 12.5KV Substation | 12F114 | 620 | 0.05
233 | 274 | Gatesville #1 Substation | 413 | 153 | 0.0457
234 | 165 | Lake Whitney Substation | 12355 | 864 | 0.0439
235 | 271 | West Substation | 1202 | 999 | 0.043
236 | 168 | Saint Jo Substation | 15761 | 215 | 0.0418
237 | 249 | Downtown 12.5KV Substation | 12F130 | 1025 | 0.0409
238 | 266 | South Shore Substation | 1191 | 1541 | 0.0408
239 | 205 | Glen Rose Substation | 23875 | 851 | 0.0387
240 | 256 | Stafford Substation | 12P50 | 326 | 0.0368
241 | 148 | Magnolia Substation | 1150 | 853 | 0.0339
242 | 258 | Kermit #1 Substation | 4K04 | 479 | 0.0334
243 | 170 | Walnut Springs Substation | 2200 | 387 | 0.031
244 | 34 | Alvin Substation | 1116 | 2021 | 0.0306
245 | 178 | Whitewright Substation | 13563 | 338 | 0.0295
246 | 276 | Meridian Substation | 690 | 247 | 0.0283
247 | 193 | Valley Mills Substation | 22565 | 429 | 0.0256
248 | 275 | Stafford Substation | 12P82 | 314 | 0.0222
249 | 282 | Puckett Substation | 25F14 | 54 | 0.0185
250 | 112 | League City Main Substation | 1281 | 953 | 0.0178
251 | 196 | West Substation | 1201 | 706 | 0.0169
252 | 286 | Olney Substation | 1690 | 432 | 0.0162
253 | 111 | Airport Substation | 12F725 | 770 | 0.0155
254 | 47 | Jones Street Substation | 1413 | 78 | 0.0128
255 | 94 | Glen Rose Substation | 22295 | 782 | 0.0115
256 | 169 | Whitewright Substation | 12573 | 188 | 0.0106
257 | 181 | Glen Rose Substation | 22305 | 284 | 0.0105
258 | 199 | Jones Street Substation | 1412 | 478 | 0.0104
259 | 247 | Gatesville #1 Substation | 422 | 207 | 0.0096
260 | 232 | Longneck Substation | 23130 | 1315 | 0.0083
261 | 265 | Texas Instruments Substation | 1013 | 1833 | 0.0081
262 | 213 | Kermit #1 Substation | 4K03 | 251 | 0.0079
263 | 251 | Meridian Substation | 680 | 306 | 0.0065
264 |  | Butler Road Substation | 1436 | 3104 | 0.0064
265 | 8 | Gatesville #2 Substation | 429 | 334 | 0.0059
266 | 218 | Trenton Substation | 4120 | 209 | 0.0047
267 | 261 | Sanderson Substation | 4S26 | 231 | 0.0043
268 | 3 | Whitewright Substation | 12575 | 728 | 0.0041
269 | 11 | Whitewright Substation | 12574 | 296 | 0.0033
270 |  | Farmersville West Substation | 23560 | 480 | 0.002
271 | 32 | Climax Substation | 22110 | 1065 | 0.0018
272 | 145 | Longneck Substation | 23126 | 1151 | 0.0017
273 | 133 | Leonard Substation | 14635 | 507 | 0
274 | 278 | Clifton #2 Substation | 4165 | 309 | 0
275 | 285 | Clifton #1 4KV Substation | 490 | 26 | 0
276 | 283 | Clifton #1 4KV Substation | 407 | 126 | 0
277 | 267 | Clifton #1 4KV Substation | 405 | 230 | 0
278 | 208 | Clifton #1 22KV Substation | 22495 | 337 | 0
279 |  | Butler Road Substation | 1437 | 153 | 0
280 | 260 | Gatesville #2 Substation | 426 | 213 | 0
281 | 222 | Leonard Substation | 12682 | 245 | 0
282 | 106 | Gomez Substation | 25F61 | 19 | 0
283 | 99 | Puckett Substation | 25F18 | 31 | 0
284 | 259 | Clifton #2 Substation | 23165 | 83 | 0
285 | 280 | Whitney #2 Substation | 22460 | 528 | 0
286 | 257 | 16th Street Substation | 13F14 | 339 | 0
287 | 287 | Lakepointe Substation | 2524 | 674 | 0
288 |  | Westminster Substation | 15800 | 124 | 0
289 | 284 | Kermit #1 Substation | 4K05 | 175 | 0
290 | 53 | Lakepointe Substation | 2544 | 766 | 0
291 |  | Talco West Substation | 22237 | 31 | 0
292 | 235 | Sanderson Substation | 4S28 | 280 | 0
293 | 127 | Frontier Substation | 4236 | 218 | 0
294 | 60 | Stafford Substation | 12P99 | 302 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 294
Add or Delete Rows as Necessary
2016 SAIDI Ranking | 2015 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2016 SAIDI Value
1 | 283 | California Substation | 12K86 | 29 | 1574.3103
2 | 253 | Keystone Substation | 12K434 | 47 | 1086.0212
3 | 123 | Winkler County #6 Substation | 25K11 | 41 | 470.317
4 | 3 | W.D. Faulkner Substation | 12P259 | 111 | 386.5585
5 | 52 | Friendswood Substation | 1107 | 1744 | 338.8319
6 | 2 | Flat Top Substation | 26P03 | 73 | 337.2876
7 | 263 | Texas Instruments Substation | 1033 | 2265 | 332.5496
8 | 110 | Magnolia Substation | 1145 | 432 | 319.0393
9 | 18 | Wickett Substation | 12K446 | 38 | 319.0263
10 | 29 | California Substation | 12K87 | 55 | 309.4909
11 | 228 | Sweeny Substation | 1264 | 1377 | 299.2752
12 | 53 | Reeves County #4 Substation | 12P28 | 120 | 278.6083
13 | 46 | Wickett Substation | 12K449 | 212 | 256.6226
14 | 5 | Cochise Substation | 25P47 | 44 | 254.6363
15 | 24 | Reeves County #4 Substation | 13P37 | 222 | 249.6171
16 | 243 | Sweeny Substation | 1263 | 561 | 235.4741
17 | 215 | Lakepointe Substation | 2508 | 384 | 234.0104
18 | 134 | Flat Top Substation | 26P01 | 169 | 225.5266
19 | 156 | Valley Mills Substation | 22575 | 658 | 212.8662
20 | 9 | Flat Top Substation | 26P02 | 66 | 206.9242
21 | 119 | South Substation | 1107 | 1328 | 205.9646
22 | 63 | Krugerville Substation | 2604 | 2273 | 202.3462
23 | 236 | Angleton Substation | 1154 | 1928 | 198.4304
24 | 133 | Cochise Substation | 12P637 | 107 | 195.7943
25 | 233 | Texas Instruments Substation | 1012 | 1400 | 190.0942
26 | 58 | Tejas Substation | 1214 | 587 | 187.925
27 | 173 | Brazoria Substation | 1271 | 1761 | 177.1357
28 | 82 | Alvin Substation | 1231 | 2016 | 172.8422
29 | 198 | Nocona Substation | 13610 | 688 | 164.1511
30 | 25 | South Substation | 1102 | 1457 | 161.0089
31 | 138 | Friendswood Substation | 1252 | 1710 | 159.5233
32 | 127 | Walnut Springs Substation | 2210 | 459 | 156.2461
33 | 205 | Lone Oak Substation | 13384 | 369 | 151.5013
34 | 32 | Worsham Field Substation | 13P97 | 89 | 149.8202
35 | 88 | Magnolia Substation | 1148 | 1127 | 149.1721
36 | 129 | West Columbia Local Substation | 1233 | 1086 | 146.6611
37 | 65 | Freeway Park Substation | 1297 | 823 | 145.2211
38 | 195 | Pyote Substation | 25P312 | 171 | 143.0818
39 | 150 | Glen Rose Substation | 22300 | 1139 | 140.7243
40 | 131 | Seminole Substation | 1404 | 2020 | 140.6049
41 | 59 | Red River Substation | 2252 | 1113 | 139.3504
42 | 103 | Dickinson Substation | 1279 | 1955 | 133.3636
43 | 241 | Jones Street Substation | 1411 | 1757 | 133.0535
44 | 109 | Stafford Substation | 13P50 | 399 | 131.5563
45 | 197 | Gatesville #2 Substation | 23065 | 524 | 131.1259
46 | 126 | Kermit #2 Substation | 12K98 | 303 | 125.4686
47 | 154 | Nocona Substation | 12486 | 162 | 123.2345
48 | 262 | Clifton #2 Substation | 4160 | 501 | 121.4091
49 | 36 | Red River Substation | 2229 | 356 | 118.896
50 | 83 | Thurber Substation | 1447 | 616 | 114.8425
51 | 206 | Sweeny Substation | 1129 | 669 | 114.1076
52 | 246 | Olney Substation | 1695 | 591 | 113.6125
53 | 96 | Nocona Substation | 13374 | 677 | 113.093
54 | 121 | Northside Substation | 1295 | 2326 | 113.0631
55 | 217 | West Substation | 1223 | 2385 | 106.3832
56 | 180 | Alvin Substation | 1230 | 1981 | 103.4502
57 | 81 | La Marque Substation | 1204 | 1551 | 102.6937
58 | 100 | Alvin Substation | 1259 | 736 | 98.8355
59 | 136 | Pyote Substation | 25P217 | 104 | 97.25
60 | 112 | Northside Substation | 1293 | 642 | 96.8629
61 | 60 | Whitney Substation | 22455 | 665 | 94.0616
62 | 175 | Angleton Substation | 1242 | 546 | 92.5952
63 | 67 | Seminole Substation | 1403 | 1014 | 92.5779
64 | 194 | League City Main Substation | 1011 | 178 | 92.0056
65 | 76 | South Shore Substation | 1192 | 1777 | 91.4389
66 | 153 | Worsham Field Substation | 13P98 | 83 | 90.7349
67 | 106 | Alvin Substation | 1115 | 2127 | 90.5881
68 | 78 | Dickinson Substation | 1274 | 2415 | 89.8198
69 | 42 | Meridian Substation | 23210 | 829 | 89.6779
70 | 229 | Kermit #2 Substation | 12K48 | 583 | 88.0789
71 | 147 | Angleton Substation | 1240 | 1594 | 85.5966
72 | 45 | South Substation | 1108 | 1936 | 83.2778
73 | 7 | Cochise Substation | 25P48 | 230 | 81.5217
74 | 49 | Sycamore Substation | 24100 | 28 | 81
75 | 38 | Petrolia Substation | 12260 | 847 | 80.8819
76 | 13 | Graham Substation | 12605 | 126 | 79.7301
77 | 146 | Alvin Substation | 1232 | 1260 | 79.465
78 | 186 | Magnolia Substation | 1146 | 2387 | 75.2006
79 | 33 | Whitney #2 Substation | 22465 | 388 | 74.9974
80 | 165 | Tejas Substation | 1212 | 286 | 72.0314
81 | 192 | West Substation | 1233 | 593 | 70.951
82 | 184 | Heights Substation | 1132 | 2277 | 70.3188
83 | 51 | Hill County Substation | 23340 | 590 | 70.2254
84 | 90 | Lone Oak Substation | 13388 | 473 | 70.1078
85 | 238 | Angleton Substation | 1153 | 2510 | 68.8808
86 | 221 | Bryson Substation | 1230 | 438 | 68.0616
87 | 167 | Dickinson Substation | 1272 | 2533 | 68.0189
88 | 143 | Angleton Substation | 1245 | 746 | 67.8096
89 | 54 | Airport Substation | 12F271 | 108 | 67.5555
90 | 174 | La Marque Substation | 1203 | 464 | 66.6508
91 | 87 | Clifton #1 22KV Substation | 22485 | 82 | 66.1829
92 | 257 | Hamilton City Substation | 22785 | 384 | 66.039
93 | 141 | Blossom Substation | 2203 | 1377 | 62.6267
94 | 8 | Hill County Substation | 22125 | 463 | 59.6825
95 | 19 | Red River Substation | 2262 | 75 | 59.2933
96 | 224 | Sweeny Substation | 1128 | 1548 | 59.2622
97 |  | Westminster Substation | 15804 | 393 | 59.2366
98 | 220 | Graham Substation | 1245 | 145 | 58.1724
99 | 34 | Pecos Main Substation | 12P362 | 523 | 57.1797
100 | 120 | Pecos Main Substation | 12P03 | 433 | 56.8568
101 | 57 | Friendswood Substation | 1251 | 1787 | 56.5293
102 | 102 | Sycamore Substation | 24105 | 147 | 56.2721
103 | 99 | Northside Substation | 1228 | 1153 | 56.0971
104 | 111 | La Marque Substation | 1205 | 1064 | 55.765
105 | 39 | Magnolia Substation | 1144 | 945 | 55.1174
106 | 132 | South Substation | 1103 | 1589 | 53.6393
107 | 117 | Jones Street Substation | 1433 | 1027 | 53.4264
108 | 124 | Friendswood Substation | 1109 | 1971 | 51.9502
109 | 89 | Freeway Park Substation | 1101 | 1586 | 51.534
110 | 232 | Brazoria Substation | 1290 | 1018 | 50.8781
111 | 169 | Hamilton County Substation | 2345 | 208 | 48.5048
112 | 44 | Blossom Substation | 2207 | 121 | 48.3884
113 | 23 | Dickinson Substation | 1267 | 1842 | 47.5217
114 | 261 | South Substation | 1109 | 797 | 46.754
115 | 10 | Hamilton City Substation | 23825 | 325 | 45.9415
116 | 135 | Keystone Substation | 12K437 | 709 | 45.1495
117 | 74 | Saint Jo Substation | 15757 | 400 | 44.75
118 | 72 | Freeway Park Substation | 1299 | 857 | 43.8926
119 | 1 | Glen Rose Substation | 22285 | 392 | 42.2388
120 | 166 | Friendswood Substation | 1108 | 1309 | 41.6478
121 | 239 | Thurber Substation | 1490 | 785 | 41.5031
122 | 240 | West Columbia Local Substation | 1234 | 1081 | 40.8519
123 | 62 | Dickinson Substation | 1277 | 1703 | 40.3247
124 | 118 | Whitney Substation | 22450 | 517 | 40.321
125 | 210 | Handley Substation | 22825 | 485 | 40.1649
126 | 79 | Jones Street Substation | 1431 | 898 | 38.7895
127 | 114 | Heights Substation | 1222 | 626 | 38.6805
128 | 93 | La Marque Substation | 1201 | 910 | 38.189
129 | 230 | West Columbia Local Substation | 1237 | 787 | 38.1194
130 | 84 | League City Main Substation | 1282 | 2023 | 37.4315
131 | 164 | League City Main Substation | 1012 | 1152 | 36.6935
132 | 80 | Alvin Substation | 1117 | 1472 | 35.5495
133 | 201 | West Substation | 1235 | 1528 | 35.191
134 | 162 | Heights Substation | 1224 | 1575 | 34.5504
135 | 64 | Freeway Park Substation | 1298 | 2168 | 34.2357
136 | 207 | Tejas Substation | 1215 | 1520 | 34.2309
137 | 17 | Alvin Substation | 1257 | 1951 | 34.1968
138 | 66 | League City Main Substation | 1283 | 2054 | 33.8622
139 | 14 | Deport Substation (ONCOR) | 22164 | 582 | 32.4896
140 | 203 | Clifton #1 22KV Substation | 22480 | 126 | 32.2698
141 | 48 | Freeway Park Substation | 1103 | 1461 | 31.4291
142 | 269 | Olney Substation | 1685 | 466 | 31.1909
143 | 40 | Meridian Substation | 23205 | 366 | 30.9043
144 | 235 | Kermit #2 Substation | 4K06 | 218 | 30.5642
145 | 202 | Valley Mills Substation | 22570 | 447 | 30.5369
146 | 244 | Kermit #2 Substation | 4K07 | 326 | 30.0705
147 | 41 | South Bend Substation | 1300 | 166 | 28.9939
148 | 125 | Emory Substation (ONCOR) | 1201 | 933 | 28.8849
149 | 113 | IH-20 Substation | 12P566 | 558 | 28.6164
150 | 94 | Nocona Substation | 13370 | 688 | 28.4171
151 | 214 | Heights Substation | 1134 | 924 | 28.3625
152 | 55 | Lone Star Substation | 25P174 | 34 | 28.1764
153 | 179 | South Shore Substation | 1190 | 2553 | 28.0364
154 | 185 | Angleton Substation | 1155 | 1077 | 27.6722
155 | 70 | Angleton Substation | 1244 | 1302 | 27.3671
156 | 152 | League City Main Substation | 1285 | 1239 | 27.2719
157 | 216 | West Substation | 1221 | 1917 | 26.5983
158 | 237 | Lone Star Substation | 25P171 | 64 | 26.3281
159 | 16 | Tejas Substation | 1217 | 143 | 26.2727
160 | 73 | Dickinson Substation | 1266 | 644 | 26.2313
161 | 148 | Brazoria Substation | 1270 | 1035 | 25.8154
162 | 160 | Leonard Substation | 12678 | 525 | 25.7752
163 | 68 | Brazoria Substation | 1291 | 696 | 25.1982
164 | 128 | Krugerville Substation | 2608 | 2038 | 22.5961
165 | 190 | Hamilton City Substation | 22780 | 661 | 22.4039
166 | 177 | Tolar Substation | 25860 | 561 | 22.2174
167 | 137 | La Marque Substation | 1110 | 377 | 20.0053
168 | 75 | Hamilton County Substation | 24015 | 612 | 19.9003
169 | 149 | Northside Substation | 1292 | 780 | 19.5846
170 | 85 | Alvin Substation | 1254 | 1818 | 19.5583
171 | 6 | Hico City Substation | 390 | 273 | 19.1831
172 | 11 | Hico City Substation | 395 | 526 | 18.5684
173 | 50 | Old Ocean Substation | 1260 | 76 | 18.3552
174 | 116 | La Marque Substation | 1202 | 1082 | 17.7707
175 | 104 | Northside Substation | 1294 | 1084 | 17.6245
176 | 181 | Angleton Substation | 1243 | 1341 | 17.3862
177 | 86 | IH-20 Substation | 12P563 | 211 | 17.3222
178 | 234 | Handley Substation | 22820 | 68 | 17.0588
179 | 272 | Clifton #2 Substation | 24370 | 225 | 16.7644
180 | 252 | League City Main Substation | 1280 | 1478 | 16.661
181 | 168 | Angleton Substation | 1241 | 1609 | 16.279
182 | 178 | Leonard Substation | 14631 | 451 | 15.9467
183 | 254 | West Substation | 1234 | 1498 | 15.3845
184 | 31 | Coryell County Substation | 22365 | 928 | 14.9967
185 | 107 | Coryell County Substation | 22160 | 75 | 14.6666
186 | 91 | Magnolia Substation | 1149 | 1158 | 14.3842
187 |  | Farmersville West Substation | 23568 | 16 | 13.9375
188 | 193 | Blue Ridge Substation | 22700 | 478 | 13.9016
189 | 130 | Hamilton County Substation | 2340 | 147 | 13.3673
190 | 12 | League City Main Substation | 1010 | 1029 | 12.7939
191 | 251 | Walnut Springs Substation | 2215 | 120 | 12.1333
192 | 157 | Texas Instruments Substation | 1032 | 3588 | 12.1256
193 | 142 | Lakepointe Substation | 2536 | 1477 | 12.0176
194 | 188 | 16th Street Substation | 12F71 | 1098 | 11.8324
195 | 105 | West Substation | 1222 | 1435 | 11.0139
196 | 98 | South Shore Substation | 1195 | 1165 | 10.7296
197 | 248 | Downtown 12.5KV Substation | 12F130 | 1025 | 10.5892
198 | 77 | Seminole Substation | 1402 | 1455 | 9.9876
199 | 274 | West Substation | 1203 | 911 | 9.8474
200 | 15 | Gomez Substation | 25F05 | 25 | 9.44
201 | 196 | South Shore Substation | 1194 | 2257 | 9.3686
202 | 191 | South Shore Substation | 1196 | 1356 | 9.3488
203 | 223 | Pecos Main Substation | 12P02 | 1115 | 9.2825
204 | 171 | South Substation | 1104 | 3519 | 8.9982
205 | 95 | Friendswood Substation | 1253 | 922 | 8.821
206 | 108 | Gatesville #2 Substation | 22725 | 487 | 8.4948
207 | 159 | Freeway Park Substation | 1102 | 1118 | 8.4105
208 | 43 | League City Main Substation | 1284 | 3524 | 8.3237
209 | 231 | West Columbia Local Substation | 1235 | 799 | 7.9724
210 | 28 | Hamilton City Substation | 23820 | 202 | 7.8712
211 | 92 | Lakepointe Substation | 2512 | 2533 | 7.7623
212 | 101 | Lakepointe Substation | 2516 | 909 | 7.7183
213 | 267 | Kermit #1 Substation | 4K02 | 233 | 7.6137
214 | 199 | Whitewright Substation | 12698 | 916 | 7.5655
215 | 271 | Bryson Substation | 1233 | 185 | 7.0108
216 | 26 | Coryell County Substation | 22155 | 851 | 6.3172
217 | 287 | Meridian Substation | 690 | 247 | 6.251
218 | 270 | Thurber Substation | 22890 | 408 | 6.1225
219 | 247 | Old Ocean Substation | 1261 | 196 | 6.1224
220 |  | Old Ocean Substation | 1262 | 501 | 6.0878
221 | 139 | Lake Whitney Substation | 12355 | 864 | 5.9039
222 |  | Pecos Main Substation | 12P366 | 312 | 5.8173
223 | 277 | West Substation | 1202 | 999 | 5.6816
224 | 218 | Glen Rose Substation | 23875 | 851 | 5.3207
225 | 278 | Stafford Substation | 12P83 | 407 | 5.2751
226 | 226 | Downtown 12.5KV Substation | 12F520 | 340 | 5.2088
227 | 172 | Nocona Substation | 12490 | 314 | 5.0127
228 | 71 | Lakepointe Substation | 2540 | 563 | 4.8596
229 | 204 | Pecos Main Substation | 12P01 | 212 | 4.7924
230 | 97 | Lake Whitney Substation | 1230 | 500 | 4.674
231 | 259 | South Shore Substation | 1191 | 1541 | 4.5451
232 | 245 | Sanderson Substation | 4S27 | 104 | 4.3269
233 | 176 | Walnut Springs Substation | 2200 | 387 | 4.3204
234 | 182 | Magnolia Substation | 1150 | 853 | 4.0117
235 | 250 | 16th Street Substation | 12F72 | 457 | 3.8118
236 | 183 | Airport Substation | 12F44 | 893 | 3.608
237 | 20 | Walnut Springs Substation | 1270 | 49 | 3.5714
238 | 56 | Alvin Substation | 1116 | 2021 | 3.3047
239 | 161 | Valley Mills Substation | 22565 | 429 | 2.965
240 | 222 | Belding Substation | 12F161 | 40 | 2.95
241 | 276 | Gatesville #1 Substation | 413 | 153 | 2.8692
242 | 145 | Whitewright Substation | 13563 | 338 | 2.7396
243 | 227 | Belding Substation | 12F164 | 19 | 2.6315
244 | 260 | Kermit #1 Substation | 4K04 | 479 | 2.5073
245 | 242 | Downtown 12.5KV Substation | 12F114 | 620 | 2.3193
246 | 170 | West Substation | 1201 | 706 | 1.9575
247 | 140 | Saint Jo Substation | 15761 | 215 | 1.8837
248 | 37 | Glen Rose Substation | 22295 | 782 | 1.6879
249 | 212 | Jones Street Substation | 1412 | 478 | 1.6485
250 | 47 | Jones Street Substation | 1413 | 78 | 1.4358
251 | 122 | League City Main Substation | 1281 | 953 | 1.2098
252 | 256 | Stafford Substation | 12P50 | 326 | 1.1779
253 | 282 | Puckett Substation | 25F14 | 54 | 1.074
254 | 280 | Stafford Substation | 12P82 | 314 | 0.9808
255 |  | Butler Road Substation | 1436 | 3104 | 0.8923
256 | 4 | Whitewright Substation | 12575 | 728 | 0.8873
257 | 158 | Airport Substation | 12F725 | 770 | 0.8051
258 | 273 | Olney Substation | 1690 | 432 | 0.7314
259 | 144 | Whitewright Substation | 12573 | 188 | 0.6489
260 | 187 | Glen Rose Substation | 22305 | 284 | 0.6443
261 | 213 | Kermit #1 Substation | 4K03 | 251 | 0.5498
262 | 249 | Gatesville #1 Substation | 422 | 207 | 0.541
263 | 264 | Texas Instruments Substation | 1013 | 1833 | 0.504
264 | 208 | Trenton Substation | 4120 | 209 | 0.4497
265 | 209 | Longneck Substation | 23130 | 1315 | 0.4441
266 | 69 | Gatesville #2 Substation | 429 | 334 | 0.3892
267 | 22 | Whitewright Substation | 12574 | 296 | 0.3817
268 | 21 | Climax Substation | 22110 | 1065 | 0.338
269 | 255 | Sanderson Substation | 4S26 | 231 | 0.2597
270 | 225 | Meridian Substation | 680 | 306 | 0.2287
271 | 115 | Longneck Substation | 23126 | 1151 | 0.1025
272 |  | Farmersville West Substation | 23560 | 480 | 0.0854
273 | 219 | Leonard Substation | 12682 | 245 | 0
274 | 268 | Clifton #1 4KV Substation | 405 | 230 | 0
275 | 285 | Clifton #1 4KV Substation | 407 | 126 | 0
276 | 286 | Clifton #1 4KV Substation | 490 | 26 | 0
277 | 279 | Kermit #1 Substation | 4K05 | 175 | 0
278 | 281 | Clifton #2 Substation | 4165 | 309 | 0
279 | 275 | Whitney #2 Substation | 22460 | 528 | 0
280 | 266 | Gatesville #2 Substation | 426 | 213 | 0
281 |  | Butler Road Substation | 1437 | 153 | 0
282 | 27 | Gomez Substation | 25F61 | 19 | 0
283 | 211 | Sanderson Substation | 4S28 | 280 | 0
284 | 151 | Puckett Substation | 25F18 | 31 | 0
285 | 200 | Clifton #1 22KV Substation | 22495 | 337 | 0
286 | 258 | Clifton #2 Substation | 23165 | 83 | 0
287 |  | Westminster Substation | 15800 | 124 | 0
288 | 265 | 16th Street Substation | 13F14 | 339 | 0
289 | 284 | Lakepointe Substation | 2524 | 674 | 0
290 | 30 | Frontier Substation | 4236 | 218 | 0
291 | 61 | Stafford Substation | 12P99 | 302 | 0
292 | 189 | Lakepointe Substation | 2544 | 766 | 0
293 | 163 | Leonard Substation | 14635 | 507 | 0
294 |  | Talco West Substation | 22237 | 31 | 0

## Causes
TEXAS-NEW MEXICO POWER COMPANY
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2016 Reporting Year
Causes of Forced Interruptions |  | Percentage
| WEATHER | 31.99%
| UTILITY-OWNED EQUIPMENT | 26.79%
| VEGETATION | 21.09%
| ANIMALS AND BIRDS | 12.4%
| UNKNOWN | 5.42%
| PEOPLE | 1.34%
| OTHER | 0.98%
| TOTAL | 100%