PUC Interoffice Memorandum

To:	Alexander Petak, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utility Regulation Division

From:		Fred Bednarski, Financial Examiner

Water Utility Regulation Division

Date:	June 19, 2018

Subject:	Docket No. 46727:  Application of H-M-W Special Utility District to Amend its Water Certificate of Convenience and Necessity in Montgomery County

On January 05, 2017, the H-M-W Special Utility District (Applicant or H-M-W SUD) filed an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10342 and decertify portions of Aqua Texas, Inc.’s CCN Nos. 11157 and 13203 and Quadvest LP CCN No. 11612 in Montgomery County, Texas pursuant to Texas Water Code Ann. (TWC) §§ 13.242 to 13.250 and 13.254 and 16 Tex. Admin Code (TAC) §§ 24.101 to 24.107 and 24.113.  The intent of the Applicant is to clean up its existing certificated area.  The Applicant has approximately 2,880 existing customers.

Applicant’s Requested Area

The Applicant’s existing certificated area includes approximately 9,806 acres.  The Applicant originally requested to add approximately 988 acres and decertify approximately 522 acres.  The comment period ended May 30, 2017.  During the comment period no protests were received, however, three opt out requests were received.  The Applicant filed revised mapping data which removed all area that had opt-out requests.  The revised mapping data also removed portions of the requested area that overlapped area certificated to Aqua Texas, Inc. and Quadvest LP.  Aqua Texas, Inc. and Quadvest LP agreed to allow H-M-W SUD to add a portion of the requested area that overlapped their certificated areas.  In addition, a streamlined expedited release request, which impacted the Applicant’s requested area, was filed under Docket 47918, and granted by the Commission during the March 29, 2018 open meeting.  The revised mapping data included the removal of the released CCN area.  The mapping revisions ultimately added approximately 917 acres to the Applicant’s certificated area and removed approximately 708 acres from the Applicant’s certificated area resulting in an addition of approximately 209 acres to the Applicant’s existing certificated area.  The total revised requested area is approximately 10,015 acres.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The Applicant has existing facilities in the requested area.  A review of Texas Commission on Environmental Quality’s (TCEQ) Central Registry database indicates that the Applicant’s public water system has no unresolved violations.  In addition, the Applicant has experienced operators that are knowledgeable about operations as well as the requirements for continuous and adequate service.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

There are existing H-M-W SUD customers in the requested area that demonstrate the need for service.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no effect on the recipient or any other retail public utility servicing the proximate area since H-M-W SUD is already providing service to the requested area.

TWC § 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

H-M-W SUD has existing facilities in the requested area.  A review of TCEQ’s Central Registry database indicates that H-W-M SUD’s PWS has no unresolved violations.  In addition, H-M-W SUD has experienced operators that are knowledgeable about operations as well as the requirements for continuous and adequate service

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The requested area has existing facilities and is currently being served by H-M-W SUD.   Therefore, it is not necessary to obtain service from an adjacent retail public utility.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.

16 TAC § 24.11(e) requires the Applicant to meet one out of five leverage tests.  In this case, the Applicant meets two out of the five leverage test.  16 TAC § 24.11(e)(2)(A) states the owner or operator must have a debt to equity ratio of less than one.  H-M-W SUD meets the debt to equity test by having a ratio of 0.27.  16 TAC § 24.11(e)(2)(B) states the owner or operator must have a debt service coverage ratio of more than 1.25.  H-M-W SUD has a debt service coverage ratio of 1.90, therefore H-M-W SUD meets the debt service criterion.

16 TAC § 24.11(e)(3) refers to the operations test which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  H-M-W SUD is already serving the requested area.  H-M-W SUD has indicated that no cash shortages will be experienced in the first five years of operations.  Therefore, H-M-W SUD passes the operation test.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

There will no impact on the environment and the land as facilities are already in place and no construction is required to serve the requested area.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

The current customers in the requested area are being served by H-M-W SUD.  Approving the application will enable the customers to continue receiving service from H-M-W SUD at the same cost.

The Applicants consented to the attached map and certificates on March 27, 2018, May 21, 2018, and June 04, 2018.Staff recommends that the application be approved as amended. Staff further recommends that the H-M-W SUD, Aqua Texas, Inc., and Quadvest LP file certified copies of maps for their respective CCN areas along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).