PUC Interoffice Memorandum

To:	Erika Garcia, Attorney

Legal Division

Thru:	Tammy Benter, Director

Lisa Fuentes, Manager

Water Utilities Division

From:	Debbie Reyes Tamayo, Program Specialist

Water Utilities Division

Date:	August 7, 2017

Re:	Docket No. 46743:  Application of T & W Water Service Company to Amend a Water Certificate of Convenience and Necessity in Liberty County

On January 9, 2017, T & W Water Service Company (Applicant) filed an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12892 in Liberty County.  The application is being reviewed pursuant to Tex. Water Code §§ 13.242-13.250 (TWC) and 16 Tex. Admin. Code §§ 24.101-24.107 (TAC).  The Applicant proposes to serve the Encino Estates Subdivision which includes approximately 1,365 acres and 0 current customers.

TWC § 13.246(c) and 16 TAC § 24.102(d) require the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC §13.4246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area. Service is not currently being provided to the area. The Applicant filed an approval to construct letter dated April 6, 2017, from the Texas Commission on Environmental Quality (TCEQ). The letter indicates that plans and specifications for a new water plant and distribution system have been approved to serve the requested area by Encino Estates Public Water System (PWS) 1460187.

TWC §13.246(c)(2) requires the Commission to consider the need for service in the requested area, including whether any landowners, prospective landowners, tenants, or residents have requested service.  There is a need for water utility service in the area, as the property within the service area is being developed as residential lots by Encino Estates, Ltd., (Developer) who has partnered with the Applicant.

TWC §13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient and on any other retail water and sewer utility servicing the proximate area.  The CCN amendment will allow the development of a residential area in Liberty County. There are no other retail utilities in the proximate area that can supply the water requirement of the requested area.

TWC §13.246(c)(4) requires the Commission to consider the ability to provide adequate service.

T & W Water Service Company has been in the utility business for over 35 years, successfully providing high quality water service to over 3100 current customers in 16 different neighborhoods in Harris, Liberty and Montgomery Counties. The Applicant proposes to build and grow the proposed Encino Estates subdivision system in the same way that it has built and grown its other water systems. The Applicant has a good operations, maintenance and performance record with TCEQ and plans to operate this new system in the same manner. The requested area will be served by T & W Water Service Company, under Encino Estates Public Water System (PWS) 1460187 approved by TCEQ.

TWC §13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility. There is no adjacent retail public utility.

Texas Water Code § 13.246(c)(6) requires the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability from the Applicant.  16 Texas Admin. Code § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests.  The Applicant must meet one of the leverage tests and the operations test. Applicant provided a copy of financial statements for the fiscal year ending September 31, 2016, as well as projected income statements and balance sheets. Staff notes that the following discussion shows that the Applicant does meet the required criteria:

  - 16 TAC § 24.11(e)(2)(B) states the owner or operator must have a debt service coverage ratio of more than 1.25 using annual net operating income before depreciation and non-cash expenses divided by annual combined long term debt payments.

    - Annual Net Operating Income before depreciation and non-cash expenses = $243,418

    - Annual Long-term debt payments = $180,905

    - Ratio = $243,418/$180,905= 1.35

The Applicant meets this ratio criterion.

  - 16 TAC § 24.11(e)(3) refers to the operations test.  This states that the owner or operator must demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.

    - The Applicant projects shortages in the first and second year of operations of $52,841 and $6,887 respectively. However, the Applicant has $586,001 in cash savings accounts, which is more than enough to cover the projected losses.

The Applicant also meets this criterion.

TWC §§13.246(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the CCN. There should be minimal effect on the environmental integrity of the land, as it is developed.

TWC § 13.246(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.  There are currently no customers being served in the area at this time. Based on a review of the application and information provided, the Applicant has demonstrated adequate financial, managerial and technical capabilities to provide service to the proposed areas.

The Applicant meets all of the statutory requirements of TWC Chapter 13 and 16 TAC Chapter 24 rules and regulations. Staff recommends that approving this application to amend T & W Water Service Company CCN No. 12892 in Liberty County is necessary for the service, accommodation, convenience and safety of the public pursuant to 16 TAC § 24.102(c).

The Applicant filed consent to the attached map, tariff and certificate on July 21, 2017.

Staff recommends this application be approved, and that the Applicant be provided with a copy of the attached maps and certificates. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).