SOAH DOCKET NO. 473-17-2686

PUC DOCKET NO. 46831

APPLICATION OF EL PASO	§	BEFORE THE STATE OFFICE

ELECTRIC COMPANY TO	§	OF

CHANGE RATES		§	ADMINISTRATIVE HEARINGS

EL PASO ELECTRIC COMPANY'S RESPONSE TO

FREEPORT MCMORAN INC.'S SECOND REQUEST FOR INFORMATION

QUESTION NOS. FMI 2-1 THROUGH FMI 2-20

FMI 2-15:

Provide the five most recent dates when fuel oil was burned at the Newman plant due to natural gas curtailments or constraints.

RESPONSE:

The last known event due to natural gas curtailment or constraint occurred in August of 2000.  In addition, from 1999 to 2005, fuel records show that fuel oil was burned at Newman and Rio on eleven  occasions, and records indicate that these were not test burns.

Preparer:	Marcos M. Lopez	Title: 	Director-Generation Operations

Victor Martinez		Supervisor-Day Ahead and Long-Term Trading

Sponsor:	Andres R. Ramirez	Title: 	Vice President-Power Generation

David C. Hawkins		Vice President-System Operations, Resource Planning & Management