SOAH DOCKET NO. 473-17-2686

PUC DOCKET NO. 46831

APPLICATION OF EL PASO	§	BEFORE THE STATE OFFICE

ELECTRIC COMPANY TO	§	OF

CHANGE RATES		§	ADMINISTRATIVE HEARINGS

EL PASO ELECTRIC COMPANY'S RESPONSE TO

SOLAR ENERGY INDUSTRIES ASSOCIATION’S

FOURTH SET OF REQUESTS FOR INFORMATION

QUESTION NOS. SEIA 4-1 THROUGH SEIA 4-4

SEIA 4-2:

EPE, in response to EFCA RFI 3-15, provided a listing of feeders along with the counts of customers and the counts of DG customers on each feeder.

- Is it correct to assume that a feeder that is included in the EFCA 03-15 Attachment 1 (the full listing of feeders) that does not appear in EFCA 03-15 Attachment 3 (the listing of DG customers per feeder) means that feeder has 0 DG customers?

- If the assumption in part a. above is correct, an analysis of EFCA 3-15 shows that 26.74% of feeders have 0 DG customers, 66.67% of feeders have fewer than 0.5% of customers with DG systems, and 93.02% of feeders have fewer than 1.5% of customers with DG systems.  Please confirm if these figures are reflective of the feeders listed in EFCA 03-15.

- Would EPE generally characterize Residential DG customers on their system as being geographically dispersed (that is, a small percentage of each feeder’s customers is a Residential DG customer) or geographically concentrated (that is, a high percentage of each feeder’s customers is a Residential DG customer)?

RESPONSE:

- It is correct to assume that feeders shown in EPE’s response to EFCA 3-15, Attachment 1, that do not appear in EPE’s response to EFCA 3-15, Attachment 3, is the result of the feeder not having any customers with distributed generation (DG).  EFCA 3-15, Attachment 1, is a list of all of EPE’s Texas feeders, and EFCA 3-15, Attachment 3, is a list of all of EPE’s Texas feeders with customers who have DG.  Consequently, feeders with zero DG customers are not listed on EFCA 3-15, Attachment 3.  EFCA 3-15, Attachment 3, is the result of a geographic information system (GIS) query that searches for customers with production and/or photovoltaic systems.

- The figures listed in SEIA 4-2(b) are reflective of the feeders listed in EFCA 03-15 (+/- 3%).

- EPE would generally characterize Residential DG customers on its system as being geographically dispersed.

Preparer:	Jason Villanueva	Title: 	Supervisor-Distribution Dispatching

William Pollard		Superintendent-Distribution System

Sponsor:	R. Clay Doyle	Title: 	Vice President-Transmission & Distribution and System Planning