SOAH DOCKET NO. 473-17-2686

PUC DOCKET NO. 46831

APPLICATION OF EL PASO	§	BEFORE THE STATE OFFICE

ELECTRIC COMPANY TO	§	OF

CHANGE RATES		§	ADMINISTRATIVE HEARINGS

EL PASO ELECTRIC COMPANY'S RESPONSE TO

SOLAR ENERGY INDUSTRIES ASSOCIATION’S

FOURTH SET OF REQUESTS FOR INFORMATION

QUESTION NOS. SEIA 4-1 THROUGH SEIA 4-4

SEIA 4-4:

Exhibit GN-2 contains the load forecast for EPE’s system, and includes a reduction in Total System Net Energy and Total System Demand for energy and capacity resulting from DG and EE resources.

a.	If all Residential DG customers removed their DG systems from EPE distribution grid, what would be the impact on EPE’s bulk power system (i.e. production and transmission assets)?  What hardware would EPE need to add or remove to accommodate this change?

b.	If the DG and EE resources that were forecast in GN-2 were not constructed, what would the impact to the forecast be?  All else equal, would this increase or decrease the cost to serve EPE customers?

c.	Assuming that Residential DG customers were part of the Residential class, if all Residential DG customers removed their DG systems from the EPE distribution grid, what would be the expected impact be on the Residential class MCD and the Residential class 4CP be?

d.	If the answer to part c. above is that the expected result would be that the MCD and 4CP demand of the Residential class would increase, all else equal, would that tend to increase or decrease the costs to serve Residential customers?

RESPONSE:

For clarification, Exhibit GN-2 shows forecasted annual energy requirements and peak demand requirements.  The reduction to peak demand for DG reflects the reduced capacity of these generators at the time of EPE’s system peak demand.  Annual DG and EE amounts are incremental for that year, all other amounts are annual totals or system peaks.

- Residential DG on the EPE distribution grid is intermittent, so as a practical matter the energy and capacity for these resources is “removed” from the grid periodically and EPE’s bulk power system responds in order to continue providing service to these retail loads.

EPE has not performed an analysis of the bulk power system response specific to increased load resulting from the removal of DG resources portfolio impacts.  Given the total capacity of residential DG, the system would most likely respond with either increased generation output from other resources or changes in power purchases.

When Residential DG systems stop generating power on EPE’s distribution grid, the result may include occurrence of subtle changes in power flows and voltages on EPE’s bulk power system transmission assets because DG is dispersed across the EPE distribution grid.  There would be no change in the physical makeup (i.e., hardware) of the existing bulk power system if residential DG systems were removed.

- All other things equal, if the DG and Energy Efficiency (EE) resources had not been constructed (did not exist), the Native System Energy and Native System Demand forecasts would be higher by the amount of the DG and EE forecasts.

The cost of service impact in this scenario would depend on how EPE would have planned and acquired resources to serve the hypothetical load forecast.  Given the magnitude of the energy and demand requirements historically, it is unlikely that EPE’s system would look different than it does today, though the operational requirements of units or extent of power purchases may have been modified.  It is unlikely that the changed load requirements would have required the construction of a new generation resource or change the timing of the construction of generation resources over the last several years.  Going forward, planned resources would be impacted by the altered load requirements, though again the cost of service impact would depend on the changes in resources acquired.  Customer generation creates redundancy in resources on a near term basis, and may potentially defer less expensive resources in the future, both of which can increase costs to the customer.

- EPE has not conducted any analyses to determine the effects of all DG customers removing their DG systems.  However, EPE has produced a load study based on Residential DG customers’ total household load.  Please see EPE’s response to EFCA 1-1, Attachment 1.  Also, see Exhibit GN-7 to the direct testimony of EPE witness George Novela for the Residential DG total household load study and a comparison of the Residential DG total household load and the non-DG Residential Load. As shown in the load studies, Residential DG customers have a larger total household load and energy consumption than that of the average residential customer.  Even after including their DG system, residential DG customers can consume more delivered load than the average non-DG residential customer at the time of the coincident peak.  EPE expects that in the absence of DG systems, the Residential 4-Coincident Peak (4-CP) Demand would see a relatively small increase given the number of customers that have a DG system.  EPE anticipates there would also be a slight increase for the Residential Class’ Maximum Class Demand (MCD) during the summer months, and little to no change in the winter, since the MCD for Residential customers occurs during the evening hours.

- All other things equal, including residential DG customers in the Residential class (absent their DG systems) would increase the total cost of service for the class.

Preparer:	Omar Gallegos	Title: 	Director-Resource Planning & Management

David Tovar		Manager-System Planning

Teodulo Soto		Economist- Senior

Enedina Soto		Economist- Senior

Sponsor:	George Novela	Title: 	Manager-Economic Research

David C. Hawkins		Vice President-System Operations, Resource Planning and Management

James Schichtl		Vice President-Regulatory Affairs