PUC Interoffice Memorandum

To:	Alex Petak, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utility Regulation Division

From:		Patricia G. Garcia, Engineering Specialist

Water Utility Regulation Division

Date:	March 23, 2018

Subject:	Docket 46851, Application of Water Necessities, Inc. to Amend a Water Certificate of Convenience and Necessity in Hardin County

On February 13, 2017, Water Necessities, Inc., (Applicant or Water Necessities) submitted an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12243 in Hardin County pursuant to Texas Water Code Ann. (TWC), §§ 13.242 to 13.250 and the 16 Tex. Admin Code (TAC) §§24.101 to 24.107.  The purpose of the application is to amend the CCN boundaries of Water Necessities and North Hardin Water Supply Corporation (WSC), CCN No. 11267, to reflect areas where each entity is currently providing water service.  The application includes a letter from North Hardin WSC agreeing to the boundary amendments.

Background

Water Necessities is seeking to amend a water CCN for the service area containing approximately 72 acres and 61 current customers.

Notice

The comment period ended November 10, 2017 and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The Applicant has several Texas Commission on Environmental Quality (TCEQ) approved Public Water Systems (PWS).  The PWSs within the requested area are Whispering Pines Subdivision, PWS ID: 1000038, and Dairyland Heights Water System, PWS ID: No. 1000065.  The Applicant does not have any violations listed in the TCEQ database for these two systems.  No additional construction is necessary for the Applicant to serve the requested area as the customers are currently receiving service.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

There is a need for service as there are 61 existing customers in the requested area.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

The other retail public utility in the requested area, North Hardin WSC, is also having their boundaries amended by this application.  North Hardin WSC and Water Necessities agreed the boundaries need to be amended to accurately reflect the areas where each is currently serving customers.

TWC § 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The Applicant has twelve TCEQ approved PWSs.  Each of the PWSs has sufficient capacity to serve their customers. No additional construction is necessary for the Applicant to serve the requested area as the customers are currently receiving service.

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

North Hardin WSC and Water Necessities agreed the boundaries need to be amended to accurately reflect the areas where each is currently serving customers, therefore the feasibility of obtaining service from an adjacent retail public utility was not considered.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

Pursuant to TWC § 13.246(c)(6) the PUC is required to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant. Pursuant to 16 TAC § 24.11 the criteria are established to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area. The tests include a leverage test and an operations test.

The Applicant meets the leverage test by having zero debt, therefore, having a debt to equity ratio below 1.

The Applicant meets the operations test.  The owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  The Applicant has not submitted projections in its application; however, based on the Applicant’s confidential documentation there were no net losses in the three years documentation was provided.  Thus, there are no shortages to cover.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will not be effected as no additional construction is needed to provide service to the requested area.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

The Applicant will continue to provide water service to the existing customers in the requested area.

Staff recommends that the Applicant be found to meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations to obtain a CCN amendment, be found capable of providing continuous and adequate service and approving this application to amend the CCN boundaries of Water Necessities, CCN No. 12243, and that the granting of this application of North Hardin WSC, CCN No. 11267, is necessary for the service, accommodation, convenience and safety of the public.

Water Necessities consented to the attached map, tariff and certificate on March 23, 2018.

North Hardin WSC consented to the attached map and certificate on March 15, 2018.

Based on the above information, Staff recommends the Commission approve the application, issue an order, provide the attached map, tariff and certificate for Water Necessities, Inc. to Water Necessities and the attached map and certificate for North Hardin Water Supply Corporation to North Hardin WSC. Staff further recommends that Water Necessities and North Hardin WSC file certified copies of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).