PUC Interoffice Memorandum

To:	TJ Harris, Attorney

Legal Division

Thru:	Tammy Benter, Director

Water Utilities Division

From:	Jonathan Ramirez, Financial Analyst

Water Utilities Division

Date:  	May 12, 2017

Subject:	Tariff Control No. 46880; Application of Champ’s Water Company for a Pass-Through Rate Change

On February 22, 2017, Champ’s Water Company (Applicant) Certificate of Convenience and Necessity (CCN) No. 10972, filed an application pursuant to 16 Tex. Admin. Code §24.21 (b)(2)(vii) (TAC) to implement a pass-through rate increase due to increases in water use fees imposed on the utility by the City of Houston. The requested effective date for the pass-through rate change is February 22, 2017.

The Applicant submitted supplemental information which included a copy of the Applicant’s bill from the City of Houston. The Applicant is requesting a pass-through increase of $.81 from $1.24 per 1,000 gallons to $2.05 per 1,000 gallons. After reviewing the bill and the Applicant’s formula for the new pass-through rate, Staff came to the conclusion that the Applicant’s new pass-through rate should be less than what the Applicant is seeking. The new rate that Staff came up with is $1.02 per 1,000 gallons which is a $.22 decrease from the current rate. The calculation is: City of Houston rate of $2.882 times the applicable percentage of 30% divided by (1 minus line loss of 15%), or ($2.882 x .30) / (1-.15) = $1.02

Staff recommends the Applicant issued a refund to all affected customers for all months which the proposed rate was implemented after the effective date of February 22, 2017.  Due to the new pass-through rate being less than the current rate, new notice is not required to be sent out to customers.

Based upon review of the information submitted, Staff finds that the application is sufficient and recommends that the Commission:

- Find that the application is sufficient for filing;

- Approve the pass-through application with the Staff’s recommended rate of $1.02 with the proposed effective date;

- Order the applicant to refund to all affected customers for all months which the proposed rate was implemented after the effective date of February 22, 2017; and,

- Provide a copy of an approved tariff to the Applicant (attached).