PUC Interoffice Memorandum

To:	TJ Harris, Attorney

Legal Division

Thru:		Heidi Graham, Manager

Water Utilities Regulation Division

From:		Greg Charles, Engineer

Water Utilities Regulation Division

Date:	January 23, 2018

Subject:	Docket No. 47072, Application of Quadvest, LP to Amend Water and Sewer Certificates of Convenience and Necessity (CCNs) in Montgomery County.

On April 18, 2017, Quadvest, LP, (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend water and sewer Certificate of Convenience and Necessity (CCN) No. 11612 and sewer CCN No. 20952 in Montgomery County pursuant to Texas Water Code Ann. §§ 13.242 to 13.250 (TWC) and 16 Tex. Admin Code §§ 24.101 to 24.107 (TAC).

Background

The Applicant is seeking to amend its water and sewer CCNs with service area containing approximately 33 total acres and 0 current customers.

Notice

The deadline for intervention was September 7, 2017. No requests for hearing or intervention were received by the Commission.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The Applicant is currently providing service to 0 customers in the requested area.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

LGI Homes, owner of a 33 acres tract of land, requested water and sewer services from the Applicant. A January 27, 2016 letter to Quadvest, L.P. formally requested water and sewer services for the development.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

As stated above, the owner of the land submitted a request to the Applicant for service. The Applicant is an established utility, and the proposed development will not affect current customers.

TWC § 13.246(c)(4) requires the commission to consider the ability of the applicant to provide adequate service.

The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved 1.195 million gallons per day (MGD) Public Water Drinking System, PWS #1700605, and a TCEQ approved 0.8 MGD Wastewater Discharge Permit No.WQ0015003-001.  Assuming the standard TCEQ metric of 360 gallons per day per connection for water supply, and 300 gallons per day per connection for wastewater, the Applicant has adequate capacity at both facilities to serve the requested area with 134 additional connections.

TWC §13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

No protests or concerns were received from any other adjacent retail public utility.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.  16 Texas Admin. Code § 24.11 (TAC) establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests.

The following discussion shows that the Applicant meets the required criteria.

- 16 TAC § 24.11(e)(2) refers to the leverage test in which the applicant must meet one or more of four criteria as applicable to this application:

16 TAC § 24.11(e)(2)(A) states that the owner or operator must have a debt to equity ratio of less than one, using long term debt and equity or net assets.

    - Ratio = $13,065,675/$13,517,700= 0.97

    - Net Position = $13,517,700

    - Long-term Notes payable 2016 = $13,065,675

The Applicant meets the criteria because the debt to equity ratio is less than one.

- 16 TAC § 24.11(e)(3) refers to the operations test.  This states that the owner or operator must demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.

Cash shortages were not reflected in the financial statements for the year ended December 31, 2016 and the statements demonstrate there is sufficient cash available to cover any projected operations and maintenance shortages, therefore the applicant meets this criterion.

Therefore, the Applicant meets the leverage and operations tests.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

As the Applicant provides water and sewer services to the requested area as it develops, the use of septic systems will be avoided.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

It is expected that the services to the requested area will be comparable to the services provided to the existing customers by the Applicant.

The Applicant meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations, and is capable of providing continuous and adequate service, approving this application to amend the CCN is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map, tariffs, and certificates on January 18, 2018.

Based on the above information, Staff recommends the Commission approve the application, issue an order and provide the attached map, tariff, and certificates to Quadvest, L.P. Staff further recommends that the Applicant file certified copies of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).