Public Utility Commission of Texas

Memorandum

TO:	Doug Brown, Attorney

Legal Division

THRU:	Tammy Benter, Director

Debi Loockerman, Finance Manager

Water Utilities Regulation Division

FROM:	Janie Kohl, Financial Analyst

Jonathan Ramirez, Financial Analyst

Sean Scaff, Engineering Specialist

Water Utilities Regulation Division

DATE:  	October 16, 2017

SUBJECT:	Docket No. 47091, Application of Texas Water Systems, Inc. for Authority to Change Rates

Background

On April 21, 2017, Texas Water Systems, Inc. (Applicant), Certificate of Convenience and Necessity (CCN) No. 12473, filed an application with the Public Utility Commission of Texas (Commission) for a water rate/tariff change in Upshur County, Texas. The application was filed pursuant to Tex. Water Code Ann. § 13.1871 (TWC) and 16 Tex. Admin. Code §§ 24.8, 24.21, 24.22 and 24.31(TAC).

Fifty-six protests (6.6%) out of 842 connections were received by the ratepayers affected by this water rate/tariff change.  Staff completed the review of all information provided by the Applicant and determined that the requested rates are supported by the documents provided.  Staff’s analysis included the review of the Applicant’s rate filing package, the accompanying work papers, and responses to request for information.  Staff determined that the rate increase as requested and noticed by the Applicant complies with the requirements of TWC §§13.182, 13.183 and 13.185 and 16 TAC §24.31 for the reasons discussed below.

Revenue Requirement

The rates requested by the Applicant produce estimated total revenues of $629,748.  The expenses appear to be generally comprised of expenses permitted by 16 TAC § 24.31(b).  The proposed rates are limited by the rates and requested requirement noticed to the customers in this case.  Staff’s analysis results in a revenue requirement higher than that proposed by the utility, however, Staff recommends that the Applicant is limited to the noticed revenue requirement.  Therefore, Staff recommends that the Applicant’s proposed rates are reasonable and necessary to provide water service, and reasonably cover the level of the cost of service.  For all these reasons, Staff recommends that the Commission approve the rates as requested in the application and noticed to customers.

Plant in Service

The Applicant claims an original cost of $1,912,830, annual depreciation of $66,949, accumulated depreciation of $802,501 and the total net book value of existing facilities of $1,110,329.  Based on the assets that the Applicant included in the depreciation schedule of the application, Staff calculated original cost, annual depreciation, accumulated depreciation, and total net book value of existing facilities are identical to the applicant’s claimed amounts.  Staff calculated the net book value by depreciating the original cost of facilities, as required by 16 TAC § 24.31(c)(2).

Return on Invested Capital

The Applicant did not request a rate of return to be included in the cost of service in this application.  However, 16 TAC§ 24.31(c)(1) requires that the return should be reasonably sufficient to assure confidence in the financial soundness of the utility in the conservation of resources and the quality of the utility’s services.  Staff finds that including a 6.75% rate of return, including a return on equity of 8.82%, for the cost of service appropriate in this case.  The Applicant’s requested rate base included a working cash allowance of $43,409 and Staff also calculated a working cash allowance of $41,570 which is equal to one-twelfth of the Applicant’s total annual operations and maintenance expenses excluding amounts charged for materials, supplies, and prepayments, as permitted by 16 TAC § 24.28(c).

Rate Design

TWC § 13.182 requires that rates be just and reasonable and that they are sufficient, equitable, and consistent with respect to each class of customers.  Staff reviewed the proposed rate design indicated in Sections IX and X of the application.  Using 842 connections, indicated in the application, the Applicant proposed a base rate of $42.00 plus $3.00 per 1,000 gallons.  Staff finds that the proposed rates are just and reasonable since Staff’s recommended revenue requirement is higher than the revenues produced by the requested rate.  Therefore, Staff recommends that the Applicant’s proposed rates be approved because the rates are reasonable with respect to each customer.  The following rates are recommended:

| Minimum Bill includes 0 Gallons |  |  | Gallonage Rate |
| --- | --- | --- | --- |
| Meter Size | Rates |  | $ 3.00 per 1,000 gallons |
| 5/8” x ¾” | $ 42.00 |  |  |
| ¾” | $ 63.00 |  |  |
| 1” | $ 104.00 |  |  |
| 1½” | $ 205.00 |  |  |
| 2” | $ 325.00 |  |  |

Conclusion

Based on this review, Staff recommends that:

- The Applicant’s requested rates and the tariff provisions included in the attached tariff be approved; and

- A copy of the attached tariff be provided to the Applicant.