PUC Interoffice Memorandum

To:	Matthew Arth, Attorney

Legal Division

Through:	Debi Loockerman, Manager

Water Utility Regulation Division

From:	Emily Sears, Financial Analyst

Jolie Mathis, Engineering Specialist

Water Utility Regulation Division

Date:	July 5, 2018

Subject:	Docket No. 47153: Application of CS Water Corporation for Authority to Change Rates

On December 27, 2017, CS Water Corporation (Applicant) filed an application with the Public Utility Commission of Texas (Commission) for a rate/tariff change under water Certificate of Convenience and Necessity (CCN) No. 11441 in Bosque County.  On February 20, 2018, the Applicant filed an amended application.  An administrative review of the application and notice has been made pursuant to Texas Water Code (TWC) §§ 13.182-.185 and 13.1871 and 16 Tex. Admin. Code (TAC) §§ 24.21 through 24.32.

Twelve protests (6.3%) out of 191 connections were received from the ratepayers affected by this tariff change.  Because this does not meet the 10% threshold established by TWC § 13.1871(i) that would mandate a hearing, the Commission is not required to refer this case for a hearing.  Staff and the Applicant are the only parties to this case.  Staff completed the review of all information provided by the Applicant and determined that the requested rates are supported by the documents provided.  Staff’s analysis included review of the Applicant’s rate filing package, the accompanying work papers, and responses to request for information.  Staff determined that the rate increase as requested and noticed by the Applicant complies with the requirements of the TWC and TAC for the reasons discussed below and therefore does not request a hearing in this case.

Revenue Requirement

The rates requested by the Applicant produce estimated total revenues of $121,212, however, the Applicant produced a cost of service equal to $138,243.  The expenses appear to be generally comprised of expenses permitted pursuant to 16 TAC § 24.31(b).  The Applicant’s cost of service of $138,243 includes operations and maintenance (O & M) expense of $111,222, depreciation expense of $8,383, other taxes in the amount of $6,708, federal income taxes in the amount of $2,284, and a return of $12,942.  However, Staff’s recommended cost of service is $130,317, which is $7,252 lower than the Applicant’s calculated cost of service, but $9,105 higher than the rates generate.  Staff calculated an O&M expense of $108,636, depreciation expense of $8,586, other taxes in the amount of $5,811, federal income taxes in the amount of $1,578, and a return of $8,944.  The proposed rates are limited by the rates noticed to the customers in this case.  Therefore, Staff is satisfied that the Applicant’s proposed rates are reasonable and necessary to provide water service, and reasonably cover the level of the cost of service.  For all these reasons, Staff recommends that the Commission approve the rates as requested in the amended application.

Plant in Service

The Applicant claims an original cost of $252,963, annual depreciation of $8,383, accumulated depreciation of $133,850, and net plant in service of $107,454.57.  Based on the assets that the Applicant included in the depreciation schedule in Table III-B of the amended application, Staff calculated original cost of $255,819, annual depreciation of $8,586, accumulated depreciation of $145,560, and net plant in service of $110,259.  Staff calculated this net book value by depreciating the original cost of facilities, as required by 16 TAC § 24.31(c)(2).

Return on Invested Capital

Applicant requested a rate of return of 9.73%.  Staff’s recommendation included an overall rate of return of 7.45%, which is within the range of rate of return that would be approved in an evidentiary hearing.  The Applicant’s requested rate base included a working cash allowance of $13,903, and Staff also calculated a working cash allowance of $9,055, which is equal to one-eighth of the Applicant’s total annual O & M expenses excluding amounts charged for materials, supplies, and prepayments, as permitted by 16 TAC § 24.31(c)(2)(C)(iii).  Subsection 24.31(c)(1) requires that the return should be reasonably sufficient to assure confidence in the financial soundness of the utility in the conservation of resources and the quality of the utility’s services.  Staff finds that including a 7.45% rate of return for the cost of service is appropriate in this case.

Rate Design

TWC § 13.182 requires that rates be just and reasonable and that they are sufficient, equitable, and consistent with respect to each class of customers.  Staff reviewed the proposed rate design indicated in Sections IX and X of the amended application.  Using the reported number of customers indicated in the application, 191, the Applicant proposed a base rate of $46.00 with 2,000 gallons included, plus $4.75 per 1,000 gallons from 2,001 gallons to 5,000 gallons and $5.00 per 1,000 gallons thereafter.  Staff finds that the proposed rates are just and reasonable because Staff’s recommended revenue requirement is higher than the revenues produced by the requested rate.  Therefore, Staff recommends that the Applicant’s proposed rates be approved because the rates are reasonable with respect to each customer.

Conclusion

Based on this review, Staff recommends that:

- the Applicant’s requested rates and the tariff provisions included in the attached tariff be approved; and

- that a copy of the attached tariff be provided to the Applicant.