Public Utility Commission of Texas

Memorandum in Support of Depreciation Schedule

TO:	John Harrison, Attorney

Legal Division

FROM:	Jolie Mathis, Engineering Specialist

Infrastructure Division

DATE:  	March 5, 2020

SUBJECT:	Docket No. 47161; Application of Kerr County Water Systems, LLC for Authority to Change Rates

Background

On July 7, 2017, Kerr County Water Systems, LLC (Kerr County WS) Certificate of Convenience and Necessity (CCN) No. 13166, filed an application with the Public Utility Commission of Texas (Commission) for a water rate/tariff change with an effective date of August 6, 2017, in Kerr County, Texas.  The increase affects approximately 88 connections.  The application was filed under Texas Water Code (TWC) §§ 13.041, 13.042(e), 13.181 – 13.185, and 13.1871 and 16 Tex. Admin. Code (TAC) §§ 24.25 – 24.33, formerly 16 TAC §§ 24.21 - 24.26.  The rate increase affects the Bumblebee Hills Water Systems public water system (PWS) No. 1330092.

On July 19th, 2019 the Commission issued an Order Requesting Information related to several issues. This memo will address the first issue below:

- The settlement agreement reflects an increase in rate base from $38,815 to $281,975. What is the cause of the large increase in rate base? Where in the evidentiary record is there information on this issue? If the information is not in the record, please file thorough documentation of the items included in rate base that are related to this increase and explain the basis for their inclusion.

Plant in Service

The stipulation includes an adjustment to the Applicant’s original cost of plant in service from $38,815 to $281,892. In Staff’s original recommendation memo, the original cost of plant in service was $281, 975. Upon further review, Staff found a calculation error and now recommends a total original cost of $281,892. The original cost for the well and distribution system were derived from a trending study because the applicant did not have records available for these two assets and claimed zero original cost in the application. The trending cost study will be addressed in a memo prepared by Heidi Graham.  Ms. Graham’s memo indicates original cost total for the assets determined by trending for the well of $8,088 and for the distribution system of $234,614. These figures were added to the other requested plant in service as reflected on Schedule 1 below. Based on the revised original cost of $281,892, Staff adjusted the accumulated depreciation requested in the application from $15,585 to $200,735 reflected in Schedule 1 below.  With Staff’s adjustments to the original cost of plant in service and accumulated depreciation, the net plant increased from $23,230 to $81,157.  Schedule 2 below reflects the summary of Staff changes to the original cost and accumulated depreciation requested in the application.

Schedule 1

Schedule 2

|  |  |  | COMPANY | STAFF | STAFF |
| --- | --- | --- | --- | --- | --- |
| ACCOUNT TITLES |  |  | AMOUNT | ADJUST | AMOUNT |
|  |  |  | (a) | (b)=(c)-(a) | (c) |
| PLANT IN SERVICE/ORIGINAL COST |  |  | $38,815 | $243,077 | $281,892 |
| LESS: ACCUMULATED DEPRECIATION |  |  | $15,585 | $185,150 | $200,735 |
|  |  |  | 0 |  | 0 |
| NET PLANT |  |  | $23,230 | $57,487 | $81,157 |