Public Utility Commission of Texas

Memorandum in Support of Trending Study

TO:	John Harrison, Attorney

Legal Division

FROM:	Heidi Graham, Director

Water Utility Engineering Section

Infrastructure Division

DATE:  	March 5, 2020

SUBJECT:	Docket No. 47161; Application of Kerr County Water Systems, LLC for Authority to Change Rates

Background

On July 7, 2017, Kerr County Water Systems, LLC (Kerr County WS) Certificate of Convenience and Necessity (CCN) No. 13166, filed an application with the Public Utility Commission of Texas (Commission) for a water rate/tariff change with an effective date of August 6, 2017, in Kerr County, Texas.  The increase affects approximately 88 connections.  The application was filed under Texas Water Code (TWC) §§ 13.041, 13.042(e), 13.181 – 13.185, and 13.1871 and 16 Tex. Admin. Code (TAC) §§ 24.25 – 24.33.  The rate increase affects the Bumblebee Hills Water Systems public water system (PWS) No. 1330092.

On July 19th, 2019 the Commission issued an order requesting information for two issues. This memo will address the first issue:

- The settlement agreement reflects an increase in rate base from $38,815 to $281,975. What is the cause of the large increase in rate base? Where in the evidentiary record is there information on this issue? If the information is not in the record, please file thorough documentation of the items included in rate base that are related to this increase and explain the basis for their inclusion.

Plant in Service and Rate Base

16 TAC § 24.41(c)(2)(B)(i) allows plant and equipment, for which the cost has been estimated by a trending study, to be included in the cost of service, when there are no historical records for verification purposes. Staff prepared a trending study to estimate the original cost of the well and distribution system using the Handy Whitman Index, Water Utility Construction Cost Trend Tables. Kerr County WS provided the original well drillers log to establish the installation date of the well. Staff assumed that the distribution system was constructed soon after the well was completed and therefore used the same date to establish the installation date of the distribution system. Kerr County WS also provided estimates for the current cost of drilling the well and construction of the distribution system from the Vlasek Pump Company to be used as the current replacement costs in the trending study. The results of the trending study are in the table below. The trended original cost of the well is $8,088 and the trended original cost of the distribution system is $234,614.