DOCKET NO. 47273

| application of quadvest, l.p for temporary rates for services provided for a nonfunctional utility | § § § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

Commission Staff’s recommendation on final disposition

COMES NOW the Staff (Staff) of the Public Utility Commission of Texas (Commission), representing the public interest, and files this Recommendation.

# I. Background

On June 9, 2017, Quadvest, LP (Quadvest or Applicant) filed an application (Application) for temporary rates for services provided for a non-functioning utility pursuant to Texas Water Code § 13.046 (TWC) and 16 Tex. Admin. Code § 13.147 (TAC). On July 11, 2017, Order No. 3 was entered, requiring Staff to file a recommendation by August 1, 2017. This pleading is timely filed.

# II. recommendation

For the reasons discussed below, and consistent with the attached memorandum of Patricia Garcia, Water Utility Regulation Division, Staff recommends that the requested temporary rate increase of $38.01 be deemed reasonable by the Commission.

Specifically, on March 27, 2017, the Texas Commission on Environmental Quality appointed Quadvest as the temporary manager of the water utility systems owned by Suburban Utility, Inc. (Suburban). As temporary manager, Quadvest requests approval of temporary rates effective June 9, 2017, which Quadvest states will allow it to perform the highest priority repairs and maintenance projects needed to provide continuous and adequate service to Suburban’s customers.

Pursuant to 16 TAC § 13.147(c), the Commission will assess the reasonableness of the temporary rates. Consistent with Ms. Garcia’s memorandum, Staff recommends that the Commission deem the temporary rates to be reasonable. In particular, Ms. Garcia reviewed Quadvest’s general ledger for the operation of Suburban for the months of April through June 2017, Quadvest’s temporary manager reports, receipts and invoices for materials and labor costs related to repairs to the water system from March through June 2017, and electricity bills for the months of May and June 2017. Ms. Garcia concludes that these documents show that Quadvest has repaired several of Suburban’s facilities, indicating that the requested rates have been used to support the improvement of Suburban’s public water systems.

Based on this analysis, Staff recommends that the Commission deem the temporary rates to be reasonable, approve the draft tariff attached to Ms. Garcia’s memorandum, and order monthly reports as described by Ms. Garcia.

Consistent with Order No 3, if needed, the Applicant has until August 15, 2017 to respond to intervenor comments or Staff’s final recommendation. Otherwise, parties shall file a joint proposed notice of approval by August 15, 2017.

Date: August 1, 2017

Respectfully Submitted,

PUBLIC UTILITY COMMISSION OF TEXAS LEGAL DIVISION

Margaret Uhlig Pemberton

Division Director

Stephen Mack

Managing Attorney

______________________

Douglas M. Brown

State Bar No. 24048366

(512) 936-7203

A. J. Smullen

State Bar No. 24083881

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7268 (facsimile)

douglas.brown@puc.texas.gov

DOCKET NO. 47273

CERTIFICATE OF SERVICE

I certify that a copy of this document will be served on all parties of record on August 1, 2017 in accordance with 16 TAC § 22.74.

______________________

A. J. Smullen

Application (Jun. 9, 2017).

Id. at 1.